## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-28 00:00:00 | 5.355 | 219.94 | 6.432 | 245.353 | 6.856 | 251.4 | 6.876 | 247.883 | -2.362 | 889.7 | 49.771 | 30.3234
2019-12-28 00:15:00 | 5.477 | 236.713 | 6.151 | 245.046 | 6.476 | 251.433 | 6.752 | 248.333 | -2.164 | 889.967 | 49.611 | 23.1133
2019-12-28 00:30:00 | 3.643 | 224.96 | 5.153 | 238.223 | 6.157 | 248.8 | 6.334 | 245.6 | -2.744 | 890.1 | 50.613 | 20.5169
2019-12-28 00:45:00 | 3.389 | 218.1 | 5.376 | 233.166 | 6.202 | 245.9 | 6.418 | 242.5 | -3.672 | 889.925 | 53.856 | 19.8056
2019-12-28 01:00:00 | 4.591 | 216.693 | 6.172 | 237.885 | 6.47 | 245.6 | 6.673 | 242 | -4.568 | 883.517 | 55.221 | 20.3236
2019-12-28 01:15:00 | 3.352 | 236.653 | 5.842 | 246.885 | 6.072 | 252.767 | 6.083 | 249.05 | -4.7 | 871.967 | 55.872 | 20.1147
2019-12-28 01:30:00 | 4.151 | 223.543 | 6.138 | 239.807 | 6.372 | 246.6 | 6.207 | 241.967 | -4.35 | 868.433 | 55.445 | 23.308
2019-12-28 01:45:00 | 4.194 | 224.827 | 5.824 | 232.601 | 6.24 | 239.767 | 6.183 | 236 | -4.389 | 873 | 55.36 | 23.3201
2019-12-28 02:00:00 | 3.7 | 236.1 | 5.148 | 239.948 | 5.634 | 250.767 | 5.556 | 247.4 | -4.658 | 870.958 | 55.328 | 16.8305
2019-12-28 02:15:00 | 4.127 | 229.893 | 4.844 | 243.39 | 5.058 | 254.733 | 5.007 | 253.65 | -4.19 | 874.6 | 53.589 | 15.4904
2019-12-28 02:30:00 | 4.702 | 226.807 | 4.979 | 240.17 | 4.935 | 252.2 | 4.79 | 251.033 | -4.56 | 874.967 | 52.96 | 15.0903
2019-12-28 02:45:00 | 3.89 | 239.413 | 4.6 | 253.641 | 4.47 | 265.6 | 4.523 | 267.967 | -4.249 | 878.883 | 53.365 | 13.5043
2019-12-28 03:00:00 | 4.225 | 227.487 | 4.536 | 246.633 | 4.241 | 255.9 | 4.411 | 260.583 | -4.851 | 869.442 | 54.187 | 13.4887
2019-12-28 03:15:00 | 3.45 | 249.473 | 3.431 | 274.562 | 3.243 | 281.7 | 3.402 | 282.333 | -4.522 | 880.583 | 53.968 | 10.8958
2019-12-28 03:30:00 | 3.109 | 252.513 | 3.313 | 258.491 | 4.229 | 278.433 | 4.828 | 291.567 | -4.651 | 880.75 | 54.368 | 6.9032
2019-12-28 03:45:00 | 2.144 | 263.9 | 2.713 | 278.053 | 3.572 | 301.833 | 4.451 | 309.133 | -5.039 | 876.875 | 56.117 | 5.5595
2019-12-28 04:00:00 | 2.834 | 270.187 | 4.157 | 299.078 | 5.535 | 310.9 | 5.983 | 301.833 | -5.488 | 877.575 | 57.344 | 6.307
2019-12-28 04:15:00 | 1.643 | 302.827 | 3.767 | 311.648 | 4.694 | 316.933 | 5.453 | 306.333 | -6.041 | 873.583 | 59.141 | 6.1528
2019-12-28 04:30:00 | 1.667 | 233.227 | 3.62 | 278.765 | 5.314 | 287.833 | 6.156 | 281.367 | -6.004 | 874.892 | 58.645 | 10.5988
2019-12-28 04:45:00 | 4.256 | 248.133 | 5.607 | 273.355 | 6.096 | 277.267 | 6.825 | 273.633 | -4.582 | 882.4 | 53.035 | 18.2658
2019-12-28 05:00:00 | 4.297 | 284.733 | 5.352 | 281.051 | 5.66 | 281.333 | 5.975 | 275.567 | -3.773 | 889.35 | 47.611 | 21.5295
2019-12-28 05:15:00 | 4.28 | 255.613 | 6.034 | 274.96 | 6.725 | 277.467 | 7.315 | 272.4 | -3.986 | 889.642 | 48.405 | 33.2801
2019-12-28 05:30:00 | 6.556 | 243.3 | 7.686 | 275.616 | 8.028 | 278.033 | 8.155 | 273.633 | -3.371 | 890.017 | 45.483 | 47.522
2019-12-28 05:45:00 | 7.556 | 240.2 | 8.932 | 269.703 | 9.793 | 274.133 | 10.213 | 271.8 | -3.387 | 890.075 | 44.128 | 60.3356
2019-12-28 06:00:00 | 8.106 | 228.633 | 9.419 | 268.953 | 9.956 | 272.5 | 10.01 | 269.633 | -3.188 | 887.192 | 43.499 | 65.9399
2019-12-28 06:15:00 | 8.953 | 230.933 | 10.2 | 263.447 | 10.611 | 266.267 | 10.997 | 262.267 | -3.689 | 889.692 | 44.144 | 71.1789
2019-12-28 06:30:00 | 8.961 | 219.9 | 10.276 | 258.15 | 10.395 | 262.033 | 10.54 | 257.783 | -3.791 | 884.275 | 44.912 | 71.2286
2019-12-28 06:45:00 | 8.546 | 206.92 | 10.38 | 252.397 | 10.752 | 255.833 | 11.033 | 251.683 | -4.252 | 878.658 | 46.757 | 79.0498
2019-12-28 07:00:00 | 8.23 | 203.713 | 9.378 | 250.769 | 10.088 | 254.9 | 10.393 | 253.283 | -4.546 | 878.758 | 47.264 | 79.6829
2019-12-28 07:15:00 | 8.3 | 205.707 | 9.813 | 253.035 | 10.456 | 258.3 | 10.734 | 255.667 | -4.755 | 879.558 | 48.587 | 79.7355
2019-12-28 07:30:00 | 9.531 | 205.98 | 11.56 | 254.812 | 12.457 | 259.633 | 13.197 | 256.4 | -4.805 | 880.183 | 47.835 | 79.7142
2019-12-28 07:45:00 | 10.358 | 212.927 | 12.035 | 257.694 | 12.865 | 262.733 | 13.486 | 260.233 | -4.804 | 880.642 | 45.557 | 79.7625
2019-12-28 08:00:00 | 10.313 | 215.587 | 11.943 | 257.633 | 12.952 | 261.633 | 13.58 | 256.417 | -4.737 | 883.958 | 44.32 | 79.7824
2019-12-28 08:15:00 | 9.988 | 221.067 | 11.451 | 259.375 | 12.032 | 265.833 | 12.601 | 261.167 | -4.886 | 887.058 | 44.379 | 79.2822
2019-12-28 08:30:00 | 9.382 | 210.513 | 11.048 | 261.129 | 11.816 | 264.733 | 12.034 | 261.1 | -4.829 | 889.75 | 44.112 | 75.205
2019-12-28 08:45:00 | 10.023 | 229.24 | 11.878 | 258.406 | 12.876 | 263.3 | 13.583 | 258.583 | -4.936 | 885.233 | 44.528 | 73.7142
2019-12-28 09:00:00 | 8.348 | 217.88 | 10.277 | 258.039 | 11.519 | 261.467 | 12.488 | 257.617 | -4.985 | 889.5 | 44.965 | 72.5659
2019-12-28 09:15:00 | 8.598 | 206.367 | 10.398 | 256.626 | 11.625 | 260.967 | 12.05 | 258.617 | -5.352 | 890.067 | 45.392 | 64.8825
2019-12-28 09:30:00 | 7.362 | 231.027 | 9.351 | 260.602 | 10.365 | 265.033 | 10.936 | 261.533 | -5.595 | 889.642 | 46.464 | 57.2923
2019-12-28 09:45:00 | 7.516 | 223.293 | 9.278 | 260.448 | 10.048 | 265.1 | 10.616 | 260.9 | -5.319 | 889.483 | 45.968 | 47.2243
2019-12-28 10:00:00 | 6.229 | 224.813 | 7.9 | 260.771 | 8.734 | 265.3 | 9.252 | 261.783 | -4.463 | 889.95 | 45.056 | 41.129
2019-12-28 10:15:00 | 4.155 | 274.187 | 5.051 | 274.588 | 5.616 | 274.933 | 6.259 | 269.6 | -4.662 | 889.775 | 45.573 | 40.115
2019-12-28 10:30:00 | 6.349 | 235.9 | 7.651 | 266.466 | 8.141 | 271.367 | 8.435 | 267.267 | -4.599 | 889.758 | 45.504 | 38.1304
2019-12-28 10:45:00 | 6.795 | 243.373 | 7.994 | 267.526 | 8.572 | 270.633 | 9.104 | 266.467 | -4.404 | 889.892 | 44.549 | 35.08
2019-12-28 11:00:00 | 5.964 | 253.007 | 6.784 | 271.874 | 7.369 | 273.7 | 7.884 | 270.233 | -3.986 | 889.717 | 43.979 | 33.2375
2019-12-28 11:15:00 | 6.308 | 238.033 | 7.189 | 267.39 | 7.571 | 271.867 | 8.258 | 265.9 | -3.487 | 889.917 | 43.637 | 33.3377
2019-12-28 11:30:00 | 5.145 | 295.667 | 5.412 | 292.445 | 5.715 | 293.733 | 6.145 | 286.267 | -3.254 | 889.575 | 42.192 | 37.8796
2019-12-28 11:45:00 | 7.513 | 251.14 | 8.128 | 274.503 | 8.234 | 275.033 | 8.15 | 271.4 | -2.507 | 889.6 | 38.589 | 54.5154
2019-12-28 12:00:00 | 8.496 | 235.813 | 8.83 | 264.067 | 8.695 | 269.867 | 8.842 | 266.6 | -2.283 | 889.6 | 37.24 | 72.5645
2019-12-28 12:15:00 | 8.4 | 248.727 | 9.086 | 270.769 | 9.246 | 273.567 | 9.357 | 270.083 | -2.181 | 889.883 | 36.893 | 76.582
2019-12-28 12:30:00 | 9.598 | 252.94 | 10.471 | 272.863 | 10.732 | 276.933 | 10.916 | 274.5 | -2.194 | 889.767 | 34.264 | 79.5806
2019-12-28 12:45:00 | 9.876 | 262.833 | 11.066 | 278.019 | 11.185 | 282.1 | 11.621 | 280.033 | -1.869 | 889.667 | 29.653 | 79.7611
2019-12-28 13:00:00 | 11.32 | 266.753 | 12.451 | 281.631 | 12.596 | 284.433 | 12.92 | 282.6 | -1.519 | 889.767 | 23.899 | 79.7917
2019-12-28 13:15:00 | 10.966 | 253.053 | 12.036 | 278.764 | 12.745 | 281.433 | 13.02 | 278.267 | -1.256 | 889.7 | 23.88 | 79.8961
2019-12-28 13:30:00 | 11.612 | 268.42 | 12.108 | 282.729 | 12.432 | 283.933 | 12.834 | 283.267 | -1.549 | 889.75 | 21.749 | 79.7242
2019-12-28 13:45:00 | 10.741 | 275.22 | 11.42 | 282.276 | 11.752 | 284.233 | 12.155 | 283.133 | -1.236 | 890 | 23.403 | 79.5906
2019-12-28 14:00:00 | 9.656 | 252.327 | 10.458 | 273.576 | 10.83 | 276.733 | 11.069 | 271.5 | -0.918 | 890.117 | 24.611 | 79.3945
2019-12-28 14:15:00 | 10.095 | 238.127 | 10.848 | 269.508 | 11.06 | 272.2 | 11.073 | 268.8 | -0.745 | 889.8 | 25.64 | 79.3071
2019-12-28 14:30:00 | 10.802 | 263.887 | 11.493 | 276.147 | 11.288 | 279.167 | 11.345 | 277.2 | -1.513 | 889.85 | 25.411 | 79.4875
2019-12-28 14:45:00 | 10.653 | 273.68 | 11.733 | 284.425 | 12.086 | 287.033 | 12.667 | 286.2 | -1.132 | 889.4 | 21.928 | 79.2083
2019-12-28 15:00:00 | 9.969 | 284.147 | 10.757 | 293.14 | 11.067 | 296.1 | 11.596 | 292.533 | -1.199 | 889.567 | 20.613 | 78.3535
2019-12-28 15:15:00 | 10.218 | 290.627 | 11.299 | 293.928 | 11.458 | 295.967 | 12.084 | 294.333 | -1.232 | 889.75 | 21.469 | 79.2495
2019-12-28 15:30:00 | 10.77 | 293.773 | 11.15 | 298.713 | 11.37 | 302.267 | 12.014 | 299.233 | -1.526 | 890.017 | 22.043 | 78.7841
2019-12-28 15:45:00 | 11.208 | 285.4 | 12.098 | 293.305 | 12.322 | 298.6 | 13.047 | 296.433 | -1.429 | 889.183 | 20.284 | 79.4854
2019-12-28 16:00:00 | 9.7 | 309.987 | 10.147 | 310.29 | 10.46 | 314.067 | 11.005 | 312.333 | -1.689 | 889.717 | 21.805 | 77.0936
2019-12-28 16:15:00 | 10.482 | 273.267 | 11.307 | 286.13 | 11.684 | 288.3 | 12.106 | 287.367 | -1.789 | 890.2 | 24.123 | 78.3393
2019-12-28 16:30:00 | 9.988 | 294.173 | 10.801 | 296.888 | 11.183 | 302.433 | 11.833 | 299.033 | -2.214 | 889.933 | 28.936 | 77.5484
2019-12-28 16:45:00 | 7.965 | 302.013 | 8.392 | 301.157 | 8.68 | 306.667 | 8.893 | 304.333 | -2.197 | 889.533 | 26.984 | 69.902
2019-12-28 17:00:00 | 8.52 | 293.947 | 9.185 | 295.897 | 9.404 | 301.1 | 10.008 | 297.233 | -2.569 | 889.717 | 24.952 | 56.7217
2019-12-28 17:15:00 | 8.939 | 282.88 | 10.016 | 290.639 | 10.418 | 292.5 | 11 | 289.067 | -2.446 | 890.167 | 27.6 | 58.599
2019-12-28 17:30:00 | 8.435 | 274.987 | 9.482 | 284.912 | 9.789 | 288.033 | 10.221 | 285.667 | -2.598 | 890.167 | 26.467 | 45.6511
2019-12-28 17:45:00 | 7.255 | 286.24 | 8.084 | 288.58 | 8.571 | 293 | 8.998 | 291.767 | -3.005 | 889.117 | 25.165 | 22.6315
2019-12-28 18:00:00 | 6.004 | 271.533 | 6.988 | 282.706 | 7.156 | 288.067 | 7.359 | 285.433 | -3.589 | 889.95 | 27.152 | 14.5531
2019-12-28 18:15:00 | 4.34 | 270.247 | 5.262 | 277.349 | 5.368 | 281.467 | 5.519 | 277.7 | -3.826 | 890.183 | 29.013 | 12.3084
2019-12-28 18:30:00 | 3.159 | 307.653 | 4.146 | 300.28 | 4.314 | 302.7 | 4.56 | 295.5 | -4.982 | 890.05 | 32.141 | 4.6563
2019-12-28 18:45:00 | 1.286 | 71.692 | 2.301 | 333.33 | 3.128 | 324.533 | 3.565 | 325.9 | -5.819 | 889.433 | 32.427 | 0.29631
2019-12-28 19:00:00 | 0.12 | 87.08 | 1.183 | 310.382 | 2.906 | 313.6 | 3.679 | 316 | -6.242 | 889.833 | 35.344 | 0.18759
2019-12-28 19:15:00 | 0 | 322.827 | 0.027 | 318.57 | 0.389 | 317.133 | 1.705 | 317.1 | -6.568 | 889.583 | 36.347 | 0.17906
2019-12-28 19:30:00 | 0.183 | 69.932 | 0 | 318.861 | 0 | 316 | 0.622 | 315 | -6.604 | 890.117 | 39.136 | 0.25154
2019-12-28 19:45:00 | 1.612 | 227.007 | 1.783 | 255.173 | 1.976 | 274 | 2.102 | 289.8 | -7.012 | 889.533 | 38.011 | 0.22241
2019-12-28 20:00:00 | 1.541 | 235.6 | 1.18 | 265.603 | 1.269 | 275.067 | 1.451 | 286.533 | -7.589 | 889.783 | 40.589 | 0.091663
2019-12-28 20:15:00 | 0.651 | 74.424 | 0.08 | 19.679 | 0.1 | 291.367 | 1.034 | 270.2 | -8.387 | 889.967 | 42.411 | 0.14425
2019-12-28 20:30:00 | 1.212 | 285.513 | 0.34 | 63.655 | 0 | 264.667 | 1.237 | 266.967 | -8.371 | 889.767 | 44.469 | 0.14496
2019-12-28 20:45:00 | 1.29 | 204.833 | 1.671 | 216.459 | 1.256 | 239.467 | 0.326 | 226 | -9.041 | 889.95 | 50.368 | 0.21957
2019-12-28 21:00:00 | 0.465 | 183.4 | 0 | 214.39 | 0.44 | 260.667 | 0.312 | 268.333 | -8.691 | 889.842 | 53.056 | 0.23733
2019-12-28 21:15:00 | 1.709 | 221.533 | 0.971 | 264.996 | 0.273 | 262.067 | 0 | 267.667 | -9.324 | 889.575 | 54.368 | 0.23591
2019-12-28 21:30:00 | 1.658 | 210.7 | 0.389 | 259.094 | 0 | 262 | 0.396 | 55 | -10.233 | 889.833 | 55.403 | 0.27357
2019-12-28 21:45:00 | 1.805 | 184.207 | 0.257 | 126.28 | 0.647 | 89.1 | 1.911 | 73.3 | -10.708 | 889.725 | 57.504 | 1.4545
2019-12-28 22:00:00 | 2.019 | 155.047 | 2.011 | 125.92 | 2.741 | 118.767 | 3.436 | 111.4 | -8.651 | 889.858 | 56.565 | 4.3103
2019-12-28 22:15:00 | 2.964 | 131.14 | 3.706 | 116.805 | 4.1 | 121.9 | 4.354 | 115.6 | -8.591 | 889.925 | 53.184 | 8.3861
2019-12-28 22:30:00 | 3.835 | 125.413 | 4.397 | 109 | 4.315 | 108.433 | 3.991 | 101.4 | -9.37 | 889.625 | 56.395 | 10.1831
2019-12-28 22:45:00 | 3.974 | 126.54 | 5.324 | 111.52 | 5.202 | 117.133 | 5.138 | 113.3 | -9.641 | 889.292 | 55.957 | 15.7852
2019-12-28 23:00:00 | 3.765 | 127.607 | 4.76 | 122.193 | 5.004 | 124.633 | 5.357 | 120.667 | -10.853 | 890 | 57.557 | 20.2305
2019-12-28 23:15:00 | 4.464 | 127.887 | 5.52 | 121.671 | 4.863 | 129.433 | 4.464 | 128.433 | -10.354 | 889.667 | 56.48 | 29.1361
2019-12-28 23:30:00 | 4.146 | 141 | 4.757 | 130.386 | 3.976 | 137.9 | 4.042 | 134.1 | -11.378 | 890.092 | 57.088 | 36.9971
2019-12-28 23:45:00 | 4.758 | 132.573 | 5.802 | 121.899 | 6.008 | 127.9 | 5.993 | 123.267 | -11.022 | 889.933 | 48.715 | 36.9672