## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-29 00:00:00 | 4.867 | 130.2 | 5.602 | 125.033 | 5.378 | 130.4 | 5.525 | 126.367 | -11.04 | 889.725 | 42.528 | 36.8798
2019-12-29 00:15:00 | 4.997 | 129.16 | 6.043 | 124.617 | 5.631 | 129.5 | 5.316 | 126.2 | -10.959 | 889.533 | 40.053 | 33.3981
2019-12-29 00:30:00 | 4.458 | 129.223 | 5.634 | 121.375 | 5.398 | 127.567 | 5.647 | 124.3 | -11.411 | 889.733 | 38.965 | 27.6595
2019-12-29 00:45:00 | 3.992 | 130.173 | 4.832 | 122.63 | 4.672 | 129.4 | 4.626 | 125.067 | -11.474 | 889.8 | 38.704 | 28.1441
2019-12-29 01:00:00 | 4.395 | 129.177 | 5.24 | 122.722 | 5.24 | 127.033 | 5.484 | 124.733 | -11.295 | 889.617 | 37.856 | 27.9295
2019-12-29 01:15:00 | 4.28 | 123.72 | 5.121 | 115.436 | 5.483 | 119.233 | 5.802 | 114.8 | -11.511 | 889.617 | 37.285 | 26.1794
2019-12-29 01:30:00 | 4.802 | 126.057 | 5.638 | 117.483 | 5.958 | 121.667 | 6.213 | 118.333 | -11.395 | 890.067 | 36.405 | 29.2668
2019-12-29 01:45:00 | 5.022 | 125.733 | 6.386 | 116.941 | 6.621 | 121.233 | 6.914 | 116.9 | -11.428 | 889.417 | 35.845 | 38.2597
2019-12-29 02:00:00 | 5.779 | 123.183 | 7.051 | 117.535 | 7.618 | 122.633 | 8.088 | 118.3 | -11.411 | 889.767 | 34.901 | 45.3839
2019-12-29 02:15:00 | 5.83 | 125.323 | 7.042 | 120.179 | 7.266 | 123.5 | 7.364 | 121.267 | -11.828 | 890.1 | 35.403 | 44.7963
2019-12-29 02:30:00 | 4.852 | 132.213 | 5.818 | 123.837 | 4.971 | 133.633 | 5.014 | 130.733 | -11.503 | 889.683 | 34.405 | 43.3986
2019-12-29 02:45:00 | 4.697 | 134.59 | 5.305 | 130.87 | 4.8 | 136.667 | 5.062 | 128.267 | -11.411 | 890.183 | 34.176 | 35.7998
2019-12-29 03:00:00 | 4.668 | 140.26 | 5.409 | 131.375 | 4.869 | 136.7 | 4.532 | 131.467 | -11.745 | 889.983 | 34.587 | 40.228
2019-12-29 03:15:00 | 4.871 | 139.727 | 5.513 | 133.743 | 5.422 | 137.6 | 5.209 | 133.7 | -11.849 | 889.917 | 34.357 | 45.8294
2019-12-29 03:30:00 | 5.082 | 133.88 | 5.838 | 131.259 | 5.194 | 134.133 | 4.964 | 131.667 | -12.161 | 889.383 | 33.995 | 48.8486
2019-12-29 03:45:00 | 5.396 | 134.503 | 5.977 | 127.609 | 5.182 | 134.367 | 5.289 | 129.367 | -11.611 | 889.217 | 32.965 | 59.5853
2019-12-29 04:00:00 | 6.056 | 131.153 | 7.184 | 125.014 | 6.559 | 130.633 | 6.32 | 129.9 | -11.87 | 889.767 | 32.347 | 68.5
2019-12-29 04:15:00 | 6.075 | 135.01 | 6.67 | 133.371 | 6.209 | 137.467 | 6.15 | 134.833 | -11.77 | 889.717 | 32.363 | 68.6365
2019-12-29 04:30:00 | 6.677 | 139.847 | 7.638 | 136.46 | 7.312 | 142.567 | 7.588 | 137.7 | -11.974 | 889.517 | 32.128 | 69.3058
2019-12-29 04:45:00 | 6.359 | 136.963 | 6.344 | 132.581 | 6.104 | 137.967 | 5.74 | 132.867 | -11.89 | 889.65 | 31.365 | 60.6476
2019-12-29 05:00:00 | 5.636 | 132.387 | 6.35 | 127.918 | 5.818 | 134.367 | 5.907 | 129.9 | -12.078 | 889.65 | 31.28 | 53.2214
2019-12-29 05:15:00 | 5.742 | 130.577 | 6.242 | 127.342 | 5.843 | 131.033 | 6.104 | 130.567 | -12.27 | 889.883 | 31.035 | 54.531
2019-12-29 05:30:00 | 5.355 | 129.407 | 6.41 | 124.894 | 5.84 | 131.633 | 6.001 | 129.867 | -12.603 | 889.883 | 31.653 | 41.1567
2019-12-29 05:45:00 | 5.416 | 127.36 | 6.683 | 119.121 | 6.876 | 123.467 | 7.322 | 119.9 | -12.249 | 889.433 | 31.547 | 39.0392
2019-12-29 06:00:00 | 5.375 | 124.657 | 6.677 | 118.046 | 6.782 | 120.867 | 7.13 | 118.733 | -12.536 | 889.95 | 32.203 | 42.4841
2019-12-29 06:15:00 | 5.443 | 130.647 | 6.426 | 125.089 | 6.397 | 129.133 | 6.414 | 126.233 | -12.353 | 889.65 | 31.947 | 43.7467
2019-12-29 06:30:00 | 5.727 | 129.153 | 6.934 | 119.91 | 7.189 | 123.233 | 7.64 | 119.067 | -12.27 | 889.317 | 30.555 | 37.4348
2019-12-29 06:45:00 | 5.223 | 127.417 | 6.554 | 120.86 | 6.864 | 122.8 | 7.587 | 120.3 | -12.22 | 889.417 | 29.925 | 27.3192
2019-12-29 07:00:00 | 5.213 | 122.317 | 6.303 | 116.853 | 6.612 | 121.6 | 7.095 | 120.633 | -11.953 | 889.583 | 29.968 | 28.4042
2019-12-29 07:15:00 | 4.916 | 123.63 | 6.207 | 115.052 | 6.561 | 117.2 | 6.74 | 111.967 | -11.932 | 889.733 | 29.856 | 27.8109
2019-12-29 07:30:00 | 5.386 | 123.337 | 6.312 | 115.182 | 6.616 | 119.6 | 6.904 | 114.567 | -12.12 | 889.75 | 30.699 | 23.9795
2019-12-29 07:45:00 | 4.769 | 123.553 | 5.739 | 115.01 | 6.227 | 118.833 | 6.758 | 114.433 | -12.003 | 889.417 | 30.091 | 13.4901
2019-12-29 08:00:00 | 3.92 | 126.467 | 4.839 | 111.212 | 5.056 | 113.667 | 5.549 | 110.3 | -12.257 | 889.95 | 29.205 | 15.7184
2019-12-29 08:15:00 | 4.118 | 129.463 | 5.018 | 113.975 | 5.192 | 116.767 | 5.514 | 110.867 | -12.953 | 889.917 | 31.877 | 31.476
2019-12-29 08:30:00 | 5.493 | 127.527 | 7.017 | 118.975 | 7.468 | 120.467 | 7.766 | 117.467 | -12.82 | 889.867 | 32.565 | 45.8763
2019-12-29 08:45:00 | 6.613 | 120.88 | 7.737 | 113.255 | 8.23 | 117.033 | 8.494 | 110.8 | -13.12 | 889.9 | 31.125 | 38.6243
2019-12-29 09:00:00 | 5.98 | 113.667 | 6.886 | 105.398 | 6.552 | 108.7 | 6.536 | 102.767 | -12.92 | 889.983 | 30.005 | 24.2623
2019-12-29 09:15:00 | 4.796 | 113.7 | 4.984 | 105.902 | 4.911 | 107.967 | 5.302 | 103.033 | -12.903 | 889.267 | 29.419 | 24.5941
2019-12-29 09:30:00 | 5.129 | 112.933 | 6.103 | 105.398 | 5.728 | 108.067 | 5.794 | 102.2 | -13.07 | 889.717 | 29.531 | 20.8402
2019-12-29 09:45:00 | 4.089 | 118.767 | 5.053 | 106.627 | 5.02 | 109 | 5.22 | 104.033 | -12.703 | 889.483 | 28.976 | 12.9622
2019-12-29 10:00:00 | 3.384 | 128.08 | 4.186 | 110.662 | 4.308 | 110.567 | 4.336 | 103.567 | -12.686 | 889.65 | 29.755 | 6.776
2019-12-29 10:15:00 | 2.619 | 128.543 | 3.141 | 107.5 | 3.01 | 107.9 | 2.495 | 93.1 | -12.195 | 889.433 | 29.616 | 1.8645
2019-12-29 10:30:00 | 2.316 | 122.267 | 1.774 | 97.093 | 1.209 | 96.133 | 1.646 | 92.933 | -12.016 | 889.933 | 29.915 | 0.12293
2019-12-29 10:45:00 | 1.079 | 87.2 | 1.417 | 79.269 | 1.467 | 82.933 | 1.451 | 101.033 | -11.278 | 889.2 | 30.96 | 0.18191
2019-12-29 11:00:00 | 2.246 | 66.407 | 2.026 | 58.821 | 2.145 | 64.8 | 2.338 | 65.033 | -11.445 | 889.833 | 30.555 | 0.25154
2019-12-29 11:15:00 | 1.66 | 69.518 | 1.066 | 53.998 | 1.302 | 65 | 1.292 | 73.667 | -11.445 | 889.6 | 30.933 | 0.23307
2019-12-29 11:30:00 | 2.01 | 73.242 | 1.796 | 67.325 | 1.843 | 73.167 | 1.985 | 72.667 | -11.124 | 889.633 | 30.539 | 0.2288
2019-12-29 11:45:00 | 2.334 | 67.277 | 2.233 | 60.95 | 2.252 | 65.467 | 2.33 | 66.1 | -10.76 | 889.7 | 30.176 | 0.12648
2019-12-29 12:00:00 | 1.602 | 57.917 | 1.621 | 58.186 | 1.54 | 63.033 | 1.766 | 65.033 | -10.632 | 889.617 | 29.803 | 0.26362
2019-12-29 12:15:00 | 1.713 | 80.6 | 1.704 | 73.165 | 2.073 | 81.567 | 2.288 | 76.867 | -10.399 | 889.933 | 29.072 | 0.23449
2019-12-29 12:30:00 | 2.32 | 81.967 | 2.599 | 75.26 | 2.748 | 79.4 | 2.838 | 73.867 | -9.858 | 889.8 | 28.667 | 0.24088
2019-12-29 12:45:00 | 2.962 | 78.643 | 3.041 | 73.422 | 3.267 | 80.4 | 3.369 | 78 | -9.974 | 889.8 | 28.789 | 0.9415
2019-12-29 13:00:00 | 3.178 | 75.06 | 3.072 | 70.811 | 3.322 | 75.833 | 3.42 | 72.4 | -9.583 | 889.85 | 28.336 | 0.80791
2019-12-29 13:15:00 | 2.888 | 82.19 | 3.143 | 77.034 | 3.265 | 80.033 | 3.4 | 72.767 | -9.587 | 889.85 | 28.411 | 0.67078
2019-12-29 13:30:00 | 2.996 | 83.03 | 2.856 | 81.451 | 3.082 | 84.367 | 3.181 | 75.433 | -9.058 | 889.417 | 27.989 | 1.716
2019-12-29 13:45:00 | 3.286 | 90.293 | 2.993 | 85.659 | 3.128 | 91.433 | 3.253 | 85.133 | -9.191 | 890.117 | 28.645 | 1.478
2019-12-29 14:00:00 | 3.506 | 85.8 | 3.454 | 79.751 | 3.594 | 82.4 | 3.369 | 78.1 | -8.741 | 890 | 29.296 | 2.5019
2019-12-29 14:15:00 | 3.423 | 82.287 | 3.333 | 75.364 | 3.371 | 81.8 | 3.617 | 81 | -8.741 | 889.9 | 29.499 | 5.276
2019-12-29 14:30:00 | 3.932 | 86.837 | 4.183 | 81.852 | 4.678 | 82.833 | 4.95 | 78.267 | -8.858 | 889.65 | 30.037 | 8.6249
2019-12-29 14:45:00 | 4.294 | 76.493 | 4.469 | 77.163 | 4.528 | 86.667 | 4.505 | 83.833 | -8.574 | 889.567 | 28.811 | 13.9761
2019-12-29 15:00:00 | 4.912 | 82.897 | 5.016 | 78.348 | 5.186 | 84.767 | 5.328 | 79.967 | -8.691 | 889.75 | 29.173 | 12.9771
2019-12-29 15:15:00 | 4.153 | 71.427 | 4.236 | 73.022 | 4.237 | 78.2 | 4.642 | 71.167 | -9.041 | 889.55 | 29.541 | 11.3748
2019-12-29 15:30:00 | 4.562 | 77.127 | 4.91 | 72.452 | 5.146 | 77.367 | 5.153 | 74.333 | -8.858 | 889.65 | 28.896 | 11.3477
2019-12-29 15:45:00 | 5.286 | 76.563 | 5.466 | 70.381 | 5.734 | 76.4 | 5.654 | 72.6 | -8.741 | 889.867 | 28.832 | 12.8435
2019-12-29 16:00:00 | 4.596 | 70.347 | 4.712 | 63.65 | 4.854 | 67.5 | 4.866 | 65.367 | -8.791 | 889.683 | 28.416 | 10.9775
2019-12-29 16:15:00 | 4.482 | 74.337 | 4.741 | 68.564 | 4.971 | 72.5 | 5.04 | 67.3 | -8.484 | 890 | 27.669 | 8.8906
2019-12-29 16:30:00 | 4.088 | 70.61 | 4.312 | 67.994 | 4.426 | 75.667 | 4.578 | 71.367 | -8.558 | 890.183 | 27.627 | 6.8847
2019-12-29 16:45:00 | 3.8 | 66.163 | 3.756 | 60.373 | 3.63 | 63.933 | 3.645 | 62.767 | -8.524 | 889.883 | 27.92 | 5.6497
2019-12-29 17:00:00 | 3.714 | 69.117 | 3.773 | 66.452 | 3.899 | 69.833 | 4.224 | 67.467 | -8.874 | 889.617 | 28.331 | 4.9235
2019-12-29 17:15:00 | 3.652 | 66.57 | 3.514 | 59.516 | 3.607 | 65.5 | 3.63 | 57.967 | -8.674 | 890.05 | 29.013 | 4.1767
2019-12-29 17:30:00 | 3.52 | 63.893 | 3.402 | 59.432 | 3.048 | 57.433 | 3.289 | 53.033 | -8.708 | 890.067 | 29.387 | 4.9733
2019-12-29 17:45:00 | 3.715 | 64.687 | 3.556 | 58.089 | 3.658 | 62.633 | 3.648 | 57.3 | -8.974 | 889.817 | 29.168 | 4.5988
2019-12-29 18:00:00 | 3.478 | 64.79 | 3.394 | 59.014 | 3.312 | 63.5 | 3.421 | 60.133 | -9.328 | 889.317 | 29.056 | 6.2125
2019-12-29 18:15:00 | 3.2 | 70.3 | 3.54 | 67.11 | 3.624 | 74.267 | 3.609 | 73.067 | -9.599 | 890.117 | 29.147 | 7.3913
2019-12-29 18:30:00 | 3.71 | 78.51 | 4.587 | 76.439 | 4.928 | 81.333 | 4.896 | 77.2 | -10.501 | 889.867 | 28.896 | 7.3188
2019-12-29 18:45:00 | 4.162 | 83.27 | 4.716 | 80.487 | 4.816 | 84.533 | 4.292 | 81.567 | -10.597 | 889.833 | 28.709 | 7.9278
2019-12-29 19:00:00 | 3.494 | 84.967 | 3.807 | 81.568 | 3.303 | 88.4 | 3.017 | 84.767 | -11.311 | 889.567 | 29.381 | 9.4186
2019-12-29 19:15:00 | 2.6 | 89.647 | 3.472 | 83.104 | 3.075 | 91 | 2.863 | 87.367 | -11.711 | 889.8 | 30.56 | 9.5564
2019-12-29 19:30:00 | 3.208 | 87.067 | 3.985 | 83.613 | 3.769 | 89.433 | 3.432 | 84.433 | -12.303 | 889.55 | 30.784 | 6.9458
2019-12-29 19:45:00 | 2.429 | 106.1 | 3.035 | 92.47 | 2.304 | 100.333 | 1.928 | 94.767 | -12.42 | 889.55 | 30.859 | 3.6154
2019-12-29 20:00:00 | 2.303 | 95.967 | 2.796 | 85.127 | 2.44 | 91.5 | 1.949 | 86.2 | -12.703 | 889.383 | 30.976 | 2.6817
2019-12-29 20:15:00 | 2.632 | 86.9 | 3.209 | 80.544 | 3.021 | 85.5 | 2.54 | 85.6 | -12.47 | 889.983 | 30.368 | 2.0365
2019-12-29 20:30:00 | 2.533 | 83.7 | 3.133 | 76.063 | 3.28 | 82.767 | 3.048 | 80.8 | -12.553 | 889.683 | 29.851 | 2.5715
2019-12-29 20:45:00 | 2.899 | 73.1 | 3.328 | 70.012 | 3.347 | 75.567 | 3.665 | 75.8 | -12.503 | 889.833 | 29.307 | 2.4806
2019-12-29 21:00:00 | 0 | 69.337 | 2.789 | 72.718 | 3.126 | 83.633 | 2.764 | 83.133 | -13.81 | 889.55 | 30.869 | 3.1634
2019-12-29 21:15:00 | 0.88 | 114.713 | 2.37 | 86.311 | 2.925 | 92.933 | 2.59 | 91.033 | -13.862 | 890 | 32.704 | 5.1921
2019-12-29 21:30:00 | 0.03 | 104.99 | 1.066 | 81.504 | 3 | 85.233 | 3.414 | 81.233 | -14.064 | 890.05 | 32.784 | 4.8446
2019-12-29 21:45:00 | 0 | 141.593 | 1.861 | 91.022 | 2.771 | 97.367 | 2.626 | 98.733 | -14.133 | 890.3 | 33.541 | 4.2172
2019-12-29 22:00:00 | 0.08 | 85.967 | 2.767 | 72.747 | 3.741 | 80.033 | 3.662 | 79.2 | -13.983 | 889.9 | 33.376 | 5.1431
2019-12-29 22:15:00 | 0.364 | 194.193 | 1.11 | 90.792 | 3.318 | 81.6 | 4.163 | 80.8 | -14.52 | 889.95 | 34.309 | 5.5168
2019-12-29 22:30:00 | 0.146 | 165.32 | 1.666 | 92.666 | 2.956 | 87 | 3.424 | 81.767 | -15.174 | 889.117 | 35.403 | 6.3304
2019-12-29 22:45:00 | 0.26 | 163.167 | 2.047 | 96.422 | 2.625 | 93.167 | 2.596 | 92.133 | -15.358 | 889.833 | 36.208 | 8.2454
2019-12-29 23:00:00 | 1.248 | 167.08 | 1.877 | 108.903 | 2.557 | 103.6 | 2.525 | 91.267 | -16.76 | 889.583 | 38.459 | 7.716
2019-12-29 23:15:00 | 1.506 | 169.367 | 2.304 | 115.527 | 2.951 | 106.267 | 2.912 | 95.167 | -15.341 | 889.517 | 37.52 | 8.0578
2019-12-29 23:30:00 | 1.665 | 187.033 | 2.055 | 124.52 | 2.964 | 110.567 | 2.737 | 97.167 | -15.124 | 889.783 | 37.131 | 6.55
2019-12-29 23:45:00 | 1.15 | 181.42 | 2.359 | 108.428 | 3.017 | 103.533 | 3.193 | 93.333 | -16.042 | 889.367 | 37.493 | 6.415