## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-30 00:00:00 | 0.636 | 151.933 | 2.778 | 104.961 | 3.021 | 100.467 | 2.781 | 93.967 | -15.741 | 890.1 | 38.619 | 6.928
2019-12-30 00:15:00 | 0.38 | 134.96 | 2.34 | 94.002 | 2.608 | 89.667 | 2.97 | 81.8 | -15.224 | 889.667 | 37.808 | 7.7928
2019-12-30 00:30:00 | 0.545 | 106.907 | 2.68 | 86.584 | 3.386 | 87.067 | 3.761 | 85.233 | -14.558 | 889.517 | 36.992 | 6.7966
2019-12-30 00:45:00 | 1.118 | 94.933 | 3.285 | 81.424 | 3.832 | 86.633 | 4.297 | 80.967 | -15.041 | 889.65 | 36.613 | 8.3968
2019-12-30 01:00:00 | 3.185 | 91.963 | 4.036 | 83.988 | 4.009 | 89.767 | 4.203 | 84.7 | -13.685 | 889.65 | 34.427 | 5.8366
2019-12-30 01:15:00 | 3.063 | 99.59 | 4.023 | 81.49 | 4.37 | 84.767 | 4.744 | 78.567 | -13.739 | 889.717 | 33.312 | 4.2321
2019-12-30 01:30:00 | 1.53 | 137.493 | 2.877 | 95.46 | 2.446 | 93.533 | 2.089 | 87.3 | -15.02 | 889.8 | 35.525 | 1.2044
2019-12-30 01:45:00 | 0.133 | 100 | 2.215 | 78.343 | 3.195 | 77.633 | 3.414 | 78.367 | -15.491 | 889.6 | 37.168 | 1.4517
2019-12-30 02:00:00 | 0.5 | 198.493 | 0.383 | 93.365 | 1.897 | 85.9 | 3.024 | 79.167 | -15.872 | 889.8 | 38.757 | 2.0166
2019-12-30 02:15:00 | 0.379 | 225.053 | 0.287 | 91.32 | 2.704 | 81.233 | 3.936 | 75.733 | -16.562 | 889.583 | 39.76 | 1.3863
2019-12-30 02:30:00 | 1.925 | 212.38 | 0.804 | 146.453 | 1.967 | 126.133 | 2.442 | 104.533 | -16.51 | 889.558 | 40.971 | 0.71909
2019-12-30 02:45:00 | 1.526 | 216.64 | 0.173 | 154.422 | 1.857 | 117.667 | 2.042 | 101.3 | -15.974 | 889.967 | 40.293 | 1.4204
2019-12-30 03:00:00 | 1.877 | 212.7 | 0.623 | 151.098 | 1.836 | 124.4 | 2.12 | 103.233 | -16.831 | 889.842 | 42.571 | 2.9368
2019-12-30 03:15:00 | 1.93 | 204.067 | 1.694 | 138.963 | 3.224 | 111.333 | 3.488 | 102.267 | -16.764 | 890.25 | 42.016 | 3.4477
2019-12-30 03:30:00 | 3.16 | 206.76 | 2.184 | 172.486 | 2.51 | 147.833 | 3.639 | 121.767 | -17.902 | 890 | 45.408 | 4.0502
2019-12-30 03:45:00 | 3.189 | 203.733 | 2.867 | 173.498 | 3.202 | 150.467 | 3.883 | 126.7 | -17.898 | 889.625 | 46.901 | 7.1042
2019-12-30 04:00:00 | 3.506 | 195.233 | 3.373 | 149.969 | 3.752 | 138.367 | 4.236 | 125.5 | -17.281 | 890.008 | 46.891 | 6.3503
2019-12-30 04:15:00 | 3.277 | 201.887 | 2.988 | 162.105 | 4.02 | 140.633 | 5.123 | 124.067 | -18.594 | 890.025 | 47.616 | 8.4266
2019-12-30 04:30:00 | 2.535 | 182.38 | 2.895 | 135.763 | 3.917 | 123.7 | 5.016 | 114.9 | -16.722 | 889.825 | 47.648 | 8.3016
2019-12-30 04:45:00 | 3.029 | 193.993 | 2.7 | 151.492 | 3.35 | 136.6 | 4.501 | 124.4 | -16.062 | 890.017 | 44.352 | 11.5673
2019-12-30 05:00:00 | 3.104 | 181.72 | 3.511 | 139.498 | 3.993 | 130.833 | 4.963 | 121.267 | -15.919 | 889.858 | 43.307 | 9.5998
2019-12-30 05:15:00 | 2.97 | 195.513 | 3.059 | 142.724 | 3.554 | 129.8 | 4.342 | 118.633 | -16.19 | 889.917 | 44.747 | 6.4114
2019-12-30 05:30:00 | 2.76 | 210.8 | 2.002 | 161.321 | 2.426 | 133.433 | 3.577 | 115.033 | -16.748 | 890.117 | 47.84 | 3.4654
2019-12-30 05:45:00 | 2.247 | 215.467 | 0.81 | 135.318 | 2.301 | 118.767 | 3.204 | 106.5 | -15.841 | 889.675 | 46.517 | 2.0223
2019-12-30 06:00:00 | 1.258 | 229.067 | 0 | 214.479 | 0.802 | 115.033 | 2.472 | 101.067 | -15.241 | 889.467 | 45.259 | 2.4912
2019-12-30 06:15:00 | 0.579 | 234.633 | 0 | 214.533 | 0.17 | 74.9 | 1.253 | 69.1 | -15.524 | 889.775 | 45.632 | 1.019
2019-12-30 06:30:00 | 1.912 | 306.6 | 3.053 | 320.542 | 1.917 | 344.467 | 1.34 | 26.58 | -15.391 | 890.208 | 45.552 | 0.19825
2019-12-30 06:45:00 | 2.793 | 307.827 | 2.686 | 336.445 | 1.652 | 127.5 | 1.914 | 24.221 | -15.943 | 889.583 | 43.989 | 0.26931
2019-12-30 07:00:00 | 3.326 | 288.067 | 2.056 | 325.369 | 1.48 | 354.2 | 1.103 | 24.03 | -16.318 | 890.167 | 43.312 | 0.24159
2019-12-30 07:15:00 | 3.094 | 285.48 | 2.149 | 324.965 | 1.293 | 354.633 | 1.351 | 24.059 | -16.04 | 890.017 | 43.285 | 0.23449
2019-12-30 07:30:00 | 2.808 | 283.92 | 2.021 | 334.91 | 1.06 | 0.134 | 1.165 | 23.933 | -16.012 | 889.375 | 43.637 | 0.23307
2019-12-30 07:45:00 | 2.55 | 283.653 | 1.544 | 338.933 | 1.52 | 4.639 | 1.098 | 23.867 | -16.275 | 889.725 | 43.584 | 0.23449
2019-12-30 08:00:00 | 2.38 | 259.633 | 1.104 | 338.868 | 1.023 | 7.006 | 1.481 | 25.1 | -16.864 | 889.9 | 44.512 | 0.24017
2019-12-30 08:15:00 | 2.625 | 273.207 | 1.605 | 323.211 | 0.908 | 1.803 | 0.739 | 25 | -16.446 | 889.542 | 45.008 | 0.24444
2019-12-30 08:30:00 | 3.09 | 264.9 | 1.787 | 298.894 | 0.52 | 339.067 | 0.524 | 67.515 | -16.831 | 890.208 | 44.715 | 0.25012
2019-12-30 08:45:00 | 2.548 | 285.84 | 1.726 | 318.911 | 0.35 | 7.605 | 1.32 | 68.467 | -16.488 | 889.483 | 44.885 | 0.2757
2019-12-30 09:00:00 | 2.686 | 289.333 | 1.831 | 336.515 | 0.564 | 10.885 | 1.31 | 46.733 | -16.931 | 889.908 | 45.099 | 0.10019
2019-12-30 09:15:00 | 2.635 | 291 | 0.676 | 220.908 | 1.311 | 54.812 | 1.866 | 70.133 | -16.598 | 889.675 | 44.651 | 0.11014
2019-12-30 09:30:00 | 1.284 | 302.467 | 0 | 82.191 | 0.73 | 48.39 | 1.793 | 73.833 | -16.714 | 889.6 | 45.696 | 1.2797
2019-12-30 09:45:00 | 0.396 | 327.56 | 0.849 | 48.76 | 2.144 | 70.562 | 3.044 | 77.767 | -16.51 | 889.75 | 44.853 | 2.2582
2019-12-30 10:00:00 | 0.504 | 0.133 | 2.304 | 19.987 | 2.391 | 52.533 | 2.899 | 65.333 | -16.488 | 889.908 | 44.512 | 3.7681
2019-12-30 10:15:00 | 1.603 | 20.032 | 2.323 | 56.797 | 3.407 | 72.533 | 3.799 | 76.533 | -16.062 | 889.692 | 44.064 | 4.5405
2019-12-30 10:30:00 | 0.86 | 48.5 | 1.897 | 67.632 | 2.112 | 87.967 | 1.951 | 89.933 | -15.174 | 889.567 | 43.072 | 1.5505
2019-12-30 10:45:00 | 0.501 | 75.393 | 0.613 | 75.273 | 0.805 | 86.967 | 1.528 | 108.567 | -14.287 | 889.817 | 41.504 | 1.7096
2019-12-30 11:00:00 | 0.748 | 51.167 | 0.274 | 65.853 | 1.302 | 99.9 | 2.935 | 108.8 | -14.683 | 889.7 | 39.984 | 1.2527
2019-12-30 11:15:00 | 0 | 54.067 | 0.799 | 115.174 | 2.01 | 121.367 | 3.267 | 117.733 | -12.332 | 889.8 | 38.907 | 0.3432
2019-12-30 11:30:00 | 1.496 | 37.016 | 0.609 | 31.424 | 0.296 | 54.004 | 0 | 116 | -12.328 | 889.75 | 36.016 | 0.14851
2019-12-30 11:45:00 | 1.012 | 87.433 | 0.674 | 80.247 | 1.363 | 92.6 | 2.229 | 99.133 | -12.77 | 889.55 | 36.208 | 0.12364
2019-12-30 12:00:00 | 1.863 | 83.692 | 1.418 | 70.96 | 1.882 | 80.3 | 1.838 | 79.533 | -12.42 | 889.9 | 35.787 | 0.1343
2019-12-30 12:15:00 | 2.03 | 52.35 | 1.826 | 57.216 | 1.832 | 72.3 | 2.067 | 67.3 | -11.911 | 889.567 | 34.235 | 2.8714
2019-12-30 12:30:00 | 2.208 | 34.987 | 1.986 | 30.608 | 1.829 | 41.7 | 2.352 | 45.1 | -11.411 | 889.6 | 32.379 | 13.9086
2019-12-30 12:45:00 | 6.077 | 69.895 | 6.02 | 64.694 | 6.14 | 69.033 | 6.209 | 64.867 | -10.703 | 889.867 | 30.192 | 19.9193
2019-12-30 13:00:00 | 5.888 | 71.615 | 6.002 | 67.566 | 5.874 | 74.167 | 5.848 | 69.767 | -10.966 | 889.417 | 30.368 | 19.0553
2019-12-30 13:15:00 | 5.948 | 77.688 | 5.984 | 74.344 | 6.102 | 79.267 | 6.365 | 75.633 | -10.816 | 889.933 | 30.491 | 18.7988
2019-12-30 13:30:00 | 5.644 | 93.967 | 5.777 | 88.316 | 5.315 | 93.067 | 5.193 | 88.9 | -10.316 | 890.133 | 30.277 | 18.5493
2019-12-30 13:45:00 | 6.223 | 97.44 | 6.287 | 90.616 | 6.061 | 95.7 | 5.731 | 90.433 | -10.062 | 889.8 | 30.288 | 18.0569
2019-12-30 14:00:00 | 6.74 | 92.233 | 6.536 | 88.101 | 6.707 | 92.233 | 6.862 | 86.267 | -9.445 | 889.583 | 30.597 | 17.794
2019-12-30 14:15:00 | 6.112 | 91.9 | 5.648 | 87.721 | 5.491 | 88.433 | 5.878 | 91.233 | -9.374 | 889.617 | 30.336 | 17.4764
2019-12-30 14:30:00 | 7.873 | 88.307 | 7.684 | 80.893 | 7.452 | 85.733 | 7.517 | 83.967 | -9.512 | 889.767 | 30.512 | 17.2632
2019-12-30 14:45:00 | 6.794 | 92.2 | 6.836 | 87.663 | 6.743 | 90.467 | 6.443 | 85.7 | -9.158 | 889.35 | 30.347 | 15.6985
2019-12-30 15:00:00 | 7.549 | 92.067 | 7.2 | 86.791 | 6.852 | 92.133 | 6.822 | 86.9 | -9.141 | 889.683 | 30.176 | 16.8724
2019-12-30 15:15:00 | 7.311 | 103.967 | 7.294 | 98.094 | 6.558 | 101.2 | 6.363 | 92.633 | -8.891 | 889.617 | 30.171 | 16.6514
2019-12-30 15:30:00 | 6.894 | 92.867 | 6.801 | 90.451 | 6.479 | 96.467 | 6.155 | 92.333 | -9.024 | 889.733 | 29.835 | 16.483
2019-12-30 15:45:00 | 7.478 | 93.567 | 7.608 | 88.569 | 7.143 | 92.833 | 7.281 | 88.8 | -8.841 | 889.617 | 29.605 | 17.2753
2019-12-30 16:00:00 | 8.274 | 97.3 | 7.363 | 92.289 | 6.797 | 94.633 | 6.534 | 89.867 | -8.624 | 890.15 | 30.101 | 18.469
2019-12-30 16:15:00 | 8.63 | 93.467 | 7.87 | 88.491 | 7.03 | 93.167 | 7.165 | 86.733 | -8.641 | 889.85 | 30.336 | 27.9452
2019-12-30 16:30:00 | 7.602 | 99.367 | 7.467 | 98.359 | 6.91 | 102.233 | 6.301 | 93.767 | -8.758 | 889.833 | 30.656 | 36.9942
2019-12-30 16:45:00 | 7.42 | 94.533 | 7.253 | 89.388 | 6.482 | 93.933 | 6.291 | 86.733 | -8.658 | 889.8 | 30.709 | 44.7849
2019-12-30 17:00:00 | 8.206 | 105.767 | 8.098 | 103.839 | 7.814 | 107.433 | 7.555 | 100.267 | -8.758 | 889.667 | 31.488 | 51.9119
2019-12-30 17:15:00 | 7.306 | 98.9 | 7.524 | 94.608 | 7.156 | 96.333 | 6.838 | 90.767 | -8.858 | 889.9 | 30.736 | 55.2359
2019-12-30 17:30:00 | 7.983 | 104.7 | 7.632 | 98.256 | 6.785 | 100.933 | 6.711 | 97.233 | -9.374 | 889.567 | 31.003 | 50.2982
2019-12-30 17:45:00 | 6.427 | 101.4 | 6.516 | 97.12 | 5.945 | 97.5 | 5.119 | 94.233 | -9.224 | 889.817 | 30.912 | 32.4281
2019-12-30 18:00:00 | 5.377 | 87.907 | 5.259 | 83.665 | 4.816 | 91.167 | 4.571 | 86.067 | -9.478 | 889.383 | 31.429 | 18.7419
2019-12-30 18:15:00 | 4.834 | 83.187 | 5.231 | 78.144 | 5.42 | 84.5 | 5.212 | 82.233 | -10.187 | 889.617 | 31.915 | 15.0917
2019-12-30 18:30:00 | 4.696 | 71.983 | 5.353 | 69.115 | 5.349 | 74.7 | 5.213 | 72.433 | -10.797 | 889.983 | 32.229 | 16.0396
2019-12-30 18:45:00 | 4.146 | 74.773 | 4.661 | 71.721 | 4.777 | 77.4 | 4.914 | 75.067 | -11.87 | 889.6 | 32.672 | 11.271
2019-12-30 19:00:00 | 3.627 | 79.333 | 4.241 | 76.38 | 4.487 | 80.633 | 4.756 | 76.067 | -12.636 | 889.833 | 33.611 | 4.4908
2019-12-30 19:15:00 | 2.493 | 73.2 | 2.877 | 69.159 | 3.016 | 73.233 | 3.161 | 71.4 | -12.486 | 889.9 | 33.952 | 2.3896
2019-12-30 19:30:00 | 1.757 | 73.967 | 2.26 | 66.026 | 2.463 | 74.4 | 2.866 | 66.1 | -12.786 | 889.683 | 34.736 | 1.8773
2019-12-30 19:45:00 | 1.176 | 72.11 | 1.863 | 62.584 | 2.297 | 70.833 | 2.829 | 68.5 | -13.222 | 889.567 | 35.264 | 1.009
2019-12-30 20:00:00 | 0 | 68.27 | 1 | 58.022 | 2.369 | 66.333 | 3.068 | 63.433 | -13.522 | 890.017 | 36.667 | 0.94505
2019-12-30 20:15:00 | 0.193 | 63.18 | 1.632 | 57.429 | 2.471 | 75.4 | 2.813 | 73.3 | -13.891 | 889.867 | 37.579 | 4.0147
2019-12-30 20:30:00 | 2.324 | 70.7 | 3.314 | 66.352 | 3.516 | 70.4 | 3.753 | 66.2 | -13.766 | 889.683 | 37.152 | 6.3645
2019-12-30 20:45:00 | 2.686 | 75.17 | 2.922 | 71.8 | 3.323 | 74.533 | 3.524 | 71.967 | -13.522 | 889.4 | 36.773 | 9.5351
2019-12-30 21:00:00 | 2.802 | 79.68 | 3.24 | 74.765 | 3.551 | 80.267 | 3.886 | 76.633 | -13.541 | 890.15 | 36.629 | 9.5763
2019-12-30 21:15:00 | 2.943 | 111.01 | 3.282 | 102.995 | 3.15 | 107.7 | 2.907 | 97.333 | -13.597 | 889.917 | 36.555 | 7.0375
2019-12-30 21:30:00 | 3.29 | 122.88 | 3.575 | 112.886 | 3.538 | 111.267 | 3.453 | 103.933 | -13.541 | 889.9 | 36.528 | 5.1623
2019-12-30 21:45:00 | 2.67 | 122.753 | 2.843 | 110.357 | 2.43 | 109.533 | 2.056 | 99.1 | -13.616 | 889.917 | 35.877 | 5.6462
2019-12-30 22:00:00 | 3.322 | 115.443 | 3.334 | 103.051 | 2.918 | 103.8 | 2.535 | 93.767 | -13.222 | 889.85 | 35.675 | 8.1204
2019-12-30 22:15:00 | 3.475 | 118.797 | 3.786 | 107.032 | 3.606 | 108.5 | 3.102 | 99.133 | -13.43 | 889.967 | 35.867 | 7.6883
2019-12-30 22:30:00 | 2.978 | 129.723 | 3.509 | 113.243 | 3.534 | 113.367 | 3.437 | 101.1 | -13.522 | 889.783 | 36.027 | 7.4382
2019-12-30 22:45:00 | 2.309 | 155.233 | 3.828 | 119.653 | 4.041 | 118.567 | 4.344 | 109.467 | -14.133 | 889.867 | 37.632 | 6.9117
2019-12-30 23:00:00 | 2.345 | 161.573 | 3.524 | 125.571 | 3.985 | 121.267 | 4.032 | 110.1 | -14.724 | 889.683 | 38.789 | 3.8548
2019-12-30 23:15:00 | 2.783 | 192.4 | 2.261 | 147.145 | 2.733 | 134.5 | 3.236 | 119.433 | -15.508 | 889.333 | 40.571 | 0.39579
2019-12-30 23:30:00 | 2.84 | 198.407 | 2.286 | 162.477 | 2.559 | 146.933 | 2.916 | 123.867 | -14.828 | 890.117 | 40.293 | 0.22951
2019-12-30 23:45:00 | 2.535 | 199.933 | 1.825 | 161.377 | 1.9 | 139.167 | 2.681 | 117 | -16.054 | 889.675 | 42.944 | 0.19825