## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-31 00:00:00 | 1.823 | 203.1 | 0.463 | 149.062 | 1.272 | 116.433 | 2.086 | 82.8 | -15.158 | 890.142 | 41.781 | 0.15775
2019-12-31 00:15:00 | 1.728 | 206.98 | 0.32 | 135.542 | 1.056 | 110.1 | 1.767 | 83.867 | -14.558 | 889.917 | 40.368 | 0.22028
2019-12-31 00:30:00 | 1.69 | 222.6 | 0 | 135.528 | 0.614 | 101.967 | 2.005 | 86.767 | -14.562 | 889.95 | 39.792 | 0.22241
2019-12-31 00:45:00 | 0.133 | 226.633 | 0 | 135.412 | 0.688 | 71.633 | 2.395 | 73.9 | -14.083 | 889.583 | 39.632 | 0.86405
2019-12-31 01:00:00 | 0.359 | 200 | 0.383 | 75.54 | 2.27 | 84 | 2.547 | 86.867 | -14.683 | 889.608 | 40.667 | 2.0002
2019-12-31 01:15:00 | 0.17 | 198.2 | 0.314 | 99.009 | 1.721 | 99.133 | 2.039 | 90.9 | -15.241 | 890.308 | 41.243 | 1.6052
2019-12-31 01:30:00 | 0.818 | 225.033 | 0 | 112.658 | 0.799 | 94.3 | 2.265 | 83.633 | -15.191 | 890.5 | 42.325 | 1.4936
2019-12-31 01:45:00 | 0.173 | 225.667 | 0 | 111.238 | 0.38 | 89.2 | 2.135 | 73.4 | -15.108 | 890.35 | 42.432 | 0.21033
2019-12-31 02:00:00 | 0.166 | 247.333 | 0 | 111.28 | 0.156 | 90.867 | 0.984 | 77.5 | -15.158 | 889.883 | 43.029 | 0.26931
2019-12-31 02:15:00 | 1.89 | 245.633 | 0 | 111.238 | 0 | 75 | 0.783 | 76.267 | -15.374 | 890.483 | 42.784 | 0.23591
2019-12-31 02:30:00 | 3.242 | 240.8 | 0 | 150.413 | 0 | 74.9 | 0 | 75.867 | -15.508 | 890.425 | 43.04 | 0.23449
2019-12-31 02:45:00 | 3.165 | 250.067 | 1.403 | 243.109 | 0 | 74.958 | 0 | 76 | -15.508 | 890.242 | 42.997 | 0.23875
2019-12-31 03:00:00 | 3.65 | 248.22 | 1.829 | 265.222 | 0.954 | 274.267 | 0 | 76 | -16.382 | 889.858 | 44.304 | 0.23164
2019-12-31 03:15:00 | 3.762 | 239.1 | 1.47 | 269.057 | 0.905 | 274 | 0.6 | 76 | -16.781 | 889.475 | 46.112 | 0.24159
2019-12-31 03:30:00 | 3.376 | 251.467 | 1.528 | 282.848 | 0 | 273.867 | 0.747 | 75.008 | -16.598 | 889.475 | 47.232 | 0.23591
2019-12-31 03:45:00 | 4.068 | 255.067 | 2.073 | 279.233 | 0.919 | 274.4 | 1.164 | 318 | -16.964 | 889.75 | 47.504 | 0.23733
2019-12-31 04:00:00 | 4.729 | 252.86 | 2.797 | 275.658 | 1.42 | 302.1 | 1.675 | 316.933 | -17.364 | 889.608 | 48.4 | 0.27286
2019-12-31 04:15:00 | 4.507 | 253.64 | 3.186 | 281.998 | 2.013 | 302.1 | 2.194 | 316 | -17.281 | 889.833 | 49.232 | 0.21246
2019-12-31 04:30:00 | 5.292 | 254.02 | 3.979 | 277.041 | 2.826 | 298.533 | 2.782 | 305.8 | -17.281 | 889.5 | 49.435 | 0.1279
2019-12-31 04:45:00 | 5.231 | 259.233 | 4.25 | 274.996 | 3.476 | 288.933 | 2.626 | 302.867 | -16.848 | 889.908 | 48.837 | 0.59972
2019-12-31 05:00:00 | 4.942 | 248.667 | 4.404 | 271.05 | 3.673 | 283.933 | 3.141 | 292.967 | -16.964 | 890.033 | 48.053 | 0.49882
2019-12-31 05:15:00 | 4.628 | 242.84 | 4.097 | 264.64 | 3.351 | 279.2 | 2.594 | 294.3 | -17.031 | 889.883 | 48.757 | 0.76599
2019-12-31 05:30:00 | 4.785 | 244.453 | 4.568 | 266.471 | 3.755 | 281.2 | 2.624 | 290.533 | -17.064 | 890.033 | 49.424 | 0.74112
2019-12-31 05:45:00 | 4.762 | 247.1 | 4.44 | 267.521 | 3.836 | 279.333 | 3.017 | 285.267 | -16.848 | 889.6 | 49.429 | 1.5583
2019-12-31 06:00:00 | 4.727 | 252.267 | 4.575 | 275.933 | 4.113 | 285.433 | 3.48 | 289.5 | -16.798 | 889.633 | 48.704 | 1.3018
2019-12-31 06:15:00 | 4.301 | 252.267 | 3.295 | 283.172 | 2.965 | 302.467 | 2.491 | 298.567 | -16.814 | 890.042 | 48.8 | 0.23449
2019-12-31 06:30:00 | 5.125 | 259.773 | 4.279 | 285.827 | 4.046 | 302.033 | 3.657 | 301.733 | -16.382 | 889.833 | 48.016 | 0.79512
2019-12-31 06:45:00 | 4.213 | 243.127 | 2.801 | 281.554 | 2.229 | 303.6 | 1.881 | 307 | -16.605 | 889.85 | 48.123 | 0.18119
2019-12-31 07:00:00 | 4.682 | 244.313 | 3.949 | 280.518 | 3.206 | 290.933 | 2.884 | 302 | -16.593 | 890.408 | 47.92 | 0.55922
2019-12-31 07:15:00 | 4.838 | 255.953 | 4.486 | 289.399 | 3.793 | 311.467 | 3.534 | 305.633 | -17.098 | 889.475 | 49.365 | 0.95855
2019-12-31 07:30:00 | 4.096 | 238.133 | 3.459 | 281.809 | 3.056 | 303.4 | 2.66 | 307 | -16.781 | 889.425 | 49.685 | 0.19256
2019-12-31 07:45:00 | 3.915 | 242.867 | 2.32 | 279.001 | 1.52 | 302 | 1.273 | 306.933 | -16.931 | 889.992 | 49.408 | 0.25722
2019-12-31 08:00:00 | 5.16 | 226.127 | 3.142 | 256.868 | 1.96 | 278 | 1.686 | 305 | -17.381 | 889.775 | 50.08 | 0.23307
2019-12-31 08:15:00 | 5.486 | 227.367 | 3.473 | 252.291 | 2.156 | 277.933 | 1.749 | 305.067 | -17.698 | 890.208 | 52.992 | 0.2558
2019-12-31 08:30:00 | 4.739 | 233.34 | 3.231 | 255.316 | 2.265 | 272.467 | 1.931 | 302 | -17.348 | 889.958 | 53.675 | 0.24728
2019-12-31 08:45:00 | 4.5 | 242.02 | 3.023 | 261.631 | 2.11 | 272.8 | 1.727 | 288.433 | -15.896 | 889.708 | 50.917 | 0.20038
2019-12-31 09:00:00 | 4.261 | 245.633 | 2.644 | 264.889 | 1.694 | 265.733 | 1.583 | 286.133 | -15.758 | 889.467 | 49.243 | 0.24017
2019-12-31 09:15:00 | 4.519 | 239.693 | 3.284 | 268.9 | 2.285 | 274 | 2.05 | 286 | -16.275 | 889.558 | 49.547 | 0.24586
2019-12-31 09:30:00 | 4.518 | 237.9 | 2.648 | 264.068 | 1.549 | 274 | 1.526 | 287 | -17.281 | 890.075 | 52.976 | 0.25154
2019-12-31 09:45:00 | 4.314 | 234.1 | 2.902 | 262.991 | 1.93 | 273.933 | 1.747 | 287.167 | -16.998 | 889.825 | 53.749 | 0.24728
2019-12-31 10:00:00 | 4.04 | 230.533 | 2.086 | 262.619 | 1.373 | 271.533 | 0.708 | 286.9 | -15.741 | 889.808 | 51.168 | 0.25154
2019-12-31 10:15:00 | 4.45 | 228.72 | 2.92 | 264.72 | 2.505 | 266.467 | 2.398 | 280.967 | -16.019 | 890 | 52.331 | 0.26149
2019-12-31 10:30:00 | 4.032 | 233.333 | 3.701 | 269.792 | 3.265 | 277.733 | 2.988 | 278.733 | -15.158 | 890 | 52.416 | 0.099479
2019-12-31 10:45:00 | 2.745 | 250.487 | 3.581 | 276.7 | 3.465 | 284.4 | 3.378 | 278.6 | -13.318 | 889.967 | 49.568 | 0.20606
2019-12-31 11:00:00 | 2.341 | 256.96 | 3.167 | 270.898 | 3.053 | 285.233 | 3.048 | 282.067 | -11.432 | 889.975 | 45.547 | 0.18404
2019-12-31 11:15:00 | 2.156 | 259.333 | 2.121 | 269.609 | 2.463 | 283.233 | 2.43 | 292.133 | -10.112 | 889.7 | 40.912 | 0.29631
2019-12-31 11:30:00 | 2.049 | 311.96 | 1.716 | 303.436 | 1.684 | 304.633 | 1.742 | 292.733 | -11.309 | 889.683 | 38.149 | 0.23733
2019-12-31 11:45:00 | 0.715 | 337.667 | 0.31 | 319.863 | 0.27 | 320.267 | 0.456 | 312.233 | -10.984 | 889.6 | 36.541 | 0.23875
2019-12-31 12:00:00 | 0.312 | 314.12 | 0 | 325.795 | 0.04 | 320.7 | 0.081 | 312 | -10.054 | 889.867 | 34.864 | 0.23449
2019-12-31 12:15:00 | 0 | 332.187 | 0 | 314.955 | 0 | 306.733 | 0 | 313 | -7.843 | 889.883 | 32.005 | 0.23022
2019-12-31 12:30:00 | 0 | 50.883 | 0 | 161.369 | 0 | 227.867 | 0 | 312.633 | -7.622 | 889.45 | 29.243 | 0.22596
2019-12-31 12:45:00 | 1.076 | 101.636 | 0.396 | 15.809 | 0.103 | 26.033 | 0.746 | 136.833 | -8.574 | 890.083 | 28.944 | 0.24444
2019-12-31 13:00:00 | 1.467 | 64.893 | 1.061 | 59.126 | 1.097 | 54.433 | 0.982 | 51.167 | -8.824 | 889.6 | 29.413 | 0.26291
2019-12-31 13:15:00 | 2.187 | 36.517 | 2.017 | 29.942 | 2.23 | 35.1 | 2.323 | 35.9 | -8.658 | 889.583 | 28.784 | 0.2956
2019-12-31 13:30:00 | 1.55 | 39.615 | 1.64 | 44.484 | 1.598 | 48.467 | 1.864 | 49.733 | -8.824 | 889.617 | 29.104 | 0.24941
2019-12-31 13:45:00 | 2.339 | 67.75 | 1.987 | 65.417 | 2.238 | 74.967 | 2.365 | 79.067 | -8.444 | 889.617 | 28.709 | 0.49029
2019-12-31 14:00:00 | 2.967 | 92.593 | 3.138 | 90.286 | 3.314 | 97.067 | 3.245 | 94.967 | -8.541 | 890.033 | 29.627 | 2.8778
2019-12-31 14:15:00 | 2.65 | 124.12 | 2.909 | 111.464 | 3.171 | 115.6 | 3.32 | 112.3 | -7.943 | 889.95 | 30.56 | 4.8539
2019-12-31 14:30:00 | 4.389 | 82.502 | 4.32 | 77.129 | 4.336 | 82.6 | 4.402 | 79.5 | -8.15 | 889.833 | 30.784 | 4.7373
2019-12-31 14:45:00 | 3.892 | 70.557 | 3.793 | 70.763 | 3.925 | 78.633 | 4.27 | 75.9 | -8.708 | 889.483 | 31.216 | 4.1184
2019-12-31 15:00:00 | 3.015 | 92.9 | 3.24 | 89.761 | 3.12 | 96.5 | 2.934 | 92.4 | -7.943 | 889.817 | 30.405 | 4.6954
2019-12-31 15:15:00 | 3.778 | 96.267 | 3.536 | 87.928 | 3.66 | 93.767 | 3.762 | 88.6 | -7.706 | 889.783 | 29.04 | 3.2892
2019-12-31 15:30:00 | 3.577 | 112.6 | 3.626 | 109.333 | 3.602 | 110.467 | 3.786 | 105.667 | -7.656 | 889.683 | 28.112 | 2.5452
2019-12-31 15:45:00 | 2.729 | 99.35 | 2.618 | 93.913 | 2.934 | 97.8 | 3.167 | 91.033 | -6.992 | 889.55 | 27.365 | 2.2916
2019-12-31 16:00:00 | 2.608 | 98.27 | 2.333 | 94.19 | 2.619 | 96.9 | 2.959 | 95.433 | -6.846 | 889.567 | 26.747 | 3.4228
2019-12-31 16:15:00 | 4.034 | 80.485 | 3.912 | 81.743 | 3.957 | 89.433 | 3.985 | 86.167 | -6.734 | 890.25 | 26.683 | 5.7833
2019-12-31 16:30:00 | 4.17 | 72.637 | 4.209 | 70.546 | 4.299 | 77.9 | 4.399 | 76.733 | -7.032 | 889.433 | 27.008 | 7.4219
2019-12-31 16:45:00 | 4.457 | 83.117 | 4.628 | 78.096 | 4.767 | 81.333 | 4.805 | 76.467 | -7.273 | 889.917 | 27.109 | 9.0874
2019-12-31 17:00:00 | 4.646 | 81.867 | 4.799 | 76.122 | 4.819 | 80.433 | 4.908 | 76.5 | -7.141 | 890.033 | 27.403 | 9.1287
2019-12-31 17:15:00 | 4.101 | 62.677 | 3.828 | 59.014 | 3.98 | 66.367 | 4.094 | 63.733 | -7.639 | 889.817 | 27.755 | 8.6199
2019-12-31 17:30:00 | 4.295 | 75.91 | 4.574 | 70.8 | 4.788 | 73.633 | 4.911 | 69.667 | -8.291 | 889.433 | 28.341 | 7.6464
2019-12-31 17:45:00 | 3.297 | 82.397 | 3.043 | 80.28 | 2.942 | 83.433 | 3.253 | 78.833 | -8.21 | 889.583 | 28.805 | 5.33
2019-12-31 18:00:00 | 3.323 | 73.933 | 3.384 | 70.869 | 3.555 | 76.433 | 3.773 | 72.167 | -8.541 | 889.7 | 29.152 | 4.6627
2019-12-31 18:15:00 | 3.507 | 68.923 | 3.514 | 64.751 | 3.468 | 70.767 | 3.649 | 66.2 | -8.674 | 889.8 | 30 | 4.0154
2019-12-31 18:30:00 | 3.221 | 68.823 | 3.182 | 65.111 | 3.257 | 68.767 | 3.384 | 63.8 | -9.124 | 890.2 | 30.629 | 2.5602
2019-12-31 18:45:00 | 2.916 | 65.473 | 2.881 | 61.728 | 2.824 | 64.867 | 2.853 | 62.733 | -9.537 | 889.65 | 31.701 | 1.6471
2019-12-31 19:00:00 | 2.5 | 67.787 | 2.519 | 67.917 | 2.743 | 74.167 | 2.894 | 75.033 | -10.337 | 889.883 | 32.464 | 0.62459
2019-12-31 19:15:00 | 0.713 | 62.233 | 1.347 | 68.993 | 1.496 | 72.333 | 1.89 | 70.333 | -10.283 | 889.633 | 32.987 | 0.22667
2019-12-31 19:30:00 | 0.197 | 62.045 | 1.107 | 65.227 | 1.634 | 72 | 1.747 | 72 | -10.618 | 889.8 | 34.101 | 0.26931
2019-12-31 19:45:00 | 0 | 62.11 | 1.408 | 66.252 | 1.639 | 72 | 1.822 | 72 | -10.962 | 889.867 | 35.285 | 0.23946
2019-12-31 20:00:00 | 0 | 62.105 | 1.684 | 66.273 | 2.082 | 76 | 2.59 | 72 | -10.926 | 889.617 | 36.149 | 0.26575
2019-12-31 20:15:00 | 0 | 62.12 | 1.762 | 68.17 | 2.126 | 80 | 2.463 | 72 | -11.082 | 890.233 | 36.379 | 0.24159
2019-12-31 20:30:00 | 0.71 | 75.577 | 1.986 | 71.093 | 2.395 | 82.2 | 2.83 | 77.667 | -10.909 | 890.067 | 35.808 | 0.23804
2019-12-31 20:45:00 | 0.363 | 113.3 | 1.816 | 86.196 | 2.593 | 90.067 | 2.92 | 89 | -11.461 | 889.85 | 35.712 | 0.23093
2019-12-31 21:00:00 | 1.106 | 114.3 | 2.096 | 86.254 | 2.673 | 93.867 | 2.917 | 90 | -11.361 | 889.783 | 35.547 | 0.13359
2019-12-31 21:15:00 | 1.456 | 130.14 | 1.902 | 98.675 | 2.517 | 102.267 | 2.649 | 94.233 | -11.395 | 889.883 | 35.296 | 0.28352
2019-12-31 21:30:00 | 1.653 | 168.767 | 1.059 | 122.452 | 1.328 | 116.6 | 1.9 | 124 | -11.528 | 889.817 | 35.451 | 0.23875
2019-12-31 21:45:00 | 1.344 | 182.767 | 0.033 | 140.631 | 1.183 | 129.9 | 1.903 | 124 | -11.578 | 889.567 | 35.925 | 0.2487
2019-12-31 22:00:00 | 0.422 | 183.56 | 0 | 140.526 | 0.106 | 127.867 | 1.008 | 124 | -11.49 | 889.95 | 36.224 | 0.24159
2019-12-31 22:15:00 | 0.548 | 198.687 | 0 | 140.576 | 0 | 127.933 | 0 | 124 | -11.653 | 889.717 | 36.821 | 0.23733
2019-12-31 22:30:00 | 1.548 | 222.04 | 0 | 140.528 | 0 | 128.233 | 0 | 124 | -11.932 | 889.8 | 37.093 | 0.22454
2019-12-31 22:45:00 | 1.468 | 228.427 | 0 | 140.536 | 0 | 128.4 | 0 | 124.1 | -11.849 | 889.267 | 37.147 | 0.23591
2019-12-31 23:00:00 | 1.04 | 236.4 | 0 | 140.563 | 0 | 128.133 | 0 | 123.867 | -11.89 | 889.85 | 37.307 | 0.24017
2019-12-31 23:15:00 | 1.783 | 241.92 | 0 | 140.67 | 0 | 128.267 | 0 | 124 | -11.911 | 889.833 | 37.483 | 0.23875
2019-12-31 23:30:00 | 2.143 | 226.92 | 0 | 140.989 | 0 | 128.933 | 0 | 123.867 | -11.807 | 889.817 | 37.216 | 0.22596
2019-12-31 23:45:00 | 2.206 | 223.367 | 0 | 141.2 | 0 | 128.933 | 0.759 | 124 | -12.099 | 890.083 | 36.885 | 0.24017