## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-01 00:00:00 | 1.639 | 230.053 | 0 | 140.657 | 0 | 128.367 | 0 | 124 | -11.911 | 889.917 | 36.725 | 0.23591
2020-01-01 00:15:00 | 0.233 | 230.467 | 0 | 140.708 | 0 | 128.333 | 0 | 124 | -11.428 | 889.5 | 37.035 | 0.23022
2020-01-01 00:30:00 | 0 | 230.6 | 0 | 140.553 | 0 | 128.133 | 0.43 | 124 | -11.561 | 889.883 | 36.837 | 0.23733
2020-01-01 00:45:00 | 0.708 | 230.44 | 0 | 140.506 | 0 | 128.1 | 0 | 124.133 | -11.724 | 890.017 | 37.328 | 0.2288
2020-01-01 01:00:00 | 0.176 | 230.373 | 0 | 140.434 | 0 | 128.4 | 0 | 124 | -11.932 | 890 | 37.749 | 0.2288
2020-01-01 01:15:00 | 0.193 | 233.047 | 0 | 140.478 | 0 | 128.2 | 0 | 123.867 | -12.078 | 889.567 | 38.133 | 0.23164
2020-01-01 01:30:00 | 1.07 | 238.86 | 0 | 140.56 | 0 | 128.433 | 0 | 124 | -12.328 | 889.183 | 38.288 | 0.23307
2020-01-01 01:45:00 | 1.903 | 222.867 | 0 | 140.613 | 0 | 129.733 | 0.658 | 124 | -11.995 | 889.917 | 38.048 | 0.23591
2020-01-01 02:00:00 | 1.806 | 228.393 | 0 | 140.953 | 0 | 129.8 | 0 | 124 | -11.63 | 889.667 | 37.115 | 0.24301
2020-01-01 02:15:00 | 0.036 | 228.533 | 0 | 140.535 | 0 | 128.933 | 0 | 124 | -11.682 | 889.583 | 37.109 | 0.24017
2020-01-01 02:30:00 | 1.223 | 234.773 | 0 | 140.803 | 0 | 128.8 | 0 | 124 | -12.036 | 889.817 | 37.861 | 0.25296
2020-01-01 02:45:00 | 1.327 | 236.1 | 0 | 140.558 | 0 | 128.333 | 0 | 123.867 | -11.995 | 889.5 | 37.739 | 0.24728
2020-01-01 03:00:00 | 1.814 | 240.087 | 0 | 140.649 | 0 | 128.733 | 0 | 124 | -12.049 | 889.95 | 38.064 | 0.24586
2020-01-01 03:15:00 | 1.713 | 248.227 | 0 | 141.161 | 0 | 129 | 0 | 124 | -12.295 | 890.067 | 38.064 | 0.23591
2020-01-01 03:30:00 | 2.101 | 233.867 | 0 | 140.74 | 0 | 128.133 | 0 | 124.033 | -12.603 | 889.433 | 38.48 | 0.23875
2020-01-01 03:45:00 | 1.699 | 242.033 | 0 | 140.632 | 0 | 128.2 | 0 | 124 | -12.436 | 889.933 | 38.464 | 0.23449
2020-01-01 04:00:00 | 1.783 | 234.893 | 0 | 140.585 | 0 | 128.667 | 0 | 124 | -11.953 | 889.767 | 37.851 | 0.23733
2020-01-01 04:15:00 | 2.23 | 215.473 | 0 | 140.722 | 0 | 129.667 | 0.47 | 124 | -12.086 | 889.817 | 38.437 | 0.23875
2020-01-01 04:30:00 | 1.374 | 210.96 | 0 | 140.63 | 0 | 129.5 | 0.218 | 124 | -11.953 | 890.083 | 37.803 | 0.23449
2020-01-01 04:45:00 | 1.894 | 220.86 | 0 | 140.517 | 0 | 129.233 | 0 | 124 | -12.161 | 889.65 | 39.2 | 0.24159
2020-01-01 05:00:00 | 2.045 | 235.26 | 0 | 140.451 | 0 | 129.1 | 0 | 124 | -12.211 | 889.458 | 40.347 | 0.23164
2020-01-01 05:15:00 | 1.266 | 241.24 | 0 | 140.644 | 0 | 129.2 | 0 | 124 | -12.324 | 889.85 | 39.867 | 0.23733
2020-01-01 05:30:00 | 1.743 | 247.52 | 0 | 140.752 | 0 | 129.267 | 0 | 124 | -12.253 | 889.883 | 42.688 | 0.24301
2020-01-01 05:45:00 | 1.52 | 274.333 | 0 | 126.338 | 0 | 128.642 | 0 | 124 | -12.603 | 889.908 | 42.389 | 0.23875
2020-01-01 06:00:00 | 1.189 | 286.56 | 0 | 55.12 | 0.618 | 36.167 | 0.591 | 124 | -12.078 | 889.875 | 41.717 | 0.24728
2020-01-01 06:15:00 | 1.913 | 264.393 | 1.029 | 14.299 | 0.786 | 11.9 | 0.745 | 25 | -12.22 | 889.833 | 44.053 | 0.25722
2020-01-01 06:30:00 | 0.994 | 264.4 | 0 | 348.96 | 1.28 | 0 | 1.605 | 25 | -12.736 | 889.608 | 45.397 | 0.25865
2020-01-01 06:45:00 | 1.193 | 243.633 | 0 | 348.875 | 0.69 | 0 | 1.238 | 24.967 | -12.62 | 889.925 | 45.483 | 0.25296
2020-01-01 07:00:00 | 1.334 | 247.067 | 0 | 348.987 | 0.753 | 0 | 1.081 | 25.067 | -12.92 | 889.842 | 45.525 | 0.27144
2020-01-01 07:15:00 | 1.354 | 237.467 | 0 | 348.877 | 0.033 | 96.033 | 1.344 | 65 | -12.603 | 890.183 | 44.971 | 0.25012
2020-01-01 07:30:00 | 1.946 | 252.2 | 0 | 349.048 | 0 | 96 | 1.142 | 65 | -13.153 | 889.667 | 46.048 | 0.25012
2020-01-01 07:45:00 | 2.296 | 274.267 | 0.07 | 347.49 | 0 | 96.008 | 0.501 | 65 | -12.62 | 889.825 | 44.64 | 0.24301
2020-01-01 08:00:00 | 1.817 | 268.267 | 0 | 336.084 | 0 | 96.067 | 0 | 64.9 | -12.536 | 890.3 | 42.96 | 0.24444
2020-01-01 08:15:00 | 2.325 | 263.827 | 0 | 335.616 | 0 | 95.933 | 0 | 65.1 | -12.57 | 890 | 43.605 | 0.24159
2020-01-01 08:30:00 | 2.395 | 261.12 | 0 | 335.684 | 0 | 96.158 | 0 | 64.867 | -12.703 | 889.817 | 43.525 | 0.25296
2020-01-01 08:45:00 | 3.381 | 260.88 | 1.566 | 301.591 | 0.43 | 167.45 | 0 | 64.954 | -13.251 | 889.9 | 46.187 | 0.25296
2020-01-01 09:00:00 | 3.179 | 270.467 | 1.789 | 300.734 | 0.3 | 274.367 | 0.225 | 64.825 | -13.12 | 890.05 | 47.312 | 0.24301
2020-01-01 09:15:00 | 2.039 | 288.4 | 0.26 | 312.965 | 0.154 | 274.667 | 0.282 | 63.125 | -12.386 | 889.958 | 42.699 | 0.24159
2020-01-01 09:30:00 | 2.025 | 280.667 | 0 | 312.87 | 0 | 274.367 | 0 | 63.196 | -12.436 | 889.8 | 42.592 | 0.24301
2020-01-01 09:45:00 | 2.177 | 261.6 | 0.06 | 313.169 | 0 | 274.367 | 0 | 63.125 | -12.82 | 889.858 | 43.68 | 0.24159
2020-01-01 10:00:00 | 2.457 | 275.667 | 0.429 | 312.955 | 0 | 274.367 | 0 | 63.267 | -12.536 | 889.775 | 43.2 | 0.2487
2020-01-01 10:15:00 | 2.964 | 294.667 | 1.937 | 321.109 | 1.984 | 334.533 | 1.846 | 6.954 | -12.503 | 889.525 | 42.677 | 0.25154
2020-01-01 10:30:00 | 2.191 | 291.067 | 1.53 | 320.958 | 1.253 | 334.433 | 1.116 | 0 | -12.57 | 889.742 | 40.709 | 0.24159
2020-01-01 10:45:00 | 1.408 | 257.293 | 0 | 321.033 | 0 | 334.567 | 0 | 0 | -12.703 | 889.575 | 40.741 | 0.24444
2020-01-01 11:00:00 | 1.093 | 258.8 | 0 | 320.833 | 0 | 333.867 | 0 | 0 | -11.89 | 890.167 | 38.709 | 0.25722
2020-01-01 11:15:00 | 1.073 | 257.733 | 0 | 321.255 | 0 | 334.8 | 0 | 0 | -11.528 | 890.017 | 39.856 | 0.2558
2020-01-01 11:30:00 | 1.064 | 258.293 | 0.09 | 296.547 | 0.027 | 300.567 | 0.064 | 0 | -11.159 | 889.9 | 34.856 | 0.25154
2020-01-01 11:45:00 | 0.372 | 257.933 | 0.033 | 283.032 | 0.08 | 288.033 | 0.034 | 0 | -10.516 | 889.95 | 33.296 | 0.23875
2020-01-01 12:00:00 | 0.931 | 301.013 | 0.33 | 311.104 | 0.48 | 288.933 | 1.031 | 43.7 | -9.849 | 889.35 | 31.971 | 0.23875
2020-01-01 12:15:00 | 0.538 | 275.853 | 0.08 | 324.073 | 0.183 | 312.867 | 0.242 | 296.567 | -9.358 | 889.917 | 30.848 | 0.24728
2020-01-01 12:30:00 | 0.273 | 0 | 0 | 335.039 | 0 | 345.733 | 0.101 | 296.2 | -8.307 | 889.917 | 29.067 | 0.24728
2020-01-01 12:45:00 | 0.133 | 115.15 | 0.15 | 69.313 | 0.539 | 50.233 | 0.625 | 167.133 | -8.317 | 889.783 | 28.261 | 0.24444
2020-01-01 13:00:00 | 0.23 | 106.69 | 0.047 | 79.921 | 0.213 | 70 | 0.279 | 24.633 | -8.05 | 889.45 | 27.408 | 0.25865
2020-01-01 13:15:00 | 1.367 | 75.832 | 1.176 | 66.121 | 1.622 | 72.5 | 1.785 | 70.633 | -8.17 | 889.533 | 26.8 | 0.25438
2020-01-01 13:30:00 | 1.764 | 60.008 | 1.313 | 54.449 | 1.246 | 62.533 | 1.387 | 58.667 | -7.589 | 890.1 | 26.475 | 0.26149
2020-01-01 13:45:00 | 1.959 | 74.295 | 1.901 | 67.686 | 2.039 | 73.467 | 2.207 | 68.633 | -7.15 | 889.617 | 25.835 | 0.24728
2020-01-01 14:00:00 | 1.093 | 95.1 | 0.703 | 86.849 | 1.282 | 95.733 | 1.35 | 72.2 | -6.512 | 889.967 | 26.56 | 0.25438
2020-01-01 14:15:00 | 1.847 | 106.953 | 1.703 | 95.099 | 2.109 | 101.567 | 2.543 | 98.533 | -6.562 | 890.033 | 27.851 | 0.26362
2020-01-01 14:30:00 | 1.739 | 99.61 | 1.466 | 98.218 | 1.605 | 105.833 | 1.74 | 103 | -6.582 | 889.583 | 28.8 | 0.26149
2020-01-01 14:45:00 | 1.612 | 137.26 | 1.547 | 118.551 | 1.764 | 125.133 | 1.892 | 126.367 | -6.718 | 889.4 | 28.496 | 0.25438
2020-01-01 15:00:00 | 2.142 | 116.743 | 1.926 | 107.483 | 1.756 | 111 | 1.864 | 93.367 | -6.236 | 890.033 | 27.307 | 0.25722
2020-01-01 15:15:00 | 1.762 | 71.857 | 1.425 | 69.609 | 1.612 | 77.067 | 2.017 | 77.3 | -6.495 | 889.933 | 27.509 | 0.2487
2020-01-01 15:30:00 | 2.32 | 89.37 | 2.091 | 84.098 | 2.063 | 92.5 | 2.146 | 81.833 | -6.064 | 889.967 | 27.936 | 0.26859
2020-01-01 15:45:00 | 1.674 | 74.12 | 1.462 | 70.008 | 2.047 | 76.067 | 2.364 | 74.333 | -6.378 | 889.683 | 27.899 | 0.25012
2020-01-01 16:00:00 | 2.386 | 47.353 | 1.828 | 52.146 | 2.179 | 62.033 | 2.412 | 64.433 | -5.978 | 889.983 | 27.947 | 0.26575
2020-01-01 16:15:00 | 2.372 | 45.869 | 2.178 | 40.232 | 2.458 | 51.267 | 2.612 | 49.567 | -6.13 | 890 | 27.755 | 0.20606
2020-01-01 16:30:00 | 2.423 | 57.96 | 2.148 | 54.525 | 2.287 | 60.2 | 2.337 | 57.7 | -6.259 | 890.3 | 29.104 | 0.20677
2020-01-01 16:45:00 | 2.586 | 47.258 | 2.391 | 40.979 | 2.51 | 45.567 | 2.562 | 43 | -6.28 | 890.167 | 29.072 | 0.26291
2020-01-01 17:00:00 | 2.12 | 40.453 | 1.916 | 36.197 | 1.98 | 44.533 | 2.147 | 45.067 | -6.223 | 889.55 | 28.549 | 0.22028
2020-01-01 17:15:00 | 2.128 | 46 | 1.958 | 39.224 | 1.938 | 45.3 | 1.861 | 36.933 | -6.628 | 889.767 | 28.416 | 0.24586
2020-01-01 17:30:00 | 2.225 | 56.063 | 1.876 | 49.568 | 1.848 | 53.533 | 2.034 | 55.2 | -6.512 | 889.517 | 28.731 | 0.23804
2020-01-01 17:45:00 | 1.842 | 68.99 | 1.419 | 66.882 | 1.319 | 63.567 | 1.425 | 61 | -6.834 | 889.833 | 28.944 | 0.23733
2020-01-01 18:00:00 | 1.509 | 85.293 | 0.879 | 76.24 | 0.57 | 83 | 0.624 | 61 | -7.366 | 890.017 | 29.349 | 0.24586
2020-01-01 18:15:00 | 2.266 | 89.32 | 2.074 | 81.192 | 2.084 | 87.333 | 1.95 | 72 | -7.426 | 890.067 | 29.781 | 0.25012
2020-01-01 18:30:00 | 1.835 | 91.967 | 2.001 | 82.228 | 1.942 | 92.267 | 1.704 | 78 | -7.539 | 890.05 | 30.373 | 0.26575
2020-01-01 18:45:00 | 2.359 | 91.17 | 2.632 | 80.626 | 2.513 | 90.8 | 2.085 | 76 | -7.953 | 889.7 | 31.125 | 0.25438
2020-01-01 19:00:00 | 2.179 | 73.573 | 2.587 | 71.749 | 2.638 | 78.167 | 2.573 | 76 | -8.167 | 889.433 | 31.685 | 0.25438
2020-01-01 19:15:00 | 2.076 | 76 | 2.582 | 71.751 | 2.458 | 76.533 | 2.367 | 75.033 | -8.574 | 889.65 | 32.624 | 0.25438
2020-01-01 19:30:00 | 1.636 | 94.6 | 2.334 | 83.264 | 2.227 | 92.967 | 2.016 | 77.833 | -8.941 | 889.567 | 33.179 | 0.2487
2020-01-01 19:45:00 | 2.348 | 108.367 | 2.683 | 89.987 | 2.503 | 101.167 | 2.276 | 93.067 | -9.291 | 889.983 | 33.429 | 0.2487
2020-01-01 20:00:00 | 1.042 | 110.2 | 1.629 | 90.256 | 1.232 | 102 | 1.075 | 97 | -9.041 | 890.267 | 33.696 | 0.25438
2020-01-01 20:15:00 | 1.083 | 114.2 | 1.704 | 90.244 | 1.187 | 102 | 0.935 | 97 | -9.274 | 889.567 | 34.187 | 0.2487
2020-01-01 20:30:00 | 0 | 114.027 | 1.23 | 76.233 | 1.07 | 87 | 0.245 | 97 | -9.916 | 889.8 | 34.677 | 0.24444
2020-01-01 20:45:00 | 0 | 114.053 | 0.99 | 77.096 | 1.069 | 87.233 | 1.157 | 97 | -9.849 | 889.167 | 35.621 | 0.23875
2020-01-01 21:00:00 | 0.363 | 114 | 1.615 | 80.171 | 1.544 | 87.3 | 1.679 | 97.033 | -10.016 | 889.75 | 35.749 | 0.23875
2020-01-01 21:15:00 | 0.197 | 110 | 1.329 | 77.327 | 1.632 | 84.033 | 1.933 | 85.133 | -9.495 | 889.65 | 35.285 | 0.23875
2020-01-01 21:30:00 | 0.784 | 94.107 | 1.618 | 84.922 | 1.834 | 91.633 | 1.835 | 75.933 | -9.683 | 889.517 | 34.928 | 0.23591
2020-01-01 21:45:00 | 0.942 | 121.153 | 1.034 | 104.263 | 1.563 | 111 | 2.151 | 92 | -9.537 | 889.55 | 34.688 | 0.24017
2020-01-01 22:00:00 | 2.098 | 183.427 | 1.113 | 133.596 | 1.43 | 118 | 1.734 | 92 | -10.004 | 889.6 | 35.605 | 0.25154
2020-01-01 22:15:00 | 2.756 | 184.847 | 1.589 | 141.072 | 1.652 | 130.267 | 1.944 | 94.067 | -10.045 | 889.933 | 35.013 | 0.2558
2020-01-01 22:30:00 | 3.188 | 189.193 | 1.875 | 158.801 | 1.594 | 130.833 | 1.832 | 99 | -9.87 | 889.383 | 34.432 | 0.26007
2020-01-01 22:45:00 | 2.612 | 199.173 | 1.077 | 159.456 | 0 | 131.067 | 0.942 | 99 | -9.728 | 889.533 | 34.283 | 0.2558
2020-01-01 23:00:00 | 1.684 | 199.393 | 0.193 | 159.522 | 0 | 130.867 | 0 | 99 | -9.192 | 889.933 | 34.229 | 0.25722
2020-01-01 23:15:00 | 1.46 | 204.36 | 1.039 | 159.502 | 0.4 | 130.967 | 1.666 | 99 | -9.42 | 889.8 | 36.123 | 0.25296
2020-01-01 23:30:00 | 1.13 | 204.487 | 0.03 | 157.49 | 0.994 | 131 | 1.528 | 99 | -9.483 | 889.833 | 37.504 | 0.27002
2020-01-01 23:45:00 | 1.73 | 186.42 | 0.153 | 155.154 | 0.507 | 131 | 1.322 | 99 | -9.828 | 889.8 | 38.581 | 0.24159