## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-02 00:00:00 | 1.58 | 172.4 | 0 | 145.555 | 0.6 | 131.067 | 2.088 | 99.133 | -9.224 | 890 | 37.829 | 0.16059
2020-01-02 00:15:00 | 1.368 | 163.1 | 0.236 | 145.474 | 1.387 | 130.333 | 2.438 | 103 | -8.808 | 889.667 | 36.869 | 0.17196
2020-01-02 00:30:00 | 0.602 | 176.053 | 0 | 133.521 | 0 | 123 | 1.296 | 102 | -9.933 | 889.583 | 38.736 | 0.25722
2020-01-02 00:45:00 | 0 | 176.133 | 0 | 133.559 | 0 | 120.767 | 1.276 | 102 | -9.808 | 889.633 | 39.237 | 0.28565
2020-01-02 01:00:00 | 0 | 202 | 0 | 133.458 | 0 | 121.067 | 0.504 | 102 | -10.199 | 889.883 | 40.576 | 0.28423
2020-01-02 01:15:00 | 0 | 202.02 | 0 | 133.563 | 0.958 | 83 | 1.12 | 102.067 | -10.401 | 890.017 | 40.368 | 0.27144
2020-01-02 01:30:00 | 0 | 202.22 | 0 | 133.503 | 1.054 | 83.567 | 1.097 | 102 | -10.722 | 890.042 | 40.955 | 0.25865
2020-01-02 01:45:00 | 0 | 202.4 | 0 | 133.45 | 0 | 82.967 | 1.259 | 102 | -10.891 | 889.708 | 40.821 | 0.24586
2020-01-02 02:00:00 | 0 | 197.127 | 0 | 128.824 | 1.031 | 66 | 2.142 | 75.2 | -10.853 | 889.9 | 41.419 | 0.26291
2020-01-02 02:15:00 | 1.36 | 187.107 | 0.043 | 128.524 | 1.484 | 100.367 | 2.438 | 96.667 | -10.597 | 889.983 | 40.475 | 0.25012
2020-01-02 02:30:00 | 1.459 | 173.027 | 0.537 | 128.466 | 1.429 | 115.833 | 2.179 | 103 | -10.074 | 889.883 | 39.029 | 0.24444
2020-01-02 02:45:00 | 1.642 | 190.38 | 0.236 | 129.933 | 1.145 | 130.067 | 1.616 | 103.5 | -10.31 | 889.658 | 41.531 | 0.25296
2020-01-02 03:00:00 | 2.7 | 188.667 | 1.717 | 159.486 | 1.973 | 161 | 2.231 | 140 | -10.703 | 890.117 | 42.112 | 0.27712
2020-01-02 03:15:00 | 3.084 | 189 | 2.052 | 169.469 | 2.058 | 171.667 | 2.442 | 148.4 | -10.483 | 889.9 | 40.411 | 0.22241
2020-01-02 03:30:00 | 2.974 | 194.067 | 2.332 | 178.086 | 2.273 | 172.9 | 3.07 | 146.833 | -10.183 | 889.492 | 41.461 | 0.2622
2020-01-02 03:45:00 | 3.025 | 202.233 | 2.547 | 167.397 | 2.639 | 157.667 | 3.055 | 141 | -10.433 | 889.433 | 43.093 | 0.25225
2020-01-02 04:00:00 | 2.883 | 217.76 | 1.185 | 175.481 | 0.557 | 147.5 | 1.772 | 135 | -10.632 | 890.1 | 43.381 | 0.27996
2020-01-02 04:15:00 | 2.388 | 236.207 | 0 | 178.484 | 0 | 151 | 0.93 | 135.133 | -10.647 | 889.758 | 44.811 | 0.26291
2020-01-02 04:30:00 | 2.816 | 247.94 | 0 | 187.22 | 0.244 | 78.867 | 1.441 | 88.967 | -10.928 | 890.192 | 45.216 | 0.26859
2020-01-02 04:45:00 | 1.457 | 281.747 | 1.41 | 332.487 | 0.507 | 338.267 | 1.303 | 69.383 | -10.928 | 889.867 | 46.336 | 0.26433
2020-01-02 05:00:00 | 1.347 | 271 | 0 | 349 | 0.916 | 34.05 | 1.014 | 69 | -10.349 | 889.333 | 47.435 | 0.26291
2020-01-02 05:15:00 | 0.14 | 294 | 0.027 | 347.004 | 1.184 | 6.049 | 1.737 | 41.067 | -10.399 | 889.892 | 48.512 | 0.2558
2020-01-02 05:30:00 | 1.006 | 294.107 | 0.034 | 347.079 | 0.113 | 23.263 | 0.484 | 41 | -10.033 | 889.908 | 48.971 | 0.29133
2020-01-02 05:45:00 | 0.293 | 297.733 | 0.203 | 351.428 | 1.594 | 34.204 | 2.386 | 45.133 | -10.116 | 889.608 | 47.115 | 0.28849
2020-01-02 06:00:00 | 0 | 298.36 | 0 | 352.972 | 1.7 | 59.7 | 2.517 | 58.2 | -10.685 | 889.85 | 46.805 | 0.28991
2020-01-02 06:15:00 | 0 | 299.2 | 0 | 352.968 | 1.398 | 73 | 2.471 | 72 | -11.328 | 889.667 | 47.44 | 0.2892
2020-01-02 06:30:00 | 0 | 298.373 | 0 | 19.541 | 1.407 | 97 | 2.532 | 87 | -11.482 | 890.192 | 49.573 | 0.25936
2020-01-02 06:45:00 | 0 | 226.6 | 0 | 8.031 | 1.544 | 92.167 | 2.542 | 90.3 | -11.395 | 889.783 | 47.787 | 0.12222
2020-01-02 07:00:00 | 0.047 | 193.6 | 0.931 | 59.519 | 2.178 | 111 | 2.175 | 98.833 | -11.311 | 889.65 | 45.963 | 0.16059
2020-01-02 07:15:00 | 1.464 | 193.333 | 1.193 | 142.566 | 1.926 | 130 | 2.544 | 102.8 | -11.245 | 889.708 | 44.619 | 0.19967
2020-01-02 07:30:00 | 1.587 | 188.6 | 1.136 | 137.15 | 2.221 | 105.8 | 3.088 | 91.667 | -11.328 | 889.925 | 45.909 | 0.26931
2020-01-02 07:45:00 | 1.166 | 175.18 | 1.113 | 110.251 | 1.708 | 91.667 | 2.546 | 85.1 | -10.966 | 889.975 | 49.024 | 0.23449
2020-01-02 08:00:00 | 1.354 | 134.9 | 1.23 | 110.249 | 2.022 | 92.933 | 3.343 | 90.133 | -10.984 | 889.383 | 48.864 | 1.1355
2020-01-02 08:15:00 | 1.703 | 159.607 | 1.576 | 133.765 | 2.411 | 112.967 | 1.701 | 89.733 | -10.928 | 889.808 | 51.413 | 0.64306
2020-01-02 08:30:00 | 1.304 | 182.4 | 0.067 | 131.463 | 0.58 | 105.233 | 1.229 | 76 | -10.891 | 889.775 | 52.992 | 0.11085
2020-01-02 08:45:00 | 0.193 | 182.673 | 0 | 131.438 | 0.056 | 99.033 | 1.992 | 75.167 | -11.022 | 889.967 | 53.28 | 0.17125
2020-01-02 09:00:00 | 0 | 182.593 | 0 | 131.512 | 0.954 | 75.033 | 2.31 | 75.033 | -11.538 | 889.558 | 52.213 | 0.30981
2020-01-02 09:15:00 | 0.116 | 234.333 | 0 | 78.214 | 0.309 | 41.633 | 1.253 | 65 | -11.128 | 889.792 | 52.075 | 0.1279
2020-01-02 09:30:00 | 0 | 277.2 | 0 | 78.284 | 0.512 | 71.333 | 2.492 | 71.333 | -11.328 | 890.075 | 50.955 | 0.23093
2020-01-02 09:45:00 | 0 | 338.92 | 0 | 25.049 | 1.062 | 59.525 | 2.417 | 71.9 | -10.947 | 890.067 | 46.912 | 0.18262
2020-01-02 10:00:00 | 0 | 338.72 | 0.147 | 26.799 | 1.709 | 90.25 | 2.322 | 89 | -10.853 | 890.192 | 44.128 | 0.29418
2020-01-02 10:15:00 | 0.768 | 338.88 | 0 | 27.058 | 0.336 | 75.233 | 1.337 | 87.733 | -11.055 | 889.808 | 43.029 | 0.26433
2020-01-02 10:30:00 | 1.491 | 313.493 | 0 | 25.171 | 0 | 72.158 | 0 | 87 | -10.872 | 890.15 | 42.624 | 0.26717
2020-01-02 10:45:00 | 0.033 | 314.853 | 0 | 24.045 | 0 | 71.9 | 1.406 | 87 | -11.04 | 889.792 | 41.216 | 0.26859
2020-01-02 11:00:00 | 0.422 | 313 | 0 | 24.066 | 0 | 72.25 | 0.084 | 87 | -10.984 | 889.917 | 43.019 | 0.26007
2020-01-02 11:15:00 | 0.476 | 241.427 | 0.036 | 24.158 | 0.446 | 72.2 | 1.968 | 79.8 | -10.558 | 889.65 | 38.981 | 0.26575
2020-01-02 11:30:00 | 0.216 | 28.008 | 0 | 28.077 | 0.407 | 66.133 | 1.522 | 75 | -9.912 | 889.867 | 36.944 | 0.25722
2020-01-02 11:45:00 | 0 | 28.017 | 0 | 28.068 | 0 | 65 | 0.178 | 75.933 | -9.808 | 890.017 | 35.296 | 0.25438
2020-01-02 12:00:00 | 0 | 28.043 | 0 | 28.066 | 0 | 65 | 0 | 75.9 | -9.408 | 889.783 | 34.171 | 0.27286
2020-01-02 12:15:00 | 0 | 183.3 | 0 | 30.071 | 0.033 | 128.133 | 1.986 | 98 | -9.391 | 889.983 | 33.963 | 2.0535
2020-01-02 12:30:00 | 1.801 | 70.37 | 1.914 | 73.23 | 2.782 | 86.7 | 3.433 | 86.433 | -9.091 | 889.65 | 33.493 | 4.4808
2020-01-02 12:45:00 | 2.599 | 76.207 | 2.573 | 78.144 | 2.686 | 84.2 | 2.4 | 86.7 | -8.351 | 889.95 | 31.76 | 2.4813
2020-01-02 13:00:00 | 3.24 | 89.833 | 2.927 | 84.841 | 2.45 | 91.433 | 2.52 | 91.767 | -7.606 | 889.95 | 30.053 | 3.7106
2020-01-02 13:15:00 | 4.066 | 93.5 | 3.737 | 90.36 | 2.894 | 94.367 | 2.49 | 89.833 | -7.556 | 889.683 | 29.584 | 4.1568
2020-01-02 13:30:00 | 3.412 | 95.317 | 2.829 | 95.184 | 2.588 | 103.333 | 2.93 | 100.333 | -7.19 | 889.7 | 29.216 | 3.7646
2020-01-02 13:45:00 | 3.306 | 104.763 | 3.053 | 103.069 | 2.714 | 99.3 | 2.812 | 99.867 | -7.071 | 889.783 | 28.693 | 3.2849
2020-01-02 14:00:00 | 3.026 | 103.533 | 2.737 | 96.935 | 2.596 | 97.267 | 2.831 | 92.133 | -7.23 | 889.367 | 29.216 | 2.8615
2020-01-02 14:15:00 | 3.425 | 101.34 | 2.869 | 95.987 | 2.733 | 101.867 | 3.212 | 98.667 | -7.131 | 889.717 | 29.035 | 2.7982
2020-01-02 14:30:00 | 3.311 | 82.1 | 3.304 | 79.414 | 3.258 | 84.467 | 3.279 | 84 | -6.826 | 890.05 | 29.749 | 2.1857
2020-01-02 14:45:00 | 2.672 | 92.07 | 2.607 | 85.297 | 2.684 | 88.3 | 3.014 | 85.9 | -6.913 | 889.833 | 29.909 | 1.181
2020-01-02 15:00:00 | 2.84 | 92.663 | 2.694 | 87.712 | 2.487 | 95.167 | 2.854 | 93.033 | -6.84 | 889.533 | 29.723 | 2.2859
2020-01-02 15:15:00 | 3.208 | 91.693 | 2.805 | 88.095 | 2.796 | 90.167 | 3.195 | 89.067 | -6.372 | 889.6 | 28.757 | 2.4749
2020-01-02 15:30:00 | 2.807 | 56.863 | 2.607 | 47.648 | 2.43 | 57.4 | 2.688 | 57.267 | -6.445 | 889.65 | 27.787 | 1.8411
2020-01-02 15:45:00 | 3.297 | 66.02 | 3.222 | 62.344 | 3.193 | 65.267 | 3.284 | 67.433 | -6.163 | 890.1 | 27.504 | 3.4157
2020-01-02 16:00:00 | 3.917 | 73.687 | 4.086 | 67.67 | 4.047 | 74.9 | 4.209 | 71.167 | -6.442 | 889.75 | 27.979 | 4.6123
2020-01-02 16:15:00 | 4.446 | 72.578 | 4.506 | 68.754 | 4.798 | 75.033 | 4.857 | 71.7 | -6.296 | 890.2 | 27.824 | 5.9382
2020-01-02 16:30:00 | 4.304 | 79.657 | 4.299 | 79.749 | 4.192 | 85.633 | 4.324 | 80.467 | -6.005 | 889.7 | 27.888 | 5.2966
2020-01-02 16:45:00 | 3.79 | 84.633 | 3.745 | 80.756 | 3.734 | 85.033 | 3.884 | 83.733 | -6.047 | 889.367 | 28.272 | 4.4055
2020-01-02 17:00:00 | 3.13 | 92.8 | 2.833 | 83.602 | 3.048 | 90.6 | 3.565 | 84.767 | -6.114 | 889.467 | 28.08 | 4.5334
2020-01-02 17:15:00 | 3.416 | 77.473 | 3.453 | 74.379 | 3.517 | 81.8 | 3.618 | 79.233 | -6.223 | 889.667 | 28.059 | 3.5599
2020-01-02 17:30:00 | 3.531 | 74.697 | 3.566 | 73.187 | 3.655 | 77.433 | 3.854 | 77.5 | -6.359 | 889.5 | 28.229 | 4.6563
2020-01-02 17:45:00 | 4.082 | 72.68 | 4.213 | 70.33 | 4.233 | 75.233 | 4.449 | 72.5 | -6.266 | 889.767 | 28.299 | 3.6175
2020-01-02 18:00:00 | 3.243 | 76.023 | 3.515 | 73.366 | 3.564 | 77.833 | 3.8 | 74.3 | -6.352 | 889.883 | 28.528 | 1.4687
2020-01-02 18:15:00 | 2.672 | 65.927 | 2.663 | 59.445 | 2.514 | 63.767 | 2.694 | 59.267 | -6.462 | 890.133 | 29.168 | 0.42492
2020-01-02 18:30:00 | 1.69 | 70.663 | 2.262 | 64.444 | 2.601 | 71 | 2.427 | 70.067 | -7.519 | 889.45 | 30.533 | 0.15775
2020-01-02 18:45:00 | 1.856 | 56.143 | 2.458 | 58.146 | 2.636 | 64.533 | 2.468 | 70.2 | -7.713 | 889.7 | 31.419 | 0.22596
2020-01-02 19:00:00 | 1.431 | 68.223 | 1.783 | 65.287 | 1.669 | 72.233 | 1.481 | 69.067 | -8.284 | 889.45 | 32.208 | 0.27712
2020-01-02 19:15:00 | 1.433 | 69.203 | 1.735 | 65.244 | 1.561 | 72 | 1.429 | 69 | -8.471 | 889.933 | 32.053 | 0.23591
2020-01-02 19:30:00 | 0.197 | 69.2 | 1.382 | 68.836 | 1.594 | 73.233 | 1.56 | 70.933 | -8.908 | 889.783 | 32.677 | 0.23022
2020-01-02 19:45:00 | 0.403 | 70.367 | 1.824 | 71.234 | 1.772 | 78.067 | 1.812 | 72 | -9.008 | 889.683 | 33.339 | 0.22738
2020-01-02 20:00:00 | 0.366 | 76.173 | 1.801 | 71.237 | 1.623 | 78.033 | 1.733 | 72 | -9.424 | 889.633 | 33.925 | 0.22596
2020-01-02 20:15:00 | 1.404 | 85.633 | 1.71 | 71.258 | 1.664 | 83.5 | 1.803 | 73.567 | -9.274 | 889.883 | 34.075 | 0.23733
2020-01-02 20:30:00 | 1.539 | 104.2 | 1.726 | 83.251 | 2.019 | 100.067 | 2.086 | 92 | -9.141 | 889.983 | 33.92 | 0.23733
2020-01-02 20:45:00 | 1.127 | 130.333 | 0.99 | 83.285 | 1.536 | 102 | 1.835 | 93 | -9.395 | 889.617 | 34.027 | 0.23733
2020-01-02 21:00:00 | 1.519 | 125.16 | 1.655 | 83.804 | 1.942 | 113 | 2.206 | 97 | -9.583 | 889.933 | 33.835 | 0.24301
2020-01-02 21:15:00 | 1.557 | 100.507 | 2.056 | 81.278 | 1.952 | 94.433 | 2.099 | 97 | -9.666 | 890.017 | 34.096 | 0.23307
2020-01-02 21:30:00 | 0.914 | 97.093 | 1.752 | 78.263 | 1.603 | 83.067 | 1.54 | 97 | -9.724 | 889.517 | 34.704 | 0.23164
2020-01-02 21:45:00 | 1.324 | 95.027 | 1.546 | 78.24 | 1.67 | 83 | 1.408 | 96.967 | -9.983 | 889.733 | 34.779 | 0.22738
2020-01-02 22:00:00 | 1.323 | 93 | 1.556 | 78.271 | 1.412 | 83.067 | 1.462 | 97 | -10.266 | 889.617 | 35.557 | 0.23875
2020-01-02 22:15:00 | 0.456 | 93.31 | 0.243 | 78.251 | 0.44 | 83 | 0.843 | 97.067 | -10.351 | 889.75 | 35.931 | 0.24159
2020-01-02 22:30:00 | 2.123 | 177.96 | 1.094 | 93.843 | 0.673 | 104.467 | 1.532 | 97.067 | -11.04 | 889.567 | 37.253 | 0.2757
2020-01-02 22:45:00 | 2.726 | 185.287 | 2.184 | 153.906 | 2.141 | 151.033 | 2.87 | 131.133 | -10.909 | 889.583 | 37.291 | 0.2018
2020-01-02 23:00:00 | 3.67 | 189.433 | 2.803 | 164.038 | 2.922 | 149.4 | 2.687 | 133.567 | -10.797 | 889.633 | 37.269 | 0.14069
2020-01-02 23:15:00 | 2.972 | 192.733 | 2.035 | 158.448 | 2.433 | 149.033 | 2.993 | 140.567 | -10.416 | 889.5 | 35.835 | 0.15419
2020-01-02 23:30:00 | 2.567 | 197.567 | 1.256 | 147.428 | 1.178 | 127.2 | 1.871 | 126 | -10.316 | 890.383 | 36.149 | 0.26007
2020-01-02 23:45:00 | 3.265 | 213.207 | 1.51 | 182.008 | 0.523 | 142 | 0.929 | 124 | -10.52 | 890.1 | 36.416 | 0.27428