## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-03 00:00:00 | 3.3 | 212.767 | 1.826 | 186.46 | 1.297 | 147.767 | 2.072 | 137 | -10.216 | 889.817 | 36.213 | 0.25651
2020-01-03 00:15:00 | 3.11 | 213.253 | 1.366 | 186.552 | 1.253 | 163 | 1.898 | 137 | -9.724 | 889.7 | 35.248 | 0.2487
2020-01-03 00:30:00 | 3.449 | 217.987 | 1.381 | 186.442 | 1.372 | 162 | 1.505 | 143.933 | -10.435 | 890.1 | 36.981 | 0.20109
2020-01-03 00:45:00 | 3.222 | 211.38 | 1.326 | 179.511 | 1.805 | 162 | 2.026 | 144.367 | -9.549 | 889.683 | 35.925 | 0.22738
2020-01-03 01:00:00 | 3.839 | 213.387 | 2.224 | 185.819 | 2.429 | 158.033 | 2.801 | 147 | -9.82 | 889.9 | 35.488 | 0.2622
2020-01-03 01:15:00 | 3.818 | 216.44 | 1.609 | 180.779 | 1.84 | 156.433 | 2.026 | 135.533 | -11.155 | 889.717 | 38.843 | 0.25722
2020-01-03 01:30:00 | 2.517 | 212.48 | 0 | 179.58 | 1.219 | 127 | 1.697 | 119.7 | -10.982 | 889.65 | 40.117 | 0.25438
2020-01-03 01:45:00 | 2.143 | 203.227 | 0.363 | 144.495 | 0.604 | 109 | 1.502 | 103.033 | -10.406 | 889.717 | 39.845 | 0.23449
2020-01-03 02:00:00 | 2.652 | 194.1 | 1.005 | 144.594 | 1.391 | 108.967 | 1.145 | 103 | -10.499 | 889.733 | 39.488 | 0.23591
2020-01-03 02:15:00 | 2.448 | 201.8 | 1.076 | 144.541 | 1.361 | 121 | 1.436 | 104 | -10.216 | 889.433 | 39.419 | 0.24159
2020-01-03 02:30:00 | 1.151 | 210.733 | 0 | 144.458 | 0 | 121.067 | 1.502 | 107 | -10.399 | 889.617 | 39.883 | 0.24159
2020-01-03 02:45:00 | 0 | 210.467 | 0 | 144.557 | 0.249 | 121 | 1.737 | 107 | -10.483 | 889.717 | 39.429 | 0.22667
2020-01-03 03:00:00 | 1.298 | 215.633 | 0 | 144.495 | 1.225 | 120.867 | 2.727 | 102.533 | -10.316 | 889.45 | 40.219 | 0.10872
2020-01-03 03:15:00 | 1.06 | 216.007 | 0 | 144.433 | 1.41 | 107.633 | 2.706 | 102.133 | -10.322 | 889.917 | 40.715 | 0.12293
2020-01-03 03:30:00 | 0.027 | 216 | 0 | 144.601 | 1.381 | 102 | 2.67 | 101.767 | -10.283 | 890 | 39.979 | 0.15561
2020-01-03 03:45:00 | 1.784 | 212.267 | 0 | 141.454 | 1.266 | 109.667 | 2.392 | 107.333 | -10.499 | 889.383 | 40.917 | 0.15846
2020-01-03 04:00:00 | 1.883 | 220.3 | 0 | 141.514 | 0.916 | 113 | 1.942 | 111.1 | -10.316 | 889.967 | 40.859 | 0.28849
2020-01-03 04:15:00 | 2.122 | 220.333 | 0 | 147.471 | 0.643 | 137.7 | 1.952 | 105.2 | -10.466 | 889.858 | 41.653 | 0.25012
2020-01-03 04:30:00 | 2.029 | 217.367 | 0 | 150.075 | 0.506 | 126.8 | 2.119 | 106.667 | -10.149 | 890.092 | 41.749 | 0.26575
2020-01-03 04:45:00 | 2.66 | 214.233 | 0.19 | 151.298 | 1.325 | 127 | 2.355 | 107.067 | -10.316 | 889.833 | 43.52 | 0.27144
2020-01-03 05:00:00 | 2.636 | 216.84 | 0.27 | 151.509 | 0.847 | 136.167 | 1.985 | 121.8 | -9.745 | 890.083 | 43.627 | 0.24586
2020-01-03 05:15:00 | 2.71 | 219.8 | 0.682 | 151.491 | 0.974 | 149 | 1.934 | 124 | -10.349 | 890 | 45.216 | 0.2487
2020-01-03 05:30:00 | 2.321 | 220.627 | 0.173 | 151.484 | 1.12 | 149 | 1.957 | 124.067 | -9.87 | 889.433 | 43.797 | 0.25296
2020-01-03 05:45:00 | 2.599 | 223.133 | 0 | 151.522 | 0.09 | 149 | 1.741 | 123 | -10.216 | 889.333 | 44.715 | 0.25296
2020-01-03 06:00:00 | 2.056 | 225.907 | 0 | 151.556 | 0 | 130.7 | 1.748 | 121 | -10.02 | 889.858 | 44.981 | 0.25012
2020-01-03 06:15:00 | 2.016 | 226.967 | 0 | 151.461 | 0.786 | 123 | 2.257 | 115.033 | -10.099 | 889.783 | 45.109 | 0.22099
2020-01-03 06:30:00 | 1.564 | 213.8 | 0.11 | 118.28 | 0.844 | 120.8 | 2.288 | 108.567 | -10.299 | 890.033 | 45.227 | 0.1684
2020-01-03 06:45:00 | 1.817 | 207.667 | 0.766 | 124.256 | 1.71 | 115.367 | 2.965 | 99.033 | -10.449 | 889.45 | 46.507 | 0.078873
2020-01-03 07:00:00 | 2.189 | 212.56 | 0.516 | 124.225 | 1.662 | 130.3 | 2.729 | 106.5 | -10.836 | 889.958 | 47.573 | 0.099479
2020-01-03 07:15:00 | 1.913 | 219.953 | 0 | 147.403 | 0.566 | 131.367 | 2.285 | 113.733 | -10.722 | 889.867 | 48.416 | 0.1279
2020-01-03 07:30:00 | 1.928 | 233.573 | 0 | 147.465 | 0.32 | 118.9 | 1.925 | 101.667 | -10.928 | 889.5 | 49.707 | 0.21601
2020-01-03 07:45:00 | 1.237 | 242.933 | 0 | 147.565 | 1.223 | 97.6 | 2.108 | 90.1 | -11.078 | 889.675 | 49.899 | 0.24159
2020-01-03 08:00:00 | 1.227 | 232.28 | 0.163 | 142.644 | 2.258 | 101.9 | 3.044 | 94 | -10.601 | 890.375 | 50.656 | 0.15277
2020-01-03 08:15:00 | 1.956 | 209.953 | 1.023 | 138.444 | 2.14 | 116.3 | 2.993 | 107 | -10.495 | 889.967 | 52.203 | 0.47182
2020-01-03 08:30:00 | 2.74 | 208.9 | 1.426 | 164.385 | 1.975 | 147.333 | 3.042 | 122.933 | -10.516 | 889.817 | 52.288 | 0.16059
2020-01-03 08:45:00 | 2.065 | 221.333 | 0.28 | 173.483 | 0.889 | 148.767 | 1.471 | 122.967 | -10.199 | 889.708 | 52.523 | 0.27854
2020-01-03 09:00:00 | 2.577 | 225.353 | 0 | 173.5 | 0.946 | 140.067 | 1.687 | 123.033 | -10.816 | 890.275 | 54.037 | 0.28138
2020-01-03 09:15:00 | 2.198 | 230.307 | 0 | 173.451 | 0.354 | 140 | 1.862 | 120.667 | -10.928 | 889.983 | 56.171 | 0.27641
2020-01-03 09:30:00 | 1.116 | 230.3 | 0 | 173.442 | 0.761 | 110 | 1.893 | 102.167 | -10.797 | 889.517 | 56.885 | 0.28209
2020-01-03 09:45:00 | 1.69 | 226.4 | 0 | 173.528 | 1.474 | 104.067 | 2.872 | 101 | -10.449 | 890.092 | 56.715 | 0.21743
2020-01-03 10:00:00 | 1.127 | 226.673 | 0 | 136.01 | 1.394 | 94.067 | 2.422 | 94 | -9.745 | 890.158 | 55.104 | 0.14496
2020-01-03 10:15:00 | 0.887 | 221.367 | 0 | 133.721 | 1.79 | 104.267 | 2.966 | 101.267 | -9.074 | 889.975 | 52.757 | 0.086689
2020-01-03 10:30:00 | 1.1 | 220.633 | 0 | 121.269 | 0.616 | 111 | 1.955 | 102 | -8.858 | 889.283 | 49.771 | 0.13714
2020-01-03 10:45:00 | 0.1 | 220.58 | 0 | 121.216 | 0.096 | 111 | 1.566 | 101.967 | -7.816 | 889.892 | 48.139 | 0.25083
2020-01-03 11:00:00 | 0 | 220.533 | 0 | 121.251 | 0.943 | 109.167 | 1.944 | 101.833 | -7.091 | 889.758 | 45.824 | 0.25865
2020-01-03 11:15:00 | 0 | 220.353 | 0 | 121.246 | 1.411 | 87 | 2.456 | 102.067 | -6.057 | 889.683 | 43.499 | 0.24017
2020-01-03 11:30:00 | 0 | 220.2 | 0 | 121.262 | 0.791 | 86.933 | 1.848 | 102 | -4.802 | 889.433 | 40.976 | 0.24728
2020-01-03 11:45:00 | 0.219 | 49.057 | 0 | 96.271 | 0.183 | 87 | 1.183 | 93.2 | -5.498 | 889.85 | 38.896 | 0.24017
2020-01-03 12:00:00 | 1.34 | 72.242 | 0.809 | 62.993 | 0.872 | 72.233 | 0.728 | 59.133 | -5.859 | 889.5 | 37.525 | 0.23449
2020-01-03 12:15:00 | 1.756 | 106.203 | 1.353 | 98.865 | 1.651 | 107.367 | 1.461 | 89.3 | -6.017 | 889.567 | 37.477 | 0.24444
2020-01-03 12:30:00 | 1.856 | 77.547 | 1.28 | 78.08 | 1.249 | 91.1 | 1.478 | 91.933 | -5.554 | 889.767 | 36.949 | 0.27428
2020-01-03 12:45:00 | 2.691 | 94.35 | 2.62 | 87.655 | 2.7 | 91.367 | 2.862 | 86.3 | -5.898 | 889.5 | 35.936 | 0.1549
2020-01-03 13:00:00 | 2.2 | 77.19 | 2.333 | 70.476 | 2.453 | 78.233 | 2.7 | 72.467 | -5.76 | 889.95 | 35.216 | 0.11653
2020-01-03 13:15:00 | 2.539 | 75.698 | 2.33 | 76.781 | 2.632 | 84.9 | 2.816 | 78.533 | -5.502 | 889.683 | 32.72 | 0.41142
2020-01-03 13:30:00 | 2.57 | 90.433 | 2.541 | 81.241 | 2.898 | 85.7 | 3.073 | 80.067 | -4.902 | 889.717 | 32.859 | 0.54358
2020-01-03 13:45:00 | 2.605 | 97.668 | 2.458 | 93.246 | 2.684 | 96.6 | 2.765 | 91.367 | -4.902 | 889.767 | 33.008 | 0.48674
2020-01-03 14:00:00 | 2.263 | 90.478 | 2.665 | 86.279 | 2.751 | 92.833 | 2.75 | 89.8 | -4.536 | 889.467 | 32.437 | 0.48816
2020-01-03 14:15:00 | 2.555 | 75.442 | 2.381 | 76.68 | 2.493 | 86.933 | 2.357 | 86.233 | -4.653 | 889.667 | 32.288 | 0.6722
2020-01-03 14:30:00 | 2.717 | 78.398 | 2.451 | 75.618 | 2.713 | 82 | 2.995 | 80.733 | -4.869 | 889.483 | 32.304 | 1.9043
2020-01-03 14:45:00 | 3.185 | 68.487 | 3.177 | 64.204 | 2.93 | 62.667 | 3.197 | 55.1 | -5.052 | 890.033 | 32.101 | 2.9091
2020-01-03 15:00:00 | 3.22 | 83.132 | 3.375 | 72.903 | 3.482 | 76.967 | 3.513 | 74.6 | -4.952 | 889.717 | 32.16 | 2.9268
2020-01-03 15:15:00 | 3.741 | 78.632 | 3.735 | 73.482 | 3.629 | 77.433 | 3.866 | 69.633 | -4.885 | 889.517 | 31.701 | 2.0358
2020-01-03 15:30:00 | 3.08 | 56.599 | 3.203 | 52.677 | 3.322 | 59.9 | 3.378 | 55.567 | -5.002 | 889.817 | 31.851 | 1.2001
2020-01-03 15:45:00 | 3.557 | 65.984 | 3.61 | 61.89 | 3.596 | 66.4 | 3.653 | 67.467 | -4.902 | 889.917 | 31.611 | 0.75675
2020-01-03 16:00:00 | 2.729 | 60.233 | 2.66 | 58.162 | 2.712 | 61.3 | 2.952 | 57.967 | -5.085 | 889.767 | 31.787 | 0.71483
2020-01-03 16:15:00 | 2.474 | 65.542 | 2.251 | 62.249 | 2.411 | 71.267 | 2.59 | 66.933 | -4.852 | 889.533 | 31.68 | 0.31976
2020-01-03 16:30:00 | 2.581 | 70.252 | 2.369 | 67.219 | 2.289 | 67.367 | 2.372 | 66.633 | -4.969 | 889.467 | 31.691 | 0.18546
2020-01-03 16:45:00 | 2.386 | 79.097 | 2.343 | 73.478 | 2.518 | 75.433 | 2.765 | 69.167 | -4.749 | 889.817 | 31.648 | 0.24728
2020-01-03 17:00:00 | 2.089 | 50.388 | 1.981 | 45.501 | 2.281 | 47.5 | 2.263 | 48.9 | -4.802 | 889.867 | 31.653 | 0.83349
2020-01-03 17:15:00 | 2.202 | 63.31 | 1.975 | 57.278 | 2.047 | 59.133 | 2.144 | 59.8 | -4.902 | 890.167 | 31.595 | 0.71625
2020-01-03 17:30:00 | 2.329 | 63.542 | 1.801 | 54.045 | 1.794 | 57.467 | 2.096 | 58.4 | -5.419 | 889.8 | 31.963 | 0.25722
2020-01-03 17:45:00 | 2.799 | 71.5 | 2.534 | 67.152 | 2.456 | 69.867 | 2.529 | 61.667 | -5.355 | 889.5 | 32.224 | 0.25865
2020-01-03 18:00:00 | 2.161 | 56.148 | 1.916 | 54.811 | 1.942 | 58.633 | 2.009 | 57.667 | -5.78 | 889.967 | 32.987 | 0.28991
2020-01-03 18:15:00 | 1.383 | 59.09 | 1.504 | 52.432 | 1.74 | 62.833 | 1.954 | 55.367 | -6.11 | 889.6 | 33.808 | 0.24159
2020-01-03 18:30:00 | 1.519 | 70.843 | 1.681 | 66.295 | 1.773 | 70.767 | 1.848 | 67.467 | -6.654 | 889.75 | 34.869 | 0.23875
2020-01-03 18:45:00 | 0.457 | 72.227 | 0.366 | 71.239 | 0 | 73.067 | 0 | 69 | -6.82 | 889.967 | 35.584 | 0.23591
2020-01-03 19:00:00 | 0 | 72.243 | 0.303 | 71.264 | 0 | 73.1 | 0.332 | 69.067 | -6.986 | 889.567 | 36.747 | 0.23591
2020-01-03 19:15:00 | 0 | 72.253 | 0 | 71.214 | 0 | 73 | 0 | 69 | -8.053 | 889.95 | 38.512 | 0.23875
2020-01-03 19:30:00 | 0 | 72.203 | 0 | 71.271 | 0 | 73.067 | 0 | 69 | -8.438 | 889.617 | 40.789 | 0.23449
2020-01-03 19:45:00 | 0 | 72.257 | 0 | 71.249 | 0 | 73 | 0 | 69 | -8.05 | 889.792 | 40.805 | 0.23449
2020-01-03 20:00:00 | 0.931 | 184.907 | 0 | 71.248 | 0 | 73 | 0 | 68.967 | -8.724 | 889.783 | 41.083 | 0.23164
2020-01-03 20:15:00 | 0.937 | 224.7 | 0 | 71.293 | 0 | 73 | 0 | 68.9 | -8.608 | 889.933 | 40.88 | 0.22454
2020-01-03 20:30:00 | 2.272 | 203.4 | 0.752 | 100.266 | 0 | 73 | 0 | 69 | -8.641 | 889.733 | 40.613 | 0.23164
2020-01-03 20:45:00 | 2.583 | 203.4 | 1.332 | 164.491 | 0.73 | 159 | 0.248 | 69 | -8.741 | 889.375 | 40.491 | 0.23164
2020-01-03 21:00:00 | 2.096 | 203.807 | 0.282 | 164.442 | 0 | 159 | 0 | 68.967 | -8.421 | 889.85 | 40.123 | 0.23591
2020-01-03 21:15:00 | 3.084 | 215.6 | 1.11 | 169.634 | 0 | 158.967 | 0 | 69 | -8.591 | 889.733 | 40.485 | 0.24728
2020-01-03 21:30:00 | 2.991 | 214.4 | 0.502 | 176.469 | 0 | 159.167 | 0 | 69 | -8.558 | 889.933 | 40.24 | 0.25722
2020-01-03 21:45:00 | 2.525 | 217.533 | 0 | 176.552 | 0 | 159 | 0 | 69 | -8.874 | 889.658 | 40.672 | 0.25438
2020-01-03 22:00:00 | 2.334 | 228.613 | 0 | 176.481 | 0 | 159.1 | 0 | 68.933 | -9.599 | 889.725 | 41.483 | 0.25154
2020-01-03 22:15:00 | 2.746 | 234.067 | 0 | 176.492 | 0 | 158.833 | 0.268 | 69 | -10.299 | 889.867 | 43.349 | 0.26149
2020-01-03 22:30:00 | 3.041 | 222.667 | 0 | 176.54 | 0 | 48.933 | 0 | 68 | -10.116 | 889.792 | 43.819 | 0.2558
2020-01-03 22:45:00 | 3.16 | 215.587 | 0.454 | 196.438 | 0.641 | 169.2 | 1.161 | 69.067 | -9.828 | 889.892 | 43.008 | 0.26291
2020-01-03 23:00:00 | 3.047 | 218.733 | 0.827 | 196.558 | 1.014 | 176 | 1.467 | 137 | -9.258 | 889.725 | 42.784 | 0.24728
2020-01-03 23:15:00 | 3.056 | 219.767 | 0.173 | 196.539 | 0.7 | 176 | 1.246 | 137 | -9.224 | 889.7 | 43.787 | 0.25012
2020-01-03 23:30:00 | 2.404 | 217.333 | 0 | 196.605 | 0.494 | 176 | 1.068 | 136.933 | -8.741 | 890.083 | 42.923 | 0.25296
2020-01-03 23:45:00 | 2.57 | 217.633 | 0.867 | 196.488 | 1.127 | 175.933 | 1.462 | 137 | -8.891 | 890.05 | 43.349 | 0.24301