## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-04 00:00:00 | 2.964 | 223.3 | 0.137 | 196.518 | 0.24 | 176.167 | 0.668 | 137.033 | -8.841 | 889.983 | 42.976 | 0.24728
2020-01-04 00:15:00 | 2.862 | 221.167 | 0.12 | 196.508 | 0.057 | 176 | 1.08 | 137 | -9.191 | 890.317 | 43.232 | 0.24444
2020-01-04 00:30:00 | 2.837 | 214.5 | 0.98 | 196.58 | 0.957 | 176.1 | 1.338 | 136.767 | -9.224 | 889.658 | 42.688 | 0.24728
2020-01-04 00:45:00 | 2.252 | 207.5 | 0.703 | 196.582 | 1.363 | 190 | 1.456 | 137 | -8.941 | 889.983 | 41.28 | 0.23733
2020-01-04 01:00:00 | 3.177 | 215.133 | 0.89 | 196.474 | 1.087 | 189.1 | 1.425 | 137.1 | -9.158 | 889.708 | 41.707 | 0.25936
2020-01-04 01:15:00 | 3.155 | 221.1 | 0.043 | 196.506 | 0 | 188.867 | 0 | 136.867 | -9.374 | 889.817 | 42.752 | 0.24444
2020-01-04 01:30:00 | 4.426 | 218.44 | 0.036 | 198.977 | 0 | 189.033 | 0 | 137 | -11.078 | 889.783 | 44.875 | 0.23875
2020-01-04 01:45:00 | 4.01 | 221.927 | 1.314 | 227.533 | 0 | 189 | 0 | 137 | -11.49 | 890.192 | 52.651 | 0.23875
2020-01-04 02:00:00 | 4.333 | 227.44 | 0.904 | 234.477 | 0 | 196 | 0 | 137 | -12.29 | 890.133 | 53.312 | 0.24017
2020-01-04 02:15:00 | 3.726 | 226.233 | 0 | 234.594 | 0 | 196 | 0 | 137 | -11.511 | 889.958 | 55.989 | 0.23733
2020-01-04 02:30:00 | 4.417 | 215.067 | 1.623 | 215.43 | 0.03 | 196 | 0 | 136.867 | -12.203 | 889.608 | 60.64 | 0.24159
2020-01-04 02:45:00 | 2.328 | 230.493 | 0 | 210.457 | 0 | 195.8 | 0 | 137 | -9.337 | 890.008 | 55.883 | 0.25296
2020-01-04 03:00:00 | 3.701 | 231.013 | 0 | 213.028 | 0 | 196 | 0 | 137 | -10.778 | 889.808 | 59.061 | 0.25722
2020-01-04 03:15:00 | 4.756 | 232.333 | 0.203 | 217.755 | 0 | 196 | 0 | 137 | -12.87 | 889.633 | 60.011 | 0.26149
2020-01-04 03:30:00 | 6.001 | 225.993 | 3.447 | 243.189 | 1.517 | 250.6 | 0.403 | 185.15 | -13.668 | 889.808 | 63.605 | 0.27002
2020-01-04 03:45:00 | 5.374 | 230.507 | 3.065 | 242.768 | 1.643 | 247 | 1.344 | 209 | -13.616 | 890.108 | 66.688 | 0.26007
2020-01-04 04:00:00 | 5.318 | 232.853 | 3.266 | 245.003 | 2.203 | 248 | 1.31 | 208.767 | -13.088 | 890.2 | 64.651 | 0.2757
2020-01-04 04:15:00 | 5.698 | 226.113 | 2.34 | 258.964 | 1.14 | 264 | 0.545 | 209 | -13.272 | 889.942 | 61.136 | 0.28138
2020-01-04 04:30:00 | 4.048 | 228.667 | 1.667 | 257.424 | 0.033 | 264 | 0 | 208.833 | -11.228 | 889.433 | 60.725 | 0.26575
2020-01-04 04:45:00 | 4.265 | 219.873 | 1.349 | 244.586 | 0 | 262.133 | 1.31 | 209.05 | -11.724 | 890.05 | 61.493 | 0.26007
2020-01-04 05:00:00 | 3.742 | 213.167 | 0.814 | 226.609 | 0.11 | 210.533 | 1.601 | 202 | -10.316 | 889.65 | 59.189 | 0.28067
2020-01-04 05:15:00 | 3.717 | 203.467 | 1.703 | 204.653 | 1.768 | 188.133 | 2.169 | 183.5 | -11.943 | 890.317 | 59.968 | 0.18972
2020-01-04 05:30:00 | 3.286 | 196.373 | 1.504 | 162.443 | 1.567 | 151.1 | 2.468 | 146.3 | -10.928 | 889.808 | 61.376 | 0.3965
2020-01-04 05:45:00 | 4.91 | 219.287 | 2.12 | 197.166 | 1.99 | 181.2 | 2.355 | 153 | -11.774 | 889.758 | 62.155 | 0.28067
2020-01-04 06:00:00 | 5.812 | 229.4 | 3.122 | 240.707 | 2.077 | 235.4 | 1.432 | 197.533 | -14.116 | 889.733 | 64.512 | 0.29844
2020-01-04 06:15:00 | 5.921 | 231.787 | 3.966 | 249.453 | 3.137 | 254.633 | 2.302 | 237.7 | -14.858 | 889.942 | 68.16 | 0.23875
2020-01-04 06:30:00 | 5.939 | 227.033 | 4.175 | 237.411 | 3.47 | 252.433 | 2.627 | 251 | -14.837 | 889.825 | 68.992 | 0.27854
2020-01-04 06:45:00 | 5.348 | 223.633 | 3.479 | 239.613 | 2.934 | 250.133 | 2.21 | 251 | -15.041 | 889.683 | 70.592 | 0.27357
2020-01-04 07:00:00 | 4.303 | 228.767 | 1.386 | 245.046 | 0.439 | 250.967 | 0.242 | 251 | -11.378 | 890.067 | 67.136 | 0.27996
2020-01-04 07:15:00 | 5.914 | 219.767 | 2.287 | 237.069 | 0 | 250.933 | 0 | 250.8 | -14.033 | 889.625 | 63.723 | 0.27854
2020-01-04 07:30:00 | 5.046 | 225.593 | 2.341 | 234.347 | 1.197 | 250.933 | 0.027 | 251 | -12.157 | 889.617 | 64.267 | 0.27428
2020-01-04 07:45:00 | 3.617 | 225.167 | 0.552 | 238.417 | 0 | 251 | 0 | 251 | -10.149 | 889.958 | 61.781 | 0.25722
2020-01-04 08:00:00 | 4.318 | 215.66 | 0 | 238.498 | 0 | 251 | 0 | 251.033 | -11.466 | 889.867 | 56.96 | 0.27002
2020-01-04 08:15:00 | 3.484 | 200.5 | 1.407 | 188.2 | 0 | 251 | 0 | 251 | -11.395 | 889.942 | 63.776 | 0.26007
2020-01-04 08:30:00 | 4.598 | 213.32 | 2.175 | 198.224 | 0.733 | 212.233 | 0.114 | 251 | -11.068 | 890.125 | 63.083 | 0.24728
2020-01-04 08:45:00 | 6.513 | 216.707 | 3.551 | 192.056 | 2.343 | 203.8 | 1.811 | 227.1 | -14.362 | 890.108 | 66.336 | 0.26433
2020-01-04 09:00:00 | 3.068 | 198.793 | 1.784 | 179.866 | 0.84 | 190.233 | 0.306 | 207.167 | -9.887 | 890.175 | 67.456 | 0.25438
2020-01-04 09:15:00 | 5.311 | 227.16 | 0.668 | 195.563 | 0.057 | 193 | 0.06 | 207.1 | -11.716 | 890.05 | 56.672 | 0.2487
2020-01-04 09:30:00 | 6.146 | 230.22 | 3.046 | 241.317 | 1.426 | 252.4 | 1.441 | 219.45 | -14.072 | 890.133 | 63.552 | 0.27002
2020-01-04 09:45:00 | 2.655 | 234.787 | 0.896 | 238.108 | 0.376 | 246.867 | 0.158 | 244 | -11.236 | 889.567 | 73.28 | 0.26007
2020-01-04 10:00:00 | 1.869 | 216.667 | 0 | 237.545 | 0 | 247.1 | 0.823 | 243.9 | -8.691 | 890.125 | 60.224 | 0.24586
2020-01-04 10:15:00 | 3.31 | 225.7 | 0 | 237.503 | 0 | 0 | 0.879 | 336 | -9.124 | 890.008 | 56.971 | 0.24586
2020-01-04 10:30:00 | 5.383 | 224.78 | 3.725 | 233.388 | 2.992 | 235.4 | 2.243 | 233.167 | -12.432 | 890.05 | 62.08 | 0.26859
2020-01-04 10:45:00 | 1.748 | 230.02 | 0.207 | 226.49 | 0.123 | 235 | 0.329 | 224.6 | -8.695 | 890.117 | 62.475 | 0.25722
2020-01-04 11:00:00 | 3.368 | 230.82 | 0 | 226.51 | 0 | 235 | 0 | 224 | -8.13 | 889.842 | 58.432 | 0.26007
2020-01-04 11:15:00 | 1.772 | 244.233 | 0 | 244.458 | 0.73 | 298 | 1.242 | 296.933 | -7.091 | 889.492 | 56.939 | 0.25722
2020-01-04 11:30:00 | 0.402 | 240.333 | 0 | 244.477 | 0 | 6 | 0.115 | 294 | -5.319 | 889.908 | 52.384 | 0.25438
2020-01-04 11:45:00 | 1.826 | 292.2 | 1.56 | 272.753 | 1.306 | 284.867 | 1.455 | 295.067 | -5.964 | 889.983 | 47.141 | 0.26433
2020-01-04 12:00:00 | 1.833 | 274.573 | 1.843 | 276.935 | 2.008 | 275.233 | 2.091 | 275.567 | -5.918 | 890.092 | 46.576 | 0.26291
2020-01-04 12:15:00 | 1.931 | 266.893 | 1.753 | 258.707 | 1.573 | 262.433 | 1.697 | 243.583 | -4.769 | 890.075 | 41.797 | 0.27712
2020-01-04 12:30:00 | 0 | 254.053 | 0 | 254.485 | 0 | 258.067 | 0 | 259 | -2.999 | 890.067 | 38.443 | 0.26007
2020-01-04 12:45:00 | 0.713 | 254.92 | 0.34 | 269.291 | 0.26 | 284.467 | 0.751 | 275.033 | -2.602 | 889.633 | 35.32 | 0.26575
2020-01-04 13:00:00 | 1.246 | 244.453 | 0.737 | 273.697 | 0.753 | 314.233 | 1.506 | 284.333 | -3.956 | 889.333 | 35.389 | 0.26717
2020-01-04 13:15:00 | 1.267 | 244.827 | 0.816 | 327.01 | 0.996 | 251.533 | 1.461 | 319.867 | -4.175 | 889.717 | 35.963 | 0.25722
2020-01-04 13:30:00 | 0.737 | 297.36 | 0.586 | 305.532 | 0.822 | 309.467 | 1.1 | 310.767 | -4.111 | 889.917 | 36.285 | 0.25722
2020-01-04 13:45:00 | 1.015 | 327.267 | 0.33 | 312.27 | 0.286 | 326.1 | 0.677 | 318.533 | -3.572 | 889.883 | 35.008 | 0.25865
2020-01-04 14:00:00 | 2.057 | 273.267 | 1.587 | 343.563 | 1.606 | 339.8 | 1.83 | 326 | -3.689 | 889.75 | 35.08 | 0.27996
2020-01-04 14:15:00 | 1.643 | 212.067 | 1.264 | 323.348 | 1.326 | 301.733 | 1.68 | 292.233 | -3.79 | 889.683 | 36.147 | 0.27286
2020-01-04 14:30:00 | 1.453 | 342.6 | 1.346 | 330.688 | 1.432 | 345.1 | 1.732 | 336.3 | -3.639 | 889.75 | 36.52 | 0.26362
2020-01-04 14:45:00 | 1.173 | 210.3 | 0.813 | 202.148 | 1.187 | 260.034 | 1.662 | 299.667 | -3.89 | 889.517 | 36.565 | 0.25296
2020-01-04 15:00:00 | 2.377 | 257 | 2.039 | 297.804 | 2.293 | 252.767 | 2.227 | 286.367 | -3.89 | 889.317 | 35.808 | 0.25865
2020-01-04 15:15:00 | 1.315 | 224.2 | 0.751 | 330.592 | 0.992 | 221.533 | 1.705 | 337.967 | -3.722 | 889.683 | 35.336 | 0.26291
2020-01-04 15:30:00 | 2.154 | 328.667 | 1.886 | 326.064 | 1.573 | 325.4 | 1.752 | 322.567 | -3.354 | 889.833 | 35.085 | 0.26149
2020-01-04 15:45:00 | 0.36 | 37.533 | 0.27 | 332.324 | 0.463 | 316.167 | 0.691 | 322.133 | -3.237 | 889.633 | 34.589 | 0.27144
2020-01-04 16:00:00 | 1.564 | 293.633 | 1.587 | 310.566 | 1.947 | 299.167 | 2.257 | 308.383 | -3.237 | 890.083 | 33.869 | 0.29204
2020-01-04 16:15:00 | 0.98 | 190.733 | 1.154 | 336.083 | 1.503 | 334.467 | 2.247 | 317.1 | -3.371 | 889.767 | 33.507 | 0.27144
2020-01-04 16:30:00 | 1.679 | 283.32 | 1.594 | 280.947 | 1.668 | 288.6 | 2.219 | 289.1 | -2.797 | 890.033 | 33.403 | 0.25367
2020-01-04 16:45:00 | 2.391 | 301.947 | 2.396 | 304.39 | 2.513 | 310.667 | 2.51 | 310.867 | -2.945 | 889.883 | 32.976 | 0.12648
2020-01-04 17:00:00 | 2.103 | 311.1 | 1.978 | 312.382 | 2.275 | 313.3 | 2.633 | 313.633 | -3.471 | 889.95 | 32.509 | 0.21104
2020-01-04 17:15:00 | 3.047 | 308.853 | 2.955 | 305.283 | 3.105 | 308.833 | 3.174 | 305.433 | -3.143 | 889.783 | 32.459 | 0.21672
2020-01-04 17:30:00 | 2.325 | 304.787 | 2.298 | 302.791 | 2.399 | 302.5 | 2.58 | 299.233 | -3.243 | 889.85 | 32.715 | 0.11227
2020-01-04 17:45:00 | 2.897 | 291.453 | 2.873 | 284.392 | 2.794 | 290.067 | 2.952 | 284.8 | -3.025 | 890.067 | 33.499 | 0.29204
2020-01-04 18:00:00 | 2.777 | 295.2 | 3.304 | 293.691 | 3.419 | 296.2 | 3.576 | 292.433 | -3.154 | 890 | 33.819 | 0.48532
2020-01-04 18:15:00 | 2.566 | 288.133 | 3.007 | 282.819 | 3.229 | 288.6 | 3.383 | 283.833 | -3.622 | 889.917 | 34.597 | 0.46471
2020-01-04 18:30:00 | 2.986 | 281.533 | 3.15 | 282.93 | 3.374 | 282.7 | 3.569 | 283 | -3.739 | 889.433 | 34.997 | 0.46258
2020-01-04 18:45:00 | 2.654 | 284.147 | 2.601 | 283.016 | 2.765 | 285.067 | 3.01 | 282.833 | -4.192 | 890.2 | 35.131 | 0.16769
2020-01-04 19:00:00 | 2.677 | 265.213 | 2.618 | 278.953 | 2.914 | 282.567 | 2.96 | 280.133 | -4.358 | 889.917 | 35.125 | 0.22951
2020-01-04 19:15:00 | 3.2 | 250.033 | 2.79 | 279.072 | 2.772 | 282 | 3.045 | 277.133 | -5.551 | 889.733 | 37.589 | 0.30696
2020-01-04 19:30:00 | 3.15 | 250.813 | 2.464 | 278.893 | 2.57 | 282 | 2.57 | 277 | -6.219 | 889.8 | 39.189 | 0.066793
2020-01-04 19:45:00 | 3.249 | 251.36 | 2.684 | 279.004 | 2.691 | 281.933 | 2.859 | 277.733 | -6.741 | 889.817 | 40.48 | 0.093795
2020-01-04 20:00:00 | 3.513 | 244.367 | 2.617 | 275.253 | 2.681 | 281 | 2.862 | 278.867 | -6.512 | 889.917 | 40.821 | 0.17906
2020-01-04 20:15:00 | 4.401 | 232.267 | 3.36 | 253.077 | 2.894 | 263.733 | 2.834 | 268 | -7.223 | 889.775 | 41.563 | 0.49953
2020-01-04 20:30:00 | 5.12 | 228.867 | 3.269 | 247.499 | 3.119 | 254 | 3.056 | 257.9 | -8.724 | 889.6 | 44.544 | 0.65088
2020-01-04 20:45:00 | 5.139 | 228.467 | 3.307 | 247.545 | 3.135 | 254 | 2.845 | 258 | -9.091 | 889.883 | 46.283 | 0.57201
2020-01-04 21:00:00 | 4.991 | 227.2 | 3.612 | 244.728 | 3.225 | 251.467 | 2.76 | 254.733 | -8.591 | 890.008 | 46.613 | 0.65443
2020-01-04 21:15:00 | 5.778 | 223.733 | 3.601 | 239.717 | 2.99 | 247.8 | 2.762 | 248.033 | -9.174 | 889.742 | 47.104 | 0.63169
2020-01-04 21:30:00 | 5.69 | 225.047 | 3.878 | 236.06 | 3.846 | 247.433 | 3.333 | 247.233 | -9.683 | 889.742 | 48.864 | 1.6002
2020-01-04 21:45:00 | 6.008 | 221.273 | 3.901 | 233.793 | 3.743 | 242.6 | 3.629 | 239.067 | -10.741 | 889.817 | 51.349 | 1.4488
2020-01-04 22:00:00 | 6.113 | 219.727 | 3.75 | 231.171 | 3.197 | 237.867 | 3.111 | 234.867 | -11.074 | 890.092 | 53.568 | 0.90455
2020-01-04 22:15:00 | 5.882 | 221.327 | 3.847 | 227.469 | 3.738 | 238.933 | 3.323 | 233.5 | -10.76 | 889.8 | 54.176 | 0.88181
2020-01-04 22:30:00 | 6.462 | 219.013 | 3.767 | 224.451 | 3.061 | 237 | 2.861 | 233.967 | -11.193 | 890.067 | 55.307 | 0.30483
2020-01-04 22:45:00 | 6.256 | 219.74 | 3.809 | 225.284 | 2.713 | 235.1 | 2.554 | 233.8 | -10.741 | 890.267 | 55.488 | 0.21175
2020-01-04 23:00:00 | 5.981 | 224.573 | 3.481 | 229.231 | 3.303 | 247.167 | 3.138 | 240 | -10.564 | 890.167 | 55.563 | 0.49029
2020-01-04 23:15:00 | 5.677 | 224.2 | 3.667 | 234.601 | 2.674 | 246.867 | 2.401 | 243.433 | -11.995 | 889.633 | 58.677 | 0.14567
2020-01-04 23:30:00 | 5.663 | 228.133 | 3.712 | 224.159 | 2.169 | 238.633 | 1.765 | 242.833 | -11.578 | 889.85 | 60.139 | 0.17267
2020-01-04 23:45:00 | 5.732 | 223.067 | 4.195 | 230.403 | 3.514 | 243 | 2.96 | 239.767 | -11.311 | 889.925 | 60.576 | 0.7262