## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-05 00:00:00 | 6.395 | 218.207 | 5.004 | 221.606 | 3.504 | 234.733 | 2.581 | 243.933 | -11.022 | 889.758 | 60.843 | 0.13785
2020-01-05 00:15:00 | 6.43 | 220 | 5.281 | 218.234 | 4.049 | 227.6 | 3.014 | 226.1 | -10.416 | 889.883 | 59.68 | 0.095216
2020-01-05 00:30:00 | 6.544 | 220.133 | 4.408 | 216.724 | 3.734 | 227.6 | 3.175 | 227.333 | -10.316 | 890.392 | 60.309 | 0.14353
2020-01-05 00:45:00 | 5.278 | 238.647 | 5.425 | 230.292 | 4.282 | 237.167 | 3.487 | 237.567 | -10.524 | 889.817 | 59.467 | 0.88466
2020-01-05 01:00:00 | 5.974 | 233.213 | 5.155 | 246.555 | 4.33 | 259.133 | 3.938 | 264.4 | -10.668 | 889.925 | 61.739 | 3.7077
2020-01-05 01:15:00 | 5.544 | 227.62 | 4.746 | 252.596 | 3.934 | 261.467 | 3.53 | 265.6 | -10.909 | 889.817 | 61.845 | 2.6504
2020-01-05 01:30:00 | 5.31 | 230.267 | 4.647 | 255.965 | 3.663 | 273.4 | 3.441 | 286.133 | -11.118 | 889.592 | 63.163 | 1.9605
2020-01-05 01:45:00 | 5.743 | 219.767 | 4.703 | 243.888 | 3.97 | 254.533 | 3.06 | 263.6 | -11.395 | 890.258 | 63.68 | 1.8532
2020-01-05 02:00:00 | 6.012 | 221.7 | 3.972 | 241.226 | 3.458 | 251.733 | 2.825 | 252.833 | -11.328 | 890.025 | 64.117 | 0.48674
2020-01-05 02:15:00 | 6.185 | 220.167 | 4.111 | 228.707 | 3.59 | 236.133 | 3.021 | 235.1 | -10.984 | 889.983 | 63.285 | 0.25651
2020-01-05 02:30:00 | 6.008 | 220.267 | 3.648 | 230.423 | 3.366 | 235.5 | 3.024 | 231.067 | -11.561 | 889.875 | 64.181 | 0.23022
2020-01-05 02:45:00 | 5.731 | 222.673 | 3.513 | 234.458 | 3.13 | 241.633 | 2.876 | 236.1 | -11.553 | 890.033 | 64.757 | 0.16698
2020-01-05 03:00:00 | 5.352 | 222.433 | 2.369 | 237.405 | 1.983 | 247 | 1.67 | 244.033 | -11.578 | 889.808 | 64.288 | 0.28636
2020-01-05 03:15:00 | 6.015 | 219.007 | 2.44 | 230.661 | 1.867 | 245.933 | 2.053 | 243.933 | -10.801 | 889.667 | 61.12 | 0.1748
2020-01-05 03:30:00 | 6.076 | 219.433 | 3.25 | 226.552 | 2.769 | 237.333 | 2.576 | 235.567 | -10.216 | 889.992 | 61.899 | 0.09948
2020-01-05 03:45:00 | 6.208 | 218.553 | 3.159 | 219.638 | 2.478 | 231.6 | 2.341 | 233.85 | -10.893 | 890.067 | 62.517 | 0.45334
2020-01-05 04:00:00 | 7.16 | 216.42 | 3.734 | 226.444 | 2.702 | 243.367 | 2.451 | 243.567 | -11.79 | 889.65 | 62.976 | 1.0133
2020-01-05 04:15:00 | 7.218 | 215.72 | 4.674 | 223.653 | 3.332 | 236.733 | 2.954 | 243.133 | -12.016 | 890.092 | 65.589 | 1.9001
2020-01-05 04:30:00 | 7.537 | 214.38 | 6.162 | 219.757 | 5.145 | 226.5 | 4.036 | 227.467 | -11.87 | 889.758 | 65.696 | 3.1229
2020-01-05 04:45:00 | 7.022 | 218.467 | 5.644 | 221.141 | 4.463 | 227.767 | 3.344 | 229.033 | -11.528 | 890.192 | 65.035 | 4.3401
2020-01-05 05:00:00 | 6.528 | 216.487 | 5.811 | 227.979 | 4.652 | 239.267 | 3.649 | 241.233 | -11.636 | 890.208 | 65.259 | 5.6575
2020-01-05 05:15:00 | 7.606 | 214.453 | 5.858 | 224.032 | 4.736 | 231.433 | 3.736 | 233.733 | -11.911 | 889.533 | 66.165 | 6.604
2020-01-05 05:30:00 | 7.665 | 213.847 | 6.145 | 221.613 | 4.58 | 229.8 | 3.753 | 224.067 | -12.182 | 890.233 | 66.293 | 7.456
2020-01-05 05:45:00 | 7.302 | 216.5 | 7.265 | 217.149 | 5.794 | 224.733 | 4.267 | 223.733 | -11.578 | 890.133 | 65.387 | 7.8617
2020-01-05 06:00:00 | 7.655 | 213.907 | 6.811 | 212.565 | 5.821 | 215.333 | 4.79 | 214.2 | -11.022 | 889.533 | 64.619 | 7.2854
2020-01-05 06:15:00 | 6.64 | 215.367 | 6.794 | 212.624 | 5.969 | 216.067 | 4.84 | 214 | -10.907 | 889.992 | 64.48 | 6.2843
2020-01-05 06:30:00 | 6.887 | 214 | 5.936 | 212.509 | 4.96 | 216.2 | 4.11 | 216 | -11.134 | 889.95 | 66.016 | 4.2463
2020-01-05 06:45:00 | 7.042 | 216.9 | 5.656 | 217.22 | 4.551 | 224.4 | 3.128 | 226.067 | -11.545 | 889.658 | 67.051 | 4.1788
2020-01-05 07:00:00 | 7.188 | 218.753 | 7.548 | 215.893 | 5.61 | 223.167 | 3.986 | 224.267 | -11.036 | 890.075 | 67.157 | 3.8136
2020-01-05 07:15:00 | 6.702 | 219.573 | 7.856 | 219.209 | 6.252 | 225.1 | 4.355 | 223.867 | -11.022 | 889.392 | 66.795 | 6.383
2020-01-05 07:30:00 | 6.649 | 218.7 | 8.113 | 218.525 | 6.51 | 225.4 | 4.744 | 225.433 | -11.078 | 890.342 | 67.456 | 7.4595
2020-01-05 07:45:00 | 6.088 | 221.827 | 7.453 | 220.472 | 6.086 | 229.2 | 5.024 | 228.633 | -11.124 | 889.883 | 67.968 | 7.4496
2020-01-05 08:00:00 | 6.63 | 216.433 | 6.019 | 217.191 | 4.947 | 225.867 | 4.016 | 230.3 | -11.361 | 889.758 | 68.651 | 6.8882
2020-01-05 08:15:00 | 6.085 | 214.4 | 6.49 | 213.148 | 5.095 | 220.367 | 4.025 | 221.067 | -11.428 | 890.025 | 68.043 | 6.1571
2020-01-05 08:30:00 | 5.832 | 213.193 | 6.101 | 209.106 | 4.882 | 211.567 | 3.969 | 214.633 | -11.628 | 890.017 | 69.557 | 3.5088
2020-01-05 08:45:00 | 6.225 | 217.047 | 5.5 | 212.448 | 4.542 | 217.733 | 3.74 | 218.867 | -11.661 | 889.975 | 69.685 | 2.6952
2020-01-05 09:00:00 | 5.973 | 212.533 | 5.886 | 211.765 | 4.485 | 213.8 | 3.656 | 214.9 | -11.228 | 889.767 | 67.563 | 2.9894
2020-01-05 09:15:00 | 6.148 | 216.233 | 4.982 | 211.036 | 4.463 | 216.333 | 3.741 | 215.633 | -11.428 | 890.175 | 68.949 | 4.2925
2020-01-05 09:30:00 | 6.554 | 214.4 | 5.696 | 212.051 | 4.564 | 212.3 | 3.667 | 207.133 | -11.378 | 890.15 | 68.491 | 5.4763
2020-01-05 09:45:00 | 5.649 | 212.933 | 6.469 | 214.336 | 5.452 | 216.1 | 3.784 | 212.1 | -11.445 | 889.783 | 68.363 | 5.6398
2020-01-05 10:00:00 | 4.861 | 211.767 | 6.606 | 212.435 | 5.285 | 215.933 | 3.858 | 212.267 | -10.703 | 889.867 | 67.979 | 6.2459
2020-01-05 10:15:00 | 5.282 | 212.133 | 6.622 | 212.593 | 5.24 | 214.667 | 4.275 | 213.067 | -9.791 | 889.8 | 66.315 | 6.5294
2020-01-05 10:30:00 | 5.071 | 212.833 | 7.19 | 211.864 | 5.834 | 214.9 | 4.565 | 213.433 | -9.391 | 890.258 | 66.432 | 5.6057
2020-01-05 10:45:00 | 5.785 | 216.46 | 6.273 | 213.832 | 5.122 | 217 | 4.066 | 217.967 | -7.759 | 890.05 | 62.795 | 5.4195
2020-01-05 11:00:00 | 3.91 | 210.767 | 6.025 | 211.557 | 5.25 | 218 | 4.199 | 218.333 | -6.395 | 889.933 | 59.669 | 4.5682
2020-01-05 11:15:00 | 4.408 | 213.067 | 5.751 | 212.435 | 4.843 | 218 | 3.781 | 217.533 | -5.185 | 889.558 | 54.581 | 2.7051
2020-01-05 11:30:00 | 3.527 | 214.353 | 4.402 | 214.218 | 4.645 | 219 | 4.166 | 214.767 | -3.983 | 889.733 | 50.859 | 0.52156
2020-01-05 11:45:00 | 3.21 | 211.7 | 3.15 | 210.129 | 3.293 | 213.633 | 3.104 | 214.7 | -2.919 | 889.8 | 44.928 | 0.2217
2020-01-05 12:00:00 | 2.576 | 216.147 | 2.404 | 214.371 | 2.456 | 216.033 | 2.505 | 210.133 | -1.406 | 890.108 | 40.075 | 0.23449
2020-01-05 12:15:00 | 1.69 | 218.567 | 1.423 | 219.66 | 1.484 | 230.267 | 1.559 | 224 | -0.738 | 889.45 | 37.515 | 0.22738
2020-01-05 12:30:00 | 1.092 | 279.787 | 0.703 | 265.105 | 0.543 | 268.95 | 0.991 | 256.767 | 0.599 | 889.933 | 34.853 | 0.22454
2020-01-05 12:45:00 | 1.734 | 263.894 | 1.63 | 323.317 | 1.669 | 336.367 | 1.53 | 326 | -0.618 | 889.883 | 35.067 | 0.23022
2020-01-05 13:00:00 | 1.297 | 103.46 | 0.889 | 274.54 | 0.989 | 108.9 | 1.24 | 142.167 | -0.578 | 889.933 | 34.845 | 0.23875
2020-01-05 13:15:00 | 2.334 | 20.12 | 2.088 | 86.403 | 2.042 | 51.5 | 2.16 | 27 | -1.216 | 889.983 | 35.667 | 0.28849
2020-01-05 13:30:00 | 2.55 | 302.849 | 2.508 | 322.386 | 2.563 | 331.5 | 2.638 | 323.733 | -1.199 | 889.5 | 37.429 | 0.21175
2020-01-05 13:45:00 | 1.883 | 288.523 | 1.769 | 253.234 | 1.51 | 191.267 | 1.656 | 241.667 | -1.009 | 889.583 | 37.32 | 0.22809
2020-01-05 14:00:00 | 2.404 | 275.121 | 2.386 | 294.658 | 2.66 | 285.067 | 2.86 | 292.633 | -1.055 | 889.75 | 37.507 | 0.15135
2020-01-05 14:15:00 | 1.736 | 71.195 | 1.233 | 117.211 | 1.154 | 128.8 | 2 | 199.4 | -0.495 | 890.05 | 37.816 | 0.56277
2020-01-05 14:30:00 | 3.16 | 65.974 | 3.185 | 156.516 | 3.395 | 123.567 | 3.465 | 110.767 | -1.082 | 889.65 | 38.552 | 0.72904
2020-01-05 14:45:00 | 2.905 | 68.805 | 2.959 | 60.408 | 3.246 | 58.967 | 3.556 | 53.467 | -1.918 | 889.983 | 39.744 | 0.36168
2020-01-05 15:00:00 | 3.447 | 75.718 | 3.171 | 66.234 | 3.119 | 69.367 | 3.228 | 62.167 | -2.12 | 889.733 | 40.475 | 0.11867
2020-01-05 15:15:00 | 2.897 | 67.595 | 2.798 | 55.01 | 3.063 | 60.733 | 3.218 | 59.3 | -2.263 | 889.7 | 40.939 | 0.1684
2020-01-05 15:30:00 | 2.625 | 63.52 | 2.471 | 53.56 | 2.627 | 57.733 | 2.574 | 55.1 | -2.131 | 889.742 | 40.821 | 0.2352
2020-01-05 15:45:00 | 2.283 | 49.1 | 1.967 | 42.447 | 2.033 | 50.5 | 1.918 | 49.9 | -2.004 | 890.075 | 40.587 | 0.20962
2020-01-05 16:00:00 | 1.159 | 75.808 | 1.133 | 67.278 | 1.266 | 66.933 | 1.684 | 65.433 | -2.17 | 890.15 | 40.283 | 0.21459
2020-01-05 16:15:00 | 1.867 | 62.152 | 1.791 | 62.679 | 2.046 | 70.033 | 2.279 | 68.7 | -1.58 | 890.317 | 39.936 | 0.16414
2020-01-05 16:30:00 | 2.788 | 80.615 | 2.676 | 78.181 | 2.87 | 82.6 | 3.094 | 77.067 | -2.008 | 889.95 | 40.923 | 0.13572
2020-01-05 16:45:00 | 2.894 | 82.61 | 3.087 | 77.456 | 3.191 | 83 | 3.289 | 74.867 | -2.062 | 890.092 | 41.6 | 0.15064
2020-01-05 17:00:00 | 2.532 | 100.027 | 2.176 | 91.926 | 2.173 | 95.067 | 2.2 | 88.833 | -2.296 | 890.192 | 42.155 | 0.22454
2020-01-05 17:15:00 | 2.609 | 100.11 | 2.099 | 90.619 | 2.091 | 93.467 | 2.363 | 86.967 | -2.217 | 890.142 | 42.592 | 0.30767
2020-01-05 17:30:00 | 2.53 | 92.457 | 2.219 | 86.683 | 2.167 | 89.667 | 2.171 | 83.733 | -2.618 | 889.95 | 43.509 | 0.35528
2020-01-05 17:45:00 | 2.627 | 87.85 | 2.498 | 82.406 | 2.387 | 92.3 | 2.366 | 87.033 | -2.8 | 889.983 | 44.533 | 0.45689
2020-01-05 18:00:00 | 2.912 | 75.8 | 2.9 | 75.373 | 2.838 | 82.833 | 2.824 | 81.1 | -3.354 | 889.883 | 45.76 | 0.16556
2020-01-05 18:15:00 | 2.449 | 83.567 | 1.92 | 81.195 | 1.574 | 85.3 | 1.602 | 83.933 | -3.756 | 889.783 | 47.029 | 0.31691
2020-01-05 18:30:00 | 2.465 | 80.903 | 2.392 | 73.858 | 2.186 | 80.633 | 1.97 | 73.833 | -4.524 | 890.275 | 48.789 | 0.25154
2020-01-05 18:45:00 | 2.431 | 83.093 | 2.37 | 75.446 | 2.475 | 86 | 2.494 | 87.6 | -4.962 | 889.817 | 50.123 | 0.27712
2020-01-05 19:00:00 | 1.888 | 89.1 | 2.129 | 76.288 | 2.298 | 85.9 | 2.428 | 87.867 | -5.385 | 889.975 | 51.424 | 0.25367
2020-01-05 19:15:00 | 1.433 | 109.133 | 1.809 | 97.117 | 2.322 | 101.933 | 2.668 | 97 | -5.783 | 889.867 | 52.864 | 0.26149
2020-01-05 19:30:00 | 1.776 | 124.49 | 2.114 | 97.175 | 2.3 | 108 | 2.549 | 97.167 | -5.938 | 890.017 | 53.493 | 0.25154
2020-01-05 19:45:00 | 1.748 | 147.293 | 1.982 | 109.223 | 1.986 | 113 | 2.23 | 108.933 | -5.879 | 889.575 | 53.995 | 0.20677
2020-01-05 20:00:00 | 2.007 | 147.6 | 2.03 | 109.255 | 1.849 | 113 | 2.073 | 107 | -6.495 | 889.667 | 55.285 | 0.23449
2020-01-05 20:15:00 | 2.025 | 165.833 | 1.789 | 110.386 | 1.892 | 112.9 | 2.157 | 107 | -6.412 | 889.708 | 55.445 | 0.26433
2020-01-05 20:30:00 | 1.826 | 172.4 | 1.192 | 116.299 | 1.837 | 112.867 | 2.337 | 107.333 | -6.462 | 889.567 | 57.077 | 0.25154
2020-01-05 20:45:00 | 2.136 | 182.2 | 1.057 | 131.524 | 1.52 | 122.8 | 2.205 | 122.933 | -6.462 | 890.083 | 56.917 | 0.23307
2020-01-05 21:00:00 | 1.422 | 186.693 | 0 | 131.487 | 0.859 | 123 | 2.055 | 120.867 | -7.17 | 889.967 | 56.789 | 0.24301
2020-01-05 21:15:00 | 0.598 | 196.48 | 0 | 131.577 | 0.363 | 123 | 1.801 | 102.9 | -6.933 | 889.742 | 57.643 | 0.23164
2020-01-05 21:30:00 | 0.03 | 196.52 | 0.173 | 129.177 | 1.182 | 86 | 1.699 | 96 | -7.135 | 890.075 | 58.165 | 0.24301
2020-01-05 21:45:00 | 0 | 196.6 | 0 | 121.206 | 0.692 | 86 | 1.781 | 90 | -7.506 | 889.725 | 58.891 | 0.21672
2020-01-05 22:00:00 | 0 | 196.573 | 0 | 121.23 | 1.353 | 85.8 | 2.425 | 90 | -7.803 | 890.05 | 60.096 | 0.20677
2020-01-05 22:15:00 | 0.06 | 197.28 | 0.074 | 121.27 | 2.156 | 86 | 2.749 | 88.133 | -8.351 | 889.967 | 60.491 | 0.13217
2020-01-05 22:30:00 | 0.6 | 216.687 | 0.476 | 64.802 | 2.48 | 68.833 | 3.347 | 72 | -8.164 | 889.8 | 59.957 | 1.0523
2020-01-05 22:45:00 | 0.86 | 135.633 | 1.311 | 96.622 | 2.089 | 108.433 | 2.503 | 100.6 | -8.658 | 889.658 | 60.405 | 2.7677
2020-01-05 23:00:00 | 3.164 | 159.793 | 3.431 | 126.712 | 4.057 | 120.533 | 3.924 | 106 | -10.303 | 890.042 | 58.432 | 3.0085
2020-01-05 23:15:00 | 3.235 | 158.5 | 3.935 | 116.765 | 3.476 | 111.867 | 3.116 | 102.367 | -8.674 | 889.608 | 56.747 | 2.671
2020-01-05 23:30:00 | 3.408 | 149.6 | 3.458 | 108.985 | 3.06 | 105.367 | 2.293 | 97.6 | -8.791 | 890.108 | 56.565 | 1.8084
2020-01-05 23:45:00 | 3.287 | 144.453 | 3.109 | 109.263 | 2.906 | 109.167 | 2.426 | 100.4 | -8.331 | 889.942 | 57.216 | 1.1241