## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-06 00:00:00 | 3.064 | 140.253 | 2.996 | 109.691 | 2.601 | 109.933 | 2.05 | 99.5 | -7.93 | 889.758 | 57.493 | 0.47679
2020-01-06 00:15:00 | 2.98 | 148.487 | 2.723 | 115.39 | 2.59 | 113 | 2.157 | 103.433 | -8.03 | 889.917 | 57.269 | 0.25154
2020-01-06 00:30:00 | 2.431 | 159.26 | 1.85 | 121.037 | 2.019 | 121.233 | 1.737 | 108.833 | -7.17 | 889.767 | 57.013 | 0.25722
2020-01-06 00:45:00 | 2.502 | 179.067 | 1.182 | 130.469 | 1.186 | 132.933 | 1.569 | 109 | -7.672 | 889.983 | 57.323 | 0.22596
2020-01-06 01:00:00 | 2.99 | 197.127 | 0.916 | 130.498 | 0.077 | 133 | 0.83 | 108.9 | -8.311 | 890.133 | 57.237 | 0.22454
2020-01-06 01:15:00 | 2.162 | 203.293 | 0 | 130.55 | 0 | 132.933 | 0.054 | 109 | -8.311 | 890.058 | 58.187 | 0.23164
2020-01-06 01:30:00 | 0.602 | 203.573 | 0.314 | 126.4 | 1.435 | 84.133 | 1.817 | 79.667 | -7.736 | 889.833 | 58.933 | 0.23378
2020-01-06 01:45:00 | 0 | 206.94 | 1.434 | 77.527 | 1.486 | 59.2 | 2.035 | 72.733 | -8.371 | 889.875 | 59.371 | 0.17125
2020-01-06 02:00:00 | 0 | 137.4 | 1.594 | 62.129 | 1.75 | 61.6 | 2.528 | 76.533 | -8.724 | 890.175 | 61.227 | 0.2018
2020-01-06 02:15:00 | 0 | 166.26 | 0.043 | 65.996 | 1.753 | 72.5 | 2.523 | 78.1 | -9.387 | 889.592 | 62.763 | 0.084557
2020-01-06 02:30:00 | 0.901 | 211.54 | 0.243 | 69.279 | 2.078 | 87.467 | 2.603 | 91.433 | -9.97 | 890.158 | 63.861 | 0.19043
2020-01-06 02:45:00 | 1.143 | 216.7 | 0 | 73.164 | 0.887 | 95.867 | 1.676 | 97.2 | -9.912 | 889.875 | 64.341 | 0.48816
2020-01-06 03:00:00 | 1.91 | 216.433 | 0.137 | 98.845 | 1.976 | 112.033 | 2.12 | 104.4 | -9.808 | 890.025 | 63.189 | 0.26859
2020-01-06 03:15:00 | 1.536 | 209.433 | 0.784 | 134.389 | 2.25 | 114.167 | 2.821 | 103.233 | -9.274 | 889.925 | 62.72 | 0.17551
2020-01-06 03:30:00 | 1.692 | 176.5 | 1.978 | 128.256 | 2.707 | 114.7 | 3.115 | 106.033 | -9.174 | 889.817 | 62.677 | 0.66935
2020-01-06 03:45:00 | 2.026 | 186.7 | 1.776 | 132.514 | 2.691 | 116.8 | 3.173 | 107 | -8.824 | 889.592 | 61.92 | 0.78944
2020-01-06 04:00:00 | 1.259 | 181.333 | 0.754 | 123.139 | 2.263 | 105.8 | 1.726 | 99.267 | -8.891 | 890.067 | 60.928 | 0.30696
2020-01-06 04:15:00 | 0.027 | 142.4 | 0.217 | 109.245 | 1.214 | 85.633 | 1.582 | 83.667 | -8.608 | 889.95 | 60.331 | 0.19398
2020-01-06 04:30:00 | 1.274 | 192.027 | 0.023 | 107.231 | 1.02 | 91.667 | 1.159 | 77.067 | -9.662 | 890.117 | 62.133 | 0.23449
2020-01-06 04:45:00 | 1.172 | 183.667 | 0.317 | 107.257 | 0.916 | 91.333 | 1.504 | 78.133 | -9.566 | 890.367 | 63.104 | 0.14922
2020-01-06 05:00:00 | 1.252 | 158.5 | 0.463 | 100.794 | 1.34 | 89.033 | 1.468 | 79.167 | -9.808 | 889.783 | 62.987 | 0.098058
2020-01-06 05:15:00 | 1.319 | 164.08 | 0.94 | 96.566 | 2.077 | 87.667 | 1.875 | 90.8 | -10.062 | 890.083 | 62.997 | 0.12577
2020-01-06 05:30:00 | 1.022 | 178.7 | 0.356 | 95.92 | 2.214 | 84.167 | 2.399 | 82.8 | -10.083 | 889.592 | 63.563 | 0.1748
2020-01-06 05:45:00 | 0.738 | 207.067 | 0 | 75.248 | 0 | 86.933 | 0.702 | 75 | -10.349 | 889.858 | 65.291 | 0.26433
2020-01-06 06:00:00 | 1.33 | 215.733 | 0 | 75.278 | 0 | 85 | 0.608 | 96.033 | -10.366 | 889.867 | 65.579 | 0.23307
2020-01-06 06:15:00 | 2.666 | 225.7 | 0 | 75.236 | 0 | 85 | 0.866 | 87 | -10.416 | 890.1 | 64.437 | 0.22596
2020-01-06 06:30:00 | 2.667 | 231.5 | 0 | 75.277 | 0 | 84.833 | 0.39 | 90.4 | -10.399 | 889.658 | 64.245 | 0.23591
2020-01-06 06:45:00 | 1.88 | 246.54 | 0 | 75.232 | 0 | 84.8 | 0.477 | 92 | -10.47 | 890.217 | 64.661 | 0.23164
2020-01-06 07:00:00 | 0.92 | 246.32 | 0 | 75.24 | 0.794 | 81.467 | 2.318 | 79.1 | -10.535 | 889.683 | 65.003 | 0.22738
2020-01-06 07:15:00 | 0.06 | 243.1 | 0 | 75.214 | 0.941 | 72.567 | 1.914 | 78 | -10.349 | 890.225 | 65.707 | 0.22596
2020-01-06 07:30:00 | 0.03 | 242.587 | 0 | 75.223 | 0.978 | 72.033 | 1.404 | 78 | -10.628 | 889.85 | 66.571 | 0.23378
2020-01-06 07:45:00 | 0.116 | 226.9 | 0 | 75.293 | 0.103 | 72.067 | 1.253 | 81.733 | -10.316 | 889.833 | 66.635 | 0.24444
2020-01-06 08:00:00 | 0.293 | 226.987 | 0 | 75.283 | 0.369 | 84 | 2.32 | 109 | -10.418 | 890.083 | 67.477 | 0.25012
2020-01-06 08:15:00 | 1.82 | 236.693 | 0 | 75.245 | 0 | 108.933 | 0.87 | 109.033 | -10.836 | 889.7 | 66.688 | 0.23307
2020-01-06 08:30:00 | 0.907 | 241.7 | 0 | 75.249 | 0.366 | 110.867 | 1.689 | 126.433 | -11.078 | 889.917 | 67.061 | 0.23449
2020-01-06 08:45:00 | 0.801 | 241.08 | 0 | 85.182 | 0.3 | 123.2 | 1.629 | 119.533 | -10.966 | 889.858 | 67.296 | 0.23236
2020-01-06 09:00:00 | 0 | 240.533 | 0 | 86.216 | 1.091 | 114.233 | 2.028 | 109.733 | -10.216 | 889.9 | 67.872 | 0.19185
2020-01-06 09:15:00 | 1.15 | 244.347 | 0 | 86.274 | 0.5 | 107.133 | 2.005 | 105.967 | -10.508 | 890.167 | 66.613 | 0.1009
2020-01-06 09:30:00 | 1.62 | 257.02 | 0 | 85.776 | 0.163 | 98.525 | 1.75 | 102.633 | -10.451 | 889.975 | 66.549 | 0.49029
2020-01-06 09:45:00 | 0.586 | 254.267 | 0.214 | 99.974 | 1.652 | 109.933 | 2.598 | 103.233 | -10.499 | 889.867 | 64.608 | 1.171
2020-01-06 10:00:00 | 0.123 | 142.2 | 1.267 | 99.115 | 2.45 | 98.3 | 3.511 | 94.4 | -10.283 | 889.742 | 63.125 | 1.2783
2020-01-06 10:15:00 | 1.187 | 121.727 | 2.246 | 107.84 | 2.42 | 103.033 | 2.301 | 95.733 | -9.704 | 889.75 | 58.699 | 0.25865
2020-01-06 10:30:00 | 0.653 | 110.787 | 1.129 | 90.432 | 1.643 | 85.933 | 1.845 | 78 | -9.933 | 889.883 | 57.461 | 0.25012
2020-01-06 10:45:00 | 0 | 111.06 | 0 | 90.275 | 0 | 86.033 | 0.286 | 96 | -9.828 | 889.75 | 55.413 | 0.24941
2020-01-06 11:00:00 | 1.237 | 84.94 | 2.562 | 67.476 | 2.766 | 65.2 | 2.812 | 64.4 | -9.578 | 889.867 | 54.72 | 2.18
2020-01-06 11:15:00 | 3.091 | 87.28 | 3.268 | 81.343 | 3.014 | 87.567 | 3.192 | 82.733 | -10.108 | 890.208 | 54.304 | 1.6336
2020-01-06 11:30:00 | 2.378 | 76.533 | 2.394 | 76.075 | 2.423 | 79.067 | 2.284 | 72.267 | -10.299 | 889.692 | 56.149 | 0.27215
2020-01-06 11:45:00 | 1.355 | 69.653 | 0.31 | 78.257 | 0.35 | 88.867 | 0.614 | 78.867 | -10.487 | 889.675 | 54.667 | 0.23307
2020-01-06 12:00:00 | 0 | 56 | 0 | 78.249 | 0 | 79 | 0 | 77.833 | -10.366 | 889.9 | 54.101 | 0.22028
2020-01-06 12:15:00 | 0.276 | 341.533 | 0 | 58.943 | 0.063 | 90.971 | 0 | 78 | -10.299 | 890.317 | 53.269 | 0.22454
2020-01-06 12:30:00 | 1.837 | 302.133 | 1.259 | 302.884 | 1.076 | 299.033 | 0.576 | 306.867 | -10.299 | 889.842 | 55.029 | 0.23591
2020-01-06 12:45:00 | 1.453 | 298.027 | 0.751 | 299.643 | 0.44 | 302.267 | 0.094 | 300.133 | -9.995 | 890.133 | 53.157 | 0.2487
2020-01-06 13:00:00 | 2.06 | 306.2 | 1.667 | 301.602 | 1.833 | 302.533 | 1.908 | 292.367 | -9.274 | 889.633 | 50.837 | 0.25438
2020-01-06 13:15:00 | 2.038 | 317.333 | 1.76 | 310.167 | 1.8 | 311.3 | 1.88 | 315 | -9.241 | 890.075 | 50.965 | 0.24017
2020-01-06 13:30:00 | 2.171 | 325.2 | 1.846 | 323.959 | 1.953 | 329.7 | 2.089 | 328.133 | -8.841 | 889.942 | 50.96 | 0.24301
2020-01-06 13:45:00 | 1.605 | 99.466 | 1.274 | 114.88 | 1.196 | 149.333 | 1.518 | 1.8 | -8.791 | 889.992 | 49.616 | 0.23164
2020-01-06 14:00:00 | 1.329 | 25.13 | 0.776 | 17.024 | 0.61 | 18.267 | 0.655 | 10.367 | -8.841 | 890.342 | 48.491 | 0.22454
2020-01-06 14:15:00 | 1.616 | 15.206 | 1.087 | 17.145 | 1.494 | 25.2 | 1.501 | 21.333 | -8.824 | 889.758 | 48.075 | 0.23307
2020-01-06 14:30:00 | 0.612 | 99.589 | 0.027 | 15.912 | 0.033 | 8.135 | 0.41 | 7.333 | -8.541 | 890.233 | 47.755 | 0.2217
2020-01-06 14:45:00 | 0 | 352.8 | 0 | 2.876 | 0 | 21.029 | 0.074 | 7.1 | -8.408 | 889.958 | 46.859 | 0.22454
2020-01-06 15:00:00 | 0.06 | 298.947 | 0 | 345.015 | 0 | 319.767 | 0 | 7.071 | -8.17 | 889.742 | 45.867 | 0.22454
2020-01-06 15:15:00 | 0 | 298.933 | 0 | 344.871 | 0 | 316 | 0 | 7.116 | -8.19 | 890.142 | 45.739 | 0.22454
2020-01-06 15:30:00 | 0.133 | 115.765 | 0 | 344.859 | 0 | 316.133 | 0 | 7.083 | -7.756 | 890.083 | 44.832 | 0.2217
2020-01-06 15:45:00 | 0.773 | 82.548 | 0.342 | 21.028 | 0.206 | 10.233 | 0.292 | 7.033 | -7.576 | 889.95 | 44.875 | 0.2217
2020-01-06 16:00:00 | 0.709 | 38.138 | 0.133 | 39.141 | 0.093 | 55 | 0.229 | 21 | -7.88 | 889.725 | 45.611 | 0.21885
2020-01-06 16:15:00 | 0.658 | 45.15 | 0.036 | 39.104 | 0 | 55 | 0 | 20.967 | -7.689 | 889.883 | 45.557 | 0.2217
2020-01-06 16:30:00 | 1.377 | 48.888 | 0.829 | 40.437 | 0.963 | 57 | 1.055 | 30.633 | -7.606 | 890.058 | 46.261 | 0.23733
2020-01-06 16:45:00 | 1.699 | 75.783 | 1.377 | 71.508 | 1.524 | 70.6 | 1.798 | 66.533 | -7.622 | 889.383 | 47.381 | 0.26931
2020-01-06 17:00:00 | 1.787 | 74.522 | 1.661 | 74.537 | 1.93 | 85.067 | 1.976 | 79.167 | -7.93 | 890.142 | 47.915 | 0.15206
2020-01-06 17:15:00 | 3.207 | 87.693 | 3.291 | 84.848 | 3.297 | 89.967 | 3.451 | 87.467 | -7.662 | 889.7 | 48.811 | 0.58906
2020-01-06 17:30:00 | 0.778 | 114.733 | 0.12 | 109.275 | 0.343 | 105.2 | 0.725 | 107.067 | -8.19 | 889.825 | 49.131 | 0.2352
2020-01-06 17:45:00 | 1.977 | 99.45 | 1.593 | 93.483 | 1.817 | 104.267 | 1.899 | 96 | -7.839 | 889.633 | 48.896 | 0.26931
2020-01-06 18:00:00 | 1.645 | 77.943 | 1.314 | 80.333 | 1.263 | 89.867 | 1.31 | 86.267 | -8.13 | 889.708 | 48.693 | 0.23449
2020-01-06 18:15:00 | 1.859 | 69.623 | 1.51 | 66.277 | 1.5 | 79.033 | 1.465 | 85.6 | -8.21 | 889.5 | 49.163 | 0.22312
2020-01-06 18:30:00 | 1.763 | 59.107 | 1.595 | 56.14 | 1.538 | 65.033 | 1.337 | 72 | -8.311 | 889.933 | 50.613 | 0.23164
2020-01-06 18:45:00 | 0.269 | 49.1 | 0.086 | 56.118 | 0 | 65 | 0 | 72 | -8.741 | 890.292 | 52.661 | 0.2288
2020-01-06 19:00:00 | 1.137 | 294.667 | 0.99 | 56.105 | 0.641 | 65 | 0.188 | 72 | -9.158 | 890.092 | 54.283 | 0.22596
2020-01-06 19:15:00 | 1.51 | 65.2 | 1.599 | 53.708 | 1.67 | 64.9 | 1.509 | 72 | -9.091 | 889.683 | 54.795 | 0.23449
2020-01-06 19:30:00 | 1.825 | 71.86 | 1.71 | 63.119 | 1.377 | 68 | 1.141 | 72 | -9.449 | 890.108 | 54.987 | 0.23164
2020-01-06 19:45:00 | 1.652 | 67.7 | 1.844 | 63.133 | 1.311 | 66.6 | 1.239 | 72 | -9.704 | 889.733 | 56.107 | 0.23164
2020-01-06 20:00:00 | 1.252 | 66.013 | 1.558 | 63.136 | 1.277 | 65.967 | 1.272 | 72 | -10.074 | 889.533 | 57.269 | 0.22596
2020-01-06 20:15:00 | 0.8 | 66 | 0.95 | 63.136 | 0.2 | 66 | 0.336 | 72 | -10.166 | 889.683 | 58.325 | 0.23591
2020-01-06 20:30:00 | 0 | 66.04 | 0 | 63.123 | 0 | 66 | 0 | 72 | -10.524 | 890.092 | 59.84 | 0.23449
2020-01-06 20:45:00 | 1.23 | 162.17 | 0 | 62.999 | 0 | 122.367 | 0.104 | 99.925 | -11.261 | 890.217 | 62.368 | 0.24017
2020-01-06 21:00:00 | 1.989 | 267.533 | 1.072 | 277.127 | 1.3 | 330 | 1.623 | 340.733 | -11.428 | 890.1 | 63.072 | 0.25154
2020-01-06 21:15:00 | 2.174 | 258.32 | 0.943 | 276.944 | 1.184 | 318.3 | 1.649 | 331 | -11.014 | 890.183 | 63.648 | 0.25296
2020-01-06 21:30:00 | 1.187 | 248.767 | 0 | 277.145 | 0 | 318 | 1.173 | 330.702 | -11.461 | 890.033 | 64.032 | 0.26149
2020-01-06 21:45:00 | 3.054 | 221.467 | 0 | 276.924 | 0 | 318 | 1.004 | 31.765 | -11.345 | 890.125 | 63.061 | 0.28138
2020-01-06 22:00:00 | 4.354 | 223.173 | 1.576 | 245.19 | 0 | 317.933 | 0 | 56.125 | -11.088 | 890.108 | 61.675 | 0.27286
2020-01-06 22:15:00 | 3.074 | 227.947 | 0.529 | 235.622 | 0 | 258 | 1.192 | 58.4 | -11.87 | 890.025 | 63.189 | 0.26149
2020-01-06 22:30:00 | 2.225 | 210.413 | 0 | 235.303 | 0.596 | 77.2 | 2.076 | 79.333 | -12.007 | 889.883 | 63.968 | 0.27215
2020-01-06 22:45:00 | 4.912 | 225.373 | 1.698 | 207.955 | 0.293 | 128.367 | 0.662 | 122.933 | -12.872 | 889.658 | 59.371 | 0.26859
2020-01-06 23:00:00 | 4.988 | 230.6 | 2.918 | 230.206 | 1.837 | 228.267 | 0.691 | 234.2 | -14.068 | 889.908 | 65.003 | 0.27002
2020-01-06 23:15:00 | 3.948 | 233.733 | 1.394 | 234.318 | 0.197 | 207.867 | 0 | 155 | -11.445 | 890.133 | 62.784 | 0.25865
2020-01-06 23:30:00 | 4.255 | 232.087 | 0.985 | 234.482 | 0 | 209.9 | 0 | 155 | -11.603 | 889.8 | 61.397 | 0.24301
2020-01-06 23:45:00 | 3.774 | 229.38 | 1.13 | 234.44 | 0 | 210 | 0.04 | 156.4 | -12.382 | 889.983 | 62.859 | 0.25296