## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-07 00:00:00 | 3.867 | 226.387 | 0.879 | 214.624 | 0.19 | 167.867 | 1.038 | 148.133 | -11.349 | 889.925 | 61.707 | 0.23164
2020-01-07 00:15:00 | 3.362 | 228.98 | 0.636 | 234.481 | 0.05 | 209 | 0.692 | 148.867 | -12.582 | 890.217 | 64.128 | 0.24159
2020-01-07 00:30:00 | 4.684 | 232.653 | 2.446 | 250.511 | 1.867 | 248.7 | 1.212 | 214.867 | -14.156 | 889.925 | 62.699 | 0.23307
2020-01-07 00:45:00 | 3.748 | 233.767 | 1.045 | 250.362 | 0 | 220.1 | 0.091 | 194.733 | -12.886 | 889.4 | 66.037 | 0.23591
2020-01-07 01:00:00 | 3.746 | 233.087 | 0 | 250.514 | 0 | 220.1 | 0 | 193.067 | -13.222 | 889.975 | 63.307 | 0.24159
2020-01-07 01:15:00 | 3.567 | 239.633 | 0.17 | 250.508 | 0 | 220.667 | 0 | 193.067 | -12.986 | 890.083 | 65.739 | 0.24159
2020-01-07 01:30:00 | 2.763 | 244.3 | 0 | 250.558 | 0 | 220.567 | 0.034 | 163.667 | -11.528 | 890.05 | 64.576 | 0.25296
2020-01-07 01:45:00 | 2.56 | 239.733 | 0 | 265.197 | 0 | 72 | 0.097 | 147.6 | -11.411 | 889.817 | 63.221 | 0.2487
2020-01-07 02:00:00 | 2.814 | 238.573 | 0 | 265.072 | 0 | 80.1 | 0.437 | 124.9 | -11.022 | 889.767 | 62.24 | 0.23733
2020-01-07 02:15:00 | 2.987 | 242.433 | 0.209 | 265.169 | 0 | 80.1 | 0 | 125 | -11.428 | 889.9 | 62.485 | 0.24301
2020-01-07 02:30:00 | 2.975 | 240.927 | 0 | 265.084 | 0 | 80 | 0 | 125 | -11.524 | 889.975 | 62.827 | 0.25438
2020-01-07 02:45:00 | 3.55 | 231.507 | 0 | 265.23 | 0 | 80 | 0 | 125 | -11.386 | 890 | 61.984 | 0.2558
2020-01-07 03:00:00 | 3.118 | 230.127 | 0.05 | 264.945 | 0 | 80 | 0.278 | 124.933 | -11.607 | 890.2 | 63.36 | 0.26291
2020-01-07 03:15:00 | 2.916 | 224.78 | 0 | 257.108 | 0 | 107.067 | 1.612 | 128 | -11.176 | 890.05 | 62.453 | 0.2757
2020-01-07 03:30:00 | 3.062 | 231.087 | 0.06 | 257.156 | 0 | 107 | 0 | 128.067 | -11.549 | 889.717 | 64.896 | 0.26149
2020-01-07 03:45:00 | 2.427 | 237.267 | 0 | 256.844 | 0 | 107.067 | 0 | 128 | -10.797 | 889.842 | 62.336 | 0.26291
2020-01-07 04:00:00 | 3.312 | 238.413 | 1.22 | 257.121 | 0.136 | 272.267 | 0 | 128.417 | -11.661 | 889.733 | 62.411 | 0.26291
2020-01-07 04:15:00 | 2.769 | 245.553 | 1.6 | 276.167 | 0.68 | 284 | 0.077 | 251.25 | -11.495 | 889.867 | 62.373 | 0.2558
2020-01-07 04:30:00 | 4.099 | 252.12 | 2.192 | 295.905 | 1.104 | 284.067 | 0 | 251 | -12.424 | 890.433 | 60.533 | 0.26291
2020-01-07 04:45:00 | 3.918 | 248.153 | 2.2 | 292.759 | 1.549 | 316.2 | 0.121 | 250.433 | -12.72 | 889.692 | 64.965 | 0.25722
2020-01-07 05:00:00 | 3.79 | 250.327 | 2.276 | 298.275 | 1.566 | 312.067 | 0 | 250.433 | -12.82 | 890.408 | 63.216 | 0.25865
2020-01-07 05:15:00 | 4.309 | 252.013 | 3.094 | 290.561 | 1.648 | 312.233 | 0 | 250.2 | -12.553 | 890.05 | 64.32 | 0.2558
2020-01-07 05:30:00 | 3.714 | 258.92 | 2.841 | 303.081 | 1.872 | 312.567 | 0 | 250.45 | -12.886 | 889.917 | 64.587 | 0.24728
2020-01-07 05:45:00 | 3.992 | 255.733 | 2.974 | 291.674 | 1.8 | 312.267 | 0 | 250.633 | -12.886 | 889.492 | 64.624 | 0.23875
2020-01-07 06:00:00 | 4.216 | 252.467 | 2.341 | 283.01 | 0.984 | 312.333 | 0 | 250.4 | -13.203 | 890.008 | 65.552 | 0.25012
2020-01-07 06:15:00 | 4.107 | 248.013 | 2.514 | 292.921 | 1.49 | 328 | 0 | 250.6 | -13.251 | 889.375 | 64.469 | 0.25296
2020-01-07 06:30:00 | 3.901 | 245.74 | 2.369 | 277.225 | 0.543 | 300.167 | 0 | 250.133 | -12.87 | 889.833 | 66.027 | 0.25154
2020-01-07 06:45:00 | 4.591 | 242.087 | 2.876 | 281.192 | 1.508 | 303.167 | 0.034 | 251.05 | -13.447 | 889.833 | 63.429 | 0.25296
2020-01-07 07:00:00 | 4.627 | 248.027 | 3.433 | 292.661 | 2.53 | 317.667 | 1.49 | 342.433 | -14.933 | 889.875 | 62.149 | 0.27286
2020-01-07 07:15:00 | 4.229 | 244.673 | 3.346 | 298.541 | 2.825 | 330.267 | 2.077 | 356.5 | -14.662 | 889.75 | 67.259 | 0.26291
2020-01-07 07:30:00 | 4.771 | 240.873 | 3.548 | 282.027 | 2.831 | 306 | 1.8 | 342.733 | -14.62 | 889.942 | 66.464 | 0.26575
2020-01-07 07:45:00 | 4.598 | 237.207 | 2.917 | 288.926 | 2.587 | 314.6 | 1.991 | 344.733 | -14.308 | 890.325 | 66.699 | 0.26717
2020-01-07 08:00:00 | 4.71 | 230.633 | 2.675 | 281.744 | 2.156 | 305.267 | 1.723 | 341.567 | -13.883 | 890.217 | 65.632 | 0.28565
2020-01-07 08:15:00 | 4.606 | 240.22 | 2.761 | 281.372 | 2.496 | 303.467 | 2.337 | 315.2 | -14.12 | 889.925 | 65.296 | 0.28138
2020-01-07 08:30:00 | 4.502 | 237.527 | 3.286 | 276.102 | 2.905 | 289.533 | 2.598 | 294 | -13.635 | 890.192 | 64.363 | 0.27783
2020-01-07 08:45:00 | 5.425 | 233.88 | 3.41 | 263.325 | 2.675 | 277.867 | 2.483 | 288.2 | -13.92 | 889.583 | 61.371 | 0.26007
2020-01-07 09:00:00 | 5.617 | 232.08 | 4.254 | 265.123 | 3.5 | 280.2 | 2.943 | 286.867 | -16.19 | 889.983 | 63.216 | 0.23662
2020-01-07 09:15:00 | 4.773 | 235.633 | 3.085 | 266.554 | 2.614 | 279.933 | 2.477 | 287 | -15.358 | 889.983 | 68.885 | 0.28849
2020-01-07 09:30:00 | 5.015 | 234.167 | 3.33 | 264.963 | 2.802 | 279.467 | 2.664 | 287 | -15.041 | 889.358 | 65.403 | 0.24515
2020-01-07 09:45:00 | 4.869 | 239.633 | 3.445 | 275.798 | 3.159 | 292.067 | 3.118 | 296.533 | -15.141 | 889.567 | 64.581 | 0.22738
2020-01-07 10:00:00 | 5.034 | 227.567 | 3.508 | 276.219 | 3.027 | 292.067 | 2.986 | 298.933 | -15.224 | 889.95 | 63.003 | 0.27925
2020-01-07 10:15:00 | 5.162 | 223.4 | 3.184 | 266.775 | 2.498 | 295.2 | 2.396 | 298.7 | -15.391 | 890.125 | 64.187 | 0.30412
2020-01-07 10:30:00 | 5.384 | 229.287 | 3.437 | 261.338 | 2.873 | 280.267 | 2.627 | 295.433 | -14.22 | 889.75 | 64.811 | 0.28991
2020-01-07 10:45:00 | 4.844 | 227.267 | 3.646 | 261.255 | 3.07 | 276.067 | 2.425 | 284 | -13.341 | 890.108 | 66.208 | 0.30128
2020-01-07 11:00:00 | 3.77 | 220.52 | 2.923 | 245.245 | 2.529 | 256.133 | 1.836 | 262.967 | -11.703 | 890.283 | 64.533 | 0.28991
2020-01-07 11:15:00 | 2.908 | 226.647 | 2.935 | 246.83 | 2.462 | 253.1 | 2.128 | 252.5 | -9.958 | 889.458 | 62.453 | 0.26433
2020-01-07 11:30:00 | 1.547 | 228.093 | 1.65 | 243.546 | 1.326 | 251.933 | 1.242 | 251 | -8.01 | 889.375 | 58.496 | 0.26149
2020-01-07 11:45:00 | 0.349 | 234.78 | 0 | 243.514 | 0 | 252.067 | 0.329 | 251.033 | -5.69 | 890.225 | 52.107 | 0.26575
2020-01-07 12:00:00 | 0.1 | 177.2 | 0 | 243.493 | 0 | 252.017 | 0 | 251 | -5.839 | 889.558 | 47.253 | 0.25865
2020-01-07 12:15:00 | 0.146 | 0 | 0.03 | 328.887 | 0 | 326 | 0 | 251 | -5.879 | 889.683 | 44.213 | 0.25865
2020-01-07 12:30:00 | 0.1 | 227.767 | 0 | 278.744 | 0 | 314 | 0 | 249.533 | -4.785 | 889.6 | 41.36 | 0.24301
2020-01-07 12:45:00 | 0 | 212.193 | 0 | 157.575 | 0.07 | 214.2 | 0.114 | 218.667 | -4.732 | 890.217 | 38.629 | 0.23733
2020-01-07 13:00:00 | 0.525 | 106.163 | 0.27 | 91.041 | 0 | 113.133 | 0.531 | 118.333 | -4.186 | 890.083 | 36.725 | 0.24728
2020-01-07 13:15:00 | 1.698 | 74.363 | 1.663 | 72.466 | 1.507 | 75.867 | 1.646 | 83.567 | -4.816 | 890.083 | 36.704 | 0.31407
2020-01-07 13:30:00 | 1.822 | 98.4 | 1.684 | 83.337 | 1.714 | 74.2 | 2.157 | 71.967 | -5.069 | 890.083 | 38.88 | 0.21601
2020-01-07 13:45:00 | 2.673 | 64.338 | 2.61 | 65.253 | 2.57 | 68.533 | 2.809 | 70.2 | -5.235 | 889.917 | 39.461 | 0.25438
2020-01-07 14:00:00 | 2.586 | 66.947 | 2.979 | 52.05 | 2.887 | 58.7 | 2.793 | 59.467 | -5.002 | 888.75 | 40.384 | 1.1604
2020-01-07 14:15:00 | 2.418 | 78.117 | 2.568 | 79.75 | 2.983 | 85.833 | 3.336 | 81.533 | -5.052 | 889.725 | 41.867 | 2.7876
2020-01-07 14:30:00 | 4.215 | 84.9 | 4.341 | 80.057 | 3.965 | 87 | 4.003 | 84.1 | -5.052 | 890.292 | 42.507 | 3.1904
2020-01-07 14:45:00 | 2.994 | 88.033 | 3.304 | 85.682 | 3.278 | 91.4 | 3.476 | 90.233 | -5.285 | 890.1 | 42.571 | 2.4912
2020-01-07 15:00:00 | 3.468 | 84.328 | 3.504 | 78.759 | 3.637 | 84 | 3.971 | 79.067 | -4.902 | 889.817 | 41.931 | 1.7771
2020-01-07 15:15:00 | 3.289 | 93.095 | 3.434 | 88.864 | 3.278 | 91.533 | 3.384 | 82.733 | -4.582 | 889.95 | 41.099 | 2.4245
2020-01-07 15:30:00 | 3.201 | 65.738 | 3.434 | 61.783 | 3.595 | 73.033 | 3.707 | 74.133 | -4.218 | 889.642 | 40.843 | 3.9024
2020-01-07 15:45:00 | 2.103 | 95.33 | 2.041 | 93.557 | 2.113 | 95.033 | 2.519 | 94.567 | -4.384 | 889.933 | 40.517 | 4.7082
2020-01-07 16:00:00 | 3.369 | 94.027 | 3.423 | 85.513 | 3.573 | 88.333 | 3.904 | 82.467 | -4.032 | 889.475 | 40.731 | 5.1942
2020-01-07 16:15:00 | 4.02 | 72.897 | 4.063 | 67.435 | 3.977 | 71.9 | 4.083 | 72.1 | -4.122 | 889.567 | 40.576 | 4.613
2020-01-07 16:30:00 | 4.26 | 76.315 | 3.932 | 73.977 | 4.177 | 83 | 4.407 | 78.8 | -4.271 | 889.683 | 40.64 | 5.0685
2020-01-07 16:45:00 | 3.503 | 85.363 | 3.922 | 77.13 | 3.968 | 80.533 | 4.164 | 78.967 | -4.582 | 889.392 | 40.837 | 3.6345
2020-01-07 17:00:00 | 3.486 | 75.6 | 3.73 | 71.201 | 3.819 | 77.133 | 4.016 | 74.7 | -4.477 | 889.875 | 41.051 | 2.5843
2020-01-07 17:15:00 | 3.22 | 78.763 | 3.272 | 73.317 | 3.425 | 76.733 | 3.628 | 74.3 | -4.418 | 889.942 | 41.237 | 1.9263
2020-01-07 17:30:00 | 3.201 | 76.77 | 3.196 | 70.565 | 3.453 | 74.333 | 3.519 | 71.967 | -4.574 | 889.983 | 41.472 | 2.1267
2020-01-07 17:45:00 | 2.928 | 70.223 | 2.787 | 64.666 | 2.897 | 72.767 | 3.078 | 69.267 | -4.902 | 889.533 | 42.037 | 1.1966
2020-01-07 18:00:00 | 2.991 | 69.997 | 2.811 | 66.672 | 2.891 | 68.967 | 3.092 | 64.567 | -4.919 | 889.658 | 42.677 | 1.2001
2020-01-07 18:15:00 | 2.902 | 64.813 | 3.152 | 63.383 | 3.072 | 67.067 | 3.167 | 66.567 | -5.402 | 889.808 | 44.171 | 0.85339
2020-01-07 18:30:00 | 2.768 | 66.975 | 2.66 | 64.322 | 2.74 | 68.133 | 2.873 | 62.633 | -5.918 | 890.267 | 46.219 | 0.43629
2020-01-07 18:45:00 | 2.187 | 66.32 | 2.031 | 59.59 | 2.249 | 70.133 | 2.538 | 68.167 | -6.283 | 889.65 | 47.627 | 0.18262
2020-01-07 19:00:00 | 1.55 | 66.483 | 1.793 | 62.866 | 1.981 | 68.933 | 2.134 | 68 | -6.727 | 889.442 | 48.821 | 0.24728
2020-01-07 19:15:00 | 1.84 | 73.927 | 2.474 | 63.442 | 2.643 | 72 | 2.641 | 68 | -7.118 | 890.1 | 50.4 | 0.18048
2020-01-07 19:30:00 | 1.083 | 75.3 | 2.044 | 68.281 | 2.283 | 78.9 | 2.222 | 69.067 | -7.606 | 890.167 | 50.805 | 0.27499
2020-01-07 19:45:00 | 0 | 75.3 | 1.525 | 71.598 | 1.868 | 76 | 1.977 | 70.8 | -7.622 | 890.192 | 52.853 | 0.25438
2020-01-07 20:00:00 | 0.056 | 75.21 | 1.576 | 79.015 | 1.922 | 78 | 2.085 | 71 | -8.331 | 889.642 | 54.272 | 0.23733
2020-01-07 20:15:00 | 1.034 | 138.467 | 1.729 | 80.242 | 1.955 | 92 | 1.899 | 82.867 | -8.19 | 889.958 | 55.115 | 0.2288
2020-01-07 20:30:00 | 1.227 | 177.26 | 0 | 80.256 | 0.94 | 92.033 | 1.336 | 83.1 | -8.21 | 889.55 | 55.531 | 0.24017
2020-01-07 20:45:00 | 1.77 | 208.353 | 0 | 80.133 | 0 | 92.067 | 0.675 | 83 | -8.464 | 889.642 | 55.488 | 0.22312
2020-01-07 21:00:00 | 2.255 | 217.86 | 0 | 80.272 | 0 | 92 | 0 | 83 | -8.377 | 889.658 | 55.563 | 0.22312
2020-01-07 21:15:00 | 2.331 | 219 | 0 | 80.302 | 0 | 92 | 0 | 83 | -8.708 | 890.617 | 55.093 | 0.22596
2020-01-07 21:30:00 | 2.8 | 215.993 | 0.126 | 107.234 | 0 | 92 | 0.091 | 83 | -8.394 | 889.975 | 54.24 | 0.23164
2020-01-07 21:45:00 | 2.965 | 219.433 | 1.003 | 179.385 | 0.04 | 92 | 0.735 | 83 | -8.741 | 889.592 | 53.877 | 0.23307
2020-01-07 22:00:00 | 3.216 | 222.033 | 1.566 | 191.641 | 0.789 | 169.1 | 1.045 | 85.033 | -8.874 | 889.767 | 54.528 | 0.23307
2020-01-07 22:15:00 | 2.421 | 230.133 | 0.588 | 213.602 | 0 | 204 | 0 | 85 | -8.808 | 889.508 | 54.773 | 0.23591
2020-01-07 22:30:00 | 2.333 | 229.3 | 0 | 213.453 | 0 | 203.867 | 0 | 85 | -8.758 | 889.642 | 54.869 | 0.23591
2020-01-07 22:45:00 | 2.469 | 216.567 | 0 | 213.072 | 0 | 204 | 0.43 | 85.1 | -8.841 | 890.35 | 53.344 | 0.23733
2020-01-07 23:00:00 | 2.385 | 216.953 | 0 | 212.573 | 0.18 | 148 | 1.927 | 97.667 | -8.514 | 889.775 | 53.141 | 0.2757
2020-01-07 23:15:00 | 2.63 | 214.273 | 0.107 | 212.56 | 1.348 | 142 | 1.866 | 118.6 | -8.588 | 889.733 | 53.621 | 0.26717
2020-01-07 23:30:00 | 2.681 | 227.727 | 0 | 212.441 | 1.019 | 133.3 | 2.154 | 116.333 | -8.344 | 890.2 | 53.931 | 0.22738
2020-01-07 23:45:00 | 2.641 | 226.833 | 0 | 212.515 | 0 | 131 | 0.806 | 122.9 | -8.691 | 889.733 | 54.037 | 0.23875