## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-08 00:00:00 | 3.026 | 236.133 | 1.467 | 241.513 | 0.711 | 227.067 | 0.144 | 162.2 | -9.108 | 890.3 | 54.347 | 0.23733
2020-01-08 00:15:00 | 3.05 | 239.3 | 0.535 | 281.006 | 0 | 240.95 | 0 | 165 | -9.466 | 890.1 | 55.787 | 0.23449
2020-01-08 00:30:00 | 2.746 | 238.827 | 0 | 259.085 | 0 | 240.967 | 0 | 165 | -9.662 | 889.383 | 56.416 | 0.23591
2020-01-08 00:45:00 | 2.913 | 242.487 | 1.096 | 261.595 | 0.946 | 248.2 | 0.766 | 178.467 | -9.812 | 889.45 | 56.512 | 0.24017
2020-01-08 01:00:00 | 3.417 | 254.08 | 2.063 | 288.107 | 1.877 | 294.067 | 1.674 | 268.067 | -9.599 | 889.375 | 55.6 | 0.24301
2020-01-08 01:15:00 | 3.706 | 239.753 | 1.893 | 278.162 | 1.724 | 297.867 | 0.628 | 268.033 | -9.828 | 889.55 | 54.677 | 0.25722
2020-01-08 01:30:00 | 3.836 | 255.967 | 2.817 | 272.536 | 2.602 | 292.033 | 1.974 | 283.233 | -9.324 | 889.775 | 53.872 | 0.25722
2020-01-08 01:45:00 | 5.106 | 222.02 | 3.514 | 249.82 | 2.353 | 262.033 | 1.24 | 281.233 | -12.132 | 889.8 | 54.464 | 0.27428
2020-01-08 02:00:00 | 5.818 | 220.353 | 3.945 | 230.718 | 2.925 | 231.833 | 1.417 | 222.833 | -12.136 | 890.092 | 56.512 | 0.22454
2020-01-08 02:15:00 | 6.326 | 217.087 | 4.759 | 226.831 | 3.521 | 228.033 | 2.428 | 218.2 | -12.888 | 890.158 | 59.915 | 0.085979
2020-01-08 02:30:00 | 6.438 | 224.72 | 4.852 | 228.312 | 3.608 | 228.167 | 2.359 | 213.5 | -13.597 | 889.85 | 62.869 | 1.3344
2020-01-08 02:45:00 | 6.655 | 218.673 | 5.236 | 227.787 | 4.189 | 230.033 | 3.09 | 215 | -13.428 | 889.875 | 62.848 | 3.2338
2020-01-08 03:00:00 | 6.009 | 218.833 | 4.434 | 236.272 | 3.395 | 243.667 | 3.02 | 231.3 | -12.92 | 889.783 | 62.997 | 1.5298
2020-01-08 03:15:00 | 5.929 | 214.133 | 4.154 | 234.004 | 3.067 | 255.533 | 2.493 | 251.017 | -13.391 | 889.808 | 63.829 | 0.56988
2020-01-08 03:30:00 | 5.348 | 219.4 | 3.463 | 256.85 | 3.007 | 271.067 | 2.786 | 274.8 | -14.116 | 890.292 | 64.843 | 0.10943
2020-01-08 03:45:00 | 6.126 | 218.2 | 3.346 | 251.077 | 2.61 | 269.133 | 2.253 | 276.867 | -14.683 | 889.858 | 65.867 | 0.088821
2020-01-08 04:00:00 | 6.079 | 219.1 | 3.354 | 234.5 | 2.604 | 249.8 | 2.046 | 255 | -14.266 | 889.875 | 65.387 | 0.30057
2020-01-08 04:15:00 | 4.656 | 229.007 | 2.364 | 256.909 | 2.029 | 268.533 | 1.566 | 268.8 | -13.793 | 889.8 | 63.989 | 0.24017
2020-01-08 04:30:00 | 5.653 | 219.667 | 2.515 | 263.113 | 2.03 | 292.667 | 1.916 | 288.067 | -13.672 | 890.025 | 61.872 | 0.23164
2020-01-08 04:45:00 | 5.195 | 218.333 | 1.964 | 256.734 | 1.336 | 268 | 1.219 | 282 | -13.197 | 889.725 | 60.112 | 0.22738
2020-01-08 05:00:00 | 4.466 | 219.727 | 1.783 | 262.167 | 0.953 | 263.4 | 0.88 | 272.067 | -13.901 | 889.95 | 62.987 | 0.23875
2020-01-08 05:15:00 | 4.019 | 217.547 | 1.623 | 270.822 | 1.868 | 324.067 | 1.954 | 315.567 | -13.803 | 889.717 | 58.779 | 0.28423
2020-01-08 05:30:00 | 4.699 | 220.3 | 2.476 | 265.473 | 3.093 | 295.2 | 3.12 | 308.633 | -15.224 | 890.158 | 64.688 | 0.27002
2020-01-08 05:45:00 | 5.559 | 226.2 | 3.076 | 268.036 | 2.629 | 288.4 | 2.498 | 306.6 | -15.224 | 889.958 | 66.795 | 0.27428
2020-01-08 06:00:00 | 5.19 | 225.26 | 3.613 | 258.354 | 2.915 | 270.333 | 2.899 | 280.2 | -13.591 | 890.042 | 64.341 | 0.22738
2020-01-08 06:15:00 | 6.6 | 223.653 | 3.323 | 257.7 | 2.015 | 276.933 | 1.689 | 278.133 | -14.604 | 889.733 | 63.696 | 0.21317
2020-01-08 06:30:00 | 5.032 | 226.747 | 3.476 | 250.154 | 2.432 | 262.7 | 2.13 | 278.6 | -12.499 | 890 | 61.589 | 0.21033
2020-01-08 06:45:00 | 5.803 | 224.767 | 3.428 | 235.276 | 2.268 | 248.667 | 1.697 | 268.667 | -12.703 | 890.008 | 58.651 | 0.21175
2020-01-08 07:00:00 | 5.125 | 229.287 | 3.047 | 244.272 | 3.236 | 251.067 | 3.085 | 248.733 | -12.37 | 890.425 | 55.829 | 0.21743
2020-01-08 07:15:00 | 3.889 | 222.88 | 2.531 | 232.21 | 3.692 | 255.967 | 3.346 | 251.217 | -12.095 | 889.992 | 59.808 | 0.23093
2020-01-08 07:30:00 | 2.952 | 218.913 | 1.45 | 221.463 | 1.517 | 231.1 | 2.418 | 237.9 | -9.787 | 890.108 | 54.336 | 0.24159
2020-01-08 07:45:00 | 5.453 | 219.833 | 3.802 | 230.708 | 3.018 | 242.533 | 2.689 | 240.8 | -12.72 | 890.033 | 54.869 | 0.16769
2020-01-08 08:00:00 | 5.968 | 222.453 | 3.529 | 240.713 | 2.93 | 243.4 | 2.372 | 233.867 | -14.308 | 889.55 | 58.133 | 0.12009
2020-01-08 08:15:00 | 5.642 | 228.967 | 3.661 | 253.078 | 3.016 | 261.6 | 2.715 | 246.767 | -14.578 | 889.733 | 61.12 | 0.26078
2020-01-08 08:30:00 | 5.202 | 229.107 | 2.62 | 248.514 | 2.563 | 265.667 | 3.24 | 264.767 | -14.724 | 889.517 | 62.155 | 0.099479
2020-01-08 08:45:00 | 5.291 | 220.633 | 3.665 | 269.101 | 3.357 | 281.4 | 2.794 | 278.7 | -15.424 | 889.7 | 63.093 | 0.081005
2020-01-08 09:00:00 | 5.498 | 222.747 | 3.15 | 270.513 | 2.981 | 285.2 | 3.105 | 283.4 | -14.387 | 889.683 | 62.373 | 0.27925
2020-01-08 09:15:00 | 5.046 | 230.967 | 3.477 | 260.988 | 3.276 | 271.867 | 3.096 | 268.067 | -14.016 | 889.775 | 61.184 | 0.23307
2020-01-08 09:30:00 | 5.127 | 226.527 | 3.255 | 260.628 | 3.092 | 268.667 | 2.67 | 264.867 | -13.447 | 889.683 | 59.291 | 0.29204
2020-01-08 09:45:00 | 5.663 | 229.433 | 3.627 | 266.306 | 3.259 | 278 | 3.194 | 274.7 | -14.199 | 889.6 | 59.291 | 0.34036
2020-01-08 10:00:00 | 5.91 | 222.033 | 4.244 | 255.096 | 3.925 | 270.533 | 3.607 | 268 | -14.199 | 890.183 | 59.669 | 0.35457
2020-01-08 10:15:00 | 5.452 | 228.64 | 4.171 | 259.07 | 3.881 | 271.333 | 3.736 | 272.667 | -13.334 | 889.75 | 59.6 | 0.37092
2020-01-08 10:30:00 | 4.776 | 230.367 | 3.891 | 268.042 | 3.617 | 277.133 | 3.535 | 268.567 | -12.536 | 889.867 | 56.603 | 0.71057
2020-01-08 10:45:00 | 4.842 | 229.047 | 4.95 | 256.1 | 4.261 | 264.667 | 3.822 | 263.8 | -10.585 | 889.525 | 53.264 | 1.5604
2020-01-08 11:00:00 | 3.964 | 226.9 | 4.157 | 258.486 | 4.05 | 264 | 3.77 | 263.5 | -8.674 | 890.242 | 48.528 | 0.62672
2020-01-08 11:15:00 | 2.437 | 249 | 3.46 | 261.84 | 3.402 | 269.8 | 3.293 | 263.133 | -6.412 | 889.617 | 44 | 0.068925
2020-01-08 11:30:00 | 2.105 | 270.72 | 2.312 | 267.633 | 2.934 | 277.433 | 3.023 | 276.2 | -4.876 | 889.575 | 41.248 | 0.16769
2020-01-08 11:45:00 | 2.608 | 292.067 | 2.433 | 285.95 | 2.7 | 290.067 | 3.035 | 286.033 | -5.602 | 889.642 | 40.429 | 0.25722
2020-01-08 12:00:00 | 2.422 | 325.133 | 2.272 | 315.361 | 2.33 | 320.9 | 2.591 | 316.267 | -5.085 | 889.792 | 42.085 | 0.2487
2020-01-08 12:15:00 | 1.304 | 304.84 | 1.177 | 295.593 | 1.12 | 283.2 | 1.406 | 303 | -4.812 | 889.642 | 40.837 | 0.23449
2020-01-08 12:30:00 | 0.998 | 328.227 | 0.683 | 328.444 | 0.656 | 318.6 | 0.927 | 295.067 | -4.029 | 890.05 | 38.941 | 0.23307
2020-01-08 12:45:00 | 0.996 | 212.567 | 1.286 | 330.803 | 1.187 | 325.967 | 1.649 | 315.4 | -3.756 | 889.267 | 37.291 | 0.23733
2020-01-08 13:00:00 | 1.807 | 331.133 | 1.68 | 324.512 | 1.766 | 323.067 | 1.908 | 319.167 | -3.505 | 889.9 | 36.736 | 0.23449
2020-01-08 13:15:00 | 1.556 | 302.667 | 1.326 | 295.677 | 1.457 | 299.433 | 1.738 | 284.767 | -3.857 | 889.917 | 36.299 | 0.23875
2020-01-08 13:30:00 | 1.726 | 315.267 | 1.568 | 305.244 | 1.806 | 295.633 | 2.289 | 290.333 | -3.304 | 889.833 | 36.259 | 0.24444
2020-01-08 13:45:00 | 1.567 | 318.333 | 1.586 | 316.647 | 1.783 | 319.433 | 2.248 | 320.3 | -3.002 | 890 | 36.032 | 0.25865
2020-01-08 14:00:00 | 2.22 | 313.773 | 2.177 | 310.632 | 2.001 | 311.8 | 2.223 | 310.133 | -2.687 | 889.9 | 35.616 | 0.24799
2020-01-08 14:15:00 | 2.184 | 240.576 | 2.153 | 319.012 | 2.267 | 321.033 | 2.688 | 332.867 | -2.784 | 889.617 | 36.317 | 0.21601
2020-01-08 14:30:00 | 2.141 | 250.696 | 2.166 | 332.468 | 2.283 | 333.6 | 2.526 | 332.567 | -2.578 | 889.583 | 37.381 | 0.19541
2020-01-08 14:45:00 | 2.282 | 324.773 | 2.148 | 321.466 | 2.33 | 326 | 2.278 | 326.967 | -2.881 | 889.517 | 37.229 | 0.18119
2020-01-08 15:00:00 | 2.226 | 204.176 | 2.22 | 203.942 | 2.227 | 199.933 | 2.68 | 259.233 | -2.821 | 889.95 | 37.323 | 0.17125
2020-01-08 15:15:00 | 2.929 | 272.507 | 2.929 | 330.393 | 3.02 | 327.3 | 3.176 | 342.7 | -2.76 | 889.6 | 37.181 | 0.31904
2020-01-08 15:30:00 | 2.425 | 326.24 | 2.231 | 325.496 | 2.402 | 321.567 | 2.706 | 338.2 | -2.882 | 889.583 | 37.211 | 0.64733
2020-01-08 15:45:00 | 2.806 | 309.667 | 2.959 | 337.566 | 2.891 | 340.833 | 3.025 | 320.167 | -2.679 | 889.817 | 37.229 | 0.79441
2020-01-08 16:00:00 | 2.887 | 322.027 | 2.827 | 334.476 | 2.92 | 337.333 | 3.038 | 334.367 | -2.278 | 889.6 | 36.933 | 0.69778
2020-01-08 16:15:00 | 2.099 | 324.413 | 2.024 | 313.946 | 2.19 | 319.133 | 2.434 | 316.3 | -2.557 | 889.983 | 37.371 | 0.12293
2020-01-08 16:30:00 | 1.94 | 266.478 | 1.86 | 329.14 | 2.262 | 276.3 | 2.321 | 312.733 | -2.329 | 889.85 | 36.475 | 0.33041
2020-01-08 16:45:00 | 1.629 | 241.04 | 1.23 | 223.901 | 1.77 | 212.271 | 2.214 | 187.533 | -2.541 | 889.517 | 36.309 | 0.27073
2020-01-08 17:00:00 | 1.509 | 326.907 | 1.133 | 323.779 | 1.41 | 331.9 | 1.672 | 333.533 | -2.578 | 889.75 | 36.307 | 0.20038
2020-01-08 17:15:00 | 2.255 | 52.772 | 1.766 | 37.029 | 1.685 | 39.967 | 1.966 | 34.2 | -2.496 | 889.533 | 36.955 | 0.15917
2020-01-08 17:30:00 | 3.143 | 63.333 | 2.866 | 59.383 | 2.927 | 65.667 | 3.065 | 63.367 | -3.421 | 889.7 | 38.96 | 0.25367
2020-01-08 17:45:00 | 2.357 | 61.333 | 2.027 | 62.944 | 2.129 | 71.333 | 2.123 | 64.333 | -3.655 | 889.958 | 40.651 | 0.23733
2020-01-08 18:00:00 | 2.289 | 56.547 | 1.87 | 51.397 | 1.696 | 60.833 | 1.609 | 66 | -4.032 | 889.9 | 41.728 | 0.23449
2020-01-08 18:15:00 | 2.199 | 61.035 | 2.017 | 54.678 | 1.93 | 61 | 1.911 | 59.067 | -4.457 | 889.967 | 43.243 | 0.23022
2020-01-08 18:30:00 | 1.59 | 56.05 | 1.411 | 54.393 | 1.222 | 61 | 1.286 | 59 | -5.202 | 889.458 | 45.088 | 0.22596
2020-01-08 18:45:00 | 1.004 | 69.1 | 0.07 | 71.268 | 0.094 | 79 | 0.376 | 59.067 | -5.185 | 890 | 46.549 | 0.22738
2020-01-08 19:00:00 | 0.9 | 72.103 | 0.417 | 72.809 | 0.873 | 86 | 1.09 | 59 | -5.388 | 890.1 | 47.445 | 0.22596
2020-01-08 19:15:00 | 0.05 | 127.117 | 0 | 85.251 | 0 | 117 | 1.007 | 68.767 | -5.534 | 890.008 | 48.565 | 0.23591
2020-01-08 19:30:00 | 1.406 | 176.773 | 0.107 | 86.262 | 0.177 | 150.8 | 1.052 | 69 | -6.283 | 889.858 | 49.984 | 0.23875
2020-01-08 19:45:00 | 1.916 | 190.4 | 0.712 | 141.969 | 0.546 | 151.967 | 0.511 | 70.267 | -6.695 | 889.983 | 50.656 | 0.25296
2020-01-08 20:00:00 | 2.847 | 191.567 | 2.241 | 167.694 | 2.156 | 178.033 | 1.774 | 174.2 | -6.645 | 890.092 | 50.453 | 0.23733
2020-01-08 20:15:00 | 3.553 | 202.373 | 2.656 | 186.539 | 2.014 | 192.033 | 1.508 | 190 | -6.333 | 889.983 | 49.557 | 0.22454
2020-01-08 20:30:00 | 4.105 | 203.807 | 2.776 | 186.491 | 2.031 | 192.033 | 1.498 | 192.933 | -6.017 | 889.892 | 48.821 | 0.24017
2020-01-08 20:45:00 | 4.751 | 201.893 | 3.224 | 189.571 | 2.67 | 195.567 | 2.189 | 197.233 | -6.79 | 889.875 | 49.387 | 0.29062
2020-01-08 21:00:00 | 5.009 | 204.6 | 4.072 | 189.47 | 3.359 | 192.333 | 2.865 | 190 | -7.472 | 890.25 | 48.875 | 0.25367
2020-01-08 21:15:00 | 4.351 | 209.233 | 3.174 | 189.482 | 2.763 | 198.6 | 2.282 | 193.8 | -6.545 | 890.358 | 48.629 | 0.25296
2020-01-08 21:30:00 | 4.208 | 216.393 | 2.854 | 202.005 | 2.128 | 212.767 | 1.478 | 203 | -6.242 | 889.358 | 47.979 | 0.26575
2020-01-08 21:45:00 | 3.543 | 224.573 | 0.96 | 206.477 | 0 | 213 | 0.121 | 223.767 | -5.935 | 890 | 46.283 | 0.25296
2020-01-08 22:00:00 | 4.542 | 219.333 | 0 | 206.527 | 0 | 296 | 0.222 | 295.867 | -9.074 | 889.533 | 49.131 | 0.25438
2020-01-08 22:15:00 | 3.877 | 216.967 | 0 | 253.249 | 0.176 | 147.8 | 1.121 | 342.533 | -7.522 | 890.092 | 49.141 | 0.27144
2020-01-08 22:30:00 | 4.414 | 221.2 | 0.27 | 241.426 | 0.157 | 329.667 | 1.332 | 182.103 | -10.907 | 889.767 | 51.648 | 0.27286
2020-01-08 22:45:00 | 3.229 | 224.267 | 0.423 | 260.335 | 0.517 | 306.133 | 1.037 | 336 | -8.991 | 889.825 | 53.792 | 0.26007
2020-01-08 23:00:00 | 1.497 | 222.633 | 0 | 72.258 | 0.083 | 344 | 0.797 | 349.6 | -8.741 | 889.883 | 54.037 | 0.26859
2020-01-08 23:15:00 | 0.928 | 230.32 | 0 | 35.177 | 0.606 | 340 | 1.744 | 349 | -9.433 | 890 | 54.752 | 0.26433
2020-01-08 23:30:00 | 1.54 | 237.667 | 1.269 | 321.442 | 1.952 | 339.533 | 1.995 | 346 | -8.808 | 889.892 | 54.645 | 0.25012
2020-01-08 23:45:00 | 2.451 | 225.6 | 0 | 330.99 | 0.324 | 350 | 1.13 | 353 | -8.841 | 890.15 | 53.291 | 0.24017