## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-09 00:00:00 | 2.208 | 236.667 | 1.311 | 320.994 | 0.61 | 337.733 | 1.278 | 350.6 | -8.891 | 889.925 | 52.651 | 0.22596
2020-01-09 00:15:00 | 1.9 | 246.1 | 1.185 | 325.023 | 1.36 | 348 | 1.425 | 352.967 | -8.758 | 890.325 | 53.301 | 0.23449
2020-01-09 00:30:00 | 1.44 | 251.64 | 1.444 | 339.81 | 1.617 | 119.5 | 2.302 | 7.038 | -9.241 | 889.867 | 54.203 | 0.23733
2020-01-09 00:45:00 | 1.357 | 243.867 | 0 | 339 | 0.849 | 0 | 2.046 | 8 | -9.141 | 889.85 | 55.008 | 0.24586
2020-01-09 01:00:00 | 1.018 | 238.04 | 0 | 339.018 | 1.344 | 10.133 | 2.344 | 29.733 | -8.871 | 890.175 | 55.584 | 0.2487
2020-01-09 01:15:00 | 1.837 | 219.5 | 0 | 338.87 | 0.056 | 37.033 | 1.88 | 46.933 | -9.374 | 889.833 | 56.608 | 0.23591
2020-01-09 01:30:00 | 1.81 | 220.033 | 0 | 339.17 | 0 | 37.033 | 1.455 | 47 | -9.274 | 890.475 | 57.685 | 0.23733
2020-01-09 01:45:00 | 1.484 | 217.833 | 0 | 338.783 | 0 | 37 | 1.397 | 46.833 | -9.191 | 890.15 | 58.229 | 0.25438
2020-01-09 02:00:00 | 2.062 | 204.067 | 0 | 282.969 | 0 | 37 | 1.323 | 47 | -8.958 | 889.933 | 58.443 | 0.26291
2020-01-09 02:15:00 | 2.312 | 200.333 | 0.1 | 193.472 | 0.243 | 102.167 | 1.825 | 80.5 | -8.941 | 889.242 | 57.088 | 0.26149
2020-01-09 02:30:00 | 1.918 | 199.4 | 0 | 193.547 | 1.267 | 123.2 | 2.13 | 99 | -9.324 | 889.992 | 57.835 | 0.26291
2020-01-09 02:45:00 | 2.06 | 207.233 | 0 | 193.47 | 0.928 | 111.167 | 1.972 | 99.033 | -9.158 | 889.567 | 57.888 | 0.27286
2020-01-09 03:00:00 | 3.015 | 213.68 | 1.27 | 193.523 | 1.166 | 134.133 | 2.099 | 106.433 | -9.891 | 890.017 | 58.667 | 0.26433
2020-01-09 03:15:00 | 1.603 | 213.4 | 0 | 193.454 | 1.276 | 122.767 | 2.174 | 108.267 | -9.291 | 890.033 | 58.677 | 0.26859
2020-01-09 03:30:00 | 2.211 | 219.16 | 0 | 193.444 | 0.27 | 103.1 | 2.216 | 96.033 | -9.508 | 889.45 | 57.355 | 0.26859
2020-01-09 03:45:00 | 1.733 | 214.373 | 0 | 193.58 | 0.13 | 103.1 | 2.075 | 96 | -9.416 | 889.833 | 58.976 | 0.25865
2020-01-09 04:00:00 | 1.973 | 220.253 | 0 | 193.537 | 0.966 | 109.933 | 1.596 | 96 | -9.537 | 890.183 | 56.768 | 0.27428
2020-01-09 04:15:00 | 2.24 | 226.06 | 0 | 193.589 | 0 | 110 | 0.339 | 96 | -9.749 | 890.033 | 54.88 | 0.28423
2020-01-09 04:30:00 | 2.055 | 224.453 | 0 | 193.466 | 0.772 | 109.167 | 0.077 | 95.9 | -9.724 | 890 | 54.379 | 0.28138
2020-01-09 04:45:00 | 2.462 | 215.627 | 0 | 193.425 | 0.48 | 93 | 1.647 | 75 | -10.853 | 889.892 | 55.061 | 0.29844
2020-01-09 05:00:00 | 0.565 | 214 | 0 | 193.545 | 0.13 | 93 | 1.165 | 76.1 | -10.483 | 889.9 | 57.323 | 0.36381
2020-01-09 05:15:00 | 1.14 | 233.9 | 0 | 193.605 | 0 | 93 | 1.152 | 107 | -10.116 | 890.025 | 57.461 | 0.23022
2020-01-09 05:30:00 | 1.427 | 238.927 | 0 | 193.483 | 0 | 93 | 1.438 | 93 | -10.76 | 889.792 | 57.376 | 0.13359
2020-01-09 05:45:00 | 1.972 | 232.593 | 0 | 193.569 | 0.087 | 122.833 | 2.348 | 140 | -10.489 | 890.325 | 57.643 | 0.1613
2020-01-09 06:00:00 | 2.628 | 239.4 | 0 | 172.489 | 1.093 | 131.333 | 2.875 | 119.367 | -10.249 | 889.917 | 55.392 | 0.22667
2020-01-09 06:15:00 | 3.308 | 223.133 | 0 | 172.456 | 1.52 | 108.867 | 2.772 | 122.833 | -11.361 | 889.842 | 55.189 | 0.30625
2020-01-09 06:30:00 | 3.194 | 226.607 | 0 | 172.451 | 0 | 128.067 | 0.662 | 138.1 | -11.728 | 890.025 | 52.437 | 0.29702
2020-01-09 06:45:00 | 3.356 | 223.673 | 0 | 172.535 | 0 | 128.3 | 0.964 | 138 | -11.022 | 889.633 | 52.672 | 0.27996
2020-01-09 07:00:00 | 2.548 | 233.6 | 0.04 | 255.398 | 0.196 | 20.967 | 0.057 | 93.033 | -11.395 | 890.017 | 52.395 | 0.25722
2020-01-09 07:15:00 | 1.899 | 241.24 | 0.027 | 255.538 | 0.707 | 14 | 0 | 93 | -11.845 | 890.017 | 53.131 | 0.25438
2020-01-09 07:30:00 | 2.191 | 238.133 | 0.18 | 328.226 | 1.01 | 223.233 | 0.322 | 30.886 | -11.974 | 889.858 | 53.525 | 0.25438
2020-01-09 07:45:00 | 2.471 | 235.64 | 0.05 | 297.153 | 1.029 | 334.4 | 1.304 | 27.942 | -12.24 | 889.817 | 53.109 | 0.25296
2020-01-09 08:00:00 | 1.463 | 231.833 | 0 | 296.81 | 0 | 346 | 0.245 | 28 | -11.478 | 889.708 | 54.091 | 0.26717
2020-01-09 08:15:00 | 1.047 | 240.82 | 0.03 | 296.998 | 0.08 | 344.867 | 0.087 | 28.004 | -11.153 | 889.825 | 53.429 | 0.25012
2020-01-09 08:30:00 | 0 | 231.54 | 0 | 353.587 | 0.785 | 0 | 1.229 | 27.867 | -11.022 | 889.717 | 53.563 | 0.28423
2020-01-09 08:45:00 | 1.291 | 247.933 | 0.027 | 355.109 | 0 | 0 | 0 | 28 | -10.907 | 889.817 | 54.144 | 0.30554
2020-01-09 09:00:00 | 0.392 | 252.6 | 0 | 355.231 | 0 | 0 | 0.863 | 28.067 | -11.161 | 890 | 54.197 | 0.2622
2020-01-09 09:15:00 | 1.124 | 233.933 | 0 | 354.952 | 0.96 | 115.8 | 2.921 | 125.7 | -11.528 | 889.692 | 54.56 | 0.20677
2020-01-09 09:30:00 | 1.835 | 210.1 | 0.493 | 193.029 | 2.219 | 151.7 | 3.549 | 134.133 | -11.545 | 890.275 | 55.632 | 0.1414
2020-01-09 09:45:00 | 1.65 | 186.707 | 1.694 | 145.313 | 3.107 | 138.6 | 3.269 | 116.667 | -11.022 | 890.267 | 54.805 | 0.098769
2020-01-09 10:00:00 | 2.171 | 185.767 | 2.374 | 141.165 | 2.585 | 119.6 | 2.896 | 113.833 | -9.978 | 889.917 | 53.333 | 0.13856
2020-01-09 10:15:00 | 2.34 | 181.333 | 2.624 | 137.16 | 2.594 | 122 | 3.121 | 114 | -9.358 | 890 | 50.603 | 0.10943
2020-01-09 10:30:00 | 2.954 | 184.1 | 2.659 | 136.485 | 2.624 | 117.267 | 2.842 | 106.867 | -9.074 | 890.35 | 48 | 0.073899
2020-01-09 10:45:00 | 3.169 | 190.833 | 2.704 | 139.665 | 2.612 | 121.033 | 2.933 | 106.767 | -9.308 | 890.183 | 46.944 | 0.18119
2020-01-09 11:00:00 | 2.099 | 200.593 | 1.349 | 139.532 | 1.959 | 123.1 | 2.61 | 103.733 | -8.461 | 889.808 | 45.813 | 0.30981
2020-01-09 11:15:00 | 0.13 | 175.873 | 0.053 | 116.3 | 1.906 | 90.267 | 2.525 | 85 | -5.835 | 889.883 | 43.179 | 0.28565
2020-01-09 11:30:00 | 0.466 | 230.452 | 0.47 | 35.046 | 0.482 | 75.892 | 0.285 | 84.9 | -7.639 | 890.475 | 42.379 | 0.24515
2020-01-09 11:45:00 | 1.487 | 45.478 | 0.873 | 42.33 | 1.32 | 58.233 | 1.653 | 71.867 | -7.706 | 889.975 | 42.699 | 0.24159
2020-01-09 12:00:00 | 0.796 | 36.338 | 0.276 | 42.102 | 0.549 | 61.967 | 1.203 | 87.2 | -7.23 | 889.9 | 41.845 | 0.24728
2020-01-09 12:15:00 | 1.584 | 54.122 | 1.053 | 55.262 | 1.65 | 66.767 | 1.774 | 74.833 | -6.843 | 889.833 | 41.104 | 0.2487
2020-01-09 12:30:00 | 1.038 | 91.783 | 0.547 | 93.453 | 1.33 | 105.867 | 1.67 | 100.767 | -6.096 | 889.642 | 40.629 | 0.26149
2020-01-09 12:45:00 | 1.837 | 75.014 | 1.663 | 68.96 | 2.077 | 81.267 | 2.315 | 79.733 | -5.686 | 889.9 | 38.976 | 0.28991
2020-01-09 13:00:00 | 2.308 | 56.56 | 2.127 | 57.384 | 2.374 | 70.3 | 2.531 | 66.033 | -5.285 | 889.733 | 37.685 | 0.19967
2020-01-09 13:15:00 | 2.841 | 85.85 | 2.918 | 81.795 | 2.95 | 85.967 | 3.066 | 82.467 | -5.687 | 889.85 | 39.195 | 0.2018
2020-01-09 13:30:00 | 3.257 | 74.927 | 3.387 | 70.244 | 3.615 | 75.7 | 3.628 | 71.7 | -5.102 | 890.167 | 39.344 | 0.56632
2020-01-09 13:45:00 | 2.789 | 76.565 | 2.714 | 74.667 | 2.792 | 83.833 | 3.088 | 78.5 | -5.169 | 889.883 | 39.563 | 0.28067
2020-01-09 14:00:00 | 3.28 | 60.769 | 3.106 | 54.7 | 2.957 | 62.533 | 2.9 | 59.267 | -5.202 | 889.967 | 39.808 | 0.67078
2020-01-09 14:15:00 | 2.875 | 59.534 | 3.096 | 52.266 | 2.909 | 61 | 3.319 | 57.333 | -5.452 | 889.625 | 41.013 | 0.97419
2020-01-09 14:30:00 | 3.077 | 57.236 | 3.072 | 50.577 | 3.144 | 51.267 | 3.242 | 47.133 | -5.285 | 889.633 | 40.901 | 2.0848
2020-01-09 14:45:00 | 3.33 | 51.902 | 3.48 | 45.855 | 3.73 | 52.067 | 3.748 | 50.9 | -5.548 | 889.808 | 41.195 | 2.2724
2020-01-09 15:00:00 | 2.992 | 61.729 | 2.733 | 49.638 | 2.798 | 56.7 | 2.849 | 53.767 | -5.744 | 889.733 | 42.208 | 2.374
2020-01-09 15:15:00 | 3.4 | 42.03 | 3.35 | 37.337 | 3.541 | 40.5 | 3.605 | 40.867 | -6.175 | 890.042 | 42.923 | 2.153
2020-01-09 15:30:00 | 3.125 | 38.652 | 2.982 | 34.021 | 3.043 | 41.833 | 3.382 | 42.133 | -6.306 | 889.758 | 43.787 | 1.6634
2020-01-09 15:45:00 | 3.023 | 41.542 | 3.186 | 37.38 | 3.224 | 42.533 | 3.293 | 39.267 | -6.011 | 889.683 | 44.085 | 1.0559
2020-01-09 16:00:00 | 2.217 | 48.108 | 1.966 | 45.122 | 2.087 | 51.5 | 2.463 | 52.1 | -6.395 | 889.883 | 44.139 | 0.15135
2020-01-09 16:15:00 | 2.419 | 55.732 | 2.442 | 49.942 | 2.746 | 51.867 | 2.96 | 48.4 | -6.428 | 890.058 | 43.968 | 0.10232
2020-01-09 16:30:00 | 1.88 | 53.572 | 1.807 | 49.064 | 2.015 | 53.7 | 2.156 | 50.467 | -6.031 | 889.617 | 44.053 | 0.13145
2020-01-09 16:45:00 | 2.192 | 74.34 | 2.15 | 63.639 | 2.411 | 69.2 | 2.399 | 68 | -6.173 | 889.617 | 44.053 | 0.30625
2020-01-09 17:00:00 | 2.023 | 94.933 | 1.824 | 78.71 | 1.99 | 80.167 | 2.258 | 70.633 | -6.462 | 889.542 | 44.672 | 0.27002
2020-01-09 17:15:00 | 2.147 | 83.03 | 2.063 | 77.862 | 2.154 | 83.433 | 2.344 | 76.267 | -6.612 | 890.542 | 45.451 | 0.27499
2020-01-09 17:30:00 | 0.923 | 74.367 | 0.78 | 72.983 | 1.116 | 72.633 | 1.492 | 73.5 | -7.091 | 889.9 | 46.72 | 0.24159
2020-01-09 17:45:00 | 1.44 | 69.29 | 0.893 | 66.291 | 1.163 | 68 | 1.532 | 66 | -6.834 | 890.083 | 47.957 | 0.24586
2020-01-09 18:00:00 | 1.622 | 62.143 | 1.253 | 55.931 | 1.511 | 67.567 | 1.785 | 65.9 | -7.21 | 889.7 | 49.003 | 0.24586
2020-01-09 18:15:00 | 1.758 | 60.503 | 1.705 | 56.067 | 1.922 | 62 | 2.093 | 66.067 | -7.572 | 889.983 | 50.069 | 0.24017
2020-01-09 18:30:00 | 1.928 | 73 | 1.873 | 65.061 | 2.056 | 71.767 | 2.269 | 68 | -7.689 | 889.958 | 51.275 | 0.24017
2020-01-09 18:45:00 | 2.405 | 80.63 | 2.451 | 72.237 | 2.48 | 75.867 | 2.548 | 67.8 | -7.759 | 889.858 | 52.021 | 0.19683
2020-01-09 19:00:00 | 3.461 | 95.087 | 3.61 | 81.386 | 3.62 | 86.733 | 3.614 | 76.667 | -8.271 | 890.3 | 52.555 | 0.094505
2020-01-09 19:15:00 | 2.762 | 97.637 | 3.134 | 92.198 | 3.111 | 94.933 | 3.144 | 90.567 | -8.504 | 889.958 | 53.589 | 0.30625
2020-01-09 19:30:00 | 2.052 | 115.6 | 2.788 | 101.577 | 2.719 | 105.667 | 2.544 | 101 | -8.624 | 889.542 | 54.016 | 0.24799
2020-01-09 19:45:00 | 1.686 | 112.267 | 1.932 | 104.208 | 2.004 | 102.567 | 2.096 | 102 | -8.641 | 889.65 | 54.731 | 0.24301
2020-01-09 20:00:00 | 1.011 | 116.2 | 1.474 | 104.256 | 1.746 | 99.267 | 1.873 | 102.033 | -8.824 | 889.858 | 55.328 | 0.24159
2020-01-09 20:15:00 | 0 | 116.2 | 0.433 | 101.875 | 1.414 | 84.267 | 1.772 | 86.867 | -9.058 | 889.925 | 55.797 | 0.24159
2020-01-09 20:30:00 | 0 | 35.043 | 0.374 | 59.15 | 0.874 | 71 | 1.521 | 71.8 | -9.745 | 889.642 | 57.493 | 0.2558
2020-01-09 20:45:00 | 0 | 35.06 | 0 | 59.113 | 0 | 71 | 0 | 71.767 | -9.641 | 889.667 | 59.115 | 0.2558
2020-01-09 21:00:00 | 0.335 | 76.267 | 0 | 59.128 | 0 | 71 | 0 | 71.867 | -10.466 | 889.842 | 60.011 | 0.2558
2020-01-09 21:15:00 | 0 | 212.147 | 0 | 59.154 | 0 | 71 | 0 | 71.867 | -9.87 | 889.833 | 60.139 | 0.25438
2020-01-09 21:30:00 | 0.821 | 258.32 | 0 | 59.123 | 0 | 71.183 | 0 | 72 | -9.766 | 889.992 | 60.075 | 0.25154
2020-01-09 21:45:00 | 1.387 | 260.953 | 0.216 | 174.399 | 0 | 71.192 | 0 | 72 | -9.654 | 889.917 | 58.976 | 0.24159
2020-01-09 22:00:00 | 0.283 | 268.347 | 0 | 316.91 | 0 | 71.217 | 0 | 71.867 | -9.745 | 889.225 | 59.488 | 0.25722
2020-01-09 22:15:00 | 1.511 | 257.72 | 0.286 | 307.023 | 0.17 | 71.658 | 0.192 | 71.867 | -9.766 | 889.433 | 59.936 | 0.2558
2020-01-09 22:30:00 | 2.182 | 273.32 | 1.525 | 306.998 | 1.105 | 248.283 | 0.843 | 72 | -9.645 | 890.15 | 58.912 | 0.2558
2020-01-09 22:45:00 | 1.973 | 270.74 | 0.858 | 306.974 | 0.07 | 248.417 | 0.795 | 72 | -9.42 | 890.433 | 58.24 | 0.26149
2020-01-09 23:00:00 | 2.364 | 264.773 | 1.785 | 292.923 | 1.633 | 256.533 | 1.788 | 186.342 | -9.724 | 890.283 | 58.507 | 0.31833
2020-01-09 23:15:00 | 3.24 | 255.567 | 2.776 | 272.792 | 2.681 | 258.917 | 2.616 | 258.5 | -9.516 | 889.783 | 56.427 | 0.25722
2020-01-09 23:30:00 | 2.976 | 244.74 | 2.937 | 260.85 | 2.655 | 260.067 | 2.756 | 259.967 | -9.849 | 889.4 | 57.568 | 0.2757
2020-01-09 23:45:00 | 2.83 | 238.747 | 1.563 | 260.583 | 1.813 | 260.133 | 1.952 | 268.833 | -10.112 | 889.817 | 58.251 | 0.2487