## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-10 00:00:00 | 3.127 | 233.88 | 2.435 | 254.487 | 1.925 | 260 | 2.136 | 269 | -9.683 | 889.708 | 57.259 | 0.26291
2020-01-10 00:15:00 | 2.099 | 239.64 | 1.812 | 263.092 | 1.42 | 274 | 1.509 | 269 | -9.745 | 889.908 | 57.536 | 0.25154
2020-01-10 00:30:00 | 2.303 | 239.367 | 1.73 | 275.596 | 1.616 | 288 | 1.629 | 268.033 | -9.704 | 890 | 58.117 | 0.24728
2020-01-10 00:45:00 | 2.872 | 249.9 | 2.693 | 279.132 | 2.35 | 301.4 | 2.256 | 302.433 | -9.462 | 890.033 | 57.547 | 0.23022
2020-01-10 01:00:00 | 3.053 | 249.387 | 3.308 | 277.65 | 3.084 | 290.033 | 2.969 | 290.567 | -9.366 | 890.108 | 57.824 | 0.17693
2020-01-10 01:15:00 | 2.901 | 267.12 | 2.905 | 288.657 | 2.598 | 298.633 | 2.618 | 300 | -9.341 | 889.917 | 57.627 | 0.18119
2020-01-10 01:30:00 | 3.029 | 277.767 | 2.585 | 300.402 | 2.733 | 307.767 | 2.774 | 313 | -8.774 | 889.917 | 56.475 | 0.23591
2020-01-10 01:45:00 | 3.137 | 257.82 | 2.723 | 279.311 | 2.678 | 288.4 | 2.409 | 294 | -8.941 | 889.958 | 56.245 | 0.25794
2020-01-10 02:00:00 | 3.404 | 251.833 | 3.65 | 268.806 | 3.17 | 279.167 | 2.766 | 291.9 | -9.108 | 889.483 | 56.523 | 0.19967
2020-01-10 02:15:00 | 3.031 | 266.66 | 2.892 | 275.001 | 3.046 | 279.167 | 3.13 | 275.267 | -9.091 | 889.992 | 56.667 | 0.12009
2020-01-10 02:30:00 | 2.614 | 264.067 | 2.755 | 275.101 | 2.837 | 288.267 | 3.144 | 280 | -8.758 | 889.95 | 55.627 | 0.23804
2020-01-10 02:45:00 | 2.423 | 273.8 | 1.93 | 286.965 | 2.157 | 294 | 2.594 | 291 | -9.174 | 889.558 | 56.661 | 0.29844
2020-01-10 03:00:00 | 3.308 | 249.1 | 2.847 | 266.871 | 2.616 | 282 | 2.672 | 290.8 | -9.058 | 889.725 | 56.917 | 0.21459
2020-01-10 03:15:00 | 3.292 | 245.487 | 2.958 | 265.657 | 2.848 | 280.033 | 3.101 | 283 | -8.758 | 889.308 | 56.341 | 0.16911
2020-01-10 03:30:00 | 2.946 | 245.733 | 3.068 | 266.739 | 2.876 | 280.067 | 2.794 | 282.767 | -9.041 | 889.408 | 56.805 | 0.21885
2020-01-10 03:45:00 | 2.818 | 270.52 | 2.757 | 280.656 | 2.684 | 288.067 | 2.863 | 289.467 | -9.158 | 889.792 | 57.269 | 0.26859
2020-01-10 04:00:00 | 1.894 | 239.567 | 1.539 | 282.955 | 1.699 | 302 | 2.086 | 291 | -8.791 | 889.95 | 56.725 | 0.27286
2020-01-10 04:15:00 | 1.859 | 236.733 | 0.73 | 282.956 | 1.137 | 302 | 1.704 | 291.067 | -8.908 | 889.8 | 57.269 | 0.25722
2020-01-10 04:30:00 | 1.816 | 233.1 | 0 | 281.543 | 0 | 302.067 | 0.675 | 291.067 | -8.858 | 889.892 | 57.323 | 0.26007
2020-01-10 04:45:00 | 1.385 | 263.787 | 0.493 | 282.624 | 0.668 | 302.1 | 1.41 | 291.133 | -8.674 | 889.883 | 56.672 | 0.26007
2020-01-10 05:00:00 | 1.114 | 233.4 | 0 | 283.015 | 0 | 302 | 0.423 | 291 | -8.741 | 890.058 | 56.096 | 0.2558
2020-01-10 05:15:00 | 0 | 230.3 | 0 | 282.932 | 0 | 302 | 0 | 291.067 | -8.591 | 889.683 | 56.789 | 0.26717
2020-01-10 05:30:00 | 1.424 | 216.667 | 0 | 283.035 | 0 | 302.067 | 0 | 290.933 | -8.824 | 890.025 | 57.056 | 0.26291
2020-01-10 05:45:00 | 1.46 | 214.387 | 0 | 283.008 | 0 | 302 | 0 | 290.9 | -8.498 | 890.042 | 56.405 | 0.26433
2020-01-10 06:00:00 | 2.427 | 220.4 | 1.962 | 218.087 | 2.131 | 221.033 | 2.019 | 221.067 | -9.008 | 889.65 | 56.981 | 0.25154
2020-01-10 06:15:00 | 1.589 | 224.22 | 0.836 | 216.566 | 0.667 | 221.167 | 0.689 | 221 | -8.331 | 889.625 | 56.128 | 0.23733
2020-01-10 06:30:00 | 1.901 | 228.827 | 0 | 217.031 | 0 | 223.033 | 0 | 221.067 | -8.11 | 889.692 | 55.083 | 0.23591
2020-01-10 06:45:00 | 2.362 | 229.64 | 0.973 | 217.298 | 1.221 | 222.933 | 1.559 | 221 | -8.471 | 890.358 | 55.371 | 0.24586
2020-01-10 07:00:00 | 3.008 | 231.487 | 1.822 | 219.484 | 1.735 | 222.833 | 1.886 | 221.067 | -8.498 | 889.642 | 54.784 | 0.25865
2020-01-10 07:15:00 | 2.511 | 241.9 | 1.895 | 238.482 | 2.024 | 240 | 2.08 | 224.9 | -8.924 | 890.133 | 55.307 | 0.24728
2020-01-10 07:30:00 | 2.926 | 227.533 | 1.076 | 245.996 | 1.612 | 243.8 | 2.273 | 240.033 | -9.091 | 889.8 | 55.147 | 0.23733
2020-01-10 07:45:00 | 1.268 | 234.267 | 0.236 | 254.552 | 0 | 246.9 | 0 | 239.9 | -8.658 | 889.733 | 54.976 | 0.24017
2020-01-10 08:00:00 | 0.402 | 240.113 | 0.164 | 274.942 | 0.196 | 228.467 | 1.245 | 265.967 | -8.841 | 889.725 | 55.637 | 0.25296
2020-01-10 08:15:00 | 0 | 72.2 | 0 | 14.03 | 1.423 | 14 | 1.697 | 25 | -8.524 | 890.175 | 55.189 | 0.27002
2020-01-10 08:30:00 | 0.14 | 63.118 | 0.22 | 14.029 | 0.755 | 14 | 1.603 | 18.467 | -8.22 | 889.617 | 57.323 | 0.2558
2020-01-10 08:45:00 | 0.498 | 302.333 | 0 | 14.027 | 0 | 0 | 0.823 | 10.1 | -8.858 | 890.133 | 66.123 | 0.2558
2020-01-10 09:00:00 | 1.341 | 256.813 | 0 | 0 | 0 | 0.268 | 0.373 | 10.1 | -9.447 | 889.925 | 73.419 | 0.2558
2020-01-10 09:15:00 | 1.29 | 235.3 | 0 | 0 | 0 | 0.133 | 0.178 | 42.8 | -9.158 | 889.892 | 79.232 | 0.2487
2020-01-10 09:30:00 | 1.544 | 219.8 | 0 | 0 | 0 | 0 | 0.986 | 314.2 | -9.391 | 890.317 | 82.101 | 0.24444
2020-01-10 09:45:00 | 2.113 | 220.133 | 0 | 14.163 | 0.17 | 237.033 | 1.215 | 225.367 | -9.108 | 890.246 | 83.115 | 0.25296
2020-01-10 10:00:00 | 2.034 | 220.233 | 0 | 212.576 | 0 | 237 | 0.658 | 198.167 | -9.191 | 890.033 | 83.733 | 0.25865
2020-01-10 10:15:00 | 1.748 | 216.233 | 0.849 | 212.455 | 0.21 | 237.033 | 0.928 | 175 | -8.691 | 889.762 | 83.52 | 0.28423
2020-01-10 10:30:00 | 2.047 | 213.067 | 1.421 | 212.536 | 1.185 | 219 | 1.115 | 176 | -8.891 | 889.433 | 82.112 | 0.27712
2020-01-10 10:45:00 | 2.577 | 197.193 | 1.49 | 212.453 | 1.556 | 212.9 | 1.255 | 176.2 | -8.327 | 889.983 | 80.331 | 0.26291
2020-01-10 11:00:00 | 2.623 | 197.533 | 1.938 | 210.124 | 1.917 | 212.2 | 1.479 | 176.067 | -7.639 | 889.992 | 77.824 | 0.28281
2020-01-10 11:15:00 | 2.3 | 192.733 | 2.721 | 193.196 | 2.542 | 206.033 | 2.479 | 194.167 | -6.612 | 889.5 | 73.643 | 0.26859
2020-01-10 11:30:00 | 2.113 | 192.8 | 1.926 | 195.85 | 2.335 | 206 | 2.115 | 196.767 | -4.852 | 889.892 | 69.44 | 0.26433
2020-01-10 11:45:00 | 1.925 | 204.633 | 1.636 | 204.398 | 1.824 | 214.2 | 1.972 | 210.667 | -4.969 | 890.058 | 67.328 | 0.2558
2020-01-10 12:00:00 | 1.223 | 216 | 0.853 | 210.488 | 1.159 | 215.633 | 1.262 | 211.967 | -5.052 | 890.167 | 65.504 | 0.25438
2020-01-10 12:15:00 | 0.15 | 220.733 | 0 | 210.484 | 0.033 | 216.033 | 0.641 | 212.8 | -4.404 | 889.942 | 61.984 | 0.2558
2020-01-10 12:30:00 | 0 | 223.007 | 0 | 210.516 | 0 | 215.9 | 0 | 213 | -3.877 | 889.817 | 58.603 | 0.25012
2020-01-10 12:45:00 | 0 | 221 | 0 | 210.518 | 0 | 216.033 | 0 | 212.9 | -3.689 | 889.758 | 54.709 | 0.24444
2020-01-10 13:00:00 | 0.17 | 97.06 | 0.03 | 88.784 | 0.25 | 114 | 0.55 | 94.067 | -4.364 | 889.733 | 56.224 | 0.29702
2020-01-10 13:15:00 | 1.566 | 87.467 | 1.503 | 87.741 | 1.623 | 92.633 | 1.969 | 91.367 | -4.835 | 889.842 | 59.509 | 0.31265
2020-01-10 13:30:00 | 2.2 | 84.765 | 2.412 | 76.39 | 2.379 | 86.5 | 2.474 | 84.633 | -4.969 | 890.083 | 64.651 | 0.39081
2020-01-10 13:45:00 | 3.246 | 97.533 | 3.268 | 93.234 | 3.295 | 95.067 | 3.403 | 92.867 | -5.035 | 889.808 | 67.605 | 1.92
2020-01-10 14:00:00 | 3.179 | 91.567 | 3.152 | 85.101 | 3.223 | 93.6 | 3.444 | 87.733 | -5.435 | 890.125 | 70.187 | 3.1876
2020-01-10 14:15:00 | 3.672 | 74.097 | 3.68 | 68.008 | 3.935 | 75.267 | 4.11 | 71.633 | -4.969 | 889.958 | 70.987 | 5.0933
2020-01-10 14:30:00 | 4.204 | 79.3 | 4.325 | 76.007 | 4.696 | 79.567 | 4.823 | 76.433 | -5.302 | 889.808 | 72.64 | 6.6658
2020-01-10 14:45:00 | 4.376 | 74.895 | 4.806 | 71.594 | 5.051 | 76.7 | 4.985 | 75.833 | -5.402 | 890.025 | 69.397 | 7.1213
2020-01-10 15:00:00 | 3.941 | 83.463 | 4.152 | 78.157 | 4.281 | 84.767 | 4.546 | 79.067 | -5.085 | 889.775 | 66.581 | 8.1466
2020-01-10 15:15:00 | 4.107 | 73.457 | 4.105 | 71.328 | 4.236 | 80.367 | 4.676 | 77.9 | -4.902 | 889.733 | 60.907 | 7.4091
2020-01-10 15:30:00 | 4.327 | 69.01 | 4.503 | 65.136 | 4.646 | 72.667 | 4.962 | 69.233 | -4.623 | 889.8 | 57.259 | 8.19
2020-01-10 15:45:00 | 4.655 | 74.662 | 4.848 | 69.659 | 5.099 | 74.467 | 5.12 | 71.467 | -4.769 | 889.625 | 57.397 | 9.1464
2020-01-10 16:00:00 | 4.876 | 76.225 | 5.034 | 72.597 | 5.065 | 79.4 | 4.925 | 78.333 | -4.166 | 889.942 | 57.067 | 8.5446
2020-01-10 16:15:00 | 4.454 | 76.047 | 4.749 | 74.594 | 4.516 | 78.167 | 4.687 | 76.433 | -4.285 | 889.342 | 57.205 | 7.6151
2020-01-10 16:30:00 | 4.448 | 73.717 | 4.836 | 69.134 | 4.744 | 74.267 | 4.945 | 72.033 | -4.523 | 890.092 | 58.069 | 7.9392
2020-01-10 16:45:00 | 4.3 | 74.888 | 4.602 | 70.882 | 4.916 | 76.967 | 5.088 | 73.933 | -4.311 | 889.975 | 59.061 | 8.5161
2020-01-10 17:00:00 | 4.335 | 65.383 | 4.45 | 61.461 | 4.51 | 67.367 | 4.664 | 64.333 | -4.15 | 889.425 | 59.136 | 6.0419
2020-01-10 17:15:00 | 4.392 | 66.992 | 4.235 | 64.395 | 4.472 | 68.9 | 4.688 | 67.9 | -4.387 | 889.775 | 60.075 | 5.7037
2020-01-10 17:30:00 | 5.094 | 70.483 | 5.238 | 67.622 | 5.276 | 73.167 | 5.251 | 70.2 | -4.288 | 889.617 | 59.979 | 7.3437
2020-01-10 17:45:00 | 4.491 | 80.817 | 4.751 | 76.464 | 4.658 | 84.333 | 4.559 | 79.467 | -4.305 | 889.842 | 61.376 | 9.4747
2020-01-10 18:00:00 | 4.184 | 105.863 | 4.099 | 100.304 | 3.331 | 103.467 | 3.187 | 100.8 | -4.582 | 889.725 | 62.496 | 9.9458
2020-01-10 18:15:00 | 3.567 | 103.067 | 3.508 | 94.077 | 2.692 | 100.867 | 2.529 | 92.6 | -4.835 | 889.408 | 63.328 | 9.9778
2020-01-10 18:30:00 | 3.794 | 105.333 | 4.019 | 101.413 | 3.598 | 106.967 | 3.522 | 101.5 | -5.119 | 890.05 | 64.373 | 9.7881
2020-01-10 18:45:00 | 3.941 | 105.09 | 4.382 | 101.404 | 3.693 | 106.567 | 3.725 | 101.633 | -5.59 | 890.242 | 65.653 | 8.1026
2020-01-10 19:00:00 | 3.366 | 102.3 | 3.669 | 98.616 | 3.134 | 101.3 | 3.31 | 103.767 | -6.428 | 889.892 | 68.085 | 7.2414
2020-01-10 19:15:00 | 3.641 | 108.51 | 4.008 | 104.775 | 3.656 | 106.367 | 3.826 | 102.5 | -6.638 | 889.342 | 69.003 | 7.6791
2020-01-10 19:30:00 | 3.253 | 109.953 | 3.189 | 98.473 | 2.847 | 103.967 | 2.765 | 96.2 | -7.012 | 889.792 | 69.696 | 5.9474
2020-01-10 19:45:00 | 3.531 | 110.693 | 3.894 | 102.476 | 3.485 | 105.8 | 3.527 | 103.867 | -7.433 | 890.025 | 70.805 | 5.6668
2020-01-10 20:00:00 | 3.374 | 122.633 | 3.491 | 113.028 | 3.738 | 118 | 4.198 | 113.5 | -7.639 | 890.25 | 70.901 | 4.9178
2020-01-10 20:15:00 | 3.075 | 122.733 | 3.123 | 111.059 | 3.552 | 114.1 | 3.963 | 110.033 | -7.472 | 889.792 | 70.304 | 2.4593
2020-01-10 20:30:00 | 2.378 | 124.72 | 2.471 | 104.92 | 2.411 | 109.433 | 2.643 | 100.333 | -7.506 | 889.55 | 69.952 | 1.4098
2020-01-10 20:45:00 | 1.733 | 121.293 | 1.813 | 98.198 | 1.51 | 93.933 | 1.825 | 89.733 | -8.461 | 889.625 | 71.221 | 1.0005
2020-01-10 21:00:00 | 0.983 | 160.5 | 1.774 | 96.193 | 2.012 | 93.8 | 2.109 | 85.567 | -8.791 | 889.667 | 72.768 | 1.3295
2020-01-10 21:15:00 | 1.939 | 208.4 | 0.067 | 113.206 | 1.403 | 96 | 2.052 | 88.167 | -9.058 | 889.858 | 74.709 | 0.48247
2020-01-10 21:30:00 | 2.029 | 219.933 | 0 | 113.189 | 0.584 | 92.5 | 2.143 | 77 | -9.324 | 890.167 | 76.043 | 0.14709
2020-01-10 21:45:00 | 2.664 | 234.767 | 0.176 | 143.562 | 0.033 | 89.967 | 1.149 | 72 | -9.024 | 889.917 | 76.501 | 0.14709
2020-01-10 22:00:00 | 2.906 | 252.193 | 0.153 | 212.578 | 0 | 89.833 | 0.94 | 62.167 | -9.974 | 889.958 | 77.003 | 0.25794
2020-01-10 22:15:00 | 3.951 | 250.68 | 1.616 | 259.021 | 0.26 | 340.267 | 0 | 62.117 | -10.128 | 889.575 | 77.397 | 0.24301
2020-01-10 22:30:00 | 3.411 | 244.5 | 1.039 | 268.963 | 0.988 | 328.067 | 1.378 | 52.488 | -10.703 | 889.95 | 78.72 | 0.25154
2020-01-10 22:45:00 | 2.843 | 248.513 | 0.867 | 311.982 | 1.186 | 310.5 | 1.887 | 6.87 | -10.853 | 889.492 | 80.267 | 0.25012
2020-01-10 23:00:00 | 1.824 | 253.24 | 0.09 | 333.02 | 1.146 | 19.338 | 2.142 | 22.1 | -10.816 | 890.017 | 79.701 | 0.23591
2020-01-10 23:15:00 | 1.587 | 252.267 | 0 | 320.496 | 0.373 | 11.941 | 1.301 | 30.7 | -10.233 | 889.742 | 80.043 | 0.24017
2020-01-10 23:30:00 | 1.081 | 258.233 | 0 | 321.009 | 0.3 | 49.283 | 1.623 | 67.367 | -10.516 | 889.875 | 79.979 | 0.20464
2020-01-10 23:45:00 | 1.2 | 239.927 | 0 | 140.988 | 1.548 | 80.067 | 2.943 | 85.733 | -10.947 | 889.767 | 79.317 | 0.1549