## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-12 00:00:00 | 6.071 | 213.6 | 4.672 | 228.9 | 4.118 | 236.333 | 3.692 | 232.6 | -14.891 | 889.725 | 71.264 | 3.6822
2020-01-12 00:15:00 | 5.676 | 213.7 | 4.852 | 226.154 | 3.717 | 244.933 | 3.088 | 247.667 | -14.787 | 890.1 | 70.923 | 3.3709
2020-01-12 00:30:00 | 5.792 | 215.28 | 5.764 | 216.093 | 5.034 | 222.9 | 3.703 | 222.833 | -14.87 | 889.908 | 70.219 | 3.2146
2020-01-12 00:45:00 | 6.11 | 216.1 | 5.481 | 216.951 | 4.455 | 223.767 | 3.453 | 221.533 | -14.199 | 889.833 | 68.523 | 1.8375
2020-01-12 01:00:00 | 6.024 | 215.693 | 5.568 | 215.201 | 4.45 | 221.667 | 3.243 | 219.4 | -14.745 | 889.7 | 67.296 | 0.93795
2020-01-12 01:15:00 | 5.82 | 219.233 | 3.981 | 216.676 | 3.353 | 223.6 | 2.678 | 221.567 | -14.199 | 889.725 | 67.616 | 0.095216
2020-01-12 01:30:00 | 5.354 | 215.267 | 4.467 | 213.195 | 3.581 | 217.833 | 2.884 | 218.233 | -14.354 | 889.533 | 65.963 | 0.15419
2020-01-12 01:45:00 | 5.94 | 216.867 | 3.899 | 216.688 | 2.986 | 220.833 | 2.208 | 218.767 | -14.578 | 889.825 | 66.656 | 0.21743
2020-01-12 02:00:00 | 5.67 | 219.76 | 4.301 | 214.205 | 3.518 | 215.267 | 2.595 | 208.333 | -14.416 | 890 | 65.739 | 0.15419
2020-01-12 02:15:00 | 5.619 | 216.42 | 4.138 | 214.996 | 3.646 | 216.167 | 3.229 | 206.933 | -14.704 | 889.85 | 66.816 | 0.14425
2020-01-12 02:30:00 | 6.057 | 217.347 | 3.719 | 213.462 | 3.458 | 223.367 | 3.007 | 215.733 | -14.558 | 890.217 | 65.387 | 0.1883
2020-01-12 02:45:00 | 5.612 | 215.4 | 3.74 | 197.493 | 3.135 | 204.3 | 2.507 | 201.6 | -15.024 | 889.775 | 66.912 | 0.23022
2020-01-12 03:00:00 | 5.366 | 213.5 | 4.127 | 201.868 | 3.14 | 206.767 | 2.24 | 192.733 | -15.308 | 890.05 | 68.085 | 0.23875
2020-01-12 03:15:00 | 5.591 | 215.533 | 3.398 | 203.753 | 2.373 | 200.9 | 1.511 | 193.867 | -15.174 | 889.908 | 67.008 | 0.2288
2020-01-12 03:30:00 | 4.405 | 207.2 | 2.807 | 174.344 | 2.08 | 172.6 | 1.709 | 162.2 | -15.724 | 889.675 | 68.139 | 0.2956
2020-01-12 03:45:00 | 3.769 | 206.7 | 1.924 | 139.945 | 2.13 | 94.767 | 2.613 | 84.333 | -15.208 | 889.7 | 65.387 | 0.27002
2020-01-12 04:00:00 | 1.974 | 186.7 | 1.226 | 136.044 | 1.176 | 106.833 | 1.089 | 81.467 | -14.354 | 890.208 | 65.621 | 0.24159
2020-01-12 04:15:00 | 0.775 | 209.8 | 0 | 137.517 | 1.001 | 86.5 | 1.555 | 87.2 | -14.099 | 889.875 | 64.213 | 0.23164
2020-01-12 04:30:00 | 2.074 | 197.2 | 0.555 | 168.737 | 0.04 | 111.9 | 0.141 | 87.067 | -13.672 | 889.558 | 66.485 | 0.22454
2020-01-12 04:45:00 | 2.252 | 221.82 | 0.136 | 179.535 | 0 | 185 | 0 | 87 | -13.741 | 889.983 | 64.32 | 0.2558
2020-01-12 05:00:00 | 0.771 | 224.76 | 0 | 185.472 | 0 | 185.033 | 0.443 | 87.067 | -13.353 | 889.675 | 66.507 | 0.24444
2020-01-12 05:15:00 | 0.13 | 161.2 | 0 | 185.533 | 0.233 | 91.6 | 1.721 | 87 | -12.686 | 890.067 | 65.888 | 0.80294
2020-01-12 05:30:00 | 1.71 | 200.22 | 0 | 185.449 | 0 | 91.5 | 1.6 | 113.267 | -13.503 | 890.05 | 63.851 | 2.2916
2020-01-12 05:45:00 | 0 | 169.2 | 0 | 185.489 | 0.269 | 92 | 1.653 | 124.633 | -13.02 | 890.183 | 66.251 | 2.3591
2020-01-12 06:00:00 | 0 | 169.327 | 0.483 | 154.781 | 1.58 | 132.8 | 2.132 | 120.033 | -13.32 | 889.7 | 65.483 | 2.968
2020-01-12 06:15:00 | 0 | 144.8 | 1.337 | 143.147 | 2.274 | 129.433 | 3.228 | 110.933 | -13.933 | 890 | 65.355 | 3.1478
2020-01-12 06:30:00 | 0.47 | 178.707 | 1.444 | 144.71 | 2.459 | 130.433 | 2.886 | 106.167 | -14.328 | 890.092 | 65.973 | 2.7336
2020-01-12 06:45:00 | 3.563 | 187.533 | 3.277 | 164.482 | 3.428 | 153.967 | 3.821 | 138.333 | -14.199 | 889.817 | 62.187 | 2.5843
2020-01-12 07:00:00 | 3.554 | 199.787 | 2.894 | 165.304 | 3.087 | 149.3 | 3.266 | 126.633 | -14.287 | 889.767 | 57.739 | 2.3655
2020-01-12 07:15:00 | 3.188 | 194.227 | 3.066 | 138.332 | 3.224 | 128.333 | 3.307 | 119.967 | -14.916 | 890.358 | 56.96 | 2.4507
2020-01-12 07:30:00 | 4.427 | 198.133 | 3.061 | 155.782 | 3.314 | 146.133 | 3.511 | 134.8 | -15.741 | 889.908 | 60.224 | 1.8091
2020-01-12 07:45:00 | 4.389 | 194.4 | 2.973 | 155.787 | 2.835 | 149.133 | 3.231 | 139.967 | -16.301 | 889.725 | 60.16 | 1.4275
2020-01-12 08:00:00 | 5.04 | 195.76 | 2.906 | 161.278 | 2.492 | 157.267 | 2.5 | 144.4 | -17.364 | 889.708 | 62.112 | 0.99266
2020-01-12 08:15:00 | 4.002 | 183.44 | 2.631 | 149.819 | 2.802 | 143.233 | 2.955 | 128.067 | -15.934 | 889.817 | 62.165 | 1.1682
2020-01-12 08:30:00 | 4.462 | 191.46 | 2.702 | 156.578 | 2.586 | 148.567 | 2.916 | 132.933 | -15.962 | 889.583 | 57.376 | 1.8397
2020-01-12 08:45:00 | 4.061 | 188.06 | 2.9 | 146.744 | 3.082 | 140.467 | 3.162 | 129.733 | -15.938 | 889.8 | 58.848 | 1.2982
2020-01-12 09:00:00 | 3.538 | 185.433 | 2.629 | 153.811 | 2.616 | 149.4 | 2.923 | 139.067 | -15.324 | 889.95 | 62.976 | 0.48958
2020-01-12 09:15:00 | 3.144 | 181.453 | 2.538 | 137.86 | 2.734 | 132.067 | 2.735 | 122.433 | -14.02 | 889.842 | 58.997 | 0.1549
2020-01-12 09:30:00 | 3.24 | 188.86 | 2.015 | 147.493 | 2.181 | 128.933 | 2.293 | 117.467 | -14.537 | 889.575 | 57.781 | 0.26504
2020-01-12 09:45:00 | 2.909 | 189.333 | 1.566 | 140.833 | 1.986 | 134.5 | 2.166 | 125.267 | -13.933 | 890.192 | 57.579 | 0.17977
2020-01-12 10:00:00 | 2.527 | 170.767 | 1.9 | 132.191 | 2.255 | 121.167 | 2.519 | 113.167 | -12.736 | 889.942 | 54.912 | 0.5379
2020-01-12 10:15:00 | 1.681 | 128.173 | 2.896 | 89.632 | 3.134 | 84.867 | 3.158 | 80.533 | -12.47 | 889.975 | 56.981 | 0.23093
2020-01-12 10:30:00 | 1.227 | 160.093 | 1.404 | 97.435 | 2.219 | 86.2 | 2.613 | 80.7 | -12.311 | 889.625 | 54.197 | 0.25936
2020-01-12 10:45:00 | 0.284 | 104.933 | 1.619 | 88.763 | 2.205 | 78.133 | 2.056 | 67.733 | -12.12 | 890.092 | 55.136 | 0.24586
2020-01-12 11:00:00 | 0.134 | 89.173 | 2.399 | 69.218 | 2.68 | 73.733 | 2.626 | 68.033 | -11.974 | 889.717 | 56.395 | 0.081005
2020-01-12 11:15:00 | 0.243 | 69.463 | 0.993 | 58.017 | 2.21 | 67.933 | 2.62 | 67 | -10.743 | 889.808 | 57.365 | 0.25012
2020-01-12 11:30:00 | 1.337 | 58.202 | 0.789 | 59.067 | 1.276 | 76.7 | 1.832 | 71 | -10.966 | 890.025 | 56.139 | 0.25438
2020-01-12 11:45:00 | 1.561 | 64.792 | 1.216 | 65.77 | 1.264 | 72.1 | 1.861 | 93.6 | -11.022 | 890.092 | 56.96 | 0.26717
2020-01-12 12:00:00 | 1.821 | 56.793 | 1.606 | 57.571 | 1.733 | 64.533 | 2.037 | 72.3 | -9.92 | 889.367 | 57.045 | 0.18972
2020-01-12 12:15:00 | 2.524 | 70.067 | 2.506 | 65.974 | 2.576 | 72.5 | 2.734 | 74.567 | -9.912 | 890.142 | 55.563 | 0.74467
2020-01-12 12:30:00 | 3.104 | 70.887 | 2.923 | 64.876 | 2.9 | 71.067 | 3.013 | 69.333 | -9.724 | 889.908 | 54.347 | 1.5007
2020-01-12 12:45:00 | 3.293 | 69.797 | 3.508 | 66.005 | 3.495 | 69 | 3.5 | 69.933 | -9.808 | 890.225 | 53.653 | 3.5656
2020-01-12 13:00:00 | 3.477 | 83.873 | 3.404 | 78.411 | 3.567 | 82.8 | 3.814 | 81.067 | -9.545 | 889.958 | 54.123 | 5.3207
2020-01-12 13:15:00 | 3.92 | 81.327 | 3.87 | 80.033 | 3.923 | 82.5 | 4.148 | 77.467 | -9.724 | 889.808 | 57.973 | 6.2558
2020-01-12 13:30:00 | 4.157 | 80.317 | 4.152 | 75.063 | 4.271 | 77.433 | 4.298 | 74 | -9.849 | 890.258 | 59.68 | 6.3681
2020-01-12 13:45:00 | 3.521 | 78.27 | 3.838 | 77.132 | 4.095 | 82.1 | 4.332 | 77.333 | -9.683 | 890 | 59.541 | 7.7189
2020-01-12 14:00:00 | 4.304 | 78.107 | 4.658 | 73.348 | 4.98 | 77.167 | 5.049 | 70.767 | -9.891 | 889.733 | 59.883 | 9.3681
2020-01-12 14:15:00 | 4.007 | 84.7 | 4.176 | 76.811 | 4.188 | 82.167 | 4.218 | 78.2 | -9.208 | 889.75 | 60.896 | 10.7075
2020-01-12 14:30:00 | 4.267 | 78.93 | 4.642 | 71.765 | 4.908 | 77.467 | 5.068 | 75.633 | -9.441 | 889.842 | 61.792 | 10.8496
2020-01-12 14:45:00 | 4.636 | 81.987 | 4.793 | 76.251 | 4.895 | 84 | 4.859 | 79.1 | -9.558 | 889.667 | 61.269 | 11.7222
2020-01-12 15:00:00 | 4.721 | 75.447 | 4.8 | 72.446 | 5.186 | 78.233 | 5.288 | 74.1 | -9.52 | 890.233 | 61.301 | 15.3688
2020-01-12 15:15:00 | 5.432 | 82.62 | 5.46 | 78.84 | 5.55 | 82.4 | 5.806 | 77.933 | -9.52 | 890.058 | 61.781 | 16.0851
2020-01-12 15:30:00 | 5.02 | 90.6 | 5.055 | 81.572 | 5.106 | 82.567 | 5.392 | 78.767 | -9.704 | 889.817 | 62.048 | 14.0024
2020-01-12 15:45:00 | 5.176 | 82.527 | 5.282 | 75.292 | 5.291 | 81.467 | 5.478 | 76.767 | -9.378 | 889.725 | 61.248 | 13.9093
2020-01-12 16:00:00 | 5.389 | 81.3 | 5.39 | 74.946 | 5.635 | 81.933 | 5.841 | 75.533 | -9.191 | 889.808 | 61.344 | 13.9619
2020-01-12 16:15:00 | 5.213 | 79.263 | 5.74 | 74.939 | 5.846 | 78.367 | 5.888 | 77.067 | -9.291 | 889.825 | 61.152 | 15.3518
2020-01-12 16:30:00 | 5.541 | 74.033 | 5.818 | 74.804 | 5.895 | 80.433 | 5.819 | 79.467 | -9.041 | 889.775 | 61.173 | 16.2499
2020-01-12 16:45:00 | 5.55 | 85.067 | 5.54 | 80.178 | 5.544 | 86.067 | 5.424 | 80.633 | -9.374 | 889.867 | 61.525 | 18.2609
2020-01-12 17:00:00 | 5.646 | 83.297 | 5.726 | 77.077 | 5.843 | 79.567 | 5.971 | 75.9 | -9.412 | 889.8 | 62.955 | 20.3087
2020-01-12 17:15:00 | 5.635 | 83.52 | 5.632 | 80.964 | 5.668 | 85.933 | 6.036 | 80.8 | -9.745 | 890.083 | 63.957 | 16.9975
2020-01-12 17:30:00 | 4.925 | 88.447 | 4.973 | 84.885 | 5.052 | 87.367 | 5.3 | 84.233 | -9.558 | 890.05 | 64.843 | 17.1303
2020-01-12 17:45:00 | 5.168 | 80.907 | 5.768 | 75.87 | 5.844 | 81.3 | 5.957 | 76.167 | -9.82 | 890.25 | 66.304 | 17.6199
2020-01-12 18:00:00 | 4.974 | 77.733 | 5.435 | 74.995 | 5.786 | 80.7 | 5.967 | 75.633 | -10.349 | 889.767 | 68.309 | 16.6912
2020-01-12 18:15:00 | 4.782 | 83.933 | 5.467 | 77.855 | 5.746 | 82.667 | 5.653 | 79.5 | -10.349 | 889.933 | 70.453 | 13.8113
2020-01-12 18:30:00 | 5.214 | 83.45 | 5.554 | 79.93 | 5.471 | 82.433 | 5.287 | 81 | -10.797 | 890.083 | 71.947 | 14.0308
2020-01-12 18:45:00 | 4.028 | 90.397 | 3.854 | 89.335 | 3.263 | 97.267 | 3.117 | 86.933 | -10.98 | 889.992 | 73.355 | 12.3127
2020-01-12 19:00:00 | 3.401 | 84.533 | 3.826 | 81.091 | 3.57 | 88 | 3.572 | 83.1 | -11.361 | 889.9 | 74.56 | 11.8558
2020-01-12 19:15:00 | 3.598 | 90.547 | 3.709 | 87.361 | 3.081 | 94.167 | 2.952 | 89.533 | -11.49 | 889.608 | 75.947 | 8.2838
2020-01-12 19:30:00 | 2.945 | 94.353 | 3.476 | 87.756 | 2.883 | 97.467 | 2.566 | 93.333 | -11.932 | 889.833 | 76.811 | 6.4036
2020-01-12 19:45:00 | 2.827 | 95.853 | 2.977 | 91.923 | 2.436 | 97 | 2.22 | 93.667 | -12.14 | 889.942 | 77.472 | 3.8868
2020-01-12 20:00:00 | 1.713 | 107.173 | 1.64 | 95.973 | 1.744 | 102.7 | 2.015 | 97.933 | -11.974 | 889.833 | 78.176 | 2.541
2020-01-12 20:15:00 | 1.844 | 98.82 | 1.982 | 92.534 | 1.856 | 100.433 | 2.2 | 97.667 | -12.036 | 889.617 | 78.827 | 1.1177
2020-01-12 20:30:00 | 1.543 | 116.633 | 2.186 | 103.896 | 2.341 | 108.233 | 2.694 | 107.133 | -12.47 | 889.408 | 79.541 | 0.80578
2020-01-12 20:45:00 | 0.914 | 153.4 | 1.403 | 114.293 | 2.062 | 129.067 | 2.572 | 116.633 | -12.553 | 890.092 | 79.84 | 0.67788
2020-01-12 21:00:00 | 0.693 | 199.2 | 0.51 | 121.516 | 2.348 | 116.867 | 3.217 | 107.633 | -13.203 | 889.812 | 81.525 | 0.20322
2020-01-12 21:15:00 | 0.558 | 206.8 | 0.07 | 128.374 | 1.815 | 112.3 | 2.449 | 101.467 | -13.186 | 889.829 | 82.859 | 0.19825
2020-01-12 21:30:00 | 0 | 209.3 | 0 | 125.207 | 1.936 | 79.333 | 3.172 | 77.033 | -13.247 | 890.342 | 83.136 | 0.38157
2020-01-12 21:45:00 | 0 | 209.42 | 0.658 | 55.165 | 1.963 | 57.633 | 2.506 | 56.467 | -13.476 | 889.833 | 83.819 | 0.31976
2020-01-12 22:00:00 | 0 | 209.6 | 0.937 | 48.121 | 1.956 | 50.633 | 2.58 | 56.6 | -14.578 | 889.696 | 82.901 | 1.3245
2020-01-12 22:15:00 | 0 | 209.4 | 1.17 | 68.554 | 2.437 | 77.467 | 3.144 | 74.667 | -15.224 | 889.758 | 83.541 | 4.0445
2020-01-12 22:30:00 | 0.283 | 104.44 | 2.227 | 83.671 | 3.21 | 86.5 | 3.872 | 82.2 | -14.558 | 890.075 | 85.461 | 7.4638
2020-01-12 22:45:00 | 2.122 | 81.34 | 3.791 | 77.51 | 4.283 | 84.233 | 4.353 | 82.067 | -14.249 | 889.933 | 86.101 | 11.7776
2020-01-12 23:00:00 | 3.305 | 86.933 | 3.921 | 83.645 | 3.738 | 89.633 | 3.96 | 84.7 | -13.799 | 889.462 | 86.635 | 15.6573
2020-01-12 23:15:00 | 3.633 | 109.753 | 4.606 | 101.866 | 4.181 | 100.9 | 3.954 | 98.233 | -13.616 | 889.746 | 86.165 | 14.5474
2020-01-12 23:30:00 | 3.44 | 113.64 | 4.496 | 104.286 | 4.478 | 106.267 | 3.898 | 99 | -13.653 | 889.642 | 85.504 | 13.3054
2020-01-12 23:45:00 | 3.716 | 112.853 | 4.522 | 103.677 | 4.134 | 105.267 | 3.739 | 95.4 | -13.395 | 890.012 | 84.928 | 12.1073