## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-13 00:00:00 | 3.494 | 117.23 | 4.02 | 106.564 | 4.077 | 109 | 4.302 | 100.533 | -13.226 | 889.971 | 84.587 | 9.668
2020-01-13 00:15:00 | 3.627 | 114.23 | 4.08 | 105.944 | 4.056 | 108.4 | 4.001 | 103.2 | -13.143 | 889.896 | 84.245 | 7.3409
2020-01-13 00:30:00 | 2.89 | 116.377 | 3.33 | 102.167 | 2.951 | 102.9 | 3.094 | 98.367 | -13.597 | 890.054 | 83.669 | 5.1388
2020-01-13 00:45:00 | 0.496 | 106.4 | 2.473 | 93.864 | 2.428 | 93.933 | 2.465 | 89.467 | -14.066 | 889.908 | 83.221 | 4.4126
2020-01-13 01:00:00 | 0.133 | 142.893 | 1.738 | 102.376 | 2.329 | 98.5 | 2.445 | 91.667 | -15.058 | 889.562 | 83.243 | 4.0652
2020-01-13 01:15:00 | 0 | 142.4 | 1.772 | 93.394 | 2.797 | 88.5 | 2.894 | 85.933 | -15.141 | 890.033 | 83.883 | 2.7677
2020-01-13 01:30:00 | 0.027 | 163.933 | 0.77 | 111.425 | 2.16 | 102.133 | 2.485 | 97.733 | -15.608 | 889.754 | 84.651 | 0.85197
2020-01-13 01:45:00 | 0.748 | 220.567 | 0 | 114.241 | 1.343 | 107.067 | 2.046 | 88.667 | -15.458 | 889.996 | 85.483 | 0.18688
2020-01-13 02:00:00 | 1.413 | 243.253 | 0 | 114.241 | 0 | 124.033 | 1.287 | 81.7 | -15.324 | 890.504 | 85.504 | 0.21672
2020-01-13 02:15:00 | 1.454 | 256.927 | 0 | 114.244 | 0.673 | 87.508 | 1.68 | 83.067 | -15.874 | 890.188 | 84.885 | 0.27357
2020-01-13 02:30:00 | 2.324 | 274.507 | 0 | 64.028 | 0.956 | 61.308 | 2.002 | 74.767 | -15.358 | 889.962 | 86.272 | 0.27428
2020-01-13 02:45:00 | 3.007 | 257.88 | 0 | 18.723 | 0.196 | 60.933 | 1.461 | 72 | -16.019 | 889.758 | 84.523 | 0.23449
2020-01-13 03:00:00 | 2.59 | 252.067 | 0 | 18.071 | 0 | 68 | 1.191 | 72 | -16.598 | 890.004 | 83.776 | 0.23307
2020-01-13 03:15:00 | 3.01 | 238.813 | 0 | 335.076 | 0 | 68.033 | 0 | 72 | -16.51 | 890.238 | 84.843 | 0.23449
2020-01-13 03:30:00 | 3.976 | 229.093 | 1.523 | 270.051 | 0.09 | 182.633 | 0.034 | 71.9 | -16.998 | 890.096 | 83.392 | 0.23733
2020-01-13 03:45:00 | 4.633 | 229.833 | 3.24 | 248.512 | 1.582 | 225.8 | 1.124 | 129.467 | -17.648 | 889.9 | 81.387 | 0.24728
2020-01-13 04:00:00 | 4.344 | 230.993 | 2.754 | 247.496 | 1.356 | 225.733 | 1.306 | 159.3 | -17.514 | 890.429 | 82.56 | 0.23733
2020-01-13 04:15:00 | 4.682 | 226.947 | 3.497 | 255.546 | 0.207 | 236.333 | 0.067 | 126.2 | -17.481 | 890.054 | 82.176 | 0.23449
2020-01-13 04:30:00 | 4.484 | 247.033 | 4.031 | 268.024 | 2.665 | 284.2 | 0.89 | 132.883 | -17.531 | 889.925 | 82.24 | 0.23591
2020-01-13 04:45:00 | 4.129 | 237.4 | 3.985 | 285.236 | 3.35 | 309.2 | 3.124 | 322.167 | -17.798 | 889.762 | 81.68 | 0.1684
2020-01-13 05:00:00 | 3.885 | 246.013 | 3.609 | 282.726 | 3.082 | 303.133 | 2.923 | 324.967 | -17.248 | 889.929 | 83.083 | 0.17977
2020-01-13 05:15:00 | 3.71 | 260.433 | 3.29 | 295.638 | 2.966 | 317.567 | 2.796 | 344.933 | -16.981 | 890.279 | 83.275 | 0.20962
2020-01-13 05:30:00 | 3.059 | 262.2 | 2.594 | 308.467 | 2.334 | 336.233 | 2.184 | 114.318 | -16.614 | 889.971 | 83.605 | 0.29275
2020-01-13 05:45:00 | 3.226 | 252.74 | 1.897 | 289.686 | 1.514 | 334.333 | 1.229 | 0 | -16.482 | 890.296 | 82.965 | 0.23164
2020-01-13 06:00:00 | 3.447 | 237.833 | 2.208 | 283.076 | 1.381 | 339.867 | 1.339 | 15.335 | -16.681 | 890.538 | 82.411 | 0.24586
2020-01-13 06:15:00 | 3.559 | 248.113 | 2.387 | 280.183 | 1.342 | 315.867 | 0.934 | 8.028 | -16.403 | 889.883 | 83.744 | 0.24159
2020-01-13 06:30:00 | 3.729 | 243.3 | 3.002 | 279.43 | 1.64 | 304 | 0.5 | 334.8 | -16.581 | 889.854 | 82.688 | 0.23449
2020-01-13 06:45:00 | 3.192 | 237.267 | 1.557 | 278.847 | 0.333 | 291.933 | 0 | 334 | -16.581 | 889.771 | 83.435 | 0.23733
2020-01-13 07:00:00 | 3.267 | 236.5 | 1.531 | 278.868 | 0.636 | 292 | 0 | 333.867 | -16.914 | 890.404 | 82.379 | 0.24017
2020-01-13 07:15:00 | 3.249 | 255.887 | 1.798 | 279.234 | 1.136 | 292.267 | 0.326 | 334 | -16.382 | 890.233 | 83.563 | 0.24728
2020-01-13 07:30:00 | 2.808 | 266.2 | 1.643 | 280.938 | 0.347 | 292.3 | 0 | 333.967 | -15.774 | 890.562 | 85.419 | 0.24586
2020-01-13 07:45:00 | 2.826 | 239.5 | 1.393 | 280.963 | 0.519 | 292 | 0.087 | 334.033 | -16.211 | 889.979 | 83.392 | 0.24586
2020-01-13 08:00:00 | 2.457 | 250.773 | 0.535 | 283.225 | 0.14 | 292 | 0 | 334 | -16.467 | 890.146 | 83.797 | 0.24728
2020-01-13 08:15:00 | 2.868 | 235.307 | 0.582 | 282.826 | 0.19 | 292 | 0 | 334 | -16.36 | 889.862 | 84.693 | 0.24159
2020-01-13 08:30:00 | 3.757 | 233.233 | 1.956 | 263.011 | 1.24 | 288.867 | 1.204 | 321.033 | -16.474 | 890.308 | 82.603 | 0.2558
2020-01-13 08:45:00 | 3.72 | 230.653 | 2.712 | 257.34 | 2.2 | 262.2 | 1.68 | 276.633 | -17.231 | 890.058 | 80.917 | 0.26291
2020-01-13 09:00:00 | 3.602 | 233.067 | 2.042 | 257.916 | 1.844 | 262 | 1.828 | 272 | -17.698 | 889.742 | 79.867 | 0.24444
2020-01-13 09:15:00 | 3.471 | 240.62 | 3.2 | 282.618 | 2.403 | 284.533 | 2.236 | 276.267 | -17.581 | 890.35 | 79.531 | 0.27428
2020-01-13 09:30:00 | 3.752 | 236.533 | 3.372 | 284.705 | 2.561 | 302.033 | 2.28 | 284.2 | -17.031 | 889.796 | 82.123 | 0.25865
2020-01-13 09:45:00 | 3.867 | 253.247 | 3.709 | 289.219 | 2.767 | 306.667 | 2.569 | 294.8 | -17.248 | 889.708 | 80.325 | 0.2757
2020-01-13 10:00:00 | 3.303 | 264.5 | 3.66 | 298.213 | 2.792 | 311.167 | 2.413 | 301.633 | -17.081 | 890.342 | 80.533 | 0.2757
2020-01-13 10:15:00 | 2.482 | 272.867 | 3.107 | 312.758 | 2.589 | 326.067 | 2.212 | 317.167 | -15.358 | 889.571 | 82.123 | 0.28707
2020-01-13 10:30:00 | 1.979 | 261.427 | 2.2 | 312.964 | 2.486 | 349.133 | 1.736 | 1.2 | -15.708 | 889.85 | 79.125 | 0.27712
2020-01-13 10:45:00 | 1.673 | 250.213 | 1.516 | 323.108 | 1.344 | 321.633 | 1.881 | 24.006 | -14.578 | 889.908 | 79.536 | 0.25438
2020-01-13 11:00:00 | 2.142 | 262.973 | 1.576 | 295.119 | 0.883 | 341.733 | 0.47 | 29.944 | -13.814 | 890.025 | 79.701 | 0.23591
2020-01-13 11:15:00 | 1.886 | 291 | 1.723 | 297.273 | 1.279 | 322.933 | 0.615 | 2.8 | -13.232 | 889.892 | 79.099 | 0.23733
2020-01-13 11:30:00 | 1.169 | 326.8 | 0.542 | 327.855 | 0.357 | 328.533 | 0.319 | 32.925 | -13.153 | 889.808 | 79.264 | 0.24444
2020-01-13 11:45:00 | 0 | 328.72 | 0 | 335.014 | 0.097 | 6.049 | 1.468 | 72.533 | -12.02 | 889.592 | 79.243 | 0.24301
2020-01-13 12:00:00 | 0.566 | 51.882 | 0.54 | 34.764 | 0.882 | 63.267 | 1.326 | 71.5 | -10.539 | 890.383 | 78.485 | 0.29418
2020-01-13 12:15:00 | 2.54 | 65.765 | 2.407 | 61.494 | 2.807 | 69.4 | 3 | 66.733 | -10.614 | 890.2 | 74.432 | 0.65941
2020-01-13 12:30:00 | 2.252 | 84.512 | 2.433 | 80.082 | 2.689 | 86.5 | 2.705 | 75.7 | -10.797 | 889.942 | 71.691 | 5.3527
2020-01-13 12:45:00 | 4.134 | 87.39 | 4.054 | 85.278 | 3.967 | 90.967 | 4.14 | 87.067 | -10.668 | 890.117 | 69.707 | 9.3766
2020-01-13 13:00:00 | 4.626 | 93.83 | 4.615 | 91.547 | 4.282 | 97.433 | 4.639 | 89.567 | -10.947 | 890.292 | 68.043 | 8.109
2020-01-13 13:15:00 | 3.897 | 90.18 | 4.212 | 83.918 | 4.261 | 87.433 | 4.251 | 83.133 | -10.208 | 889.758 | 66.08 | 6.2793
2020-01-13 13:30:00 | 3.206 | 84.267 | 3.159 | 81.607 | 3.264 | 92.5 | 3.326 | 87.8 | -9.687 | 889.442 | 64.629 | 6.8769
2020-01-13 13:45:00 | 4.179 | 89.327 | 4.082 | 88.492 | 4.008 | 89.567 | 4.071 | 87.633 | -9.345 | 890.033 | 61.611 | 13.5178
2020-01-13 14:00:00 | 4.982 | 99.533 | 4.904 | 93.542 | 4.96 | 96.267 | 4.908 | 90.333 | -8.874 | 889.917 | 59.584 | 19.6457
2020-01-13 14:15:00 | 4.762 | 91.967 | 4.795 | 86.367 | 4.789 | 92.633 | 5.14 | 86.1 | -8.541 | 889.633 | 57.173 | 20.9823
2020-01-13 14:30:00 | 4.521 | 95.153 | 4.728 | 90.642 | 4.414 | 95.667 | 4.629 | 92.133 | -8.271 | 890.225 | 56.277 | 19.0567
2020-01-13 14:45:00 | 4.485 | 97.797 | 4.695 | 93.412 | 4.93 | 96.2 | 4.947 | 95.3 | -8.01 | 890.1 | 54.816 | 14.0365
2020-01-13 15:00:00 | 5.18 | 111.343 | 5.121 | 103.124 | 4.986 | 102.833 | 5.137 | 98.033 | -7.963 | 889.625 | 53.909 | 14.0422
2020-01-13 15:15:00 | 4.476 | 89.803 | 4.459 | 84.616 | 4.725 | 88.433 | 4.896 | 84.833 | -7.97 | 889.917 | 52.64 | 14.9027
2020-01-13 15:30:00 | 5.204 | 87.17 | 5.581 | 79.272 | 5.34 | 83.867 | 5.359 | 80.533 | -7.933 | 889.933 | 51.979 | 19.1228
2020-01-13 15:45:00 | 5.607 | 74.465 | 5.589 | 72.865 | 5.904 | 75.367 | 6.256 | 71.5 | -7.883 | 889.542 | 51.776 | 19.9222
2020-01-13 16:00:00 | 5.64 | 82.648 | 5.822 | 75.753 | 5.877 | 79.633 | 6.154 | 76.6 | -7.726 | 889.958 | 51.531 | 19.8369
2020-01-13 16:15:00 | 5.031 | 84.05 | 5.025 | 80.513 | 5.082 | 84.533 | 5.397 | 83.733 | -7.993 | 889.683 | 51.392 | 17.654
2020-01-13 16:30:00 | 5.532 | 78.133 | 5.745 | 72.484 | 5.946 | 77.633 | 5.828 | 74.033 | -8.17 | 889.958 | 51.541 | 19.6003
2020-01-13 16:45:00 | 5.584 | 86.13 | 5.674 | 79.843 | 5.488 | 84.5 | 5.377 | 78.233 | -8.21 | 889.9 | 51.445 | 20.4736
2020-01-13 17:00:00 | 5.713 | 88.753 | 5.526 | 83.634 | 5.39 | 88.533 | 5.225 | 82.367 | -8.271 | 890.083 | 51.285 | 19.6074
2020-01-13 17:15:00 | 5.181 | 89.183 | 5.231 | 83.232 | 4.871 | 90.633 | 4.744 | 85.867 | -8.09 | 889.792 | 51.819 | 14.3918
2020-01-13 17:30:00 | 5.457 | 79.137 | 5.463 | 75.97 | 5.521 | 80.633 | 5.491 | 77.433 | -8.17 | 889.592 | 52.075 | 14.2213
2020-01-13 17:45:00 | 4.315 | 74.8 | 4.513 | 69.398 | 4.732 | 78 | 5.175 | 74.9 | -8.524 | 890.008 | 52.757 | 11.2575
2020-01-13 18:00:00 | 4.248 | 75.867 | 4.799 | 69.281 | 5.015 | 73.3 | 5.108 | 70.2 | -8.958 | 889.608 | 53.621 | 13.2265
2020-01-13 18:15:00 | 4.376 | 69.497 | 4.77 | 65.375 | 4.89 | 69 | 5.065 | 66.067 | -9.295 | 889.983 | 55.264 | 12.9579
2020-01-13 18:30:00 | 4.464 | 69.567 | 4.942 | 63.974 | 5.28 | 69.767 | 5.467 | 68.567 | -10.033 | 889.692 | 57.173 | 15.8044
2020-01-13 18:45:00 | 3.685 | 79.433 | 4.541 | 77.498 | 4.918 | 82.8 | 4.991 | 79.9 | -10.266 | 889.658 | 58.891 | 13.191
2020-01-13 19:00:00 | 4.356 | 82.647 | 5.263 | 77.786 | 5.737 | 83.233 | 5.923 | 79.633 | -10.666 | 889.95 | 60.459 | 10.9889
2020-01-13 19:15:00 | 3.079 | 92.7 | 2.9 | 91.15 | 2.518 | 101.7 | 2.557 | 95.9 | -11.211 | 890.017 | 62.389 | 4.7629
2020-01-13 19:30:00 | 2.979 | 85.693 | 3.469 | 83.263 | 2.987 | 88.233 | 2.668 | 83.3 | -11.636 | 890.292 | 63.893 | 2.8217
2020-01-13 19:45:00 | 3.325 | 80.7 | 3.882 | 75.066 | 3.509 | 82.833 | 3.156 | 78.933 | -11.995 | 889.975 | 65.685 | 1.8723
2020-01-13 20:00:00 | 2.654 | 79.56 | 3.036 | 74.311 | 3.113 | 80.8 | 3.158 | 79.867 | -12.016 | 889.842 | 66.848 | 1.991
2020-01-13 20:15:00 | 2.996 | 84.16 | 3.198 | 79.227 | 3.248 | 86.133 | 2.926 | 82.033 | -12.27 | 889.725 | 67.403 | 2.2404
2020-01-13 20:30:00 | 2.042 | 86.2 | 2.482 | 84.709 | 2.02 | 91.2 | 1.881 | 87.2 | -12.436 | 890.308 | 67.861 | 2.3626
2020-01-13 20:45:00 | 1.89 | 94.433 | 2.348 | 86.94 | 2.213 | 91.8 | 2.271 | 84.3 | -12.736 | 889.467 | 69.099 | 4.8688
2020-01-13 21:00:00 | 2.067 | 97.433 | 2.27 | 91.537 | 1.99 | 93.267 | 2.248 | 90.467 | -12.42 | 889.992 | 69.589 | 10.0538
2020-01-13 21:15:00 | 3.332 | 120.067 | 3.983 | 108.397 | 4.258 | 109.633 | 4.632 | 105.867 | -12.62 | 889.733 | 69.835 | 10.7786
2020-01-13 21:30:00 | 3.172 | 119.167 | 4.091 | 106.585 | 4.077 | 110.3 | 3.706 | 99.433 | -11.995 | 889.592 | 68.373 | 12.5642
2020-01-13 21:45:00 | 3.406 | 118.447 | 3.979 | 108.295 | 3.978 | 109.267 | 3.816 | 100.433 | -12.195 | 889.475 | 68.288 | 10.1476
2020-01-13 22:00:00 | 3.569 | 116.087 | 3.779 | 106.805 | 3.822 | 109.7 | 3.86 | 100.367 | -11.932 | 889.742 | 67.904 | 10.6379
2020-01-13 22:15:00 | 3.448 | 117.36 | 3.762 | 107.246 | 3.684 | 108.967 | 3.818 | 99.333 | -11.911 | 889.933 | 67.307 | 11.3982
2020-01-13 22:30:00 | 3.166 | 119.973 | 3.658 | 107.523 | 3.884 | 110.5 | 3.816 | 104 | -11.974 | 890.017 | 67.424 | 7.5462
2020-01-13 22:45:00 | 3 | 124.113 | 3.387 | 113.515 | 3.724 | 114.367 | 3.906 | 105.767 | -11.816 | 889.575 | 67.339 | 5.4302
2020-01-13 23:00:00 | 3.064 | 110.867 | 2.598 | 102.583 | 2.495 | 106.233 | 2.613 | 93.167 | -11.411 | 889.517 | 66.997 | 3.1947
2020-01-13 23:15:00 | 1.936 | 110.227 | 2.316 | 88.16 | 2.927 | 88.1 | 2.722 | 81.367 | -12.22 | 888.65 | 66.603 | 4.014
2020-01-13 23:30:00 | 2 | 101.707 | 2.587 | 83.349 | 2.985 | 83.633 | 3.258 | 80.6 | -12.282 | 889.942 | 68.309 | 3.6807
2020-01-13 23:45:00 | 2.501 | 122.14 | 2.617 | 104.024 | 2.296 | 102.367 | 2.304 | 98.867 | -12.349 | 889.975 | 68.651 | 2.6348