## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-14 00:00:00 | 2.021 | 143.733 | 2.937 | 112.611 | 2.95 | 109.267 | 2.6 | 100 | -12.703 | 889.742 | 68.267 | 1.1717
2020-01-14 00:15:00 | 1.91 | 190.033 | 1.789 | 129.097 | 2.495 | 123.2 | 2.736 | 109.933 | -13.485 | 889.208 | 70.528 | 0.11795
2020-01-14 00:30:00 | 2.333 | 196.227 | 1.62 | 156.327 | 1.854 | 145.8 | 2.173 | 119.633 | -13.447 | 889.725 | 72.107 | 0.18404
2020-01-14 00:45:00 | 2.076 | 201.267 | 1.564 | 164.293 | 1.961 | 147.1 | 2.231 | 129 | -12.97 | 889.767 | 72.053 | 0.27428
2020-01-14 01:00:00 | 1.716 | 216.333 | 0.626 | 176.509 | 1.386 | 149.833 | 1.932 | 128.067 | -12.886 | 889.942 | 71.861 | 0.25012
2020-01-14 01:15:00 | 1.315 | 213.167 | 0.4 | 165.416 | 1.427 | 130 | 2.361 | 125.767 | -13.136 | 889.5 | 72.117 | 0.2487
2020-01-14 01:30:00 | 0.911 | 225.267 | 0 | 165.525 | 0.187 | 116.3 | 1.698 | 96 | -12.986 | 889.725 | 72.331 | 0.25722
2020-01-14 01:45:00 | 0 | 226.2 | 0 | 165.53 | 1.247 | 82 | 2.14 | 78 | -12.936 | 889.908 | 74.016 | 0.23591
2020-01-14 02:00:00 | 0 | 226.36 | 0 | 165.548 | 1.577 | 82.033 | 2.201 | 78 | -13.336 | 890.008 | 74.112 | 0.24728
2020-01-14 02:15:00 | 0 | 226.56 | 1.13 | 114.51 | 2.267 | 81.867 | 2.645 | 78 | -13.558 | 889.683 | 75.093 | 0.24159
2020-01-14 02:30:00 | 0.023 | 226.8 | 0.753 | 86.241 | 1.936 | 86.967 | 2.069 | 78.767 | -14.083 | 889.667 | 75.723 | 0.22454
2020-01-14 02:45:00 | 1.165 | 214.733 | 0.364 | 86.242 | 1.72 | 87.067 | 2.099 | 98.833 | -13.933 | 890.117 | 75.061 | 0.23733
2020-01-14 03:00:00 | 1.639 | 213.8 | 0 | 86.278 | 1.317 | 87.167 | 1.68 | 100 | -14.066 | 890.458 | 75.285 | 0.23307
2020-01-14 03:15:00 | 1.776 | 226.5 | 0 | 86.277 | 0.763 | 87 | 1.586 | 100 | -13.933 | 889.892 | 74.624 | 0.23022
2020-01-14 03:30:00 | 2.308 | 241.133 | 0 | 116.361 | 0 | 87.067 | 0.228 | 100 | -13.983 | 890.025 | 75.019 | 0.24017
2020-01-14 03:45:00 | 1.969 | 262.333 | 0 | 199.445 | 0 | 87.092 | 0.991 | 100 | -13.899 | 889.75 | 75.68 | 0.25438
2020-01-14 04:00:00 | 1.938 | 263.667 | 0 | 199.433 | 0.762 | 80.158 | 2.119 | 87.6 | -14.099 | 889.458 | 74.443 | 0.23733
2020-01-14 04:15:00 | 1.494 | 271.507 | 0.03 | 80.538 | 1.299 | 75.667 | 2.38 | 79 | -13.766 | 889.408 | 74.379 | 0.22312
2020-01-14 04:30:00 | 0.981 | 238.64 | 0 | 21.069 | 1.567 | 95.633 | 2.695 | 91.533 | -13.522 | 889.525 | 73.717 | 0.25722
2020-01-14 04:45:00 | 0.535 | 241.447 | 0 | 21.063 | 1.285 | 74.167 | 2.165 | 87 | -13.687 | 889.717 | 74.539 | 0.2558
2020-01-14 05:00:00 | 0.781 | 241.38 | 0 | 21.056 | 1.152 | 76.067 | 1.982 | 87.033 | -13.803 | 889.65 | 73.941 | 0.24515
2020-01-14 05:15:00 | 1.28 | 248.107 | 0 | 21.058 | 0.978 | 76.2 | 1.74 | 89 | -13.856 | 889.567 | 73.92 | 0.24444
2020-01-14 05:30:00 | 1.814 | 267.28 | 0 | 21.056 | 0 | 76.025 | 0.923 | 88.9 | -13.76 | 890.117 | 73.536 | 0.23449
2020-01-14 05:45:00 | 1.672 | 265.307 | 0 | 21.052 | 0 | 76.15 | 1.066 | 89 | -13.766 | 890.133 | 73.024 | 0.23449
2020-01-14 06:00:00 | 1.38 | 265.24 | 0 | 21.054 | 0 | 76.25 | 1.212 | 89 | -13.58 | 889.95 | 72.992 | 0.23875
2020-01-14 06:15:00 | 1.962 | 271.84 | 0 | 21.061 | 0 | 76.133 | 0.833 | 89.033 | -13.503 | 890.133 | 72.096 | 0.23733
2020-01-14 06:30:00 | 2.049 | 263.173 | 0 | 21.064 | 0 | 76.008 | 0 | 89 | -13.664 | 889.792 | 71.915 | 0.23875
2020-01-14 06:45:00 | 1.682 | 263.6 | 0 | 21.058 | 0 | 76.067 | 0 | 89 | -13.783 | 889.933 | 72.736 | 0.23307
2020-01-14 07:00:00 | 2.138 | 259.227 | 0 | 21.073 | 0 | 76.192 | 0 | 89 | -13.653 | 889.475 | 72.981 | 0.23164
2020-01-14 07:15:00 | 1.78 | 261.12 | 0 | 21.046 | 0 | 76.317 | 0.03 | 89 | -13.541 | 889.825 | 72.779 | 0.23591
2020-01-14 07:30:00 | 1.648 | 252.8 | 0 | 21.066 | 0 | 76 | 1.007 | 89 | -13.391 | 890.175 | 72.245 | 0.23591
2020-01-14 07:45:00 | 1.942 | 262.76 | 0 | 21.069 | 0 | 76.058 | 0 | 89 | -13.56 | 890.008 | 72.192 | 0.23591
2020-01-14 08:00:00 | 2.145 | 264.013 | 0 | 21.059 | 0 | 76.125 | 0 | 88.9 | -13.597 | 889.433 | 72.416 | 0.23164
2020-01-14 08:15:00 | 2.751 | 282.96 | 2.152 | 321.017 | 1.865 | 349.833 | 1.293 | 21.427 | -13.56 | 890.425 | 72.459 | 0.25865
2020-01-14 08:30:00 | 2.917 | 308.8 | 2.935 | 325.884 | 2.557 | 342.167 | 1.898 | 14.8 | -13.672 | 889.925 | 71.744 | 0.2892
2020-01-14 08:45:00 | 2.558 | 331.4 | 2.196 | 352.896 | 2.185 | 2.808 | 2.838 | 23.767 | -13.766 | 890.017 | 72.672 | 0.27854
2020-01-14 09:00:00 | 2.613 | 325 | 2.296 | 355.655 | 2.601 | 21.89 | 2.49 | 39.133 | -13.12 | 889.842 | 73.317 | 0.27002
2020-01-14 09:15:00 | 2.523 | 308.32 | 1.705 | 245.613 | 1.536 | 38.024 | 2.062 | 66.533 | -13.447 | 889.975 | 73.077 | 0.28209
2020-01-14 09:30:00 | 3.212 | 303.587 | 3.58 | 329.032 | 3.014 | 349.667 | 2.277 | 3.836 | -13.635 | 889.717 | 73.387 | 0.27854
2020-01-14 09:45:00 | 1.997 | 293.4 | 1.808 | 330.937 | 1.448 | 0.134 | 1.736 | 30 | -13.578 | 890 | 74.389 | 0.23449
2020-01-14 10:00:00 | 1.966 | 286.2 | 1.035 | 335.067 | 0.942 | 0.133 | 1.405 | 37.333 | -13.241 | 889.333 | 73.941 | 0.24159
2020-01-14 10:15:00 | 1.52 | 281.467 | 0.137 | 338.16 | 0.52 | 38.05 | 1.753 | 78.867 | -13.203 | 889.467 | 73.44 | 0.25012
2020-01-14 10:30:00 | 2.062 | 299.867 | 1.252 | 344.742 | 1.17 | 28.642 | 1.848 | 55.567 | -13.136 | 890.358 | 72.661 | 0.24444
2020-01-14 10:45:00 | 0.911 | 284.387 | 0 | 334.997 | 0.403 | 27.763 | 1.103 | 53.9 | -12.511 | 889.858 | 71.616 | 0.25865
2020-01-14 11:00:00 | 1.104 | 303.733 | 1.117 | 331.36 | 0.726 | 6.01 | 1.255 | 53.833 | -11.995 | 889.917 | 69.637 | 0.26149
2020-01-14 11:15:00 | 1.77 | 325.373 | 1.598 | 326.373 | 1.475 | 329.633 | 0.877 | 24.361 | -11.911 | 889.95 | 68.128 | 0.24728
2020-01-14 11:30:00 | 1.603 | 316.08 | 1.195 | 228.25 | 1.04 | 280.334 | 1.012 | 32.725 | -11.176 | 889.5 | 66.555 | 0.24017
2020-01-14 11:45:00 | 0.676 | 170.14 | 0.423 | 159.461 | 0.926 | 69.888 | 1.287 | 65.267 | -10.687 | 890.117 | 64.064 | 0.25722
2020-01-14 12:00:00 | 1.533 | 87.567 | 1.5 | 85.542 | 1.59 | 90.033 | 1.554 | 101.433 | -10.249 | 889.383 | 62.027 | 0.26788
2020-01-14 12:15:00 | 1.11 | 115.847 | 1.09 | 103.867 | 1.157 | 108.733 | 1.222 | 102.533 | -9.787 | 889.942 | 60.096 | 0.24728
2020-01-14 12:30:00 | 1.016 | 121.94 | 1.14 | 108.394 | 1.523 | 121.4 | 1.622 | 108.4 | -9.891 | 889.708 | 59.072 | 0.25012
2020-01-14 12:45:00 | 1.063 | 86.567 | 0.95 | 80.827 | 1.02 | 87 | 1.341 | 102.933 | -9.291 | 889.542 | 56.971 | 0.23449
2020-01-14 13:00:00 | 0.599 | 76.86 | 0.24 | 90.402 | 0.309 | 89 | 0.591 | 78.767 | -9.341 | 889.725 | 55.776 | 0.23875
2020-01-14 13:15:00 | 0.359 | 74.832 | 0.153 | 84.805 | 0.22 | 79.2 | 0.04 | 78 | -8.924 | 889.925 | 54.336 | 0.23164
2020-01-14 13:30:00 | 0.866 | 56.217 | 0.839 | 52.047 | 0.596 | 49.333 | 0.695 | 55 | -8.874 | 889.658 | 53.419 | 0.23307
2020-01-14 13:45:00 | 0.076 | 281.297 | 0 | 69.206 | 0 | 63 | 0 | 55.767 | -8.631 | 889.942 | 52.32 | 0.23307
2020-01-14 14:00:00 | 0.812 | 35.312 | 0.18 | 44.106 | 0.45 | 44.6 | 0.329 | 48 | -8.674 | 890.267 | 51.573 | 0.23449
2020-01-14 14:15:00 | 0.893 | 333.187 | 0.882 | 341.732 | 0.909 | 345.167 | 1.092 | 0 | -8.411 | 889.825 | 51.296 | 0.23164
2020-01-14 14:30:00 | 0.189 | 244.87 | 0.06 | 317.164 | 0.14 | 324.4 | 0.222 | 11.867 | -8.287 | 890.15 | 51.861 | 0.22738
2020-01-14 14:45:00 | 1.103 | 279.587 | 1.266 | 275.356 | 1.387 | 289.7 | 1.156 | 267.533 | -8.271 | 890.017 | 50.592 | 0.23875
2020-01-14 15:00:00 | 0.213 | 291.573 | 0.036 | 337.235 | 0.333 | 323.8 | 0.66 | 298.633 | -8.331 | 889.758 | 50.4 | 0.23733
2020-01-14 15:15:00 | 1.346 | 273.44 | 1.218 | 280.34 | 1.28 | 287.3 | 1.448 | 282.967 | -8.08 | 890.15 | 50.016 | 0.27144
2020-01-14 15:30:00 | 1.841 | 292.667 | 1.796 | 294.571 | 1.889 | 295.967 | 1.869 | 296.6 | -8.15 | 890.025 | 50.955 | 0.27712
2020-01-14 15:45:00 | 1.354 | 298.787 | 1.619 | 303.822 | 1.921 | 296.7 | 2.137 | 298.833 | -8.11 | 889.767 | 50.949 | 0.25722
2020-01-14 16:00:00 | 1.62 | 286.413 | 1.973 | 284.268 | 2.332 | 289.7 | 2.417 | 292.367 | -7.756 | 890.233 | 50.613 | 0.26717
2020-01-14 16:15:00 | 1.446 | 296.067 | 1.51 | 284.038 | 1.99 | 280.833 | 2.012 | 289.133 | -7.722 | 889.842 | 50.341 | 0.27144
2020-01-14 16:30:00 | 1.523 | 319.2 | 1.44 | 318.345 | 1.849 | 319.567 | 1.891 | 309.233 | -7.672 | 889.558 | 49.707 | 0.24159
2020-01-14 16:45:00 | 2.026 | 300.4 | 2.055 | 296.405 | 2.264 | 303.933 | 2.291 | 301.4 | -7.656 | 890.033 | 50.048 | 0.24017
2020-01-14 17:00:00 | 1.895 | 293.16 | 1.37 | 304.829 | 1.586 | 305.867 | 1.768 | 298.633 | -7.546 | 889.975 | 50.704 | 0.2487
2020-01-14 17:15:00 | 1.703 | 305.707 | 1.55 | 302.299 | 1.809 | 301.433 | 1.924 | 309.6 | -7.433 | 889.958 | 50.731 | 0.2558
2020-01-14 17:30:00 | 1.753 | 317.48 | 1.533 | 310.754 | 1.951 | 315.233 | 2.046 | 314.767 | -7.41 | 889.567 | 50.213 | 0.25296
2020-01-14 17:45:00 | 1.864 | 327.333 | 1.713 | 319.863 | 2.071 | 325.533 | 2.194 | 326.867 | -7.522 | 889.992 | 50.421 | 0.26575
2020-01-14 18:00:00 | 1.806 | 323.64 | 1.697 | 316.1 | 1.867 | 321.667 | 1.906 | 324.167 | -7.25 | 890.017 | 49.952 | 0.22738
2020-01-14 18:15:00 | 1.874 | 314.507 | 1.656 | 311.598 | 1.955 | 315.433 | 1.943 | 313.733 | -7.185 | 889.975 | 50.405 | 0.21885
2020-01-14 18:30:00 | 0.854 | 313.2 | 0.143 | 307.143 | 0.748 | 306.133 | 0.99 | 307 | -7.706 | 890.058 | 50.997 | 0.2288
2020-01-14 18:45:00 | 0 | 337.2 | 0 | 307.107 | 0 | 306.067 | 0.074 | 307 | -7.656 | 889.842 | 51.285 | 0.22312
2020-01-14 19:00:00 | 0 | 301.187 | 0 | 306.946 | 0.027 | 306 | 0.124 | 307 | -7.519 | 889.733 | 51.413 | 0.22596
2020-01-14 19:15:00 | 0 | 301.2 | 0 | 306.997 | 0.03 | 305.867 | 0.852 | 306.967 | -7.522 | 890.05 | 51.637 | 0.2217
2020-01-14 19:30:00 | 0.066 | 297.867 | 0 | 307.132 | 0.582 | 265.967 | 1.039 | 306.667 | -7.406 | 889.917 | 52.171 | 0.23307
2020-01-14 19:45:00 | 0 | 228.593 | 0 | 307.062 | 0.901 | 235 | 1.119 | 305.933 | -7.519 | 889.975 | 52.107 | 0.22596
2020-01-14 20:00:00 | 0.463 | 228.6 | 0.337 | 296.999 | 1.092 | 233 | 1.151 | 285.933 | -7.572 | 889.425 | 52.437 | 0.23022
2020-01-14 20:15:00 | 0.027 | 228.6 | 0 | 297.105 | 0.965 | 233 | 1.194 | 285.867 | -7.722 | 889.992 | 52.299 | 0.23022
2020-01-14 20:30:00 | 1.014 | 228.6 | 0.972 | 261.022 | 1.378 | 233.6 | 1.711 | 251 | -7.489 | 889.317 | 52.352 | 0.22028
2020-01-14 20:45:00 | 0.855 | 228.6 | 1.144 | 260.922 | 1.517 | 235 | 1.651 | 251 | -7.706 | 889.842 | 52.277 | 0.2288
2020-01-14 21:00:00 | 1.632 | 271.18 | 1.667 | 269.133 | 1.94 | 286.1 | 2.038 | 268 | -7.572 | 889.642 | 53.824 | 0.22738
2020-01-14 21:15:00 | 1.383 | 298.747 | 2.006 | 304.301 | 2.231 | 304.833 | 2.179 | 297.3 | -7.97 | 889.808 | 56.096 | 0.23022
2020-01-14 21:30:00 | 0.792 | 298.84 | 2.023 | 307.05 | 2.284 | 306 | 2.102 | 299 | -8.331 | 889.967 | 57.397 | 0.24017
2020-01-14 21:45:00 | 0.156 | 298.893 | 1.526 | 302.863 | 1.49 | 306 | 1.187 | 298.867 | -8.234 | 889.492 | 57.349 | 0.23733
2020-01-14 22:00:00 | 0.99 | 298.853 | 1.277 | 302.13 | 1.351 | 305.867 | 0.977 | 298.8 | -8.311 | 890.108 | 56.821 | 0.23733
2020-01-14 22:15:00 | 0.989 | 299.04 | 1.264 | 301.014 | 1.278 | 306 | 1.134 | 298.867 | -8.03 | 889.792 | 57.003 | 0.23449
2020-01-14 22:30:00 | 1.083 | 299.013 | 1.532 | 303.036 | 1.57 | 306 | 1.347 | 299 | -8.07 | 890.033 | 57.269 | 0.23449
2020-01-14 22:45:00 | 0.686 | 298.827 | 1.426 | 317.107 | 1.639 | 308 | 1.481 | 299 | -8.401 | 889.875 | 58.176 | 0.23591
2020-01-14 23:00:00 | 0 | 298.8 | 0 | 317.157 | 0.833 | 308 | 1.242 | 299 | -8.658 | 890.092 | 58.507 | 0.23733
2020-01-14 23:15:00 | 1.088 | 84.753 | 0.303 | 14.03 | 0.517 | 308 | 0.379 | 299 | -8.454 | 889.658 | 58.763 | 0.24586
2020-01-14 23:30:00 | 1.136 | 48.113 | 1.034 | 27.156 | 1.448 | 38 | 1.234 | 8.067 | -8.33 | 889.983 | 58.261 | 0.24586
2020-01-14 23:45:00 | 1.237 | 72.07 | 1.156 | 57.642 | 1.387 | 59.3 | 1.502 | 33.9 | -8.738 | 890.017 | 58.795 | 0.23875