## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-15 00:00:00 | 1.518 | 76.2 | 1.538 | 72.19 | 1.649 | 66.467 | 1.463 | 41 | -8.941 | 890.392 | 59.051 | 0.24017
2020-01-15 00:15:00 | 1.653 | 120.767 | 1.735 | 109.312 | 1.755 | 108.8 | 1.475 | 78 | -9.058 | 889.775 | 58.912 | 0.23875
2020-01-15 00:30:00 | 1.438 | 128.4 | 1.348 | 113.04 | 1.41 | 110 | 1.354 | 78.1 | -8.841 | 889.908 | 59.083 | 0.23591
2020-01-15 00:45:00 | 1.596 | 130.567 | 1.35 | 120.253 | 1.239 | 110 | 1.106 | 78.033 | -8.691 | 890.192 | 58.656 | 0.23022
2020-01-15 01:00:00 | 0.19 | 131.4 | 0.083 | 120.229 | 0.359 | 114.9 | 1.075 | 78 | -8.974 | 889.35 | 58.88 | 0.22312
2020-01-15 01:15:00 | 0 | 131.4 | 0 | 120.277 | 0.788 | 120.767 | 1.167 | 78 | -9.158 | 889.892 | 58.912 | 0.22738
2020-01-15 01:30:00 | 0.153 | 131.4 | 0 | 120.25 | 0.38 | 121 | 1.002 | 78 | -9.124 | 889.9 | 58.965 | 0.23164
2020-01-15 01:45:00 | 0.729 | 141.3 | 0.18 | 121.242 | 1.152 | 132.7 | 1.276 | 78 | -9.124 | 889.792 | 59.04 | 0.22454
2020-01-15 02:00:00 | 0.027 | 142.4 | 0 | 121.259 | 0.702 | 133.9 | 0.944 | 78 | -9.174 | 889.925 | 59.008 | 0.22312
2020-01-15 02:15:00 | 0.896 | 145.4 | 0.317 | 121.369 | 1.092 | 145 | 1.269 | 78.033 | -9.208 | 890.25 | 58.603 | 0.2217
2020-01-15 02:30:00 | 1.317 | 145.4 | 0.942 | 132.921 | 1.475 | 149.967 | 1.702 | 133.967 | -8.758 | 890.133 | 58.389 | 0.24586
2020-01-15 02:45:00 | 1.217 | 145.4 | 1.234 | 147.494 | 1.723 | 176 | 1.743 | 134 | -8.774 | 889.917 | 58.613 | 0.2288
2020-01-15 03:00:00 | 1.235 | 145.4 | 1.442 | 147.482 | 1.696 | 175.867 | 1.689 | 149.067 | -8.691 | 889.758 | 58.837 | 0.23449
2020-01-15 03:15:00 | 0 | 145.4 | 0.04 | 147.44 | 0.106 | 176 | 0.967 | 149.067 | -8.941 | 889.817 | 59.019 | 0.23591
2020-01-15 03:30:00 | 0 | 145.4 | 0.24 | 147.503 | 0 | 176.1 | 0.272 | 149 | -8.724 | 890.142 | 58.805 | 0.2487
2020-01-15 03:45:00 | 0.546 | 146.733 | 0.264 | 147.511 | 1.118 | 176.167 | 1.376 | 149 | -8.808 | 889.817 | 58.592 | 0.26433
2020-01-15 04:00:00 | 1.172 | 197.967 | 1.134 | 193.336 | 1.468 | 205.2 | 1.757 | 181.567 | -8.791 | 889.758 | 58.496 | 0.21743
2020-01-15 04:15:00 | 0.692 | 214.4 | 0.735 | 220.438 | 1.176 | 223.867 | 1.379 | 200.067 | -8.708 | 889.658 | 58.763 | 0.25012
2020-01-15 04:30:00 | 1.264 | 212.2 | 1.415 | 210.1 | 1.8 | 216.633 | 2.095 | 200 | -8.674 | 889.858 | 59.083 | 0.2487
2020-01-15 04:45:00 | 1.692 | 190.933 | 1.858 | 195.058 | 2.193 | 204.167 | 2.085 | 200.067 | -8.391 | 890.258 | 64.747 | 0.26859
2020-01-15 05:00:00 | 1.643 | 202.32 | 2.204 | 198.521 | 2.273 | 207.567 | 2.104 | 200 | -8.464 | 889.7 | 72.309 | 0.24728
2020-01-15 05:15:00 | 1.759 | 204.447 | 2.058 | 200.442 | 2.415 | 213.367 | 2.284 | 209.8 | -8.3 | 889.65 | 76.053 | 0.2288
2020-01-15 05:30:00 | 1.47 | 204.42 | 1.775 | 200.524 | 2.346 | 220 | 2.044 | 209.867 | -8.481 | 890.008 | 78.133 | 0.23591
2020-01-15 05:45:00 | 1.4 | 203.4 | 1.535 | 200.483 | 1.584 | 220 | 1.241 | 210 | -8.658 | 890.108 | 79.211 | 0.24586
2020-01-15 06:00:00 | 1.528 | 197.067 | 1.691 | 200.415 | 1.97 | 220 | 1.886 | 210 | -8.624 | 889.942 | 80.448 | 0.25012
2020-01-15 06:15:00 | 1.329 | 195.167 | 1.651 | 200.523 | 2.054 | 220 | 2.09 | 210 | -8.407 | 889.688 | 81.813 | 0.24159
2020-01-15 06:30:00 | 1.159 | 195.493 | 1.311 | 213.461 | 1.639 | 230.3 | 1.743 | 212.533 | -8.11 | 890.221 | 83.093 | 0.23591
2020-01-15 06:45:00 | 0.266 | 205.333 | 0.117 | 223.544 | 0.409 | 248 | 1.108 | 221 | -8.508 | 889.925 | 83.968 | 0.23591
2020-01-15 07:00:00 | 1.062 | 206.413 | 0.19 | 223.49 | 0.527 | 248 | 1.004 | 221.1 | -8.501 | 890.554 | 84.715 | 0.23591
2020-01-15 07:15:00 | 1.26 | 232.4 | 1.036 | 243.4 | 0.856 | 255.617 | 0.659 | 221.067 | -8.28 | 889.433 | 85.568 | 0.23733
2020-01-15 07:30:00 | 1.996 | 299.733 | 1.673 | 304.908 | 1.786 | 320.533 | 1.636 | 300.967 | -9.391 | 889.562 | 81.829 | 0.23875
2020-01-15 07:45:00 | 1.279 | 16.372 | 0.782 | 0 | 0.996 | 84.667 | 0 | 300.233 | -10.049 | 889.821 | 81.045 | 0.25438
2020-01-15 08:00:00 | 0.964 | 17 | 0 | 0 | 0 | 13 | 0 | 300 | -10.483 | 889.912 | 82.581 | 0.25012
2020-01-15 08:15:00 | 0 | 17 | 0 | 0 | 0 | 13 | 0 | 299.933 | -10.433 | 890.071 | 83.456 | 0.2558
2020-01-15 08:30:00 | 0 | 17.035 | 0 | 0 | 0 | 13 | 0 | 299.933 | -10.778 | 889.65 | 84.651 | 0.2558
2020-01-15 08:45:00 | 0 | 17 | 0 | 0 | 0 | 13.1 | 0 | 300 | -10.266 | 889.783 | 84.864 | 0.25296
2020-01-15 09:00:00 | 0 | 17.008 | 0 | 0 | 0 | 12.967 | 0 | 300 | -10.572 | 889.912 | 85.227 | 0.26291
2020-01-15 09:15:00 | 0 | 17 | 0 | 0 | 0 | 13 | 0 | 299.933 | -10.483 | 889.833 | 85.525 | 0.25012
2020-01-15 09:30:00 | 0 | 17 | 0 | 0 | 0 | 12.5 | 0 | 300 | -10.449 | 890.033 | 85.376 | 0.23591
2020-01-15 09:45:00 | 0 | 17 | 0 | 0 | 0 | 129.467 | 0 | 300.433 | -10.316 | 889.975 | 85.568 | 0.23733
2020-01-15 10:00:00 | 0 | 330.213 | 0 | 0 | 0 | 283 | 0.074 | 300.867 | -9.849 | 890.175 | 84.949 | 0.23875
2020-01-15 10:15:00 | 0 | 330.773 | 0 | 0 | 0.336 | 283 | 0 | 301.133 | -9.345 | 889.65 | 83.413 | 0.25438
2020-01-15 10:30:00 | 0 | 330.8 | 0 | 0 | 0 | 282.867 | 0 | 300.867 | -8.891 | 890.267 | 80.395 | 0.24017
2020-01-15 10:45:00 | 0 | 330.907 | 0 | 0 | 0 | 283.133 | 0 | 300.833 | -8.23 | 889.708 | 76.843 | 0.23875
2020-01-15 11:00:00 | 0 | 330.8 | 0 | 0 | 0 | 282.867 | 1.109 | 301 | -8.624 | 889.908 | 72.107 | 0.24301
2020-01-15 11:15:00 | 0 | 330.8 | 0 | 0 | 0 | 283 | 1.31 | 300.933 | -8.508 | 889.742 | 70.123 | 0.25438
2020-01-15 11:30:00 | 1.222 | 20.068 | 0.851 | 0 | 1.003 | 166.667 | 1.675 | 300.533 | -7.97 | 890.067 | 65.493 | 0.24728
2020-01-15 11:45:00 | 1.8 | 42.6 | 1.54 | 26.434 | 1.63 | 41.033 | 1.536 | 19.9 | -8.758 | 890.258 | 65.387 | 0.29844
2020-01-15 12:00:00 | 1.914 | 50.567 | 1.876 | 49.454 | 2.027 | 48.7 | 2.452 | 41.2 | -8.824 | 889.892 | 66.155 | 0.26717
2020-01-15 12:15:00 | 2.06 | 67.667 | 1.807 | 63.255 | 2.273 | 68.3 | 2.759 | 58.633 | -8.724 | 890.092 | 67.317 | 0.27996
2020-01-15 12:30:00 | 1.901 | 71.92 | 1.789 | 62.357 | 2.155 | 67.2 | 2.601 | 52.8 | -8.437 | 889.958 | 67.712 | 0.29133
2020-01-15 12:45:00 | 2.286 | 73.333 | 2.147 | 68.49 | 2.209 | 73.533 | 2.27 | 64.267 | -8.608 | 889.992 | 68.992 | 0.25722
2020-01-15 13:00:00 | 1.964 | 81.673 | 1.892 | 74.365 | 1.983 | 79.067 | 2.132 | 72.033 | -8.601 | 890.317 | 70.72 | 0.25438
2020-01-15 13:15:00 | 1.821 | 78.71 | 1.683 | 76.2 | 2.008 | 81.333 | 2.36 | 72 | -8.448 | 889.617 | 70.517 | 0.25296
2020-01-15 13:30:00 | 1.698 | 92.743 | 1.622 | 77.132 | 1.639 | 82 | 1.91 | 72 | -7.93 | 889.983 | 68.821 | 0.24728
2020-01-15 13:45:00 | 1.409 | 111.68 | 1.213 | 96.215 | 1.427 | 97.233 | 1.378 | 72 | -8.11 | 890 | 65.888 | 0.23875
2020-01-15 14:00:00 | 0.984 | 108.207 | 0.984 | 96.258 | 1.212 | 97.133 | 1.064 | 72.1 | -8.368 | 889.617 | 66.176 | 0.23733
2020-01-15 14:15:00 | 0.73 | 107.24 | 0.466 | 96.246 | 0.886 | 97.133 | 0.625 | 72 | -8.117 | 890.275 | 65.376 | 0.2487
2020-01-15 14:30:00 | 0.536 | 107.233 | 0.42 | 96.263 | 0.823 | 98.2 | 0.826 | 72.033 | -8.19 | 889.883 | 64.779 | 0.26149
2020-01-15 14:45:00 | 0.405 | 107.3 | 0.023 | 96.231 | 0.29 | 98.733 | 0.696 | 72.1 | -7.622 | 889.983 | 62.581 | 0.25865
2020-01-15 15:00:00 | 0.269 | 107.29 | 0.047 | 96.254 | 0.179 | 98.333 | 1.034 | 72.133 | -7.363 | 889.825 | 60.896 | 0.25012
2020-01-15 15:15:00 | 0.123 | 107.263 | 0 | 96.279 | 0.16 | 97.333 | 0.816 | 72.033 | -7.071 | 889.875 | 60.544 | 0.26007
2020-01-15 15:30:00 | 0.876 | 85.95 | 0.587 | 93.72 | 0.963 | 93 | 1.174 | 72.033 | -7.19 | 889.858 | 61.664 | 0.24728
2020-01-15 15:45:00 | 1.085 | 56.133 | 0.611 | 56.131 | 1.079 | 66.067 | 1.127 | 72 | -7.124 | 889.95 | 58.773 | 0.25012
2020-01-15 16:00:00 | 1.106 | 63.15 | 0.406 | 56.207 | 0.926 | 66 | 0.779 | 72 | -7.689 | 890.258 | 60.864 | 0.25012
2020-01-15 16:15:00 | 0.23 | 86.297 | 0.156 | 58.957 | 0.496 | 66 | 0.849 | 72 | -7.609 | 890.092 | 67.168 | 0.23875
2020-01-15 16:30:00 | 0.958 | 101.567 | 0.516 | 93.284 | 0.574 | 99.967 | 0.793 | 72 | -8.19 | 889.942 | 70.112 | 0.23591
2020-01-15 16:45:00 | 0.666 | 82.27 | 0.292 | 92.668 | 0.416 | 98.4 | 0.232 | 72 | -7.953 | 889.858 | 70.624 | 0.23591
2020-01-15 17:00:00 | 1.135 | 72.267 | 1.01 | 69.237 | 1.137 | 75 | 1.001 | 72 | -7.99 | 889.908 | 69.387 | 0.23733
2020-01-15 17:15:00 | 1.47 | 71.85 | 1.352 | 69.224 | 1.329 | 74.9 | 1.218 | 72 | -8.354 | 890.125 | 71.531 | 0.23875
2020-01-15 17:30:00 | 1.376 | 62.067 | 1.243 | 66.958 | 1.231 | 74.533 | 1.023 | 72 | -8.824 | 889.808 | 74.496 | 0.24017
2020-01-15 17:45:00 | 1.034 | 65.397 | 0.906 | 68.211 | 1.053 | 74.9 | 0.639 | 72.1 | -8.858 | 889.867 | 77.771 | 0.23591
2020-01-15 18:00:00 | 1.1 | 71.067 | 0.982 | 68.266 | 1.075 | 75.067 | 0.641 | 72 | -9.141 | 889.958 | 80.736 | 0.23733
2020-01-15 18:15:00 | 0.186 | 72.2 | 0 | 78.304 | 0 | 89 | 0 | 72 | -9.074 | 890.5 | 83.051 | 0.23875
2020-01-15 18:30:00 | 0.07 | 71.36 | 0 | 78.308 | 0 | 89.033 | 0 | 72.033 | -9.499 | 890.175 | 84.053 | 0.23875
2020-01-15 18:45:00 | 0.771 | 52.043 | 0 | 78.247 | 0 | 89 | 0 | 72 | -9.454 | 889.688 | 84.992 | 0.23875
2020-01-15 19:00:00 | 0 | 49.063 | 0 | 78.261 | 0 | 88.4 | 0 | 72 | -9.604 | 889.725 | 86.016 | 0.24586
2020-01-15 19:15:00 | 0 | 49.05 | 0 | 78.275 | 0 | 89 | 0 | 72 | -9.704 | 890.3 | 87.189 | 0.23875
2020-01-15 19:30:00 | 0 | 84.687 | 0 | 78.246 | 0 | 88.533 | 0 | 72 | -9.849 | 889.358 | 88.064 | 0.24159
2020-01-15 19:45:00 | 0 | 94.093 | 0 | 78.252 | 0 | 88.933 | 0 | 72 | -9.724 | 890.521 | 88.107 | 0.25438
2020-01-15 20:00:00 | 0 | 94.133 | 0 | 78.328 | 0 | 89.033 | 0 | 71.9 | -9.599 | 890.042 | 87.915 | 0.2558
2020-01-15 20:15:00 | 0 | 94.04 | 0 | 78.291 | 0 | 88.8 | 0 | 72 | -9.891 | 890.554 | 87.851 | 0.2558
2020-01-15 20:30:00 | 0 | 94.1 | 0 | 78.254 | 0 | 88.667 | 0 | 72 | -9.704 | 890 | 87.787 | 0.2558
2020-01-15 20:45:00 | 0 | 94.013 | 0 | 77.777 | 0 | 88.933 | 0 | 72 | -9.991 | 890.392 | 87.659 | 0.26717
2020-01-15 21:00:00 | 0 | 94.06 | 0 | 78.219 | 0 | 88.767 | 0 | 72 | -9.828 | 889.692 | 87.829 | 0.27002
2020-01-15 21:15:00 | 0 | 94 | 0 | 78.258 | 0 | 88.467 | 0 | 72.067 | -10.149 | 890.388 | 88.213 | 0.27428
2020-01-15 21:30:00 | 0 | 94.01 | 0 | 78.247 | 0 | 87.067 | 1.214 | 72 | -10.301 | 889.929 | 88 | 0.27144
2020-01-15 21:45:00 | 0 | 94 | 0 | 78.278 | 0 | 87 | 0.578 | 72 | -10.349 | 890.025 | 89.088 | 0.2558
2020-01-15 22:00:00 | 0 | 94.15 | 0 | 78.284 | 0 | 87 | 0 | 72 | -10.747 | 890.442 | 88.768 | 0.25438
2020-01-15 22:15:00 | 0 | 94.16 | 0 | 78.263 | 0 | 87.1 | 0 | 72.033 | -10.816 | 889.992 | 89.259 | 0.24301
2020-01-15 22:30:00 | 0 | 94 | 0 | 78.208 | 0 | 87 | 0 | 71.967 | -10.416 | 890.288 | 89.579 | 0.23591
2020-01-15 22:45:00 | 0.905 | 213.767 | 0 | 78.333 | 0 | 87 | 0 | 72 | -10.249 | 889.862 | 89.621 | 0.23449
2020-01-15 23:00:00 | 0 | 214 | 0 | 78.251 | 0 | 87 | 0 | 72 | -10.183 | 889.917 | 89.088 | 0.23591
2020-01-15 23:15:00 | 0.802 | 214.567 | 0 | 78.292 | 0 | 87 | 0 | 72 | -10.266 | 889.792 | 88.853 | 0.23875
2020-01-15 23:30:00 | 1.557 | 236.313 | 0.156 | 291.065 | 0 | 87.133 | 0 | 72 | -10.618 | 890.033 | 88.085 | 0.24301
2020-01-15 23:45:00 | 2.066 | 235.387 | 0.881 | 282.606 | 0.113 | 87 | 0 | 72 | -10.451 | 889.8 | 88.544 | 0.24017