## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-16 00:00:00 | 1.583 | 237.16 | 0 | 279.096 | 0 | 87.467 | 0 | 72 | -10.666 | 889.808 | 88.256 | 0.25722
2020-01-16 00:15:00 | 1.99 | 243.113 | 1.002 | 277.015 | 0.389 | 87.8 | 0 | 72 | -10.685 | 890.338 | 87.915 | 0.25865
2020-01-16 00:30:00 | 2.086 | 238.713 | 1.126 | 276.828 | 0.948 | 88.767 | 0 | 72 | -10.778 | 890.054 | 87.808 | 0.2558
2020-01-16 00:45:00 | 1.912 | 231.273 | 0.958 | 251.515 | 0 | 89.033 | 0 | 72 | -10.834 | 890.138 | 88.213 | 0.24301
2020-01-16 01:00:00 | 1.723 | 226.68 | 0 | 251.48 | 0 | 88.8 | 0 | 71.867 | -11.176 | 889.788 | 88.469 | 0.24159
2020-01-16 01:15:00 | 2.063 | 221.74 | 0 | 251.477 | 0 | 89 | 0 | 72 | -10.928 | 890.071 | 88.853 | 0.25012
2020-01-16 01:30:00 | 2.626 | 217.72 | 0.902 | 250.809 | 0 | 89 | 0 | 72 | -10.959 | 889.217 | 88.704 | 0.2487
2020-01-16 01:45:00 | 2.721 | 216.62 | 0.645 | 250.466 | 0.739 | 180 | 0.161 | 72 | -11.003 | 889.442 | 88.597 | 0.26859
2020-01-16 02:00:00 | 2.919 | 209.667 | 1.33 | 217.522 | 0.79 | 180 | 0.648 | 72 | -11.528 | 889.617 | 88.064 | 0.27854
2020-01-16 02:15:00 | 2.934 | 200.6 | 1.197 | 205.88 | 0.756 | 180 | 0.591 | 72.033 | -11.545 | 890.1 | 87.872 | 0.27996
2020-01-16 02:30:00 | 3.166 | 211.533 | 1.979 | 200.932 | 1.173 | 179.6 | 1.034 | 72 | -12.728 | 889.762 | 86.315 | 0.27996
2020-01-16 02:45:00 | 1.862 | 212.293 | 1.185 | 197.41 | 0.907 | 190 | 0.504 | 159 | -10.853 | 890.079 | 88.832 | 0.27428
2020-01-16 03:00:00 | 2.917 | 214.213 | 0 | 197.508 | 0 | 190.067 | 0 | 159 | -11.561 | 889.821 | 87.424 | 0.25722
2020-01-16 03:15:00 | 1.424 | 219.06 | 0 | 197.499 | 0 | 190 | 0 | 159.067 | -11.257 | 889.829 | 87.851 | 0.25865
2020-01-16 03:30:00 | 1.972 | 212.487 | 0 | 197.528 | 0 | 190 | 0 | 158.967 | -11.253 | 889.783 | 87.872 | 0.25865
2020-01-16 03:45:00 | 0.887 | 206.16 | 0 | 197.502 | 0 | 190.1 | 0 | 159 | -10.666 | 890.279 | 88.363 | 0.25865
2020-01-16 04:00:00 | 0.156 | 212.3 | 0 | 197.517 | 0 | 190.067 | 0 | 158.933 | -10.466 | 889.75 | 88.32 | 0.25722
2020-01-16 04:15:00 | 0 | 214.12 | 0 | 197.46 | 0 | 190.1 | 0 | 158.967 | -10.595 | 890.175 | 87.979 | 0.25865
2020-01-16 04:30:00 | 0 | 214.02 | 0 | 197.439 | 0 | 190 | 0 | 159 | -10.535 | 890.233 | 88.085 | 0.2558
2020-01-16 04:45:00 | 1.184 | 237.6 | 0 | 197.545 | 0 | 189.967 | 0 | 159.067 | -10.653 | 890.412 | 88.235 | 0.25438
2020-01-16 05:00:00 | 1.449 | 259.947 | 1.005 | 246.66 | 0.317 | 209.983 | 0.346 | 182.933 | -10.853 | 890.075 | 87.68 | 0.2558
2020-01-16 05:15:00 | 2.133 | 241.407 | 1.563 | 262.326 | 1.633 | 284.267 | 2.139 | 281.6 | -12.307 | 889.704 | 86.613 | 0.25438
2020-01-16 05:30:00 | 1.992 | 235.853 | 1.456 | 265.138 | 1.661 | 274.667 | 1.953 | 279.533 | -12.016 | 890.046 | 86.933 | 0.25438
2020-01-16 05:45:00 | 1.783 | 217.6 | 0 | 238.439 | 0 | 274 | 0.746 | 281.467 | -12.67 | 890.012 | 85.632 | 0.25012
2020-01-16 06:00:00 | 1.524 | 222.033 | 0.077 | 217.514 | 0 | 274.067 | 0 | 274.967 | -11.361 | 889.762 | 87.957 | 0.2487
2020-01-16 06:15:00 | 2.37 | 224.167 | 0.063 | 217.502 | 0.88 | 262.667 | 2.003 | 251.15 | -11.295 | 889.954 | 86.165 | 0.26007
2020-01-16 06:30:00 | 2.978 | 216.153 | 0.927 | 223.1 | 2.005 | 239.233 | 2.615 | 237.4 | -11.911 | 889.829 | 86.464 | 0.25296
2020-01-16 06:45:00 | 2.873 | 212.847 | 1.659 | 221.427 | 2.402 | 232.033 | 2.913 | 232 | -12.078 | 890.192 | 86.037 | 0.27002
2020-01-16 07:00:00 | 2.703 | 218.18 | 1.316 | 219.599 | 1.99 | 236.533 | 2.506 | 239.8 | -11.276 | 889.942 | 88.192 | 0.27854
2020-01-16 07:15:00 | 2.969 | 217.7 | 2.052 | 212.555 | 2.377 | 239.633 | 2.79 | 239.833 | -10.703 | 890.417 | 88.597 | 0.27712
2020-01-16 07:30:00 | 3.216 | 231.1 | 2.121 | 214.706 | 2.209 | 239.6 | 2.845 | 243.2 | -11.411 | 889.558 | 87.061 | 0.30839
2020-01-16 07:45:00 | 3.367 | 214.973 | 2.418 | 212.676 | 3.041 | 226.533 | 2.882 | 234.267 | -11.274 | 889.688 | 86.933 | 0.29346
2020-01-16 08:00:00 | 2.834 | 217.207 | 3.123 | 222.408 | 3.324 | 236 | 3.046 | 234 | -10.02 | 889.829 | 88.917 | 0.24728
2020-01-16 08:15:00 | 3.685 | 221.293 | 3.6 | 249.027 | 2.97 | 255 | 2.431 | 249.867 | -11.174 | 889.738 | 83.627 | 0.27428
2020-01-16 08:30:00 | 3.372 | 224.6 | 2.934 | 257.18 | 2.724 | 267.333 | 2.467 | 255.5 | -12.536 | 889.788 | 82.107 | 0.27499
2020-01-16 08:45:00 | 3.538 | 246.333 | 3.643 | 261.444 | 3.281 | 271.867 | 3.081 | 264.467 | -12.386 | 889.725 | 83.712 | 0.24088
2020-01-16 09:00:00 | 3.175 | 236.853 | 2.958 | 255.532 | 2.692 | 267.8 | 2.525 | 264.9 | -11.774 | 889.767 | 84.928 | 0.28849
2020-01-16 09:15:00 | 3.242 | 234.727 | 2.608 | 255.372 | 2.533 | 257.9 | 2.391 | 254.933 | -11.29 | 890.212 | 85.376 | 0.27428
2020-01-16 09:30:00 | 3.458 | 234.413 | 2.219 | 264.891 | 2.329 | 275.867 | 2.471 | 264.2 | -10.591 | 890.142 | 85.995 | 0.26646
2020-01-16 09:45:00 | 4.192 | 237.04 | 2.901 | 268.474 | 2.779 | 277.667 | 2.78 | 265.867 | -11.022 | 889.933 | 82.752 | 0.27783
2020-01-16 10:00:00 | 4.154 | 224.133 | 2.572 | 251.357 | 2.1 | 266 | 2.195 | 266 | -11.461 | 889.7 | 78.907 | 0.28849
2020-01-16 10:15:00 | 3.792 | 220.887 | 1.952 | 247.92 | 1.774 | 257.8 | 1.602 | 264.133 | -9.378 | 889.792 | 80.416 | 0.24444
2020-01-16 10:30:00 | 3.524 | 223.12 | 2.265 | 234.473 | 1.941 | 251.633 | 1.791 | 264 | -9.62 | 889.842 | 77.568 | 0.25154
2020-01-16 10:45:00 | 3.206 | 222.5 | 1.267 | 243.354 | 1.427 | 260 | 1.589 | 262.933 | -8.791 | 889.717 | 75.627 | 0.26149
2020-01-16 11:00:00 | 2.971 | 232.607 | 1.912 | 252.528 | 2.094 | 273.8 | 2.207 | 265 | -6.166 | 889.858 | 71.904 | 0.26433
2020-01-16 11:15:00 | 4.445 | 236.433 | 3.34 | 241.655 | 2.571 | 255.867 | 2.559 | 271.333 | -6.296 | 890.142 | 61.259 | 0.28138
2020-01-16 11:30:00 | 3.911 | 233.833 | 3.922 | 250.399 | 2.849 | 273 | 2.743 | 288.133 | -5.469 | 889.367 | 59.659 | 0.25083
2020-01-16 11:45:00 | 4.147 | 229.64 | 2.985 | 260.938 | 2.376 | 292.267 | 2.504 | 301.2 | -5.405 | 889.942 | 55.392 | 0.26717
2020-01-16 12:00:00 | 3.863 | 234.753 | 2.732 | 265.872 | 2.37 | 277.933 | 2.452 | 287.567 | -6.952 | 889.775 | 57.184 | 0.23804
2020-01-16 12:15:00 | 3.534 | 241.18 | 2.687 | 267.505 | 2.468 | 290.133 | 2.474 | 290 | -5.656 | 890.333 | 56.992 | 0.22028
2020-01-16 12:30:00 | 2.844 | 258.233 | 3.353 | 280.961 | 3.384 | 298.067 | 3.43 | 302.3 | -3.554 | 889.817 | 49.573 | 1.2783
2020-01-16 12:45:00 | 3.015 | 264.48 | 3.19 | 289.626 | 3.136 | 302.8 | 3.254 | 307.3 | -5.199 | 890.008 | 55.387 | 0.65301
2020-01-16 13:00:00 | 3.282 | 278.14 | 3.897 | 296.654 | 3.754 | 309.4 | 3.697 | 309.8 | -7.331 | 889.825 | 58.848 | 0.74538
2020-01-16 13:15:00 | 2.779 | 258.42 | 2.697 | 280.631 | 2.476 | 294.433 | 2.595 | 303.767 | -4.65 | 889.967 | 60.416 | 0.18333
2020-01-16 13:30:00 | 2.883 | 239.14 | 2.868 | 258.514 | 2.562 | 272.933 | 2.733 | 277.533 | -4.142 | 889.725 | 54.683 | 0.099479
2020-01-16 13:45:00 | 2.358 | 247.387 | 2.585 | 268.681 | 2.618 | 279.933 | 2.712 | 284.3 | -3.568 | 889.758 | 51.227 | 0.19683
2020-01-16 14:00:00 | 2.978 | 246.433 | 3.247 | 260.263 | 3.152 | 269.133 | 3.009 | 269.333 | -3.404 | 889.908 | 50.501 | 0.14282
2020-01-16 14:15:00 | 2.606 | 243.44 | 2.836 | 249.192 | 2.902 | 260 | 2.776 | 263.1 | -2.362 | 889.692 | 48.576 | 0.13359
2020-01-16 14:30:00 | 1.934 | 243.553 | 2.08 | 254.006 | 2.202 | 267.067 | 2.401 | 267.567 | -2.214 | 890.025 | 48.992 | 0.21175
2020-01-16 14:45:00 | 2.195 | 254.853 | 2.623 | 262.574 | 2.632 | 271.4 | 2.699 | 269.1 | -2.733 | 889.85 | 49.147 | 0.19114
2020-01-16 15:00:00 | 1.822 | 244.367 | 2.15 | 250.528 | 2.179 | 255 | 2.157 | 255 | -3.404 | 889.892 | 48.917 | 0.30625
2020-01-16 15:15:00 | 2.034 | 272.627 | 2.307 | 274.626 | 2.603 | 282.333 | 2.845 | 279.467 | -5.971 | 889.808 | 51.813 | 0.2558
2020-01-16 15:30:00 | 1.31 | 252.12 | 1.787 | 251.906 | 2.205 | 253.483 | 2.391 | 246.5 | -3.998 | 889.95 | 52.272 | 0.25722
2020-01-16 15:45:00 | 0.664 | 255.48 | 1.127 | 251.61 | 1.431 | 247.917 | 1.686 | 237.967 | -5.779 | 890.1 | 47.92 | 0.2217
2020-01-16 16:00:00 | 2.058 | 325.2 | 1.997 | 311.456 | 2.201 | 302.233 | 2.267 | 288.033 | -7.656 | 889.708 | 61.184 | 0.22596
2020-01-16 16:15:00 | 2.116 | 325.813 | 2.226 | 307.036 | 2.523 | 302.667 | 2.714 | 300.067 | -7.719 | 889.483 | 62.944 | 0.26859
2020-01-16 16:30:00 | 3.116 | 322.093 | 4.153 | 323.637 | 4.024 | 321.133 | 3.947 | 310.2 | -8.25 | 889.783 | 66.848 | 1.7778
2020-01-16 16:45:00 | 0.257 | 314.067 | 2.835 | 303.11 | 3.252 | 301.533 | 4.027 | 296.633 | -9.108 | 889.708 | 67.936 | 0.21957
2020-01-16 17:00:00 | 1.337 | 289.867 | 2.445 | 302.599 | 2.698 | 302.5 | 3.399 | 296.967 | -8.474 | 889.858 | 64.352 | 0.54216
2020-01-16 17:15:00 | 3.029 | 272.173 | 3.152 | 288.452 | 3.364 | 283.4 | 3.931 | 280.767 | -9.983 | 889.758 | 72.896 | 0.29133
2020-01-16 17:30:00 | 2.226 | 249.773 | 2.555 | 280.62 | 2.816 | 284.8 | 2.998 | 277.267 | -9.174 | 890.042 | 72.464 | 0.18972
2020-01-16 17:45:00 | 2.905 | 252.74 | 2.618 | 273.789 | 2.85 | 287.267 | 2.85 | 284.7 | -9.341 | 889.883 | 72.725 | 0.17196
2020-01-16 18:00:00 | 3.034 | 245.64 | 2.518 | 265.692 | 2.751 | 275.333 | 3.03 | 282.333 | -9.487 | 889.583 | 72.272 | 0.21104
2020-01-16 18:15:00 | 3.396 | 259.313 | 2.913 | 278.969 | 3.306 | 292.633 | 3.067 | 287 | -9.891 | 889.575 | 77.904 | 0.24728
2020-01-16 18:30:00 | 3.27 | 242 | 2.838 | 277.046 | 2.882 | 290.067 | 2.913 | 286.033 | -9.808 | 890.033 | 78.773 | 0.26362
2020-01-16 18:45:00 | 3.854 | 239.033 | 3.058 | 268.253 | 3.202 | 278 | 3.543 | 279.733 | -10.46 | 889.638 | 80.725 | 0.91166
2020-01-16 19:00:00 | 4.656 | 229.1 | 3.192 | 263.986 | 3.373 | 277.867 | 3.733 | 277.533 | -11.034 | 890.075 | 80.176 | 1.3671
2020-01-16 19:15:00 | 4.591 | 235.633 | 3.851 | 259.514 | 3.663 | 273.2 | 3.728 | 274.5 | -10.476 | 889.762 | 83.381 | 2.0933
2020-01-16 19:30:00 | 3.875 | 236.687 | 3.633 | 252.841 | 3.269 | 260.6 | 3.081 | 265.8 | -11.003 | 890.171 | 81.877 | 1.8816
2020-01-16 19:45:00 | 4.877 | 230.913 | 4.138 | 252.373 | 3.876 | 259.5 | 3.494 | 263.6 | -11.397 | 889.779 | 80.411 | 3.0256
2020-01-16 20:00:00 | 4.915 | 234.653 | 4.022 | 246.507 | 3.926 | 254 | 3.655 | 255 | -11.003 | 889.967 | 82.539 | 2.902
2020-01-16 20:15:00 | 5.654 | 217.34 | 3.9 | 245.754 | 3.709 | 252.233 | 3.495 | 248.2 | -12.438 | 890.075 | 74.197 | 1.6926
2020-01-16 20:30:00 | 4.926 | 227.6 | 3.495 | 260.574 | 3.533 | 268.6 | 3.339 | 266.417 | -13.484 | 889.492 | 76.571 | 1.0715
2020-01-16 20:45:00 | 5.522 | 220.507 | 4.261 | 250.722 | 3.877 | 261.333 | 3.592 | 264.533 | -13.572 | 889.525 | 77.088 | 0.9479
2020-01-16 21:00:00 | 4.488 | 235.267 | 3.795 | 263.816 | 3.483 | 275 | 3.2 | 281.467 | -12.903 | 889.767 | 79.909 | 0.98413
2020-01-16 21:15:00 | 5.134 | 232.867 | 4.15 | 257.174 | 3.707 | 267.467 | 3.301 | 268.733 | -13.147 | 890.075 | 76.005 | 1.483
2020-01-16 21:30:00 | 5.535 | 229.42 | 3.739 | 256.698 | 3.407 | 268.4 | 2.994 | 264.733 | -13.222 | 889.717 | 77.451 | 0.8875
2020-01-16 21:45:00 | 5.282 | 230 | 3.71 | 244.832 | 3.452 | 251.2 | 2.841 | 248.2 | -12.803 | 889.908 | 77.024 | 0.39152
2020-01-16 22:00:00 | 5.23 | 230.353 | 3.716 | 246.859 | 3.542 | 253.967 | 2.785 | 250.083 | -13.138 | 889.783 | 76.021 | 0.74609
2020-01-16 22:15:00 | 5.091 | 229.56 | 3.935 | 230.884 | 3.534 | 233.233 | 2.789 | 226.567 | -11.109 | 889.583 | 79.339 | 1.1596
2020-01-16 22:30:00 | 5.44 | 223.787 | 4.03 | 233.609 | 3.939 | 238.133 | 3.431 | 233.467 | -12.12 | 889.667 | 75.083 | 1.7508
2020-01-16 22:45:00 | 6.105 | 219 | 4.068 | 238.802 | 3.607 | 244.067 | 3.133 | 238.533 | -13.933 | 889.692 | 72.448 | 3.0725
2020-01-16 23:00:00 | 6.066 | 217.933 | 4.122 | 234.593 | 3.726 | 245.367 | 3.192 | 242.867 | -14.066 | 889.983 | 75.904 | 3.1109
2020-01-16 23:15:00 | 5.551 | 221.227 | 3.561 | 240.166 | 3.36 | 248.033 | 2.819 | 243.6 | -13.635 | 889.858 | 78.176 | 3.5109
2020-01-16 23:30:00 | 6.491 | 219.06 | 5.056 | 238.189 | 4.98 | 243.667 | 4.467 | 238.367 | -13.259 | 889.733 | 76.587 | 10.036
2020-01-16 23:45:00 | 5.354 | 219.2 | 5.893 | 240.282 | 5.555 | 246.8 | 4.952 | 243.9 | -12.786 | 889.858 | 78.699 | 8.5232