## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-17 00:00:00 | 4.224 | 236.353 | 4.756 | 247.569 | 4.163 | 255 | 3.653 | 256.867 | -10.722 | 889.633 | 80.491 | 5.2113
2020-01-17 00:15:00 | 3.87 | 239 | 3.289 | 250.738 | 2.86 | 264.067 | 2.952 | 274.533 | -9.391 | 889.758 | 79.264 | 2.1431
2020-01-17 00:30:00 | 4.063 | 234.067 | 3.422 | 236.458 | 3.176 | 247.833 | 3.133 | 248 | -8.624 | 890.217 | 77.301 | 4.2222
2020-01-17 00:45:00 | 4.825 | 227.093 | 4.24 | 230.305 | 4.223 | 240.133 | 4.196 | 241.167 | -7.993 | 889.867 | 75.755 | 7.4858
2020-01-17 01:00:00 | 5.315 | 230.327 | 5.085 | 243.711 | 5.306 | 250.6 | 5.305 | 247.667 | -9.254 | 889.783 | 74.912 | 8.4145
2020-01-17 01:15:00 | 4.218 | 236.733 | 3.994 | 245.5 | 4.191 | 250.2 | 4.076 | 247.433 | -9.108 | 889.658 | 81.76 | 5.249
2020-01-17 01:30:00 | 4.056 | 236.947 | 4.329 | 253.303 | 3.718 | 261.467 | 3.454 | 263.967 | -10.178 | 890.208 | 78.891 | 4.5974
2020-01-17 01:45:00 | 3.845 | 233.86 | 4.218 | 251.274 | 4.044 | 258.533 | 3.592 | 260.733 | -9.974 | 890.025 | 79.819 | 5.7421
2020-01-17 02:00:00 | 3.72 | 240.353 | 3.823 | 253.808 | 3.471 | 268.8 | 3.482 | 278.733 | -9.933 | 889.558 | 78.571 | 3.0903
2020-01-17 02:15:00 | 3.154 | 238.307 | 3.774 | 264.23 | 3.57 | 282.4 | 3.741 | 290.033 | -9.641 | 889.858 | 77.019 | 4.0346
2020-01-17 02:30:00 | 3.038 | 248.393 | 3.653 | 272.683 | 4.239 | 288.633 | 5.103 | 295.033 | -9.224 | 890.125 | 78.027 | 1.8894
2020-01-17 02:45:00 | 2.634 | 226.767 | 3.452 | 265.581 | 3.769 | 275.067 | 4.066 | 275.933 | -8.791 | 889.967 | 77.595 | 1.8247
2020-01-17 03:00:00 | 4.296 | 234.6 | 4.009 | 245.599 | 4.042 | 255.867 | 4.154 | 253.417 | -9.141 | 889.783 | 79.275 | 5.2696
2020-01-17 03:15:00 | 5.031 | 237.967 | 4.99 | 254.882 | 4.985 | 263.467 | 5.115 | 262.467 | -8.724 | 889.683 | 80.112 | 9.4619
2020-01-17 03:30:00 | 4.492 | 234.713 | 4.219 | 245.477 | 4.501 | 251.3 | 4.832 | 245.833 | -8.434 | 889.546 | 80.715 | 12.1599
2020-01-17 03:45:00 | 5.263 | 222.48 | 5.06 | 235.505 | 4.997 | 241.233 | 4.884 | 236.333 | -10.024 | 890.017 | 78.283 | 11.0756
2020-01-17 04:00:00 | 5.304 | 215.867 | 4.978 | 228.57 | 5.126 | 234.133 | 5.097 | 229.033 | -10.316 | 889.55 | 79.029 | 11.0323
2020-01-17 04:15:00 | 5.876 | 214.593 | 5.304 | 229.601 | 5.567 | 234.6 | 5.595 | 229 | -9.904 | 889.958 | 79.136 | 14.119
2020-01-17 04:30:00 | 5.757 | 219.253 | 5.539 | 227.37 | 5.648 | 235 | 5.486 | 230.833 | -9.516 | 890.242 | 75.616 | 14.7229
2020-01-17 04:45:00 | 5.47 | 228.733 | 5.807 | 234.951 | 5.923 | 241.033 | 5.704 | 238.067 | -9.174 | 889.85 | 75.957 | 16.1213
2020-01-17 05:00:00 | 6.022 | 237.933 | 5.973 | 240.161 | 5.939 | 246.533 | 5.308 | 249.2 | -8.524 | 889.633 | 76.597 | 18.8933
2020-01-17 05:15:00 | 5.219 | 229.613 | 5.561 | 236.698 | 5.29 | 245.733 | 4.709 | 248.167 | -8.584 | 889.333 | 72.555 | 19.3104
2020-01-17 05:30:00 | 5.249 | 227.967 | 5.597 | 235.597 | 5.505 | 249.367 | 5.329 | 255.133 | -9.008 | 890.15 | 73.024 | 21.0733
2020-01-17 05:45:00 | 5.745 | 219.767 | 5.845 | 234.769 | 5.809 | 251.667 | 5.995 | 255.383 | -9.158 | 890.292 | 73.973 | 21.9068
2020-01-17 06:00:00 | 4.738 | 222.6 | 5.257 | 241.227 | 5.976 | 258.967 | 6.519 | 259.6 | -8.758 | 889.775 | 74.496 | 19.9762
2020-01-17 06:15:00 | 3.7 | 221.1 | 5.719 | 250.214 | 6.513 | 260.467 | 6.812 | 258.933 | -8.891 | 889.908 | 75.003 | 24.5046
2020-01-17 06:30:00 | 4.755 | 235.2 | 6.247 | 250.164 | 6.492 | 257.033 | 6.564 | 254.3 | -9.358 | 889.85 | 76.997 | 27.7689
2020-01-17 06:45:00 | 5.414 | 233.767 | 6.714 | 250.534 | 7.205 | 257.7 | 7.419 | 254.717 | -8.541 | 889.55 | 77.248 | 33.1955
2020-01-17 07:00:00 | 6.22 | 235.667 | 7.42 | 251.501 | 7.802 | 257.8 | 7.972 | 253.45 | -7.456 | 889.75 | 76.453 | 41.9781
2020-01-17 07:15:00 | 5.541 | 250.047 | 6.542 | 252.8 | 6.994 | 257.833 | 6.983 | 253.583 | -6.843 | 889.883 | 73.669 | 38.4203
2020-01-17 07:30:00 | 4.93 | 249.22 | 5.936 | 251.508 | 6.187 | 256 | 6.135 | 253.45 | -7.536 | 890.067 | 72.608 | 31.8149
2020-01-17 07:45:00 | 4.162 | 249.72 | 5.074 | 252.583 | 5.238 | 258.567 | 5.289 | 254.967 | -7.606 | 889.942 | 72.715 | 27.5366
2020-01-17 08:00:00 | 4.126 | 241.533 | 5.043 | 248.796 | 5.172 | 254.9 | 5.156 | 250.5 | -7.839 | 889.783 | 73.312 | 24.4613
2020-01-17 08:15:00 | 4.099 | 246.233 | 4.742 | 249.773 | 4.865 | 256.067 | 4.902 | 252.667 | -8.591 | 890.083 | 73.952 | 23.0813
2020-01-17 08:30:00 | 5.031 | 259.313 | 5.616 | 261.154 | 5.825 | 267.333 | 5.969 | 261.967 | -8.608 | 889.933 | 73.579 | 22.5811
2020-01-17 08:45:00 | 5.7 | 249.38 | 5.919 | 255.593 | 6.116 | 261.9 | 6.352 | 257.267 | -8.641 | 890.05 | 72.816 | 25.8191
2020-01-17 09:00:00 | 5.006 | 238.6 | 5.7 | 251.467 | 6.002 | 256.9 | 6.063 | 253.233 | -9.174 | 889.792 | 72.821 | 22.7459
2020-01-17 09:15:00 | 4.282 | 236.98 | 5.836 | 253.059 | 6.043 | 259.667 | 6.016 | 257.25 | -9.445 | 889.592 | 73.077 | 22.5122
2020-01-17 09:30:00 | 5.43 | 229.967 | 6.396 | 249.604 | 6.676 | 260.567 | 6.906 | 258.017 | -9.008 | 890.4 | 73.275 | 28.3004
2020-01-17 09:45:00 | 6.379 | 232.2 | 6.604 | 248.762 | 6.937 | 257.6 | 7.053 | 257.283 | -9.291 | 890.117 | 71.936 | 31.4589
2020-01-17 10:00:00 | 6.618 | 224.767 | 6.928 | 241.131 | 7.294 | 251.6 | 7.484 | 251.1 | -9.058 | 889.85 | 69.36 | 38.2669
2020-01-17 10:15:00 | 7.256 | 227.033 | 8.069 | 243.319 | 8.441 | 253.2 | 8.59 | 250.95 | -8.874 | 889.592 | 68.619 | 49.0312
2020-01-17 10:30:00 | 6.974 | 231.24 | 8.265 | 247.572 | 8.772 | 254.333 | 8.753 | 252.233 | -7.819 | 889.825 | 65.568 | 57.531
2020-01-17 10:45:00 | 6.667 | 249.98 | 7.789 | 256.485 | 8.549 | 263.133 | 9.07 | 259.35 | -6.172 | 889.967 | 60.181 | 60.6547
2020-01-17 11:00:00 | 7.936 | 235.42 | 9.28 | 262.733 | 9.882 | 265.733 | 10.352 | 264.867 | -6.173 | 890.15 | 59.867 | 70.7
2020-01-17 11:15:00 | 8.484 | 234.7 | 9.87 | 258.225 | 10.747 | 264.1 | 11.452 | 262.05 | -5.385 | 889.975 | 58.448 | 79.3554
2020-01-17 11:30:00 | 9.598 | 226.993 | 11.22 | 263.093 | 11.968 | 267.667 | 12.355 | 264.8 | -6.076 | 889.85 | 58.245 | 78.6825
2020-01-17 11:45:00 | 9.161 | 227.553 | 10.374 | 264.065 | 11.145 | 269.233 | 11.501 | 265.433 | -6.372 | 889.908 | 60.363 | 79.2033
2020-01-17 12:00:00 | 8.862 | 232.847 | 10.213 | 263.16 | 11.031 | 266.2 | 11.679 | 263.15 | -6.239 | 890.233 | 59.557 | 79.7
2020-01-17 12:15:00 | 10.169 | 234.647 | 11.217 | 258.962 | 11.486 | 262.417 | 11.98 | 257.417 | -5.938 | 889.2 | 58.608 | 79.2346
2020-01-17 12:30:00 | 9.299 | 240.26 | 10.599 | 257.153 | 11.272 | 260.1 | 11.637 | 256.733 | -5.002 | 890.342 | 54.517 | 78.3457
2020-01-17 12:45:00 | 8.895 | 234.667 | 10.04 | 255.66 | 10.567 | 260.333 | 10.779 | 256.117 | -4.902 | 889.725 | 54.123 | 78.7606
2020-01-17 13:00:00 | 9.333 | 225.247 | 10.305 | 264.246 | 10.903 | 267.267 | 11.16 | 263.733 | -5.435 | 889.967 | 56.112 | 78.2639
2020-01-17 13:15:00 | 9.603 | 237.753 | 10.305 | 264.188 | 10.611 | 267.733 | 10.583 | 263.717 | -5.978 | 889.908 | 58.368 | 79.4143
2020-01-17 13:30:00 | 8.418 | 232.967 | 9.166 | 266.153 | 9.293 | 269.9 | 9.207 | 265.033 | -6.246 | 889.675 | 58.704 | 73.4968
2020-01-17 13:45:00 | 8.751 | 244.267 | 9.716 | 267.765 | 10.128 | 269.833 | 10.276 | 266.3 | -6.538 | 889.75 | 56.747 | 64.1869
2020-01-17 14:00:00 | 11.057 | 225.36 | 11.996 | 261.011 | 12.111 | 264.333 | 12.031 | 259.9 | -6.595 | 890.433 | 56.539 | 72.9397
2020-01-17 14:15:00 | 7.91 | 231.947 | 8.506 | 261.147 | 8.769 | 266.483 | 8.818 | 261.867 | -6.422 | 889.658 | 57.755 | 60.7762
2020-01-17 14:30:00 | 8.363 | 245.68 | 9.461 | 270.005 | 9.743 | 272.233 | 9.887 | 268.4 | -6.724 | 889.7 | 57.275 | 59.8695
2020-01-17 14:45:00 | 8.324 | 237.933 | 8.918 | 259.509 | 9.17 | 262.1 | 9.013 | 256.95 | -6.814 | 889.625 | 60.747 | 75.4295
2020-01-17 15:00:00 | 10.12 | 234.807 | 11.156 | 258.644 | 11.5 | 263.333 | 11.391 | 260.017 | -6.362 | 889.758 | 58.741 | 78.3648
2020-01-17 15:15:00 | 9.962 | 231.593 | 10.98 | 260.977 | 11.728 | 265 | 11.834 | 261.233 | -6.889 | 890.008 | 61.12 | 78.6853
2020-01-17 15:30:00 | 8.931 | 218.5 | 10.088 | 262.165 | 10.237 | 265.5 | 10.329 | 262.683 | -6.913 | 889.933 | 61.093 | 79.0896
2020-01-17 15:45:00 | 9.708 | 227.527 | 10.63 | 262.88 | 10.625 | 265.5 | 10.458 | 262.3 | -7.032 | 889.625 | 59.995 | 79.128
2020-01-17 16:00:00 | 8.678 | 227.793 | 9.346 | 253.986 | 9.713 | 258.683 | 9.896 | 254.6 | -7.15 | 889.708 | 61.291 | 78.9944
2020-01-17 16:15:00 | 9.696 | 225.42 | 11.067 | 254.792 | 11.978 | 258.267 | 12.346 | 254.6 | -7.098 | 889.617 | 60.757 | 79.0896
2020-01-17 16:30:00 | 9.99 | 224.167 | 11.42 | 256.91 | 12.154 | 259.65 | 12.483 | 255.7 | -7.706 | 889.692 | 61.472 | 79.6403
2020-01-17 16:45:00 | 9.367 | 224.24 | 10.395 | 260.356 | 11.134 | 260.883 | 11.553 | 258.967 | -7.776 | 889.775 | 60.869 | 78.2654
2020-01-17 17:00:00 | 10.921 | 229.873 | 11.386 | 254.293 | 11.461 | 259.1 | 11.199 | 255.833 | -7.706 | 889.642 | 60.112 | 79.5444
2020-01-17 17:15:00 | 7.457 | 220.973 | 8.509 | 256.424 | 9.103 | 260.167 | 9.272 | 254.9 | -7.522 | 890.225 | 59.84 | 79.2822
2020-01-17 17:30:00 | 8.226 | 223.52 | 9.324 | 240.87 | 9.988 | 244.833 | 10.174 | 240.2 | -7.896 | 889.692 | 59.904 | 78.3847
2020-01-17 17:45:00 | 8.239 | 212.38 | 9.013 | 244.119 | 9.416 | 248.933 | 9.464 | 243.367 | -7.966 | 889.958 | 61.035 | 75.0053
2020-01-17 18:00:00 | 9.675 | 211.733 | 10.913 | 241.04 | 11.89 | 245.1 | 11.939 | 240.383 | -8.391 | 890.133 | 62.496 | 79.1344
2020-01-17 18:15:00 | 9.347 | 201.78 | 10.692 | 241.783 | 11.412 | 248.133 | 11.51 | 244.1 | -8.401 | 890.108 | 63.221 | 79.2353
2020-01-17 18:30:00 | 8.778 | 215.3 | 10.202 | 248.637 | 10.869 | 252.4 | 11.207 | 248.117 | -8.691 | 890.167 | 64.277 | 79.2353
2020-01-17 18:45:00 | 9.854 | 201.433 | 11.528 | 242.323 | 12.312 | 247.333 | 12.903 | 242.2 | -9.141 | 889.842 | 65.707 | 79.4868
2020-01-17 19:00:00 | 10.077 | 215.667 | 12.117 | 244.152 | 13.278 | 249.033 | 13.513 | 244.8 | -9.308 | 889.992 | 65.067 | 79.5337
2020-01-17 19:15:00 | 8.719 | 215.507 | 10.141 | 248.613 | 10.771 | 254 | 10.894 | 249.883 | -9.624 | 889.85 | 64.821 | 75.1779
2020-01-17 19:30:00 | 6.53 | 233.433 | 8.164 | 253.221 | 8.782 | 256.35 | 8.845 | 250.033 | -10.116 | 889.908 | 64.789 | 59.6244
2020-01-17 19:45:00 | 6.574 | 222.567 | 7.821 | 248.307 | 8.108 | 253.367 | 8.297 | 251.567 | -10.333 | 889.658 | 65.845 | 49.039
2020-01-17 20:00:00 | 5.897 | 228.607 | 6.528 | 244.118 | 6.967 | 252.267 | 7.26 | 249.133 | -10.614 | 889.958 | 65.995 | 42.04
2020-01-17 20:15:00 | 6.735 | 225.633 | 7.293 | 236.121 | 7.475 | 244.133 | 7.548 | 242.533 | -10.703 | 890.225 | 67.339 | 54.0571
2020-01-17 20:30:00 | 5.782 | 225.147 | 7.125 | 237.349 | 7.91 | 242.267 | 7.872 | 238.533 | -10.685 | 890.017 | 66.475 | 67.5735
2020-01-17 20:45:00 | 7.338 | 213.553 | 8.794 | 238.771 | 9.435 | 245.167 | 9.361 | 241.6 | -11.003 | 889.842 | 68.213 | 78.9767
2020-01-17 21:00:00 | 7.727 | 218.073 | 8.825 | 241.338 | 9.355 | 249.233 | 9.361 | 246.933 | -10.834 | 890.008 | 68.235 | 73.2942
2020-01-17 21:15:00 | 6.379 | 223.473 | 7.758 | 249.722 | 8.664 | 255.9 | 9.074 | 252.067 | -11.238 | 889.292 | 69.013 | 70.0107
2020-01-17 21:30:00 | 6.522 | 236.273 | 8.252 | 258.139 | 8.972 | 262.633 | 9.295 | 259.35 | -11.04 | 889.825 | 69.136 | 63.7336
2020-01-17 21:45:00 | 6.504 | 217.527 | 7.992 | 250.943 | 8.867 | 255.7 | 9.323 | 251.917 | -10.87 | 890.042 | 68.581 | 48.2517
2020-01-17 22:00:00 | 5.754 | 226.667 | 7.196 | 247.417 | 7.82 | 252.367 | 7.828 | 247.55 | -11.161 | 889.775 | 67.925 | 57.1502
2020-01-17 22:15:00 | 6.462 | 215.333 | 8.097 | 233.095 | 9.237 | 242.367 | 9.471 | 240.567 | -12.636 | 889.6 | 65.643 | 78.3556
2020-01-17 22:30:00 | 7.49 | 211.693 | 9.541 | 237.764 | 10.481 | 245.3 | 10.67 | 242.6 | -12.161 | 889.483 | 67.573 | 79.7469
2020-01-17 22:45:00 | 7.963 | 210.553 | 9.512 | 237.562 | 10.592 | 247.667 | 10.864 | 245.933 | -12.303 | 890.008 | 64.544 | 79.7469
2020-01-17 23:00:00 | 7.91 | 207.397 | 9.554 | 234.586 | 10.098 | 242.267 | 10.058 | 239.9 | -12.453 | 890 | 62.944 | 79.7469
2020-01-17 23:15:00 | 7.333 | 215.967 | 8.797 | 232.096 | 9.646 | 241.833 | 9.854 | 241 | -12.099 | 890.033 | 59.157 | 79.4698
2020-01-17 23:30:00 | 7.656 | 204.56 | 9.154 | 230.565 | 9.707 | 242.833 | 10.148 | 242.7 | -12.261 | 889.967 | 58.667 | 75.5808
2020-01-17 23:45:00 | 7.12 | 213.633 | 8.9 | 231.235 | 9.351 | 242.733 | 9.336 | 239.967 | -12.52 | 889.675 | 57.429 | 54.6923