## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-18 00:00:00 | 5.797 | 217.633 | 7.439 | 233.096 | 7.519 | 242.133 | 7.307 | 241.333 | -12.653 | 889.708 | 57.547 | 41.4296
2020-01-18 00:15:00 | 7.101 | 211.84 | 7.485 | 219.975 | 7.19 | 228.133 | 6.953 | 228.467 | -13.632 | 890.25 | 60.32 | 36.5999
2020-01-18 00:30:00 | 6.925 | 212.72 | 7.018 | 226.51 | 6.985 | 236 | 6.843 | 234.8 | -13.874 | 889.967 | 61.355 | 37.547
2020-01-18 00:45:00 | 6.646 | 221 | 7.34 | 236.596 | 7.393 | 244.333 | 7.351 | 240.7 | -14.183 | 889.825 | 60.299 | 36.8969
2020-01-18 01:00:00 | 5.913 | 224.667 | 7.025 | 241.221 | 7.37 | 246.867 | 7.296 | 242.333 | -14.083 | 889.817 | 58.784 | 34.8064
2020-01-18 01:15:00 | 4.616 | 225.6 | 6.968 | 239.099 | 7.727 | 247.4 | 7.825 | 244.4 | -14.683 | 889.875 | 60.395 | 45.8884
2020-01-18 01:30:00 | 6.734 | 212.113 | 8.608 | 245.637 | 8.975 | 251.467 | 9.052 | 248.117 | -13.261 | 890.133 | 56.875 | 57.8295
2020-01-18 01:45:00 | 7.259 | 225.533 | 8.706 | 247.215 | 8.986 | 253.767 | 9.04 | 252.083 | -13.07 | 889.833 | 54.027 | 68.9989
2020-01-18 02:00:00 | 7.076 | 213.6 | 8.966 | 240.333 | 9.48 | 247.767 | 9.214 | 245.633 | -12.486 | 889.492 | 51.819 | 70.1763
2020-01-18 02:15:00 | 6.32 | 213.833 | 8.467 | 241.663 | 8.836 | 248.767 | 8.606 | 245.133 | -12.953 | 889.208 | 51.435 | 55.2657
2020-01-18 02:30:00 | 7.275 | 218.8 | 8.257 | 245.052 | 8.473 | 251.7 | 8.51 | 247.783 | -13.136 | 889.633 | 50.987 | 41.4665
2020-01-18 02:45:00 | 5.723 | 217.393 | 7.147 | 242.62 | 7.343 | 252.467 | 6.971 | 250.3 | -14.47 | 889.483 | 53.952 | 32.0508
2020-01-18 03:00:00 | 6.039 | 218.867 | 6.835 | 242.641 | 6.966 | 253.667 | 7.04 | 253.333 | -14.974 | 889.4 | 57.035 | 21.7369
2020-01-18 03:15:00 | 5.466 | 231.233 | 5.871 | 254.203 | 6.282 | 264.467 | 6.642 | 262.767 | -14.049 | 889.217 | 54.544 | 14.1701
2020-01-18 03:30:00 | 4.98 | 223.88 | 4.563 | 246.058 | 4.601 | 263.067 | 4.886 | 260.8 | -13.897 | 889.908 | 53.451 | 13.8177
2020-01-18 03:45:00 | 6.123 | 220.6 | 5.018 | 239.846 | 4.672 | 250.8 | 4.812 | 249.4 | -13.595 | 889.583 | 51.84 | 14.2966
2020-01-18 04:00:00 | 6.353 | 225.967 | 5.927 | 227.984 | 5.645 | 234.533 | 5.052 | 232.4 | -12.736 | 889.842 | 51.061 | 21.6069
2020-01-18 04:15:00 | 6.719 | 219.833 | 6.304 | 227.123 | 5.99 | 230.733 | 5.41 | 226.733 | -12.903 | 890.042 | 50.827 | 25.353
2020-01-18 04:30:00 | 6.675 | 226 | 6.378 | 232.066 | 6.367 | 239.567 | 5.951 | 233.567 | -12.92 | 889.767 | 50.891 | 23.5304
2020-01-18 04:45:00 | 5.348 | 229.3 | 5.616 | 228.932 | 5.882 | 236.9 | 5.897 | 235.033 | -12.886 | 889.992 | 53.152 | 28.6536
2020-01-18 05:00:00 | 5.926 | 232.3 | 6.112 | 231.229 | 6.652 | 237.367 | 6.69 | 233.9 | -13.203 | 889.683 | 55.765 | 38.7948
2020-01-18 05:15:00 | 6.367 | 220.8 | 7.19 | 224.29 | 7.548 | 230.867 | 7.285 | 230.167 | -14.049 | 889.742 | 57.216 | 40.2174
2020-01-18 05:30:00 | 7.106 | 220.613 | 7.878 | 233.387 | 7.397 | 240.3 | 7.214 | 237.3 | -13.56 | 889.908 | 56.373 | 42.386
2020-01-18 05:45:00 | 7.393 | 220.567 | 7.837 | 233.13 | 7.762 | 238.833 | 7.202 | 234.867 | -12.586 | 889.717 | 53.685 | 51.2518
2020-01-18 06:00:00 | 7.01 | 219.567 | 7.752 | 241.621 | 7.583 | 247.833 | 7.234 | 243.517 | -12.536 | 890.283 | 51.68 | 47.6591
2020-01-18 06:15:00 | 5.083 | 226.533 | 7.204 | 236.592 | 7.515 | 241.9 | 7.235 | 237.133 | -12.453 | 889.333 | 51.808 | 54.1224
2020-01-18 06:30:00 | 6.962 | 210.833 | 8.172 | 230.289 | 8.47 | 234.067 | 8.505 | 228.667 | -12.453 | 890.042 | 50.688 | 56.0012
2020-01-18 06:45:00 | 7.372 | 219 | 8.304 | 224.066 | 8.743 | 227.233 | 8.787 | 222.033 | -11.995 | 889.917 | 48.075 | 56.0317
2020-01-18 07:00:00 | 7.199 | 211.807 | 9.08 | 223.796 | 9.918 | 225.9 | 10.119 | 220.367 | -12.174 | 890.142 | 48.555 | 64.3994
2020-01-18 07:15:00 | 7.795 | 213.433 | 9.894 | 223.962 | 10.142 | 228.167 | 9.399 | 223.767 | -11.995 | 890.1 | 48.576 | 52.8726
2020-01-18 07:30:00 | 7.415 | 218.513 | 8.933 | 225.292 | 8.918 | 228.767 | 8.403 | 224.967 | -12.232 | 889.85 | 48.704 | 39.6446
2020-01-18 07:45:00 | 6.412 | 214.1 | 7.86 | 221.131 | 7.821 | 225.1 | 7.632 | 220.933 | -12.37 | 889.792 | 49.899 | 43.9301
2020-01-18 08:00:00 | 5.954 | 212.333 | 7.693 | 220.877 | 7.329 | 224.633 | 6.937 | 221.367 | -12.953 | 889.4 | 51.925 | 41.5227
2020-01-18 08:15:00 | 6.398 | 212.467 | 7.629 | 217.92 | 7.112 | 223.9 | 6.813 | 221.633 | -12.62 | 890.117 | 52.768 | 40.5535
2020-01-18 08:30:00 | 5.288 | 211.833 | 7.534 | 219.677 | 6.771 | 228.167 | 6.34 | 226.467 | -12.336 | 889.875 | 52.427 | 38.4431
2020-01-18 08:45:00 | 5.071 | 216.9 | 5.986 | 224.76 | 5.921 | 233.867 | 5.642 | 232.767 | -12.57 | 889.708 | 53.077 | 33.6851
2020-01-18 09:00:00 | 4.964 | 213.933 | 5.985 | 224.892 | 6.466 | 235.633 | 6.416 | 233.567 | -11.578 | 889.458 | 50.219 | 32.4246
2020-01-18 09:15:00 | 5.258 | 219.633 | 6.684 | 236.031 | 7.78 | 243 | 8.203 | 238.967 | -10.857 | 889.733 | 46.944 | 37.5755
2020-01-18 09:30:00 | 5.367 | 227.267 | 6.575 | 236.295 | 7.562 | 241.8 | 8.183 | 236.433 | -10.416 | 889.742 | 45.067 | 54.1551
2020-01-18 09:45:00 | 5.903 | 221.413 | 6.717 | 236.32 | 7.863 | 242.333 | 8.694 | 239.667 | -10.228 | 889.625 | 45.931 | 67.4392
2020-01-18 10:00:00 | 4.797 | 220.893 | 6.12 | 232.991 | 8.314 | 234.233 | 9.969 | 229.833 | -9.662 | 890.158 | 46.229 | 75.3492
2020-01-18 10:15:00 | 4.69 | 222.833 | 7.501 | 230.147 | 9.185 | 234.9 | 9.553 | 233.167 | -9.808 | 889.617 | 49.035 | 79.5124
2020-01-18 10:30:00 | 5.88 | 217.713 | 8.776 | 231.45 | 10.398 | 240.183 | 10.529 | 240.6 | -8.808 | 889.525 | 49.728 | 78.2455
2020-01-18 10:45:00 | 6.698 | 208.327 | 8.778 | 227.46 | 9.046 | 236.033 | 8.938 | 233.533 | -7.742 | 889.867 | 45.813 | 63.7073
2020-01-18 11:00:00 | 5.025 | 218.493 | 6.738 | 221.403 | 7.812 | 230.3 | 7.915 | 229.267 | -6.724 | 889.575 | 46.027 | 58.9976
2020-01-18 11:15:00 | 5.323 | 215.067 | 7.036 | 219.974 | 8.214 | 224.8 | 7.689 | 222.067 | -5.997 | 889.75 | 45.035 | 49.2067
2020-01-18 11:30:00 | 6.043 | 213.833 | 7.48 | 217.859 | 7.897 | 222.3 | 7.694 | 218.933 | -5.552 | 889.783 | 43.563 | 40.6586
2020-01-18 11:45:00 | 4.953 | 212.333 | 6.013 | 221.515 | 6.43 | 228.767 | 6.852 | 226.467 | -4.885 | 889.758 | 43.595 | 32.8118
2020-01-18 12:00:00 | 5.083 | 214.033 | 5.888 | 221.417 | 6.578 | 224.9 | 7.075 | 221.667 | -3.941 | 889.917 | 39.888 | 35.7429
2020-01-18 12:15:00 | 5.203 | 211.867 | 5.738 | 213.677 | 5.875 | 219.667 | 5.703 | 218.433 | -3.371 | 889.583 | 39.621 | 29.3194
2020-01-18 12:30:00 | 2.896 | 201.213 | 3.36 | 210.16 | 3.812 | 220.867 | 4.154 | 221.2 | -1.999 | 889.833 | 38.544 | 31.6117
2020-01-18 12:45:00 | 2.447 | 317.28 | 1.977 | 279.369 | 2.562 | 260.4 | 3.576 | 251.217 | -1.782 | 889.467 | 37.909 | 40.525
2020-01-18 13:00:00 | 2.69 | 337.6 | 2.241 | 323.254 | 2.602 | 296.8 | 2.888 | 277.267 | -4.785 | 889.808 | 40.595 | 35.8261
2020-01-18 13:15:00 | 2.362 | 320.293 | 2.131 | 324.934 | 2.116 | 323.6 | 2.697 | 290.833 | -4.285 | 889.917 | 37.093 | 30.9644
2020-01-18 13:30:00 | 3.423 | 292.013 | 3.482 | 345.143 | 3.312 | 333.967 | 2.961 | 323.633 | -4.285 | 889.45 | 37.267 | 21.6318
2020-01-18 13:45:00 | 3.384 | 344.8 | 3.213 | 340.359 | 3.036 | 342.167 | 2.873 | 327.767 | -4.454 | 889.8 | 37.787 | 7.36
2020-01-18 14:00:00 | 2.697 | 297.667 | 2.541 | 341.252 | 2.709 | 338.7 | 2.924 | 330.433 | -3.857 | 889.767 | 35.952 | 1.8759
2020-01-18 14:15:00 | 2.407 | 222.6 | 2.597 | 325.523 | 2.796 | 275.9 | 2.89 | 326.1 | -3.893 | 889.767 | 40.707 | 0.70417
2020-01-18 14:30:00 | 3.07 | 320 | 3.04 | 328.04 | 3.129 | 309.233 | 3.152 | 338.767 | -3.404 | 889.883 | 37.781 | 0.54927
2020-01-18 14:45:00 | 2.51 | 324.68 | 2.427 | 318.451 | 2.626 | 322.867 | 2.927 | 321.067 | -3.197 | 889.6 | 36.403 | 0.34463
2020-01-18 15:00:00 | 2.34 | 299.773 | 2.47 | 300.912 | 2.634 | 304.033 | 2.702 | 301.567 | -2.899 | 889.717 | 36.589 | 0.30839
2020-01-18 15:15:00 | 2.932 | 330.427 | 2.725 | 322.865 | 2.693 | 321.333 | 2.929 | 316.733 | -2.855 | 889.6 | 39.216 | 1.1497
2020-01-18 15:30:00 | 3.734 | 333.707 | 3.576 | 328.949 | 3.71 | 331.233 | 3.847 | 326.833 | -2.578 | 889.8 | 39.453 | 4.0623
2020-01-18 15:45:00 | 3.114 | 330.56 | 3.06 | 322.848 | 3.096 | 324.333 | 3.196 | 316.767 | -2.352 | 889.45 | 37.965 | 4.7729
2020-01-18 16:00:00 | 2.564 | 327.147 | 2.423 | 339.483 | 2.921 | 333.233 | 3.654 | 320.833 | -2.466 | 889.917 | 39.867 | 8.0251
2020-01-18 16:15:00 | 2.831 | 9.822 | 2.873 | 108.478 | 3.046 | 199.333 | 3.551 | 344.3 | -2.475 | 889.9 | 42.496 | 8.7748
2020-01-18 16:30:00 | 3.353 | 184.307 | 3.758 | 305.381 | 4.399 | 299.933 | 4.696 | 326.567 | -2.882 | 890.075 | 45.659 | 4.3714
2020-01-18 16:45:00 | 3.887 | 63.835 | 4.116 | 329.328 | 4.181 | 339.7 | 4.404 | 339.367 | -1.955 | 889.725 | 42.981 | 2.0841
2020-01-18 17:00:00 | 3.66 | 13.2 | 3.595 | 38.828 | 3.993 | 118.167 | 4.692 | 332.7 | -3.437 | 889.917 | 43.397 | 1.4041
2020-01-18 17:15:00 | 2.933 | 12.867 | 3.163 | 60.724 | 3.41 | 245.9 | 3.861 | 331 | -3.404 | 889.825 | 44.037 | 2.3456
2020-01-18 17:30:00 | 3.736 | 18.5 | 3.51 | 9.726 | 3.602 | 12.8 | 3.455 | 6.833 | -3.271 | 889.675 | 44.245 | 1.3465
2020-01-18 17:45:00 | 1.337 | 25.2 | 1.857 | 258.02 | 2.896 | 329.733 | 3.504 | 321.467 | -3.354 | 889.692 | 44.635 | 0.29702
2020-01-18 18:00:00 | 1.437 | 0 | 1.54 | 325.097 | 2.051 | 306 | 2.64 | 309.8 | -3.522 | 889.583 | 44.528 | 0.43416
2020-01-18 18:15:00 | 1.342 | 161.2 | 1.891 | 324.994 | 2.373 | 327.067 | 2.984 | 324.267 | -3.371 | 889.933 | 45.504 | 0.81928
2020-01-18 18:30:00 | 1.911 | 287.067 | 2.032 | 284.294 | 2.442 | 290.4 | 2.807 | 289.433 | -3.404 | 889.858 | 43.947 | 1.0587
2020-01-18 18:45:00 | 2.695 | 294.813 | 2.963 | 297.096 | 3.245 | 303.5 | 3.497 | 295.9 | -3.759 | 890.358 | 45.397 | 2.0159
2020-01-18 19:00:00 | 2.804 | 291.76 | 3.7 | 297.435 | 3.815 | 298.5 | 3.738 | 291.733 | -4.147 | 890.258 | 48.875 | 5.2575
2020-01-18 19:15:00 | 3.233 | 276.4 | 3.447 | 278.27 | 4.433 | 277.433 | 4.846 | 274.067 | -4.305 | 890.258 | 49.472 | 7.9385
2020-01-18 19:30:00 | 4.067 | 260.647 | 4.423 | 271.291 | 4.63 | 271.567 | 5 | 264.133 | -4.819 | 889.933 | 51.408 | 17.7663
2020-01-18 19:45:00 | 5.069 | 248.513 | 6.168 | 263.435 | 6.549 | 268.033 | 6.864 | 265.4 | -4.985 | 890.033 | 47.2 | 20.7876
2020-01-18 20:00:00 | 5.123 | 236.087 | 6.261 | 257.473 | 6.254 | 262.6 | 6.397 | 257.917 | -4.562 | 889.467 | 39.784 | 16.3075
2020-01-18 20:15:00 | 4.609 | 250.233 | 5.323 | 264.269 | 5.596 | 269 | 5.868 | 263.967 | -4.418 | 889.633 | 40.779 | 14.9361
2020-01-18 20:30:00 | 4.775 | 223.2 | 6.018 | 248.581 | 6.408 | 259.833 | 6.633 | 258.45 | -5.119 | 889.942 | 48.885 | 18.5735
2020-01-18 20:45:00 | 5.704 | 212.687 | 6.657 | 234.407 | 6.643 | 243.233 | 6.468 | 242.667 | -5.561 | 890.067 | 53.109 | 21.2424
2020-01-18 21:00:00 | 5.952 | 211.04 | 6.664 | 237.274 | 6.777 | 248.333 | 6.872 | 246.6 | -5.918 | 890.1 | 54.379 | 22.9115
2020-01-18 21:15:00 | 5.125 | 213.64 | 6.318 | 235.618 | 6.47 | 247.967 | 6.423 | 247.967 | -6.116 | 889.942 | 53.141 | 18.727
2020-01-18 21:30:00 | 4.21 | 220.553 | 5.686 | 233.611 | 5.38 | 248.367 | 5.373 | 251 | -6.057 | 890.017 | 51.915 | 16.6706
2020-01-18 21:45:00 | 5.489 | 216.113 | 5.688 | 228.978 | 5.565 | 244.5 | 5.727 | 247.4 | -5.938 | 889.7 | 51.157 | 22.4496
2020-01-18 22:00:00 | 4.753 | 217.88 | 6.332 | 231.861 | 6.652 | 246.833 | 6.65 | 247.5 | -5.938 | 889.683 | 51.68 | 26.335
2020-01-18 22:15:00 | 4.411 | 217.293 | 6.206 | 232.936 | 7.091 | 244.8 | 7.054 | 245.633 | -5.78 | 889.508 | 46.944 | 33.7725
2020-01-18 22:30:00 | 5.466 | 219.4 | 7.297 | 238.462 | 7.946 | 247.1 | 8.127 | 244.7 | -5.302 | 890.05 | 42.923 | 39.9459
2020-01-18 22:45:00 | 4.944 | 214.46 | 6.898 | 242.701 | 8.17 | 251.7 | 8.102 | 249.2 | -4.899 | 889.542 | 39.957 | 34.5762
2020-01-18 23:00:00 | 5.631 | 222.333 | 7.206 | 251.934 | 7.27 | 258.533 | 7.449 | 258.133 | -4.985 | 889.817 | 40.976 | 23.8644
2020-01-18 23:15:00 | 4.103 | 251.967 | 5.848 | 257.48 | 6.384 | 265.067 | 6.554 | 262.633 | -5.385 | 889.775 | 42.368 | 12.7199
2020-01-18 23:30:00 | 3.252 | 249.653 | 4.81 | 254.696 | 5.3 | 265.867 | 5.183 | 264.567 | -5.269 | 890.292 | 42.416 | 8.379
2020-01-18 23:45:00 | 3.258 | 256.267 | 5.07 | 263.93 | 5.119 | 273.533 | 5.155 | 274.267 | -5.472 | 889.6 | 44.581 | 9.3212