## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-19 00:00:00 | 4.438 | 232.2 | 4.895 | 249.695 | 4.855 | 260.933 | 4.665 | 266.933 | -5.8 | 889.783 | 46.144 | 10.9044
2020-01-19 00:15:00 | 4.65 | 256.187 | 4.489 | 258.306 | 4.514 | 266.8 | 4.424 | 267.733 | -5.981 | 890.125 | 41.936 | 10.2208
2020-01-19 00:30:00 | 3.893 | 247.793 | 4.29 | 263.324 | 4.368 | 274.867 | 4.722 | 281.5 | -5.978 | 889.625 | 42.24 | 10.9399
2020-01-19 00:45:00 | 5.23 | 229.153 | 5.143 | 243.846 | 5.464 | 259.233 | 5.991 | 266.9 | -6.007 | 889.883 | 38.677 | 14.0756
2020-01-19 01:00:00 | 4.266 | 226.72 | 5.344 | 246.742 | 5.784 | 259 | 5.999 | 264.467 | -6.09 | 889.908 | 42.523 | 19.7019
2020-01-19 01:15:00 | 6.078 | 225.373 | 6.323 | 243.276 | 6.279 | 251.9 | 6.255 | 250.433 | -5.703 | 889.917 | 35.957 | 24.8414
2020-01-19 01:30:00 | 6.571 | 234.967 | 6.63 | 242.083 | 6.746 | 246.3 | 6.669 | 242.8 | -5.285 | 889.533 | 37.003 | 20.8075
2020-01-19 01:45:00 | 5.503 | 233.167 | 5.986 | 249.808 | 5.942 | 254.9 | 5.737 | 251.35 | -5.898 | 890.15 | 43.211 | 13.6997
2020-01-19 02:00:00 | 4.965 | 241.08 | 5.49 | 248.615 | 5.265 | 254.4 | 5.08 | 250.767 | -6.402 | 889.9 | 46.336 | 10.365
2020-01-19 02:15:00 | 4.129 | 251.567 | 4.533 | 256.286 | 4.533 | 264.8 | 4.484 | 260.2 | -6.389 | 889.875 | 47.691 | 6.9429
2020-01-19 02:30:00 | 3.52 | 257.413 | 3.354 | 265.399 | 3.531 | 269.8 | 3.62 | 265.633 | -6.076 | 890.208 | 46.011 | 4.0168
2020-01-19 02:45:00 | 3.325 | 263.18 | 3.031 | 265.882 | 3.252 | 269.2 | 3.356 | 264.933 | -5.832 | 889.833 | 39.389 | 2.3278
2020-01-19 03:00:00 | 3.424 | 248.147 | 3.502 | 253.164 | 3.779 | 257.867 | 3.978 | 253.85 | -5.319 | 889.683 | 38.411 | 1.397
2020-01-19 03:15:00 | 2.971 | 231.82 | 2.29 | 241.762 | 2.716 | 247 | 2.871 | 243.467 | -5.561 | 890 | 42.592 | 1.8276
2020-01-19 03:30:00 | 2.807 | 233.373 | 2.871 | 237.004 | 3.077 | 241.867 | 3.154 | 240.933 | -5.555 | 889.4 | 35.259 | 1.856
2020-01-19 03:45:00 | 2.514 | 239.233 | 2.215 | 240.689 | 2.483 | 243.667 | 2.706 | 242.467 | -4.919 | 889.733 | 33.125 | 2.0116
2020-01-19 04:00:00 | 2.658 | 223.6 | 2.826 | 234.86 | 3.136 | 241.867 | 3.21 | 239.883 | -4.652 | 889.467 | 33.472 | 2.6071
2020-01-19 04:15:00 | 2.811 | 235.487 | 2.515 | 236.253 | 2.861 | 242.7 | 3.229 | 242.867 | -4.829 | 889.833 | 32.651 | 2.595
2020-01-19 04:30:00 | 3.719 | 218.633 | 3.203 | 236.646 | 3.394 | 244.933 | 3.399 | 239.783 | -5.152 | 890.233 | 39.643 | 3.0192
2020-01-19 04:45:00 | 4.264 | 205.12 | 3.355 | 217.61 | 3.388 | 230.667 | 3.314 | 228.667 | -5.478 | 890.108 | 42.005 | 2.9346
2020-01-19 05:00:00 | 4.724 | 213.167 | 3.75 | 218.798 | 3.488 | 225.633 | 3.565 | 223.667 | -5.385 | 889.458 | 42.816 | 4.0111
2020-01-19 05:15:00 | 3.9 | 219.08 | 3.808 | 225.919 | 3.433 | 230.867 | 3.586 | 227.767 | -6.236 | 889.875 | 46.507 | 2.8856
2020-01-19 05:30:00 | 5.2 | 214.927 | 4.425 | 220.905 | 3.785 | 225.633 | 3.381 | 221 | -6.79 | 889.758 | 48.736 | 1.6947
2020-01-19 05:45:00 | 4.487 | 223.86 | 3.53 | 230.637 | 3.554 | 234.733 | 3.7 | 230.767 | -6.442 | 889.633 | 44.331 | 3.7148
2020-01-19 06:00:00 | 4.649 | 217.68 | 4.416 | 228.567 | 4.326 | 239.867 | 4.452 | 233.733 | -5.971 | 890.042 | 45.269 | 6.2601
2020-01-19 06:15:00 | 4.66 | 239.433 | 4.414 | 241.687 | 4.456 | 245.667 | 4.577 | 233.333 | -5.485 | 889.858 | 40.603 | 5.6803
2020-01-19 06:30:00 | 4.507 | 235.233 | 4.279 | 231.946 | 4.853 | 231.1 | 5.33 | 220.833 | -5.169 | 889.75 | 39.285 | 4.2712
2020-01-19 06:45:00 | 4.246 | 226.853 | 4.881 | 218.746 | 5.308 | 219.167 | 5.133 | 216.6 | -5.859 | 889.642 | 43.819 | 2.6888
2020-01-19 07:00:00 | 3.46 | 233.467 | 4.695 | 218.619 | 4.513 | 219.233 | 3.976 | 216.5 | -6.545 | 890.108 | 46.955 | 1.9619
2020-01-19 07:15:00 | 2.308 | 235.06 | 3.59 | 218.885 | 4.942 | 217.65 | 4.263 | 216.533 | -7.953 | 889.717 | 52.309 | 2.1722
2020-01-19 07:30:00 | 3.053 | 219.527 | 5.076 | 210.42 | 4.354 | 214.467 | 3.671 | 214 | -8.377 | 889.525 | 55.467 | 1.2058
2020-01-19 07:45:00 | 1.728 | 212.767 | 5.488 | 212.789 | 4.151 | 216.3 | 3.19 | 209.6 | -9.058 | 889.65 | 56.672 | 0.42634
2020-01-19 08:00:00 | 2.49 | 210.067 | 3.983 | 217.022 | 3.003 | 220.667 | 1.902 | 214 | -9.241 | 889.983 | 55.733 | 0.13927
2020-01-19 08:15:00 | 2.956 | 196.66 | 4.071 | 207.412 | 3.403 | 219.5 | 2.434 | 218.867 | -10.158 | 890.008 | 56.064 | 0.065372
2020-01-19 08:30:00 | 5.005 | 200.58 | 4.17 | 206.443 | 3.954 | 223.667 | 2.772 | 221.967 | -9.374 | 889.683 | 52.725 | 0.20677
2020-01-19 08:45:00 | 4.027 | 210.26 | 3.791 | 197.552 | 3.35 | 202.033 | 3.108 | 203.733 | -9.12 | 889.5 | 50.731 | 0.22028
2020-01-19 09:00:00 | 4.095 | 207.693 | 3.628 | 188.722 | 2.955 | 187.267 | 2.695 | 190.633 | -9.766 | 889.458 | 51.275 | 0.25722
2020-01-19 09:15:00 | 4.18 | 207.167 | 3.048 | 200.336 | 2.239 | 199 | 1.777 | 178 | -7.79 | 889.692 | 41.947 | 0.2217
2020-01-19 09:30:00 | 3.846 | 218.227 | 2.13 | 201.951 | 1.39 | 199 | 0.309 | 178 | -6.342 | 889.75 | 37.819 | 0.21743
2020-01-19 09:45:00 | 4.732 | 220.9 | 3.265 | 214.481 | 2.871 | 217.333 | 2.281 | 202.033 | -5.319 | 889.867 | 35.248 | 0.2217
2020-01-19 10:00:00 | 4.34 | 216.913 | 2.977 | 227.251 | 2.539 | 228.3 | 2.57 | 207.733 | -5.492 | 889.75 | 37.365 | 0.20606
2020-01-19 10:15:00 | 4.531 | 215.167 | 4.019 | 228.739 | 2.754 | 239.7 | 1.746 | 243.367 | -6.246 | 889.85 | 40.192 | 0.10801
2020-01-19 10:30:00 | 4.022 | 198.693 | 4.285 | 206.818 | 3.677 | 223.967 | 2.506 | 219.567 | -6.242 | 889.883 | 40.395 | 0.18759
2020-01-19 10:45:00 | 3.476 | 213.9 | 3.378 | 203.863 | 3.752 | 210.067 | 3.726 | 213.267 | -5.402 | 889.833 | 39.685 | 0.34676
2020-01-19 11:00:00 | 2.408 | 193.7 | 2.259 | 191.341 | 2.852 | 195.267 | 3.378 | 195.033 | -3.89 | 889.733 | 37.808 | 0.25225
2020-01-19 11:15:00 | 0.986 | 210.14 | 2.525 | 199.666 | 2.392 | 186.4 | 2.005 | 185 | -2.912 | 889.783 | 38.613 | 0.21459
2020-01-19 11:30:00 | 0.416 | 222.98 | 0.667 | 195.813 | 1.338 | 173.1 | 1.027 | 183.133 | -1.115 | 889.367 | 37.413 | 0.21459
2020-01-19 11:45:00 | 0 | 251.56 | 0.08 | 177.906 | 0.559 | 146.367 | 1.307 | 160.6 | 0.133 | 890 | 34.416 | 0.22738
2020-01-19 12:00:00 | 0 | 151.753 | 0 | 135.049 | 0.728 | 106.333 | 1.192 | 127 | -0.242 | 889.767 | 31.349 | 0.24372
2020-01-19 12:15:00 | 3.872 | 45.892 | 2.64 | 55.082 | 2.21 | 83 | 2.011 | 99.133 | -2.764 | 889.833 | 29.675 | 0.24159
2020-01-19 12:30:00 | 2.694 | 37.433 | 2.452 | 32.474 | 2.559 | 40.7 | 2.662 | 38.733 | -3.555 | 889.95 | 36.336 | 0.19398
2020-01-19 12:45:00 | 3.428 | 59.833 | 3.35 | 53.702 | 3.397 | 60.233 | 3.375 | 57.267 | -3.74 | 889.733 | 34.917 | 0.81502
2020-01-19 13:00:00 | 3.493 | 69.967 | 3.348 | 64.623 | 3.256 | 69.733 | 3.177 | 63.2 | -3.538 | 889.8 | 36.379 | 2.4685
2020-01-19 13:15:00 | 3.5 | 80.553 | 3.34 | 79.285 | 3.12 | 87.6 | 3.226 | 78.667 | -4.076 | 889.767 | 38.501 | 2.5033
2020-01-19 13:30:00 | 3.764 | 67.367 | 3.724 | 65.722 | 3.933 | 72.733 | 4.049 | 71.133 | -3.505 | 889.483 | 37.68 | 3.8548
2020-01-19 13:45:00 | 3.563 | 75.033 | 3.674 | 68.111 | 3.809 | 71.233 | 4.021 | 67.167 | -3.588 | 889.6 | 36.544 | 3.82
2020-01-19 14:00:00 | 3.487 | 82.833 | 3.123 | 81.343 | 3.262 | 85.967 | 3.639 | 80.033 | -3.589 | 889.7 | 37.232 | 3.4313
2020-01-19 14:15:00 | 3.936 | 81.333 | 4.06 | 76.206 | 4.122 | 82.367 | 4.16 | 79.767 | -3.387 | 889.317 | 37.429 | 2.784
2020-01-19 14:30:00 | 3.648 | 78.033 | 3.827 | 72.781 | 3.925 | 78.533 | 3.968 | 76.967 | -3.204 | 889.3 | 37.312 | 3.2466
2020-01-19 14:45:00 | 3.062 | 85.9 | 2.883 | 81.067 | 3.159 | 83 | 3.154 | 82.2 | -3.505 | 889.85 | 36.283 | 3.324
2020-01-19 15:00:00 | 3.696 | 86.1 | 3.859 | 79.694 | 3.936 | 84.5 | 3.976 | 75.833 | -3.304 | 890 | 36.037 | 3.5784
2020-01-19 15:15:00 | 3.528 | 77.833 | 3.694 | 73.89 | 4.073 | 77.033 | 4.214 | 71.7 | -3.504 | 890 | 36.789 | 3.8243
2020-01-19 15:30:00 | 3.576 | 70.32 | 3.549 | 69.822 | 3.822 | 75.533 | 3.94 | 72.633 | -3.197 | 890.033 | 36.683 | 3.712
2020-01-19 15:45:00 | 3.65 | 80.027 | 3.567 | 75.929 | 3.638 | 79 | 3.701 | 77.6 | -3.066 | 889.883 | 35.984 | 3.9536
2020-01-19 16:00:00 | 3.194 | 81.863 | 3.36 | 75.272 | 3.28 | 78.867 | 3.42 | 76.867 | -3.16 | 889.633 | 36.064 | 4.5512
2020-01-19 16:15:00 | 3.588 | 79.427 | 3.458 | 74.191 | 3.57 | 81.867 | 3.763 | 79.5 | -2.982 | 889.783 | 36.389 | 4.2392
2020-01-19 16:30:00 | 3.504 | 86.933 | 3.321 | 82.476 | 3.765 | 81.233 | 4.06 | 79.433 | -3.254 | 889.85 | 38.149 | 4.5412
2020-01-19 16:45:00 | 3.573 | 76.2 | 3.532 | 72.471 | 3.804 | 78.367 | 3.898 | 76.967 | -3.187 | 889.817 | 38.021 | 5.5268
2020-01-19 17:00:00 | 4.261 | 87.033 | 4.275 | 82.671 | 4.128 | 87.567 | 3.829 | 84 | -2.918 | 890.083 | 38.56 | 7.024
2020-01-19 17:15:00 | 4.098 | 79.98 | 4.022 | 77.737 | 4.077 | 83.567 | 4.296 | 79.233 | -2.842 | 890.167 | 38.437 | 7.8567
2020-01-19 17:30:00 | 4.519 | 86.663 | 4.47 | 81.747 | 4.403 | 85.933 | 4.484 | 78.833 | -3.176 | 889.692 | 40.443 | 7.689
2020-01-19 17:45:00 | 4.097 | 76.733 | 4.273 | 74.148 | 4.456 | 80.267 | 4.386 | 76.9 | -3.338 | 889.642 | 43.275 | 6.7092
2020-01-19 18:00:00 | 3.659 | 79.7 | 3.845 | 75.598 | 3.952 | 80 | 4.102 | 76.4 | -3.773 | 889.858 | 43.755 | 5.153
2020-01-19 18:15:00 | 3.62 | 74.057 | 3.972 | 69.46 | 4.157 | 74.6 | 4.237 | 71.867 | -4.13 | 889.9 | 45.803 | 3.4079
2020-01-19 18:30:00 | 2.877 | 60.79 | 2.703 | 55.116 | 2.951 | 63.933 | 3.225 | 65 | -4.852 | 890.15 | 49.824 | 2.1786
2020-01-19 18:45:00 | 2.626 | 70.267 | 2.68 | 69.174 | 2.554 | 81.1 | 2.593 | 79.8 | -5.369 | 889.55 | 52.512 | 4.618
2020-01-19 19:00:00 | 2.351 | 91.333 | 2.807 | 90.755 | 2.553 | 99.267 | 2.475 | 95.267 | -5.419 | 889.817 | 52.373 | 4.478
2020-01-19 19:15:00 | 3.057 | 109.193 | 3.19 | 100.535 | 2.694 | 101.667 | 2.567 | 99.533 | -5.694 | 889.717 | 50.059 | 4.3011
2020-01-19 19:30:00 | 2.71 | 103.36 | 2.801 | 91.57 | 2.679 | 93.567 | 2.425 | 89.3 | -6.156 | 890.15 | 49.44 | 4.4886
2020-01-19 19:45:00 | 1.798 | 116.273 | 1.925 | 95.402 | 1.883 | 98.833 | 1.938 | 98.6 | -6.07 | 889.5 | 50.197 | 3.8378
2020-01-19 20:00:00 | 1.943 | 161.7 | 3.219 | 107.427 | 3.186 | 103.5 | 2.904 | 99 | -6.661 | 889.975 | 51.264 | 2.4863
2020-01-19 20:15:00 | 1.708 | 152.273 | 2.459 | 108.192 | 2.406 | 103.867 | 2.378 | 99.667 | -7.111 | 890.142 | 50.261 | 0.88821
2020-01-19 20:30:00 | 0.672 | 208.007 | 0 | 111.228 | 0.762 | 86.967 | 1.995 | 86.867 | -7.703 | 889.592 | 52.448 | 0.32615
2020-01-19 20:45:00 | 0.223 | 209.4 | 0 | 18.058 | 0.213 | 42.067 | 0.544 | 87.067 | -9.158 | 890.075 | 56.757 | 0.24728
2020-01-19 21:00:00 | 1.806 | 235.333 | 0 | 6.019 | 0 | 42.033 | 0 | 87 | -8.991 | 889.783 | 57.035 | 0.21317
2020-01-19 21:15:00 | 2.199 | 242.687 | 0 | 0 | 0 | 42.067 | 0 | 87 | -8.778 | 889.992 | 56.491 | 0.21743
2020-01-19 21:30:00 | 3.566 | 229.047 | 0.891 | 257.316 | 0.224 | 340 | 0 | 87.25 | -9.391 | 889.775 | 53.835 | 0.21885
2020-01-19 21:45:00 | 2.816 | 243 | 1.292 | 258.032 | 1.236 | 288 | 0.386 | 8.067 | -9.978 | 890.042 | 55.056 | 0.21317
2020-01-19 22:00:00 | 2.162 | 238.267 | 1.105 | 263.394 | 0.76 | 270 | 0.621 | 8.098 | -9.141 | 889.792 | 53.264 | 0.24301
2020-01-19 22:15:00 | 2.562 | 257.46 | 1.83 | 296.824 | 2.084 | 302.067 | 1.892 | 326.8 | -9.312 | 890.542 | 52.997 | 0.26859
2020-01-19 22:30:00 | 2.965 | 265.307 | 2.772 | 305.772 | 2.313 | 320 | 2.008 | 326.033 | -8.791 | 890.025 | 52.384 | 0.25865
2020-01-19 22:45:00 | 3.737 | 245.927 | 2.331 | 302.474 | 1.996 | 332.133 | 1.542 | 326.167 | -9.841 | 889.525 | 53.984 | 0.25154
2020-01-19 23:00:00 | 3.977 | 247.3 | 2.837 | 298.22 | 2.583 | 324.967 | 2.225 | 340.8 | -10.416 | 889.917 | 56.464 | 0.25225
2020-01-19 23:15:00 | 4.453 | 254.907 | 2.995 | 284.977 | 2.537 | 314.767 | 2.291 | 327.667 | -10.836 | 890.192 | 58.363 | 0.24088
2020-01-19 23:30:00 | 4.691 | 255.513 | 3.261 | 280.175 | 3.033 | 302.967 | 2.892 | 320 | -10.834 | 889.767 | 59.744 | 0.11653
2020-01-19 23:45:00 | 4.55 | 253.373 | 3.146 | 287.041 | 3.14 | 298.433 | 2.17 | 304.6 | -11.003 | 889.733 | 61.509 | 0.10232