## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-20 00:00:00 | 4.929 | 243.207 | 3.532 | 281.439 | 3.62 | 296.067 | 3.134 | 291.833 | -12.036 | 889.575 | 63.344 | 0.12648
2020-01-20 00:15:00 | 4.541 | 223.48 | 2.986 | 272.972 | 2.81 | 287.467 | 2.563 | 297.867 | -11.611 | 890.1 | 64.528 | 0.22383
2020-01-20 00:30:00 | 5.536 | 225.273 | 3.39 | 244.363 | 2.743 | 254 | 1.78 | 277.333 | -11.966 | 890.008 | 65.525 | 0.16201
2020-01-20 00:45:00 | 6.009 | 222.347 | 4.319 | 238.263 | 3.436 | 248.133 | 2.528 | 250.767 | -12.299 | 889.85 | 64.523 | 0.1478
2020-01-20 01:00:00 | 5.968 | 218.2 | 4.053 | 232.728 | 3.312 | 238.9 | 1.804 | 243.233 | -12.47 | 889.7 | 64.139 | 0.30483
2020-01-20 01:15:00 | 5.622 | 225.7 | 4.189 | 248.454 | 3.419 | 250.933 | 2.64 | 250 | -12.87 | 889.892 | 65.664 | 0.32828
2020-01-20 01:30:00 | 5.213 | 227.2 | 3.719 | 257.824 | 3.266 | 268.467 | 2.544 | 263.533 | -13.053 | 889.983 | 65.408 | 0.14922
2020-01-20 01:45:00 | 3.944 | 236.647 | 2.972 | 270.998 | 2.54 | 280.133 | 2.349 | 294.533 | -11.853 | 889.95 | 65.781 | 0.25651
2020-01-20 02:00:00 | 3.17 | 242.14 | 2.621 | 285.877 | 2.604 | 300.7 | 2.512 | 308.067 | -9.912 | 890.408 | 59.253 | 0.15206
2020-01-20 02:15:00 | 3.505 | 240.147 | 2.812 | 292.255 | 2.575 | 299.933 | 2.468 | 308.133 | -11.207 | 889.642 | 58.512 | 0.15775
2020-01-20 02:30:00 | 3.268 | 268.993 | 2.543 | 284.667 | 2.158 | 303.1 | 2.086 | 312.9 | -11.295 | 889.825 | 61.957 | 0.27712
2020-01-20 02:45:00 | 3.2 | 254.72 | 1.636 | 278.499 | 1.601 | 288.333 | 1.823 | 308.967 | -10.641 | 889.808 | 60.123 | 0.24444
2020-01-20 03:00:00 | 4.469 | 230.633 | 3.294 | 266.327 | 3.155 | 279.467 | 2.588 | 280.733 | -11.328 | 889.767 | 58.955 | 0.22596
2020-01-20 03:15:00 | 3.942 | 245.233 | 3.087 | 270.314 | 2.65 | 278.067 | 2.048 | 280.867 | -11.311 | 889.917 | 63.52 | 0.22525
2020-01-20 03:30:00 | 4.427 | 233.327 | 3.454 | 278.958 | 2.969 | 282.333 | 2.7 | 279.133 | -11.595 | 890.067 | 61.461 | 0.22525
2020-01-20 03:45:00 | 4.277 | 236.827 | 3.59 | 270.41 | 3.125 | 284.367 | 2.786 | 278.967 | -11.511 | 889.783 | 63.909 | 0.15988
2020-01-20 04:00:00 | 4.235 | 236.42 | 3.898 | 271.269 | 3.5 | 283.4 | 3.171 | 271.167 | -11.311 | 889.867 | 62.997 | 0.33041
2020-01-20 04:15:00 | 5.075 | 259.093 | 4.134 | 273.174 | 3.694 | 278.6 | 3.692 | 266.233 | -11.799 | 889.942 | 68.299 | 0.76031
2020-01-20 04:30:00 | 3.942 | 244.46 | 4.518 | 270.334 | 4.41 | 277.167 | 4.189 | 277.767 | -11.386 | 889.8 | 61.301 | 1.1717
2020-01-20 04:45:00 | 3.991 | 231.567 | 3.688 | 264.802 | 3.714 | 269.4 | 3.582 | 264.9 | -12.586 | 890.117 | 64.064 | 0.96282
2020-01-20 05:00:00 | 5.255 | 227.8 | 4.514 | 258.708 | 4.512 | 262.533 | 4.149 | 256.933 | -13.662 | 889.417 | 63.029 | 2.4856
2020-01-20 05:15:00 | 4.768 | 218.46 | 4.809 | 256.682 | 4.6 | 261.067 | 4.362 | 254.033 | -14.779 | 888.733 | 66.587 | 2.6874
2020-01-20 05:30:00 | 4.116 | 224.773 | 4.159 | 269.067 | 3.675 | 271.467 | 3.987 | 264.6 | -13.905 | 883.217 | 67.904 | 1.0666
2020-01-20 05:45:00 | 4.318 | 219.467 | 3.48 | 259.578 | 3.077 | 265.733 | 3.017 | 265.367 | -12.686 | 890.183 | 61.067 | 0.17409
2020-01-20 06:00:00 | 5.21 | 214.02 | 3.491 | 225.062 | 3.099 | 257.6 | 2.355 | 260.567 | -13.487 | 890 | 63.093 | 0.1279
2020-01-20 06:15:00 | 4.112 | 219.8 | 2.777 | 229.111 | 2.733 | 247.733 | 2.401 | 268 | -13.164 | 890.175 | 68.331 | 0.19256
2020-01-20 06:30:00 | 5.491 | 218.6 | 3.554 | 231.483 | 3.238 | 239.333 | 2.778 | 247.233 | -12.72 | 889.567 | 65.579 | 0.22454
2020-01-20 06:45:00 | 5.756 | 217.993 | 3.27 | 241.377 | 3.134 | 254.9 | 2.76 | 262.067 | -13.16 | 887.825 | 65.472 | 0.90597
2020-01-20 07:00:00 | 4.99 | 221.62 | 3.257 | 238.357 | 2.748 | 256.833 | 2.211 | 257.267 | -13.41 | 887.9 | 66.88 | 0.7127
2020-01-20 07:15:00 | 5.456 | 221.153 | 3.494 | 248.061 | 2.358 | 264.533 | 1.706 | 265.133 | -13.122 | 889.233 | 63.413 | 0.39792
2020-01-20 07:30:00 | 4.626 | 229.6 | 3.565 | 283.613 | 2.894 | 288.533 | 2.182 | 266.1 | -12.22 | 889.692 | 59.029 | 0.10587
2020-01-20 07:45:00 | 4.668 | 235.1 | 3.582 | 283.602 | 2.993 | 295.933 | 2.597 | 279.333 | -12.282 | 889.692 | 57.248 | 1.9526
2020-01-20 08:00:00 | 3.722 | 222.2 | 3.339 | 287.761 | 3.127 | 304.8 | 3.343 | 313.6 | -13.086 | 890.275 | 60.091 | 0.34463
2020-01-20 08:15:00 | 4.12 | 222.6 | 2.376 | 276.711 | 2.476 | 300.6 | 2.447 | 307.1 | -12.886 | 889.458 | 59.648 | 0.078162
2020-01-20 08:30:00 | 4.202 | 212.2 | 2.269 | 257.98 | 2.726 | 276.467 | 2.842 | 288.4 | -12.42 | 889.792 | 60.464 | 0.15419
2020-01-20 08:45:00 | 5.192 | 216.207 | 2.771 | 256.718 | 2.739 | 260.233 | 2.636 | 251.15 | -13.134 | 889.4 | 60.891 | 0.41284
2020-01-20 09:00:00 | 4.627 | 220.2 | 2.617 | 236.101 | 2.539 | 246.133 | 2.561 | 247.7 | -12.97 | 890.125 | 64.8 | 0.55708
2020-01-20 09:15:00 | 5.934 | 216.567 | 4.471 | 229.721 | 3.7 | 243.6 | 3.175 | 241.967 | -13.578 | 890 | 66.987 | 3.1507
2020-01-20 09:30:00 | 6.166 | 212.833 | 4.968 | 228.754 | 4.115 | 241.433 | 3.513 | 243.5 | -12.92 | 890.058 | 67.659 | 5.1971
2020-01-20 09:45:00 | 6.653 | 214.333 | 5.11 | 232.61 | 4.419 | 245.533 | 3.647 | 245.467 | -12.536 | 890.025 | 65.621 | 5.5225
2020-01-20 10:00:00 | 5.974 | 212.793 | 5.017 | 232.887 | 4.19 | 244.8 | 3.509 | 247.167 | -12.178 | 889.808 | 64.459 | 3.6878
2020-01-20 10:15:00 | 5.268 | 216.307 | 5.003 | 227.8 | 4.313 | 236.633 | 3.707 | 237.033 | -11.072 | 889.908 | 62.379 | 2.8266
2020-01-20 10:30:00 | 4.948 | 218.46 | 4.552 | 230.007 | 3.825 | 238.9 | 3.146 | 240.433 | -10.124 | 890.1 | 60.608 | 3.5294
2020-01-20 10:45:00 | 4.134 | 224.4 | 4.919 | 237.699 | 4.504 | 247.033 | 4.25 | 246 | -9.141 | 890.142 | 59.04 | 3.9031
2020-01-20 11:00:00 | 3.885 | 228.1 | 4.661 | 250.114 | 4.21 | 261.067 | 3.733 | 264.833 | -7.339 | 889.867 | 54.688 | 4.1533
2020-01-20 11:15:00 | 3.605 | 298.013 | 3.847 | 281.69 | 4.638 | 276 | 5.076 | 274.867 | -7.082 | 890.358 | 52.747 | 5.568
2020-01-20 11:30:00 | 2.884 | 286.353 | 3.409 | 283.486 | 3.912 | 281.1 | 4.232 | 278.9 | -8.291 | 890.167 | 53.243 | 4.6293
2020-01-20 11:45:00 | 2.708 | 288 | 2.892 | 282.41 | 3.742 | 282.8 | 4.429 | 280.933 | -7.339 | 889.675 | 53.333 | 4.2023
2020-01-20 12:00:00 | 4.64 | 290.187 | 4.718 | 293.755 | 4.717 | 297 | 5.011 | 292 | -6.362 | 889.817 | 51.861 | 8.6554
2020-01-20 12:15:00 | 5.244 | 272.427 | 5.571 | 280.772 | 6.008 | 284.833 | 6.297 | 282.3 | -6.263 | 889.717 | 51.509 | 8.3051
2020-01-20 12:30:00 | 5.14 | 289.393 | 5.21 | 294.178 | 5.156 | 301.267 | 5.389 | 298.567 | -6.057 | 889.85 | 50.325 | 7.9342
2020-01-20 12:45:00 | 5.138 | 300.093 | 5.219 | 301.602 | 5.363 | 303.833 | 5.538 | 301.067 | -5.958 | 889.933 | 48.485 | 5.6987
2020-01-20 13:00:00 | 4.21 | 286.587 | 4.318 | 290.664 | 4.55 | 295.2 | 4.736 | 292.733 | -5.169 | 890.042 | 48.16 | 4.4062
2020-01-20 13:15:00 | 4.875 | 290.553 | 4.976 | 296.052 | 5.149 | 301.5 | 5.245 | 296.8 | -5.019 | 889.575 | 47.067 | 6.1095
2020-01-20 13:30:00 | 5.513 | 311.88 | 5.471 | 309.966 | 5.506 | 312.933 | 5.566 | 309.467 | -4.358 | 889.875 | 45.12 | 7.6606
2020-01-20 13:45:00 | 5.885 | 318.867 | 5.828 | 315.328 | 5.877 | 317.867 | 6.075 | 315.267 | -5.019 | 889.942 | 45.984 | 8.482
2020-01-20 14:00:00 | 5.375 | 312.267 | 5.556 | 308.744 | 5.556 | 313.667 | 5.564 | 310 | -5.019 | 890.292 | 45.269 | 6.2004
2020-01-20 14:15:00 | 5.247 | 308.587 | 5.188 | 310.678 | 5.345 | 316.333 | 5.558 | 313.967 | -4.384 | 890.058 | 46.651 | 7.3345
2020-01-20 14:30:00 | 5.125 | 307.293 | 5.411 | 308.426 | 5.359 | 316.533 | 5.587 | 313.933 | -4.543 | 889.6 | 46.933 | 6.9032
2020-01-20 14:45:00 | 3.619 | 319.653 | 3.685 | 315.205 | 3.895 | 317.3 | 4.004 | 314.767 | -4.268 | 889.875 | 46.315 | 3.8832
2020-01-20 15:00:00 | 3.514 | 320.733 | 3.622 | 316.333 | 3.81 | 317.667 | 3.887 | 315.9 | -3.773 | 889.658 | 45.493 | 2.5779
2020-01-20 15:15:00 | 3.393 | 320.867 | 3.269 | 318.293 | 3.561 | 322.267 | 3.775 | 318.6 | -3.907 | 890.008 | 45.136 | 1.2705
2020-01-20 15:30:00 | 3.482 | 323.067 | 3.472 | 315.622 | 3.856 | 317.167 | 3.812 | 312.467 | -3.907 | 889.992 | 45.621 | 2.0244
2020-01-20 15:45:00 | 3.118 | 328.733 | 3.072 | 321.834 | 3.24 | 324.067 | 3.296 | 320.8 | -3.907 | 889.825 | 45.221 | 1.6549
2020-01-20 16:00:00 | 3.053 | 321.067 | 2.927 | 315.573 | 3.102 | 316.667 | 3.249 | 310.5 | -3.857 | 889.958 | 45.195 | 0.81786
2020-01-20 16:15:00 | 3.176 | 301.467 | 3.087 | 299.946 | 3.116 | 306.567 | 3.303 | 302.5 | -3.672 | 889.467 | 45.445 | 1.3337
2020-01-20 16:30:00 | 3.178 | 298.1 | 3.092 | 295.937 | 3.357 | 297.167 | 3.442 | 288.567 | -3.722 | 889.967 | 45.275 | 1.7736
2020-01-20 16:45:00 | 3.804 | 294.267 | 3.695 | 292.724 | 3.66 | 295.033 | 3.768 | 288.5 | -3.89 | 890.283 | 46.709 | 1.0595
2020-01-20 17:00:00 | 2.612 | 288.333 | 2.55 | 283.392 | 2.613 | 284.367 | 2.766 | 280.2 | -3.79 | 889.933 | 46.779 | 0.47466
2020-01-20 17:15:00 | 2.072 | 276.467 | 2.067 | 269.877 | 2.382 | 270.5 | 2.63 | 261.033 | -3.656 | 889.742 | 46.613 | 0.64164
2020-01-20 17:30:00 | 1.626 | 289.733 | 1.361 | 274.898 | 1.6 | 278.3 | 1.629 | 255.217 | -3.538 | 889.858 | 45.707 | 0.46116
2020-01-20 17:45:00 | 2.421 | 298 | 2.368 | 289.521 | 2.61 | 284.167 | 2.784 | 274.267 | -3.638 | 889.583 | 46.624 | 0.49882
2020-01-20 18:00:00 | 2.425 | 299.2 | 2.301 | 286.041 | 2.393 | 282.167 | 2.564 | 269 | -3.638 | 890.008 | 47.781 | 0.31265
2020-01-20 18:15:00 | 2.033 | 280.8 | 2.167 | 273.193 | 2.652 | 269.967 | 2.875 | 263.067 | -3.974 | 889.683 | 47.829 | 0.34676
2020-01-20 18:30:00 | 1.985 | 272.72 | 2.217 | 261.667 | 2.576 | 258.167 | 2.83 | 252.333 | -4.035 | 889.383 | 48.651 | 0.29489
2020-01-20 18:45:00 | 1.983 | 268.053 | 2.115 | 263.261 | 2.711 | 259.067 | 3.09 | 258.833 | -4.052 | 889.883 | 49.333 | 0.48745
2020-01-20 19:00:00 | 1.264 | 266.84 | 1.495 | 263.133 | 2.023 | 268.333 | 2.56 | 274.6 | -4.265 | 889.95 | 50.667 | 0.3567
2020-01-20 19:15:00 | 1.199 | 239.42 | 1.177 | 260.001 | 1.684 | 270.933 | 2.153 | 278.1 | -4.463 | 890.125 | 52.448 | 0.16911
2020-01-20 19:30:00 | 2.035 | 216.707 | 1.344 | 227.34 | 1.784 | 249.9 | 2.352 | 266.867 | -4.54 | 890.083 | 52.811 | 0.3091
2020-01-20 19:45:00 | 2.79 | 223.093 | 2.238 | 222.634 | 2.233 | 231.867 | 2.148 | 232.8 | -3.902 | 889.975 | 51.371 | 0.41995
2020-01-20 20:00:00 | 2.529 | 241.68 | 2.328 | 256.2 | 2.416 | 263.933 | 2.363 | 267.733 | -4.113 | 889.867 | 51.136 | 0.68925
2020-01-20 20:15:00 | 3.061 | 247.087 | 3.016 | 251.188 | 2.94 | 254.333 | 3.155 | 255.633 | -4.448 | 889.992 | 52.448 | 1.5625
2020-01-20 20:30:00 | 3.33 | 230 | 3.023 | 246.193 | 3.184 | 259.467 | 3.32 | 255.05 | -4.785 | 889.858 | 53.429 | 2.6916
2020-01-20 20:45:00 | 3.821 | 235.367 | 3.774 | 249.796 | 4.236 | 260.2 | 4.852 | 262.467 | -5.185 | 889.925 | 53.157 | 4.3842
2020-01-20 21:00:00 | 4.063 | 235.627 | 3.86 | 246.652 | 4.136 | 260.6 | 4.496 | 262.633 | -5.879 | 889.675 | 53.867 | 3.7191
2020-01-20 21:15:00 | 3.99 | 233.88 | 3.763 | 242.57 | 4.078 | 256.033 | 4.504 | 259.867 | -5.672 | 889.825 | 53.259 | 4.1291
2020-01-20 21:30:00 | 3.639 | 227.773 | 3.898 | 236.452 | 3.976 | 245.733 | 3.929 | 247.4 | -6.183 | 889.742 | 55.051 | 3.3972
2020-01-20 21:45:00 | 3.548 | 220.693 | 3.357 | 236.317 | 3.589 | 243.9 | 3.783 | 241.067 | -7.006 | 889.608 | 57.909 | 4.5817
2020-01-20 22:00:00 | 4.491 | 216.933 | 4.234 | 234.975 | 4.069 | 249.533 | 4.102 | 246.367 | -7.472 | 889.775 | 58.581 | 6.1656
2020-01-20 22:15:00 | 4.227 | 217.913 | 4.582 | 238.195 | 4.674 | 249.5 | 4.679 | 249.033 | -7.23 | 890 | 58.155 | 6.3198
2020-01-20 22:30:00 | 3.64 | 232.787 | 4.513 | 239.378 | 4.4 | 244.2 | 4.445 | 239.967 | -6.952 | 889.65 | 57.707 | 6.6346
2020-01-20 22:45:00 | 3.532 | 222.067 | 4.786 | 238.358 | 4.934 | 247.167 | 4.686 | 244.2 | -6.528 | 889.95 | 57.216 | 9.7959
2020-01-20 23:00:00 | 3.846 | 223.42 | 5.082 | 240.845 | 5.136 | 250.3 | 5.296 | 247.433 | -5.924 | 890.183 | 57.579 | 11.3556
2020-01-20 23:15:00 | 4.892 | 226.14 | 5.519 | 238.372 | 5.57 | 246.8 | 5.578 | 242.867 | -5.885 | 889.725 | 57.013 | 12.312
2020-01-20 23:30:00 | 5.117 | 228.233 | 5.467 | 238.581 | 5.865 | 245.467 | 6.166 | 241.467 | -5.502 | 889.842 | 55.573 | 15.3205
2020-01-20 23:45:00 | 4.79 | 222.767 | 5.822 | 241.723 | 6.317 | 248.867 | 6.556 | 244.333 | -5.716 | 889.933 | 56.853 | 15.6211