## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-21 00:00:00 | 4.857 | 231.767 | 5.148 | 240.7 | 5.62 | 247.567 | 5.771 | 242.6 | -5.569 | 889.5 | 55.061 | 16.9662
2020-01-21 00:15:00 | 2.609 | 217.367 | 5.081 | 239.031 | 5.964 | 248.767 | 5.932 | 244 | -5.052 | 890.167 | 53.963 | 16.9065
2020-01-21 00:30:00 | 5.35 | 224.867 | 6.01 | 243.562 | 6.31 | 251.433 | 6.366 | 247.75 | -5.052 | 890.133 | 52.555 | 15.5913
2020-01-21 00:45:00 | 5.447 | 236.86 | 5.549 | 245.019 | 5.72 | 252.7 | 5.988 | 251.533 | -4.666 | 889.783 | 50.592 | 17.9766
2020-01-21 01:00:00 | 4.346 | 225.267 | 5.238 | 241.328 | 5.66 | 252 | 5.83 | 249.567 | -4.785 | 889.85 | 50.869 | 21.6872
2020-01-21 01:15:00 | 5.278 | 216.533 | 6.788 | 246.639 | 7.33 | 252.267 | 7.288 | 248.667 | -5.002 | 889.758 | 51.584 | 23.3741
2020-01-21 01:30:00 | 5.369 | 210 | 6.782 | 247.67 | 7.333 | 254.6 | 7.346 | 251.6 | -4.785 | 889.658 | 50.624 | 18.3944
2020-01-21 01:45:00 | 4.335 | 220.767 | 6.196 | 250.237 | 6.795 | 258.233 | 6.915 | 255.267 | -4.835 | 890.225 | 51.424 | 15.4236
2020-01-21 02:00:00 | 4.644 | 232.967 | 5.844 | 256.331 | 5.993 | 263 | 6.169 | 261.917 | -4.969 | 889.908 | 51.947 | 11.0315
2020-01-21 02:15:00 | 3.945 | 251.913 | 4.927 | 266.171 | 5.224 | 274.033 | 5.431 | 269.4 | -5.135 | 889.933 | 52.075 | 7.2826
2020-01-21 02:30:00 | 2.936 | 231.54 | 4.242 | 263.993 | 4.849 | 273.2 | 5.208 | 271.5 | -5.438 | 889.892 | 55.397 | 6.1215
2020-01-21 02:45:00 | 3.709 | 240.5 | 4.103 | 259.662 | 4.501 | 267.867 | 4.723 | 265.6 | -5.684 | 889.642 | 54.437 | 5.9943
2020-01-21 03:00:00 | 3.964 | 237.52 | 4.189 | 252.02 | 4.045 | 264.067 | 4.09 | 262.933 | -5.974 | 889.792 | 54.608 | 5.3875
2020-01-21 03:15:00 | 4.158 | 240.433 | 4.056 | 246.682 | 4.355 | 257.533 | 4.303 | 255 | -5.435 | 890.192 | 52.299 | 5.7023
2020-01-21 03:30:00 | 3.731 | 235.06 | 3.423 | 237.452 | 3.615 | 250.267 | 3.638 | 243 | -4.716 | 889.675 | 50.763 | 6.1485
2020-01-21 03:45:00 | 3.567 | 230.587 | 3.034 | 237.948 | 3.389 | 239.133 | 3.759 | 235.3 | -4.646 | 889.767 | 50.453 | 8.9794
2020-01-21 04:00:00 | 3.647 | 223.567 | 3.804 | 238.84 | 4.264 | 246.2 | 4.349 | 244.133 | -4.919 | 889.55 | 50.059 | 11.3229
2020-01-21 04:15:00 | 2.306 | 235.3 | 3.446 | 239.388 | 4.075 | 250.567 | 4.219 | 247.983 | -4.902 | 889.933 | 49.173 | 12.8598
2020-01-21 04:30:00 | 2.849 | 228.433 | 4.299 | 242.397 | 4.721 | 250.867 | 4.945 | 249.183 | -5.602 | 889.508 | 51.04 | 17.0316
2020-01-21 04:45:00 | 4.567 | 228.513 | 4.892 | 246.576 | 5.206 | 253 | 5.283 | 249.25 | -4.743 | 889.533 | 46.027 | 15.2012
2020-01-21 05:00:00 | 3.111 | 229.133 | 3.299 | 243.435 | 4.162 | 250.233 | 4.54 | 247.6 | -4.521 | 890.1 | 45.323 | 17.2796
2020-01-21 05:15:00 | 3.984 | 241.667 | 4.94 | 250.844 | 5.65 | 254.333 | 5.918 | 250.6 | -4.802 | 889.817 | 46.208 | 20.3172
2020-01-21 05:30:00 | 4.653 | 228.133 | 5.515 | 250.352 | 6.052 | 255.7 | 6.172 | 252.583 | -4.752 | 890.017 | 45.632 | 25.785
2020-01-21 05:45:00 | 5.137 | 218.373 | 6.321 | 248.08 | 6.892 | 253.383 | 7.026 | 249.883 | -4.919 | 889.7 | 46.501 | 27.0498
2020-01-21 06:00:00 | 5.165 | 217.567 | 6.189 | 244.329 | 7.128 | 250.8 | 7.263 | 248.883 | -4.852 | 889.908 | 46.272 | 28.6621
2020-01-21 06:15:00 | 5.731 | 203.96 | 7.03 | 248.076 | 7.515 | 253.533 | 7.675 | 248.9 | -4.916 | 890.008 | 46.347 | 30.398
2020-01-21 06:30:00 | 6.066 | 217.94 | 6.898 | 247.528 | 7.513 | 252.667 | 7.65 | 249.517 | -4.424 | 889.883 | 45.957 | 28.6209
2020-01-21 06:45:00 | 4.672 | 233.92 | 5.925 | 251.797 | 6.606 | 255.7 | 6.96 | 252.15 | -4.507 | 890.075 | 47.04 | 24.7597
2020-01-21 07:00:00 | 4.508 | 243.293 | 5.425 | 255.532 | 5.975 | 259.933 | 6.246 | 255.65 | -4.832 | 889.967 | 47.483 | 23.74
2020-01-21 07:15:00 | 4.129 | 248.18 | 5.358 | 257.183 | 5.802 | 262.667 | 5.97 | 259.333 | -4.885 | 889.625 | 49.285 | 26.1133
2020-01-21 07:30:00 | 5.966 | 220.473 | 7.527 | 254.716 | 8.128 | 260.767 | 8.411 | 259.283 | -4.882 | 889.967 | 49.301 | 35.1027
2020-01-21 07:45:00 | 6.345 | 212.367 | 7.164 | 251.304 | 7.756 | 257.1 | 7.805 | 253.917 | -4.602 | 889.833 | 48.341 | 39.9751
2020-01-21 08:00:00 | 6.116 | 213.5 | 7.484 | 249.59 | 7.979 | 254.6 | 8.163 | 251.45 | -4.885 | 889.8 | 49.413 | 38.0729
2020-01-21 08:15:00 | 6.314 | 215.667 | 7.433 | 248.783 | 7.791 | 253.933 | 7.754 | 249.733 | -4.77 | 889.442 | 49.541 | 38.3038
2020-01-21 08:30:00 | 6.404 | 217.68 | 7.628 | 249.811 | 8.074 | 255.867 | 8.233 | 252.033 | -4.835 | 890.008 | 50.816 | 35.1681
2020-01-21 08:45:00 | 5.579 | 217.933 | 6.642 | 251.107 | 7.188 | 258.333 | 7.417 | 255.967 | -4.852 | 890.075 | 51.621 | 29.3428
2020-01-21 09:00:00 | 5.662 | 228.7 | 6.547 | 248.675 | 6.76 | 256 | 7.194 | 253.35 | -5.402 | 889.633 | 52.971 | 18.8215
2020-01-21 09:15:00 | 4.727 | 222.9 | 5.338 | 236.901 | 5.68 | 243.6 | 5.666 | 240.533 | -5.385 | 889.842 | 54.24 | 9.9629
2020-01-21 09:30:00 | 3.761 | 215.713 | 5.513 | 230.524 | 5.383 | 241.033 | 5.213 | 240.033 | -7.246 | 889.917 | 58.805 | 8.7854
2020-01-21 09:45:00 | 4.492 | 216.033 | 6.041 | 230.524 | 5.81 | 237.533 | 5.444 | 234.333 | -7.406 | 890.067 | 61.387 | 11.018
2020-01-21 10:00:00 | 4.847 | 218.447 | 5.491 | 233.661 | 5.572 | 240.233 | 5.404 | 235.5 | -6.933 | 889.8 | 60.555 | 10.0929
2020-01-21 10:15:00 | 4.346 | 225.8 | 5.013 | 238.502 | 4.959 | 244.567 | 4.652 | 240.2 | -6.328 | 890 | 59.712 | 6.9444
2020-01-21 10:30:00 | 3.354 | 256.673 | 3.483 | 253.013 | 3.779 | 256.05 | 4.048 | 250.833 | -5.202 | 889.967 | 56.683 | 6.7433
2020-01-21 10:45:00 | 2.01 | 221.133 | 3.01 | 221.958 | 3.753 | 230.733 | 3.97 | 231.2 | -4.802 | 889.875 | 56.032 | 8.4465
2020-01-21 11:00:00 | 2.138 | 205.887 | 2.832 | 223.198 | 3.861 | 234.5 | 4.322 | 234.9 | -4.364 | 889.675 | 55.477 | 7.7601
2020-01-21 11:15:00 | 3.778 | 227.227 | 4.143 | 246.072 | 4.671 | 251.367 | 4.797 | 246.867 | -2.443 | 890.3 | 51.808 | 8.3435
2020-01-21 11:30:00 | 4.373 | 225.193 | 4.77 | 242.873 | 5.318 | 249.633 | 5.517 | 244.133 | -1.776 | 889.917 | 48.768 | 13.537
2020-01-21 11:45:00 | 5.416 | 232.74 | 5.729 | 256.542 | 5.882 | 258.55 | 5.961 | 252.983 | -1.102 | 889.733 | 47.296 | 21.9501
2020-01-21 12:00:00 | 6.758 | 224.547 | 7.161 | 254.944 | 7.462 | 258.767 | 7.58 | 255 | -1.182 | 889.967 | 47.355 | 29.0686
2020-01-21 12:15:00 | 6.112 | 238.913 | 6.598 | 261.785 | 6.625 | 264.333 | 6.565 | 259.983 | -0.802 | 889.742 | 46.171 | 23.3663
2020-01-21 12:30:00 | 5.281 | 253.52 | 5.642 | 265.299 | 5.896 | 268.6 | 6.01 | 264.517 | -0.915 | 889.925 | 44.816 | 15.3745
2020-01-21 12:45:00 | 5.238 | 240.507 | 5.491 | 264.514 | 5.523 | 265.4 | 5.53 | 262.083 | -0.628 | 889.758 | 44.213 | 25.0333
2020-01-21 13:00:00 | 6.357 | 251.847 | 6.517 | 274.666 | 6.841 | 281.133 | 7.117 | 277.467 | -1.099 | 889.783 | 44.981 | 38.3123
2020-01-21 13:15:00 | 6.956 | 245.58 | 7.527 | 272.59 | 7.659 | 276.433 | 7.519 | 271.617 | -0.882 | 889.992 | 45.109 | 33.6155
2020-01-21 13:30:00 | 6.35 | 253.78 | 6.847 | 277.586 | 7.099 | 281.933 | 7.024 | 281.033 | -0.329 | 889.65 | 44.512 | 30.0847
2020-01-21 13:45:00 | 7.136 | 284.213 | 7.474 | 293.487 | 7.462 | 297.233 | 7.636 | 293.6 | -0.832 | 889.75 | 45.301 | 33.4776
2020-01-21 14:00:00 | 6.577 | 293.48 | 7.329 | 297.97 | 7.726 | 301.167 | 8.4 | 296.367 | -1.272 | 890.208 | 48.544 | 37.9876
2020-01-21 14:15:00 | 5.968 | 262.733 | 6.498 | 278.072 | 6.664 | 280.667 | 6.634 | 278.667 | -0.942 | 889.45 | 47.339 | 38.2185
2020-01-21 14:30:00 | 6.699 | 270.607 | 7.247 | 280.241 | 7.612 | 283.4 | 7.89 | 281.2 | -1.242 | 889.808 | 49.093 | 36.2041
2020-01-21 14:45:00 | 6.483 | 256.72 | 7.235 | 278.64 | 7.285 | 282.533 | 7.348 | 280.233 | -1.372 | 890.15 | 49.675 | 35.1169
2020-01-21 15:00:00 | 6.322 | 277.44 | 6.718 | 284.944 | 7.059 | 289.3 | 7.402 | 284.2 | -1.025 | 890.025 | 49.035 | 29.3727
2020-01-21 15:15:00 | 6.711 | 248.78 | 7.377 | 275.066 | 7.494 | 276.567 | 7.53 | 274.567 | -0.625 | 889.683 | 48.997 | 26.5397
2020-01-21 15:30:00 | 6.454 | 263.96 | 6.64 | 279.892 | 6.612 | 281.867 | 6.667 | 278.867 | -0.638 | 889.9 | 48.416 | 20.7152
2020-01-21 15:45:00 | 6.102 | 273.527 | 6.186 | 281.91 | 6.263 | 286.133 | 6.546 | 281.433 | -0.685 | 889.85 | 48.261 | 18.5472
2020-01-21 16:00:00 | 5.547 | 270.66 | 5.711 | 276.816 | 6.093 | 279.133 | 6.1 | 276.133 | -0.818 | 889.675 | 49.339 | 19.1874
2020-01-21 16:15:00 | 5.822 | 252 | 6.347 | 275.866 | 6.39 | 279.433 | 6.561 | 276.1 | -0.186 | 890.158 | 47.925 | 19.4113
2020-01-21 16:30:00 | 5.242 | 283 | 5.705 | 287.224 | 5.701 | 291.767 | 5.805 | 286.867 | -0.558 | 890.142 | 48.325 | 15.4435
2020-01-21 16:45:00 | 4.841 | 281.033 | 5.313 | 284.918 | 5.657 | 288.767 | 5.902 | 287.633 | -0.472 | 889.708 | 48.453 | 14.0038
2020-01-21 17:00:00 | 6.134 | 289.347 | 6.55 | 294.694 | 6.683 | 298.667 | 7.001 | 292.767 | -0.698 | 889.792 | 48.619 | 14.2234
2020-01-21 17:15:00 | 6.01 | 292.733 | 6.461 | 296.954 | 6.584 | 301.933 | 6.856 | 299.333 | -0.558 | 889.692 | 49.664 | 19.1498
2020-01-21 17:30:00 | 5.854 | 271.427 | 6.257 | 288.005 | 6.432 | 293.433 | 6.706 | 290.867 | -0.859 | 889.833 | 51.003 | 18.6076
2020-01-21 17:45:00 | 5.651 | 290.26 | 6.453 | 293.63 | 6.647 | 297.733 | 6.978 | 293.667 | -1.342 | 890.075 | 52.501 | 18.3646
2020-01-21 18:00:00 | 5.059 | 286.913 | 5.735 | 288.898 | 5.907 | 292.6 | 6.213 | 290 | -1.606 | 889.95 | 54.032 | 14.433
2020-01-21 18:15:00 | 4.534 | 279.433 | 5.17 | 283.864 | 5.442 | 287.467 | 5.639 | 285.6 | -1.539 | 889.817 | 54.88 | 10.5988
2020-01-21 18:30:00 | 4.109 | 287.6 | 5.26 | 290.231 | 5.683 | 293.2 | 6.098 | 290.6 | -1.795 | 889.558 | 54.907 | 8.7904
2020-01-21 18:45:00 | 3.6 | 281.427 | 4.405 | 284.422 | 4.822 | 287.633 | 5.091 | 284.533 | -2.433 | 889.692 | 56.325 | 7.9143
2020-01-21 19:00:00 | 3.542 | 274.607 | 4.606 | 281.719 | 5.044 | 283.5 | 5.324 | 281.067 | -2.882 | 889.967 | 56.907 | 8.8245
2020-01-21 19:15:00 | 2.711 | 255.54 | 3.932 | 280.512 | 4.178 | 282.633 | 4.373 | 278.3 | -3.006 | 890 | 57.728 | 6.2388
2020-01-21 19:30:00 | 2.504 | 250.793 | 3.566 | 276.941 | 3.935 | 283.6 | 4.081 | 279.867 | -3.97 | 890.025 | 61.365 | 3.0434
2020-01-21 19:45:00 | 2.386 | 245.7 | 2.339 | 262.241 | 2.706 | 274.2 | 2.984 | 267 | -4.271 | 889.783 | 62.251 | 2.7371
2020-01-21 20:00:00 | 3.815 | 194.047 | 3.342 | 210.821 | 3.718 | 248.5 | 4.013 | 255.967 | -5.988 | 890.017 | 61.813 | 5.2013
2020-01-21 20:15:00 | 1.767 | 273.387 | 1.827 | 278.057 | 2.064 | 272.167 | 2.533 | 251.533 | -6.608 | 890.125 | 68.517 | 6.9074
2020-01-21 20:30:00 | 1.63 | 272.533 | 1.303 | 270.075 | 2.65 | 249.6 | 3.577 | 229.533 | -6.175 | 889.883 | 66.709 | 7.4595
2020-01-21 20:45:00 | 3.642 | 219.293 | 5.509 | 215.297 | 5.135 | 220.233 | 4.991 | 219.033 | -6.491 | 889.858 | 67.573 | 8.0187
2020-01-21 21:00:00 | 3.713 | 233.72 | 5.515 | 220.442 | 5.226 | 224.8 | 4.838 | 223 | -7.706 | 890.167 | 69.963 | 8.9944
2020-01-21 21:15:00 | 5.525 | 224.36 | 5.728 | 222.695 | 5.301 | 228.8 | 4.898 | 227.567 | -6.922 | 889.858 | 70.187 | 10.7558
2020-01-21 21:30:00 | 4.312 | 233.153 | 5.264 | 220.168 | 5.993 | 221.8 | 5.246 | 219.5 | -7.051 | 890.342 | 68.907 | 17.0891
2020-01-21 21:45:00 | 4.417 | 207.647 | 7.485 | 216.834 | 6.989 | 223.2 | 6.193 | 221.633 | -7.916 | 890.408 | 71.232 | 17.4828
2020-01-21 22:00:00 | 5.655 | 216.433 | 7.138 | 220.017 | 6.482 | 225.8 | 5.728 | 224.733 | -7.839 | 889.992 | 72.011 | 15.4079
2020-01-21 22:15:00 | 5.565 | 215.033 | 6.325 | 223.721 | 5.921 | 230.7 | 5.643 | 229.8 | -7.756 | 889.983 | 71.371 | 17.4437
2020-01-21 22:30:00 | 6.217 | 217.107 | 6.743 | 221.799 | 6.253 | 228.2 | 5.969 | 226.967 | -7.936 | 890.025 | 71.179 | 20.7201
2020-01-21 22:45:00 | 6.097 | 211.387 | 7.693 | 218.429 | 7.3 | 222.533 | 6.726 | 220.267 | -7.863 | 889.633 | 70.72 | 25.7843
2020-01-21 23:00:00 | 6.634 | 209.927 | 8.342 | 216.392 | 7.934 | 220.7 | 7.28 | 218.967 | -8.311 | 889.692 | 70.379 | 25.304
2020-01-21 23:15:00 | 6.197 | 210.467 | 8.499 | 214.103 | 7.83 | 221.467 | 7.252 | 219.833 | -7.973 | 889.95 | 68.661 | 28.9279
2020-01-21 23:30:00 | 7.176 | 208 | 8.76 | 212.319 | 8.335 | 216.533 | 7.901 | 215.733 | -8.791 | 889.858 | 69.568 | 28.0333
2020-01-21 23:45:00 | 7.378 | 211.567 | 8.4 | 214.127 | 7.973 | 219.667 | 7.328 | 218.167 | -8.407 | 889.75 | 68.875 | 26.2199