## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-22 00:00:00 | 6.723 | 213.9 | 7.915 | 213.827 | 7.572 | 220.933 | 7.051 | 219.6 | -8.524 | 889.275 | 68.843 | 23.3762
2020-01-22 00:15:00 | 5.97 | 213.167 | 8.113 | 213.188 | 7.658 | 219.4 | 7.037 | 217.433 | -8.574 | 889.583 | 68.779 | 18.1969
2020-01-22 00:30:00 | 5.327 | 212.967 | 7.354 | 211.172 | 7.224 | 216.667 | 6.452 | 214.567 | -8.808 | 889.85 | 68.832 | 12.0249
2020-01-22 00:45:00 | 6.189 | 213.533 | 6.823 | 213.689 | 6.158 | 220.067 | 5.367 | 220.867 | -8.908 | 889.525 | 69.195 | 10.2805
2020-01-22 01:00:00 | 6.155 | 214.267 | 7.04 | 215.128 | 6.388 | 221.767 | 5.521 | 221.3 | -9.324 | 889.942 | 69.184 | 9.9948
2020-01-22 01:15:00 | 6.042 | 214.933 | 6.653 | 220.63 | 5.819 | 228.233 | 5.225 | 228.367 | -9.291 | 890.492 | 70.368 | 10.257
2020-01-22 01:30:00 | 6.609 | 212.467 | 5.931 | 224.428 | 5.562 | 235.433 | 5.028 | 237.1 | -9.224 | 889.775 | 70.101 | 10.1782
2020-01-22 01:45:00 | 6.253 | 214.373 | 6.385 | 221.38 | 5.628 | 229.3 | 4.935 | 230.233 | -9.454 | 889.825 | 69.643 | 7.888
2020-01-22 02:00:00 | 6.218 | 215.76 | 5.929 | 221.885 | 5.037 | 230.4 | 4.497 | 232.3 | -9.662 | 890.05 | 70.453 | 7.4297
2020-01-22 02:15:00 | 6.642 | 217.547 | 5.847 | 223.998 | 5.377 | 233 | 4.981 | 232.167 | -9.787 | 889.45 | 70.635 | 7.1895
2020-01-22 02:30:00 | 6.701 | 218.227 | 5.603 | 227.674 | 5.126 | 238.733 | 4.784 | 238.533 | -9.766 | 889.95 | 70.656 | 7.7715
2020-01-22 02:45:00 | 6.713 | 217.427 | 6.272 | 224.976 | 5.467 | 234.267 | 4.88 | 236.7 | -10.004 | 890.058 | 70.667 | 10.6237
2020-01-22 03:00:00 | 6.798 | 216.787 | 6.586 | 223.615 | 5.689 | 232.6 | 4.993 | 234.733 | -9.933 | 889.992 | 70.677 | 11.46
2020-01-22 03:15:00 | 6.895 | 219.42 | 7.101 | 224.332 | 5.919 | 233.667 | 5.016 | 236.333 | -9.828 | 889.917 | 70.944 | 14.1424
2020-01-22 03:30:00 | 7.022 | 217.633 | 7.598 | 222.108 | 6.489 | 229.133 | 5.484 | 230.667 | -10.016 | 889.658 | 70.699 | 13.834
2020-01-22 03:45:00 | 6.542 | 219.007 | 6.709 | 227.339 | 6.041 | 240.333 | 5.257 | 244.233 | -9.933 | 889.767 | 69.867 | 13.8198
2020-01-22 04:00:00 | 6.788 | 220.933 | 7.757 | 223.582 | 6.858 | 230.733 | 5.982 | 231.8 | -10.083 | 889.875 | 70.432 | 13.1931
2020-01-22 04:15:00 | 6.646 | 218.1 | 6.525 | 223.605 | 5.828 | 233.467 | 5.145 | 234.967 | -10.383 | 889.817 | 70.24 | 8.0131
2020-01-22 04:30:00 | 6.319 | 216.8 | 5.61 | 224.521 | 4.832 | 235.633 | 4.183 | 238.533 | -10.283 | 889.883 | 70.059 | 7.1504
2020-01-22 04:45:00 | 6.694 | 217.773 | 6.02 | 226.415 | 5.363 | 236.9 | 4.691 | 237.133 | -10.42 | 889.867 | 70.123 | 7.5611
2020-01-22 05:00:00 | 6.824 | 217.467 | 6.093 | 225.694 | 5.228 | 235.9 | 4.412 | 238.533 | -10.703 | 889.833 | 70.389 | 6.4718
2020-01-22 05:15:00 | 6.64 | 216.693 | 5.862 | 225.246 | 5.116 | 234.7 | 4.503 | 235.367 | -10.439 | 889.925 | 69.856 | 5.2482
2020-01-22 05:30:00 | 6.335 | 219.507 | 5.328 | 228.507 | 4.694 | 241.067 | 4.003 | 244.433 | -10.647 | 890.05 | 70.571 | 5.6931
2020-01-22 05:45:00 | 6.578 | 219.567 | 5.594 | 231.642 | 4.928 | 242.5 | 4.372 | 242.933 | -10.984 | 889.708 | 69.803 | 7.9271
2020-01-22 06:00:00 | 6.648 | 215.72 | 6.236 | 225.605 | 5.55 | 233.033 | 4.684 | 229.867 | -11.12 | 889.708 | 69.856 | 8.7904
2020-01-22 06:15:00 | 6.482 | 215.573 | 5.55 | 225.636 | 5.082 | 233.833 | 4.531 | 229.433 | -11.072 | 889.858 | 69.813 | 6.7532
2020-01-22 06:30:00 | 5.912 | 211.267 | 6.43 | 220.36 | 5.266 | 229.7 | 4.392 | 228.667 | -10.593 | 889.992 | 68 | 8.3129
2020-01-22 06:45:00 | 5.375 | 216.193 | 5.773 | 222.913 | 4.986 | 233.167 | 4.368 | 232.733 | -11.207 | 889.758 | 68.779 | 6.474
2020-01-22 07:00:00 | 6.287 | 215.9 | 5.88 | 226.744 | 5.134 | 237.4 | 4.528 | 237.267 | -11.195 | 889.692 | 69.611 | 6.9927
2020-01-22 07:15:00 | 5.52 | 222.667 | 5.484 | 239.644 | 4.832 | 253.1 | 4.403 | 252.267 | -11.411 | 889.8 | 69.568 | 8.5105
2020-01-22 07:30:00 | 6.085 | 219.3 | 6.009 | 233.884 | 5.54 | 245.5 | 4.977 | 245.967 | -11.428 | 889.808 | 70.037 | 10.6414
2020-01-22 07:45:00 | 5.816 | 223.733 | 5.854 | 237.751 | 5.443 | 249.033 | 4.985 | 248.767 | -11.378 | 890.142 | 70.229 | 11.6256
2020-01-22 08:00:00 | 6.111 | 222 | 6.038 | 236.849 | 5.481 | 247.933 | 4.891 | 249.567 | -11.428 | 890.183 | 69.792 | 11.5318
2020-01-22 08:15:00 | 6.565 | 220.06 | 6.04 | 234.67 | 5.628 | 245.767 | 4.951 | 247.167 | -11.224 | 889.633 | 69.451 | 12.0455
2020-01-22 08:30:00 | 6.466 | 219.24 | 6.157 | 235.024 | 5.725 | 245.533 | 5.013 | 244.1 | -11.105 | 889.783 | 68.576 | 13.5711
2020-01-22 08:45:00 | 5.96 | 220.2 | 6.415 | 232.361 | 5.913 | 241.867 | 5.421 | 241.767 | -11.211 | 889.542 | 69.109 | 13.9065
2020-01-22 09:00:00 | 6.366 | 214.407 | 6.644 | 221.727 | 5.924 | 231.167 | 5.229 | 230.933 | -11.188 | 889.942 | 68.971 | 12.9053
2020-01-22 09:15:00 | 6.327 | 216.48 | 6.662 | 219.457 | 6.201 | 224.9 | 5.514 | 222.867 | -11.193 | 889.683 | 69.152 | 11.8302
2020-01-22 09:30:00 | 5.884 | 215.52 | 6.767 | 220.258 | 5.836 | 226.833 | 5.224 | 225.833 | -10.816 | 889.992 | 68.064 | 11.8444
2020-01-22 09:45:00 | 6.239 | 215.833 | 6.477 | 221.655 | 5.816 | 228.567 | 5.219 | 228.267 | -10.433 | 889.667 | 66.699 | 16.6322
2020-01-22 10:00:00 | 6.725 | 213.167 | 7.68 | 216.998 | 6.76 | 224.8 | 6.014 | 224.2 | -10.233 | 890.2 | 67.093 | 17.3414
2020-01-22 10:15:00 | 6.027 | 217.033 | 6.961 | 221.819 | 6.258 | 231.267 | 5.91 | 231.6 | -8.958 | 889.767 | 64.693 | 18.0143
2020-01-22 10:30:00 | 6.212 | 214.12 | 7.499 | 223.538 | 6.799 | 233.033 | 6.292 | 233.867 | -8.03 | 889.792 | 61.696 | 16.8241
2020-01-22 10:45:00 | 5.996 | 213.407 | 7.166 | 221.47 | 6.295 | 231.033 | 5.751 | 231.467 | -6.814 | 889.683 | 58.699 | 17.5482
2020-01-22 11:00:00 | 5.882 | 216.267 | 7.228 | 219.237 | 6.864 | 227 | 6.182 | 227.033 | -5.552 | 889.825 | 55.232 | 15.7774
2020-01-22 11:15:00 | 5.404 | 213.787 | 6.314 | 220.136 | 6.068 | 228.567 | 5.494 | 231.433 | -4.43 | 889.733 | 50.688 | 13.3039
2020-01-22 11:30:00 | 4.291 | 220.413 | 4.373 | 224.221 | 4.718 | 232.9 | 4.844 | 232.033 | -3.006 | 889.717 | 46.869 | 9.3532
2020-01-22 11:45:00 | 3.99 | 220.787 | 4.26 | 243.551 | 4.427 | 252.767 | 4.634 | 251.367 | -1.703 | 889.967 | 43.531 | 8.4941
2020-01-22 12:00:00 | 4.288 | 249.853 | 4.458 | 263.168 | 4.561 | 268.917 | 4.638 | 266.4 | -1.429 | 889.942 | 42.725 | 7.6301
2020-01-22 12:15:00 | 3.578 | 265.447 | 3.839 | 279.312 | 4.024 | 284.533 | 4.568 | 283.367 | -1.839 | 890.175 | 43.125 | 7.7708
2020-01-22 12:30:00 | 4.75 | 262.027 | 5.416 | 282.465 | 5.422 | 285.867 | 5.837 | 283.6 | -1.559 | 889.992 | 43.067 | 10.0865
2020-01-22 12:45:00 | 5.463 | 247.073 | 5.786 | 257.614 | 5.859 | 262.983 | 5.878 | 259.917 | -0.472 | 889.342 | 41.443 | 10.4091
2020-01-22 13:00:00 | 5.857 | 255.007 | 6.049 | 272.767 | 6.103 | 273.067 | 6.218 | 267.95 | -0.435 | 889.717 | 38.867 | 16.2002
2020-01-22 13:15:00 | 5.45 | 250.293 | 5.831 | 267.066 | 5.834 | 272.233 | 5.934 | 266.9 | -0.113 | 889.75 | 38.232 | 14.7457
2020-01-22 13:30:00 | 5.319 | 248.813 | 5.508 | 266.501 | 5.679 | 272.1 | 5.952 | 268.933 | 0.349 | 889.817 | 37.136 | 12.1471
2020-01-22 13:45:00 | 5.965 | 280.953 | 6.283 | 289.177 | 6.284 | 291.167 | 6.424 | 287.867 | -0.033 | 889.617 | 36.528 | 14.2817
2020-01-22 14:00:00 | 5.104 | 279.927 | 5.35 | 282.259 | 5.483 | 286.333 | 5.644 | 284.1 | -0.359 | 889.583 | 35.592 | 11.5389
2020-01-22 14:15:00 | 5.451 | 269 | 5.792 | 284.265 | 6.093 | 288.467 | 6.417 | 285.267 | 0.116 | 889.7 | 36.355 | 12.3909
2020-01-22 14:30:00 | 4.597 | 283.813 | 4.733 | 286.802 | 4.698 | 289.233 | 4.778 | 285.9 | -0.05 | 889.633 | 37.093 | 10.2222
2020-01-22 14:45:00 | 4.526 | 309.427 | 4.896 | 307.633 | 4.902 | 309.467 | 5.208 | 308.433 | 0.067 | 889.567 | 35.629 | 10.5498
2020-01-22 15:00:00 | 4.603 | 306.827 | 4.786 | 301.158 | 5.009 | 305.533 | 5.213 | 300.9 | 0.017 | 889.883 | 34.28 | 12.1038
2020-01-22 15:15:00 | 5.123 | 300.093 | 5.215 | 300.12 | 5.486 | 305.333 | 5.8 | 304.333 | 0.1 | 889.783 | 35.395 | 15.3092
2020-01-22 15:30:00 | 5.765 | 299.907 | 6.107 | 297.625 | 6.171 | 301.233 | 6.397 | 298.067 | -0.05 | 889.533 | 35.805 | 13.0567
2020-01-22 15:45:00 | 4.91 | 323.4 | 5.073 | 312.788 | 5.191 | 314.767 | 5.517 | 313.4 | 0.166 | 890.133 | 36.405 | 10.9513
2020-01-22 16:00:00 | 4.788 | 295.113 | 4.894 | 299.061 | 4.824 | 303.8 | 5.005 | 301.567 | 0.515 | 889.8 | 36.376 | 9.6346
2020-01-22 16:15:00 | 5.248 | 316.307 | 5.273 | 313.158 | 5.33 | 318.333 | 5.524 | 314.533 | 0.316 | 890.067 | 37.544 | 15.8726
2020-01-22 16:30:00 | 6.151 | 326 | 6.484 | 319.128 | 6.549 | 322.267 | 6.832 | 320.4 | -0.116 | 889.65 | 39.344 | 24.8293
2020-01-22 16:45:00 | 6.394 | 325.853 | 6.75 | 319.456 | 6.947 | 324.733 | 7.122 | 322.433 | -0.359 | 889.983 | 39.957 | 24.5991
2020-01-22 17:00:00 | 7.183 | 307.34 | 7.519 | 307.555 | 7.533 | 312.133 | 7.641 | 308.2 | -0.439 | 889.75 | 40.157 | 22.3622
2020-01-22 17:15:00 | 6.523 | 312.707 | 6.776 | 310.658 | 6.996 | 315.867 | 7.392 | 312.833 | -1.045 | 889.717 | 40.941 | 17.9482
2020-01-22 17:30:00 | 5.572 | 317.48 | 6.134 | 314.341 | 6.387 | 317.767 | 6.656 | 315.433 | -0.855 | 890.167 | 41.861 | 12.5273
2020-01-22 17:45:00 | 5.534 | 313 | 5.776 | 308.893 | 6.014 | 314 | 6.385 | 312.267 | -1.469 | 890.25 | 42.757 | 11.5652
2020-01-22 18:00:00 | 5.301 | 298.667 | 5.699 | 302.882 | 5.779 | 308.8 | 5.957 | 307.667 | -1.402 | 890.325 | 43.093 | 10.4972
2020-01-22 18:15:00 | 3.786 | 308.413 | 4.43 | 307.473 | 4.792 | 312.4 | 5.074 | 311.367 | -1.832 | 889.892 | 43.653 | 8.261
2020-01-22 18:30:00 | 4.112 | 302.693 | 4.984 | 302.936 | 5.404 | 308.967 | 5.874 | 307.833 | -2.148 | 890.308 | 45.371 | 7.8127
2020-01-22 18:45:00 | 4.263 | 289.467 | 5.265 | 296.717 | 5.896 | 302.7 | 6.457 | 301.167 | -3.069 | 889.908 | 46.661 | 9.7717
2020-01-22 19:00:00 | 4.083 | 289.533 | 4.942 | 291.705 | 5.318 | 300.267 | 5.626 | 299.567 | -3.019 | 889.667 | 48.715 | 6.6978
2020-01-22 19:15:00 | 2.765 | 294.4 | 3.823 | 296.352 | 4.243 | 303.267 | 4.775 | 302.767 | -3.522 | 890.208 | 50.347 | 4.1312
2020-01-22 19:30:00 | 2.56 | 257.58 | 3.242 | 283.15 | 3.822 | 289.567 | 4.165 | 290.767 | -3.896 | 890.142 | 50.165 | 3.3645
2020-01-22 19:45:00 | 3.418 | 218.42 | 2.973 | 231.707 | 3.073 | 250.233 | 3.277 | 260.5 | -4.314 | 890.075 | 53.717 | 4.2229
2020-01-22 20:00:00 | 4.31 | 231.933 | 3.974 | 239.464 | 3.922 | 256.933 | 3.99 | 264.567 | -3.756 | 890.017 | 53.173 | 6.5393
2020-01-22 20:15:00 | 4.927 | 229.68 | 4.58 | 238.028 | 4.697 | 248.4 | 4.704 | 251.2 | -3.979 | 889.417 | 53.323 | 7.964
2020-01-22 20:30:00 | 4.739 | 229 | 4.07 | 234.904 | 4.143 | 244.667 | 4.202 | 242.533 | -4.785 | 889.883 | 54.923 | 6.9721
2020-01-22 20:45:00 | 5.096 | 226.207 | 4.026 | 239.215 | 4.262 | 248 | 4.387 | 244.167 | -5.138 | 889.583 | 53.739 | 4.1128
2020-01-22 21:00:00 | 6.01 | 219.173 | 5.202 | 216.007 | 5.024 | 220.4 | 4.754 | 218.467 | -7.886 | 889.583 | 58.251 | 1.8574
2020-01-22 21:15:00 | 4.75 | 217.54 | 4.204 | 241.9 | 3.661 | 263.733 | 3.68 | 255.083 | -8.17 | 889.925 | 60.523 | 0.64733
2020-01-22 21:30:00 | 3.788 | 226.867 | 3.888 | 235.814 | 2.988 | 261.1 | 2.84 | 277.233 | -8.491 | 890.05 | 61.589 | 0.34747
2020-01-22 21:45:00 | 4.03 | 233.447 | 5.332 | 230.037 | 4.145 | 238.367 | 3.232 | 240.6 | -8.991 | 890.242 | 63.221 | 1.3771
2020-01-22 22:00:00 | 4.832 | 229.933 | 5.77 | 231.901 | 4.809 | 246.367 | 4.036 | 248.867 | -8.841 | 889.817 | 64.683 | 2.6625
2020-01-22 22:15:00 | 5.234 | 247.28 | 4.334 | 261.285 | 4.232 | 277.433 | 4.164 | 280.467 | -8.758 | 889.917 | 65.067 | 3.7497
2020-01-22 22:30:00 | 6.147 | 235.733 | 4.72 | 250.809 | 4.116 | 261.933 | 3.9 | 267.9 | -8.391 | 889.692 | 64.331 | 5.6476
2020-01-22 22:45:00 | 6.017 | 226.527 | 4.747 | 242.468 | 4.118 | 254.467 | 3.889 | 262.467 | -8.21 | 890.025 | 63.733 | 3.5315
2020-01-22 23:00:00 | 6.236 | 227.233 | 4.536 | 240.44 | 4.23 | 255.533 | 4.079 | 262.533 | -8.524 | 889.992 | 64.363 | 5.3534
2020-01-22 23:15:00 | 6.529 | 219.833 | 4.955 | 240.065 | 4.538 | 253.6 | 4.601 | 258.3 | -8.658 | 889.892 | 64.341 | 7.2393
2020-01-22 23:30:00 | 6.259 | 217.667 | 5.441 | 239.135 | 5.009 | 250.4 | 4.509 | 254.9 | -9.108 | 890.108 | 65.739 | 5.8927
2020-01-22 23:45:00 | 5.438 | 222.647 | 5.848 | 248.496 | 5.043 | 261.467 | 4.638 | 270.4 | -9.666 | 889.808 | 67.243 | 6.118