## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-23 00:00:00 | 5.411 | 221.14 | 5.662 | 245.522 | 4.855 | 259.6 | 4.884 | 266.667 | -9.537 | 890.1 | 67.68 | 7.1973
2020-01-23 00:15:00 | 6.326 | 211.907 | 5.653 | 243.555 | 4.821 | 257.567 | 4.741 | 265.033 | -9.641 | 890.183 | 67.253 | 5.0848
2020-01-23 00:30:00 | 4.904 | 212.987 | 5.323 | 237.78 | 4.804 | 251.967 | 4.474 | 258.267 | -9.933 | 889.8 | 67.691 | 4.1561
2020-01-23 00:45:00 | 4.725 | 214.52 | 5.057 | 233.734 | 4.699 | 243.267 | 4.254 | 242.967 | -10.049 | 889.883 | 67.829 | 4.1931
2020-01-23 01:00:00 | 5.324 | 214.433 | 4.544 | 231.939 | 4.328 | 241.733 | 4.175 | 238.9 | -10.016 | 890.033 | 67.605 | 4.3629
2020-01-23 01:15:00 | 5.88 | 215.147 | 4.906 | 228.108 | 4.72 | 236.033 | 4.298 | 231.167 | -10.028 | 889.55 | 68.288 | 4.4986
2020-01-23 01:30:00 | 5.749 | 211.787 | 5.034 | 229.139 | 4.533 | 236.467 | 4.24 | 233.733 | -9.933 | 889.75 | 66.933 | 5.9666
2020-01-23 01:45:00 | 6.301 | 215.8 | 5.344 | 223.181 | 5.051 | 232.367 | 4.668 | 229.233 | -9.808 | 889.683 | 65.995 | 6.5315
2020-01-23 02:00:00 | 6.144 | 213.94 | 5.551 | 224.736 | 5.191 | 231.267 | 5.019 | 228.7 | -9.849 | 889.908 | 66.155 | 8.2973
2020-01-23 02:15:00 | 5.553 | 214.7 | 6.07 | 235.985 | 5.77 | 245.833 | 5.484 | 242.6 | -9.704 | 889.942 | 66.08 | 11.5233
2020-01-23 02:30:00 | 6.167 | 221.693 | 6.209 | 242.989 | 5.88 | 250.333 | 5.27 | 246.933 | -10.191 | 890.133 | 66.859 | 10.9974
2020-01-23 02:45:00 | 5.894 | 221.327 | 6.385 | 246.008 | 5.911 | 254 | 5.307 | 252.4 | -9.883 | 889.583 | 66.571 | 11.8302
2020-01-23 03:00:00 | 7.342 | 219.58 | 6.476 | 239.956 | 6.02 | 248.433 | 5.656 | 251.433 | -9.787 | 889.625 | 66.763 | 14.0699
2020-01-23 03:15:00 | 6.285 | 212.933 | 6.494 | 238.728 | 6.126 | 248.333 | 5.829 | 248 | -9.824 | 889.6 | 66.315 | 17.028
2020-01-23 03:30:00 | 6.598 | 217.433 | 6.8 | 233.203 | 6.33 | 242.067 | 5.953 | 241.4 | -9.704 | 890.067 | 66.72 | 18.2054
2020-01-23 03:45:00 | 6.852 | 213.533 | 6.378 | 228.574 | 6.138 | 237.867 | 5.863 | 236.7 | -9.928 | 889.55 | 66.827 | 19.7317
2020-01-23 04:00:00 | 7.357 | 210.767 | 6.651 | 225.258 | 6.251 | 235.833 | 6.22 | 239.167 | -9.599 | 889.808 | 65.792 | 22.439
2020-01-23 04:15:00 | 7.289 | 209.133 | 7.094 | 221.638 | 6.47 | 232.833 | 6.138 | 236.067 | -9.358 | 889.725 | 64.629 | 24.4982
2020-01-23 04:30:00 | 7.024 | 216.033 | 7.233 | 222.163 | 6.519 | 229.267 | 6.053 | 229.033 | -9.024 | 890.033 | 63.861 | 24.2808
2020-01-23 04:45:00 | 7.107 | 211.467 | 6.857 | 219.472 | 6.098 | 228.667 | 5.842 | 231.5 | -9.274 | 889.758 | 64.587 | 22.3523
2020-01-23 05:00:00 | 7.207 | 212.5 | 7.535 | 219.668 | 6.843 | 225.633 | 6.159 | 226.667 | -9.158 | 889.983 | 63.701 | 23.8686
2020-01-23 05:15:00 | 7.057 | 212.5 | 7.107 | 216.695 | 6.475 | 226.833 | 5.962 | 227.433 | -9.704 | 890.325 | 64.437 | 21.7568
2020-01-23 05:30:00 | 7.174 | 212.367 | 6.644 | 215.034 | 6.36 | 221.3 | 5.97 | 221.633 | -9.241 | 889.75 | 63.083 | 20.7912
2020-01-23 05:45:00 | 6.189 | 213.66 | 6.408 | 223.405 | 6.078 | 233.633 | 5.697 | 235.8 | -9.304 | 889.792 | 64.373 | 17.9496
2020-01-23 06:00:00 | 5.533 | 211.533 | 6.663 | 220.343 | 6.474 | 232.3 | 6.157 | 232 | -9.124 | 889.817 | 64.501 | 19.714
2020-01-23 06:15:00 | 5.952 | 213.967 | 6.386 | 229.538 | 6.319 | 240.733 | 6.144 | 240.3 | -9.191 | 889.942 | 64.587 | 21.6105
2020-01-23 06:30:00 | 6.092 | 213.967 | 6.292 | 228.721 | 6.213 | 240.967 | 6.027 | 239.933 | -8.908 | 889.6 | 64.267 | 18.4676
2020-01-23 06:45:00 | 5.716 | 215.16 | 6.158 | 227.692 | 5.981 | 239.967 | 5.877 | 240.933 | -9.254 | 889.867 | 64.373 | 16.9513
2020-01-23 07:00:00 | 6.039 | 216.473 | 6.014 | 230.233 | 5.78 | 243.433 | 5.634 | 243.4 | -9.537 | 889.817 | 65.536 | 16.2379
2020-01-23 07:15:00 | 6.301 | 214.42 | 6.22 | 222.432 | 5.842 | 233.167 | 5.504 | 234.033 | -9.949 | 889.733 | 66.283 | 13.7651
2020-01-23 07:30:00 | 6.773 | 212.667 | 6.032 | 221.286 | 5.615 | 228.333 | 5.129 | 228.533 | -9.704 | 889.683 | 66.272 | 11.7059
2020-01-23 07:45:00 | 6.521 | 211.04 | 6.165 | 224.749 | 5.64 | 232.867 | 5.226 | 233.233 | -9.745 | 889.525 | 66.688 | 11.6014
2020-01-23 08:00:00 | 6.301 | 216.9 | 6.179 | 224.274 | 5.83 | 233.1 | 5.351 | 232.9 | -10.366 | 889.683 | 67.328 | 12.6936
2020-01-23 08:15:00 | 6.503 | 214.207 | 6.588 | 226.934 | 6.088 | 236.533 | 5.686 | 236.767 | -10.404 | 890.142 | 67.488 | 14.654
2020-01-23 08:30:00 | 6.462 | 213.167 | 6.192 | 229.202 | 5.899 | 240.2 | 5.51 | 239.633 | -10.891 | 890.142 | 68.107 | 12.943
2020-01-23 08:45:00 | 6.415 | 215.08 | 5.854 | 231.854 | 5.566 | 246.6 | 5.26 | 246.167 | -11.059 | 890.142 | 68.949 | 13.7893
2020-01-23 09:00:00 | 6.445 | 216.9 | 5.711 | 233.369 | 5.248 | 248.333 | 4.859 | 249.433 | -11.078 | 889.742 | 69.205 | 13.8227
2020-01-23 09:15:00 | 6.381 | 216.607 | 5.558 | 231.781 | 5.188 | 247.267 | 4.869 | 247.933 | -10.928 | 890.375 | 68.523 | 13.0432
2020-01-23 09:30:00 | 6.266 | 217.467 | 5.906 | 232.886 | 5.325 | 246.667 | 5.057 | 246.867 | -10.333 | 889.642 | 67.467 | 12.3354
2020-01-23 09:45:00 | 6.343 | 214.807 | 5.984 | 227.684 | 5.411 | 239.933 | 4.951 | 242.167 | -9.97 | 889.633 | 65.589 | 12.0484
2020-01-23 10:00:00 | 6.232 | 215.433 | 6.23 | 227.853 | 6.045 | 238.7 | 5.621 | 239.267 | -9.224 | 889.508 | 63.349 | 15.2886
2020-01-23 10:15:00 | 6.504 | 212.347 | 7.028 | 223.964 | 6.36 | 236 | 5.94 | 237.4 | -8.117 | 890.283 | 60.64 | 17.0358
2020-01-23 10:30:00 | 6.23 | 212.32 | 7.254 | 224.233 | 6.534 | 235.533 | 6.138 | 238.833 | -7.15 | 889.775 | 57.291 | 16.4176
2020-01-23 10:45:00 | 5.484 | 214.04 | 7.051 | 217.573 | 6.557 | 229.467 | 5.963 | 231.9 | -6.266 | 890.3 | 55.147 | 19.1825
2020-01-23 11:00:00 | 6.046 | 214.633 | 7.313 | 213.356 | 7.265 | 220.8 | 6.475 | 221 | -5.369 | 889.8 | 52.373 | 18.8137
2020-01-23 11:15:00 | 5.587 | 211.787 | 5.928 | 218.924 | 6.65 | 225.7 | 6.11 | 227.333 | -4.297 | 889.867 | 49.184 | 16.0553
2020-01-23 11:30:00 | 5.347 | 215.967 | 5.588 | 229.353 | 6.083 | 235 | 6.185 | 233.067 | -3.487 | 889.633 | 47.061 | 10.8177
2020-01-23 11:45:00 | 5.352 | 223.047 | 5.312 | 236.348 | 5.522 | 240.167 | 5.694 | 235.033 | -2.329 | 889.725 | 43.904 | 5.7584
2020-01-23 12:00:00 | 4.471 | 246.72 | 4.622 | 253.972 | 4.829 | 257.75 | 5.058 | 251.467 | -1.149 | 889.725 | 41.771 | 3.0675
2020-01-23 12:15:00 | 4.166 | 253.24 | 4.251 | 258.885 | 4.278 | 260.617 | 4.206 | 254.333 | -1.199 | 889.842 | 40.872 | 3.631
2020-01-23 12:30:00 | 4.427 | 255.833 | 4.844 | 269.678 | 5.153 | 272.5 | 5.118 | 268.117 | -0.419 | 890 | 39.779 | 9.8662
2020-01-23 12:45:00 | 5.566 | 248.667 | 5.902 | 269.471 | 5.981 | 273.1 | 5.974 | 269.65 | -1.082 | 889.917 | 40.032 | 18.9473
2020-01-23 13:00:00 | 6.543 | 242.5 | 6.974 | 274.012 | 6.986 | 277.533 | 6.962 | 274.6 | -1.032 | 889.95 | 39.483 | 20.8438
2020-01-23 13:15:00 | 6.493 | 242.947 | 6.749 | 264.665 | 6.769 | 269.467 | 6.826 | 265.217 | -0.219 | 890.133 | 39.008 | 17.2923
2020-01-23 13:30:00 | 5.208 | 243 | 5.526 | 266.662 | 5.61 | 268.1 | 5.819 | 262.583 | 0.166 | 889.883 | 38.277 | 13.2478
2020-01-23 13:45:00 | 5.475 | 236.593 | 5.696 | 257.264 | 5.665 | 262.5 | 5.868 | 257.567 | 0.249 | 889.767 | 38.069 | 13.2286
2020-01-23 14:00:00 | 5.683 | 242.733 | 6.028 | 261.25 | 6.075 | 265.467 | 6.044 | 259.767 | 0.682 | 889.7 | 37.232 | 14.1623
2020-01-23 14:15:00 | 5.666 | 235.06 | 6.007 | 258.946 | 6.135 | 265.117 | 6.184 | 260.2 | 0.998 | 889.333 | 37.376 | 13.5242
2020-01-23 14:30:00 | 5.42 | 263.54 | 5.689 | 277.331 | 5.765 | 281.267 | 5.992 | 279.3 | 1.039 | 890.233 | 37.819 | 13.1661
2020-01-23 14:45:00 | 5.292 | 270.48 | 5.609 | 278.91 | 5.776 | 280.7 | 5.939 | 277.333 | 0.598 | 889.617 | 37.944 | 12.5117
2020-01-23 15:00:00 | 5.483 | 276 | 5.657 | 283.685 | 5.717 | 288.167 | 6.078 | 287.533 | 0.499 | 889.55 | 37.963 | 15.1742
2020-01-23 15:15:00 | 6.017 | 276.167 | 6.206 | 283.897 | 6.372 | 285.467 | 6.588 | 282.133 | 0.898 | 889.867 | 37.2 | 15.28
2020-01-23 15:30:00 | 5.474 | 275.133 | 5.875 | 282.93 | 6.036 | 286.5 | 6.245 | 281.45 | 0.832 | 889.517 | 37.237 | 15.2758
2020-01-23 15:45:00 | 5.017 | 274.333 | 5.408 | 280.446 | 5.451 | 281.967 | 5.61 | 280.4 | 0.982 | 889.467 | 36.864 | 15.6701
2020-01-23 16:00:00 | 4.993 | 272.707 | 5.266 | 290.829 | 5.472 | 296.933 | 5.649 | 292.6 | 1.182 | 889.533 | 36.968 | 13.1185
2020-01-23 16:15:00 | 5.522 | 307 | 5.783 | 303.343 | 5.887 | 307.5 | 6.176 | 307.067 | 1.312 | 889.933 | 36.371 | 11.3627
2020-01-23 16:30:00 | 5.094 | 304.107 | 5.23 | 299.376 | 5.279 | 304.767 | 5.417 | 302.2 | 1.028 | 889.467 | 36.491 | 10.0538
2020-01-23 16:45:00 | 4.791 | 293.927 | 5.203 | 294.953 | 5.351 | 303.267 | 5.386 | 300.667 | 1.239 | 889.867 | 36.632 | 7.2933
2020-01-23 17:00:00 | 4.261 | 305.36 | 4.51 | 301.089 | 4.617 | 303.433 | 4.874 | 301.067 | 1.139 | 890.2 | 36.464 | 4.5085
2020-01-23 17:15:00 | 2.788 | 300.853 | 2.873 | 291.823 | 2.929 | 302.533 | 3.039 | 303.533 | 0.972 | 889.767 | 36.464 | 3.4789
2020-01-23 17:30:00 | 3.438 | 309.893 | 3.41 | 306.708 | 3.413 | 309.667 | 3.308 | 306.3 | 0.948 | 889.467 | 36.541 | 3.1812
2020-01-23 17:45:00 | 2.587 | 322.667 | 2.55 | 318.884 | 2.73 | 321.8 | 2.917 | 316.3 | 0.965 | 889.617 | 37.403 | 3.513
2020-01-23 18:00:00 | 3.722 | 329.36 | 4.14 | 323.444 | 4.368 | 327.2 | 4.497 | 326.767 | 0.848 | 889.867 | 38.341 | 2.9773
2020-01-23 18:15:00 | 3.164 | 189.964 | 3.837 | 323.886 | 4.103 | 334.867 | 4.407 | 343.667 | 0.183 | 889.875 | 40.451 | 0.35884
2020-01-23 18:30:00 | 2.531 | 40.793 | 2.867 | 35.724 | 2.987 | 35.033 | 2.761 | 22.367 | -0.792 | 889.517 | 44.608 | 0.29133
2020-01-23 18:45:00 | 2.42 | 83.05 | 2.425 | 70.574 | 2.127 | 68.3 | 2.086 | 51.967 | -1.713 | 890 | 47.179 | 0.23591
2020-01-23 19:00:00 | 2.166 | 104.217 | 2.081 | 93.287 | 2.002 | 93 | 1.988 | 73 | -1.856 | 889.858 | 48.139 | 0.22738
2020-01-23 19:15:00 | 2.514 | 125.997 | 2.424 | 117.656 | 2.354 | 121.367 | 2.488 | 112.433 | -2.214 | 889.958 | 48.896 | 0.23875
2020-01-23 19:30:00 | 3.114 | 159.22 | 2.319 | 128.583 | 2.277 | 141 | 2.519 | 130 | -2.193 | 889.658 | 48.928 | 0.24017
2020-01-23 19:45:00 | 4.217 | 215.82 | 2.945 | 200.616 | 2.806 | 196.833 | 2.508 | 157.4 | -3.351 | 890 | 48.501 | 0.25865
2020-01-23 20:00:00 | 4.426 | 214.913 | 3.411 | 200.533 | 3.165 | 202.433 | 3.127 | 178.933 | -4.709 | 889.725 | 51.403 | 0.23236
2020-01-23 20:15:00 | 5.456 | 213.307 | 5.037 | 204.685 | 3.985 | 210.433 | 3.337 | 199 | -5.902 | 889.717 | 54.741 | 0.35173
2020-01-23 20:30:00 | 5.926 | 219.18 | 4.781 | 214.52 | 3.55 | 219.867 | 2.869 | 206.8 | -6.136 | 889.875 | 55.2 | 0.55211
2020-01-23 20:45:00 | 5.576 | 216.447 | 4.728 | 217.196 | 3.797 | 224.467 | 2.973 | 210.4 | -5.971 | 889.567 | 55.637 | 0.81431
2020-01-23 21:00:00 | 5.205 | 217.033 | 4.033 | 212.464 | 3.329 | 216.967 | 2.834 | 213.1 | -6.378 | 889.95 | 56.469 | 0.52653
2020-01-23 21:15:00 | 4.949 | 215.973 | 4.51 | 212.35 | 3.612 | 219 | 3.011 | 213.1 | -6.995 | 889.608 | 57.323 | 0.29418
2020-01-23 21:30:00 | 5.536 | 213.693 | 4.141 | 203.526 | 3.334 | 203.933 | 2.949 | 204 | -7.17 | 890.242 | 58.475 | 0.21388
2020-01-23 21:45:00 | 4.668 | 212.267 | 3.369 | 199.988 | 2.244 | 199.133 | 1.738 | 204 | -6.114 | 889.992 | 56.171 | 0.22596
2020-01-23 22:00:00 | 1.957 | 138.01 | 1.982 | 151.752 | 2.946 | 181.033 | 3.711 | 188.433 | -6.178 | 889.783 | 55.637 | 0.22028
2020-01-23 22:15:00 | 3.303 | 188.133 | 3.308 | 181.888 | 2.22 | 163.833 | 1.794 | 140.267 | -6.263 | 889.667 | 54.539 | 0.26717
2020-01-23 22:30:00 | 1.972 | 169.533 | 1.668 | 75.608 | 2.101 | 62.167 | 2.286 | 58.433 | -5.452 | 889.525 | 54.72 | 0.18759
2020-01-23 22:45:00 | 1.701 | 135.553 | 1.343 | 63.844 | 2.296 | 73.133 | 2.843 | 70.033 | -4.563 | 890.192 | 53.003 | 0.15135
2020-01-23 23:00:00 | 1.875 | 159.62 | 1.343 | 109.083 | 2.179 | 112.867 | 2.609 | 97.033 | -4.166 | 889.95 | 52.341 | 0.25722
2020-01-23 23:15:00 | 2.063 | 180.747 | 1.431 | 136.528 | 1.589 | 123.633 | 1.592 | 99 | -4.593 | 890.133 | 53.067 | 0.22028
2020-01-23 23:30:00 | 2.018 | 204.733 | 0.17 | 138.515 | 0.779 | 123.967 | 1.293 | 99 | -5.019 | 889.792 | 54.528 | 0.21317
2020-01-23 23:45:00 | 1.676 | 226.127 | 0 | 138.536 | 0 | 124.033 | 0.844 | 99 | -4.749 | 889.975 | 55.104 | 0.21601