## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-24 00:00:00 | 2.046 | 242.267 | 0 | 180.482 | 0 | 124 | 0 | 97.4 | -4.885 | 890.292 | 56.032 | 0.21317
2020-01-24 00:15:00 | 2.561 | 254.82 | 0.712 | 229.452 | 0 | 124.067 | 0.245 | 97.067 | -4.969 | 889.933 | 53.237 | 0.21601
2020-01-24 00:30:00 | 2.829 | 244.933 | 0.202 | 252.532 | 0 | 266 | 0.182 | 97.067 | -5.202 | 889.483 | 49.963 | 0.21033
2020-01-24 00:45:00 | 1.584 | 235.3 | 0 | 252.52 | 0.24 | 0 | 1.437 | 89 | -5.485 | 890 | 50.731 | 0.15775
2020-01-24 01:00:00 | 4.041 | 165.62 | 2.835 | 151.455 | 1.302 | 136.3 | 0.97 | 89 | -5.776 | 889.933 | 54.485 | 0.18617
2020-01-24 01:15:00 | 5.558 | 185.127 | 4.279 | 176.328 | 3.19 | 177.367 | 2.244 | 147.467 | -7.006 | 890.175 | 51.296 | 0.45192
2020-01-24 01:30:00 | 3.338 | 212.353 | 2.557 | 181.447 | 1.987 | 168.533 | 1.606 | 146.9 | -9.57 | 889.675 | 58.784 | 0.77665
2020-01-24 01:45:00 | 4.235 | 193.42 | 3.108 | 186.148 | 2.447 | 190.9 | 2.201 | 170.667 | -9.504 | 890.125 | 70.027 | 1.0033
2020-01-24 02:00:00 | 3.21 | 240.053 | 1.788 | 257.857 | 1.196 | 242.367 | 1.197 | 193 | -8.13 | 889.967 | 62.789 | 0.32899
2020-01-24 02:15:00 | 2.362 | 256.507 | 1.633 | 268.848 | 1.444 | 264.133 | 0.641 | 192.6 | -6.076 | 890.067 | 61.616 | 0.24301
2020-01-24 02:30:00 | 3.772 | 234.447 | 1.81 | 268.117 | 1.804 | 278.133 | 1.912 | 235.367 | -5.458 | 889.633 | 50.24 | 0.2423
2020-01-24 02:45:00 | 3.318 | 215.38 | 2.252 | 264.7 | 1.753 | 284.267 | 1.679 | 266.233 | -8.651 | 890.017 | 54.885 | 0.22028
2020-01-24 03:00:00 | 4.101 | 218.96 | 1.559 | 233.054 | 1.254 | 263.867 | 0.813 | 266.067 | -7.893 | 890 | 55.253 | 0.19043
2020-01-24 03:15:00 | 4.182 | 214.4 | 2.674 | 234.067 | 2.085 | 254 | 1.746 | 265.733 | -6.595 | 890.183 | 52.683 | 0.21033
2020-01-24 03:30:00 | 3.27 | 192.813 | 2.998 | 217.143 | 2.547 | 236.133 | 1.771 | 264 | -9.141 | 889.9 | 55.083 | 0.2217
2020-01-24 03:45:00 | 4.05 | 191.333 | 2.449 | 180.423 | 2.234 | 206.733 | 1.321 | 264 | -8.324 | 890.067 | 55.552 | 0.19256
2020-01-24 04:00:00 | 4.894 | 185.213 | 3.114 | 155.852 | 2.14 | 149.033 | 1.475 | 134 | -10.651 | 889.825 | 57.643 | 0.52156
2020-01-24 04:15:00 | 5.213 | 185.113 | 3.437 | 159.392 | 2.449 | 158.633 | 2.21 | 146.067 | -10.541 | 890.1 | 59.915 | 4.8404
2020-01-24 04:30:00 | 4.798 | 182.393 | 3.274 | 161.212 | 2.303 | 160.6 | 1.712 | 145.467 | -8.177 | 890.117 | 54.987 | 8.3506
2020-01-24 04:45:00 | 4.757 | 177.367 | 4.145 | 159.978 | 3.573 | 159.367 | 3.176 | 147.167 | -9.362 | 889.667 | 57.408 | 10.3977
2020-01-24 05:00:00 | 4.228 | 170.06 | 3.394 | 134.632 | 3.191 | 131.067 | 3.509 | 125.733 | -8.026 | 890.125 | 56.341 | 8.077
2020-01-24 05:15:00 | 4.76 | 180.873 | 4.03 | 152.259 | 3.55 | 141.3 | 3.041 | 126.967 | -8.788 | 889.9 | 54.677 | 7.6045
2020-01-24 05:30:00 | 5.155 | 207.987 | 4.181 | 171.362 | 3.052 | 158.767 | 2.692 | 139.3 | -11.653 | 889.7 | 60.245 | 5.7009
2020-01-24 05:45:00 | 5.356 | 209.04 | 6.011 | 187.846 | 4.106 | 180.233 | 2.241 | 160.367 | -11.916 | 889.908 | 63.776 | 3.9614
2020-01-24 06:00:00 | 6.297 | 203.233 | 4.75 | 185.982 | 3.648 | 176.733 | 2.645 | 160.2 | -10.984 | 890.142 | 61.387 | 3.5521
2020-01-24 06:15:00 | 6.394 | 207.413 | 5.457 | 191.156 | 4.102 | 182.467 | 3.306 | 168 | -10.891 | 889.667 | 60.928 | 2.0429
2020-01-24 06:30:00 | 5.706 | 210.293 | 4.883 | 198.346 | 4.002 | 178.9 | 3.26 | 159.767 | -9.237 | 890 | 59.477 | 2.1537
2020-01-24 06:45:00 | 5.821 | 213.56 | 4.321 | 197.164 | 3.314 | 178.833 | 2.866 | 151.133 | -9.458 | 890.292 | 57.109 | 0.45689
2020-01-24 07:00:00 | 4.994 | 206.113 | 3.628 | 184.581 | 2.713 | 173.033 | 2.356 | 151.433 | -10.085 | 890.167 | 59.168 | 0.093084
2020-01-24 07:15:00 | 3.826 | 195.367 | 2.001 | 162.323 | 2.268 | 144.633 | 2.458 | 130.967 | -9.141 | 889.833 | 55.275 | 1.3323
2020-01-24 07:30:00 | 3.925 | 192.353 | 3.336 | 157.877 | 2.983 | 144.833 | 2.851 | 131.8 | -9.587 | 889.675 | 56.661 | 2.86
2020-01-24 07:45:00 | 3.971 | 205.573 | 2.196 | 150.605 | 2.191 | 140.267 | 2.217 | 131.867 | -9.199 | 889.717 | 56.469 | 0.63169
2020-01-24 08:00:00 | 3.983 | 222.787 | 0.506 | 141.479 | 1.079 | 124 | 0.857 | 104.067 | -10.226 | 890.275 | 56.299 | 0.2288
2020-01-24 08:15:00 | 3.998 | 212.933 | 0.79 | 151.508 | 0.553 | 124 | 0.681 | 104 | -9.67 | 889.667 | 60.021 | 0.2288
2020-01-24 08:30:00 | 3.632 | 219.62 | 0 | 151.507 | 0.623 | 82.033 | 1.887 | 65.333 | -9.449 | 889.675 | 57.013 | 0.2217
2020-01-24 08:45:00 | 2.225 | 234.653 | 0 | 151.494 | 0.027 | 77.933 | 1.242 | 71.967 | -7.996 | 890.008 | 53.248 | 0.22028
2020-01-24 09:00:00 | 2.213 | 231.807 | 0 | 21.062 | 0.686 | 49.767 | 1.778 | 72 | -7.97 | 890.158 | 52.373 | 0.23307
2020-01-24 09:15:00 | 0.954 | 243.933 | 1.646 | 12.698 | 1.825 | 55.608 | 2.489 | 66.1 | -8.724 | 889.683 | 54.059 | 0.17409
2020-01-24 09:30:00 | 0.605 | 226.633 | 0.05 | 44.656 | 1.289 | 79.167 | 1.827 | 87.567 | -8.524 | 889.917 | 56.128 | 0.12648
2020-01-24 09:45:00 | 1.763 | 230.387 | 0 | 331.017 | 0 | 13 | 1.149 | 105.3 | -7.963 | 889.958 | 54.133 | 0.098769
2020-01-24 10:00:00 | 0 | 227.407 | 1.15 | 27.502 | 2.114 | 52.233 | 2.502 | 70.067 | -6.715 | 889.692 | 52.139 | 0.37021
2020-01-24 10:15:00 | 0.858 | 212.353 | 0 | 55.125 | 1.561 | 95.567 | 3.175 | 107.967 | -6.123 | 889.833 | 49.824 | 0.59545
2020-01-24 10:30:00 | 0.186 | 212.24 | 0.603 | 138.494 | 1.906 | 129.567 | 2.856 | 125.467 | -5.637 | 889.858 | 48.459 | 1.0424
2020-01-24 10:45:00 | 2.054 | 212.067 | 2.366 | 164.886 | 2.78 | 155.233 | 3.098 | 145.1 | -5.119 | 889.408 | 47.861 | 2.288
2020-01-24 11:00:00 | 1.893 | 187.7 | 2.819 | 169.256 | 2.927 | 156.1 | 3.072 | 139.067 | -5.385 | 889.858 | 46.912 | 3.4001
2020-01-24 11:15:00 | 2.019 | 182.56 | 2.253 | 167.219 | 2.909 | 154.1 | 3.474 | 139.6 | -5.116 | 889.892 | 45.333 | 2.4927
2020-01-24 11:30:00 | 3.156 | 149.193 | 3.067 | 146.228 | 3.348 | 149.733 | 3.578 | 143.367 | -4.384 | 890.192 | 47.232 | 0.68072
2020-01-24 11:45:00 | 2.155 | 138.94 | 1.983 | 138.221 | 2.244 | 139.467 | 2.462 | 134.2 | -3.893 | 889.917 | 46.933 | 0.26575
2020-01-24 12:00:00 | 2.82 | 96.4 | 2.797 | 93.644 | 2.93 | 96.667 | 3.121 | 91.8 | -4.008 | 890.192 | 48.469 | 0.47679
2020-01-24 12:15:00 | 3.344 | 90.4 | 3.517 | 87.602 | 3.483 | 92.967 | 3.553 | 87.767 | -3.488 | 889.942 | 49.056 | 1.1952
2020-01-24 12:30:00 | 3.134 | 109.4 | 3.096 | 104.053 | 3.11 | 103.833 | 3.36 | 101.067 | -3.421 | 889.667 | 48.917 | 0.83705
2020-01-24 12:45:00 | 3.06 | 103.473 | 3.02 | 97.669 | 2.893 | 99.767 | 2.859 | 92.333 | -3.123 | 889.992 | 47.563 | 2.5524
2020-01-24 13:00:00 | 4.252 | 78.37 | 4.308 | 75.976 | 4.545 | 79.267 | 4.824 | 77.067 | -2.995 | 889.925 | 46.677 | 6.3276
2020-01-24 13:15:00 | 4.487 | 88.837 | 4.572 | 81.411 | 4.445 | 86.6 | 4.418 | 84.667 | -2.995 | 889.85 | 46.933 | 6.9032
2020-01-24 13:30:00 | 3.67 | 94.8 | 3.979 | 92.85 | 3.833 | 95.633 | 4.021 | 92.267 | -3.371 | 889.867 | 48.181 | 7.2698
2020-01-24 13:45:00 | 3.394 | 89.533 | 3.725 | 87.612 | 3.775 | 93.1 | 3.773 | 89.633 | -3.572 | 889.567 | 48.619 | 7.0488
2020-01-24 14:00:00 | 4.205 | 80.367 | 4.73 | 72.689 | 5.048 | 77.467 | 5.105 | 73.133 | -3.187 | 889.617 | 48.715 | 11.7954
2020-01-24 14:15:00 | 5.267 | 99.893 | 5.042 | 92.834 | 4.988 | 95.6 | 4.903 | 84.5 | -3.049 | 889.558 | 49.109 | 14.0891
2020-01-24 14:30:00 | 5.439 | 75.567 | 5.579 | 69.622 | 5.605 | 76.267 | 5.518 | 74.567 | -3.254 | 889.792 | 50.304 | 15.2687
2020-01-24 14:45:00 | 5.031 | 96.987 | 4.709 | 93.064 | 4.602 | 94.567 | 4.856 | 90.8 | -3.18 | 889.742 | 50.24 | 16.4269
2020-01-24 15:00:00 | 4.832 | 96.073 | 4.532 | 89.243 | 4.311 | 92.233 | 4.579 | 88.5 | -3.173 | 890.175 | 49.92 | 16.2208
2020-01-24 15:15:00 | 5.624 | 93.713 | 5.484 | 90.665 | 5.453 | 94.333 | 5.52 | 89.333 | -2.639 | 889.958 | 50.229 | 16.8859
2020-01-24 15:30:00 | 5.844 | 85.987 | 5.63 | 78.456 | 5.841 | 84.9 | 5.926 | 80.933 | -2.76 | 890.283 | 50.315 | 18.3532
2020-01-24 15:45:00 | 5.844 | 83.81 | 5.762 | 79.366 | 5.854 | 83.967 | 5.976 | 80.667 | -2.39 | 890.033 | 50.037 | 18.0058
2020-01-24 16:00:00 | 5.463 | 87.017 | 5.175 | 82.607 | 5.188 | 84.567 | 5.293 | 83.467 | -2.399 | 889.767 | 49.643 | 19.321
2020-01-24 16:15:00 | 5.862 | 94.073 | 5.656 | 90.457 | 5.467 | 93.633 | 5.336 | 93.333 | -2.051 | 889.867 | 48.363 | 17.8729
2020-01-24 16:30:00 | 5.35 | 82.873 | 5.326 | 77.159 | 5.238 | 84.267 | 5.334 | 81.833 | -2.329 | 889.992 | 48.789 | 19.1171
2020-01-24 16:45:00 | 5.496 | 84.463 | 5.581 | 80.058 | 5.564 | 85.3 | 5.458 | 81.933 | -2.111 | 889.9 | 48.491 | 17.4906
2020-01-24 17:00:00 | 4.834 | 92.58 | 4.926 | 83.414 | 4.865 | 88.133 | 5.246 | 83.333 | -2.263 | 890.225 | 48.683 | 16.0297
2020-01-24 17:15:00 | 5.738 | 85.84 | 5.83 | 79.392 | 6 | 83.233 | 5.862 | 79.2 | -2.246 | 889.65 | 48.683 | 16.2514
2020-01-24 17:30:00 | 4.821 | 76.043 | 5.239 | 71.511 | 5.301 | 78.467 | 5.511 | 75.733 | -2.488 | 889.483 | 49.525 | 14.3698
2020-01-24 17:45:00 | 4.84 | 78.927 | 5.181 | 73.844 | 5.326 | 77.7 | 5.4 | 75.867 | -2.696 | 889.833 | 49.995 | 17.0849
2020-01-24 18:00:00 | 4.649 | 78.75 | 5.3 | 72.366 | 5.526 | 76.6 | 5.62 | 71.033 | -3.169 | 889.767 | 50.507 | 16.8063
2020-01-24 18:15:00 | 5.155 | 74.033 | 5.45 | 67.799 | 5.771 | 72.733 | 5.92 | 70.2 | -3.572 | 890.075 | 51.339 | 13.8738
2020-01-24 18:30:00 | 4.026 | 71.7 | 4.357 | 68.058 | 4.51 | 71.467 | 4.612 | 69.433 | -3.655 | 889.8 | 52.747 | 11.5588
2020-01-24 18:45:00 | 3.816 | 74.093 | 4.307 | 71.66 | 4.442 | 75.233 | 4.455 | 72.367 | -4.166 | 890.067 | 54.368 | 9.1635
2020-01-24 19:00:00 | 3.16 | 70.267 | 3.661 | 66.504 | 3.93 | 71.867 | 4.23 | 69.767 | -4.919 | 889.517 | 56.427 | 4.6514
2020-01-24 19:15:00 | 3.144 | 80.9 | 3.2 | 75.81 | 3.291 | 85.333 | 3.327 | 81.5 | -5.169 | 889.642 | 57.653 | 4.0765
2020-01-24 19:30:00 | 3.073 | 76.147 | 3.139 | 74.746 | 3.274 | 82.567 | 3.401 | 79.367 | -5.879 | 889.125 | 59.595 | 2.2404
2020-01-24 19:45:00 | 2.96 | 83.49 | 2.808 | 80.226 | 2.487 | 86.567 | 2.295 | 84.4 | -6.436 | 889.575 | 61.76 | 1.0914
2020-01-24 20:00:00 | 2.914 | 76.09 | 2.794 | 72.509 | 2.998 | 80.067 | 2.826 | 79.433 | -6.252 | 889.983 | 62.261 | 1.3018
2020-01-24 20:15:00 | 1.096 | 116.147 | 1.993 | 82.212 | 2.383 | 87.6 | 1.908 | 91.6 | -7.387 | 889.75 | 63.563 | 0.37092
2020-01-24 20:30:00 | 2.184 | 186.09 | 1.233 | 139.845 | 1.602 | 104.867 | 1.606 | 113.033 | -7.28 | 890.392 | 65.675 | 0.40644
2020-01-24 20:45:00 | 3.156 | 169.413 | 2.371 | 146.977 | 2.78 | 129.5 | 3.168 | 105.233 | -7.181 | 890.092 | 65.824 | 1.3089
2020-01-24 21:00:00 | 2.494 | 165.46 | 2.378 | 125.852 | 2.581 | 110.333 | 2.298 | 98.133 | -7.602 | 890.033 | 66.133 | 2.6056
2020-01-24 21:15:00 | 3.826 | 178.92 | 2.924 | 144.919 | 2.812 | 127.967 | 2.892 | 103.767 | -7.399 | 889.875 | 65.067 | 2.1189
2020-01-24 21:30:00 | 2.464 | 163.727 | 2.218 | 125.513 | 2.41 | 107.767 | 2.245 | 98.833 | -7.254 | 890.017 | 65.92 | 3.0377
2020-01-24 21:45:00 | 2.323 | 150.133 | 2.331 | 107.524 | 1.865 | 97.9 | 2.517 | 96.167 | -7.091 | 889.9 | 64.309 | 2.4273
2020-01-24 22:00:00 | 1.454 | 162.613 | 1.927 | 104.871 | 2.272 | 107.667 | 2.663 | 103.9 | -7.197 | 890.092 | 64.256 | 0.40929
2020-01-24 22:15:00 | 0.989 | 144.66 | 1.807 | 104.742 | 1.947 | 94.967 | 2.464 | 87.567 | -6.922 | 890.117 | 65.152 | 0.3496
2020-01-24 22:30:00 | 0.134 | 99.273 | 2.409 | 69.274 | 3.243 | 75.3 | 3.73 | 74.667 | -7.164 | 889.917 | 63.659 | 0.61109
2020-01-24 22:45:00 | 0 | 99.297 | 0.62 | 83.132 | 2.305 | 77.533 | 2.436 | 79.033 | -7.642 | 889.65 | 66.101 | 0.1549
2020-01-24 23:00:00 | 0.416 | 95.643 | 2.182 | 65.225 | 3.137 | 68 | 3.4 | 71.733 | -8.13 | 889.8 | 68.757 | 1.0104
2020-01-24 23:15:00 | 0.653 | 36.032 | 2.325 | 58.293 | 3.257 | 66.633 | 3.562 | 62.6 | -7.97 | 889.892 | 68.459 | 0.74112
2020-01-24 23:30:00 | 1.31 | 108.82 | 1.793 | 85.28 | 1.981 | 90.733 | 1.969 | 87.2 | -8.674 | 890.042 | 69.493 | 0.095926
2020-01-24 23:45:00 | 2.111 | 185.5 | 1.68 | 151.928 | 2.028 | 122.033 | 2.13 | 105.567 | -8.941 | 889.792 | 69.227 | 0.58693