## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-25 00:00:00 | 1.554 | 144.993 | 2.074 | 110.622 | 2.059 | 104.867 | 2.056 | 93.267 | -8.377 | 889.608 | 69.312 | 2.5545
2020-01-25 00:15:00 | 2.125 | 155.9 | 2.557 | 116.019 | 2.856 | 114.7 | 3.627 | 105.2 | -9.124 | 890.017 | 69.376 | 5.5893
2020-01-25 00:30:00 | 2.165 | 167.633 | 2.907 | 107.256 | 2.592 | 101.633 | 3.484 | 98.033 | -9.341 | 890.067 | 69.493 | 7.2371
2020-01-25 00:45:00 | 2.157 | 173.04 | 2.588 | 116.234 | 3.055 | 101.5 | 3.719 | 101.867 | -9.283 | 890.258 | 69.952 | 4.4233
2020-01-25 01:00:00 | 1.343 | 130.853 | 2.18 | 90.992 | 1.9 | 96.333 | 2.704 | 102.667 | -8.724 | 889.975 | 69.739 | 1.7189
2020-01-25 01:15:00 | 2.431 | 85.37 | 3.258 | 77.788 | 3.239 | 87.467 | 2.751 | 91.633 | -8.17 | 889.392 | 69.216 | 3.4875
2020-01-25 01:30:00 | 3.896 | 74.367 | 4.12 | 72.623 | 3.542 | 89.867 | 3.182 | 93.8 | -7.556 | 889.567 | 66.176 | 5.4628
2020-01-25 01:45:00 | 0.146 | 154.207 | 3.827 | 67.175 | 3.898 | 81.7 | 3.352 | 87.3 | -9.737 | 890.092 | 63.403 | 9.0221
2020-01-25 02:00:00 | 3.79 | 75.947 | 4.478 | 80.207 | 4.1 | 88.1 | 3.92 | 88.867 | -9.545 | 889.675 | 72.352 | 19.1555
2020-01-25 02:15:00 | 3.46 | 92.693 | 4.94 | 84.676 | 4.236 | 91.8 | 3.991 | 92.667 | -9.266 | 889.883 | 67.765 | 23.3251
2020-01-25 02:30:00 | 3.556 | 94.667 | 4.628 | 87.408 | 3.602 | 98.467 | 3.34 | 93.367 | -9.091 | 889.867 | 67.584 | 16.4731
2020-01-25 02:45:00 | 1.985 | 106.133 | 3.928 | 90.234 | 3.428 | 98.6 | 3.056 | 98.433 | -10.066 | 889.842 | 70.219 | 13.7367
2020-01-25 03:00:00 | 1.75 | 157.873 | 3.001 | 108.172 | 2.908 | 102.6 | 3.275 | 97.433 | -10.437 | 889.975 | 72.661 | 10.0012
2020-01-25 03:15:00 | 1.965 | 166.933 | 2.906 | 114.117 | 3.678 | 109.9 | 3.269 | 101.2 | -10.383 | 890.1 | 73.184 | 6.9401
2020-01-25 03:30:00 | 1.913 | 163.953 | 2.646 | 122.358 | 2.809 | 113.933 | 2.836 | 97.2 | -10.628 | 890.05 | 72.469 | 4.7352
2020-01-25 03:45:00 | 1.671 | 144.68 | 2.222 | 104.578 | 1.942 | 94.333 | 2.482 | 79.467 | -10.128 | 889.983 | 72.341 | 3.0348
2020-01-25 04:00:00 | 1.351 | 120.98 | 2.257 | 83.854 | 3.023 | 78.833 | 3.016 | 78.833 | -10.599 | 889.642 | 72.501 | 1.5959
2020-01-25 04:15:00 | 1.269 | 184.3 | 1.466 | 113.841 | 1.381 | 85.333 | 1.971 | 84.933 | -11.245 | 889.892 | 74.859 | 0.92089
2020-01-25 04:30:00 | 2.095 | 215.907 | 0 | 114.283 | 0.66 | 102.433 | 2.432 | 84.767 | -11.022 | 890.133 | 76.96 | 1.4659
2020-01-25 04:45:00 | 0.532 | 218.3 | 0.154 | 114.211 | 1.475 | 88.667 | 3.147 | 80.5 | -10.383 | 889.275 | 76.853 | 1.6101
2020-01-25 05:00:00 | 0 | 180.4 | 1.76 | 65.856 | 3.354 | 74.267 | 4.048 | 72.033 | -10.249 | 889.633 | 75.179 | 2.8778
2020-01-25 05:15:00 | 0 | 94.18 | 2.49 | 73.803 | 3.324 | 81.467 | 3.461 | 79.4 | -10.82 | 889.858 | 74.933 | 2.0855
2020-01-25 05:30:00 | 1.184 | 171.38 | 1.943 | 110.453 | 2.132 | 96.333 | 1.924 | 92.567 | -11.082 | 889.833 | 75.712 | 0.47466
2020-01-25 05:45:00 | 1.954 | 166.46 | 1.699 | 113.104 | 1.596 | 96.967 | 2.148 | 102.367 | -11.14 | 890 | 75.595 | 0.19967
2020-01-25 06:00:00 | 1.623 | 166.867 | 1.707 | 113.917 | 1.706 | 109.3 | 2.435 | 105.033 | -11.261 | 889.383 | 76.821 | 1.8141
2020-01-25 06:15:00 | 2.01 | 175.667 | 1.832 | 126.551 | 3.062 | 112.333 | 3.742 | 104.333 | -11.068 | 889.733 | 77.419 | 3.2658
2020-01-25 06:30:00 | 2.34 | 170.847 | 2.904 | 112.459 | 3.482 | 108.367 | 3.266 | 100.433 | -11.084 | 889.65 | 74.357 | 5.1772
2020-01-25 06:45:00 | 3.326 | 195.847 | 2.626 | 133.884 | 3.363 | 116.7 | 3.958 | 108.167 | -11.495 | 889.633 | 73.579 | 3.609
2020-01-25 07:00:00 | 2.635 | 200.067 | 1.547 | 151.173 | 1.894 | 108.067 | 2.785 | 93.233 | -11.228 | 889.733 | 73.461 | 4.5192
2020-01-25 07:15:00 | 1.953 | 159.933 | 2.868 | 110.968 | 3.419 | 108.833 | 3.852 | 97.933 | -10.957 | 889.742 | 73.984 | 10.0225
2020-01-25 07:30:00 | 2.647 | 128.973 | 4.191 | 99.396 | 3.813 | 100 | 4.15 | 97 | -11.074 | 890 | 69.088 | 12.2772
2020-01-25 07:45:00 | 1.561 | 197.24 | 1.963 | 107.752 | 3.235 | 106.933 | 3.792 | 100 | -11.574 | 889.833 | 66.805 | 7.2769
2020-01-25 08:00:00 | 0.9 | 153.693 | 2.574 | 101.784 | 2.694 | 100.967 | 3.639 | 98.267 | -11.174 | 889.75 | 69.728 | 9.8648
2020-01-25 08:15:00 | 1.364 | 144.27 | 3.662 | 101.907 | 3.657 | 103.567 | 4.162 | 99.467 | -11.311 | 889.675 | 69.419 | 10.9967
2020-01-25 08:30:00 | 1.67 | 84.2 | 4.334 | 79.469 | 4.784 | 86.6 | 4.637 | 85 | -11.311 | 889.567 | 69.163 | 10.2791
2020-01-25 08:45:00 | 0.12 | 104.243 | 2.909 | 79.005 | 4.084 | 86.833 | 4.225 | 85.4 | -11.366 | 889.775 | 69.269 | 4.6606
2020-01-25 09:00:00 | 0.173 | 276.613 | 0.19 | 105.951 | 2.242 | 84.725 | 4.147 | 78.967 | -11.495 | 889.867 | 71.296 | 3.5393
2020-01-25 09:15:00 | 0 | 80.14 | 2.528 | 72.445 | 3.413 | 76.3 | 3.936 | 75 | -12.111 | 889.942 | 72 | 0.82284
2020-01-25 09:30:00 | 0.895 | 231.86 | 0.347 | 96.51 | 1.106 | 97.267 | 2.179 | 94.467 | -11.59 | 890.05 | 73.088 | 0.16698
2020-01-25 09:45:00 | 0.499 | 226.867 | 0 | 106.264 | 0.669 | 92.433 | 2.087 | 85.733 | -9.687 | 890.342 | 70.496 | 0.33965
2020-01-25 10:00:00 | 1.35 | 239.7 | 0 | 195.48 | 0.773 | 116.033 | 2.25 | 102.633 | -8.874 | 890.067 | 66.187 | 0.21885
2020-01-25 10:15:00 | 1.908 | 226.873 | 0 | 117.288 | 1.09 | 97.033 | 2.64 | 88.733 | -8.721 | 889.783 | 60.661 | 0.23733
2020-01-25 10:30:00 | 0.213 | 240.573 | 0.043 | 107.658 | 1.414 | 80.9 | 2.762 | 77.8 | -7.703 | 889.658 | 61.429 | 0.24586
2020-01-25 10:45:00 | 1.703 | 240.227 | 0 | 95.992 | 0.714 | 73 | 1.811 | 79 | -7.038 | 890.108 | 57.291 | 0.21743
2020-01-25 11:00:00 | 2.012 | 252.433 | 0.3 | 222.824 | 0 | 73.117 | 0.091 | 75 | -6.528 | 890.642 | 58.389 | 0.21317
2020-01-25 11:15:00 | 1.75 | 252.64 | 1.498 | 250.531 | 0.627 | 235.883 | 0.225 | 70.5 | -5.202 | 889.433 | 56.384 | 0.23022
2020-01-25 11:30:00 | 1.383 | 273.653 | 1.07 | 279.331 | 1.03 | 278.967 | 1.326 | 270.2 | -5.78 | 889.158 | 54.427 | 0.22738
2020-01-25 11:45:00 | 1.24 | 321.6 | 0.932 | 334.103 | 1.167 | 323.867 | 1.31 | 326.533 | -6.853 | 889.792 | 55.525 | 0.22312
2020-01-25 12:00:00 | 1.597 | 307.533 | 1.479 | 325.255 | 1.811 | 328.567 | 1.908 | 323.933 | -6.735 | 890.033 | 55.68 | 0.22738
2020-01-25 12:15:00 | 1.391 | 28.105 | 1.535 | 24.025 | 1.462 | 22.1 | 1.699 | 26.733 | -5.871 | 889.767 | 54.571 | 0.24586
2020-01-25 12:30:00 | 2.554 | 56.098 | 2.299 | 60.386 | 2.461 | 73.567 | 2.523 | 71.7 | -5.595 | 890.142 | 51.413 | 0.63169
2020-01-25 12:45:00 | 3.365 | 91.04 | 3.426 | 89.008 | 3.656 | 94.3 | 3.628 | 87.6 | -5.475 | 889.95 | 52.96 | 3.9529
2020-01-25 13:00:00 | 3.167 | 81.997 | 3.346 | 83.324 | 3.564 | 89.267 | 3.719 | 82.733 | -5.052 | 889.6 | 51.285 | 4.2165
2020-01-25 13:15:00 | 3.237 | 109.307 | 3.194 | 101.24 | 3.194 | 108.6 | 3.426 | 93.3 | -5.319 | 889.858 | 50.752 | 2.5744
2020-01-25 13:30:00 | 2.985 | 84.228 | 2.795 | 81.819 | 2.794 | 86.433 | 2.673 | 81.367 | -4.899 | 889.708 | 49.045 | 1.9178
2020-01-25 13:45:00 | 3.581 | 80.817 | 3.464 | 76.21 | 3.444 | 82.367 | 3.281 | 82.9 | -4.503 | 890.067 | 47.744 | 0.53008
2020-01-25 14:00:00 | 1.997 | 92.6 | 2.084 | 84.994 | 2.275 | 96.433 | 2.503 | 85.633 | -3.84 | 890.125 | 45.963 | 0.23804
2020-01-25 14:15:00 | 3.231 | 88.633 | 3.576 | 81.035 | 3.532 | 88.433 | 3.466 | 81.9 | -3.538 | 889.958 | 45.088 | 0.29773
2020-01-25 14:30:00 | 2.964 | 69.6 | 3.021 | 74.289 | 3.005 | 79.8 | 3.125 | 77.667 | -3.588 | 889.842 | 45.973 | 0.11937
2020-01-25 14:45:00 | 1.097 | 37.3 | 0.964 | 39.051 | 1.037 | 54.633 | 1.42 | 58.067 | -3.421 | 889.15 | 44.608 | 0.26788
2020-01-25 15:00:00 | 2.004 | 108.327 | 1.854 | 103.799 | 2.074 | 101.667 | 2.213 | 93.6 | -2.916 | 889.858 | 43.744 | 0.23236
2020-01-25 15:15:00 | 1.924 | 79.112 | 1.847 | 71.372 | 1.672 | 74.233 | 1.729 | 63.267 | -3.036 | 889.85 | 42.987 | 0.2217
2020-01-25 15:30:00 | 0.773 | 14.977 | 0.384 | 7.924 | 0.649 | 15.8 | 1.135 | 27 | -2.842 | 889.942 | 42.315 | 0.22312
2020-01-25 15:45:00 | 1.93 | 122.71 | 1.987 | 154.324 | 2.03 | 107.435 | 2.223 | 95.3 | -2.7 | 890 | 42.389 | 0.22596
2020-01-25 16:00:00 | 2.446 | 57.215 | 2.231 | 48.538 | 2.42 | 55.833 | 2.542 | 48.567 | -2.963 | 890.008 | 42.475 | 0.23022
2020-01-25 16:15:00 | 1.827 | 14.915 | 1.868 | 46.444 | 1.56 | 23.5 | 1.552 | 27.767 | -2.63 | 890.233 | 41.76 | 0.25438
2020-01-25 16:30:00 | 2.189 | 51.212 | 2.313 | 50.282 | 2.361 | 50.467 | 2.436 | 45.967 | -2.258 | 890.192 | 41.237 | 0.22596
2020-01-25 16:45:00 | 2.317 | 49.638 | 1.941 | 52.305 | 2.017 | 61.333 | 2.137 | 62.9 | -2.532 | 889.867 | 41.685 | 0.17764
2020-01-25 17:00:00 | 2.213 | 50.505 | 2.171 | 51.792 | 2.256 | 58.067 | 2.414 | 56.333 | -2.578 | 889.908 | 42.443 | 0.12861
2020-01-25 17:15:00 | 2.37 | 60.765 | 2.151 | 60.6 | 2.407 | 68.6 | 2.342 | 69.033 | -2.821 | 889.817 | 43.285 | 0.10658
2020-01-25 17:30:00 | 2.444 | 72.285 | 2.392 | 64.977 | 2.514 | 72.5 | 2.634 | 70.767 | -2.901 | 889.783 | 44.117 | 0.1478
2020-01-25 17:45:00 | 2.566 | 81.767 | 2.387 | 77.518 | 2.527 | 84.933 | 2.79 | 79.367 | -2.897 | 890.083 | 44.523 | 0.25225
2020-01-25 18:00:00 | 1.904 | 78.088 | 1.872 | 72.766 | 2.09 | 77.833 | 2.41 | 74 | -2.916 | 889.858 | 45.152 | 0.23662
2020-01-25 18:15:00 | 2.194 | 74.467 | 2.153 | 65.493 | 2.33 | 72.233 | 2.408 | 68.667 | -3.304 | 890.125 | 46.123 | 0.14282
2020-01-25 18:30:00 | 2.521 | 64.867 | 2.353 | 59.864 | 2.176 | 63.8 | 2.388 | 62.6 | -3.354 | 889.85 | 47.307 | 0.26078
2020-01-25 18:45:00 | 1.688 | 48.867 | 1.638 | 53.249 | 2.053 | 59.6 | 2.241 | 55.633 | -3.773 | 890.142 | 49.184 | 0.22738
2020-01-25 19:00:00 | 1.625 | 51.013 | 2.075 | 59.192 | 2.403 | 66 | 2.637 | 58.033 | -4.099 | 889.9 | 50.709 | 0.17054
2020-01-25 19:15:00 | 1.938 | 55.132 | 1.902 | 54.745 | 1.981 | 58.733 | 2.042 | 59.967 | -4.551 | 889.592 | 51.253 | 0.24941
2020-01-25 19:30:00 | 1.527 | 51.05 | 2.319 | 48.129 | 2.405 | 56 | 2.277 | 61.9 | -4.919 | 889.942 | 53.109 | 0.21317
2020-01-25 19:45:00 | 0.978 | 51.05 | 1.676 | 49.314 | 1.886 | 61.3 | 1.934 | 68.467 | -5.202 | 890.25 | 54.816 | 0.21601
2020-01-25 20:00:00 | 0 | 51.068 | 1.346 | 51.109 | 1.391 | 62 | 1.392 | 71 | -5.819 | 889.942 | 56.96 | 0.21317
2020-01-25 20:15:00 | 0 | 51.095 | 0.616 | 47.664 | 0.515 | 51.967 | 0.272 | 71 | -6.286 | 889.767 | 60.213 | 0.21743
2020-01-25 20:30:00 | 0 | 338.96 | 0 | 41.133 | 0 | 52.046 | 0 | 71 | -6.104 | 889.492 | 59.84 | 0.21317
2020-01-25 20:45:00 | 2.504 | 236.733 | 0 | 25.124 | 0 | 52 | 0 | 71.067 | -6.345 | 889.917 | 59.915 | 0.21317
2020-01-25 21:00:00 | 3.414 | 227.493 | 0.904 | 258.933 | 0 | 51.867 | 0 | 70.833 | -6.226 | 889.633 | 58.955 | 0.21317
2020-01-25 21:15:00 | 3.492 | 221.12 | 1.436 | 233.621 | 0 | 52.1 | 0 | 71 | -6.356 | 890.033 | 57.323 | 0.21459
2020-01-25 21:30:00 | 3.341 | 228.713 | 1.559 | 245.572 | 0.027 | 259.667 | 0 | 71.142 | -7.032 | 889.7 | 58.699 | 0.21743
2020-01-25 21:45:00 | 2.494 | 224.133 | 0.136 | 240.453 | 0 | 292 | 0.265 | 71.283 | -6.346 | 890.358 | 58.219 | 0.21317
2020-01-25 22:00:00 | 3.278 | 217.16 | 0.063 | 227.469 | 0 | 292 | 0 | 71.283 | -7.369 | 889.9 | 58.176 | 0.21317
2020-01-25 22:15:00 | 3.454 | 216.913 | 0.752 | 225.416 | 0 | 291.933 | 0 | 71.25 | -7.032 | 890.042 | 57.696 | 0.21459
2020-01-25 22:30:00 | 2.918 | 218.8 | 0 | 220.47 | 0 | 292 | 0 | 71.25 | -6.893 | 889.892 | 56.981 | 0.21459
2020-01-25 22:45:00 | 3.305 | 221.66 | 0.611 | 220.416 | 0 | 292 | 0 | 71.25 | -7.17 | 889.8 | 57.045 | 0.21743
2020-01-25 23:00:00 | 3.77 | 224.027 | 0.545 | 221.132 | 0 | 292 | 0 | 71.15 | -7.17 | 889.383 | 57.035 | 0.22312
2020-01-25 23:15:00 | 3.502 | 220.973 | 0 | 235.567 | 0 | 292 | 0 | 71.25 | -8.271 | 889.667 | 60.331 | 0.2217
2020-01-25 23:30:00 | 3.878 | 227.467 | 0.116 | 257.1 | 0 | 292 | 0 | 71.142 | -8.408 | 890.058 | 60.096 | 0.21885
2020-01-25 23:45:00 | 3.911 | 226.353 | 1.411 | 258.749 | 0.55 | 292 | 0.054 | 71.283 | -8.564 | 889.733 | 61.989 | 0.21601