## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-26 00:00:00 | 3.47 | 219.033 | 1.094 | 230.326 | 0.057 | 292 | 0 | 71.25 | -7.739 | 890.058 | 59.723 | 0.22028
2020-01-26 00:15:00 | 3.06 | 221.7 | 0.05 | 228.48 | 0 | 292 | 0.027 | 71.25 | -7.522 | 890.058 | 57.771 | 0.20464
2020-01-26 00:30:00 | 2.267 | 218.687 | 0 | 228.543 | 0 | 292 | 0 | 71.25 | -7.829 | 890.158 | 59.115 | 0.21885
2020-01-26 00:45:00 | 1.424 | 212.6 | 0 | 228.455 | 0 | 292 | 0 | 71.05 | -7.689 | 889.717 | 59.04 | 0.23164
2020-01-26 01:00:00 | 0 | 212.58 | 1.205 | 41.249 | 1.776 | 27.533 | 2.036 | 52.2 | -7.766 | 890.208 | 60.693 | 0.22596
2020-01-26 01:15:00 | 0.246 | 216.887 | 1.311 | 48.078 | 1.578 | 55.033 | 1.794 | 62.4 | -8.23 | 890.075 | 62.389 | 0.24444
2020-01-26 01:30:00 | 1.223 | 212.473 | 0 | 48.114 | 0.824 | 65.9 | 2.69 | 96.267 | -8.17 | 889.95 | 63.339 | 0.25794
2020-01-26 01:45:00 | 1.486 | 193.4 | 0.566 | 87.277 | 1.569 | 88.933 | 2.989 | 102.967 | -8.574 | 890.067 | 63.637 | 1.019
2020-01-26 02:00:00 | 2.212 | 193.867 | 0.597 | 106.246 | 1.724 | 112.2 | 2.882 | 127.433 | -8.841 | 889.858 | 64.064 | 1.6457
2020-01-26 02:15:00 | 2.847 | 203.7 | 2.157 | 163.054 | 2.131 | 154.533 | 2.769 | 144.6 | -9.024 | 889.433 | 65.013 | 0.53292
2020-01-26 02:30:00 | 2.537 | 202.433 | 2.93 | 179.934 | 2.214 | 164.867 | 2.378 | 141.833 | -8.874 | 889.617 | 62.667 | 0.1549
2020-01-26 02:45:00 | 4.113 | 212.4 | 2.74 | 175.648 | 2.243 | 152.333 | 2.289 | 133.033 | -9.058 | 890.042 | 60.843 | 0.14922
2020-01-26 03:00:00 | 4.285 | 205.833 | 2.951 | 165.697 | 2.935 | 144.6 | 2.706 | 130.567 | -8.774 | 889.875 | 60.064 | 0.89176
2020-01-26 03:15:00 | 4.87 | 203.393 | 3.415 | 168.7 | 3.057 | 146.567 | 3.254 | 127.967 | -10.489 | 890.042 | 59.851 | 1.1369
2020-01-26 03:30:00 | 4.635 | 202.84 | 3.027 | 166.943 | 3.107 | 149 | 3.397 | 133.633 | -9.591 | 889.725 | 59.755 | 1.5441
2020-01-26 03:45:00 | 4.163 | 202.94 | 3.094 | 168.542 | 3.07 | 153.467 | 3.344 | 132.2 | -10.741 | 889.933 | 58.677 | 1.4275
2020-01-26 04:00:00 | 3.59 | 198.233 | 2.469 | 158.23 | 2.837 | 142.767 | 3.226 | 124.933 | -9.024 | 890.408 | 57.845 | 1.0282
2020-01-26 04:15:00 | 3.228 | 192.647 | 2.443 | 158.617 | 3.156 | 142.533 | 3.343 | 125.6 | -7.833 | 890.008 | 56 | 0.41426
2020-01-26 04:30:00 | 2.779 | 201.9 | 1.718 | 153.783 | 2.415 | 134.533 | 2.74 | 117.433 | -8.09 | 888.733 | 54.891 | 0.28067
2020-01-26 04:45:00 | 2.464 | 216.26 | 0.123 | 153.205 | 1.257 | 138.3 | 1.895 | 114 | -7.943 | 889.925 | 55.221 | 0.23875
2020-01-26 05:00:00 | 2.054 | 208.033 | 1.077 | 146.974 | 1.757 | 119.133 | 2.277 | 114 | -7.856 | 890.392 | 55.349 | 0.23378
2020-01-26 05:15:00 | 2.411 | 213.007 | 1.05 | 128.35 | 2.191 | 121.467 | 2.72 | 108.2 | -7.803 | 889.533 | 55.221 | 0.22312
2020-01-26 05:30:00 | 2.224 | 212.387 | 0.86 | 132.059 | 2.098 | 122.267 | 2.666 | 108.933 | -7.93 | 890.067 | 56.16 | 0.25154
2020-01-26 05:45:00 | 2.787 | 214.533 | 0.516 | 148.27 | 1.681 | 133.933 | 2.399 | 116.067 | -8.558 | 889.7 | 56.373 | 0.24586
2020-01-26 06:00:00 | 2.21 | 207.333 | 1.381 | 152.008 | 2.209 | 131.033 | 2.626 | 117.533 | -8.624 | 889.333 | 59.317 | 0.23875
2020-01-26 06:15:00 | 2.234 | 213.08 | 1.043 | 135.936 | 2.093 | 116.033 | 2.465 | 102 | -8.35 | 889.375 | 58.72 | 0.25154
2020-01-26 06:30:00 | 1.844 | 189.733 | 1.75 | 106.302 | 2.579 | 99.6 | 2.772 | 90.267 | -8.708 | 890.108 | 60.288 | 0.23164
2020-01-26 06:45:00 | 2.231 | 212.167 | 0.88 | 130.578 | 1.9 | 114.333 | 2.298 | 103 | -8.658 | 889.475 | 60.587 | 0.24444
2020-01-26 07:00:00 | 2.052 | 188.767 | 2.404 | 122.576 | 2.643 | 117.933 | 2.581 | 111 | -8.808 | 889.95 | 61.931 | 0.25367
2020-01-26 07:15:00 | 2.739 | 206.033 | 0.926 | 136.467 | 1.563 | 110.033 | 1.999 | 110 | -9.041 | 890.167 | 60.875 | 0.25012
2020-01-26 07:30:00 | 2.471 | 216.4 | 0.538 | 147.56 | 1.246 | 110 | 1.671 | 110 | -9.158 | 889.8 | 62.443 | 0.2487
2020-01-26 07:45:00 | 5.153 | 229.54 | 1.311 | 207.568 | 0 | 110 | 1.592 | 140.667 | -11.882 | 889.967 | 57.568 | 0.13927
2020-01-26 08:00:00 | 6.139 | 220.08 | 3.234 | 244.744 | 1.764 | 243.667 | 0 | 140.967 | -15.054 | 889.483 | 62.453 | 0.16983
2020-01-26 08:15:00 | 4.894 | 225.74 | 3.104 | 252.527 | 1.976 | 272.067 | 0.943 | 164.033 | -13.86 | 889.917 | 67.339 | 0.23164
2020-01-26 08:30:00 | 4.646 | 223.647 | 2.001 | 256.177 | 1.059 | 274 | 0.185 | 164 | -12.616 | 889.617 | 67.488 | 0.22028
2020-01-26 08:45:00 | 3.908 | 220.847 | 1.657 | 296.676 | 1.269 | 310.067 | 1.026 | 246.217 | -11.974 | 890.217 | 65.013 | 0.21885
2020-01-26 09:00:00 | 4.007 | 222.893 | 1.481 | 303.408 | 1.239 | 310 | 0.09 | 246.467 | -11.849 | 890.017 | 64.283 | 0.21885
2020-01-26 09:15:00 | 3.401 | 237.473 | 0.334 | 273.031 | 0 | 310 | 1.767 | 73.533 | -10.834 | 889.833 | 64.053 | 0.23164
2020-01-26 09:30:00 | 3.387 | 238.713 | 0.033 | 273.076 | 0.36 | 55.267 | 2.058 | 75 | -10.558 | 889.525 | 61.728 | 0.23733
2020-01-26 09:45:00 | 3.398 | 226.86 | 0.086 | 273.61 | 0.18 | 59.8 | 2.132 | 74.033 | -9.645 | 889.975 | 59.669 | 0.22312
2020-01-26 10:00:00 | 2.758 | 223.753 | 0.097 | 258.934 | 0.126 | 54 | 1.966 | 75.867 | -8.23 | 890.275 | 57.909 | 0.24586
2020-01-26 10:15:00 | 1.912 | 212.307 | 0 | 153.45 | 1.626 | 87.6 | 3.13 | 78.6 | -7.21 | 889.9 | 53.472 | 0.25509
2020-01-26 10:30:00 | 2.565 | 183.4 | 1.414 | 148.022 | 1.817 | 122.333 | 2.551 | 93.667 | -7.722 | 889.95 | 54.251 | 0.25722
2020-01-26 10:45:00 | 2.361 | 194.807 | 1.473 | 165.29 | 1.506 | 149.367 | 2.087 | 147.9 | -5.803 | 890.308 | 51.456 | 0.26149
2020-01-26 11:00:00 | 0.489 | 209.2 | 0.933 | 178.537 | 1.375 | 159 | 1.686 | 151 | -5.085 | 889.675 | 52.075 | 0.27144
2020-01-26 11:15:00 | 1.131 | 260.007 | 0.167 | 208.527 | 0 | 159.183 | 1.028 | 151 | -3.385 | 889.892 | 45.984 | 0.23733
2020-01-26 11:30:00 | 0.559 | 293.8 | 0 | 279.177 | 0 | 159.45 | 0.494 | 151 | -5.997 | 890 | 48.448 | 0.22738
2020-01-26 11:45:00 | 0.116 | 270.947 | 0 | 277.659 | 0.263 | 106.017 | 1.152 | 109.167 | -3.26 | 889.667 | 44.624 | 0.23733
2020-01-26 12:00:00 | 0.485 | 102.8 | 0.147 | 119.217 | 0.779 | 119.133 | 1.692 | 112.133 | -3.606 | 889.85 | 40.037 | 0.24159
2020-01-26 12:15:00 | 3.149 | 118.207 | 3.314 | 110.56 | 3.39 | 113.1 | 3.383 | 107.367 | -3.812 | 889.958 | 43.797 | 1.3828
2020-01-26 12:30:00 | 3.365 | 108.52 | 3.541 | 103.631 | 3.792 | 104.667 | 3.896 | 100.533 | -3.942 | 889.692 | 46.283 | 1.6073
2020-01-26 12:45:00 | 2.851 | 95.967 | 2.806 | 92.083 | 2.836 | 94.533 | 3.058 | 92.433 | -3.773 | 889.85 | 46.709 | 0.70204
2020-01-26 13:00:00 | 2.898 | 96.167 | 2.842 | 92.957 | 3.094 | 96.267 | 3.336 | 90.967 | -3.555 | 889.942 | 45.355 | 0.66296
2020-01-26 13:15:00 | 1.867 | 100.667 | 1.8 | 92.482 | 2.055 | 105.1 | 2.243 | 97.733 | -3.371 | 889.458 | 43.925 | 0.68143
2020-01-26 13:30:00 | 3.134 | 85.633 | 2.842 | 83.326 | 2.876 | 84.733 | 2.879 | 83.733 | -3.287 | 889.867 | 44.245 | 1.7494
2020-01-26 13:45:00 | 2.685 | 82.803 | 2.655 | 81.729 | 2.958 | 87.4 | 2.977 | 88.5 | -2.992 | 889.175 | 45.227 | 1.576
2020-01-26 14:00:00 | 2.759 | 92.567 | 2.672 | 83.308 | 2.756 | 88.1 | 3.071 | 76.567 | -3.137 | 889.842 | 44.021 | 0.55069
2020-01-26 14:15:00 | 2.791 | 85.69 | 2.635 | 76.442 | 2.941 | 78 | 3.25 | 74.033 | -2.855 | 889.75 | 44.021 | 0.82781
2020-01-26 14:30:00 | 3.692 | 78.157 | 3.605 | 71.153 | 3.555 | 77.533 | 3.512 | 71.2 | -2.821 | 890.025 | 42.688 | 0.94861
2020-01-26 14:45:00 | 3.448 | 71.953 | 3.562 | 70.742 | 3.582 | 74.7 | 3.739 | 71.333 | -3.26 | 889.617 | 44.32 | 0.99977
2020-01-26 15:00:00 | 3.225 | 84.1 | 3.091 | 79.161 | 3.145 | 81.467 | 3.16 | 81.367 | -3.154 | 889.908 | 44.373 | 0.66083
2020-01-26 15:15:00 | 1.865 | 72.101 | 1.47 | 72.918 | 1.681 | 70.733 | 2.093 | 60.8 | -2.842 | 889.767 | 44.587 | 0.92871
2020-01-26 15:30:00 | 2.743 | 84.935 | 2.732 | 68.598 | 2.884 | 65.4 | 2.908 | 62.9 | -2.736 | 890.158 | 44.373 | 1.1497
2020-01-26 15:45:00 | 2.447 | 62.62 | 2.568 | 65.973 | 2.929 | 66.2 | 2.784 | 62.833 | -2.943 | 889.942 | 43.723 | 0.89673
2020-01-26 16:00:00 | 2.587 | 48.595 | 2.582 | 58.968 | 2.786 | 57.3 | 2.737 | 57.1 | -2.659 | 889.925 | 43.531 | 0.86689
2020-01-26 16:15:00 | 3.13 | 50.383 | 2.556 | 46.455 | 2.927 | 52.6 | 3.294 | 53.367 | -2.609 | 890.158 | 43.093 | 0.79726
2020-01-26 16:30:00 | 2.708 | 77.16 | 2.71 | 69.957 | 2.87 | 74.233 | 3.021 | 72.867 | -2.679 | 889.608 | 43.467 | 0.66225
2020-01-26 16:45:00 | 2.584 | 65.333 | 2.765 | 57.45 | 2.871 | 63.033 | 3.038 | 57.9 | -2.781 | 890 | 43.2 | 0.21175
2020-01-26 17:00:00 | 2.633 | 57.776 | 2.627 | 57.071 | 2.848 | 60 | 2.909 | 53.2 | -2.862 | 889.875 | 43.925 | 0.12719
2020-01-26 17:15:00 | 2.612 | 58.88 | 2.588 | 56.162 | 2.648 | 58.933 | 2.721 | 52.867 | -2.777 | 889.642 | 43.605 | 0.066083
2020-01-26 17:30:00 | 3.357 | 66.967 | 3.121 | 65.816 | 3.236 | 73.7 | 3.097 | 69.3 | -3.154 | 889.533 | 43.115 | 0.12435
2020-01-26 17:45:00 | 2.755 | 62.932 | 2.648 | 60.704 | 2.708 | 65.7 | 2.818 | 60.6 | -3.042 | 889.883 | 43.573 | 0.11724
2020-01-26 18:00:00 | 2.835 | 75.733 | 2.612 | 71.13 | 2.765 | 76.667 | 2.94 | 72.6 | -3.371 | 889.842 | 44 | 0.17054
2020-01-26 18:15:00 | 2.687 | 81.167 | 2.482 | 76.076 | 2.379 | 84.067 | 2.729 | 71.9 | -3.121 | 890.217 | 44.757 | 0.26788
2020-01-26 18:30:00 | 2.154 | 76.267 | 2.095 | 71.976 | 2.211 | 76.5 | 2.273 | 73.5 | -3.605 | 889.958 | 45.877 | 0.20677
2020-01-26 18:45:00 | 2.212 | 74.667 | 2.31 | 71.573 | 2.387 | 76.6 | 2.385 | 72.1 | -3.806 | 890.158 | 47.723 | 0.11937
2020-01-26 19:00:00 | 2.661 | 60.25 | 2.711 | 58.942 | 2.843 | 67.167 | 2.961 | 63 | -4.169 | 890.117 | 49.6 | 0.094505
2020-01-26 19:15:00 | 2.328 | 66.275 | 2.755 | 65.569 | 2.52 | 72.033 | 2.493 | 65.033 | -4.643 | 889.725 | 51.125 | 0.23449
2020-01-26 19:30:00 | 1.452 | 68.1 | 1.958 | 66.259 | 2.147 | 72 | 2.039 | 69.067 | -5.119 | 889.75 | 52.704 | 0.28138
2020-01-26 19:45:00 | 0 | 68.13 | 1.321 | 63.226 | 1.408 | 71 | 1.626 | 69 | -5.547 | 889.917 | 54.283 | 0.23875
2020-01-26 20:00:00 | 0 | 68.153 | 1.088 | 54.652 | 1.858 | 62 | 2.037 | 66.433 | -5.918 | 889.908 | 56.501 | 0.22454
2020-01-26 20:15:00 | 0 | 68.233 | 0.387 | 54.1 | 1.6 | 62 | 1.532 | 64.9 | -6.86 | 889.625 | 59.84 | 0.22312
2020-01-26 20:30:00 | 0 | 68.277 | 0 | 54.127 | 1.128 | 61.967 | 1.114 | 65 | -7.15 | 889.6 | 62.005 | 0.21601
2020-01-26 20:45:00 | 0 | 68.2 | 0 | 54.282 | 1.043 | 62.1 | 1.31 | 64.867 | -6.628 | 889.992 | 61.973 | 0.2217
2020-01-26 21:00:00 | 0 | 206.4 | 0.306 | 54.711 | 1.176 | 62 | 1.622 | 65 | -6.478 | 889.708 | 60.811 | 0.22312
2020-01-26 21:15:00 | 0.23 | 206.4 | 0.869 | 64.318 | 1.59 | 73 | 1.849 | 68.333 | -6.662 | 889.942 | 60.267 | 0.22028
2020-01-26 21:30:00 | 1.807 | 206.947 | 0 | 66.248 | 1.389 | 81.867 | 1.64 | 75 | -6.734 | 889.475 | 59.637 | 0.2217
2020-01-26 21:45:00 | 0 | 213.667 | 0 | 66.233 | 1.253 | 82 | 1.615 | 75 | -6.595 | 889.683 | 59.541 | 0.21885
2020-01-26 22:00:00 | 1.773 | 221.533 | 0 | 68.211 | 1.259 | 82 | 1.627 | 73.3 | -6.445 | 890.033 | 58.645 | 0.21743
2020-01-26 22:15:00 | 2.215 | 221.133 | 0 | 175.477 | 1.386 | 119.933 | 1.941 | 86 | -6.478 | 889.875 | 58.933 | 0.2288
2020-01-26 22:30:00 | 2.015 | 227.353 | 0.263 | 199.536 | 0.846 | 148.867 | 1.524 | 97 | -6.289 | 889.742 | 58.507 | 0.22596
2020-01-26 22:45:00 | 2.281 | 224.38 | 0.123 | 199.532 | 0.103 | 149.033 | 1.139 | 96.867 | -6.369 | 890.075 | 58.4 | 0.22454
2020-01-26 23:00:00 | 2.064 | 224.333 | 0 | 199.454 | 0 | 148.833 | 1.214 | 97.133 | -6.462 | 889.867 | 58.432 | 0.21743
2020-01-26 23:15:00 | 2.794 | 240.42 | 0.256 | 210.585 | 0 | 149.1 | 0.259 | 97 | -6.638 | 889.75 | 58.763 | 0.21601
2020-01-26 23:30:00 | 3.745 | 241.227 | 1.778 | 233.812 | 0.226 | 164.1 | 0 | 97 | -7.006 | 890.05 | 57.845 | 0.2487
2020-01-26 23:45:00 | 3.386 | 241.507 | 1.62 | 254.938 | 0.506 | 251.067 | 1.102 | 96.817 | -8.538 | 889.975 | 62.56 | 0.24728