## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-27 00:00:00 | 3.511 | 236.76 | 1.763 | 271.785 | 1.38 | 305.733 | 1.331 | 8.008 | -7.071 | 889.633 | 60.773 | 0.24444
2020-01-27 00:15:00 | 4.025 | 228.807 | 2.287 | 260.226 | 1.46 | 272.267 | 1.331 | 294.3 | -8.304 | 889.792 | 61.824 | 0.25438
2020-01-27 00:30:00 | 2.571 | 237.807 | 1.423 | 266.784 | 0.996 | 269.433 | 1.021 | 296.4 | -8.721 | 889.983 | 63.712 | 0.25296
2020-01-27 00:45:00 | 1.828 | 229.32 | 0.313 | 253.9 | 0.296 | 268 | 0.195 | 297 | -8.431 | 889.908 | 64.032 | 0.23164
2020-01-27 01:00:00 | 2.211 | 234.6 | 0 | 258.933 | 0 | 267.867 | 0 | 297 | -7.589 | 890.383 | 62.453 | 0.22028
2020-01-27 01:15:00 | 1.414 | 217.767 | 0 | 258.923 | 0 | 268 | 0 | 297.067 | -7.572 | 889.942 | 61.749 | 0.23164
2020-01-27 01:30:00 | 1.277 | 212.573 | 0 | 259.055 | 0 | 268 | 0 | 296.933 | -7.669 | 889.783 | 61.333 | 0.23307
2020-01-27 01:45:00 | 2.666 | 212.247 | 0 | 256.993 | 0 | 268 | 0 | 297 | -8.584 | 889.783 | 62.869 | 0.23449
2020-01-27 02:00:00 | 3.221 | 215.487 | 0 | 212.506 | 0 | 268.067 | 0 | 297 | -9.349 | 889.658 | 59.509 | 0.23875
2020-01-27 02:15:00 | 1.401 | 221.027 | 0 | 212.485 | 0 | 267.933 | 0.08 | 296.967 | -8.277 | 889.933 | 64.277 | 0.23733
2020-01-27 02:30:00 | 2.994 | 209.16 | 1.122 | 190.931 | 0.716 | 227 | 0.225 | 296 | -7.893 | 889.875 | 60.939 | 0.27286
2020-01-27 02:45:00 | 3.046 | 222.187 | 1.264 | 210.178 | 1.323 | 227 | 1.079 | 274.6 | -7.499 | 890.058 | 58.901 | 0.27428
2020-01-27 03:00:00 | 2.895 | 234.667 | 1.559 | 231.323 | 1.287 | 216 | 1.421 | 199 | -7.439 | 889.575 | 59.808 | 0.24657
2020-01-27 03:15:00 | 2.95 | 233.32 | 0.95 | 235.423 | 0.156 | 209.933 | 1.001 | 173 | -7.1 | 889.825 | 57.088 | 0.22596
2020-01-27 03:30:00 | 4.026 | 230.893 | 0.909 | 235.614 | 0 | 210 | 1.142 | 172.933 | -8.21 | 889.933 | 56.085 | 0.22667
2020-01-27 03:45:00 | 4.584 | 218.42 | 1.944 | 223.451 | 0.977 | 194.833 | 1.132 | 154.2 | -9.195 | 890.35 | 59.232 | 0.1947
2020-01-27 04:00:00 | 5.006 | 212.447 | 1.95 | 234.989 | 1.043 | 216.2 | 1.305 | 152.167 | -10.508 | 889.908 | 62.741 | 0.23022
2020-01-27 04:15:00 | 5.556 | 212.053 | 2.979 | 226.515 | 2.161 | 221.267 | 2.072 | 190.333 | -10.909 | 890.092 | 65.589 | 0.23164
2020-01-27 04:30:00 | 4.807 | 219.367 | 3.238 | 227.387 | 2.51 | 238 | 1.897 | 227 | -9.395 | 889.883 | 62.261 | 0.26504
2020-01-27 04:45:00 | 5.153 | 223.287 | 3.374 | 229.771 | 3.275 | 238 | 2.94 | 232.467 | -9.724 | 889.9 | 62.869 | 0.25083
2020-01-27 05:00:00 | 5.12 | 219.247 | 3.455 | 227.81 | 2.679 | 235 | 2.129 | 220.867 | -9.666 | 889.408 | 62.56 | 0.27144
2020-01-27 05:15:00 | 5.079 | 215.167 | 3.562 | 230.486 | 3.134 | 238 | 2.639 | 228 | -9.808 | 889.933 | 63.701 | 0.22738
2020-01-27 05:30:00 | 4.412 | 222.653 | 2.818 | 224.406 | 2.646 | 238 | 2.65 | 228 | -9.195 | 889.75 | 62.635 | 0.25438
2020-01-27 05:45:00 | 4.188 | 214.147 | 2.828 | 226.415 | 2.54 | 232.833 | 2.244 | 217.6 | -9.445 | 889.5 | 62.24 | 0.26149
2020-01-27 06:00:00 | 3.967 | 213.3 | 2.308 | 216.136 | 1.974 | 210 | 1.784 | 177.333 | -9.091 | 889.233 | 61.237 | 0.2558
2020-01-27 06:15:00 | 3.743 | 215.14 | 1.351 | 212.657 | 0.106 | 207.067 | 0.124 | 171 | -9.641 | 889.758 | 62.901 | 0.25438
2020-01-27 06:30:00 | 2.962 | 206.247 | 1.388 | 199.514 | 0.886 | 201.933 | 0.242 | 171 | -9.787 | 890.008 | 64.512 | 0.25438
2020-01-27 06:45:00 | 2.434 | 240.76 | 0 | 190.492 | 0 | 196.933 | 0 | 171.033 | -8.204 | 889.617 | 59.061 | 0.24728
2020-01-27 07:00:00 | 3.288 | 245.82 | 2.226 | 254.469 | 0.573 | 234.467 | 1.398 | 165.033 | -9.62 | 889.575 | 63.595 | 0.17622
2020-01-27 07:15:00 | 3.582 | 240.86 | 5.126 | 268.551 | 4.654 | 283.733 | 4.402 | 289.8 | -10.439 | 890.192 | 66.208 | 0.35315
2020-01-27 07:30:00 | 3.245 | 244.333 | 3.104 | 283.262 | 2.894 | 305.867 | 2.719 | 310.533 | -10.56 | 890.117 | 67.557 | 0.93013
2020-01-27 07:45:00 | 3.694 | 257.9 | 3.253 | 287.865 | 3.258 | 305.6 | 3.256 | 311.933 | -10.233 | 890.025 | 67.429 | 0.45974
2020-01-27 08:00:00 | 4.081 | 246.82 | 2.72 | 277.158 | 2.422 | 299.933 | 1.987 | 304.2 | -9.828 | 889.958 | 64.565 | 0.28565
2020-01-27 08:15:00 | 4.62 | 228.867 | 2.559 | 259.299 | 1.514 | 296.867 | 0.873 | 305 | -10.283 | 890.092 | 64.171 | 0.23875
2020-01-27 08:30:00 | 4.485 | 222.993 | 2.198 | 237.49 | 0.506 | 292 | 0 | 305.067 | -9.766 | 889.808 | 64.011 | 0.24301
2020-01-27 08:45:00 | 5.336 | 229.333 | 3.042 | 237.497 | 2.089 | 253.333 | 1 | 303.967 | -10.703 | 889.958 | 62.72 | 0.25296
2020-01-27 09:00:00 | 4.716 | 228.987 | 3.091 | 229.141 | 2.062 | 236.9 | 1.303 | 254.033 | -10.816 | 889.892 | 67.211 | 0.2757
2020-01-27 09:15:00 | 5.78 | 214.12 | 3.667 | 212.4 | 3.03 | 205.367 | 2.59 | 195.2 | -10.028 | 889.908 | 60.907 | 0.29489
2020-01-27 09:30:00 | 5.47 | 203.533 | 4.456 | 216.695 | 3.835 | 214.067 | 3.233 | 202.667 | -11.395 | 889.9 | 64.075 | 0.2153
2020-01-27 09:45:00 | 4.092 | 212.7 | 2.212 | 193.896 | 2.183 | 216.833 | 2.516 | 221.667 | -10.399 | 889.983 | 61.461 | 0.27144
2020-01-27 10:00:00 | 3.384 | 214.067 | 2.155 | 158.933 | 1.479 | 162 | 1.091 | 199.033 | -10.399 | 890.1 | 60.8 | 0.2558
2020-01-27 10:15:00 | 3.53 | 224.1 | 1.7 | 169.37 | 0.05 | 162.067 | 0 | 199 | -9.274 | 889.925 | 57.941 | 0.25012
2020-01-27 10:30:00 | 2.041 | 234.093 | 0 | 221.788 | 0.343 | 148.5 | 0.188 | 199 | -7.659 | 889.533 | 55.061 | 0.26433
2020-01-27 10:45:00 | 1.35 | 226.56 | 0 | 221.555 | 0 | 116.8 | 0.688 | 199.267 | -5.664 | 890.358 | 49.973 | 0.2558
2020-01-27 11:00:00 | 0.821 | 213.307 | 0 | 161.53 | 0 | 117 | 1.52 | 42.667 | -3.977 | 889.717 | 46.219 | 0.25438
2020-01-27 11:15:00 | 0.233 | 227.267 | 0 | 203.32 | 0 | 2.533 | 0.144 | 10.5 | -2.508 | 889.742 | 41.952 | 0.25154
2020-01-27 11:30:00 | 1.177 | 105.163 | 0.773 | 126.429 | 1.303 | 103.433 | 1.704 | 87.5 | -3.093 | 889.933 | 40.011 | 0.25722
2020-01-27 11:45:00 | 0.809 | 97.067 | 0.473 | 95.954 | 0.796 | 107.267 | 0.822 | 93.033 | -3.421 | 889.783 | 40.731 | 0.25865
2020-01-27 12:00:00 | 1.432 | 49.391 | 1.134 | 52.189 | 1.236 | 62.4 | 1.374 | 69.367 | -2.74 | 889.717 | 39.589 | 0.26291
2020-01-27 12:15:00 | 1.744 | 40.1 | 1.779 | 36.589 | 1.832 | 42.1 | 1.966 | 35.533 | -3.237 | 889.733 | 38.901 | 0.27286
2020-01-27 12:30:00 | 2.077 | 55.805 | 2.155 | 56.37 | 2.229 | 64.767 | 2.578 | 66.533 | -3.267 | 889.833 | 37.536 | 0.24301
2020-01-27 12:45:00 | 1.944 | 62.193 | 1.676 | 56.954 | 1.937 | 68 | 1.814 | 62.033 | -2.557 | 889.833 | 35.739 | 2.8231
2020-01-27 13:00:00 | 2.334 | 138.713 | 2.364 | 128.776 | 2.621 | 135.867 | 2.775 | 129.3 | -1.722 | 889.633 | 32.853 | 5.8878
2020-01-27 13:15:00 | 4.517 | 116.987 | 4.683 | 109.67 | 4.704 | 113.267 | 4.802 | 109.1 | -2.592 | 889.817 | 33.744 | 4.1362
2020-01-27 13:30:00 | 3.744 | 105.063 | 3.538 | 98.997 | 3.596 | 101.767 | 3.785 | 98.2 | -2.56 | 889.683 | 39.435 | 5.1786
2020-01-27 13:45:00 | 3.949 | 109.497 | 4.045 | 101.006 | 3.958 | 102.767 | 3.885 | 101.033 | -2.409 | 889.692 | 40.581 | 5.2632
2020-01-27 14:00:00 | 3.744 | 96.373 | 3.984 | 92.231 | 4.071 | 95.5 | 4.106 | 91 | -2.362 | 890 | 40.352 | 5.0571
2020-01-27 14:15:00 | 3.301 | 99.813 | 3.355 | 96.068 | 3.441 | 102.1 | 3.742 | 93.4 | -2.263 | 889.95 | 41.035 | 4.8745
2020-01-27 14:30:00 | 3.642 | 89.493 | 3.417 | 86.459 | 3.477 | 90.667 | 3.855 | 87.1 | -1.74 | 889.983 | 41.536 | 4.8311
2020-01-27 14:45:00 | 3.333 | 87.4 | 3.215 | 88.363 | 3.194 | 91.6 | 3.418 | 87.767 | -1.912 | 889.983 | 41.547 | 4.294
2020-01-27 15:00:00 | 4.244 | 78.68 | 4.326 | 74.702 | 4.36 | 82.067 | 4.192 | 81.8 | -1.669 | 889.792 | 41.312 | 5.3293
2020-01-27 15:15:00 | 4.382 | 75.735 | 4.531 | 74.599 | 4.67 | 79.4 | 4.661 | 76.7 | -1.846 | 889.783 | 41.189 | 6.2288
2020-01-27 15:30:00 | 4.316 | 76.042 | 4.309 | 73.56 | 4.306 | 79.033 | 4.49 | 76.733 | -1.866 | 889.725 | 41.285 | 5.4245
2020-01-27 15:45:00 | 3.91 | 68.95 | 4.054 | 68.916 | 4.154 | 75.767 | 4.407 | 72.767 | -1.84 | 889.983 | 41.376 | 5.126
2020-01-27 16:00:00 | 4.262 | 67.645 | 4.262 | 64.675 | 4.495 | 71.367 | 4.448 | 68.3 | -1.459 | 889.642 | 41.248 | 4.9988
2020-01-27 16:15:00 | 3.943 | 70.423 | 3.973 | 67.025 | 3.94 | 72.933 | 3.835 | 70 | -1.859 | 889.833 | 41.429 | 4.4801
2020-01-27 16:30:00 | 3.696 | 77.117 | 3.759 | 71.156 | 3.728 | 74.833 | 3.901 | 70.4 | -1.559 | 889.525 | 41.376 | 3.5891
2020-01-27 16:45:00 | 3.42 | 61.028 | 3.368 | 58.458 | 3.545 | 65.9 | 3.44 | 62.3 | -1.74 | 889.442 | 41.403 | 3.5706
2020-01-27 17:00:00 | 3.802 | 75.823 | 3.81 | 75.09 | 3.92 | 79.2 | 3.825 | 79.833 | -1.766 | 889.6 | 41.835 | 4.1611
2020-01-27 17:15:00 | 3.983 | 84.15 | 4.098 | 79 | 3.954 | 84.033 | 3.755 | 81.133 | -2.16 | 890.117 | 42.464 | 4.6265
2020-01-27 17:30:00 | 3.958 | 77.807 | 4.098 | 73.888 | 4.01 | 79.633 | 4.114 | 76.167 | -1.928 | 889.858 | 43.083 | 4.2684
2020-01-27 17:45:00 | 3.817 | 81.253 | 3.805 | 76.124 | 3.871 | 82.2 | 3.983 | 76.733 | -2.197 | 889.867 | 43.307 | 3.9152
2020-01-27 18:00:00 | 3.302 | 88.187 | 3.288 | 82.992 | 3.204 | 90.067 | 3.162 | 83.833 | -2.114 | 889.842 | 43.936 | 3.2906
2020-01-27 18:15:00 | 3.58 | 84.173 | 3.584 | 77.255 | 3.694 | 81.933 | 3.501 | 79.033 | -2.532 | 889.492 | 44.8 | 2.8494
2020-01-27 18:30:00 | 3.229 | 80.683 | 3.203 | 79.732 | 3.194 | 85.8 | 3.23 | 82.233 | -2.75 | 889.642 | 46.048 | 2.082
2020-01-27 18:45:00 | 3.112 | 72.677 | 3.274 | 69.438 | 3.41 | 74.4 | 3.482 | 71.8 | -3.184 | 889.8 | 47.403 | 1.5718
2020-01-27 19:00:00 | 2.676 | 79.567 | 2.864 | 77.112 | 2.889 | 83.133 | 3.019 | 79.933 | -3.288 | 889.858 | 48.8 | 1.3707
2020-01-27 19:15:00 | 2.546 | 72.633 | 2.836 | 68.427 | 2.9 | 75.567 | 2.947 | 71.7 | -3.756 | 889.883 | 49.909 | 1.2044
2020-01-27 19:30:00 | 2.034 | 90.937 | 2.3 | 80.631 | 2.38 | 87.667 | 2.133 | 82.933 | -4.209 | 889.842 | 50.976 | 0.54429
2020-01-27 19:45:00 | 1.918 | 94.897 | 2.736 | 79.172 | 2.622 | 86.233 | 2.408 | 82.2 | -4.749 | 890.133 | 52.523 | 0.066793
2020-01-27 20:00:00 | 2.098 | 99.733 | 2.465 | 84.814 | 2.199 | 90.1 | 2.076 | 82.9 | -4.935 | 889.892 | 54.08 | 0.13501
2020-01-27 20:15:00 | 1.483 | 104.867 | 1.874 | 88.538 | 1.514 | 91.9 | 1.494 | 86.767 | -5.119 | 889.8 | 54.688 | 0.22667
2020-01-27 20:30:00 | 0.866 | 126.833 | 1.865 | 83.535 | 1.92 | 85.833 | 1.868 | 77.333 | -5.514 | 889.642 | 55.851 | 0.13003
2020-01-27 20:45:00 | 1.526 | 131.027 | 2.276 | 87.273 | 2.531 | 93.033 | 2.76 | 87.233 | -5.958 | 889.783 | 57.547 | 0.15917
2020-01-27 21:00:00 | 0.093 | 142.233 | 1.347 | 87.449 | 2.37 | 82.033 | 2.716 | 86.133 | -5.701 | 889.942 | 57.707 | 0.27215
2020-01-27 21:15:00 | 1.229 | 181.72 | 0.529 | 86.227 | 1.722 | 80 | 1.992 | 86.1 | -6.322 | 889.608 | 59.797 | 0.24301
2020-01-27 21:30:00 | 0.087 | 180.453 | 0.983 | 86.282 | 2.485 | 78 | 2.661 | 72 | -6.787 | 889.758 | 61.152 | 0.23164
2020-01-27 21:45:00 | 0.684 | 176.913 | 2.171 | 91.776 | 2.59 | 91.9 | 2.653 | 80.567 | -6.219 | 889.392 | 62.261 | 0.23875
2020-01-27 22:00:00 | 1.388 | 171.627 | 1.936 | 104.198 | 2.091 | 106 | 2.873 | 94.033 | -6.225 | 889.908 | 61.195 | 0.23022
2020-01-27 22:15:00 | 1.649 | 179.4 | 1.673 | 107.227 | 2.286 | 102.867 | 2.622 | 99 | -6.545 | 889.275 | 62.037 | 0.22738
2020-01-27 22:30:00 | 2.325 | 181.967 | 2.483 | 129.995 | 2.635 | 124.6 | 2.805 | 110.033 | -6.445 | 890.158 | 61.984 | 0.22738
2020-01-27 22:45:00 | 2.227 | 189.38 | 2.28 | 134.38 | 2.422 | 129.1 | 2.541 | 118 | -6.8 | 889.767 | 58.699 | 0.17835
2020-01-27 23:00:00 | 1.413 | 147.113 | 2.414 | 111.98 | 2.875 | 112.533 | 3.245 | 111.2 | -6.136 | 890.008 | 55.755 | 0.084557
2020-01-27 23:15:00 | 2.488 | 184.027 | 1.721 | 130.522 | 2.395 | 107.5 | 2.861 | 104.867 | -6.641 | 890 | 54.667 | 0.23093
2020-01-27 23:30:00 | 2.836 | 207.653 | 1.577 | 152.759 | 1.467 | 150.367 | 2.07 | 128.167 | -7.15 | 889.95 | 53.984 | 0.25012
2020-01-27 23:45:00 | 2.535 | 215.333 | 1.944 | 174.962 | 1.786 | 164.967 | 1.956 | 140.033 | -6.528 | 890.15 | 51.275 | 0.23022