## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-28 00:00:00 | 2.976 | 220.14 | 0.166 | 175.512 | 1.773 | 153.7 | 2.014 | 123.467 | -6.498 | 889.675 | 49.387 | 0.22454
2020-01-28 00:15:00 | 2.44 | 233.307 | 0 | 175.484 | 0 | 168 | 0.903 | 123.3 | -7.161 | 889.692 | 50.112 | 0.21743
2020-01-28 00:30:00 | 2.524 | 233.82 | 0 | 231.511 | 0 | 168 | 0.645 | 123.7 | -7.779 | 889.083 | 51.051 | 0.21743
2020-01-28 00:45:00 | 1.853 | 246.1 | 1.22 | 271.121 | 0 | 167.867 | 0 | 124 | -7.622 | 889.783 | 51.909 | 0.21317
2020-01-28 01:00:00 | 2.51 | 238.28 | 1.12 | 276.373 | 0 | 168.1 | 0 | 124 | -7.48 | 889.85 | 51.643 | 0.21601
2020-01-28 01:15:00 | 3.008 | 230.88 | 1.673 | 266.244 | 0.493 | 168.1 | 0 | 124 | -7.363 | 889.767 | 50.224 | 0.21743
2020-01-28 01:30:00 | 2.625 | 238.933 | 1.397 | 264.922 | 0 | 168.033 | 0 | 124 | -7.456 | 890.058 | 50.123 | 0.21317
2020-01-28 01:45:00 | 1.865 | 256.793 | 0.276 | 276.924 | 0 | 168.3 | 0 | 124 | -7.689 | 889.925 | 50.933 | 0.21885
2020-01-28 02:00:00 | 1.461 | 241.467 | 0 | 276.951 | 0 | 168 | 0.988 | 124 | -7.622 | 889.558 | 50.965 | 0.22454
2020-01-28 02:15:00 | 2.269 | 229.433 | 0 | 277.058 | 0 | 168.033 | 0.994 | 123.833 | -7.622 | 889.733 | 50.891 | 0.21601
2020-01-28 02:30:00 | 2.065 | 218.433 | 0 | 276.839 | 1.01 | 125.267 | 1.784 | 109.5 | -7.672 | 889.992 | 49.92 | 0.22596
2020-01-28 02:45:00 | 1.869 | 210.533 | 0 | 277.001 | 1.053 | 88.7 | 2.092 | 78 | -9.024 | 890.275 | 52.235 | 0.23875
2020-01-28 03:00:00 | 1.76 | 202.447 | 0 | 238.23 | 1.25 | 80 | 2.262 | 81.2 | -8.534 | 889.817 | 52.032 | 0.22028
2020-01-28 03:15:00 | 1.116 | 185.88 | 0 | 212.473 | 1.722 | 93 | 3.041 | 91.933 | -7.647 | 889.833 | 52.576 | 0.2288
2020-01-28 03:30:00 | 1.29 | 185.527 | 0 | 212.519 | 1.822 | 101.3 | 2.721 | 92 | -7.088 | 888.958 | 52.245 | 0.2288
2020-01-28 03:45:00 | 1.235 | 178.453 | 1.11 | 134.401 | 1.414 | 117.333 | 2.193 | 94 | -7.433 | 890.058 | 51.584 | 0.23022
2020-01-28 04:00:00 | 2.188 | 161.58 | 1.237 | 127.057 | 1.814 | 102.067 | 2.33 | 93.867 | -7.23 | 889.783 | 48.896 | 0.15704
2020-01-28 04:15:00 | 2.265 | 174.233 | 0.988 | 122.808 | 1.385 | 119.233 | 2.6 | 106.667 | -7.556 | 890.042 | 48.117 | 0.13785
2020-01-28 04:30:00 | 0.549 | 156.72 | 0.711 | 132.071 | 2.086 | 113.167 | 2.809 | 101.167 | -7.746 | 889.9 | 49.685 | 0.28138
2020-01-28 04:45:00 | 1.595 | 171.347 | 2.398 | 125.405 | 2.707 | 116.333 | 3.051 | 98.4 | -7.916 | 889.55 | 49.163 | 0.78589
2020-01-28 05:00:00 | 1.437 | 192.333 | 1.544 | 103.992 | 2.448 | 87.167 | 3.172 | 79.367 | -8.758 | 889.583 | 51.531 | 0.14425
2020-01-28 05:15:00 | 1.656 | 214.5 | 0 | 113.244 | 1.378 | 92.867 | 2.006 | 81.867 | -8.758 | 889.9 | 51.637 | 0.23378
2020-01-28 05:30:00 | 2.283 | 267.56 | 0 | 113.087 | 0 | 93.058 | 1.418 | 81.933 | -8.774 | 890.25 | 51.381 | 0.2288
2020-01-28 05:45:00 | 2.524 | 251.607 | 0 | 113.248 | 0.197 | 91.375 | 1.992 | 69 | -9.224 | 889.6 | 51.456 | 0.22596
2020-01-28 06:00:00 | 2.964 | 257.807 | 0.196 | 9.923 | 0.996 | 35.088 | 2.37 | 63.167 | -9.62 | 890.025 | 52.8 | 0.23449
2020-01-28 06:15:00 | 2.27 | 250.487 | 0.929 | 341.196 | 1.717 | 34.344 | 2.593 | 60.467 | -9.683 | 889.842 | 53.947 | 0.25083
2020-01-28 06:30:00 | 1.823 | 239.9 | 0 | 9.039 | 1.16 | 41.1 | 2.571 | 62.3 | -9.208 | 889.942 | 54.432 | 0.27499
2020-01-28 06:45:00 | 1.998 | 223.6 | 0 | 8.167 | 0 | 82 | 2.151 | 81.8 | -8.941 | 889.992 | 54.123 | 0.27286
2020-01-28 07:00:00 | 1.147 | 219.867 | 0 | 10.031 | 0.879 | 91.933 | 2.287 | 89.7 | -8.874 | 890.025 | 53.643 | 0.23662
2020-01-28 07:15:00 | 1.543 | 239.067 | 0 | 9.832 | 0 | 91.667 | 1.475 | 90 | -8.791 | 890.083 | 53.856 | 0.23307
2020-01-28 07:30:00 | 1.347 | 259.393 | 0 | 9.83 | 1.497 | 83.833 | 2.842 | 87.467 | -8.624 | 889.492 | 54.272 | 0.89745
2020-01-28 07:45:00 | 1.161 | 212.433 | 0 | 10.033 | 1.433 | 85 | 2.649 | 96.5 | -8.908 | 889.925 | 54.293 | 0.77381
2020-01-28 08:00:00 | 1.57 | 215.553 | 0 | 10.029 | 0 | 85.033 | 1.232 | 131 | -9.724 | 889.933 | 55.04 | 0.24799
2020-01-28 08:15:00 | 0 | 218.953 | 0 | 10.03 | 0.432 | 84.867 | 2.145 | 133.167 | -9.278 | 889.792 | 56.875 | 0.2487
2020-01-28 08:30:00 | 0.841 | 211.493 | 0 | 10.027 | 1.269 | 104 | 2.681 | 102.6 | -9.87 | 889.933 | 57.611 | 0.24159
2020-01-28 08:45:00 | 1.092 | 206.827 | 0 | 10.036 | 1.625 | 93.967 | 2.593 | 85.467 | -9.974 | 889.925 | 58.091 | 0.20891
2020-01-28 09:00:00 | 0 | 206.213 | 0 | 10.032 | 1.389 | 93 | 2.471 | 78.067 | -9.683 | 889.717 | 58.304 | 0.2082
2020-01-28 09:15:00 | 0 | 206.4 | 0 | 10.028 | 1.633 | 93.133 | 2.402 | 82.8 | -9.141 | 889.8 | 58.891 | 0.21388
2020-01-28 09:30:00 | 0.329 | 234 | 0 | 10.025 | 1.718 | 70.267 | 3.185 | 69.2 | -8.824 | 889.667 | 57.888 | 0.13074
2020-01-28 09:45:00 | 0.097 | 234.427 | 0.336 | 54.143 | 2.425 | 78.833 | 3.085 | 69 | -8.427 | 889.858 | 54.165 | 0.14638
2020-01-28 10:00:00 | 0.027 | 234.473 | 0 | 54.131 | 1.943 | 67.9 | 2.872 | 63.2 | -6.88 | 890.008 | 51.648 | 0.16414
2020-01-28 10:15:00 | 0.276 | 258.387 | 0 | 54.12 | 1.854 | 85.104 | 3.119 | 72.4 | -7.091 | 890.075 | 47.861 | 0.2082
2020-01-28 10:30:00 | 0.782 | 269.893 | 0.33 | 52.551 | 1.912 | 73.408 | 3.128 | 73 | -6.919 | 889.958 | 46.101 | 0.23378
2020-01-28 10:45:00 | 0.973 | 296.44 | 1.563 | 302.492 | 2.182 | 23.592 | 2.2 | 43.133 | -8.13 | 889.733 | 48.315 | 0.26717
2020-01-28 11:00:00 | 1.7 | 278.62 | 1.553 | 292.799 | 1.695 | 313.133 | 1.91 | 339.133 | -7.376 | 889.825 | 49.088 | 0.22312
2020-01-28 11:15:00 | 1.932 | 311.267 | 1.619 | 308.459 | 1.714 | 315 | 1.126 | 339 | -6.694 | 890.042 | 48.277 | 0.22312
2020-01-28 11:30:00 | 1.92 | 311.467 | 1.687 | 313.83 | 1.837 | 316.8 | 1.589 | 314.4 | -6.512 | 890.175 | 47.339 | 0.21459
2020-01-28 11:45:00 | 1.652 | 314.467 | 0.797 | 325.864 | 1.053 | 333.133 | 1.204 | 346.733 | -6.017 | 889.375 | 46.667 | 0.22454
2020-01-28 12:00:00 | 1.76 | 139.936 | 1.52 | 234.846 | 1.559 | 141.334 | 1.586 | 343.1 | -5.721 | 889.875 | 45.707 | 0.2217
2020-01-28 12:15:00 | 1.323 | 174.602 | 0.936 | 315.674 | 1.16 | 47.9 | 1.36 | 4.967 | -5.235 | 890.075 | 45.115 | 0.21601
2020-01-28 12:30:00 | 1.206 | 298.827 | 1.16 | 239.302 | 1.494 | 190.633 | 1.57 | 120.469 | -4.603 | 889.917 | 43.568 | 0.21601
2020-01-28 12:45:00 | 1.811 | 17.803 | 1.54 | 89.89 | 1.567 | 43.967 | 1.733 | 12.435 | -4.133 | 889.767 | 43.701 | 0.23307
2020-01-28 13:00:00 | 1.673 | 53.3 | 1.743 | 68.755 | 2.046 | 104.2 | 2.182 | 273.1 | -3.722 | 889.867 | 42.693 | 0.24159
2020-01-28 13:15:00 | 1.316 | 25.233 | 1.013 | 18.412 | 1.582 | 18.967 | 1.72 | 53.233 | -3.79 | 890.025 | 42.005 | 0.22809
2020-01-28 13:30:00 | 1.9 | 268.533 | 2.128 | 315.755 | 2.439 | 274.233 | 2.478 | 300.267 | -3.589 | 889.992 | 42.853 | 0.22383
2020-01-28 13:45:00 | 2.652 | 129.667 | 2.627 | 291.836 | 2.717 | 268.5 | 2.655 | 329.033 | -3.622 | 889.75 | 44.469 | 0.20038
2020-01-28 14:00:00 | 1.982 | 284.067 | 2.06 | 323.632 | 2.268 | 330.5 | 2.346 | 326.867 | -3.371 | 889.875 | 43.627 | 0.14993
2020-01-28 14:15:00 | 2.278 | 281.507 | 2.556 | 303.665 | 2.557 | 284.275 | 2.668 | 338.567 | -3.062 | 890.075 | 44.032 | 0.22809
2020-01-28 14:30:00 | 1.9 | 316.56 | 2.041 | 301.022 | 2.419 | 269.667 | 2.658 | 294.2 | -2.938 | 889.717 | 44.432 | 0.13359
2020-01-28 14:45:00 | 2.493 | 153.9 | 2.551 | 212.133 | 2.695 | 174 | 2.675 | 209.533 | -3.337 | 889.933 | 44.304 | 0.11653
2020-01-28 15:00:00 | 1.85 | 290.7 | 2.104 | 298.845 | 2.203 | 293.433 | 2.215 | 270.134 | -3.287 | 889.458 | 43.669 | 0.10161
2020-01-28 15:15:00 | 2.651 | 313.027 | 2.582 | 317.767 | 2.823 | 301.867 | 2.904 | 327.9 | -2.637 | 890.2 | 42.549 | 0.093795
2020-01-28 15:30:00 | 3.681 | 295.007 | 3.692 | 301.178 | 3.878 | 307.133 | 3.961 | 307.8 | -2.821 | 890.025 | 41.765 | 0.81786
2020-01-28 15:45:00 | 3.16 | 333.92 | 3.453 | 327.491 | 3.769 | 333.033 | 3.953 | 333.367 | -2.74 | 889.825 | 42.277 | 2.6135
2020-01-28 16:00:00 | 3.434 | 334.68 | 3.481 | 328.021 | 3.755 | 332.867 | 3.897 | 335.233 | -2.76 | 889.967 | 42.715 | 4.4055
2020-01-28 16:15:00 | 3.804 | 326.987 | 3.904 | 322.892 | 4.02 | 326.9 | 4.177 | 324.767 | -2.975 | 890.092 | 43.717 | 5.5147
2020-01-28 16:30:00 | 3.759 | 332.627 | 3.767 | 320.047 | 3.724 | 313 | 3.955 | 336.667 | -2.923 | 889.783 | 43.979 | 5.0656
2020-01-28 16:45:00 | 3.562 | 197.895 | 4.098 | 313.945 | 4.122 | 317.867 | 3.888 | 295.6 | -2.626 | 890.125 | 44.112 | 4.6279
2020-01-28 17:00:00 | 3.577 | 319.813 | 3.522 | 337.158 | 3.769 | 303.867 | 4.061 | 336.633 | -2.995 | 890 | 45.456 | 4.9988
2020-01-28 17:15:00 | 3.835 | 275.954 | 3.84 | 339.339 | 4.03 | 331.833 | 3.939 | 338.967 | -2.973 | 889.842 | 45.92 | 4.2357
2020-01-28 17:30:00 | 3.913 | 326.653 | 4.12 | 323 | 4.351 | 327.767 | 4.425 | 324.633 | -3.143 | 889.825 | 46.763 | 4.1909
2020-01-28 17:45:00 | 3.353 | 220.667 | 3.558 | 300.861 | 3.736 | 219.767 | 3.805 | 313.2 | -3.221 | 889.708 | 47.365 | 2.2312
2020-01-28 18:00:00 | 2.999 | 305.167 | 3.059 | 305.737 | 3.132 | 309.967 | 3.399 | 306.467 | -3.321 | 889.967 | 48.229 | 0.90029
2020-01-28 18:15:00 | 1.363 | 287.467 | 1.134 | 326.761 | 1.597 | 329.933 | 1.604 | 317.4 | -3.455 | 889.442 | 48.864 | 0.31833
2020-01-28 18:30:00 | 2.033 | 6.533 | 1.901 | 180.474 | 2.01 | 0 | 2.048 | 262.333 | -3.638 | 889.375 | 49.547 | 0.17551
2020-01-28 18:45:00 | 1.838 | 0 | 2.381 | 0 | 2.449 | 0.133 | 2.659 | 0 | -4.212 | 889.758 | 51.008 | 0.21885
2020-01-28 19:00:00 | 2.2 | 0 | 2.182 | 353.064 | 2.328 | 0 | 2.517 | 350.667 | -4.504 | 890.142 | 52.427 | 0.25012
2020-01-28 19:15:00 | 1.019 | 0 | 0.54 | 0 | 1.206 | 0 | 1.438 | 351.733 | -4.835 | 889.683 | 53.749 | 0.21459
2020-01-28 19:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 351.267 | -5.235 | 890.05 | 55.52 | 0.21459
2020-01-28 19:45:00 | 0.299 | 47.74 | 0 | 0 | 0 | 0 | 0 | 351.4 | -5.622 | 890.025 | 58.069 | 0.21459
2020-01-28 20:00:00 | 1.995 | 165.1 | 0.963 | 99.061 | 0.57 | 11.933 | 0.208 | 351.2 | -5.435 | 889.958 | 57.525 | 0.2217
2020-01-28 20:15:00 | 1.864 | 169.2 | 1.361 | 138.348 | 1.156 | 0 | 1.204 | 350 | -5.435 | 889.733 | 57.611 | 0.22312
2020-01-28 20:30:00 | 3.724 | 172.087 | 3.366 | 161.615 | 2.697 | 160.667 | 2.143 | 349.733 | -5.859 | 890.025 | 57.163 | 0.25154
2020-01-28 20:45:00 | 4.708 | 179.76 | 4.288 | 163.863 | 3.77 | 169.3 | 3.459 | 166 | -6.26 | 889.817 | 57.141 | 0.8541
2020-01-28 21:00:00 | 3.626 | 193.387 | 3.129 | 162.631 | 2.516 | 167.467 | 2.3 | 165.633 | -7.234 | 890.333 | 58.315 | 2.6042
2020-01-28 21:15:00 | 4.388 | 191.707 | 3.271 | 162.212 | 2.893 | 164.1 | 2.861 | 158.333 | -8.971 | 889.808 | 59.691 | 1.5242
2020-01-28 21:30:00 | 3.724 | 185 | 2.506 | 156.837 | 2.181 | 155.133 | 2.354 | 150.2 | -8.774 | 889.942 | 64.299 | 0.17835
2020-01-28 21:45:00 | 3.979 | 200.6 | 2.433 | 165.486 | 2.31 | 161.567 | 2.334 | 151.033 | -8.874 | 889.758 | 65.003 | 0.14069
2020-01-28 22:00:00 | 3.761 | 196.533 | 2.303 | 159.45 | 2.16 | 158 | 2.361 | 151 | -8.708 | 890.2 | 65.248 | 0.25651
2020-01-28 22:15:00 | 3.116 | 205.067 | 1.343 | 157.58 | 1.963 | 147.167 | 2.304 | 148.8 | -8.624 | 889.808 | 64.544 | 0.27286
2020-01-28 22:30:00 | 4.13 | 218.527 | 1.949 | 193.999 | 1.407 | 148 | 1.856 | 148 | -8.093 | 890.017 | 63.701 | 0.21601
2020-01-28 22:45:00 | 3.761 | 216.96 | 1.358 | 202.508 | 1.488 | 154.3 | 1.811 | 148.1 | -7.486 | 889.8 | 60.352 | 0.21317
2020-01-28 23:00:00 | 3.852 | 214.533 | 1.669 | 200.944 | 1.936 | 169 | 1.972 | 149 | -7.422 | 890.133 | 60.864 | 0.21743
2020-01-28 23:15:00 | 4.124 | 217.433 | 1.635 | 198.256 | 1.31 | 170.8 | 1.672 | 149 | -7.94 | 889.667 | 60.405 | 0.21601
2020-01-28 23:30:00 | 5.069 | 224.267 | 2.098 | 223.748 | 1.39 | 216.833 | 0.608 | 149 | -9.308 | 889.983 | 64.864 | 0.22028
2020-01-28 23:45:00 | 4.62 | 224.047 | 2.801 | 232.522 | 2.522 | 234.267 | 1.573 | 200.8 | -8.468 | 890.175 | 65.141 | 0.24088