## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-29 00:00:00 | 5.026 | 220.86 | 3.695 | 225.388 | 3.511 | 228.6 | 2.942 | 223.7 | -7.993 | 889.667 | 63.627 | 0.11511
2020-01-29 00:15:00 | 4.947 | 215.607 | 3.604 | 216.216 | 3.363 | 212.867 | 3.39 | 209.9 | -8.604 | 889.958 | 64.757 | 0.12719
2020-01-29 00:30:00 | 5.009 | 218.533 | 3.419 | 221.827 | 3.232 | 222.133 | 3.22 | 210.4 | -8.674 | 889.842 | 64.096 | 0.19043
2020-01-29 00:45:00 | 4.9 | 238.467 | 4.579 | 225.716 | 3.869 | 203.7 | 2.957 | 188.967 | -10.249 | 889.583 | 65.717 | 0.22454
2020-01-29 01:00:00 | 4.156 | 238.78 | 4.68 | 230.959 | 2.477 | 204.133 | 0.971 | 169 | -10.262 | 889.875 | 66.293 | 0.20749
2020-01-29 01:15:00 | 5.191 | 243.287 | 4.943 | 259.294 | 4.786 | 266.167 | 4.18 | 259.017 | -9.966 | 890.125 | 68.299 | 0.22028
2020-01-29 01:30:00 | 4.688 | 243.64 | 4.445 | 260.158 | 4.172 | 262.733 | 3.847 | 255.8 | -9.316 | 890.133 | 66.277 | 0.18759
2020-01-29 01:45:00 | 4.594 | 243.92 | 4.26 | 259.839 | 3.778 | 268 | 3.463 | 257.2 | -9.724 | 889.583 | 66.725 | 0.078873
2020-01-29 02:00:00 | 4.525 | 239.007 | 3.747 | 259.066 | 3.62 | 269.067 | 3.126 | 272.6 | -10.12 | 890.108 | 66.779 | 0.14993
2020-01-29 02:15:00 | 5.208 | 231.42 | 3.522 | 250.636 | 2.788 | 265.067 | 2.247 | 276.333 | -10.368 | 889.825 | 67.307 | 0.26788
2020-01-29 02:30:00 | 4.974 | 212.733 | 2.682 | 235.539 | 1.758 | 250 | 0.067 | 264 | -11.345 | 890.033 | 67.851 | 0.21743
2020-01-29 02:45:00 | 4.792 | 210.933 | 2.308 | 215.05 | 1.543 | 234.8 | 0.56 | 263.733 | -12.52 | 889.808 | 70.795 | 0.21317
2020-01-29 03:00:00 | 3.642 | 211.507 | 1.234 | 212.48 | 0 | 232.933 | 0 | 264 | -12.336 | 889.5 | 74.624 | 0.21885
2020-01-29 03:15:00 | 2.994 | 212.973 | 1.047 | 192.551 | 0 | 233 | 0 | 264 | -11.172 | 889.892 | 72.576 | 0.21885
2020-01-29 03:30:00 | 2.149 | 206.233 | 0.587 | 189.662 | 0.06 | 217.367 | 1.296 | 0 | -9.308 | 890.017 | 67.648 | 0.21885
2020-01-29 03:45:00 | 2.74 | 210.367 | 0 | 148.447 | 0.053 | 33.9 | 1.114 | 28 | -9.074 | 890.1 | 65.483 | 0.23733
2020-01-29 04:00:00 | 4.204 | 210.62 | 0.281 | 189.039 | 0 | 24 | 1.211 | 4 | -9.416 | 889.758 | 63.371 | 0.2288
2020-01-29 04:15:00 | 4.686 | 218.147 | 1.564 | 236.188 | 0.913 | 291.933 | 2.192 | 334.367 | -10.712 | 889.625 | 64.672 | 0.24159
2020-01-29 04:30:00 | 4.607 | 227.88 | 2.035 | 253.234 | 1.919 | 272.267 | 2.258 | 304.8 | -11.611 | 889.967 | 69.024 | 0.2288
2020-01-29 04:45:00 | 5.67 | 213.433 | 2.358 | 213.555 | 1.496 | 226.2 | 0.418 | 301.933 | -12.536 | 889.675 | 70.485 | 0.21601
2020-01-29 05:00:00 | 4.952 | 212.573 | 1.99 | 212.588 | 1.536 | 218.667 | 0.128 | 302.067 | -13.334 | 889.867 | 72.213 | 0.21601
2020-01-29 05:15:00 | 3.87 | 215.36 | 0.884 | 212.522 | 0.546 | 210 | 0 | 302 | -12.124 | 889.833 | 72.576 | 0.21885
2020-01-29 05:30:00 | 4.072 | 212.94 | 1.204 | 212.484 | 0.267 | 210.067 | 0.03 | 301.933 | -9.641 | 889.958 | 65.813 | 0.22738
2020-01-29 05:45:00 | 4.765 | 214.813 | 1.48 | 212.501 | 0.367 | 210 | 0.805 | 302.067 | -11.684 | 889.933 | 67.189 | 0.22454
2020-01-29 06:00:00 | 5.649 | 209.933 | 1.458 | 207.993 | 1.182 | 210 | 0.242 | 302 | -12.986 | 889.833 | 71.104 | 0.21885
2020-01-29 06:15:00 | 5.138 | 214.08 | 2.629 | 203.444 | 1.473 | 209.4 | 0.671 | 302 | -11.143 | 890.308 | 71.381 | 0.21743
2020-01-29 06:30:00 | 5.763 | 217.367 | 2.924 | 215.195 | 1.934 | 207.9 | 0.813 | 203.033 | -11.995 | 889.742 | 69.067 | 0.22738
2020-01-29 06:45:00 | 5.863 | 209.633 | 4.288 | 214.593 | 3.34 | 221.5 | 2.533 | 214.333 | -12.97 | 889.742 | 70.965 | 0.22312
2020-01-29 07:00:00 | 5.128 | 213.267 | 3.442 | 199.913 | 2.831 | 196.2 | 2.336 | 197.333 | -12.453 | 890.067 | 70.539 | 0.23307
2020-01-29 07:15:00 | 4.268 | 202.4 | 3.313 | 176.566 | 2.818 | 161.567 | 2.644 | 150 | -12.836 | 889.758 | 71.669 | 0.24017
2020-01-29 07:30:00 | 4.523 | 191.853 | 2.997 | 167.494 | 2.739 | 159.967 | 2.498 | 143.233 | -11.497 | 890.025 | 73.931 | 0.22596
2020-01-29 07:45:00 | 5.05 | 209.26 | 2.848 | 193.024 | 2.043 | 195.367 | 1.7 | 168.133 | -11.174 | 890.067 | 70.08 | 0.20038
2020-01-29 08:00:00 | 5.446 | 215.533 | 2.636 | 205.282 | 1.871 | 204.267 | 0.977 | 178.033 | -12.62 | 889.883 | 68.619 | 0.22809
2020-01-29 08:15:00 | 5.941 | 218.133 | 2.266 | 216.65 | 1.371 | 220 | 0.883 | 190.067 | -12.936 | 890.042 | 70.944 | 0.2217
2020-01-29 08:30:00 | 7.072 | 205.433 | 5.198 | 220.81 | 3.676 | 221.167 | 2.778 | 216.7 | -12.42 | 890.267 | 69.888 | 1.0893
2020-01-29 08:45:00 | 6.683 | 211.867 | 5.031 | 223.538 | 3.851 | 229.9 | 3.018 | 224.767 | -12.47 | 889.708 | 68.683 | 3.4597
2020-01-29 09:00:00 | 6.633 | 205.933 | 5.057 | 222.121 | 3.821 | 228.1 | 3.02 | 225.767 | -12.486 | 889.933 | 68.32 | 3.1727
2020-01-29 09:15:00 | 5.518 | 216.3 | 4.44 | 223.406 | 3.502 | 230.3 | 2.634 | 231.633 | -12.403 | 890.242 | 68.011 | 0.80436
2020-01-29 09:30:00 | 5.766 | 216.3 | 4.042 | 224.074 | 3.252 | 231.733 | 2.613 | 235 | -11.578 | 889.983 | 66.197 | 0.18759
2020-01-29 09:45:00 | 4.373 | 212 | 3.049 | 220.613 | 1.832 | 229.5 | 1.196 | 220 | -11.395 | 890.158 | 64.203 | 0.24515
2020-01-29 10:00:00 | 4.618 | 214.867 | 3.389 | 221.232 | 2.53 | 223.367 | 1.927 | 212.367 | -10.416 | 889.725 | 62.827 | 0.17196
2020-01-29 10:15:00 | 4.27 | 207.707 | 5.136 | 213.172 | 3.723 | 215.3 | 2.855 | 211.6 | -9.283 | 889.783 | 61.515 | 0.18404
2020-01-29 10:30:00 | 4.319 | 213.493 | 4.384 | 226.208 | 2.966 | 237.4 | 1.942 | 234.033 | -8.21 | 889.95 | 58.837 | 0.12293
2020-01-29 10:45:00 | 4.286 | 219.547 | 3.854 | 228.59 | 2.968 | 239.233 | 2.036 | 234.433 | -6.75 | 889.7 | 54.805 | 0.13927
2020-01-29 11:00:00 | 2.547 | 235.54 | 3.067 | 234.666 | 3.2 | 234.15 | 2.353 | 232.167 | -4.819 | 889.542 | 51.424 | 0.25865
2020-01-29 11:15:00 | 2.702 | 254.793 | 2.784 | 254.628 | 2.926 | 256.767 | 2.872 | 249.25 | -3.097 | 889.858 | 45.397 | 0.24301
2020-01-29 11:30:00 | 1.703 | 317.173 | 1.39 | 301.262 | 1.73 | 302.667 | 1.974 | 303.533 | -4.679 | 889.442 | 44.213 | 0.2288
2020-01-29 11:45:00 | 1.461 | 316.08 | 0.787 | 315.806 | 1.05 | 300.467 | 1.141 | 304 | -3.86 | 890.225 | 43.467 | 0.22596
2020-01-29 12:00:00 | 1.47 | 313.467 | 1.074 | 306.24 | 1.463 | 303.733 | 1.61 | 305 | -3.857 | 890.208 | 43.029 | 0.22738
2020-01-29 12:15:00 | 1.24 | 287.213 | 0.863 | 314.86 | 1.37 | 326.433 | 1.318 | 287.533 | -3.008 | 889.45 | 41.653 | 0.21743
2020-01-29 12:30:00 | 1.389 | 195.507 | 1.046 | 267.873 | 1.207 | 246.333 | 1.147 | 236.367 | -3.029 | 890.317 | 42.544 | 0.22596
2020-01-29 12:45:00 | 1.46 | 315.68 | 1.057 | 327.478 | 1.363 | 218.501 | 1.421 | 263.567 | -2.76 | 889.9 | 42.064 | 0.21601
2020-01-29 13:00:00 | 0.383 | 195.514 | 0.057 | 143.367 | 0.682 | 79.733 | 1.314 | 94.067 | -1.879 | 890.083 | 40.405 | 0.21885
2020-01-29 13:15:00 | 1.57 | 184.117 | 1.369 | 223.47 | 1.376 | 164.769 | 1.574 | 81.935 | -0.895 | 889.817 | 36.755 | 0.21459
2020-01-29 13:30:00 | 0.496 | 317.2 | 0.24 | 137.454 | 0.237 | 299.001 | 0.4 | 305.7 | -0.638 | 889.583 | 36.568 | 0.21317
2020-01-29 13:45:00 | 0.635 | 51.073 | 0.133 | 10.773 | 0 | 38.933 | 0.124 | 38.133 | -0.482 | 890.183 | 35.829 | 0.21317
2020-01-29 14:00:00 | 0.732 | 85.59 | 0 | 91.043 | 0.106 | 76.667 | 0.389 | 206.267 | 0.782 | 889.983 | 33.083 | 0.21317
2020-01-29 14:15:00 | 0.616 | 259.12 | 0.566 | 59.156 | 0.796 | 318.3 | 1.332 | 329.467 | 0.15 | 889.867 | 34.269 | 0.23307
2020-01-29 14:30:00 | 2.123 | 132.89 | 1.85 | 138.213 | 2.01 | 99.667 | 2.303 | 91.633 | -0.203 | 890.067 | 36.405 | 0.26007
2020-01-29 14:45:00 | 2.677 | 139.764 | 2.654 | 147.859 | 2.928 | 90.501 | 2.728 | 145.6 | -0.578 | 890.05 | 36.792 | 0.24017
2020-01-29 15:00:00 | 3.03 | 56.881 | 2.843 | 26.481 | 3.044 | 30.034 | 2.982 | 14.8 | -1.015 | 889.75 | 36.936 | 0.15988
2020-01-29 15:15:00 | 1.638 | 37.51 | 1.268 | 81.692 | 1.349 | 47.933 | 1.555 | 103.867 | -0.859 | 889.667 | 36.053 | 0.22667
2020-01-29 15:30:00 | 2.209 | 49.969 | 1.984 | 20.475 | 1.987 | 19.4 | 1.519 | 7.333 | -0.439 | 889.833 | 35.227 | 0.23164
2020-01-29 15:45:00 | 0.835 | 68.243 | 0.567 | 62.945 | 0.953 | 76.3 | 1.065 | 57.133 | -0.272 | 890.017 | 35.04 | 0.2288
2020-01-29 16:00:00 | 3.017 | 62.638 | 2.674 | 59.609 | 2.504 | 64.667 | 2.388 | 54.033 | -0.389 | 889.617 | 35.504 | 0.22312
2020-01-29 16:15:00 | 1.873 | 67.667 | 1.876 | 69.562 | 2.271 | 77.4 | 2.492 | 72.333 | -0.558 | 889.733 | 36.421 | 0.18901
2020-01-29 16:30:00 | 2.659 | 76.662 | 2.772 | 76.476 | 2.836 | 86.567 | 2.98 | 85.2 | -0.339 | 889.433 | 37.136 | 0.13572
2020-01-29 16:45:00 | 2.607 | 115.59 | 2.674 | 111.529 | 2.852 | 119.467 | 2.871 | 113.8 | -0.419 | 889.833 | 38.603 | 0.096637
2020-01-29 17:00:00 | 2.806 | 142.6 | 2.63 | 138.824 | 2.878 | 147.133 | 2.954 | 144.1 | -0.149 | 889.583 | 38.56 | 0.12364
2020-01-29 17:15:00 | 2.077 | 95.207 | 2.03 | 89.076 | 2.126 | 101.767 | 2.062 | 108.2 | 0.366 | 889.6 | 37.952 | 0.23804
2020-01-29 17:30:00 | 2.988 | 72.517 | 2.83 | 64.732 | 2.946 | 70.233 | 2.872 | 68.933 | 0.116 | 889.733 | 38.496 | 0.13927
2020-01-29 17:45:00 | 2.781 | 63.317 | 2.597 | 59.966 | 2.615 | 71.4 | 2.623 | 69.267 | -0.409 | 890.283 | 39.947 | 0.44339
2020-01-29 18:00:00 | 3.824 | 75.32 | 3.833 | 69.29 | 3.833 | 72.233 | 3.734 | 70.633 | -0.695 | 889.458 | 41.083 | 1.3863
2020-01-29 18:15:00 | 3.565 | 69.003 | 3.567 | 63.65 | 3.602 | 70.533 | 3.761 | 66.633 | -1.048 | 889.742 | 42.048 | 2.2227
2020-01-29 18:30:00 | 3.53 | 67.113 | 3.379 | 59.674 | 3.504 | 67.233 | 3.492 | 63.333 | -1.539 | 890.267 | 43.243 | 1.1938
2020-01-29 18:45:00 | 3.151 | 63.872 | 3.024 | 57.66 | 2.641 | 60.133 | 2.62 | 60.867 | -2.238 | 890.367 | 45.077 | 0.93368
2020-01-29 19:00:00 | 2.644 | 48.22 | 2.839 | 44.324 | 2.363 | 49.733 | 2.207 | 43.133 | -2.99 | 889.808 | 47.84 | 0.98484
2020-01-29 19:15:00 | 3.17 | 36.533 | 3.473 | 37.617 | 3.724 | 44.167 | 3.693 | 43.933 | -3.539 | 889.875 | 50.144 | 3.0654
2020-01-29 19:30:00 | 2.895 | 26.934 | 4.146 | 27.692 | 4.037 | 31.3 | 3.572 | 26.1 | -3.843 | 889.833 | 51.275 | 3.1244
2020-01-29 19:45:00 | 2.073 | 0.668 | 3.46 | 4.714 | 3.885 | 12.767 | 3.589 | 14.567 | -4.364 | 890.092 | 52.277 | 0.35173
2020-01-29 20:00:00 | 3.08 | 333.04 | 4.152 | 338.646 | 4.128 | 343.4 | 3.552 | 345.833 | -5.461 | 890.158 | 53.568 | 1.2414
2020-01-29 20:15:00 | 3.213 | 300.2 | 3.336 | 306.888 | 3.592 | 322.233 | 3.778 | 331.233 | -5.898 | 889.7 | 56.981 | 2.8991
2020-01-29 20:30:00 | 4.392 | 301.2 | 4.547 | 309.147 | 4.444 | 316.633 | 4.501 | 321.2 | -6.695 | 889.958 | 58.613 | 4.9825
2020-01-29 20:45:00 | 4.031 | 285.333 | 4.478 | 295.22 | 4.29 | 301.767 | 4.42 | 299.733 | -6.445 | 889.992 | 59.12 | 8.3264
2020-01-29 21:00:00 | 3.961 | 271.18 | 4.308 | 289.023 | 4.246 | 293.367 | 4.548 | 295.467 | -6.528 | 889.925 | 57.819 | 6.82
2020-01-29 21:15:00 | 3.67 | 257.693 | 3.486 | 278.654 | 3.859 | 284.867 | 4.25 | 285.333 | -7.782 | 889.875 | 59.813 | 5.4074
2020-01-29 21:30:00 | 4.37 | 246.773 | 3.972 | 263.239 | 3.848 | 277.667 | 4.246 | 282.7 | -7.012 | 889.942 | 60.011 | 5.7471
2020-01-29 21:45:00 | 5.51 | 226.1 | 4.592 | 241.144 | 4.138 | 252.3 | 4.243 | 255.833 | -7.522 | 889.975 | 59.701 | 9.4349
2020-01-29 22:00:00 | 5.455 | 230.76 | 5.596 | 253.124 | 5.439 | 267.733 | 5.56 | 269.5 | -8.21 | 890.017 | 63.979 | 13.9783
2020-01-29 22:15:00 | 5.152 | 220.067 | 5.365 | 244.34 | 5.147 | 255.4 | 5.14 | 257.3 | -8.19 | 890.433 | 66.613 | 10.7722
2020-01-29 22:30:00 | 4.148 | 222.373 | 5.29 | 238.659 | 5.023 | 254.767 | 4.637 | 256.617 | -7.97 | 890.042 | 67.861 | 13.23
2020-01-29 22:45:00 | 5.452 | 229.8 | 5.249 | 248.47 | 4.988 | 258.8 | 5.011 | 256.783 | -8.824 | 890.325 | 68.139 | 17.8089
2020-01-29 23:00:00 | 5.449 | 227.9 | 5.517 | 249.605 | 5.938 | 260.6 | 6.276 | 259.1 | -8.941 | 890.058 | 68.171 | 22.0361
2020-01-29 23:15:00 | 5.713 | 227.967 | 5.423 | 247.315 | 5.553 | 258.033 | 5.939 | 258.467 | -8.941 | 890.217 | 67.573 | 23.0799
2020-01-29 23:30:00 | 5.661 | 216.567 | 6.461 | 238.923 | 6.278 | 248.067 | 5.97 | 247.4 | -9.174 | 889.308 | 68.587 | 22.2137
2020-01-29 23:45:00 | 5.896 | 208.84 | 6.617 | 227 | 6.443 | 235.667 | 6.19 | 234.467 | -9.437 | 889.767 | 68.683 | 25.1292