## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-30 00:00:00 | 4.901 | 211.927 | 6.543 | 227.894 | 6.548 | 236.667 | 6.35 | 233.8 | -9.974 | 890.042 | 68.448 | 29.4231
2020-01-30 00:15:00 | 5.695 | 210.853 | 7.063 | 226.651 | 6.94 | 233.4 | 6.619 | 231.1 | -9.466 | 889.883 | 68.64 | 25.1953
2020-01-30 00:30:00 | 5.189 | 216.747 | 6.531 | 228.084 | 6.458 | 235.433 | 5.988 | 233 | -9.562 | 889.533 | 68.117 | 20.1318
2020-01-30 00:45:00 | 4.626 | 214.633 | 5.938 | 230.897 | 5.628 | 243.033 | 5.195 | 241.467 | -9.478 | 889.758 | 67.125 | 16.9548
2020-01-30 01:00:00 | 5.656 | 213.333 | 5.898 | 228.309 | 5.739 | 235.033 | 5.307 | 233.433 | -10.316 | 889.883 | 68.181 | 16.4972
2020-01-30 01:15:00 | 5.369 | 219.167 | 5.866 | 235.697 | 5.746 | 244.2 | 5.507 | 245.133 | -10.399 | 890.133 | 68.085 | 20.4238
2020-01-30 01:30:00 | 6.27 | 225.333 | 6.275 | 240.888 | 6.087 | 249.633 | 5.865 | 249.933 | -10.299 | 890.25 | 68.245 | 21.7149
2020-01-30 01:45:00 | 5.568 | 218.66 | 6.291 | 236.859 | 6.265 | 246.8 | 5.949 | 246.3 | -10.549 | 889.8 | 67.819 | 26.1808
2020-01-30 02:00:00 | 6.754 | 226.52 | 7.38 | 237.96 | 7.103 | 249.167 | 6.94 | 252.2 | -10.501 | 890.15 | 68.693 | 34.7453
2020-01-30 02:15:00 | 5.624 | 223.967 | 7.057 | 246.662 | 7.25 | 255.6 | 7.182 | 255.333 | -10.083 | 890.4 | 67.925 | 25.3957
2020-01-30 02:30:00 | 4.32 | 229.22 | 5.364 | 243.412 | 5.501 | 256.967 | 5.62 | 260.6 | -9.516 | 889.417 | 67.573 | 18.4619
2020-01-30 02:45:00 | 5.608 | 230.733 | 5.468 | 247.531 | 5.603 | 261.133 | 5.846 | 262.833 | -9.391 | 889.525 | 67.019 | 14.6831
2020-01-30 03:00:00 | 4.665 | 212.367 | 5.205 | 238.184 | 5.163 | 253.667 | 5.034 | 254.05 | -10.216 | 889.95 | 67.883 | 18.4534
2020-01-30 03:15:00 | 3.948 | 216.367 | 5.781 | 235.214 | 6.621 | 247.567 | 6.269 | 246.667 | -10.399 | 890.142 | 69.888 | 23.3037
2020-01-30 03:30:00 | 4.423 | 229.8 | 6.226 | 244.754 | 6.44 | 252.1 | 6.345 | 249.517 | -10.316 | 889.833 | 70.592 | 27.2133
2020-01-30 03:45:00 | 4.325 | 227.833 | 6.411 | 238.604 | 6.381 | 249.3 | 6.06 | 249.2 | -9.945 | 889.975 | 69.813 | 26.8829
2020-01-30 04:00:00 | 5.214 | 217.327 | 6.259 | 233.913 | 6.281 | 248.9 | 6.241 | 249.133 | -10.108 | 889.858 | 69.579 | 30.8521
2020-01-30 04:15:00 | 5.877 | 228.487 | 6.956 | 245.408 | 7.079 | 254.133 | 7.183 | 252.917 | -9.708 | 889.733 | 68.821 | 31.3431
2020-01-30 04:30:00 | 5.874 | 227.233 | 7.292 | 250.433 | 7.396 | 257.1 | 7.543 | 254.733 | -10.016 | 890.083 | 68.192 | 34.1456
2020-01-30 04:45:00 | 6.476 | 228.08 | 6.993 | 243.256 | 7.162 | 254.067 | 7.224 | 251.7 | -10.685 | 889.8 | 69.067 | 27.5792
2020-01-30 05:00:00 | 6.286 | 213.84 | 7.337 | 232.739 | 7.28 | 245 | 6.997 | 244.867 | -10.708 | 890.033 | 67.189 | 27.3746
2020-01-30 05:15:00 | 6.794 | 205.733 | 7.898 | 223.615 | 7.36 | 232.867 | 7.068 | 232.5 | -11.278 | 889.908 | 69.653 | 28.5257
2020-01-30 05:30:00 | 6.98 | 203.667 | 8.578 | 217.523 | 7.816 | 223.4 | 6.995 | 222.233 | -11.411 | 890.292 | 70.197 | 27.1188
2020-01-30 05:45:00 | 6.823 | 210.04 | 7.93 | 218.492 | 6.803 | 225.8 | 6.013 | 229.867 | -11.105 | 889.817 | 69.088 | 23.8992
2020-01-30 06:00:00 | 7.195 | 205.733 | 8.503 | 219.142 | 7.12 | 228.033 | 6.091 | 231.967 | -11.278 | 889.525 | 69.291 | 22.2038
2020-01-30 06:15:00 | 7.44 | 210.233 | 8.46 | 220.086 | 7.16 | 227.567 | 6.214 | 231.633 | -11.378 | 889.958 | 69.749 | 20.6114
2020-01-30 06:30:00 | 7.157 | 211.6 | 7.166 | 224.976 | 6.156 | 235.1 | 5.561 | 237.367 | -11.411 | 889.95 | 70.272 | 14.7258
2020-01-30 06:45:00 | 6.267 | 212.1 | 6.504 | 231.123 | 5.717 | 242.6 | 5.138 | 244.367 | -11.753 | 890.175 | 70.773 | 12.0988
2020-01-30 07:00:00 | 5.551 | 215.607 | 6.252 | 234.453 | 5.408 | 247.867 | 4.872 | 248.7 | -12.036 | 889.858 | 71.872 | 12.3589
2020-01-30 07:15:00 | 5.837 | 219.093 | 6.142 | 236.296 | 5.487 | 246.9 | 4.983 | 246.3 | -11.661 | 890.05 | 71.819 | 11.8117
2020-01-30 07:30:00 | 5.939 | 215.247 | 6.606 | 230.84 | 6.05 | 240.833 | 5.389 | 240.333 | -11.87 | 889.658 | 71.541 | 12.9565
2020-01-30 07:45:00 | 6.155 | 212.733 | 6.324 | 227.71 | 5.817 | 238.033 | 5.254 | 238.133 | -11.874 | 889.358 | 71.765 | 10.7637
2020-01-30 08:00:00 | 6.382 | 213.64 | 6.121 | 227.396 | 5.568 | 239.333 | 5.068 | 239.6 | -11.932 | 889.8 | 71.851 | 8.3421
2020-01-30 08:15:00 | 5.979 | 215.913 | 5.853 | 227.487 | 5.371 | 238 | 4.617 | 239.067 | -12.078 | 889.942 | 71.531 | 7.3224
2020-01-30 08:30:00 | 5.894 | 213.713 | 5.242 | 234.6 | 4.673 | 245.433 | 4.08 | 246 | -12.078 | 890.083 | 71.605 | 6.6708
2020-01-30 08:45:00 | 6.38 | 212.107 | 5.635 | 231.26 | 4.973 | 245 | 4.322 | 246.967 | -12.29 | 890.233 | 71.765 | 7.7779
2020-01-30 09:00:00 | 6.272 | 211.3 | 5.865 | 223.141 | 5.085 | 234.733 | 4.387 | 237.333 | -12.386 | 890.15 | 72.064 | 9.8733
2020-01-30 09:15:00 | 6.306 | 215.1 | 7.071 | 218.593 | 6.239 | 226.367 | 5.347 | 226.267 | -12.37 | 889.75 | 71.957 | 11.0273
2020-01-30 09:30:00 | 6.509 | 213.033 | 6.814 | 219.133 | 5.765 | 227.467 | 4.752 | 229.967 | -11.461 | 889.725 | 70.251 | 11.2795
2020-01-30 09:45:00 | 6.284 | 215.107 | 6.943 | 213.182 | 6.382 | 219.167 | 5.636 | 219.2 | -10.58 | 889.683 | 67.851 | 12.0086
2020-01-30 10:00:00 | 5.976 | 214.273 | 7.261 | 216.092 | 6.832 | 220.933 | 6.012 | 220.867 | -9.849 | 890.25 | 65.771 | 11.9311
2020-01-30 10:15:00 | 5.622 | 222.073 | 6.688 | 223.198 | 6.097 | 230 | 5.417 | 228.267 | -8.638 | 890 | 62.667 | 10.4851
2020-01-30 10:30:00 | 4.919 | 217.433 | 5.769 | 226.256 | 5.379 | 234.2 | 5.108 | 235.833 | -7.789 | 890.233 | 60.213 | 9.4186
2020-01-30 10:45:00 | 4.061 | 229.373 | 4.927 | 228.363 | 5.265 | 238.5 | 5.065 | 237.367 | -6.134 | 889.8 | 56.352 | 8.7521
2020-01-30 11:00:00 | 3.912 | 233.867 | 4.258 | 241.279 | 4.51 | 247.833 | 4.44 | 247.533 | -4.735 | 890.1 | 52.288 | 6.5507
2020-01-30 11:15:00 | 3.854 | 239.233 | 3.964 | 245.392 | 4.018 | 251.233 | 4.035 | 250.283 | -3.74 | 889.917 | 48.768 | 5.4557
2020-01-30 11:30:00 | 3.579 | 246.933 | 3.705 | 251.767 | 3.819 | 256.85 | 3.89 | 256.517 | -3.387 | 889.9 | 47.397 | 5.2944
2020-01-30 11:45:00 | 3.239 | 259.327 | 3.692 | 275.705 | 3.852 | 280.167 | 3.876 | 276.467 | -3.973 | 889.95 | 46.875 | 5.919
2020-01-30 12:00:00 | 4.491 | 282.273 | 4.681 | 294.008 | 4.727 | 297 | 4.785 | 293.367 | -4.285 | 889.775 | 48.032 | 5.6689
2020-01-30 12:15:00 | 4.047 | 289.253 | 4.146 | 292.963 | 4.343 | 295.467 | 4.395 | 292.567 | -4.201 | 890.042 | 47.349 | 5.2603
2020-01-30 12:30:00 | 4.812 | 258.8 | 4.974 | 274.503 | 4.775 | 279.4 | 4.75 | 276.6 | -3.823 | 890.233 | 46.672 | 5.3968
2020-01-30 12:45:00 | 4.666 | 285.633 | 4.855 | 289.856 | 4.845 | 292.233 | 4.976 | 285.967 | -3.454 | 890.408 | 46.053 | 5.369
2020-01-30 13:00:00 | 4.191 | 275.427 | 4.36 | 283.011 | 4.272 | 288.4 | 4.209 | 283.733 | -2.821 | 889.742 | 44.629 | 6.3667
2020-01-30 13:15:00 | 4.149 | 281.007 | 4.256 | 293.466 | 4.372 | 294.9 | 4.473 | 291.867 | -2.609 | 889.95 | 43.781 | 5.9119
2020-01-30 13:30:00 | 3.449 | 285.82 | 3.609 | 288.088 | 4.065 | 290.067 | 4.23 | 288.367 | -2.593 | 889.867 | 42.667 | 6.1819
2020-01-30 13:45:00 | 4.578 | 318.56 | 4.803 | 313.144 | 4.979 | 312.467 | 5.234 | 308.933 | -2.521 | 889.925 | 41.021 | 10.5391
2020-01-30 14:00:00 | 4.791 | 288.327 | 5.088 | 299.559 | 4.989 | 302.467 | 5.117 | 297.767 | -2.091 | 889.783 | 40.565 | 15.2871
2020-01-30 14:15:00 | 5.364 | 294.44 | 5.533 | 307.802 | 5.41 | 312.167 | 5.702 | 308.967 | -2.18 | 889.875 | 40.981 | 16.5932
2020-01-30 14:30:00 | 5.982 | 316.493 | 6.231 | 315.122 | 6.505 | 318.767 | 6.646 | 318.533 | -2.164 | 889.675 | 41.245 | 17.637
2020-01-30 14:45:00 | 4.608 | 303.867 | 4.688 | 301.796 | 4.906 | 308.533 | 5.023 | 305.033 | -2.234 | 890.025 | 41.867 | 17.1673
2020-01-30 15:00:00 | 4.318 | 308.773 | 4.547 | 325.518 | 4.757 | 327.833 | 4.847 | 325.167 | -2.333 | 889.808 | 41.424 | 11.0543
2020-01-30 15:15:00 | 4.117 | 316.107 | 4.658 | 306.952 | 4.652 | 311.6 | 4.87 | 313.133 | -2.296 | 889.725 | 41.547 | 12.7575
2020-01-30 15:30:00 | 5.525 | 325.987 | 5.544 | 318.64 | 5.582 | 320.833 | 5.912 | 317.833 | -1.928 | 889.483 | 40.901 | 16.8056
2020-01-30 15:45:00 | 5.436 | 299.673 | 5.65 | 303.795 | 5.585 | 312.2 | 5.634 | 314.7 | -2.329 | 889.508 | 41.243 | 18.6026
2020-01-30 16:00:00 | 5.327 | 305.367 | 6.011 | 309.644 | 6.249 | 312.8 | 6.717 | 312.133 | -2.065 | 889.6 | 41.056 | 18.8442
2020-01-30 16:15:00 | 5.752 | 311 | 5.918 | 308.809 | 5.996 | 311.133 | 6.296 | 309.533 | -1.965 | 889.758 | 40.733 | 21.5515
2020-01-30 16:30:00 | 6.417 | 301.44 | 6.375 | 303.755 | 6.494 | 307.767 | 6.72 | 305.967 | -1.64 | 889.725 | 40.744 | 24.7831
2020-01-30 16:45:00 | 5.754 | 304.013 | 6.089 | 304.623 | 6.254 | 307.333 | 6.571 | 304.033 | -2.071 | 889.908 | 41.32 | 26.232
2020-01-30 17:00:00 | 6.42 | 301.813 | 6.729 | 307.221 | 6.848 | 310.233 | 7.062 | 305.667 | -2.14 | 889.783 | 41.925 | 28.3871
2020-01-30 17:15:00 | 5.97 | 302.473 | 6.387 | 304.252 | 6.373 | 309.533 | 6.666 | 308.567 | -2.164 | 889.925 | 42.037 | 29.6576
2020-01-30 17:30:00 | 6.518 | 302.307 | 6.572 | 306.002 | 6.778 | 310.9 | 7.049 | 309.167 | -2.298 | 889.95 | 42.629 | 30.3163
2020-01-30 17:45:00 | 5.961 | 300.487 | 6.242 | 305.238 | 6.489 | 308.867 | 6.856 | 306.333 | -2.438 | 889.633 | 43.403 | 28.9243
2020-01-30 18:00:00 | 6.795 | 296.46 | 7.233 | 303.149 | 7.477 | 308.867 | 7.68 | 306.8 | -2.72 | 889.558 | 44.373 | 25.9179
2020-01-30 18:15:00 | 5.834 | 294.013 | 6.329 | 301.877 | 6.446 | 307.1 | 6.773 | 304 | -3.13 | 890.1 | 45.472 | 24.3511
2020-01-30 18:30:00 | 6.062 | 300.24 | 6.487 | 302.743 | 6.781 | 308.733 | 7.118 | 305.433 | -3.267 | 890.05 | 46.507 | 20.3535
2020-01-30 18:45:00 | 5.436 | 298.6 | 6.313 | 301.468 | 6.797 | 304.733 | 7.151 | 303.6 | -3.723 | 889.708 | 47.515 | 16.6621
2020-01-30 19:00:00 | 5.011 | 304.013 | 5.871 | 304.944 | 5.998 | 309.233 | 6.325 | 307.7 | -3.877 | 890.183 | 48.635 | 14.6242
2020-01-30 19:15:00 | 4.186 | 291.167 | 5.78 | 301.267 | 6.219 | 305.4 | 6.61 | 303.6 | -4.597 | 889.9 | 49.803 | 12.9138
2020-01-30 19:30:00 | 3.299 | 286.267 | 4.88 | 297.446 | 5.279 | 303.767 | 5.771 | 300.333 | -4.819 | 889.5 | 51.68 | 10.078
2020-01-30 19:45:00 | 3.095 | 286.533 | 4.204 | 291.511 | 4.471 | 297.133 | 4.856 | 295.567 | -5.302 | 889.967 | 52.421 | 7.1661
2020-01-30 20:00:00 | 2.58 | 260.8 | 3.953 | 285.854 | 4.676 | 294.7 | 5.105 | 291.4 | -5.747 | 889.908 | 53.499 | 4.8532
2020-01-30 20:15:00 | 2.36 | 219.967 | 2.608 | 260.82 | 3.619 | 281.533 | 4.273 | 285.467 | -6.711 | 889.908 | 56.336 | 3.2764
2020-01-30 20:30:00 | 1.442 | 214.6 | 0.85 | 255.485 | 2.154 | 276 | 3.184 | 286.667 | -6.578 | 890.383 | 57.621 | 5.3428
2020-01-30 20:45:00 | 0.846 | 247.993 | 2.043 | 292.416 | 2.901 | 293.367 | 4.161 | 289.8 | -7.141 | 890.108 | 60.475 | 11.5524
2020-01-30 21:00:00 | 5.469 | 251.227 | 7.002 | 282.636 | 7.536 | 285.5 | 8.168 | 284.967 | -5.806 | 889.783 | 57.808 | 20.4828
2020-01-30 21:15:00 | 5.202 | 228.26 | 7.146 | 273.98 | 7.493 | 278.767 | 8.024 | 278.133 | -5.898 | 889.908 | 54.571 | 21.3461
2020-01-30 21:30:00 | 5.616 | 228.4 | 6.25 | 256.569 | 6.294 | 266.4 | 6.484 | 268.233 | -6.495 | 889.992 | 56.064 | 21.0178
2020-01-30 21:45:00 | 4.946 | 249.713 | 5.941 | 270.743 | 6.153 | 278.067 | 6.562 | 277.3 | -5.958 | 889.992 | 54.571 | 21.4342
2020-01-30 22:00:00 | 5.297 | 245.767 | 6.147 | 275.106 | 6.787 | 282.333 | 7.843 | 282.5 | -6.512 | 890.067 | 55.264 | 26.281
2020-01-30 22:15:00 | 5.421 | 238.62 | 6.965 | 276.711 | 7.443 | 279.767 | 7.984 | 277.033 | -6.184 | 889.683 | 54.373 | 26.2874
2020-01-30 22:30:00 | 5.188 | 243.093 | 6.13 | 266.102 | 6.554 | 272.467 | 6.913 | 269.067 | -6.345 | 889.925 | 54.517 | 23.7088
2020-01-30 22:45:00 | 4.891 | 254.5 | 5.523 | 263.194 | 5.845 | 268.933 | 6.176 | 264.567 | -6.386 | 890.125 | 55.157 | 15.7589
2020-01-30 23:00:00 | 4.222 | 241.933 | 4.674 | 260.638 | 5.147 | 268.867 | 5.499 | 265.033 | -6.893 | 889.642 | 56.139 | 14.5055
2020-01-30 23:15:00 | 3.98 | 221.373 | 4.378 | 243.956 | 4.675 | 255.433 | 5.14 | 254.15 | -8.02 | 890.042 | 58.293 | 16.9541
2020-01-30 23:30:00 | 5.22 | 226.2 | 5.347 | 239.317 | 5.606 | 251.833 | 5.766 | 248.5 | -8.291 | 889.742 | 59.829 | 17.3485
2020-01-30 23:45:00 | 4.767 | 233.96 | 5.143 | 247.048 | 5.645 | 252.533 | 5.736 | 249.2 | -7.519 | 889.75 | 59.029 | 14.6782