## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-31 00:00:00 | 4.398 | 231.327 | 4.706 | 251.259 | 5.034 | 257.433 | 5.138 | 253.917 | -7.17 | 889.775 | 56.896 | 12.3674
2020-01-31 00:15:00 | 4.945 | 218.467 | 5.08 | 232.344 | 4.957 | 246.667 | 5.13 | 245.3 | -7.923 | 889.525 | 59.605 | 14.3336
2020-01-31 00:30:00 | 4.795 | 219.133 | 5.574 | 229.318 | 5.722 | 237.333 | 5.766 | 236.933 | -7.99 | 889.708 | 59.669 | 15.361
2020-01-31 00:45:00 | 5.17 | 219.753 | 5.463 | 234.818 | 5.74 | 243.967 | 5.923 | 242.133 | -8.23 | 890.4 | 60.459 | 11.5879
2020-01-31 01:00:00 | 4.879 | 215.587 | 4.856 | 219.851 | 4.528 | 228.567 | 4.532 | 228.2 | -8.013 | 889.867 | 60.512 | 9.2182
2020-01-31 01:15:00 | 4.518 | 221.493 | 4.354 | 228.377 | 4.193 | 240.4 | 4.274 | 237.767 | -8.344 | 889.783 | 61.312 | 8.7982
2020-01-31 01:30:00 | 4.69 | 223.7 | 5.142 | 223.538 | 4.54 | 234.033 | 4.315 | 236 | -8.458 | 888.825 | 61.013 | 10.3139
2020-01-31 01:45:00 | 4.692 | 220 | 5.475 | 235.693 | 5.549 | 246.167 | 5.584 | 243.1 | -8.891 | 889.875 | 61.888 | 14.2419
2020-01-31 02:00:00 | 4.709 | 229.6 | 5.288 | 242.045 | 5.402 | 247.967 | 5.481 | 244.1 | -9.358 | 889.917 | 62.741 | 18.8286
2020-01-31 02:15:00 | 4.597 | 224.347 | 5.495 | 241.953 | 5.579 | 250.867 | 5.5 | 245.367 | -9.196 | 889.792 | 63.179 | 20.0479
2020-01-31 02:30:00 | 5.729 | 218.58 | 5.687 | 236.019 | 5.758 | 246.133 | 5.681 | 244.3 | -9.458 | 889.625 | 63.339 | 20.9624
2020-01-31 02:45:00 | 4.967 | 228.233 | 5.659 | 242.739 | 5.635 | 251.3 | 5.62 | 248.083 | -9.091 | 889.983 | 60.544 | 20.7898
2020-01-31 03:00:00 | 5.243 | 220.567 | 6.021 | 237.54 | 6.19 | 248.467 | 6.168 | 245.167 | -9.241 | 889.525 | 60.107 | 21.3795
2020-01-31 03:15:00 | 5.239 | 225.427 | 6.239 | 239.509 | 6.123 | 248.933 | 6.178 | 247.117 | -9.304 | 889.742 | 60.352 | 20.254
2020-01-31 03:30:00 | 5.304 | 227.74 | 6.368 | 242.162 | 6.421 | 251.967 | 6.492 | 250.75 | -9.433 | 889.683 | 60.992 | 18.6254
2020-01-31 03:45:00 | 4.984 | 223.42 | 5.748 | 240.854 | 5.745 | 250.333 | 5.771 | 250.033 | -9.724 | 890.008 | 61.632 | 17.4387
2020-01-31 04:00:00 | 5.418 | 225.747 | 5.974 | 241.883 | 5.991 | 250.833 | 5.832 | 248.533 | -9.891 | 890.117 | 62.4 | 16.6472
2020-01-31 04:15:00 | 4.958 | 209.893 | 5.538 | 235.159 | 5.535 | 246.2 | 5.426 | 244.9 | -9.904 | 889.817 | 62.485 | 14.4025
2020-01-31 04:30:00 | 5.276 | 215.167 | 5.096 | 232.074 | 4.969 | 243.233 | 4.854 | 241.6 | -10.266 | 889.933 | 63.093 | 11.212
2020-01-31 04:45:00 | 5.226 | 215.1 | 4.955 | 231.303 | 4.844 | 240.8 | 4.686 | 237.833 | -10.283 | 889.783 | 62.592 | 9.3333
2020-01-31 05:00:00 | 4.314 | 217.48 | 4.707 | 239.501 | 4.67 | 248.6 | 4.574 | 243.767 | -10.685 | 890.133 | 63.328 | 8.9794
2020-01-31 05:15:00 | 4.508 | 212.693 | 4.744 | 230.908 | 4.631 | 243.4 | 4.514 | 240.567 | -10.439 | 889.458 | 63.904 | 8.8451
2020-01-31 05:30:00 | 5.131 | 215.587 | 4.865 | 236.675 | 4.834 | 248.9 | 4.802 | 245.833 | -10.501 | 889.642 | 63.307 | 9.1983
2020-01-31 05:45:00 | 3.934 | 216.433 | 5.4 | 228.264 | 5.106 | 243.033 | 4.933 | 242.833 | -10.543 | 889.5 | 62.592 | 10.5747
2020-01-31 06:00:00 | 4.874 | 212.433 | 5.714 | 223.95 | 5.492 | 236.3 | 5.291 | 235.033 | -11.278 | 890.375 | 63.68 | 11.5723
2020-01-31 06:15:00 | 5.617 | 211.493 | 5.97 | 224.211 | 5.619 | 238.833 | 5.381 | 236.967 | -11.04 | 889.758 | 62.453 | 11.8849
2020-01-31 06:30:00 | 6.28 | 212.62 | 5.78 | 221.191 | 5.435 | 230.8 | 5.222 | 229.767 | -9.949 | 889.908 | 58.656 | 11.8991
2020-01-31 06:45:00 | 5.868 | 212.787 | 5.797 | 222.988 | 5.228 | 233 | 5.14 | 231.8 | -10.512 | 890.133 | 57.781 | 9.7532
2020-01-31 07:00:00 | 5.678 | 210.133 | 5.078 | 225.865 | 4.87 | 236.433 | 4.725 | 235.067 | -10.233 | 889.642 | 58.123 | 8.8679
2020-01-31 07:15:00 | 5.464 | 215.367 | 5.121 | 228.778 | 4.827 | 241.733 | 4.631 | 240.9 | -10.299 | 889.792 | 59.136 | 6.5258
2020-01-31 07:30:00 | 5.114 | 216.267 | 4.568 | 227.346 | 4.134 | 241.9 | 3.883 | 244 | -10.61 | 889.9 | 60.107 | 4.5803
2020-01-31 07:45:00 | 5.476 | 218.24 | 5.105 | 227.784 | 4.236 | 240.2 | 3.811 | 243.3 | -10.58 | 890.308 | 60.32 | 3.9309
2020-01-31 08:00:00 | 5.358 | 213.813 | 4.748 | 228.404 | 3.979 | 240.167 | 3.659 | 240.533 | -10.778 | 890.508 | 60.224 | 3.6388
2020-01-31 08:15:00 | 3.758 | 217.167 | 4.819 | 226.708 | 3.982 | 238.567 | 3.414 | 240.033 | -10.797 | 890.183 | 60.352 | 2.136
2020-01-31 08:30:00 | 4.782 | 220.76 | 5.151 | 224.83 | 4.061 | 236.567 | 3.468 | 239.7 | -10.947 | 889.85 | 61.067 | 1.9484
2020-01-31 08:45:00 | 4.935 | 219.013 | 4.902 | 225.587 | 3.996 | 235.533 | 3.38 | 238.5 | -10.872 | 889.908 | 61.44 | 1.2193
2020-01-31 09:00:00 | 4.621 | 213.147 | 4.061 | 223.344 | 3.243 | 238.3 | 2.853 | 242.7 | -11.078 | 889.833 | 62.112 | 0.64448
2020-01-31 09:15:00 | 5.663 | 212.907 | 4.375 | 218.658 | 3.128 | 230.067 | 2.631 | 236.9 | -10.784 | 889.842 | 62.517 | 0.14211
2020-01-31 09:30:00 | 5.828 | 215.7 | 3.683 | 221.513 | 2.706 | 230.967 | 2.125 | 234 | -9.945 | 890.267 | 60.96 | 0.13359
2020-01-31 09:45:00 | 5.267 | 212 | 4.131 | 222.251 | 3.08 | 231.167 | 2.314 | 226.9 | -10.099 | 889.95 | 60.832 | 0.13643
2020-01-31 10:00:00 | 5.158 | 215.6 | 3.797 | 224.197 | 2.973 | 232.867 | 2.26 | 232.1 | -9.808 | 889.467 | 60.416 | 0.11369
2020-01-31 10:15:00 | 5.678 | 213.1 | 3.767 | 225.288 | 2.561 | 235.733 | 2.118 | 235.967 | -9.208 | 890.025 | 59.509 | 0.32331
2020-01-31 10:30:00 | 4.856 | 220.827 | 3.139 | 230.296 | 2.778 | 244.033 | 2.346 | 240.1 | -9.541 | 890 | 60.053 | 0.13288
2020-01-31 10:45:00 | 4.067 | 219.5 | 3.44 | 232.294 | 2.778 | 246.967 | 2.594 | 252.067 | -8.123 | 890.15 | 57.845 | 0.10872
2020-01-31 11:00:00 | 3.079 | 213.84 | 2.863 | 235.446 | 2.492 | 248.133 | 2.462 | 251 | -6.034 | 890.017 | 52.853 | 0.17906
2020-01-31 11:15:00 | 2.544 | 213.32 | 2.516 | 226.247 | 2.739 | 248.067 | 2.886 | 244 | -4.215 | 889.708 | 48.693 | 0.13359
2020-01-31 11:30:00 | 1.484 | 216.093 | 1.485 | 245.402 | 1.934 | 252.1 | 2.124 | 246.533 | -3.97 | 889.517 | 46.688 | 0.27712
2020-01-31 11:45:00 | 2.041 | 257.22 | 1.977 | 264.404 | 2.071 | 268.267 | 2.265 | 261.133 | -1.67 | 889.7 | 40.923 | 0.21743
2020-01-31 12:00:00 | 2 | 296.24 | 2.157 | 291.696 | 2.288 | 288.967 | 2.791 | 288.967 | -2.524 | 889.8 | 40.459 | 0.21814
2020-01-31 12:15:00 | 2.957 | 294.093 | 3.038 | 306.694 | 3.325 | 309.633 | 3.332 | 307.267 | -3.247 | 889.792 | 41.819 | 1.9903
2020-01-31 12:30:00 | 2.965 | 97.636 | 2.717 | 112.867 | 2.693 | 119.5 | 2.794 | 133.867 | -2.938 | 889.7 | 41.691 | 1.2947
2020-01-31 12:45:00 | 2.564 | 56.467 | 2.631 | 50.04 | 2.38 | 54.033 | 2.273 | 50.9 | -3.171 | 889.717 | 40.827 | 0.31194
2020-01-31 13:00:00 | 2.363 | 36.633 | 2.171 | 46.612 | 2.387 | 36.138 | 2.582 | 36.633 | -3.338 | 889.917 | 40.179 | 0.10801
2020-01-31 13:15:00 | 2.966 | 30.367 | 2.795 | 20.164 | 2.984 | 23.533 | 2.909 | 18.867 | -3.588 | 889.6 | 39.6 | 0.18759
2020-01-31 13:30:00 | 3.271 | 27.433 | 2.813 | 22.897 | 2.763 | 28.9 | 2.883 | 25.067 | -3.387 | 889.9 | 39.893 | 0.18404
2020-01-31 13:45:00 | 1.79 | 196.908 | 1.89 | 73.233 | 2.146 | 76.675 | 2.392 | 68.402 | -2.788 | 889.867 | 39.885 | 0.24728
2020-01-31 14:00:00 | 3.848 | 16.652 | 3.751 | 22.06 | 3.751 | 16.133 | 3.528 | 14.367 | -2.659 | 890.133 | 39.104 | 1.4304
2020-01-31 14:15:00 | 4.398 | 23.446 | 4.459 | 7.848 | 4.422 | 13.101 | 4.386 | 12.967 | -2.962 | 889.65 | 42.133 | 4.2137
2020-01-31 14:30:00 | 4.193 | 33.933 | 4.292 | 21.132 | 4.573 | 20.367 | 4.851 | 21.1 | -3.488 | 889.867 | 44.832 | 5.4785
2020-01-31 14:45:00 | 4.621 | 30.167 | 4.478 | 25.382 | 4.387 | 25.1 | 4.335 | 22.233 | -3.79 | 889.408 | 44.427 | 5.2724
2020-01-31 15:00:00 | 3.875 | 23.367 | 4.012 | 10 | 3.946 | 13.733 | 3.893 | 13.5 | -3.89 | 889.883 | 43.221 | 5.0827
2020-01-31 15:15:00 | 2.787 | 30.433 | 3.004 | 25.717 | 3.275 | 29.167 | 3.514 | 25.8 | -3.84 | 889.492 | 42.869 | 2.4252
2020-01-31 15:30:00 | 3.233 | 45.733 | 3.407 | 37.707 | 3.379 | 38.9 | 3.518 | 35.933 | -3.672 | 890.183 | 42.571 | 1.4069
2020-01-31 15:45:00 | 3.95 | 47.17 | 3.787 | 43.678 | 4.015 | 47.967 | 4.282 | 38.933 | -3.93 | 889.817 | 42.517 | 1.3565
2020-01-31 16:00:00 | 2.608 | 32.772 | 2.627 | 17.542 | 2.778 | 18.334 | 2.614 | 14.767 | -4.073 | 889.392 | 43.211 | 0.39508
2020-01-31 16:15:00 | 2.61 | 29.333 | 2.681 | 22.566 | 2.715 | 26.133 | 2.932 | 26.367 | -3.756 | 889.925 | 41.557 | 0.081005
2020-01-31 16:30:00 | 1.957 | 43.067 | 1.759 | 38.547 | 2.071 | 39.733 | 2.316 | 36.467 | -3.907 | 889.717 | 40.544 | 0.23591
2020-01-31 16:45:00 | 2.84 | 87.4 | 2.834 | 192.544 | 2.822 | 83.3 | 2.923 | 83.4 | -3.924 | 889.325 | 40.656 | 0.25225
2020-01-31 17:00:00 | 2.02 | 72.433 | 2.017 | 36.516 | 1.94 | 62.435 | 2.18 | 51.033 | -3.823 | 889.733 | 41.141 | 0.24444
2020-01-31 17:15:00 | 0.27 | 46.467 | 0.027 | 222.926 | 0.156 | 282.4 | 0.323 | 292.733 | -3.706 | 889.85 | 40.605 | 0.22028
2020-01-31 17:30:00 | 0.276 | 204 | 0.063 | 118.805 | 0 | 102.969 | 0 | 29.633 | -3.672 | 889.9 | 39.84 | 0.21601
2020-01-31 17:45:00 | 1.731 | 318.033 | 1.834 | 281.904 | 1.8 | 319.167 | 1.856 | 334.2 | -3.238 | 890.033 | 40.011 | 0.21743
2020-01-31 18:00:00 | 1.753 | 107.173 | 1.576 | 0 | 1.534 | 1.033 | 1.438 | 173.467 | -4.076 | 889.858 | 41.429 | 0.21743
2020-01-31 18:15:00 | 2.147 | 164.573 | 2.057 | 337.044 | 2.053 | 349.933 | 2.03 | 280.733 | -4.06 | 889.625 | 41.877 | 0.21885
2020-01-31 18:30:00 | 2.071 | 237.254 | 1.94 | 301.961 | 2.071 | 348.333 | 2.08 | 350.9 | -4.285 | 890.067 | 41.221 | 0.22099
2020-01-31 18:45:00 | 3.586 | 339.92 | 3.701 | 350.279 | 3.491 | 306 | 3.52 | 211.333 | -4.869 | 890.058 | 41.427 | 1.4901
2020-01-31 19:00:00 | 2.518 | 295.08 | 3.37 | 344.775 | 3.36 | 348.433 | 3.248 | 346.033 | -5.355 | 889.542 | 41.792 | 1.4467
2020-01-31 19:15:00 | 2.909 | 349.893 | 3.532 | 344.988 | 3.681 | 350.7 | 3.672 | 350.967 | -5.806 | 889.492 | 41.781 | 1.2776
2020-01-31 19:30:00 | 1.363 | 297.387 | 2.341 | 350.39 | 2.798 | 352 | 2.849 | 352 | -5.898 | 890.05 | 42.896 | 0.21885
2020-01-31 19:45:00 | 1.807 | 339.16 | 2.574 | 338.899 | 2.485 | 341.067 | 2.4 | 338.933 | -6.236 | 890.058 | 42.837 | 0.1947
2020-01-31 20:00:00 | 2.281 | 348.933 | 2.675 | 338.946 | 2.722 | 343.8 | 2.704 | 347.867 | -6.345 | 889.425 | 42.048 | 0.10445
2020-01-31 20:15:00 | 1.47 | 334.787 | 2.252 | 335.028 | 2.274 | 336.933 | 2.411 | 339.867 | -6.658 | 889.933 | 41.707 | 0.18475
2020-01-31 20:30:00 | 2.068 | 318.413 | 2.701 | 326.997 | 2.809 | 329.667 | 2.94 | 329 | -6.913 | 890.292 | 42.672 | 0.3162
2020-01-31 20:45:00 | 1.659 | 296.013 | 2.099 | 316.272 | 2.189 | 322.8 | 2.601 | 323.567 | -7.343 | 890.075 | 42.517 | 0.28067
2020-01-31 21:00:00 | 1.848 | 259.707 | 1.424 | 298.944 | 1.595 | 318.467 | 2.006 | 321 | -7.95 | 889.517 | 44.56 | 0.23946
2020-01-31 21:15:00 | 1.681 | 246.447 | 0.471 | 299.031 | 0.263 | 318 | 1.154 | 321 | -8.25 | 889.833 | 45.312 | 0.2217
2020-01-31 21:30:00 | 1.57 | 241.413 | 0.043 | 298.817 | 0 | 318.067 | 0 | 321.067 | -8.351 | 889.908 | 44.864 | 0.22028
2020-01-31 21:45:00 | 1.29 | 240.34 | 0 | 298.997 | 0 | 318 | 0 | 321.333 | -8.17 | 889.658 | 44.235 | 0.21743
2020-01-31 22:00:00 | 1.435 | 236.833 | 0 | 298.903 | 0 | 318 | 0 | 321 | -8.09 | 890.017 | 44.384 | 0.21743
2020-01-31 22:15:00 | 1.567 | 221.253 | 0 | 298.796 | 0 | 317.8 | 0 | 321.1 | -7.996 | 890.142 | 44.864 | 0.21317
2020-01-31 22:30:00 | 1.541 | 216.153 | 0 | 299.046 | 0 | 318 | 0 | 321 | -8.13 | 889.775 | 45.792 | 0.21317
2020-01-31 22:45:00 | 2.467 | 196.807 | 0.229 | 274.992 | 0 | 318 | 0 | 321.067 | -8.22 | 889.55 | 45.963 | 0.21317
2020-01-31 23:00:00 | 2.712 | 206.3 | 0 | 274.81 | 0 | 317.867 | 0 | 320.967 | -8.858 | 890.017 | 47.979 | 0.21459
2020-01-31 23:15:00 | 2.287 | 207.333 | 0 | 275.107 | 0 | 318 | 0 | 321 | -8.708 | 889.583 | 49.877 | 0.21459
2020-01-31 23:30:00 | 3.201 | 213.44 | 0.708 | 218.444 | 0 | 318.067 | 0 | 321 | -8.271 | 890.258 | 50.464 | 0.21317
2020-01-31 23:45:00 | 3.256 | 213.647 | 2.489 | 199.63 | 2.076 | 209 | 1.484 | 254.433 | -8.468 | 889.733 | 51.339 | 0.2288