## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-02 00:00:00 | 1.713 | 179.233 | 1.661 | 122.636 | 2.002 | 104.167 | 2.038 | 93.367 | -7.722 | 890.025 | 52.469 | 1.5753
2020-02-02 00:15:00 | 1.434 | 164.273 | 1.576 | 113.838 | 1.466 | 101.567 | 1.751 | 93.333 | -7.194 | 889.825 | 51.755 | 1.6471
2020-02-02 00:30:00 | 1.19 | 165.267 | 1.43 | 109.447 | 1.271 | 97.6 | 1.891 | 86.267 | -7.422 | 890 | 52.192 | 1.2236
2020-02-02 00:45:00 | 0.708 | 168.467 | 1.24 | 103.501 | 1.672 | 88.8 | 2.3 | 82.633 | -8.19 | 889.975 | 53.237 | 0.92445
2020-02-02 01:00:00 | 1.514 | 191.333 | 1.462 | 123.446 | 2.09 | 109.333 | 2.43 | 104.833 | -8.524 | 889.917 | 54.379 | 0.14069
2020-02-02 01:15:00 | 1.379 | 206.167 | 0.719 | 123.74 | 1.61 | 107.4 | 1.667 | 94.467 | -8.741 | 889.733 | 54.411 | 0.13856
2020-02-02 01:30:00 | 1.642 | 207.333 | 0.436 | 130.528 | 1.366 | 109.967 | 1.623 | 107 | -8.574 | 889.908 | 54.325 | 0.12009
2020-02-02 01:45:00 | 1.226 | 208.1 | 1.006 | 124.962 | 1.674 | 103.067 | 1.877 | 100.667 | -8.407 | 889.733 | 54.336 | 0.076741
2020-02-02 02:00:00 | 1.779 | 220.967 | 0 | 121.262 | 1.119 | 115.533 | 2.244 | 106.8 | -8.508 | 890.008 | 54.432 | 0.22454
2020-02-02 02:15:00 | 2.39 | 218.5 | 0.27 | 127.152 | 1.603 | 124.7 | 2.599 | 106.8 | -8.774 | 889.95 | 54.411 | 0.25438
2020-02-02 02:30:00 | 1.769 | 203.433 | 0.767 | 139.056 | 1.718 | 123 | 2.279 | 107.633 | -8.691 | 890.042 | 52.853 | 0.22312
2020-02-02 02:45:00 | 1.082 | 213.367 | 0.193 | 125.563 | 1.946 | 93.667 | 2.86 | 94.933 | -8.774 | 890.033 | 52.512 | 0.25794
2020-02-02 03:00:00 | 0 | 213.333 | 1.524 | 73.854 | 2.744 | 73.033 | 3.123 | 73.133 | -9.412 | 889.925 | 54.069 | 0.21175
2020-02-02 03:15:00 | 0 | 199.027 | 1.083 | 51.92 | 1.753 | 56.733 | 2.274 | 61.133 | -10.191 | 889.783 | 56.843 | 0.25367
2020-02-02 03:30:00 | 0 | 199 | 0.027 | 51.11 | 1.52 | 52.233 | 1.856 | 68.067 | -10.316 | 889.867 | 59.317 | 0.17906
2020-02-02 03:45:00 | 0.493 | 144.713 | 1.608 | 54.521 | 2.519 | 61.533 | 3.255 | 72.867 | -10.224 | 889.508 | 59.413 | 1.0012
2020-02-02 04:00:00 | 0.537 | 168.91 | 0.813 | 61.843 | 1.861 | 79.833 | 2.419 | 90.5 | -10.872 | 889.625 | 60.128 | 2.1786
2020-02-02 04:15:00 | 1.027 | 222.82 | 0.05 | 142.277 | 0.642 | 85.533 | 2.069 | 82.7 | -10.909 | 889.792 | 60.245 | 1.7814
2020-02-02 04:30:00 | 2.534 | 225.8 | 0.313 | 195.767 | 0.807 | 107.1 | 2.177 | 85.233 | -11.161 | 889.792 | 59.637 | 1.1248
2020-02-02 04:45:00 | 1.996 | 221.867 | 0.23 | 172.735 | 0.09 | 106 | 1.444 | 95.633 | -10.984 | 889.717 | 59.445 | 1.5526
2020-02-02 05:00:00 | 1.973 | 227.38 | 0.14 | 144.355 | 1.567 | 105.867 | 1.956 | 92.2 | -10.778 | 889.992 | 58.869 | 1.9533
2020-02-02 05:15:00 | 2.218 | 234.38 | 0 | 140.49 | 0.51 | 107.833 | 1.767 | 96.333 | -10.872 | 889.783 | 58.816 | 1.2087
2020-02-02 05:30:00 | 1.922 | 214.567 | 0.307 | 148.808 | 1.494 | 123 | 2.435 | 99.333 | -10.316 | 889.65 | 58.645 | 1.4623
2020-02-02 05:45:00 | 1.237 | 196.907 | 1.546 | 120.627 | 2.109 | 112.133 | 2.116 | 98.767 | -10.647 | 889.908 | 58.741 | 1.9803
2020-02-02 06:00:00 | 1.38 | 185.24 | 1.406 | 123.964 | 2.445 | 109.967 | 2.885 | 95.5 | -10.834 | 890.358 | 58.72 | 3.8697
2020-02-02 06:15:00 | 1.489 | 162 | 1.794 | 114.532 | 2.358 | 105.033 | 2.546 | 93.1 | -10.499 | 889.958 | 58.933 | 3.9849
2020-02-02 06:30:00 | 1.603 | 183.113 | 2.257 | 122.776 | 3.268 | 116 | 3.46 | 100.967 | -10.872 | 889.917 | 58.635 | 3.4939
2020-02-02 06:45:00 | 1.785 | 208.973 | 1.332 | 137.45 | 2.652 | 116.6 | 3.28 | 100.567 | -11.138 | 889.7 | 58.923 | 1.9974
2020-02-02 07:00:00 | 2.517 | 209.193 | 1.416 | 151.883 | 2.694 | 125.3 | 3.132 | 105.333 | -10.947 | 889.85 | 57.803 | 1.1525
2020-02-02 07:15:00 | 1.84 | 209.42 | 0.81 | 141.22 | 2 | 115.5 | 2.236 | 86.933 | -10.655 | 889.983 | 56.843 | 1.1554
2020-02-02 07:30:00 | 1.413 | 207.853 | 0.44 | 113.286 | 1.878 | 89.6 | 2.636 | 82.267 | -11.266 | 889.825 | 57.515 | 1.1625
2020-02-02 07:45:00 | 1.556 | 226.987 | 0.1 | 99.234 | 1.054 | 81.233 | 2.574 | 73.333 | -12.12 | 889.925 | 60.363 | 0.16911
2020-02-02 08:00:00 | 0.974 | 217.373 | 0 | 96.282 | 1.622 | 72.167 | 2.809 | 74.567 | -12.036 | 889.892 | 61.589 | 0.15846
2020-02-02 08:15:00 | 0.569 | 213.487 | 0 | 96.238 | 0.908 | 93.5 | 2.174 | 83.133 | -12.016 | 890.025 | 62.027 | 0.17054
2020-02-02 08:30:00 | 0.912 | 226.327 | 0 | 96.26 | 0.902 | 84.533 | 1.944 | 82 | -11.745 | 889.9 | 62.656 | 0.22241
2020-02-02 08:45:00 | 0.356 | 224.353 | 0 | 96.229 | 0.576 | 72.2 | 1.4 | 81.867 | -11.911 | 889.875 | 62.859 | 0.1549
2020-02-02 09:00:00 | 0 | 226.733 | 0 | 95.856 | 0.499 | 70.833 | 1.424 | 82.167 | -12.286 | 889.833 | 64.811 | 0.21957
2020-02-02 09:15:00 | 0 | 231.56 | 0.233 | 94.266 | 1.306 | 91.967 | 2.58 | 87.1 | -11.14 | 889.867 | 65.813 | 0.16769
2020-02-02 09:30:00 | 0 | 231.54 | 0.203 | 93.273 | 2.248 | 94.967 | 3.214 | 95.133 | -11.022 | 889.992 | 61.472 | 1.0396
2020-02-02 09:45:00 | 0.143 | 216.38 | 0.293 | 94.855 | 1.722 | 88.833 | 2.244 | 88.633 | -10.668 | 889.625 | 59.541 | 1.5256
2020-02-02 10:00:00 | 1.207 | 229.833 | 0 | 95.341 | 1.206 | 97.3 | 2.434 | 82.567 | -10.266 | 889.758 | 56.373 | 0.98484
2020-02-02 10:15:00 | 0.868 | 207.187 | 0.027 | 103.232 | 1.33 | 92.133 | 2.411 | 84.467 | -9.895 | 889.6 | 54.389 | 0.79797
2020-02-02 10:30:00 | 0 | 207.48 | 0.323 | 90.286 | 1.69 | 89.467 | 2.059 | 84.5 | -8.117 | 889.775 | 50.635 | 0.5514
2020-02-02 10:45:00 | 0.745 | 219.267 | 0.057 | 149.723 | 0.826 | 103.533 | 2.012 | 85.667 | -7.589 | 889.908 | 47.221 | 0.66651
2020-02-02 11:00:00 | 0 | 216.673 | 0.027 | 136.622 | 0 | 103 | 0.843 | 78.367 | -6.149 | 889.783 | 45.067 | 0.25296
2020-02-02 11:15:00 | 1.77 | 93.29 | 1.676 | 84.445 | 2.053 | 81.9 | 2.826 | 78.667 | -8.033 | 890.275 | 46.133 | 0.82497
2020-02-02 11:30:00 | 3.11 | 76.713 | 3.129 | 76.112 | 3.257 | 83.033 | 3.479 | 77.867 | -8.311 | 889.867 | 53.909 | 2.3413
2020-02-02 11:45:00 | 4.166 | 93.4 | 4.031 | 86.482 | 3.631 | 93.267 | 3.748 | 88.6 | -8.19 | 889.942 | 55.403 | 5.0308
2020-02-02 12:00:00 | 4.281 | 91.853 | 4.043 | 85.772 | 3.706 | 87.367 | 3.69 | 84.633 | -7.786 | 889.842 | 55.392 | 7.1263
2020-02-02 12:15:00 | 4.149 | 103.767 | 3.992 | 95.793 | 3.879 | 98.133 | 4.104 | 88.467 | -7.489 | 889.358 | 54.475 | 7.3593
2020-02-02 12:30:00 | 4.753 | 89.487 | 4.427 | 82.93 | 4.01 | 89.033 | 4.05 | 87.933 | -6.78 | 890.075 | 52.747 | 10.0261
2020-02-02 12:45:00 | 4.575 | 89.163 | 5.019 | 84.492 | 4.802 | 90.233 | 5.12 | 83.167 | -6.562 | 889.883 | 50.773 | 11.4607
2020-02-02 13:00:00 | 4.982 | 82.19 | 5.088 | 80.491 | 5.406 | 83.467 | 5.584 | 79.6 | -6.136 | 889.6 | 49.76 | 11.2184
2020-02-02 13:15:00 | 4.587 | 100.333 | 4.513 | 91.603 | 4.527 | 93.833 | 4.726 | 87.6 | -5.419 | 889.617 | 48.107 | 11.1019
2020-02-02 13:30:00 | 4.708 | 90.53 | 4.712 | 83.695 | 4.712 | 90.967 | 4.825 | 89.667 | -5.535 | 889.783 | 47.317 | 12.4832
2020-02-02 13:45:00 | 4.422 | 93.667 | 4.309 | 88.644 | 4.204 | 93.267 | 4.743 | 90.6 | -5.052 | 889.833 | 46.848 | 15.6346
2020-02-02 14:00:00 | 4.849 | 96.633 | 4.764 | 89.775 | 4.572 | 93.3 | 4.71 | 86.967 | -4.919 | 889.967 | 45.269 | 16.3977
2020-02-02 14:15:00 | 5.75 | 87.037 | 5.654 | 83.26 | 5.616 | 88.667 | 5.789 | 84.633 | -4.424 | 889.825 | 45.632 | 17.6171
2020-02-02 14:30:00 | 5.423 | 89.427 | 5.465 | 84.011 | 5.16 | 87.8 | 5.437 | 85.167 | -4.348 | 889.833 | 45.099 | 19.8539
2020-02-02 14:45:00 | 5.202 | 97.59 | 5.495 | 90.932 | 5.697 | 94.533 | 5.747 | 91.033 | -4.096 | 889.967 | 44.811 | 20.4288
2020-02-02 15:00:00 | 5.948 | 87.3 | 6.063 | 84.685 | 5.98 | 92.133 | 6.169 | 89.233 | -3.371 | 889.9 | 42.496 | 21.6801
2020-02-02 15:15:00 | 6.103 | 89.667 | 5.904 | 86.04 | 5.959 | 88.733 | 6.25 | 85.367 | -3.371 | 889.95 | 40.672 | 26.1048
2020-02-02 15:30:00 | 5.927 | 84.433 | 5.913 | 81.116 | 5.921 | 82.3 | 6.189 | 76.567 | -3.304 | 890.05 | 39.824 | 23.7194
2020-02-02 15:45:00 | 5.892 | 79.713 | 5.961 | 79.444 | 6.042 | 84.533 | 5.894 | 82.933 | -2.975 | 889.867 | 39.232 | 28.1633
2020-02-02 16:00:00 | 6.965 | 80.013 | 6.924 | 73.727 | 6.893 | 80.567 | 7.158 | 78.9 | -2.875 | 889.583 | 37.109 | 33.5551
2020-02-02 16:15:00 | 7.224 | 82.757 | 7.09 | 78.791 | 6.984 | 83.9 | 7.194 | 79.533 | -2.724 | 890 | 34.651 | 32.75
2020-02-02 16:30:00 | 5.914 | 86.857 | 5.842 | 80.857 | 5.886 | 82.267 | 6.008 | 79.4 | -2.634 | 890.017 | 34.203 | 32.863
2020-02-02 16:45:00 | 7.39 | 75.75 | 7.381 | 71.107 | 7.536 | 78 | 7.69 | 73.733 | -2.609 | 889.75 | 34.021 | 32.0196
2020-02-02 17:00:00 | 5.519 | 80.723 | 5.556 | 75.256 | 5.98 | 77.833 | 6.158 | 73.133 | -2.438 | 889.9 | 33.755 | 30.9125
2020-02-02 17:15:00 | 5.805 | 79.967 | 6.146 | 75.617 | 6.59 | 79.833 | 6.634 | 75.467 | -2.148 | 889.767 | 33.477 | 31.1029
2020-02-02 17:30:00 | 6.442 | 86.283 | 6.227 | 84 | 6.065 | 88.433 | 6.175 | 82.833 | -2.414 | 890.1 | 33.392 | 31.7666
2020-02-02 17:45:00 | 6.5 | 78.383 | 6.673 | 73.392 | 6.786 | 79.767 | 7.016 | 77.433 | -2.519 | 890.033 | 33.669 | 28.3317
2020-02-02 18:00:00 | 6.138 | 79.343 | 6.479 | 75.536 | 6.749 | 79.6 | 6.884 | 76.4 | -2.781 | 889.917 | 35.179 | 23.3293
2020-02-02 18:15:00 | 5.581 | 74 | 5.488 | 71.079 | 5.641 | 76.067 | 6.09 | 74.267 | -3.121 | 890.017 | 37.131 | 17.0977
2020-02-02 18:30:00 | 4.776 | 76.533 | 5.185 | 71.476 | 5.407 | 76.567 | 5.588 | 72.267 | -3.421 | 889.983 | 39.243 | 11.4067
2020-02-02 18:45:00 | 3.711 | 69.47 | 4.003 | 66.303 | 4.481 | 71.2 | 4.72 | 67.367 | -4.142 | 889.692 | 41.141 | 5.919
2020-02-02 19:00:00 | 3.252 | 65.515 | 3.348 | 62.382 | 3.543 | 65.933 | 3.683 | 63.667 | -4.659 | 889.958 | 42.645 | 4.3018
2020-02-02 19:15:00 | 2.152 | 48.283 | 2.685 | 54.332 | 2.996 | 61.2 | 3.068 | 60.767 | -5.002 | 890.117 | 44.309 | 2.9986
2020-02-02 19:30:00 | 2.182 | 58.985 | 3.06 | 58.54 | 3.231 | 66.833 | 3.289 | 61.1 | -5.335 | 889.95 | 45.867 | 3.0611
2020-02-02 19:45:00 | 2.313 | 43.792 | 2.799 | 54.707 | 2.9 | 64.133 | 2.897 | 57.667 | -5.651 | 889.775 | 46.891 | 2.055
2020-02-02 20:00:00 | 2.529 | 28.382 | 2.067 | 44.28 | 2.242 | 58.067 | 2.134 | 57 | -6.392 | 889.583 | 48.032 | 0.3901
2020-02-02 20:15:00 | 1.169 | 1.57 | 1.971 | 30.772 | 2.136 | 42.333 | 2.357 | 41.633 | -6.916 | 889.917 | 48.693 | 0.3297
2020-02-02 20:30:00 | 1.407 | 2.41 | 2.618 | 27.062 | 2.685 | 38 | 2.66 | 38.133 | -7.27 | 889.958 | 49.931 | 0.25154
2020-02-02 20:45:00 | 1.955 | 294.133 | 3.049 | 16.428 | 3.127 | 22.25 | 2.594 | 23.533 | -7.556 | 889.725 | 50.699 | 0.24088
2020-02-02 21:00:00 | 2.16 | 356.68 | 2.297 | 12.201 | 2.534 | 17.017 | 2.268 | 16 | -7.719 | 889.592 | 51.669 | 0.2288
2020-02-02 21:15:00 | 2.463 | 297.08 | 1.886 | 119.126 | 2.125 | 0 | 1.579 | 16 | -7.953 | 889.925 | 51.947 | 0.21743
2020-02-02 21:30:00 | 1.961 | 277.133 | 0.51 | 315.098 | 1.264 | 0 | 1.346 | 16 | -8.19 | 889.692 | 51.712 | 0.21459
2020-02-02 21:45:00 | 2.891 | 240.52 | 0.033 | 320.78 | 0 | 0 | 0 | 16 | -8.13 | 889.958 | 52.325 | 0.21601
2020-02-02 22:00:00 | 3.655 | 234.667 | 1.344 | 250.472 | 1.342 | 284.733 | 1.425 | 286.667 | -8.658 | 889.85 | 53.216 | 0.22312
2020-02-02 22:15:00 | 3.822 | 236 | 1.744 | 250.557 | 1.541 | 276 | 1.877 | 274 | -8.924 | 889.883 | 52.32 | 0.20038
2020-02-02 22:30:00 | 4.174 | 229.693 | 2.763 | 251.589 | 2.292 | 276.067 | 2.449 | 274.167 | -11.095 | 889.908 | 53.653 | 0.4235
2020-02-02 22:45:00 | 2.559 | 192.033 | 4.599 | 249.716 | 4.404 | 268.733 | 3.788 | 273.9 | -11.378 | 890.2 | 57.627 | 0.14993
2020-02-02 23:00:00 | 2.283 | 198.42 | 4.001 | 244.916 | 3.495 | 262.8 | 3.13 | 264 | -11.32 | 889.708 | 58.005 | 0.1883
2020-02-02 23:15:00 | 2.947 | 232.26 | 3.117 | 265.718 | 2.21 | 278.4 | 1.916 | 296.9 | -11.324 | 889.783 | 59.013 | 0.30839
2020-02-02 23:30:00 | 3.139 | 227.3 | 2.338 | 269.769 | 2.479 | 305.733 | 2.704 | 328.533 | -11.228 | 889.808 | 58.16 | 0.2487
2020-02-02 23:45:00 | 3.894 | 226.713 | 2.883 | 265.971 | 2.044 | 297.333 | 2.005 | 329.233 | -11.649 | 889.7 | 59.856 | 0.23733