## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-03 00:00:00 | 3.383 | 233.88 | 2.632 | 282.173 | 2.441 | 305 | 2.47 | 327.567 | -11.126 | 890 | 59.861 | 0.26007
2020-02-03 00:15:00 | 4.443 | 233.733 | 3.264 | 261.073 | 2.749 | 278.933 | 1.944 | 309.2 | -10.416 | 889.667 | 57.413 | 0.24444
2020-02-03 00:30:00 | 4.464 | 236.667 | 3.674 | 253.222 | 2.933 | 264 | 1.959 | 254.333 | -10.283 | 889.4 | 56.811 | 0.20606
2020-02-03 00:45:00 | 4.842 | 239.567 | 3.962 | 257.642 | 2.918 | 268.733 | 2.654 | 265 | -11.278 | 889.908 | 57.691 | 0.11227
2020-02-03 01:00:00 | 4.576 | 233.313 | 4.008 | 245.677 | 3.583 | 253.833 | 2.894 | 257.067 | -12.249 | 889.692 | 60.341 | 0.096637
2020-02-03 01:15:00 | 5.068 | 224.467 | 3.276 | 243.542 | 2.998 | 254 | 2.592 | 250.8 | -12.386 | 889.767 | 60.736 | 0.12648
2020-02-03 01:30:00 | 5.013 | 216.367 | 3.687 | 237.778 | 2.958 | 246.433 | 2.591 | 241 | -12.703 | 889.792 | 62.997 | 0.12151
2020-02-03 01:45:00 | 5.38 | 213.967 | 3.523 | 229.47 | 2.904 | 236 | 2.761 | 226.833 | -12.92 | 890.183 | 64.235 | 0.21317
2020-02-03 02:00:00 | 4.902 | 211.3 | 4.652 | 219.69 | 3.448 | 213.767 | 3.211 | 200.467 | -13.216 | 889.667 | 65.12 | 1.0346
2020-02-03 02:15:00 | 4.822 | 208.82 | 4.327 | 190.437 | 4.439 | 204.567 | 4.352 | 211.733 | -13.122 | 890.025 | 67.136 | 0.23164
2020-02-03 02:30:00 | 4.105 | 211.667 | 3.61 | 175.688 | 3.286 | 190 | 3.494 | 196 | -12.986 | 889.842 | 65.461 | 0.13927
2020-02-03 02:45:00 | 4.716 | 206.907 | 2.795 | 171.061 | 3.034 | 185.2 | 2.986 | 188.567 | -11.932 | 889.725 | 65.067 | 0.15135
2020-02-03 03:00:00 | 3.022 | 207.053 | 1.456 | 142.164 | 1.562 | 128.067 | 1.646 | 148.033 | -12.12 | 889.85 | 62.955 | 0.17977
2020-02-03 03:15:00 | 2.81 | 211.327 | 0.64 | 142.546 | 1.008 | 128 | 1.266 | 148 | -11.207 | 889.767 | 62.304 | 0.20038
2020-02-03 03:30:00 | 4.512 | 217.433 | 2.148 | 196.765 | 1.494 | 183.2 | 1.552 | 149.2 | -12.503 | 889.542 | 63.488 | 0.15277
2020-02-03 03:45:00 | 4.308 | 223.26 | 1.194 | 199.566 | 0.51 | 200.133 | 0 | 149 | -11.624 | 889.633 | 63.477 | 0.23378
2020-02-03 04:00:00 | 4.503 | 221.347 | 1.69 | 225.472 | 0.077 | 199.9 | 0 | 149 | -11.766 | 889.925 | 64.139 | 0.21317
2020-02-03 04:15:00 | 4.562 | 220.553 | 1.97 | 234.932 | 1.243 | 262.067 | 1.002 | 230.167 | -11.266 | 890.092 | 63.243 | 0.21317
2020-02-03 04:30:00 | 4.745 | 215.193 | 1.793 | 232.738 | 1.458 | 243.1 | 1.016 | 243.95 | -12.057 | 889.442 | 65.205 | 0.21459
2020-02-03 04:45:00 | 5.099 | 212.933 | 2.232 | 213.369 | 0.257 | 223 | 0.067 | 241 | -11.736 | 890 | 63.637 | 0.21601
2020-02-03 05:00:00 | 5.269 | 210.48 | 2.415 | 212.878 | 0.731 | 207.067 | 0 | 216.833 | -12.249 | 890.325 | 65.653 | 0.21175
2020-02-03 05:15:00 | 5.41 | 215.153 | 2.564 | 224.572 | 0.722 | 225.3 | 0 | 216.667 | -12.099 | 890.117 | 66.261 | 0.2288
2020-02-03 05:30:00 | 5.958 | 216.707 | 2.424 | 225.626 | 1.944 | 232.5 | 1.485 | 234 | -11.932 | 889.917 | 64.565 | 0.23307
2020-02-03 05:45:00 | 6.212 | 215.507 | 3.326 | 220.722 | 2.442 | 230.9 | 1.995 | 234.4 | -11.932 | 890.3 | 64.48 | 0.20322
2020-02-03 06:00:00 | 5.5 | 208.933 | 4.1 | 227.47 | 3.232 | 243.033 | 2.569 | 246.3 | -13.153 | 889.917 | 66.923 | 0.15632
2020-02-03 06:15:00 | 5.822 | 222.433 | 4.499 | 215.763 | 3.5 | 230.333 | 3.272 | 232.3 | -13.053 | 889.85 | 67.605 | 0.18333
2020-02-03 06:30:00 | 5.855 | 214.433 | 3.219 | 226.871 | 2.183 | 249.8 | 1.461 | 260.833 | -12.403 | 890.142 | 66.283 | 0.23733
2020-02-03 06:45:00 | 6.099 | 215.967 | 3.294 | 206.281 | 1.989 | 213.367 | 1.589 | 234.733 | -13.07 | 889.883 | 66.965 | 0.21885
2020-02-03 07:00:00 | 5.599 | 221.267 | 3.053 | 204.582 | 2.032 | 186 | 1.174 | 228 | -12.903 | 889.808 | 66.453 | 0.22028
2020-02-03 07:15:00 | 5.018 | 214.367 | 1.432 | 190.009 | 0.814 | 152.3 | 0.671 | 193.067 | -13.103 | 889.892 | 67.232 | 0.22454
2020-02-03 07:30:00 | 4.938 | 211.78 | 2.832 | 182.441 | 2.414 | 175.867 | 2.056 | 164.033 | -13.305 | 889.867 | 66.837 | 0.22312
2020-02-03 07:45:00 | 5.148 | 215.633 | 1.928 | 195.182 | 0.22 | 149.7 | 0.339 | 155 | -13.036 | 889.675 | 64.928 | 0.21601
2020-02-03 08:00:00 | 3.785 | 209.827 | 1.864 | 174.982 | 0.52 | 149 | 0 | 155 | -11.595 | 889.625 | 64.608 | 0.21743
2020-02-03 08:15:00 | 4.032 | 211.98 | 1.896 | 175.122 | 1.316 | 154.467 | 1.331 | 155 | -10.872 | 889.942 | 60.128 | 0.23591
2020-02-03 08:30:00 | 3.74 | 194.733 | 2.506 | 155.679 | 1.92 | 117 | 2.005 | 125.1 | -11.178 | 889.825 | 60.939 | 0.23875
2020-02-03 08:45:00 | 4.194 | 197.633 | 2.685 | 145.172 | 2.485 | 136.467 | 2.205 | 125 | -11.89 | 890.067 | 61.461 | 0.18546
2020-02-03 09:00:00 | 3.829 | 201.613 | 3.001 | 162.166 | 2.114 | 143.933 | 1.66 | 111.767 | -11.076 | 889.642 | 61.355 | 0.10801
2020-02-03 09:15:00 | 3.759 | 201.94 | 3.196 | 179.474 | 2.17 | 160.867 | 1.849 | 118.067 | -10.497 | 889.8 | 61.227 | 0.22596
2020-02-03 09:30:00 | 4.183 | 204.9 | 4.372 | 191.392 | 3.919 | 189.167 | 3.171 | 180.633 | -10.399 | 889.708 | 59.04 | 0.21388
2020-02-03 09:45:00 | 4.834 | 205.973 | 3.488 | 200.007 | 3.883 | 198.967 | 3.939 | 179.133 | -10.758 | 890.225 | 56.608 | 0.2153
2020-02-03 10:00:00 | 4.119 | 212.267 | 3.66 | 198.67 | 3.142 | 200.067 | 2.729 | 194.067 | -10.449 | 889.558 | 57.728 | 0.24444
2020-02-03 10:15:00 | 4.384 | 213.72 | 2.679 | 203.534 | 2.028 | 204.333 | 0.565 | 182.967 | -9.587 | 889.317 | 55.787 | 0.21743
2020-02-03 10:30:00 | 3.488 | 229.007 | 1.57 | 229.359 | 0 | 206 | 0 | 183 | -9.487 | 889.558 | 58.443 | 0.21601
2020-02-03 10:45:00 | 2.322 | 230.5 | 0.21 | 234.444 | 0 | 164.567 | 0.978 | 129 | -7.489 | 890.017 | 54.005 | 0.21743
2020-02-03 11:00:00 | 2.377 | 197.267 | 1.184 | 194.811 | 0.384 | 191.533 | 0.124 | 127 | -5.435 | 889.725 | 49.355 | 0.21601
2020-02-03 11:15:00 | 0.309 | 209.053 | 0 | 195.597 | 0 | 192 | 0.466 | 126.867 | -4.166 | 889.95 | 44.96 | 0.21317
2020-02-03 11:30:00 | 0.023 | 180.547 | 0 | 195.513 | 0 | 192 | 0 | 126.867 | -2.956 | 889.4 | 38.117 | 0.21317
2020-02-03 11:45:00 | 0.556 | 78.533 | 0.107 | 106.638 | 0.373 | 125.1 | 0.658 | 126.767 | -3.271 | 889.65 | 36.949 | 0.22596
2020-02-03 12:00:00 | 2.551 | 73.733 | 2.374 | 69.88 | 2.439 | 76.267 | 2.612 | 74.333 | -3.79 | 889.8 | 36.949 | 0.24444
2020-02-03 12:15:00 | 2.163 | 76.233 | 2.326 | 70.755 | 2.362 | 76.033 | 2.522 | 69.1 | -3.84 | 889.667 | 37.355 | 0.23022
2020-02-03 12:30:00 | 1.593 | 83.3 | 1.256 | 89.771 | 1.659 | 98.633 | 2.147 | 90.033 | -3.404 | 889.9 | 36.763 | 0.25083
2020-02-03 12:45:00 | 2.16 | 100.76 | 2.051 | 96.793 | 2.18 | 101.633 | 2.245 | 95.5 | -3.032 | 889.633 | 35.616 | 0.90882
2020-02-03 13:00:00 | 0.507 | 96.11 | 0.69 | 72.346 | 1.132 | 77.233 | 1.125 | 58.867 | -2.585 | 889.75 | 34.181 | 0.55353
2020-02-03 13:15:00 | 2.996 | 102.567 | 3.035 | 97.41 | 3.354 | 101.4 | 3.282 | 101.7 | -2.25 | 889.85 | 33.2 | 0.20251
2020-02-03 13:30:00 | 3.021 | 80.965 | 2.94 | 79.567 | 2.855 | 83.8 | 2.892 | 79.2 | -2.561 | 889.783 | 34.432 | 0.32118
2020-02-03 13:45:00 | 2.978 | 68.887 | 2.992 | 67.654 | 3.103 | 77.2 | 3.07 | 76.467 | -2.637 | 889.667 | 34.944 | 0.18759
2020-02-03 14:00:00 | 3.061 | 66.45 | 3.166 | 58.949 | 3.319 | 65 | 3.579 | 62.233 | -2.164 | 889.833 | 33.664 | 0.11653
2020-02-03 14:15:00 | 2.123 | 88.553 | 2.249 | 83.634 | 2.479 | 82.367 | 2.269 | 79.667 | -2.28 | 889.833 | 34.901 | 0.12506
2020-02-03 14:30:00 | 2.46 | 90.127 | 2.281 | 84.628 | 2.643 | 83.733 | 2.566 | 78.367 | -1.932 | 889.8 | 34.987 | 0.1414
2020-02-03 14:45:00 | 3.071 | 78.37 | 2.729 | 72.743 | 2.843 | 77.167 | 3.142 | 69.933 | -2.082 | 890.3 | 34.811 | 0.36878
2020-02-03 15:00:00 | 2.998 | 51.932 | 3.336 | 49.274 | 3.682 | 54.133 | 3.579 | 54.233 | -1.988 | 889.65 | 34.272 | 0.56632
2020-02-03 15:15:00 | 2.054 | 79.438 | 2.423 | 66.349 | 2.706 | 70.033 | 2.926 | 59.367 | -2.021 | 889.583 | 34.213 | 0.35599
2020-02-03 15:30:00 | 2.07 | 66.889 | 2.336 | 50.22 | 2.254 | 51.433 | 2.598 | 48.167 | -1.842 | 889.967 | 34.011 | 0.17551
2020-02-03 15:45:00 | 2.138 | 82.763 | 2.056 | 85.264 | 2.202 | 85.833 | 2.328 | 82.467 | -1.902 | 889.65 | 33.941 | 0.16343
2020-02-03 16:00:00 | 1.13 | 93.373 | 1.297 | 91.446 | 1.616 | 97.133 | 1.928 | 73.033 | -1.64 | 889.85 | 33.915 | 0.093084
2020-02-03 16:15:00 | 2.628 | 62.057 | 2.393 | 60.425 | 2.542 | 63.733 | 2.648 | 60.8 | -1.76 | 889.517 | 34.176 | 0.41284
2020-02-03 16:30:00 | 2.653 | 59.042 | 2.583 | 54.983 | 2.793 | 58.567 | 2.95 | 59.933 | -1.576 | 889.967 | 34.027 | 1.4879
2020-02-03 16:45:00 | 3.27 | 72.68 | 3.418 | 65.231 | 3.488 | 71.467 | 3.51 | 66.7 | -1.573 | 889.617 | 33.68 | 0.90597
2020-02-03 17:00:00 | 2.967 | 47.115 | 2.93 | 40.099 | 3.131 | 46.633 | 3.117 | 48.7 | -1.519 | 889.683 | 34.016 | 1.3259
2020-02-03 17:15:00 | 3.131 | 64.025 | 2.987 | 51.908 | 3.223 | 56.767 | 3.259 | 53.967 | -1.8 | 889.667 | 34.283 | 1.5149
2020-02-03 17:30:00 | 2.963 | 68.818 | 2.8 | 65.754 | 3.03 | 71.233 | 3.175 | 65.633 | -1.726 | 889.983 | 34.139 | 1.7245
2020-02-03 17:45:00 | 3.589 | 60.475 | 3.318 | 55.599 | 3.463 | 63.867 | 3.622 | 61.233 | -1.954 | 889.583 | 34.528 | 1.7501
2020-02-03 18:00:00 | 2.937 | 68.148 | 3.212 | 62.791 | 3.22 | 67.933 | 3.448 | 65.2 | -2.312 | 889.683 | 35.205 | 0.85623
2020-02-03 18:15:00 | 2.46 | 64.993 | 2.434 | 57.081 | 2.352 | 64.1 | 2.287 | 60.8 | -2.324 | 889.9 | 35.691 | 0.29204
2020-02-03 18:30:00 | 2.602 | 60.75 | 2.361 | 53.313 | 2.412 | 55.133 | 2.471 | 57.567 | -2.598 | 889.417 | 36.437 | 0.64235
2020-02-03 18:45:00 | 2.774 | 53.848 | 2.744 | 50.843 | 2.667 | 51.867 | 2.525 | 50.2 | -3.126 | 889.717 | 37.915 | 1.5007
2020-02-03 19:00:00 | 2.918 | 62.233 | 2.651 | 55.608 | 2.247 | 54.8 | 2.372 | 59.033 | -3.522 | 889.683 | 39.552 | 2.3307
2020-02-03 19:15:00 | 3.476 | 64.593 | 3.739 | 59.929 | 3.478 | 65.633 | 3.316 | 58.833 | -4.142 | 890.108 | 40.923 | 2.5126
2020-02-03 19:30:00 | 2.798 | 61.21 | 3.138 | 58.394 | 3.198 | 64.133 | 3.17 | 62.733 | -4.533 | 889.733 | 42.24 | 1.2705
2020-02-03 19:45:00 | 2.387 | 72.1 | 2.747 | 66.738 | 2.765 | 69.233 | 2.742 | 66.7 | -4.752 | 889.983 | 43.264 | 0.17267
2020-02-03 20:00:00 | 1.17 | 91.233 | 1.938 | 76.63 | 2.02 | 85.733 | 2.189 | 84.533 | -5.335 | 889.858 | 43.744 | 0.20464
2020-02-03 20:15:00 | 1.718 | 89.527 | 2.298 | 80.365 | 2.459 | 77.7 | 2.677 | 80 | -5.61 | 890.267 | 45.205 | 0.29204
2020-02-03 20:30:00 | 1.929 | 94.11 | 2.532 | 80.34 | 2.448 | 80 | 2.659 | 80 | -5.528 | 889.45 | 44.928 | 0.27286
2020-02-03 20:45:00 | 1.045 | 111.15 | 2.066 | 80.979 | 2.276 | 84.167 | 2.272 | 81.7 | -5.898 | 890.125 | 45.973 | 0.21885
2020-02-03 21:00:00 | 0.968 | 117.727 | 1.943 | 80.273 | 2.304 | 85 | 2.398 | 81.967 | -6.239 | 889.817 | 47.2 | 0.23733
2020-02-03 21:15:00 | 1.148 | 137.193 | 1.702 | 82.292 | 1.987 | 85 | 2.188 | 84.967 | -6.359 | 889.908 | 47.787 | 0.22454
2020-02-03 21:30:00 | 0.027 | 137.4 | 1.231 | 82.241 | 1.44 | 85 | 1.692 | 85 | -6.495 | 889.75 | 48.917 | 0.21885
2020-02-03 21:45:00 | 0.21 | 171.567 | 0 | 82.192 | 0.216 | 85 | 1.207 | 85.033 | -7.323 | 890 | 50.4 | 0.22738
2020-02-03 22:00:00 | 0.678 | 188.333 | 0 | 82.234 | 1.342 | 89.567 | 2.36 | 92.033 | -7.472 | 889.717 | 51.723 | 0.24159
2020-02-03 22:15:00 | 1.648 | 207.6 | 0.51 | 99.178 | 2.239 | 126.9 | 2.735 | 100 | -7.472 | 890.092 | 51.755 | 0.21885
2020-02-03 22:30:00 | 2.38 | 214.033 | 1.279 | 159.946 | 1.699 | 129.933 | 2.099 | 100 | -7.589 | 889.733 | 51.435 | 0.21317
2020-02-03 22:45:00 | 2.777 | 218.327 | 1.622 | 183.568 | 1.077 | 144 | 1.155 | 100.067 | -7.269 | 890.05 | 50.848 | 0.21743
2020-02-03 23:00:00 | 3.23 | 223.88 | 1.221 | 182.438 | 1.274 | 143.467 | 1.426 | 100 | -7.446 | 889.708 | 50.795 | 0.21743
2020-02-03 23:15:00 | 2.734 | 221.84 | 0.347 | 164.831 | 1.822 | 122.4 | 2.246 | 100.1 | -7.26 | 890.1 | 50.517 | 0.22312
2020-02-03 23:30:00 | 2.348 | 229.013 | 0 | 164.761 | 0.027 | 111.4 | 2.021 | 91.433 | -6.933 | 889.367 | 49.952 | 0.23022
2020-02-03 23:45:00 | 2.313 | 234.113 | 0 | 164.796 | 0.257 | 76.2 | 1.754 | 68 | -8.084 | 889.683 | 50.144 | 0.21601