## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-04 00:00:00 | 2.354 | 227.287 | 0 | 165.62 | 0 | 76 | 0 | 68 | -8.331 | 889.908 | 51.445 | 0.21885
2020-02-04 00:15:00 | 1.831 | 239.513 | 0 | 165.462 | 0 | 76 | 0.027 | 68 | -8 | 889.492 | 52.235 | 0.22596
2020-02-04 00:30:00 | 2.375 | 239.3 | 0 | 165.465 | 0 | 76 | 0.86 | 68.033 | -8.391 | 890.125 | 52.619 | 0.21246
2020-02-04 00:45:00 | 2.71 | 250.233 | 0.652 | 252.194 | 0 | 76.167 | 0 | 68 | -8.624 | 890.117 | 53.413 | 0.22383
2020-02-04 01:00:00 | 2.933 | 253.62 | 1.23 | 286.912 | 0.103 | 76.008 | 0.158 | 68 | -8.341 | 890.325 | 52.608 | 0.21601
2020-02-04 01:15:00 | 2.216 | 257.48 | 0.543 | 287.574 | 0.903 | 66.592 | 0.504 | 68.067 | -8.531 | 889.75 | 53.088 | 0.21317
2020-02-04 01:30:00 | 2.327 | 254.387 | 0.659 | 288.992 | 1.032 | 50.833 | 0.138 | 68 | -8.758 | 889.742 | 53.429 | 0.21459
2020-02-04 01:45:00 | 2.349 | 256.813 | 0.392 | 298.232 | 0.84 | 0.133 | 0.121 | 68 | -8.681 | 889.942 | 53.045 | 0.21317
2020-02-04 02:00:00 | 2.007 | 246.8 | 0 | 298.045 | 0 | 0.133 | 1.211 | 68.8 | -8.658 | 889.658 | 54.443 | 0.22312
2020-02-04 02:15:00 | 2.783 | 247.64 | 0.985 | 297.516 | 0 | 0 | 0 | 69 | -8.871 | 889.95 | 53.653 | 0.21743
2020-02-04 02:30:00 | 2.498 | 244.067 | 0.123 | 296.951 | 0 | 0 | 0 | 69 | -9.091 | 890.275 | 54.827 | 0.22738
2020-02-04 02:45:00 | 3.887 | 232.54 | 1.179 | 288.736 | 0 | 0 | 0 | 69.067 | -9.299 | 889.442 | 53.904 | 0.21743
2020-02-04 03:00:00 | 2.717 | 239.333 | 0.043 | 271.132 | 0 | 0 | 0 | 69 | -9.341 | 889.858 | 54.453 | 0.22738
2020-02-04 03:15:00 | 3.329 | 231.467 | 0.559 | 261.094 | 0 | 0.133 | 0 | 69 | -9.808 | 889.592 | 54.88 | 0.23733
2020-02-04 03:30:00 | 3.404 | 232.84 | 0.795 | 261.127 | 0 | 0 | 0.064 | 69.133 | -9.487 | 889.525 | 54.784 | 0.2288
2020-02-04 03:45:00 | 3.59 | 234.893 | 0.932 | 263.17 | 0 | 0 | 0.483 | 135 | -10.074 | 889.783 | 54.208 | 0.23307
2020-02-04 04:00:00 | 4.127 | 234.62 | 1.896 | 262.884 | 0.33 | 0 | 0.158 | 135.033 | -10.149 | 889.592 | 54.699 | 0.2217
2020-02-04 04:15:00 | 4.31 | 234.513 | 1.905 | 260.173 | 1.264 | 281.467 | 1.334 | 136.633 | -9.891 | 889.942 | 54.912 | 0.22454
2020-02-04 04:30:00 | 3.522 | 238.333 | 2.047 | 255.467 | 1.162 | 271.933 | 1.211 | 173.017 | -9.041 | 889.875 | 53.803 | 0.23307
2020-02-04 04:45:00 | 4.016 | 228.847 | 2.358 | 255.481 | 1.533 | 272 | 0.964 | 186 | -10.145 | 889.842 | 53.44 | 0.21885
2020-02-04 05:00:00 | 3.719 | 233.793 | 2.168 | 255.628 | 1.7 | 271.8 | 0.9 | 186.033 | -9.454 | 889.875 | 53.803 | 0.22312
2020-02-04 05:15:00 | 2.855 | 236.233 | 1.924 | 267.041 | 1.722 | 274.6 | 1.63 | 258.7 | -9.241 | 889.85 | 54.208 | 0.22028
2020-02-04 05:30:00 | 3.804 | 213.48 | 1.372 | 269.075 | 0.933 | 292 | 0.82 | 276 | -9.837 | 889.825 | 53.099 | 0.23733
2020-02-04 05:45:00 | 3.634 | 215.033 | 0.362 | 264.49 | 0 | 292 | 0 | 276.167 | -10.714 | 889.642 | 53.365 | 0.23164
2020-02-04 06:00:00 | 2.756 | 216.967 | 0.229 | 233.573 | 0 | 292 | 0 | 276.067 | -9.808 | 889.908 | 53.984 | 0.23591
2020-02-04 06:15:00 | 2.021 | 224.927 | 0 | 233.511 | 0 | 292 | 0 | 276.067 | -9.87 | 889.825 | 54.208 | 0.23449
2020-02-04 06:30:00 | 0.538 | 230.333 | 0 | 233.529 | 0 | 292 | 0 | 275.867 | -9.191 | 889.625 | 54.432 | 0.23449
2020-02-04 06:45:00 | 1.297 | 229.933 | 0 | 233.522 | 0 | 292 | 0 | 275.867 | -9.224 | 889.933 | 54.251 | 0.23733
2020-02-04 07:00:00 | 1.577 | 226.54 | 0 | 233.469 | 0 | 291.867 | 0 | 276.033 | -9.745 | 889.5 | 54.741 | 0.24301
2020-02-04 07:15:00 | 1.72 | 230.48 | 0 | 233.509 | 0 | 291.867 | 0 | 276.067 | -9.908 | 890.333 | 54.325 | 0.24586
2020-02-04 07:30:00 | 2.166 | 218.167 | 0 | 233.504 | 0 | 292 | 0 | 276.067 | -10.099 | 889.783 | 54.464 | 0.23307
2020-02-04 07:45:00 | 2.491 | 235.62 | 0.542 | 237.204 | 0 | 292 | 0 | 276 | -10.049 | 889.675 | 54.261 | 0.24728
2020-02-04 08:00:00 | 2.169 | 250.26 | 0.777 | 269.049 | 0 | 292.233 | 0.97 | 276 | -10.112 | 889.375 | 54.581 | 0.25722
2020-02-04 08:15:00 | 2.666 | 240.067 | 0.832 | 278.846 | 0 | 292 | 0.084 | 276 | -10.416 | 890.067 | 53.525 | 0.22099
2020-02-04 08:30:00 | 3.759 | 235.487 | 0.459 | 277.704 | 0 | 292 | 0.511 | 49 | -10.578 | 889.975 | 52.096 | 0.2153
2020-02-04 08:45:00 | 3.698 | 229.56 | 1.006 | 277.036 | 0 | 292 | 1.078 | 73.9 | -11.04 | 889.992 | 54.56 | 0.28352
2020-02-04 09:00:00 | 2.927 | 242.633 | 0.027 | 264.913 | 0.383 | 202.867 | 2.211 | 133.833 | -10.433 | 889.675 | 54.336 | 0.27144
2020-02-04 09:15:00 | 2.867 | 237.413 | 0.03 | 245.442 | 0.06 | 158.933 | 2.065 | 133.033 | -9.939 | 889.958 | 52.619 | 0.26433
2020-02-04 09:30:00 | 3.765 | 215.173 | 0.04 | 245.438 | 0 | 159 | 1.959 | 135.067 | -10.674 | 889.692 | 49.792 | 0.27996
2020-02-04 09:45:00 | 3.06 | 229.033 | 0.113 | 245.578 | 0 | 159 | 1.838 | 145 | -8.591 | 890.083 | 49.643 | 0.25225
2020-02-04 10:00:00 | 2.814 | 223.88 | 0.58 | 243.995 | 0 | 159 | 1.555 | 140.9 | -7.296 | 890.05 | 46.368 | 0.26575
2020-02-04 10:15:00 | 2.798 | 213.46 | 1.014 | 223.403 | 1.234 | 170.267 | 1.91 | 149.433 | -7.204 | 890 | 45.013 | 0.25154
2020-02-04 10:30:00 | 2.404 | 221.3 | 0.596 | 223.41 | 1.246 | 181.567 | 1.744 | 155.4 | -6.395 | 889.817 | 43.243 | 0.25936
2020-02-04 10:45:00 | 1.951 | 222.8 | 0.16 | 233.98 | 0 | 176.2 | 0.682 | 134 | -5.683 | 889.958 | 42.507 | 0.26149
2020-02-04 11:00:00 | 1.042 | 236.733 | 0.888 | 244.19 | 0.243 | 203.7 | 0 | 134 | -4.636 | 889.658 | 40.971 | 0.21885
2020-02-04 11:15:00 | 1.294 | 293.4 | 0.483 | 266.492 | 0.6 | 243.05 | 0.034 | 133.9 | -5.435 | 889.8 | 37.693 | 0.22028
2020-02-04 11:30:00 | 1.252 | 289.867 | 0.656 | 299.723 | 0.21 | 274.567 | 0.48 | 299.667 | -5.102 | 889.883 | 38.069 | 0.22454
2020-02-04 11:45:00 | 1.493 | 82.95 | 0.773 | 55.305 | 1.229 | 51.9 | 1.391 | 70.7 | -4.288 | 889.933 | 35.339 | 0.27712
2020-02-04 12:00:00 | 1.677 | 94.6 | 1.547 | 91.845 | 1.737 | 93.767 | 1.757 | 77.5 | -3.874 | 890.033 | 34.155 | 0.25296
2020-02-04 12:15:00 | 1.759 | 102.607 | 1.441 | 88.853 | 1.89 | 96.967 | 2.303 | 93.767 | -3.98 | 889.717 | 34.144 | 0.36452
2020-02-04 12:30:00 | 3.437 | 83.9 | 3.463 | 78.824 | 3.504 | 84.567 | 3.546 | 78.7 | -3.504 | 889.9 | 32.773 | 0.9479
2020-02-04 12:45:00 | 2.702 | 72.643 | 2.71 | 69.659 | 2.948 | 76.2 | 3.146 | 76.067 | -3.117 | 889.867 | 32.331 | 1.8027
2020-02-04 13:00:00 | 3.193 | 80.188 | 3.191 | 73.18 | 3.187 | 76.567 | 3.307 | 70.233 | -2.34 | 889.567 | 31.237 | 2.6142
2020-02-04 13:15:00 | 3.556 | 84.003 | 3.654 | 80.703 | 3.712 | 85.3 | 3.927 | 79.2 | -2.464 | 889.633 | 30.592 | 2.7343
2020-02-04 13:30:00 | 2.934 | 81.218 | 2.952 | 76.237 | 3.114 | 83.533 | 3.535 | 82.867 | -2.267 | 889.75 | 30.336 | 2.3463
2020-02-04 13:45:00 | 2.745 | 107.807 | 2.692 | 103.5 | 2.782 | 102.767 | 2.846 | 92 | -2.028 | 889.733 | 30.208 | 1.7352
2020-02-04 14:00:00 | 3.707 | 71.017 | 3.9 | 69.393 | 4.079 | 76.967 | 3.949 | 73.7 | -2.362 | 890.1 | 30.245 | 2.4053
2020-02-04 14:15:00 | 2.934 | 75.708 | 2.975 | 75.116 | 3.204 | 79.833 | 3.241 | 75.567 | -2.28 | 889.967 | 30.912 | 2.0528
2020-02-04 14:30:00 | 3.548 | 77.307 | 3.688 | 74.189 | 3.858 | 79.2 | 4.084 | 76.733 | -2.414 | 889.667 | 31.541 | 2.816
2020-02-04 14:45:00 | 3.176 | 79.413 | 3.371 | 70.962 | 3.371 | 72.7 | 3.383 | 65.133 | -2.654 | 889.817 | 32.24 | 3.2622
2020-02-04 15:00:00 | 3.033 | 67.24 | 3.268 | 57.667 | 3.558 | 66.033 | 3.801 | 63.1 | -2.569 | 890 | 32.779 | 4.6201
2020-02-04 15:15:00 | 3.22 | 51.748 | 3.145 | 50.689 | 3.365 | 59.4 | 3.478 | 57.733 | -2.516 | 889.883 | 32.939 | 2.9567
2020-02-04 15:30:00 | 3.07 | 69.175 | 3.124 | 63.088 | 3.335 | 69.167 | 3.503 | 68.767 | -2.208 | 889.95 | 33.136 | 1.4801
2020-02-04 15:45:00 | 2.393 | 64.677 | 2.511 | 60.63 | 2.704 | 69.667 | 2.771 | 65.333 | -2.329 | 889.6 | 32.763 | 0.42705
2020-02-04 16:00:00 | 3.168 | 69.827 | 3.09 | 65.667 | 2.856 | 72.267 | 2.69 | 70.1 | -2.005 | 889.7 | 32.229 | 0.10161
2020-02-04 16:15:00 | 2.457 | 72.927 | 2.484 | 65.945 | 2.683 | 70.033 | 2.66 | 66.567 | -2.128 | 889.75 | 32.587 | 0.095216
2020-02-04 16:30:00 | 1.796 | 29.424 | 1.802 | 40.6 | 1.767 | 58.167 | 2.03 | 59.033 | -1.646 | 889.483 | 31.979 | 0.19185
2020-02-04 16:45:00 | 2.754 | 76.377 | 2.687 | 68.815 | 2.848 | 72.8 | 2.919 | 70.767 | -1.733 | 889.683 | 32.331 | 0.18333
2020-02-04 17:00:00 | 2.688 | 52.622 | 2.618 | 50.786 | 2.587 | 61.033 | 2.748 | 60.067 | -1.6 | 889.767 | 32.475 | 0.1343
2020-02-04 17:15:00 | 2.373 | 99.567 | 2.261 | 92.119 | 2.334 | 90.833 | 2.418 | 84.667 | -2.008 | 889.817 | 33.035 | 0.14993
2020-02-04 17:30:00 | 2.141 | 77.157 | 2.18 | 75.757 | 2.44 | 79.533 | 2.553 | 73.833 | -2.131 | 889.767 | 33.477 | 0.17835
2020-02-04 17:45:00 | 1.992 | 105.607 | 1.934 | 103.167 | 2.07 | 108.1 | 2.106 | 96.667 | -1.742 | 890.2 | 33.701 | 0.29204
2020-02-04 18:00:00 | 2.252 | 91.287 | 1.842 | 85.542 | 1.728 | 100.767 | 2.028 | 99.933 | -2.28 | 889.583 | 34.208 | 0.25722
2020-02-04 18:15:00 | 2.401 | 82.36 | 2.275 | 77.221 | 2.391 | 82.6 | 2.515 | 84.167 | -2.131 | 890.217 | 35.093 | 0.26291
2020-02-04 18:30:00 | 2.316 | 88.903 | 2.246 | 85.718 | 2.373 | 91.133 | 2.406 | 90.767 | -2.862 | 889.767 | 35.931 | 0.24088
2020-02-04 18:45:00 | 2.595 | 67.457 | 2.549 | 64.705 | 2.533 | 69.3 | 2.609 | 71.167 | -2.834 | 890 | 36.965 | 0.24586
2020-02-04 19:00:00 | 2.54 | 61.543 | 2.548 | 60.196 | 2.539 | 68.733 | 2.637 | 69.967 | -3.213 | 889.617 | 38.165 | 0.23733
2020-02-04 19:15:00 | 2 | 59 | 2.31 | 56.137 | 2.396 | 63 | 2.33 | 66.033 | -3.538 | 889.85 | 39.525 | 0.23875
2020-02-04 19:30:00 | 2.53 | 70.5 | 2.785 | 62.408 | 2.714 | 68.467 | 2.761 | 67.267 | -3.638 | 889.917 | 40.485 | 0.24586
2020-02-04 19:45:00 | 2.193 | 72.113 | 3.007 | 63.123 | 2.89 | 72 | 2.976 | 68 | -3.97 | 889.708 | 41.013 | 0.19825
2020-02-04 20:00:00 | 1.84 | 60.535 | 2.288 | 57.079 | 1.749 | 62.7 | 1.73 | 57.267 | -4.424 | 889.858 | 41.877 | 0.2288
2020-02-04 20:15:00 | 1.467 | 56.05 | 2.681 | 52.106 | 2.924 | 57.867 | 2.746 | 55.967 | -4.819 | 889.725 | 43.115 | 0.24159
2020-02-04 20:30:00 | 0 | 71.1 | 1.855 | 54.121 | 2.202 | 65.567 | 2.234 | 57.133 | -5.069 | 889.658 | 44.021 | 0.21885
2020-02-04 20:45:00 | 0 | 71.123 | 0 | 54.135 | 1.414 | 62.833 | 1.381 | 57.867 | -5.557 | 889.492 | 46.176 | 0.22738
2020-02-04 21:00:00 | 0.163 | 117.22 | 0 | 54.113 | 1.248 | 62 | 2.219 | 58 | -6.528 | 890.108 | 48.544 | 0.2288
2020-02-04 21:15:00 | 0.987 | 192.42 | 0 | 55.137 | 1.735 | 76.7 | 1.849 | 68.967 | -6.156 | 890.042 | 48.235 | 0.21885
2020-02-04 21:30:00 | 1.439 | 192.367 | 0 | 78.293 | 1.098 | 89.067 | 1.484 | 72 | -6.096 | 889.467 | 48.117 | 0.21601
2020-02-04 21:45:00 | 1.786 | 181.16 | 1.148 | 117.236 | 2.162 | 106.367 | 2.161 | 83.633 | -5.994 | 889.842 | 47.68 | 0.23164
2020-02-04 22:00:00 | 2.079 | 184.507 | 1.087 | 118.228 | 1.618 | 110.2 | 2.153 | 90.833 | -5.819 | 889.942 | 47.179 | 0.23164
2020-02-04 22:15:00 | 2.354 | 197.567 | 1.249 | 167.127 | 1.448 | 145 | 1.91 | 100 | -5.898 | 889.842 | 47.723 | 0.2288
2020-02-04 22:30:00 | 2.569 | 199.36 | 1.688 | 178.456 | 1.701 | 148 | 2.124 | 133 | -6.076 | 889.892 | 47.787 | 0.21601
2020-02-04 22:45:00 | 2.177 | 198.153 | 1.437 | 178.49 | 1.813 | 148.033 | 1.988 | 133 | -6.207 | 889.917 | 48.075 | 0.21175
2020-02-04 23:00:00 | 2.336 | 203.387 | 1.376 | 178.43 | 1.767 | 148 | 1.712 | 133 | -6.406 | 889.9 | 48.416 | 0.21459
2020-02-04 23:15:00 | 2.027 | 197.4 | 1.286 | 161.573 | 1.684 | 142.2 | 1.845 | 133 | -6.495 | 890.117 | 48.587 | 0.21885
2020-02-04 23:30:00 | 1.756 | 197.4 | 1.525 | 142.053 | 1.979 | 126.8 | 2.002 | 127.7 | -6.428 | 889.492 | 48.779 | 0.21601
2020-02-04 23:45:00 | 1.563 | 197.4 | 0.696 | 138.53 | 1.695 | 123.967 | 1.863 | 123.033 | -6.462 | 889.933 | 49.088 | 0.21317