## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-05 00:00:00 | 1.409 | 197.4 | 1.145 | 138.494 | 1.597 | 123.133 | 1.815 | 123 | -6.495 | 889.292 | 49.184 | 0.23662
2020-02-05 00:15:00 | 1.751 | 209.26 | 0.196 | 138.527 | 1.026 | 123 | 1.402 | 123 | -6.309 | 890.458 | 48.843 | 0.20038
2020-02-05 00:30:00 | 1.454 | 209.48 | 0.739 | 138.537 | 1.603 | 123 | 2.063 | 123 | -6.037 | 889.575 | 48.437 | 0.19256
2020-02-05 00:45:00 | 1.105 | 207.387 | 0.577 | 138.596 | 1.871 | 128 | 1.844 | 123.033 | -6.156 | 889.508 | 48.203 | 0.25367
2020-02-05 01:00:00 | 0.888 | 214.887 | 0 | 138.54 | 1.235 | 122.033 | 1.961 | 90.4 | -5.859 | 889.692 | 48.576 | 0.2288
2020-02-05 01:15:00 | 0.449 | 219.4 | 0 | 138.5 | 0 | 120 | 1.343 | 87.067 | -6.462 | 889.85 | 50.048 | 0.21601
2020-02-05 01:30:00 | 0 | 219.4 | 0 | 138.567 | 0.146 | 119.867 | 1.767 | 71 | -6.395 | 890.2 | 50.976 | 0.23164
2020-02-05 01:45:00 | 0.528 | 219.407 | 0 | 138.535 | 0.106 | 79 | 1.685 | 71 | -6.465 | 889.617 | 51.723 | 0.22454
2020-02-05 02:00:00 | 0.592 | 219.533 | 0 | 138.521 | 0.569 | 79 | 1.835 | 70.867 | -6.628 | 889.667 | 51.381 | 0.21317
2020-02-05 02:15:00 | 1.111 | 220.467 | 0 | 138.487 | 0 | 78.867 | 1.404 | 71.867 | -6.495 | 890.033 | 51.541 | 0.21601
2020-02-05 02:30:00 | 1.358 | 221.4 | 0 | 138.44 | 0 | 79 | 0.937 | 72 | -6.528 | 890.242 | 51.147 | 0.21601
2020-02-05 02:45:00 | 1.824 | 233.447 | 0 | 138.41 | 0 | 79 | 1.178 | 72 | -6.717 | 890.1 | 50.635 | 0.21459
2020-02-05 03:00:00 | 2.291 | 243.933 | 0 | 138.538 | 0 | 79.033 | 0.42 | 72 | -6.445 | 889.883 | 50.699 | 0.21885
2020-02-05 03:15:00 | 1.979 | 247.367 | 0 | 190.502 | 0 | 79.033 | 1.08 | 72 | -6.512 | 890.217 | 50.432 | 0.21601
2020-02-05 03:30:00 | 2.3 | 240.407 | 0 | 190.476 | 0 | 79 | 0.94 | 72 | -6.73 | 890.342 | 50.155 | 0.21885
2020-02-05 03:45:00 | 2.515 | 238.993 | 0.106 | 235.533 | 0 | 79 | 0 | 71.867 | -7.054 | 889.783 | 50.283 | 0.22738
2020-02-05 04:00:00 | 2 | 256.78 | 0 | 235.491 | 0 | 79.267 | 0.646 | 72 | -6.77 | 889.975 | 50.571 | 0.21459
2020-02-05 04:15:00 | 1.46 | 246.787 | 0 | 235.53 | 0 | 79 | 0.961 | 71.967 | -6.571 | 889.458 | 51.147 | 0.22596
2020-02-05 04:30:00 | 1.616 | 244.4 | 0 | 235.432 | 0.464 | 62.667 | 1.727 | 68.667 | -6.528 | 889.9 | 50.421 | 0.23449
2020-02-05 04:45:00 | 1.733 | 249.633 | 0 | 235.539 | 0.033 | 44.033 | 1.7 | 47 | -6.578 | 889.475 | 50.368 | 0.24159
2020-02-05 05:00:00 | 2.279 | 252.187 | 0 | 235.56 | 0.066 | 24.102 | 1.488 | 46.467 | -6.345 | 889.717 | 48.405 | 0.24301
2020-02-05 05:15:00 | 3.485 | 250.24 | 1.006 | 280.316 | 0.854 | 116.033 | 1.178 | 27.333 | -7.085 | 889.85 | 48.032 | 0.27286
2020-02-05 05:30:00 | 3.932 | 255.44 | 1.797 | 304.89 | 1.732 | 345.433 | 1.734 | 8.002 | -7.83 | 889.408 | 49.109 | 0.27712
2020-02-05 05:45:00 | 3.278 | 277.98 | 2.156 | 322.966 | 2.132 | 345.733 | 2.064 | 47.733 | -8.073 | 889.525 | 51.733 | 0.26291
2020-02-05 06:00:00 | 2.6 | 275.347 | 1.248 | 312.243 | 1.351 | 335.8 | 1.444 | 11.933 | -6.925 | 889.833 | 48.299 | 0.22596
2020-02-05 06:15:00 | 2.035 | 271.253 | 0 | 311.056 | 0.31 | 342.267 | 1.506 | 7.433 | -6.925 | 889.675 | 47.029 | 0.21885
2020-02-05 06:30:00 | 2.351 | 276.867 | 0.744 | 311.12 | 0.627 | 342.3 | 0.963 | 7 | -6.662 | 889.842 | 46.709 | 0.22596
2020-02-05 06:45:00 | 1.216 | 290.56 | 0 | 311.039 | 0 | 342 | 0.712 | 7 | -6.054 | 890.008 | 45.749 | 0.24444
2020-02-05 07:00:00 | 0 | 290.8 | 0 | 311.016 | 0 | 342.133 | 1.13 | 7 | -6.428 | 889.725 | 46.315 | 0.25154
2020-02-05 07:15:00 | 1.22 | 217.4 | 0 | 311.216 | 0 | 342 | 0 | 7 | -7.606 | 889.508 | 49.44 | 0.25154
2020-02-05 07:30:00 | 1.103 | 206.6 | 0 | 310.957 | 0 | 342.133 | 0 | 7.033 | -7.789 | 889.6 | 50.795 | 0.23307
2020-02-05 07:45:00 | 1.411 | 212.58 | 0 | 311.108 | 0 | 342 | 0 | 7.033 | -7.749 | 889.7 | 51.52 | 0.22596
2020-02-05 08:00:00 | 2.034 | 212.533 | 0 | 310.927 | 0 | 342.133 | 0 | 7.034 | -7.506 | 890.175 | 51.968 | 0.21743
2020-02-05 08:15:00 | 1.756 | 217.3 | 0 | 311.079 | 0 | 342 | 0 | 7.033 | -7.689 | 889.575 | 52.213 | 0.22454
2020-02-05 08:30:00 | 1.696 | 235.6 | 0 | 297.098 | 0 | 342.067 | 0 | 7.033 | -7.756 | 889.95 | 52.304 | 0.21743
2020-02-05 08:45:00 | 1.954 | 239.333 | 0.056 | 297.084 | 0 | 342 | 0 | 7 | -7.706 | 890.008 | 52.608 | 0.23733
2020-02-05 09:00:00 | 1.554 | 243.2 | 0 | 297.057 | 0 | 342 | 0 | 6.767 | -7.756 | 890.158 | 52.736 | 0.23307
2020-02-05 09:15:00 | 1.693 | 237.633 | 0 | 297.052 | 0 | 342.067 | 0 | 7 | -7.706 | 889.692 | 52.928 | 0.23591
2020-02-05 09:30:00 | 1.571 | 233.567 | 0 | 297.034 | 0 | 339.6 | 0 | 7.001 | -7.19 | 889.508 | 51.595 | 0.23591
2020-02-05 09:45:00 | 1.885 | 239.713 | 0 | 296.141 | 0 | 306 | 0 | 6.782 | -5.69 | 889.958 | 47.717 | 0.29133
2020-02-05 10:00:00 | 1.703 | 221.773 | 0.536 | 240.323 | 1.217 | 235.167 | 1.475 | 7 | -5.604 | 889.8 | 45.749 | 0.23093
2020-02-05 10:15:00 | 1.133 | 220.133 | 0.027 | 217.48 | 0.777 | 210 | 0 | 7.033 | -5.252 | 889.725 | 43.829 | 0.1279
2020-02-05 10:30:00 | 0.236 | 234.113 | 0 | 217.46 | 0 | 210.033 | 0 | 7 | -4.345 | 889.633 | 41.339 | 0.18475
2020-02-05 10:45:00 | 1.267 | 204.06 | 0 | 217.496 | 0 | 210 | 0.282 | 7 | -3.835 | 889.9 | 40.123 | 0.16698
2020-02-05 11:00:00 | 0.036 | 212.1 | 0 | 217.641 | 0 | 210 | 0.064 | 6.8 | -3.052 | 889.583 | 39.04 | 0.21104
2020-02-05 11:15:00 | 1.232 | 45.39 | 0.406 | 217.433 | 0.887 | 210.067 | 1.068 | 7 | -2.707 | 890.083 | 36.88 | 0.24017
2020-02-05 11:30:00 | 1.689 | 46.7 | 0.906 | 33.139 | 1.191 | 56.467 | 1.343 | 7.033 | -3.639 | 889.883 | 36.533 | 0.23875
2020-02-05 11:45:00 | 2.203 | 47.4 | 1.849 | 43.591 | 2.031 | 49.3 | 1.908 | 48.5 | -3.622 | 890 | 36.731 | 0.27854
2020-02-05 12:00:00 | 2.687 | 34.967 | 2.347 | 30.56 | 2.417 | 37.833 | 2.43 | 41.433 | -3.221 | 889.7 | 35.781 | 0.23449
2020-02-05 12:15:00 | 2.124 | 48.13 | 2.118 | 52.308 | 2.243 | 52.6 | 2.365 | 53.033 | -3.016 | 889.7 | 35.936 | 0.81999
2020-02-05 12:30:00 | 2.533 | 69.392 | 2.614 | 66.212 | 2.812 | 71.733 | 2.987 | 68.633 | -2.63 | 890.15 | 35.968 | 1.8873
2020-02-05 12:45:00 | 2.716 | 80.538 | 2.929 | 71.918 | 2.974 | 72.733 | 3.139 | 67 | -2.104 | 889.917 | 34.368 | 2.6369
2020-02-05 13:00:00 | 3.433 | 67.313 | 3.403 | 66.342 | 3.654 | 71.7 | 3.717 | 68.5 | -1.9 | 890.033 | 32.997 | 3.928
2020-02-05 13:15:00 | 3.64 | 59.078 | 3.866 | 60.019 | 3.874 | 67.567 | 4.076 | 66.867 | -1.473 | 889.9 | 32.571 | 4.4375
2020-02-05 13:30:00 | 3.581 | 74.425 | 3.632 | 69.393 | 3.767 | 74.367 | 3.978 | 71 | -1.286 | 889.867 | 33.205 | 3.8399
2020-02-05 13:45:00 | 3.58 | 79.57 | 3.669 | 75.443 | 3.7 | 79.9 | 3.902 | 78 | -0.955 | 890.067 | 32.443 | 5.2255
2020-02-05 14:00:00 | 4.044 | 79.63 | 4.166 | 76.514 | 4.372 | 81.567 | 4.295 | 76.5 | -0.949 | 889.7 | 32.773 | 5.5581
2020-02-05 14:15:00 | 3.734 | 83.513 | 3.824 | 79.177 | 3.808 | 81.6 | 4.035 | 77.1 | -0.899 | 890.067 | 33.179 | 4.9583
2020-02-05 14:30:00 | 4.103 | 79.887 | 4.148 | 76.899 | 4.345 | 80.933 | 4.235 | 75.967 | -0.772 | 889.9 | 33.429 | 5.7329
2020-02-05 14:45:00 | 4.593 | 81.62 | 4.6 | 75.101 | 4.82 | 81.367 | 4.765 | 76.567 | -0.918 | 889.617 | 33.589 | 8.0038
2020-02-05 15:00:00 | 5.147 | 73.003 | 5.027 | 66.607 | 5.284 | 74.567 | 5.345 | 71.067 | -0.868 | 889.983 | 33.403 | 9.2033
2020-02-05 15:15:00 | 4.344 | 80.04 | 4.699 | 75.494 | 4.729 | 81.033 | 4.97 | 77.6 | -0.578 | 889.45 | 32.784 | 9.7916
2020-02-05 15:30:00 | 4.545 | 84.13 | 4.324 | 75.436 | 4.327 | 79.567 | 4.324 | 77.133 | -0.282 | 889.933 | 32.544 | 8.8558
2020-02-05 15:45:00 | 4.812 | 74.452 | 4.979 | 70.345 | 5.12 | 75.767 | 5.245 | 72.033 | -0.622 | 889.667 | 32.443 | 9.371
2020-02-05 16:00:00 | 4.825 | 79.223 | 5.13 | 77.592 | 5.245 | 81.933 | 5.137 | 79.167 | -0.409 | 890.05 | 32.464 | 10.4709
2020-02-05 16:15:00 | 4.714 | 82.813 | 5.039 | 76.629 | 5.201 | 80.167 | 5.063 | 75.467 | -0.279 | 889.617 | 32.923 | 10.0858
2020-02-05 16:30:00 | 4.878 | 81.653 | 4.846 | 76.876 | 4.797 | 81.467 | 4.972 | 76.267 | -0.558 | 889.8 | 32.853 | 9.2651
2020-02-05 16:45:00 | 4.815 | 76.853 | 4.888 | 71.038 | 4.976 | 77.3 | 5.083 | 71.667 | -0.558 | 889.75 | 33.04 | 9.2757
2020-02-05 17:00:00 | 4.757 | 78.965 | 4.971 | 71.975 | 5.29 | 73.133 | 5.246 | 70.4 | -0.322 | 889.833 | 33.163 | 8.6874
2020-02-05 17:15:00 | 3.884 | 80.547 | 4.114 | 72.599 | 4.162 | 77 | 4.299 | 72.8 | -0.552 | 890.067 | 33.547 | 7.8482
2020-02-05 17:30:00 | 4.324 | 68.96 | 4.598 | 65.296 | 4.547 | 72.733 | 4.647 | 70.233 | -0.618 | 889.933 | 33.744 | 6.0299
2020-02-05 17:45:00 | 3.7 | 74.3 | 3.676 | 68.538 | 3.86 | 74.9 | 4.052 | 72.3 | -0.578 | 890 | 33.803 | 5.0806
2020-02-05 18:00:00 | 3.724 | 75.24 | 3.902 | 71.597 | 3.888 | 73.7 | 3.976 | 70.533 | -0.578 | 889.6 | 34.123 | 4.4098
2020-02-05 18:15:00 | 3.098 | 63.623 | 2.807 | 58.306 | 2.679 | 61.567 | 2.888 | 58.433 | -1.082 | 889.9 | 34.992 | 2.5588
2020-02-05 18:30:00 | 3.105 | 71.278 | 3.194 | 67.778 | 3.273 | 76.3 | 3.247 | 72.6 | -1.456 | 890.017 | 35.899 | 2.1303
2020-02-05 18:45:00 | 2.67 | 73.603 | 2.903 | 71.125 | 2.94 | 78.433 | 2.997 | 76.6 | -1.932 | 889.7 | 37.221 | 1.8212
2020-02-05 19:00:00 | 2.847 | 72.867 | 3.065 | 69.656 | 3.108 | 74.567 | 3.21 | 71.533 | -2.5 | 889.733 | 38.464 | 0.63738
2020-02-05 19:15:00 | 2.877 | 74.8 | 2.744 | 70.587 | 2.541 | 74.9 | 2.389 | 75.9 | -2.606 | 890.017 | 39.739 | 0.14069
2020-02-05 19:30:00 | 2.131 | 75.09 | 2.303 | 71.465 | 1.9 | 78.033 | 1.981 | 76.2 | -2.871 | 889.592 | 40.944 | 0.19043
2020-02-05 19:45:00 | 1.476 | 80.067 | 1.821 | 72.288 | 1.944 | 75 | 2.159 | 75.9 | -3.672 | 890 | 42.827 | 0.24444
2020-02-05 20:00:00 | 1.458 | 87 | 2.286 | 74.259 | 2.195 | 79.7 | 2.349 | 76.033 | -3.756 | 889.933 | 43.883 | 0.16698
2020-02-05 20:15:00 | 1.998 | 73.09 | 2.937 | 63.13 | 2.943 | 72 | 2.818 | 76.067 | -3.995 | 889.825 | 44.779 | 0.25438
2020-02-05 20:30:00 | 1.308 | 79.08 | 2.2 | 66.277 | 2.064 | 72.033 | 2.012 | 76 | -4.285 | 889.942 | 44.757 | 0.23591
2020-02-05 20:45:00 | 0.147 | 118.923 | 1.768 | 69.292 | 2.171 | 72 | 2.226 | 76 | -4.793 | 889.833 | 45.952 | 0.23236
2020-02-05 21:00:00 | 0.03 | 189.3 | 0.87 | 93.102 | 1.865 | 78 | 2.124 | 76 | -5.135 | 889.692 | 47.755 | 0.22312
2020-02-05 21:15:00 | 1.118 | 193.033 | 0.217 | 93.263 | 1.813 | 78 | 1.893 | 75.867 | -5.302 | 889.667 | 48.789 | 0.24301
2020-02-05 21:30:00 | 0.788 | 159.2 | 0 | 93.238 | 1.635 | 87.6 | 2.161 | 90.1 | -5.319 | 890.033 | 48.907 | 0.23164
2020-02-05 21:45:00 | 1.472 | 155.833 | 0.69 | 118.254 | 1.474 | 134.767 | 2.123 | 117.933 | -4.952 | 889.783 | 48.32 | 0.24301
2020-02-05 22:00:00 | 1.714 | 194.667 | 0.609 | 152.019 | 0.729 | 133.033 | 1.516 | 117.667 | -4.969 | 889.8 | 47.936 | 0.2217
2020-02-05 22:15:00 | 1.573 | 200.233 | 0 | 162.432 | 0 | 133 | 1.412 | 117.367 | -5.601 | 889.933 | 49.451 | 0.1883
2020-02-05 22:30:00 | 1.397 | 201.54 | 0 | 162.505 | 0.047 | 131.067 | 1.356 | 117 | -6.017 | 889.642 | 50.837 | 0.19185
2020-02-05 22:45:00 | 1.707 | 195.687 | 0 | 162.464 | 0.753 | 131 | 2.176 | 94.867 | -6.057 | 889.867 | 51.349 | 0.22312
2020-02-05 23:00:00 | 2 | 197.3 | 0 | 162.522 | 0 | 129.9 | 1.637 | 96 | -5.865 | 889.833 | 50.827 | 0.22951
2020-02-05 23:15:00 | 1.667 | 201.793 | 0 | 162.504 | 0 | 113.033 | 2.039 | 79.867 | -5.879 | 889.717 | 50.379 | 0.23022
2020-02-05 23:30:00 | 1.636 | 197.24 | 0 | 157.525 | 0.453 | 92 | 1.995 | 82 | -5.687 | 889.858 | 49.941 | 0.17622
2020-02-05 23:45:00 | 0.622 | 185.493 | 0.127 | 148.143 | 1.433 | 91.733 | 2.44 | 89.033 | -5.697 | 889.917 | 49.984 | 0.19612