## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-06 00:00:00 | 1.214 | 199.267 | 0.027 | 142.414 | 1.646 | 90.633 | 2.72 | 87 | -5.8 | 889.708 | 50.677 | 0.11867
2020-02-06 00:15:00 | 0 | 195.273 | 0.326 | 106.271 | 2.028 | 71.7 | 2.974 | 73.333 | -5.803 | 890.008 | 50.709 | 0.19327
2020-02-06 00:30:00 | 0.971 | 226.8 | 0 | 61.615 | 1.447 | 50.933 | 2.003 | 54.2 | -6.495 | 890.025 | 52.224 | 0.23946
2020-02-06 00:45:00 | 1.88 | 229.033 | 0 | 58.15 | 0.903 | 38 | 1.998 | 51.867 | -6.445 | 889.758 | 53.173 | 0.24586
2020-02-06 01:00:00 | 1.054 | 217.8 | 0 | 58.111 | 1.14 | 51 | 1.991 | 59.867 | -6.28 | 889.958 | 52.875 | 0.24444
2020-02-06 01:15:00 | 0.668 | 219.427 | 0 | 58.11 | 0.249 | 51 | 1.599 | 61 | -6.475 | 890.108 | 52.875 | 0.26149
2020-02-06 01:30:00 | 0.163 | 219.4 | 0 | 58.112 | 0.824 | 55 | 2.032 | 63 | -6.528 | 889.958 | 53.867 | 0.24586
2020-02-06 01:45:00 | 1.42 | 210.1 | 0 | 103.265 | 0.626 | 85 | 1.814 | 90.733 | -6.562 | 889.8 | 54.123 | 0.15846
2020-02-06 02:00:00 | 1.817 | 231.267 | 0 | 103.243 | 0 | 85 | 0.423 | 90 | -7.19 | 889.658 | 54.165 | 0.19114
2020-02-06 02:15:00 | 0.609 | 228.287 | 0 | 103.19 | 0.216 | 85.067 | 1.555 | 88.933 | -6.77 | 889.783 | 54.891 | 0.16343
2020-02-06 02:30:00 | 0.741 | 228.313 | 0 | 103.278 | 0.027 | 85 | 1.428 | 89.1 | -7.032 | 890.017 | 54.816 | 0.21459
2020-02-06 02:45:00 | 0.618 | 230.587 | 0 | 103.253 | 0 | 85 | 1.368 | 97 | -7.15 | 890 | 55.477 | 0.22241
2020-02-06 03:00:00 | 0.116 | 234.567 | 0 | 103.3 | 0.349 | 84.9 | 1.872 | 97.067 | -7.589 | 890.2 | 55.819 | 0.24515
2020-02-06 03:15:00 | 1.507 | 242 | 0.033 | 208.734 | 0 | 84.933 | 0.692 | 96.9 | -7.639 | 889.783 | 55.648 | 0.22312
2020-02-06 03:30:00 | 1.836 | 246.433 | 0.073 | 227.415 | 0 | 85 | 1.854 | 103.633 | -7.606 | 889.475 | 56.213 | 0.21885
2020-02-06 03:45:00 | 1.684 | 255 | 0.23 | 237.514 | 0 | 85.067 | 1.199 | 106.033 | -7.539 | 889.842 | 56.171 | 0.21317
2020-02-06 04:00:00 | 2.885 | 250.073 | 1.357 | 256.816 | 0.48 | 320.767 | 0.047 | 106.233 | -7.313 | 889.483 | 55.467 | 0.21317
2020-02-06 04:15:00 | 3.426 | 248.707 | 2.098 | 263.693 | 1.228 | 302.5 | 0 | 106.258 | -7.732 | 890.108 | 54.773 | 0.21317
2020-02-06 04:30:00 | 3.004 | 253.813 | 1.803 | 268.987 | 0.32 | 284.133 | 0 | 106.25 | -7.656 | 890.008 | 54.901 | 0.21317
2020-02-06 04:45:00 | 3.219 | 250.38 | 2.354 | 292.345 | 1.43 | 284.267 | 0.446 | 106.25 | -8.05 | 889.642 | 55.349 | 0.21459
2020-02-06 05:00:00 | 3.242 | 254 | 1.638 | 294.893 | 1.273 | 296.7 | 0 | 103.908 | -8.11 | 889.492 | 54.699 | 0.21317
2020-02-06 05:15:00 | 2.151 | 264.227 | 1.554 | 294.845 | 0 | 300.567 | 0 | 104.008 | -7.996 | 890.325 | 55.509 | 0.21459
2020-02-06 05:30:00 | 2.821 | 242.513 | 1.292 | 288.923 | 0 | 300 | 0.107 | 104 | -7.889 | 889.833 | 55.275 | 0.21459
2020-02-06 05:45:00 | 2.739 | 241.853 | 1.445 | 286.398 | 0 | 300 | 0.118 | 104 | -8.231 | 888.867 | 55.579 | 0.21459
2020-02-06 06:00:00 | 2.446 | 246.327 | 0.45 | 285.178 | 0 | 300.133 | 0.208 | 104.008 | -7.91 | 889.533 | 55.253 | 0.21459
2020-02-06 06:15:00 | 1.192 | 266.573 | 0 | 284.957 | 0 | 300.3 | 0 | 104.083 | -8.13 | 889.842 | 56.16 | 0.21743
2020-02-06 06:30:00 | 2.034 | 249.433 | 0.589 | 285.003 | 0 | 299.867 | 0 | 103.967 | -8.19 | 890.567 | 56.043 | 0.21317
2020-02-06 06:45:00 | 1.22 | 264.96 | 0 | 284.979 | 0 | 300.533 | 0 | 104 | -8.25 | 889.508 | 56.416 | 0.21601
2020-02-06 07:00:00 | 1.39 | 242.613 | 0 | 284.922 | 0 | 300 | 0.803 | 104 | -8.25 | 889.4 | 56.587 | 0.22738
2020-02-06 07:15:00 | 1.806 | 243.893 | 0 | 297.038 | 0 | 79.492 | 1.357 | 98.433 | -8.09 | 890.375 | 56.107 | 0.19043
2020-02-06 07:30:00 | 1.973 | 242 | 0 | 297.007 | 0 | 92 | 0.715 | 99.267 | -8.658 | 889.642 | 56.213 | 0.21175
2020-02-06 07:45:00 | 2.102 | 260.593 | 0 | 296.937 | 0.2 | 69.833 | 1.986 | 77.233 | -8.3 | 889.225 | 56.96 | 0.16414
2020-02-06 08:00:00 | 2.307 | 264.167 | 0 | 297.072 | 0.133 | 78.067 | 1.731 | 71.133 | -8.468 | 889.875 | 56.181 | 0.23875
2020-02-06 08:15:00 | 2.908 | 259.227 | 0.674 | 297.153 | 0.1 | 42.033 | 1.716 | 71.1 | -8.414 | 890.05 | 55.979 | 0.23449
2020-02-06 08:30:00 | 3.128 | 268.767 | 1.971 | 305.083 | 1.077 | 0.4 | 1.563 | 51.933 | -8.25 | 889.817 | 54.736 | 0.21885
2020-02-06 08:45:00 | 3.305 | 270.553 | 2.122 | 314.954 | 1.196 | 0.234 | 1.744 | 41.933 | -8.11 | 889.967 | 53.605 | 0.22312
2020-02-06 09:00:00 | 3.664 | 246.94 | 2.296 | 312.782 | 1.448 | 352 | 1.576 | 30.915 | -9.454 | 889.975 | 54.816 | 0.23164
2020-02-06 09:15:00 | 3.986 | 255.627 | 3.05 | 303.626 | 2.703 | 342.333 | 1.955 | 3.701 | -9.058 | 889.675 | 56.304 | 0.25722
2020-02-06 09:30:00 | 3.681 | 254.153 | 2.525 | 300.233 | 2.492 | 333.333 | 1.788 | 352.033 | -8.958 | 890.233 | 54.592 | 0.22028
2020-02-06 09:45:00 | 2.923 | 262.967 | 1.93 | 301.104 | 1.52 | 334.433 | 0.987 | 352.067 | -7.759 | 889.508 | 53.771 | 0.21885
2020-02-06 10:00:00 | 3.499 | 259.787 | 2.915 | 294.679 | 2.791 | 327.233 | 2.038 | 343.133 | -6.528 | 890.075 | 49.109 | 0.2288
2020-02-06 10:15:00 | 3.635 | 246.92 | 3.412 | 294.944 | 3.109 | 316.267 | 2.535 | 322 | -7.071 | 890.233 | 48.005 | 0.27286
2020-02-06 10:30:00 | 2.858 | 257.02 | 2.871 | 293.784 | 2.209 | 316.3 | 1.642 | 322.1 | -6.359 | 890.283 | 47.2 | 0.23591
2020-02-06 10:45:00 | 1.96 | 273.68 | 2.135 | 302.499 | 1.464 | 316.3 | 1.098 | 322.067 | -5.518 | 889.933 | 45.093 | 0.21459
2020-02-06 11:00:00 | 1.894 | 305.893 | 1.617 | 316.92 | 1.572 | 324.533 | 1.348 | 322.7 | -5.625 | 889.658 | 44.608 | 0.21601
2020-02-06 11:15:00 | 1.626 | 274.52 | 1.41 | 333.672 | 1.5 | 334.267 | 1.587 | 329.467 | -4.869 | 890.292 | 42.432 | 0.21743
2020-02-06 11:30:00 | 1.434 | 49.903 | 1.22 | 215.376 | 1.333 | 113.333 | 1.14 | 183.833 | -4.364 | 889.642 | 40.92 | 0.21459
2020-02-06 11:45:00 | 1.51 | 17.268 | 1.16 | 9.807 | 1.234 | 7.933 | 1.425 | 7.3 | -3.997 | 889.983 | 39.765 | 0.21743
2020-02-06 12:00:00 | 0.625 | 251.667 | 0.373 | 343.425 | 0.746 | 237.8 | 1.029 | 4.967 | -3.504 | 889.417 | 38.368 | 0.21175
2020-02-06 12:15:00 | 1.387 | 308.68 | 1.149 | 341.178 | 1.614 | 287.133 | 1.911 | 344.8 | -3.197 | 889.75 | 36.856 | 0.21743
2020-02-06 12:30:00 | 0.868 | 130.142 | 0.26 | 217.691 | 0.71 | 277.4 | 1.022 | 297.136 | -2.76 | 889.55 | 36.08 | 0.21601
2020-02-06 12:45:00 | 1.28 | 174.828 | 0.863 | 267.788 | 0.976 | 14.768 | 1.31 | 46.767 | -2.274 | 889.767 | 34.427 | 0.22738
2020-02-06 13:00:00 | 1.764 | 42.393 | 1.637 | 96.466 | 1.946 | 24.008 | 2.199 | 22.633 | -2.144 | 889.667 | 33.632 | 0.2423
2020-02-06 13:15:00 | 2.133 | 115.583 | 2.012 | 36.111 | 2.325 | 21.235 | 2.32 | 16.133 | -2.065 | 889.883 | 32.832 | 0.22241
2020-02-06 13:30:00 | 2.877 | 63.442 | 2.656 | 65.549 | 2.84 | 49.133 | 2.77 | 32.467 | -1.7 | 889.667 | 32.107 | 0.1883
2020-02-06 13:45:00 | 1.996 | 56.863 | 1.984 | 52.033 | 2.008 | 51.267 | 2.507 | 39.3 | -1.172 | 889.65 | 31.568 | 0.24586
2020-02-06 14:00:00 | 2.151 | 26.642 | 2.202 | 38.135 | 2.357 | 41.5 | 2.369 | 26.8 | -0.828 | 889.717 | 30.659 | 0.25012
2020-02-06 14:15:00 | 2.208 | 77.153 | 1.944 | 67.075 | 2.111 | 70.367 | 2.397 | 50.367 | -1.035 | 889.533 | 31.76 | 0.2487
2020-02-06 14:30:00 | 1.606 | 76.647 | 1.422 | 62.409 | 1.586 | 57.3 | 1.829 | 48.333 | -0.855 | 889.75 | 32.139 | 0.22454
2020-02-06 14:45:00 | 2.334 | 15.908 | 1.79 | 12.273 | 1.961 | 18.6 | 1.867 | 29.633 | -0.498 | 889.283 | 31.728 | 0.23591
2020-02-06 15:00:00 | 1.915 | 55.445 | 1.94 | 55.861 | 2.27 | 58.933 | 2.568 | 52.7 | -0.498 | 889.483 | 30.72 | 0.22738
2020-02-06 15:15:00 | 2.367 | 49.446 | 2.588 | 38.25 | 2.803 | 41.967 | 2.904 | 35.367 | -0.01 | 889.833 | 29.893 | 0.24088
2020-02-06 15:30:00 | 1.437 | 51.015 | 1.293 | 33.42 | 2.012 | 40.267 | 2.273 | 34.7 | -0.366 | 890.017 | 29.829 | 0.2352
2020-02-06 15:45:00 | 0.536 | 80.15 | 0.35 | 54.614 | 0.733 | 41.567 | 1.153 | 42.667 | -0.192 | 889.583 | 30.016 | 0.22028
2020-02-06 16:00:00 | 1.7 | 42.555 | 1.19 | 33.048 | 1.446 | 38.4 | 1.532 | 33.7 | 0.083 | 889.383 | 29.771 | 0.21317
2020-02-06 16:15:00 | 1.692 | 132.688 | 1.465 | 269.365 | 1.727 | 199.833 | 1.862 | 82.3 | 0 | 889.867 | 30.032 | 0.21317
2020-02-06 16:30:00 | 1.032 | 98.482 | 0.483 | 124.385 | 0.94 | 63.712 | 0.917 | 92.567 | 0.1 | 890.05 | 30.181 | 0.21033
2020-02-06 16:45:00 | 1.676 | 55.585 | 1.486 | 52.865 | 1.54 | 55.1 | 1.492 | 42.867 | 0.034 | 889.467 | 30.139 | 0.21033
2020-02-06 17:00:00 | 1.209 | 73.162 | 0.507 | 75.427 | 0.526 | 72.4 | 0.644 | 70.433 | 0.399 | 889.167 | 29.317 | 0.21033
2020-02-06 17:15:00 | 0.572 | 76.334 | 0.03 | 58.768 | 0.047 | 100.033 | 0.184 | 72 | 0.399 | 889.883 | 29.765 | 0.21033
2020-02-06 17:30:00 | 1.416 | 24.71 | 1.06 | 23.229 | 1.331 | 26.867 | 1.324 | 57.6 | 0.565 | 889.833 | 29.755 | 0.21175
2020-02-06 17:45:00 | 1.122 | 51.951 | 0.756 | 53.653 | 0.663 | 68.2 | 0.444 | 45 | 0.332 | 889.917 | 29.995 | 0.20891
2020-02-06 18:00:00 | 0.835 | 82.213 | 0.146 | 73.252 | 0.253 | 89.167 | 0.346 | 76 | 0.532 | 889.617 | 30.427 | 0.21175
2020-02-06 18:15:00 | 0.209 | 72.184 | 0.027 | 57.532 | 0.2 | 88.333 | 0.205 | 71 | 0.266 | 889.617 | 31.2 | 0.20891
2020-02-06 18:30:00 | 0.542 | 68.685 | 0 | 51.121 | 0 | 78.9 | 0 | 66.733 | 0.116 | 890.05 | 31.451 | 0.20749
2020-02-06 18:45:00 | 1.051 | 40.613 | 0.27 | 20.652 | 0.463 | 35 | 0.419 | 55 | 0 | 889.817 | 31.717 | 0.20749
2020-02-06 19:00:00 | 1.857 | 64.675 | 1.291 | 57.219 | 1.199 | 74.733 | 1.35 | 55.533 | -0.149 | 890.083 | 33.035 | 0.21317
2020-02-06 19:15:00 | 1.37 | 42.125 | 1.001 | 44.132 | 1.161 | 41.967 | 1.235 | 55 | -0.316 | 889.717 | 34.021 | 0.21459
2020-02-06 19:30:00 | 2.353 | 36.967 | 2.302 | 31.6 | 2.159 | 31.533 | 2.006 | 41.9 | -0.538 | 889.717 | 35.312 | 0.2217
2020-02-06 19:45:00 | 2.267 | 47.143 | 2.536 | 37.094 | 2.334 | 38 | 2.162 | 42.067 | -1.082 | 889.633 | 36.891 | 0.21459
2020-02-06 20:00:00 | 1.827 | 45.775 | 2.332 | 38.804 | 2.233 | 38.9 | 1.88 | 42 | -1.386 | 889.533 | 38.128 | 0.21175
2020-02-06 20:15:00 | 1.097 | 58.108 | 2.004 | 56.117 | 1.984 | 55 | 1.845 | 42.467 | -1.991 | 889.717 | 39.579 | 0.21317
2020-02-06 20:30:00 | 1.526 | 35.325 | 2.368 | 35.462 | 2.546 | 39.467 | 2.423 | 45.2 | -2.098 | 889.625 | 40.805 | 0.24372
2020-02-06 20:45:00 | 1.533 | 199.16 | 2.417 | 0.67 | 2.672 | 3.167 | 2.883 | 2.733 | -2.455 | 889.967 | 41.104 | 0.20464
2020-02-06 21:00:00 | 2.48 | 289.507 | 2.153 | 318.346 | 2.517 | 332.867 | 3.136 | 344.4 | -2.578 | 889.683 | 41.899 | 0.11867
2020-02-06 21:15:00 | 4.208 | 266.227 | 4.378 | 293.285 | 3.63 | 303.733 | 3.216 | 310.333 | -3.849 | 889.908 | 42.277 | 0.82568
2020-02-06 21:30:00 | 4.683 | 259.753 | 4.371 | 283.031 | 4.192 | 290.933 | 4.438 | 291.167 | -5.219 | 890.075 | 45.621 | 3.0945
2020-02-06 21:45:00 | 3.997 | 260.853 | 3.85 | 280.361 | 4.024 | 287.167 | 4.33 | 286.533 | -4.706 | 889.817 | 44.8 | 4.117
2020-02-06 22:00:00 | 4.64 | 231.033 | 4.437 | 260.953 | 4.466 | 271.467 | 4.748 | 271.333 | -5.102 | 889.833 | 45.829 | 3.6893
2020-02-06 22:15:00 | 4.575 | 227.367 | 3.939 | 239.279 | 3.916 | 253.567 | 3.879 | 256.067 | -5.185 | 890.183 | 49.92 | 4.1661
2020-02-06 22:30:00 | 4.789 | 237.7 | 4.484 | 242.158 | 4.315 | 250.633 | 4.073 | 252.633 | -5.369 | 889.95 | 51.627 | 3.0618
2020-02-06 22:45:00 | 4.292 | 226.167 | 4.143 | 245.216 | 4.011 | 254.6 | 3.894 | 254.733 | -5.369 | 890.208 | 51.317 | 2.3015
2020-02-06 23:00:00 | 4.751 | 218.46 | 3.301 | 255.058 | 3.199 | 264.267 | 3.275 | 265 | -6.658 | 889.892 | 52.267 | 0.79015
2020-02-06 23:15:00 | 4.82 | 221.847 | 3.547 | 231.075 | 3.133 | 246.133 | 3.089 | 248.467 | -7.263 | 890.133 | 55.168 | 1.5114
2020-02-06 23:30:00 | 5.42 | 217.113 | 3.791 | 227.937 | 3.844 | 236.167 | 3.788 | 233.933 | -6.883 | 889.817 | 52.139 | 2.1537
2020-02-06 23:45:00 | 5.428 | 222.233 | 4.076 | 237.114 | 4.118 | 247.567 | 4.094 | 240.767 | -7.556 | 889.958 | 54.741 | 3.1286