## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-07 00:00:00 | 4.914 | 225.9 | 5.346 | 243.628 | 5.375 | 255.467 | 5.483 | 254.717 | -6.992 | 890.058 | 53.301 | 5.5076
2020-02-07 00:15:00 | 5.05 | 223.127 | 4.864 | 247.64 | 4.938 | 257.3 | 5.064 | 254.75 | -8.511 | 889.875 | 56 | 7.213
2020-02-07 00:30:00 | 5.498 | 229.56 | 5.159 | 250.779 | 5.02 | 258.033 | 5.015 | 255.75 | -7.893 | 889.925 | 55.616 | 8.6668
2020-02-07 00:45:00 | 5.065 | 226.533 | 4.939 | 258.308 | 5.033 | 266.533 | 5.235 | 264.9 | -8.19 | 889.625 | 53.307 | 7.7601
2020-02-07 01:00:00 | 5.315 | 226.333 | 4.519 | 266.188 | 4.195 | 275.4 | 4.344 | 274.7 | -8.724 | 889.8 | 55.36 | 5.7144
2020-02-07 01:15:00 | 5.489 | 231.74 | 4.503 | 250.447 | 4.223 | 260.833 | 4.075 | 260.867 | -8.271 | 889.625 | 54.752 | 9.3226
2020-02-07 01:30:00 | 5.808 | 222.92 | 5.721 | 246.07 | 4.756 | 261.667 | 4.591 | 263.167 | -8.397 | 889.717 | 53.312 | 10.8987
2020-02-07 01:45:00 | 4.39 | 233.22 | 4.269 | 259.372 | 3.838 | 277.2 | 3.883 | 282.867 | -8.18 | 889.55 | 52.613 | 6.3297
2020-02-07 02:00:00 | 3.387 | 235.78 | 3.883 | 266.698 | 3.636 | 285.267 | 3.879 | 289.667 | -7.95 | 890.3 | 52.283 | 2.9972
2020-02-07 02:15:00 | 4.224 | 248.8 | 4.349 | 278.959 | 4.487 | 292.167 | 4.664 | 292.033 | -7.622 | 890.2 | 52.768 | 3.2011
2020-02-07 02:30:00 | 4.181 | 224.94 | 4.06 | 269.018 | 4.045 | 280.2 | 4.456 | 279.767 | -7.326 | 889.642 | 51.611 | 3.1336
2020-02-07 02:45:00 | 3.499 | 232.047 | 3.575 | 265.077 | 3.265 | 292 | 3.565 | 293.667 | -7.098 | 889.742 | 50.784 | 3.2459
2020-02-07 03:00:00 | 3.38 | 237.06 | 3.158 | 268.75 | 3.177 | 281.667 | 3.694 | 287.067 | -7.369 | 889.925 | 50.933 | 4.1938
2020-02-07 03:15:00 | 5.565 | 217.4 | 4.66 | 255.891 | 4.231 | 277.067 | 4.095 | 283.7 | -8.691 | 889.592 | 53.067 | 5.4444
2020-02-07 03:30:00 | 6.048 | 212.533 | 5.226 | 240.407 | 4.269 | 264.733 | 4.066 | 271.133 | -8.774 | 889.633 | 54.069 | 6.5479
2020-02-07 03:45:00 | 6.271 | 205.467 | 5.516 | 233.387 | 4.399 | 244.933 | 3.703 | 254.567 | -8.891 | 890 | 54.539 | 6.5045
2020-02-07 04:00:00 | 5.698 | 213.8 | 4.481 | 224.985 | 3.815 | 233.7 | 2.979 | 236.567 | -8.824 | 889.708 | 54.613 | 3.8037
2020-02-07 04:15:00 | 6.226 | 214.247 | 4.528 | 223.234 | 4.138 | 231.867 | 3.713 | 230.467 | -8.518 | 889.642 | 54.069 | 5.0386
2020-02-07 04:30:00 | 6.617 | 209.193 | 5.167 | 228.022 | 4.781 | 235.6 | 4.378 | 232.1 | -8.477 | 889.625 | 53.973 | 7.3323
2020-02-07 04:45:00 | 6.628 | 212.3 | 5.768 | 232.275 | 5.385 | 239.367 | 4.882 | 235.133 | -8.991 | 889.942 | 55.2 | 7.7679
2020-02-07 05:00:00 | 6.549 | 214.133 | 5.134 | 227.371 | 4.68 | 234.1 | 4.261 | 231.3 | -8.758 | 890.075 | 55.285 | 5.7385
2020-02-07 05:15:00 | 6.504 | 219.867 | 4.538 | 227.442 | 3.94 | 234.267 | 3.448 | 234.033 | -8.774 | 889.933 | 55.371 | 3.9458
2020-02-07 05:30:00 | 7.027 | 210.167 | 5.336 | 226.18 | 4.712 | 232.9 | 4.078 | 228 | -8.641 | 889.733 | 54.368 | 6.5727
2020-02-07 05:45:00 | 6.482 | 209.367 | 5.477 | 224.989 | 4.933 | 232.9 | 4.287 | 230.3 | -8.641 | 889.925 | 55.499 | 6.7234
2020-02-07 06:00:00 | 6.259 | 212.633 | 5.778 | 226.118 | 5.217 | 234.633 | 4.742 | 230.967 | -8.741 | 890.067 | 55.797 | 8.8608
2020-02-07 06:15:00 | 6.44 | 208.367 | 5.938 | 230.343 | 5.434 | 236.8 | 4.834 | 232.5 | -8.841 | 889.908 | 55.392 | 9.0476
2020-02-07 06:30:00 | 6.236 | 215.867 | 6.028 | 229.927 | 5.405 | 238.267 | 4.816 | 235.933 | -8.608 | 889.808 | 55.36 | 11.5503
2020-02-07 06:45:00 | 5.406 | 213.233 | 6.44 | 225.078 | 5.863 | 234.267 | 5.342 | 233 | -9.174 | 890.208 | 57.248 | 14.6355
2020-02-07 07:00:00 | 6.451 | 204.933 | 6.892 | 226.414 | 6.47 | 235.433 | 5.878 | 233.067 | -9.158 | 889.708 | 57.301 | 21.4016
2020-02-07 07:15:00 | 6.261 | 208.333 | 7.12 | 226.603 | 6.658 | 235.567 | 6.092 | 233.633 | -8.424 | 889.875 | 55.797 | 21.4428
2020-02-07 07:30:00 | 6.159 | 204.613 | 6.988 | 229.006 | 6.511 | 237.733 | 5.955 | 234.6 | -8.184 | 890.1 | 54.965 | 20.028
2020-02-07 07:45:00 | 6.456 | 211.787 | 6.88 | 227.516 | 6.465 | 235.133 | 6.011 | 232.567 | -8.224 | 890.167 | 54.784 | 19.9556
2020-02-07 08:00:00 | 6.67 | 212.807 | 6.808 | 228.557 | 6.233 | 239.833 | 5.832 | 237.9 | -8.371 | 889.717 | 54.635 | 18.4612
2020-02-07 08:15:00 | 6.904 | 210.327 | 7.064 | 228.048 | 6.672 | 238.8 | 6.076 | 238.167 | -8.477 | 889.933 | 54.421 | 20.3371
2020-02-07 08:30:00 | 7.154 | 210.747 | 7.287 | 226.648 | 6.931 | 234.7 | 6.39 | 232.867 | -8.45 | 889.65 | 54.891 | 21.0349
2020-02-07 08:45:00 | 7.098 | 204.52 | 7.764 | 221.492 | 7.147 | 228.933 | 6.663 | 227.5 | -8.498 | 890.133 | 54.763 | 22.8881
2020-02-07 09:00:00 | 7.475 | 206.327 | 7.241 | 222.244 | 6.923 | 230.1 | 6.604 | 227.2 | -8.21 | 889.3 | 53.76 | 22.6557
2020-02-07 09:15:00 | 6.87 | 210.533 | 7.443 | 221.887 | 7.187 | 229.433 | 6.958 | 226.733 | -8.19 | 889.658 | 53.472 | 25.2265
2020-02-07 09:30:00 | 6.05 | 212.6 | 8.075 | 222.058 | 7.674 | 230.667 | 7.24 | 229.333 | -7.756 | 889.808 | 52.629 | 25.6145
2020-02-07 09:45:00 | 6.319 | 203.127 | 7.613 | 226.317 | 7.36 | 235.3 | 7.052 | 234.9 | -6.325 | 890.042 | 49.504 | 23.9759
2020-02-07 10:00:00 | 6.122 | 209.067 | 7.692 | 225.373 | 7.263 | 235.433 | 6.863 | 234.167 | -5.602 | 889.592 | 47.541 | 21.2111
2020-02-07 10:15:00 | 4.961 | 212.627 | 7.22 | 217.802 | 7.199 | 229.6 | 6.791 | 229.4 | -4.285 | 889.725 | 45.323 | 25.267
2020-02-07 10:30:00 | 6.184 | 205.707 | 8.01 | 219.438 | 7.375 | 223.4 | 7.1 | 222.3 | -3.08 | 890.358 | 42.069 | 29.8054
2020-02-07 10:45:00 | 5.473 | 209.393 | 6.977 | 215.711 | 8.002 | 222.567 | 7.466 | 220.133 | -1.543 | 889.717 | 39.589 | 26.6562
2020-02-07 11:00:00 | 5.786 | 211.493 | 6.309 | 218.241 | 7.067 | 221.933 | 7.06 | 219.567 | -0.222 | 889.867 | 36.357 | 20.5816
2020-02-07 11:15:00 | 5.076 | 221.86 | 5.299 | 225.582 | 5.643 | 229.733 | 5.635 | 225.6 | 0.965 | 890.267 | 34.245 | 13.1725
2020-02-07 11:30:00 | 4.894 | 222.06 | 4.947 | 226.684 | 5.051 | 229.433 | 4.969 | 226.7 | 1.946 | 889.283 | 33.061 | 10.1668
2020-02-07 11:45:00 | 4.976 | 224.907 | 5.114 | 235.865 | 5.343 | 240.933 | 5.289 | 236.717 | 2.557 | 889.55 | 32.811 | 8.7258
2020-02-07 12:00:00 | 4.976 | 229.167 | 5.152 | 250.133 | 5.055 | 252.817 | 5.074 | 245.817 | 3.304 | 889.8 | 31.947 | 10.8489
2020-02-07 12:15:00 | 3.943 | 255.867 | 4.293 | 264.843 | 4.509 | 271.667 | 4.646 | 266.133 | 3.488 | 889.8 | 32.776 | 12.3887
2020-02-07 12:30:00 | 4.777 | 248.533 | 5.165 | 261.705 | 5.318 | 263.567 | 5.26 | 261.317 | 3.355 | 890.05 | 34.272 | 10.1973
2020-02-07 12:45:00 | 5.082 | 276.1 | 5.193 | 283.803 | 5.344 | 288.3 | 5.415 | 285.833 | 2.864 | 889.55 | 37.32 | 7.5867
2020-02-07 13:00:00 | 3.331 | 287 | 3.771 | 283.545 | 4.03 | 283.333 | 4.214 | 282.267 | 3.271 | 889.55 | 36.072 | 6.9344
2020-02-07 13:15:00 | 4.612 | 302.133 | 4.812 | 305.949 | 4.891 | 308.5 | 4.922 | 302.833 | 3.354 | 889.617 | 37.485 | 6.2466
2020-02-07 13:30:00 | 4.108 | 234.62 | 4.204 | 244.42 | 4.019 | 253.867 | 4.073 | 255.833 | 4.162 | 889.767 | 35.405 | 6.4527
2020-02-07 13:45:00 | 3.838 | 275.333 | 4.184 | 285.073 | 4.405 | 286.667 | 4.518 | 283.167 | 4.335 | 889.783 | 32.931 | 4.7352
2020-02-07 14:00:00 | 4.419 | 263.547 | 4.618 | 274.543 | 4.534 | 277.55 | 4.647 | 269.917 | 4.842 | 889.783 | 29.099 | 7.2634
2020-02-07 14:15:00 | 4.23 | 277.58 | 4.582 | 284.464 | 4.615 | 287.2 | 4.825 | 285.9 | 4.746 | 889.867 | 27.995 | 8.9553
2020-02-07 14:30:00 | 5.03 | 280.62 | 5.136 | 281.496 | 5.342 | 285.367 | 5.67 | 281.033 | 5.024 | 889.967 | 25.381 | 10.866
2020-02-07 14:45:00 | 3.718 | 283 | 3.725 | 285.194 | 4.036 | 283.9 | 4.176 | 276.1 | 4.919 | 889.95 | 25.168 | 9.0668
2020-02-07 15:00:00 | 4.689 | 46.431 | 4.706 | 33.373 | 4.785 | 33.367 | 4.634 | 24.7 | 4.361 | 889.8 | 27.44 | 4.8304
2020-02-07 15:15:00 | 3.482 | 20.905 | 3.363 | 15.375 | 3.32 | 20.633 | 3.348 | 27.567 | 3.818 | 889.65 | 27.755 | 1.1326
2020-02-07 15:30:00 | 3.429 | 41.836 | 3.352 | 32.068 | 3.354 | 35.533 | 3.353 | 27.867 | 4.048 | 890.133 | 26.848 | 0.545
2020-02-07 15:45:00 | 2.416 | 51.933 | 2.158 | 80.887 | 2.24 | 9.367 | 2.361 | 19.967 | 4.014 | 889.567 | 27.029 | 0.76244
2020-02-07 16:00:00 | 3.086 | 42.74 | 2.843 | 36.957 | 3.048 | 40.233 | 3.478 | 38.7 | 4.057 | 889.833 | 27.301 | 0.23662
2020-02-07 16:15:00 | 2.482 | 74.728 | 2.17 | 38.425 | 2.024 | 61.502 | 2.137 | 27.9 | 4.551 | 889.533 | 26.928 | 0.27499
2020-02-07 16:30:00 | 2.209 | 83.562 | 2.17 | 297.638 | 2.298 | 330.633 | 2.315 | 342.633 | 4.835 | 889.65 | 26.616 | 0.22667
2020-02-07 16:45:00 | 1.754 | 63.226 | 1.812 | 78.745 | 2.112 | 137.867 | 2.216 | 132 | 4.831 | 889.983 | 26.293 | 0.18191
2020-02-07 17:00:00 | 3.17 | 317.52 | 3.618 | 315.005 | 3.572 | 297.467 | 3.901 | 318.9 | 5.16 | 889.617 | 23.157 | 0.6928
2020-02-07 17:15:00 | 4.658 | 220.434 | 4.786 | 232.172 | 4.759 | 181.401 | 4.526 | 186.3 | 5.171 | 889.817 | 24.037 | 0.61748
2020-02-07 17:30:00 | 1.649 | 63.112 | 0.997 | 133.124 | 1.223 | 110.868 | 1.722 | 125.733 | 4.752 | 889.617 | 25.747 | 0.21175
2020-02-07 17:45:00 | 2.42 | 48.182 | 2.222 | 45.971 | 2.267 | 44.967 | 2.294 | 37.867 | 4.773 | 889.75 | 26.96 | 0.20606
2020-02-07 18:00:00 | 3.776 | 342.2 | 4.061 | 336.429 | 3.969 | 340.1 | 4.06 | 336.667 | 4.602 | 889.55 | 24.427 | 0.10801
2020-02-07 18:15:00 | 2.906 | 76.027 | 2.775 | 71.08 | 2.801 | 73.5 | 2.935 | 67.533 | 4.116 | 889.167 | 27.781 | 0.22454
2020-02-07 18:30:00 | 2.292 | 81.233 | 2.084 | 81.278 | 2.091 | 84.033 | 2.072 | 85.533 | 3.137 | 889.917 | 29.515 | 0.18901
2020-02-07 18:45:00 | 1.523 | 90.05 | 1.45 | 83.243 | 1.612 | 100 | 1.633 | 86 | 3.019 | 889.933 | 30.517 | 0.18191
2020-02-07 19:00:00 | 1.813 | 105.763 | 1.915 | 105.539 | 2.125 | 112.4 | 2.314 | 97.5 | 2.74 | 890.367 | 31.749 | 0.19043
2020-02-07 19:15:00 | 1.733 | 121.153 | 1.776 | 110.225 | 1.794 | 117 | 1.781 | 117.033 | 2.114 | 889.917 | 33.205 | 0.2018
2020-02-07 19:30:00 | 1.242 | 145.073 | 1.544 | 123.077 | 1.707 | 127.867 | 1.791 | 130.867 | 1.901 | 889.817 | 34.075 | 0.2018
2020-02-07 19:45:00 | 1.46 | 134.34 | 1.538 | 108.839 | 1.688 | 127 | 1.808 | 130.767 | 1.536 | 889.783 | 34.944 | 0.21317
2020-02-07 20:00:00 | 1.724 | 131.74 | 1.926 | 106.248 | 1.938 | 116.9 | 1.808 | 127.967 | 1.68 | 889.917 | 34.987 | 0.22028
2020-02-07 20:15:00 | 1.151 | 202.407 | 0.891 | 118.716 | 2.336 | 116.3 | 2.619 | 113.967 | 0.732 | 889.7 | 35.525 | 0.20535
2020-02-07 20:30:00 | 1.746 | 237.08 | 2.086 | 229.339 | 1.954 | 234.9 | 1.982 | 226.45 | 0.249 | 889.85 | 36.373 | 0.17906
2020-02-07 20:45:00 | 2.159 | 184.187 | 1.202 | 160.396 | 2.04 | 176.533 | 2.967 | 187.2 | -2.062 | 889.542 | 41.291 | 0.13998
2020-02-07 21:00:00 | 1.664 | 213.107 | 4.562 | 219.198 | 3.603 | 229.833 | 3.028 | 230.433 | -2.794 | 889.992 | 46.731 | 0.090242
2020-02-07 21:15:00 | 5.629 | 212.553 | 3.44 | 220.069 | 2.796 | 227.233 | 2.408 | 229.6 | -3.417 | 889.95 | 49.024 | 0.20535
2020-02-07 21:30:00 | 6.221 | 210.94 | 4.669 | 214.279 | 3.712 | 223.4 | 2.991 | 223.367 | -3.113 | 889.95 | 48.928 | 1.0182
2020-02-07 21:45:00 | 6.375 | 210.8 | 6.051 | 214.568 | 4.835 | 221.867 | 3.817 | 221.067 | -2.598 | 889.858 | 48.693 | 3.528
2020-02-07 22:00:00 | 6.628 | 211.053 | 5.534 | 220.287 | 4.286 | 228.167 | 3.79 | 227.433 | -2.781 | 889.658 | 48.683 | 3.2047
2020-02-07 22:15:00 | 6.167 | 217.633 | 5.842 | 220.665 | 4.622 | 229.933 | 3.532 | 228.5 | -3.337 | 889.892 | 48.896 | 3.9941
2020-02-07 22:30:00 | 5.779 | 209.9 | 5.761 | 218.381 | 5.219 | 224.7 | 4.434 | 223.833 | -3.087 | 889.958 | 49.067 | 4.8397
2020-02-07 22:45:00 | 5.939 | 207.6 | 6.181 | 214.461 | 5.39 | 223.5 | 4.56 | 223.767 | -3.706 | 890.35 | 50.261 | 2.9453
2020-02-07 23:00:00 | 6.736 | 213.2 | 5.832 | 212.364 | 5.336 | 216.533 | 4.583 | 216.267 | -3.773 | 889.975 | 50.901 | 3.8783
2020-02-07 23:15:00 | 6.356 | 204.333 | 7.045 | 212.502 | 5.743 | 214.9 | 4.928 | 215.067 | -3.722 | 889.917 | 51.381 | 6.42
2020-02-07 23:30:00 | 7.44 | 211.4 | 6.381 | 211.822 | 5.535 | 212.533 | 5.196 | 212.6 | -3.354 | 889.95 | 50.037 | 8.2561
2020-02-07 23:45:00 | 6.344 | 210.533 | 6.284 | 207.73 | 5.937 | 205.767 | 5.399 | 198.6 | -3.806 | 889.633 | 50.485 | 8.7037