## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-08 00:00:00 | 6.421 | 211.267 | 5.666 | 212.552 | 4.771 | 212.333 | 4.563 | 201.2 | -3.756 | 889.908 | 50.784 | 8.2149
2020-02-08 00:15:00 | 6.241 | 214.7 | 6.018 | 215.681 | 5.254 | 217.967 | 4.926 | 212.233 | -3.371 | 890.083 | 48.395 | 8.5474
2020-02-08 00:30:00 | 5.29 | 208.167 | 6.575 | 218.188 | 5.884 | 221.467 | 5.643 | 218 | -3.823 | 889.933 | 49.301 | 9.0548
2020-02-08 00:45:00 | 5.933 | 213.667 | 6.977 | 224.854 | 6.507 | 230.967 | 6.185 | 227.433 | -3.89 | 889.658 | 49.568 | 10.8575
2020-02-08 01:00:00 | 5.618 | 199.153 | 7.674 | 219.489 | 6.821 | 226.967 | 5.765 | 226.567 | -4.265 | 889.883 | 50.688 | 12.3248
2020-02-08 01:15:00 | 5.994 | 208.353 | 7.657 | 222.292 | 6.532 | 230.733 | 5.424 | 230.933 | -4.198 | 889.692 | 50.08 | 11.9084
2020-02-08 01:30:00 | 6.104 | 206.087 | 7.455 | 217.514 | 6.5 | 226.2 | 5.211 | 227.333 | -4.066 | 889.933 | 50.624 | 10.397
2020-02-08 01:45:00 | 6.127 | 207.313 | 6.871 | 216.157 | 6.294 | 225.5 | 5.294 | 225.4 | -4.527 | 889.858 | 51.52 | 9.2125
2020-02-08 02:00:00 | 6.033 | 209.533 | 7.35 | 213.945 | 6.129 | 222.5 | 4.657 | 225.033 | -4.305 | 890.058 | 50.304 | 9.3013
2020-02-08 02:15:00 | 6.735 | 210.62 | 7.243 | 212.452 | 6.535 | 214.267 | 5.793 | 214.5 | -4.729 | 889.7 | 49.877 | 11.2227
2020-02-08 02:30:00 | 6.838 | 207 | 7.031 | 212.164 | 6.376 | 212.267 | 5.631 | 205.133 | -4.421 | 889.683 | 49.493 | 9.9302
2020-02-08 02:45:00 | 5.981 | 210.567 | 7.4 | 210.258 | 6.405 | 212.067 | 5.712 | 204.533 | -4.902 | 889.95 | 50.347 | 10.2066
2020-02-08 03:00:00 | 6.451 | 204.233 | 7.258 | 208.349 | 6.906 | 209.5 | 6.559 | 204.533 | -4.852 | 890.125 | 50.848 | 6.8285
2020-02-08 03:15:00 | 3.16 | 200.04 | 5.89 | 209.088 | 5.978 | 205.833 | 5.567 | 199.567 | -4.706 | 889.567 | 50.08 | 3.2643
2020-02-08 03:30:00 | 3.829 | 208.533 | 5.738 | 203.567 | 6.329 | 199.5 | 5.633 | 192.1 | -4.935 | 890.042 | 51.072 | 2.0223
2020-02-08 03:45:00 | 2.766 | 199.12 | 4.515 | 200.017 | 5.838 | 196.3 | 5.287 | 187.933 | -4.712 | 889.917 | 50.88 | 0.84202
2020-02-08 04:00:00 | 4.109 | 206.7 | 5.22 | 203.018 | 6.222 | 197 | 6.034 | 186.533 | -4.404 | 889.667 | 49.28 | 0.59119
2020-02-08 04:15:00 | 4.381 | 215.7 | 4.98 | 209.982 | 5.706 | 202.433 | 5.654 | 189.533 | -3.488 | 890.117 | 47.168 | 0.69067
2020-02-08 04:30:00 | 4.152 | 224.2 | 4.762 | 211.908 | 4.21 | 203.967 | 3.747 | 193.833 | -3.907 | 889.933 | 46.795 | 0.80791
2020-02-08 04:45:00 | 4.991 | 219.3 | 4.811 | 207.943 | 5.052 | 205 | 4.396 | 197.133 | -3.958 | 889.975 | 46.816 | 0.84344
2020-02-08 05:00:00 | 4.14 | 212.5 | 4.933 | 203.882 | 4.978 | 199.167 | 5.672 | 191.133 | -3.606 | 890.067 | 46.069 | 0.11937
2020-02-08 05:15:00 | 3.511 | 227.913 | 4.254 | 215.615 | 5.166 | 200.567 | 4.785 | 181.1 | -5.772 | 890.275 | 50.347 | 0.085268
2020-02-08 05:30:00 | 3.608 | 211.233 | 4.898 | 207.582 | 4.504 | 197.033 | 3.709 | 183.567 | -5.898 | 889.708 | 51.2 | 0.18333
2020-02-08 05:45:00 | 3.214 | 212.567 | 5.459 | 208.288 | 4.232 | 205.4 | 3.53 | 197 | -6.595 | 890.042 | 53.088 | 0.15277
2020-02-08 06:00:00 | 3.545 | 212.647 | 4.565 | 204.069 | 4.228 | 188.1 | 3.368 | 173.4 | -6.252 | 889.883 | 53.536 | 0.22809
2020-02-08 06:15:00 | 3.416 | 199.82 | 2.893 | 166.274 | 2.469 | 161.1 | 2.394 | 153.233 | -6.24 | 889.533 | 54.048 | 0.25154
2020-02-08 06:30:00 | 4.18 | 207.433 | 2.53 | 184.954 | 1.814 | 175.867 | 1.67 | 162.333 | -4.503 | 889.883 | 48.683 | 0.23307
2020-02-08 06:45:00 | 4.048 | 205.593 | 2.916 | 195.926 | 2.294 | 192.267 | 1.868 | 181.767 | -2.925 | 890.208 | 44.128 | 0.23022
2020-02-08 07:00:00 | 4.261 | 190.407 | 2.646 | 161.791 | 2.044 | 156.833 | 2.016 | 158 | -4.175 | 889.758 | 46.165 | 0.22454
2020-02-08 07:15:00 | 4.557 | 192.06 | 3.403 | 182.979 | 2.824 | 181 | 2.6 | 177.133 | -1.963 | 890.108 | 41.483 | 0.086689
2020-02-08 07:30:00 | 4.11 | 204.473 | 5.516 | 194.879 | 4.643 | 194.133 | 3.888 | 185.233 | -5.372 | 890.142 | 48.384 | 0.18475
2020-02-08 07:45:00 | 2.667 | 190.38 | 5.645 | 189.425 | 5.256 | 189.333 | 3.726 | 182.3 | -5.839 | 890.008 | 50.549 | 1.4922
2020-02-08 08:00:00 | 3.533 | 199.767 | 5.822 | 193.752 | 5.905 | 191.133 | 4.963 | 181.133 | -4.719 | 889.667 | 49.376 | 5.9915
2020-02-08 08:15:00 | 3.403 | 202.653 | 5.092 | 193.05 | 6.37 | 198.067 | 7.579 | 192.767 | -4.215 | 889.725 | 46.443 | 12.739
2020-02-08 08:30:00 | 1.82 | 208.427 | 3.916 | 201.836 | 6.068 | 200.4 | 7.591 | 195.7 | -4.384 | 889.425 | 46.389 | 11.8203
2020-02-08 08:45:00 | 1.151 | 240.887 | 0.588 | 264.008 | 1.66 | 209.033 | 3.93 | 207.567 | -4.726 | 890.55 | 47.477 | 10.6443
2020-02-08 09:00:00 | 1.111 | 236.873 | 1.873 | 208.505 | 3.515 | 207.8 | 5.479 | 200.4 | -4.424 | 889.533 | 45.973 | 9.3916
2020-02-08 09:15:00 | 4.12 | 206.533 | 5.544 | 202.656 | 7.106 | 200.867 | 6.843 | 196.533 | -3.706 | 890.15 | 43.211 | 16.0574
2020-02-08 09:30:00 | 4.962 | 209.58 | 6.978 | 198.19 | 7.876 | 202.1 | 6.965 | 201.967 | -2.348 | 889.8 | 39.472 | 30.6688
2020-02-08 09:45:00 | 3.433 | 207.073 | 6.53 | 203.958 | 7.808 | 211.8 | 8.305 | 211.2 | -2.895 | 889.8 | 40.613 | 39.8663
2020-02-08 10:00:00 | 5.822 | 203.76 | 7.698 | 199.58 | 9.039 | 202.633 | 8.959 | 202.767 | -1.62 | 889.717 | 37.275 | 38.313
2020-02-08 10:15:00 | 5.474 | 195.133 | 7.864 | 194.12 | 8.922 | 199.167 | 8.554 | 203.267 | -0.798 | 889.283 | 35.733 | 28.579
2020-02-08 10:30:00 | 7.251 | 194.18 | 8.661 | 193.525 | 8.023 | 197.667 | 7.921 | 197.8 | 0.08 | 889.65 | 34.715 | 16.3594
2020-02-08 10:45:00 | 4.791 | 192.547 | 5.782 | 188.696 | 6.472 | 192.8 | 6.523 | 193 | 0.598 | 889.783 | 32.752 | 5.023
2020-02-08 11:00:00 | 2.609 | 178.86 | 3.594 | 184.568 | 4.458 | 191.1 | 4.978 | 184.367 | 1.342 | 890.167 | 31.061 | 1.2769
2020-02-08 11:15:00 | 3.919 | 193.333 | 3.856 | 187.892 | 3.8 | 187.533 | 3.917 | 184.033 | 3.154 | 889.817 | 28.293 | 0.29844
2020-02-08 11:30:00 | 3.249 | 75.267 | 2.772 | 72.889 | 2.614 | 81.7 | 2.477 | 86.5 | 1.179 | 889.933 | 31.013 | 0.25012
2020-02-08 11:45:00 | 3.357 | 63.002 | 3.038 | 58.805 | 2.93 | 70.633 | 2.71 | 73.967 | 1.63 | 889.633 | 31.227 | 0.23875
2020-02-08 12:00:00 | 2.688 | 65.015 | 2.537 | 55.271 | 2.443 | 63.867 | 2.305 | 62.667 | 1.362 | 889.683 | 31.317 | 0.24159
2020-02-08 12:15:00 | 2.353 | 57.047 | 2.327 | 52.407 | 2.243 | 63.067 | 2.204 | 63.267 | 1.822 | 889.95 | 29.728 | 0.22596
2020-02-08 12:30:00 | 2.368 | 27.97 | 2.201 | 32.186 | 2.156 | 39.733 | 2.352 | 39.167 | 2.557 | 889.783 | 28.155 | 0.22312
2020-02-08 12:45:00 | 2.816 | 48.233 | 2.673 | 48.489 | 2.928 | 57.7 | 3.108 | 60.3 | 3.288 | 889.367 | 27.168 | 0.94221
2020-02-08 13:00:00 | 3.279 | 55.402 | 3.06 | 47.908 | 2.993 | 53.933 | 2.849 | 51.3 | 3.658 | 889.767 | 26.747 | 3.7241
2020-02-08 13:15:00 | 4.607 | 48.453 | 4.345 | 45.6 | 4.212 | 51.267 | 3.87 | 53.233 | 3.106 | 889.883 | 28.213 | 6.464
2020-02-08 13:30:00 | 4.509 | 56.448 | 4.623 | 47.554 | 4.512 | 55.233 | 4.445 | 55.367 | 3.047 | 889.933 | 29.872 | 9.5699
2020-02-08 13:45:00 | 4.348 | 55.597 | 4.086 | 51.283 | 4.081 | 54.633 | 3.892 | 52.267 | 3.082 | 889.667 | 30.821 | 8.573
2020-02-08 14:00:00 | 4.184 | 65.02 | 4.201 | 60.283 | 4.196 | 62.4 | 4.467 | 60.467 | 2.7 | 889.733 | 31.051 | 9.6971
2020-02-08 14:15:00 | 4.35 | 60.467 | 4.348 | 59.192 | 4.408 | 65.9 | 4.426 | 65.4 | 3.121 | 890.433 | 31.595 | 12.3973
2020-02-08 14:30:00 | 4.755 | 68.3 | 4.729 | 63.139 | 4.728 | 68.3 | 4.671 | 62.933 | 3.388 | 889.633 | 31.877 | 13.0474
2020-02-08 14:45:00 | 5.32 | 70.108 | 5.118 | 66.359 | 5.225 | 69.967 | 5.36 | 64.3 | 3.058 | 889.267 | 32.075 | 14.9844
2020-02-08 15:00:00 | 5.025 | 71.518 | 5.074 | 67.81 | 5.31 | 73.433 | 5.444 | 70.133 | 2.938 | 889.7 | 31.963 | 13.9847
2020-02-08 15:15:00 | 5.587 | 71.09 | 5.472 | 65.189 | 5.555 | 71.367 | 5.618 | 68.733 | 2.881 | 889.817 | 31.685 | 12.6005
2020-02-08 15:30:00 | 5.181 | 71.867 | 5.38 | 68.758 | 5.364 | 72.7 | 5.371 | 69.4 | 3.137 | 889.867 | 31.904 | 12.4264
2020-02-08 15:45:00 | 5.232 | 71.3 | 5.063 | 66.415 | 4.939 | 68.1 | 4.933 | 63.033 | 3.388 | 890.067 | 31.552 | 12.9096
2020-02-08 16:00:00 | 4.787 | 71.467 | 4.87 | 63.947 | 4.928 | 69.6 | 4.983 | 66.467 | 3.572 | 889.783 | 31.291 | 14.0785
2020-02-08 16:15:00 | 4.966 | 67.737 | 5.036 | 62.969 | 4.98 | 68 | 5.117 | 64.167 | 3.725 | 889.867 | 31.184 | 14.9859
2020-02-08 16:30:00 | 5.004 | 70.3 | 4.809 | 64.159 | 4.958 | 71.933 | 5.127 | 69.167 | 3.672 | 890.067 | 31.024 | 13.6677
2020-02-08 16:45:00 | 4.642 | 76.273 | 4.721 | 65.658 | 5.022 | 71.867 | 5.22 | 67.667 | 3.762 | 889.633 | 31.243 | 12.5962
2020-02-08 17:00:00 | 4.735 | 72.9 | 4.926 | 68.275 | 5.166 | 73.7 | 5.163 | 69.867 | 3.739 | 889.517 | 30.949 | 12.5209
2020-02-08 17:15:00 | 4.964 | 77.757 | 4.91 | 73.819 | 4.971 | 78.533 | 4.983 | 75.467 | 3.979 | 889.867 | 31.328 | 11.843
2020-02-08 17:30:00 | 4.72 | 67.008 | 4.925 | 65.681 | 4.978 | 71.333 | 5.133 | 68.9 | 4.305 | 890.033 | 31.04 | 11.3705
2020-02-08 17:45:00 | 4.983 | 77.87 | 4.941 | 72.702 | 4.94 | 77.633 | 4.815 | 75.4 | 3.776 | 889.65 | 31.019 | 14.2014
2020-02-08 18:00:00 | 5.704 | 71.61 | 5.866 | 68.67 | 6.054 | 73.933 | 6.139 | 71.333 | 3.815 | 889.15 | 30.725 | 16.4006
2020-02-08 18:15:00 | 6.124 | 81.61 | 6.71 | 75.512 | 6.993 | 81.2 | 7.199 | 76.767 | 3.782 | 889.25 | 30.875 | 14.3996
2020-02-08 18:30:00 | 5.496 | 81.267 | 5.58 | 76.237 | 5.713 | 80.433 | 5.67 | 77.033 | 3.656 | 890.033 | 31.467 | 10.6791
2020-02-08 18:45:00 | 4.725 | 82.487 | 5.024 | 76.395 | 5.16 | 81.267 | 5.267 | 76.633 | 3.063 | 889.75 | 32.363 | 10.6038
2020-02-08 19:00:00 | 5.192 | 84.753 | 5.365 | 77.73 | 5.639 | 83.433 | 5.872 | 77.833 | 2.557 | 889.983 | 33.504 | 10.0822
2020-02-08 19:15:00 | 4.909 | 89.407 | 4.939 | 84.806 | 5.06 | 88.733 | 5.197 | 85.167 | 2.082 | 889.667 | 34.496 | 6.7198
2020-02-08 19:30:00 | 4.005 | 94.897 | 3.852 | 86.733 | 4.121 | 89.5 | 4.713 | 83.1 | 1.658 | 889.967 | 35.445 | 4.7906
2020-02-08 19:45:00 | 4.256 | 84.037 | 4.564 | 79.073 | 4.67 | 84.4 | 4.838 | 80.833 | 1.349 | 889.6 | 36.208 | 2.411
2020-02-08 20:00:00 | 2.912 | 85.36 | 2.926 | 81.063 | 2.819 | 85.833 | 3.011 | 84.967 | 0.898 | 889.917 | 36.976 | 0.71412
2020-02-08 20:15:00 | 2.839 | 98.667 | 2.667 | 86.59 | 2.388 | 94.4 | 3.037 | 91.133 | 0.765 | 889.467 | 37.813 | 0.31478
2020-02-08 20:30:00 | 2.165 | 107.84 | 1.697 | 96.253 | 2.076 | 106.633 | 2.454 | 102.9 | 0.499 | 889.867 | 38.917 | 0.11227
2020-02-08 20:45:00 | 1.328 | 110.977 | 2.228 | 89.349 | 2.002 | 110.5 | 2.265 | 136.5 | 0.549 | 890.2 | 39.152 | 0.18333
2020-02-08 21:00:00 | 2.415 | 144.143 | 2.828 | 112.957 | 2.846 | 138.533 | 3.167 | 164.6 | 0.332 | 889.717 | 39.696 | 0.1414
2020-02-08 21:15:00 | 1.147 | 145.98 | 1.44 | 120.359 | 1.672 | 122.533 | 0.54 | 140.867 | 0.083 | 890 | 39.765 | 0.26788
2020-02-08 21:30:00 | 0.372 | 287.573 | 0.543 | 60.155 | 1.411 | 60.196 | 2.002 | 67 | -0.465 | 889.967 | 41.835 | 0.23591
2020-02-08 21:45:00 | 1.164 | 133.86 | 2.753 | 89.622 | 3.162 | 86.75 | 2.562 | 70.367 | -0.066 | 889.7 | 42.283 | 0.23875
2020-02-08 22:00:00 | 1.567 | 111.597 | 2.373 | 82.668 | 2.969 | 82.5 | 2.371 | 79 | 0.449 | 889.358 | 40.565 | 0.24372
2020-02-08 22:15:00 | 0.34 | 174.94 | 1.89 | 99.737 | 2.923 | 96.233 | 2.657 | 104.567 | 0.05 | 889.533 | 39.936 | 0.17338
2020-02-08 22:30:00 | 2.102 | 161.273 | 2.01 | 121.009 | 2.564 | 118.033 | 2.918 | 127.133 | 0.499 | 889.775 | 40.187 | 0.13501
2020-02-08 22:45:00 | 2.181 | 184.36 | 1.755 | 127.751 | 2.172 | 132.5 | 2.449 | 140.3 | 0.582 | 889.867 | 39.232 | 0.27925
2020-02-08 23:00:00 | 1.679 | 174.707 | 2.303 | 147.296 | 2.734 | 163.833 | 3.572 | 167.933 | 0.848 | 889.733 | 37.76 | 1.8887
2020-02-08 23:15:00 | 1.316 | 221.187 | 2.248 | 182.056 | 3.163 | 182.733 | 3.577 | 181.333 | -0.103 | 889.417 | 36.635 | 2.2802
2020-02-08 23:30:00 | 1.47 | 162.347 | 1.118 | 212.658 | 0.881 | 347.8 | 0.313 | 282.567 | 0.549 | 890 | 37.571 | 0.25865
2020-02-08 23:45:00 | 0 | 154.52 | 0 | 0 | 0 | 347.867 | 0.111 | 281.767 | -1.109 | 889.8 | 39.387 | 0.23662