## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-09 00:00:00 | 0.176 | 158.8 | 0.276 | 153.146 | 1.916 | 171 | 2.365 | 158.967 | 0.266 | 889.867 | 37.589 | 0.23022
2020-02-09 00:15:00 | 1.526 | 207.08 | 1.089 | 188.078 | 1.614 | 162.633 | 2.385 | 167.967 | 0.017 | 890.217 | 34.997 | 1.2904
2020-02-09 00:30:00 | 2.036 | 222.133 | 0.12 | 169.542 | 1.212 | 154.9 | 2.086 | 162.5 | -0.558 | 889.867 | 34.933 | 3.4661
2020-02-09 00:45:00 | 0.669 | 243.867 | 0 | 120.226 | 0 | 106.933 | 0.03 | 125 | -0.762 | 889.967 | 33.835 | 4.1796
2020-02-09 01:00:00 | 0.176 | 220.56 | 0 | 32.114 | 0.056 | 107.067 | 1.263 | 143.4 | -1.099 | 889.783 | 35.653 | 5.3136
2020-02-09 01:15:00 | 1.549 | 220.18 | 1.317 | 200.007 | 3.718 | 193.967 | 5.769 | 182.933 | -1.119 | 889.567 | 34.565 | 5.0159
2020-02-09 01:30:00 | 0.65 | 241.187 | 2.567 | 198.606 | 3.252 | 175.517 | 3.679 | 170.533 | -2.667 | 889.567 | 34.699 | 3.0128
2020-02-09 01:45:00 | 0 | 7.789 | 0 | 237.468 | 1.336 | 182.9 | 3.311 | 174.9 | -2.291 | 889.7 | 36.912 | 1.4766
2020-02-09 02:00:00 | 0.249 | 162.808 | 0 | 159.108 | 1.028 | 187.267 | 1.384 | 175.933 | -1.028 | 890.067 | 37.488 | 0.31762
2020-02-09 02:15:00 | 2.473 | 157.527 | 1.614 | 155.35 | 2.277 | 191.333 | 2.68 | 174.567 | -0.975 | 889.833 | 35.424 | 1.2563
2020-02-09 02:30:00 | 2.027 | 205.247 | 1.746 | 139.394 | 2.006 | 140 | 2.043 | 140.833 | -2.961 | 889.683 | 33.728 | 4.5135
2020-02-09 02:45:00 | 1.929 | 160.587 | 2.252 | 116.553 | 2.876 | 133.633 | 3.517 | 136.933 | -1.362 | 889.367 | 33.728 | 6.1926
2020-02-09 03:00:00 | 0.676 | 176.793 | 0.456 | 171.467 | 2.453 | 188.9 | 3.731 | 180.5 | -0.975 | 889.45 | 31.472 | 8.2298
2020-02-09 03:15:00 | 2.807 | 143.073 | 2.966 | 133.002 | 2.921 | 142.167 | 3.388 | 150.433 | -1.816 | 889.75 | 32.203 | 8.7023
2020-02-09 03:30:00 | 0.807 | 200.007 | 1.306 | 129.19 | 2.624 | 106.9 | 2.966 | 117.4 | -2.201 | 889.767 | 32.736 | 5.9879
2020-02-09 03:45:00 | 1.41 | 172.32 | 2.379 | 119.134 | 3.194 | 108.1 | 3.331 | 117.7 | -2.691 | 890.067 | 34.149 | 7.8056
2020-02-09 04:00:00 | 2.598 | 163.2 | 2.669 | 126.9 | 2.489 | 133.1 | 3.11 | 140.067 | -1.042 | 889.833 | 30.629 | 17.8608
2020-02-09 04:15:00 | 1.81 | 181.34 | 2.234 | 142.066 | 3.21 | 146.167 | 4.234 | 143.7 | -2.764 | 889.95 | 32.896 | 21.7966
2020-02-09 04:30:00 | 0.183 | 156.567 | 2.566 | 137.717 | 3.377 | 148.667 | 4.038 | 149.467 | -3.204 | 889.783 | 34.485 | 17.7002
2020-02-09 04:45:00 | 2.554 | 147.347 | 4.512 | 139.093 | 4.762 | 143.467 | 4.748 | 142.633 | -3.494 | 889.65 | 36.277 | 15.8449
2020-02-09 05:00:00 | 3.701 | 159.307 | 4.18 | 135.419 | 4.387 | 142.533 | 4.713 | 143.167 | -1.68 | 889.967 | 31.723 | 11.244
2020-02-09 05:15:00 | 3.672 | 173.893 | 3.844 | 136.157 | 3.576 | 139.333 | 4.271 | 139.8 | -2.274 | 889.567 | 32.203 | 6.5571
2020-02-09 05:30:00 | 2.815 | 132.268 | 2.595 | 119.509 | 2.942 | 132.767 | 3.262 | 131.6 | -2.559 | 889.467 | 32.395 | 1.9548
2020-02-09 05:45:00 | 0 | 58.528 | 1.995 | 80.246 | 2.679 | 92.9 | 2.772 | 109.533 | -4.52 | 889.667 | 36.133 | 0.33823
2020-02-09 06:00:00 | 0.027 | 195.087 | 0.17 | 93.174 | 2.304 | 75 | 3.147 | 80.767 | -4.265 | 889.833 | 36.901 | 0.16769
2020-02-09 06:15:00 | 1.536 | 152.1 | 2.087 | 98.796 | 2.131 | 97.567 | 2.54 | 86.3 | -2.818 | 889.883 | 36.219 | 1.2641
2020-02-09 06:30:00 | 2.971 | 125.4 | 2.999 | 87.266 | 2.872 | 87.2 | 3.143 | 84.167 | -1.962 | 889.933 | 34.421 | 2.4991
2020-02-09 06:45:00 | 2.671 | 109.377 | 2.828 | 81.183 | 2.703 | 88.9 | 2.746 | 83.5 | -1.533 | 889.967 | 32.747 | 1.9889
2020-02-09 07:00:00 | 2.1 | 114.833 | 3.407 | 81.402 | 3.389 | 86.667 | 3.346 | 83.133 | -1.813 | 889.533 | 33.563 | 1.824
2020-02-09 07:15:00 | 1.594 | 137.157 | 1.245 | 97.981 | 1.603 | 91.467 | 1.986 | 85.267 | -2.902 | 889.667 | 36.288 | 1.8532
2020-02-09 07:30:00 | 2.407 | 125.93 | 2.838 | 100.503 | 2.146 | 101.533 | 2.196 | 88.9 | -2.7 | 890 | 35.691 | 6.5941
2020-02-09 07:45:00 | 4.348 | 108.633 | 4.693 | 98.662 | 3.855 | 97.967 | 4.191 | 91.4 | -2.386 | 889.967 | 31.04 | 7.5931
2020-02-09 08:00:00 | 4.654 | 117.59 | 4.739 | 106.008 | 4.558 | 107.367 | 5.035 | 104.333 | -1.638 | 890.067 | 32.555 | 7.6208
2020-02-09 08:15:00 | 4.046 | 123.027 | 4.248 | 105.802 | 4.315 | 112.133 | 4.74 | 108.433 | -1.149 | 889.717 | 31.013 | 7.7445
2020-02-09 08:30:00 | 3.852 | 121.277 | 4.06 | 101.127 | 3.581 | 103.067 | 3.653 | 96.6 | -2.888 | 889.85 | 34.565 | 4.7857
2020-02-09 08:45:00 | 2.157 | 128.393 | 3.007 | 97.867 | 2.407 | 94.333 | 2.582 | 98.1 | -3.244 | 889.6 | 35.568 | 2.5708
2020-02-09 09:00:00 | 2.019 | 141.2 | 2.83 | 97.27 | 2.35 | 94.433 | 2.245 | 90.367 | -3.037 | 889.983 | 34.571 | 1.8468
2020-02-09 09:15:00 | 1.277 | 149.03 | 2.523 | 94.772 | 3.054 | 92.333 | 2.906 | 89.567 | -2.357 | 890.083 | 34.219 | 1.6208
2020-02-09 09:30:00 | 2.068 | 123.497 | 2.372 | 91.583 | 2.343 | 95.033 | 2.674 | 96.033 | -1.909 | 889.533 | 33.061 | 1.8091
2020-02-09 09:45:00 | 2.35 | 144.387 | 3.126 | 100.769 | 2.768 | 96.033 | 2.779 | 94.967 | -1.195 | 889.45 | 30.752 | 2.9105
2020-02-09 10:00:00 | 2.836 | 118.873 | 2.963 | 92.091 | 2.67 | 101.3 | 2.96 | 98.633 | -1.416 | 890 | 30.555 | 2.0677
2020-02-09 10:15:00 | 1.692 | 37.526 | 3.107 | 73.734 | 3.415 | 85.267 | 3.472 | 84.467 | -1.663 | 889.55 | 31.232 | 1.9867
2020-02-09 10:30:00 | 2.895 | 59.847 | 3.308 | 71.564 | 3.142 | 89.533 | 2.984 | 96.833 | -0.802 | 889.633 | 30.672 | 2.4898
2020-02-09 10:45:00 | 3.127 | 51.71 | 3.931 | 64.359 | 3.781 | 81.633 | 3.407 | 91.467 | -0.688 | 889.717 | 31.003 | 2.3896
2020-02-09 11:00:00 | 3.177 | 77.467 | 3.287 | 79.012 | 2.854 | 86.933 | 2.747 | 88.067 | -0.658 | 889.883 | 30.603 | 2.2703
2020-02-09 11:15:00 | 4.014 | 71.038 | 3.901 | 68.77 | 3.957 | 80.333 | 3.387 | 82.5 | 0.482 | 889.967 | 30.448 | 1.9008
2020-02-09 11:30:00 | 2.968 | 69.875 | 2.681 | 71.426 | 2.527 | 82.7 | 2.675 | 87.4 | 0.632 | 889.533 | 30.608 | 3.0498
2020-02-09 11:45:00 | 3.79 | 77.26 | 3.738 | 76.523 | 3.566 | 89.267 | 3.077 | 93.467 | 1.326 | 889.8 | 30.192 | 6.0391
2020-02-09 12:00:00 | 4.033 | 77.032 | 4.06 | 74.485 | 4.133 | 84.467 | 4.057 | 84 | 1.982 | 890.15 | 28.832 | 8.0656
2020-02-09 12:15:00 | 5.002 | 80.363 | 4.957 | 74.257 | 5.232 | 83.233 | 5.229 | 79.933 | 2.267 | 889.65 | 28.725 | 14.5496
2020-02-09 12:30:00 | 5.48 | 77.513 | 5.656 | 73.454 | 5.684 | 80.2 | 5.834 | 76.933 | 2.114 | 889.45 | 29.909 | 22.3566
2020-02-09 12:45:00 | 6.282 | 83.213 | 6.221 | 80.718 | 6.031 | 84.633 | 6.05 | 81.867 | 1.902 | 889.933 | 30.784 | 22.6671
2020-02-09 13:00:00 | 6.087 | 79.2 | 6.2 | 74.695 | 6.285 | 79.967 | 6.361 | 77.1 | 2.065 | 889.683 | 33.109 | 23.5759
2020-02-09 13:15:00 | 6.407 | 82.537 | 6.831 | 77.502 | 6.856 | 81.1 | 6.79 | 78.733 | 1.649 | 889.8 | 34.571 | 22.525
2020-02-09 13:30:00 | 6.835 | 83.82 | 6.658 | 82.278 | 6.968 | 85.133 | 7.108 | 84.5 | 2.032 | 890.2 | 34.059 | 21.1827
2020-02-09 13:45:00 | 5.993 | 79.593 | 6.33 | 75.033 | 6.956 | 80.733 | 7.024 | 75.733 | 2.456 | 889.883 | 33.024 | 20.546
2020-02-09 14:00:00 | 6.2 | 77.5 | 6.185 | 73.395 | 6.483 | 76.733 | 6.562 | 73.633 | 3.722 | 889.367 | 30.688 | 19.024
2020-02-09 14:15:00 | 4.688 | 57.507 | 4.656 | 55.617 | 4.992 | 58.733 | 4.85 | 55.3 | 4.02 | 889.367 | 29.653 | 18.3561
2020-02-09 14:30:00 | 5.479 | 45.405 | 5.308 | 42.42 | 5.227 | 51 | 5.134 | 51.6 | 4.051 | 889.767 | 29.12 | 16.5789
2020-02-09 14:45:00 | 5.996 | 77.627 | 6.107 | 71.796 | 6.201 | 77.567 | 6.498 | 72.3 | 4.183 | 889.65 | 28.427 | 17.2121
2020-02-09 15:00:00 | 6.034 | 70.757 | 6.068 | 66.241 | 6.577 | 73.667 | 6.744 | 71.4 | 4.802 | 889.783 | 26.96 | 18.2431
2020-02-09 15:15:00 | 5.617 | 71.028 | 5.783 | 65.585 | 5.838 | 68.467 | 6.287 | 64.4 | 4.738 | 889.767 | 26.331 | 18.9728
2020-02-09 15:30:00 | 6.009 | 70.588 | 5.943 | 64.903 | 6.279 | 67.7 | 6.354 | 63.5 | 5.133 | 889.567 | 26.123 | 20.2924
2020-02-09 15:45:00 | 6.277 | 68.893 | 6.194 | 65.617 | 6.288 | 65.133 | 6.201 | 64.467 | 4.236 | 889.767 | 26.661 | 20.2398
2020-02-09 16:00:00 | 6.46 | 71.33 | 6.534 | 66.256 | 6.69 | 73.033 | 6.974 | 71.733 | 4.574 | 889.867 | 26.389 | 23.3222
2020-02-09 16:15:00 | 7.03 | 78.568 | 7.207 | 73.502 | 7.42 | 78.033 | 7.59 | 74.167 | 4.805 | 889.917 | 26.533 | 29.6129
2020-02-09 16:30:00 | 6.061 | 76.623 | 6.112 | 71.765 | 6.195 | 75 | 6.297 | 72.033 | 5.024 | 889.833 | 26.117 | 26.3514
2020-02-09 16:45:00 | 6.11 | 79.603 | 6.354 | 75.294 | 6.63 | 79.567 | 6.594 | 74.933 | 4.872 | 889.833 | 26.277 | 26.8182
2020-02-09 17:00:00 | 5.471 | 73.12 | 5.575 | 68.753 | 5.691 | 71.3 | 5.853 | 66.3 | 4.793 | 889.933 | 26.752 | 25.6984
2020-02-09 17:15:00 | 7.227 | 70.81 | 7.267 | 67.719 | 7.391 | 73.4 | 7.287 | 71.4 | 4.315 | 889.717 | 27.179 | 25.8554
2020-02-09 17:30:00 | 6.299 | 75.287 | 6.464 | 71.788 | 6.542 | 75.967 | 6.63 | 72.2 | 4.06 | 889.433 | 27.056 | 21.943
2020-02-09 17:45:00 | 6.426 | 85.82 | 5.974 | 80.552 | 5.877 | 86.367 | 6.042 | 78.5 | 3.908 | 889.833 | 27.259 | 17.8032
2020-02-09 18:00:00 | 5.916 | 72.467 | 6.066 | 68.898 | 6.331 | 73.667 | 6.295 | 70.267 | 3.639 | 889.35 | 27.952 | 17.4494
2020-02-09 18:15:00 | 6.205 | 84.433 | 6.167 | 80.481 | 6.514 | 86.033 | 6.499 | 79.233 | 3.438 | 889.733 | 28.203 | 14.465
2020-02-09 18:30:00 | 4.093 | 76.8 | 4.329 | 72.957 | 4.634 | 78.3 | 4.881 | 74.633 | 3.121 | 889.967 | 28.88 | 8.7698
2020-02-09 18:45:00 | 3.581 | 65.283 | 3.464 | 58.727 | 3.499 | 66.4 | 3.727 | 64.333 | 2.607 | 889.517 | 29.856 | 4.3266
2020-02-09 19:00:00 | 3.296 | 69.423 | 3.205 | 63.662 | 3.204 | 69.133 | 3.318 | 66.233 | 2.352 | 889.933 | 30.448 | 1.6542
2020-02-09 19:15:00 | 1.768 | 62.128 | 2.226 | 58.534 | 2.515 | 63.333 | 2.408 | 63.233 | 1.955 | 889.45 | 31.792 | 0.18688
2020-02-09 19:30:00 | 0.789 | 48.158 | 0.506 | 67.021 | 1.006 | 89 | 1.054 | 86 | 0.795 | 889.917 | 34.181 | 0.26433
2020-02-09 19:45:00 | 0.583 | 12.877 | 1.7 | 52.597 | 1.991 | 64.367 | 2.201 | 72 | 0.502 | 889.55 | 35.845 | 0.23591
2020-02-09 20:00:00 | 2.06 | 10.95 | 2.221 | 24.064 | 2.459 | 35 | 2.564 | 37.9 | 0.416 | 889.817 | 36.373 | 0.2487
2020-02-09 20:15:00 | 1.029 | 179.745 | 1.898 | 26.921 | 1.942 | 29.333 | 2.029 | 16.4 | 0.034 | 889.6 | 35.829 | 0.26433
2020-02-09 20:30:00 | 1.148 | 186.333 | 0.027 | 114.644 | 0.629 | 50.933 | 1.152 | 45.133 | -0.17 | 889.667 | 36.128 | 0.21033
2020-02-09 20:45:00 | 1.682 | 185.94 | 0.45 | 138.723 | 0.789 | 112.933 | 1.663 | 81.5 | 0.1 | 889.317 | 35.984 | 0.21317
2020-02-09 21:00:00 | 2.667 | 210.967 | 0.79 | 207.65 | 0.903 | 109.267 | 1.619 | 72 | -0.618 | 889.367 | 37.067 | 0.21459
2020-02-09 21:15:00 | 2.817 | 209.1 | 1.73 | 195.693 | 1.233 | 203.867 | 0.914 | 129.8 | -0.698 | 889.683 | 36.795 | 0.22454
2020-02-09 21:30:00 | 1.665 | 177.78 | 0.725 | 148.316 | 1.032 | 108.1 | 1.273 | 61.367 | -0.083 | 889.9 | 36.117 | 0.21459
2020-02-09 21:45:00 | 1.752 | 210.087 | 0 | 38.113 | 0 | 52 | 0 | 61 | -0.223 | 889.633 | 35.712 | 0.21033
2020-02-09 22:00:00 | 2.022 | 204.827 | 0 | 79.093 | 0.976 | 107.967 | 1.951 | 76.3 | -0.502 | 889.533 | 36.299 | 0.23164
2020-02-09 22:15:00 | 1.792 | 204.153 | 0.303 | 113.278 | 1.622 | 130.3 | 2.798 | 89.667 | -0.262 | 890.117 | 35.509 | 0.25154
2020-02-09 22:30:00 | 2.61 | 191.833 | 1.213 | 139.146 | 1.922 | 106.167 | 2.782 | 95.833 | 0.432 | 889.767 | 34.944 | 0.24728
2020-02-09 22:45:00 | 2.798 | 190.28 | 1.093 | 148.978 | 1.707 | 103.5 | 2.526 | 87.533 | -0.369 | 889.633 | 35.157 | 0.21885
2020-02-09 23:00:00 | 2.926 | 196.147 | 1.077 | 150.266 | 1.56 | 128.767 | 2.33 | 107.467 | 0.282 | 889.433 | 33.397 | 0.24017
2020-02-09 23:15:00 | 2.643 | 192.167 | 0.8 | 134.698 | 2.118 | 115.9 | 2.836 | 104.133 | 0.382 | 889.867 | 33.072 | 0.22312
2020-02-09 23:30:00 | 1.11 | 212.187 | 0 | 130.485 | 1.44 | 92.7 | 2.65 | 84.8 | 0.047 | 889.967 | 32.768 | 0.15206
2020-02-09 23:45:00 | 1.092 | 166.907 | 0.626 | 108.447 | 2.042 | 105.5 | 2.745 | 96.667 | 0.216 | 888.517 | 33.552 | 0.40786