## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-10 00:00:00 | 2.806 | 196.987 | 1.755 | 175.119 | 1.873 | 163.8 | 2.394 | 144.867 | -0.083 | 889.9 | 33.312 | 0.20322
2020-02-10 00:15:00 | 1.949 | 188.753 | 0.467 | 153.654 | 2.043 | 135.833 | 2.216 | 122.6 | -0.425 | 889.817 | 33.515 | 0.18191
2020-02-10 00:30:00 | 2.875 | 205.347 | 1.428 | 150.156 | 1.811 | 139.867 | 2.108 | 126.433 | -1.196 | 889.933 | 34.229 | 0.23946
2020-02-10 00:45:00 | 2.358 | 203.627 | 1.213 | 133.481 | 1.564 | 113.333 | 1.722 | 104.133 | -1.412 | 889.517 | 33.275 | 0.21459
2020-02-10 01:00:00 | 2.06 | 190.967 | 1.524 | 126.212 | 1.583 | 113.1 | 2.184 | 104.1 | -0.598 | 889.467 | 31.536 | 0.25012
2020-02-10 01:15:00 | 0 | 203.793 | 0.036 | 119.82 | 1.786 | 56.3 | 2.436 | 64.867 | -0.482 | 889.7 | 31.243 | 0.22596
2020-02-10 01:30:00 | 1.253 | 186.36 | 1.213 | 91.88 | 2.117 | 77.7 | 2.421 | 70.833 | -0.975 | 889.417 | 31.621 | 0.22738
2020-02-10 01:45:00 | 0.063 | 162.847 | 0.16 | 61.056 | 0.818 | 55 | 1.468 | 65.867 | -0.612 | 889.567 | 32.752 | 0.21601
2020-02-10 02:00:00 | 0.722 | 125.913 | 0.467 | 61.17 | 1.625 | 74.9 | 1.981 | 81.033 | -1.232 | 889.55 | 34.635 | 0.21743
2020-02-10 02:15:00 | 0.559 | 233.727 | 0 | 63.141 | 0 | 75 | 0 | 81.8 | -1.513 | 889.483 | 34.165 | 0.21885
2020-02-10 02:30:00 | 0.027 | 289.707 | 0.033 | 14.035 | 0.313 | 37.975 | 0.931 | 77.9 | -1.326 | 889.583 | 35.643 | 0.22454
2020-02-10 02:45:00 | 1.436 | 275.6 | 0 | 0 | 0.053 | 38 | 0.171 | 78.867 | -1.839 | 889.583 | 35.419 | 0.21743
2020-02-10 03:00:00 | 0.803 | 288.533 | 0.143 | 31.062 | 1.418 | 68.283 | 1.938 | 78.5 | -2.221 | 889.917 | 36.016 | 0.21104
2020-02-10 03:15:00 | 0.15 | 268.053 | 0.027 | 65.982 | 1.632 | 88.667 | 2.558 | 87 | -2.349 | 889.45 | 36.837 | 0.24799
2020-02-10 03:30:00 | 2.899 | 221.513 | 0.04 | 100.276 | 1.543 | 116.967 | 2.551 | 107.533 | -2.618 | 888.05 | 36.624 | 0.097348
2020-02-10 03:45:00 | 3.044 | 206.987 | 1.357 | 146.402 | 2.349 | 133.233 | 3.27 | 114.133 | -2.17 | 889.967 | 34.597 | 0.21246
2020-02-10 04:00:00 | 3.37 | 202.12 | 1.743 | 162.963 | 2.117 | 136 | 3.095 | 109.6 | -2.217 | 889.683 | 34.251 | 0.25651
2020-02-10 04:15:00 | 3.421 | 208.493 | 2.247 | 178.636 | 2.294 | 153.133 | 2.513 | 128.367 | -3.177 | 884.65 | 36.165 | 0.20251
2020-02-10 04:30:00 | 2.253 | 198.847 | 1.057 | 143.062 | 1.991 | 133.367 | 2.895 | 113.733 | -2.888 | 886.85 | 34.587 | 0.24515
2020-02-10 04:45:00 | 1.684 | 227.427 | 0.49 | 199.494 | 1.093 | 164.2 | 1.458 | 144.067 | -1.928 | 887.883 | 32.672 | 0.23307
2020-02-10 05:00:00 | 1.703 | 262.027 | 0.09 | 179.076 | 0.624 | 96.358 | 1.556 | 76.4 | -2.406 | 885.95 | 32.389 | 0.24728
2020-02-10 05:15:00 | 1.455 | 196.14 | 0.77 | 164.599 | 0.91 | 122.267 | 2.197 | 113.8 | -2.423 | 875.733 | 33.563 | 0.22596
2020-02-10 05:30:00 | 2.598 | 235.867 | 0.323 | 204.076 | 0.033 | 38 | 0.679 | 25.4 | -3.291 | 866.467 | 33.2 | 0.21459
2020-02-10 05:45:00 | 3.04 | 238.56 | 0.173 | 236.095 | 0 | 37 | 0 | 52 | -2.367 | 862.85 | 32.277 | 0.21459
2020-02-10 06:00:00 | 3.275 | 243.16 | 0.654 | 244.498 | 0.023 | 260 | 0 | 52.121 | -2.911 | 869.1 | 32.672 | 0.21317
2020-02-10 06:15:00 | 3.422 | 249.473 | 1.763 | 264.547 | 0.719 | 274.3 | 0 | 49 | -3.167 | 864.817 | 33.56 | 0.21885
2020-02-10 06:30:00 | 2.494 | 271.907 | 0.735 | 294.771 | 0.053 | 274.233 | 0 | 48.867 | -2.742 | 872.1 | 33.504 | 0.21459
2020-02-10 06:45:00 | 2.847 | 250.573 | 0.985 | 250.001 | 0.286 | 274.067 | 0.114 | 49.067 | -2.584 | 870.667 | 33.328 | 0.21459
2020-02-10 07:00:00 | 2.406 | 257.007 | 0.336 | 257.125 | 0 | 247.1 | 0 | 51 | -2.158 | 881.033 | 33.371 | 0.21317
2020-02-10 07:15:00 | 3.755 | 261.413 | 2.256 | 293.254 | 1.672 | 290.6 | 0.95 | 49.067 | -2.296 | 882.367 | 33.285 | 0.23164
2020-02-10 07:30:00 | 4.832 | 242.847 | 2.803 | 280.959 | 2.037 | 306.6 | 1.183 | 340.9 | -4.762 | 868.217 | 35.043 | 0.21459
2020-02-10 07:45:00 | 4.112 | 252.893 | 2.897 | 292.786 | 2.493 | 300.733 | 2.18 | 312.967 | -5.107 | 869.167 | 37.859 | 0.24444
2020-02-10 08:00:00 | 4.192 | 249.347 | 2.78 | 285.199 | 2.409 | 292.1 | 1.653 | 290.067 | -5.308 | 863.6 | 38.717 | 0.22738
2020-02-10 08:15:00 | 4.221 | 237.287 | 2.306 | 283.025 | 2.211 | 288.133 | 1.186 | 290.933 | -4.772 | 865.067 | 37.867 | 0.23022
2020-02-10 08:30:00 | 3.97 | 245.12 | 3.16 | 271.539 | 2.72 | 281.533 | 2.005 | 287.233 | -4.17 | 875.983 | 37.221 | 0.25296
2020-02-10 08:45:00 | 4.637 | 228.767 | 3.218 | 255.473 | 3.076 | 255.3 | 1.684 | 256.067 | -3.657 | 885.017 | 35.565 | 0.23591
2020-02-10 09:00:00 | 4.558 | 232.433 | 3.008 | 241.578 | 2.594 | 237.667 | 1.871 | 236.8 | -3.471 | 889.783 | 34.661 | 0.22738
2020-02-10 09:15:00 | 5.166 | 227.16 | 2.599 | 252.95 | 2.052 | 240.3 | 1.59 | 223.117 | -4.003 | 889.617 | 33.957 | 0.21317
2020-02-10 09:30:00 | 4.266 | 233.553 | 2.662 | 247.057 | 0.917 | 224.967 | 1.37 | 222.8 | -2.217 | 889.717 | 32.517 | 0.21601
2020-02-10 09:45:00 | 5.039 | 230.853 | 3.227 | 246.936 | 2.233 | 240.433 | 0.951 | 222 | -2.068 | 889.867 | 29.275 | 0.21459
2020-02-10 10:00:00 | 5.262 | 226.767 | 3.999 | 240.641 | 2.894 | 246.2 | 1.448 | 223.033 | -3.889 | 889.567 | 31.019 | 0.21459
2020-02-10 10:15:00 | 4.569 | 213.693 | 3.21 | 235.711 | 2.739 | 245.367 | 0.97 | 235.133 | -4.169 | 890.15 | 33.509 | 0.22312
2020-02-10 10:30:00 | 3.665 | 216.053 | 1.97 | 242.619 | 1.926 | 252 | 0.926 | 258.067 | -2.797 | 889.8 | 32.405 | 0.21317
2020-02-10 10:45:00 | 3.71 | 215.8 | 2.334 | 231.12 | 2.173 | 248.533 | 1.855 | 257.333 | -2.328 | 889.467 | 33.301 | 0.21459
2020-02-10 11:00:00 | 1.415 | 220.68 | 0.236 | 211.544 | 0.286 | 223.233 | 0.295 | 252.267 | 1.282 | 889.683 | 30 | 0.2217
2020-02-10 11:15:00 | 0.53 | 63.082 | 1.224 | 96.877 | 1.869 | 75.733 | 1.968 | 76.767 | 1.519 | 889.75 | 28.72 | 0.24586
2020-02-10 11:30:00 | 1.677 | 49.109 | 1.612 | 176.543 | 2.421 | 35.2 | 2.533 | 2 | 1.473 | 889.633 | 25.147 | 0.2217
2020-02-10 11:45:00 | 1.907 | 314.72 | 1.548 | 324.942 | 1.827 | 346.133 | 1.881 | 11.9 | 1.152 | 889.4 | 25.563 | 0.22738
2020-02-10 12:00:00 | 2.457 | 317.213 | 2.177 | 316.936 | 2.474 | 321.933 | 2.556 | 325.8 | 2.019 | 889.65 | 25.123 | 0.23307
2020-02-10 12:15:00 | 1.739 | 320.76 | 1.024 | 309.547 | 1.133 | 316.833 | 1.361 | 320.7 | 2.652 | 890.05 | 23.691 | 0.21743
2020-02-10 12:30:00 | 1.142 | 333.067 | 0.533 | 318.578 | 1.019 | 322.133 | 1.025 | 322.2 | 3.588 | 889.817 | 22.957 | 0.23875
2020-02-10 12:45:00 | 2.571 | 138.667 | 2.524 | 312.512 | 2.85 | 312.033 | 2.907 | 335.1 | 3.455 | 889.717 | 23.467 | 0.2352
2020-02-10 13:00:00 | 1.837 | 79.1 | 1.667 | 19.94 | 1.766 | 12.235 | 1.642 | 30.833 | 3.454 | 889.633 | 23.053 | 0.22454
2020-02-10 13:15:00 | 2.272 | 73.396 | 2.202 | 121.353 | 2.42 | 55.403 | 2.365 | 6.133 | 4.091 | 889.95 | 22.581 | 0.22596
2020-02-10 13:30:00 | 2.933 | 13.003 | 2.711 | 8.655 | 2.826 | 11.967 | 2.87 | 11.433 | 3.771 | 889.65 | 23.157 | 0.17622
2020-02-10 13:45:00 | 2.48 | 33.317 | 2.196 | 27.49 | 2.537 | 22.4 | 2.63 | 14.467 | 4.285 | 889.75 | 23.637 | 0.20038
2020-02-10 14:00:00 | 1.99 | 104.27 | 1.685 | 111.365 | 2.134 | 91.969 | 1.917 | 98.6 | 4.503 | 889.883 | 22.475 | 0.16983
2020-02-10 14:15:00 | 2.553 | 63.379 | 2.153 | 79.973 | 2.191 | 35.633 | 2.238 | 42.367 | 5.113 | 889.717 | 23.032 | 0.19612
2020-02-10 14:30:00 | 1.633 | 215.738 | 1.291 | 257.468 | 1.837 | 159.67 | 1.956 | 106.067 | 5.445 | 889.667 | 23.005 | 0.2487
2020-02-10 14:45:00 | 1.169 | 70.141 | 0.747 | 39.868 | 0.92 | 6.802 | 0.752 | 21.867 | 5.426 | 889.833 | 22.232 | 0.21601
2020-02-10 15:00:00 | 1.873 | 46.45 | 1.223 | 37.786 | 1.453 | 28.267 | 1.596 | 27.333 | 5.695 | 889.867 | 21.173 | 0.20749
2020-02-10 15:15:00 | 1.584 | 31.809 | 1.05 | 37.914 | 2.005 | 164.733 | 1.989 | 84.733 | 5.862 | 889.717 | 20.723 | 0.17764
2020-02-10 15:30:00 | 1.908 | 69.86 | 1.82 | 134.768 | 2.293 | 80.8 | 2.54 | 9.767 | 6.001 | 889.933 | 21.176 | 0.092374
2020-02-10 15:45:00 | 2.012 | 14.767 | 1.546 | 48.364 | 1.781 | 58.333 | 1.996 | 128.2 | 6.135 | 889.6 | 21.899 | 0.13217
2020-02-10 16:00:00 | 1.959 | 266.493 | 1.682 | 274.891 | 2.068 | 210.535 | 2.108 | 217.4 | 6.472 | 889.733 | 22.528 | 0.23875
2020-02-10 16:15:00 | 1.842 | 60.639 | 1.434 | 23.509 | 1.939 | 32.667 | 2.208 | 44 | 6.058 | 889.717 | 23.053 | 0.1549
2020-02-10 16:30:00 | 1.356 | 39.777 | 1.067 | 82.501 | 1.51 | 168 | 1.966 | 84.533 | 6.571 | 889.667 | 23.296 | 0.22454
2020-02-10 16:45:00 | 0.981 | 293.334 | 0.273 | 295.389 | 0.893 | 307.2 | 1.079 | 309.667 | 6.452 | 890.05 | 22.808 | 0.18475
2020-02-10 17:00:00 | 0.476 | 348.96 | 0.033 | 338.886 | 0.575 | 338 | 1.295 | 176.5 | 6.781 | 890.033 | 22.224 | 0.18617
2020-02-10 17:15:00 | 0.233 | 0 | 0 | 336.657 | 0.808 | 315.4 | 1.443 | 322.567 | 6.933 | 889.65 | 21.899 | 0.18191
2020-02-10 17:30:00 | 1.275 | 100.27 | 0.46 | 190.47 | 1.036 | 323.533 | 1.185 | 310.6 | 6.96 | 889.75 | 21.715 | 0.17764
2020-02-10 17:45:00 | 2.08 | 333.187 | 1.999 | 324.171 | 2.56 | 326.467 | 2.625 | 324.667 | 6.852 | 889.783 | 21.355 | 0.18475
2020-02-10 18:00:00 | 2.958 | 313.747 | 2.723 | 314.167 | 2.897 | 319.967 | 3.01 | 317.6 | 6.926 | 889.583 | 21.101 | 0.13572
2020-02-10 18:15:00 | 2.277 | 199.787 | 2.163 | 349.274 | 2.417 | 268.2 | 2.652 | 353.567 | 6.743 | 889.667 | 21.429 | 0.46755
2020-02-10 18:30:00 | 2.958 | 28.372 | 2.631 | 19.387 | 2.596 | 19.1 | 2.462 | 12.9 | 6.456 | 889.817 | 22.624 | 0.1208
2020-02-10 18:45:00 | 2.46 | 32.79 | 2.526 | 27.032 | 2.731 | 31.1 | 2.795 | 23.4 | 5.333 | 889.667 | 24.635 | 0.08811
2020-02-10 19:00:00 | 2.785 | 37.714 | 2.923 | 25.045 | 3.324 | 27.733 | 3.306 | 23.6 | 4.802 | 889.967 | 26.768 | 0.11014
2020-02-10 19:15:00 | 1.862 | 25.577 | 2.749 | 21.133 | 3.066 | 17.2 | 2.367 | 18 | 4.226 | 889.883 | 28.016 | 0.23733
2020-02-10 19:30:00 | 1.073 | 72 | 0.896 | 44.13 | 1.765 | 46.7 | 1.84 | 37 | 3.639 | 889.217 | 29.216 | 0.17764
2020-02-10 19:45:00 | 1.578 | 97.067 | 0.106 | 46.848 | 0.53 | 61 | 0.759 | 37 | 3.404 | 889.517 | 29.611 | 0.1748
2020-02-10 20:00:00 | 2.244 | 137.067 | 1.913 | 104.095 | 1.834 | 96.433 | 1.868 | 80 | 3.321 | 890.1 | 29.701 | 0.18475
2020-02-10 20:15:00 | 2.253 | 149.72 | 0.723 | 115.863 | 0.886 | 97 | 1.222 | 80.067 | 3.25 | 890.033 | 30.373 | 0.1947
2020-02-10 20:30:00 | 1.823 | 167.107 | 0 | 133.484 | 0 | 97 | 0.1 | 80 | 2.456 | 889.8 | 31.067 | 0.20464
2020-02-10 20:45:00 | 1.806 | 185.407 | 0 | 133.531 | 0 | 34.5 | 0.484 | 0.133 | 2.118 | 889.733 | 32.096 | 0.1947
2020-02-10 21:00:00 | 2.139 | 207.367 | 0 | 133.508 | 0 | 0.133 | 1.346 | 0 | 2.078 | 890.283 | 32.315 | 0.20464
2020-02-10 21:15:00 | 1.908 | 225.84 | 0.177 | 221.126 | 1.366 | 248.4 | 2.274 | 333.8 | 1.919 | 889.75 | 32.533 | 1.3714
2020-02-10 21:30:00 | 2.188 | 259.647 | 1.526 | 297.721 | 2.395 | 311.667 | 3.28 | 317.933 | 2.054 | 889.6 | 32.528 | 1.9505
2020-02-10 21:45:00 | 2.702 | 258.807 | 1.925 | 290.933 | 2.405 | 300.9 | 2.819 | 308.967 | 2.041 | 889.75 | 32.387 | 0.35386
2020-02-10 22:00:00 | 4.114 | 227.513 | 2.507 | 258.794 | 2.797 | 272.8 | 2.974 | 278.533 | 0.748 | 889.533 | 33.867 | 1.3749
2020-02-10 22:15:00 | 4.268 | 241.013 | 3.45 | 259.829 | 3.575 | 274.2 | 3.846 | 277.667 | 1.139 | 889.667 | 33.693 | 4.343
2020-02-10 22:30:00 | 4.211 | 252.54 | 4.048 | 276.258 | 4.177 | 286.2 | 4.671 | 290.5 | 0.582 | 889.85 | 34.144 | 6.0093
2020-02-10 22:45:00 | 4.774 | 251.433 | 4.412 | 271.92 | 4.52 | 281.9 | 4.748 | 285.367 | 0.449 | 890.133 | 34.293 | 6.2352
2020-02-10 23:00:00 | 4.5 | 257.213 | 4.148 | 270.894 | 4.234 | 282.2 | 4.692 | 284.7 | 0.282 | 890.05 | 34.261 | 5.4472
2020-02-10 23:15:00 | 4.774 | 246.393 | 4.305 | 263.12 | 4.384 | 274.933 | 4.679 | 276.1 | -0.892 | 889.917 | 36.429 | 6.5301
2020-02-10 23:30:00 | 6.29 | 224.733 | 5.452 | 255.654 | 5.133 | 266.933 | 5.207 | 268.8 | -2.663 | 889.667 | 41.027 | 6.825
2020-02-10 23:45:00 | 6.072 | 214.033 | 4.612 | 244.423 | 4.41 | 253.733 | 4.177 | 254.35 | -3.572 | 889.917 | 44.981 | 6.5059