## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-11 00:00:00 | 6.937 | 210.233 | 5.345 | 220.992 | 4.613 | 226.933 | 4.267 | 224.667 | -3.907 | 889.967 | 47.232 | 7.1163
2020-02-11 00:15:00 | 5.838 | 211.473 | 5.418 | 217.26 | 5.262 | 221.367 | 4.802 | 219.133 | -4.192 | 889.867 | 47.243 | 2.9027
2020-02-11 00:30:00 | 5.79 | 211.433 | 4.421 | 220.846 | 4.06 | 228.967 | 3.74 | 223.8 | -3.773 | 889.817 | 47.403 | 0.38299
2020-02-11 00:45:00 | 6.264 | 211.433 | 4.655 | 206.81 | 4.342 | 206.8 | 4.189 | 204.633 | -3.321 | 889.808 | 45.92 | 0.86973
2020-02-11 01:00:00 | 5.704 | 203.5 | 5.02 | 200.345 | 4.149 | 201.867 | 3.786 | 196.2 | -3.656 | 889.867 | 46.304 | 0.12932
2020-02-11 01:15:00 | 5.028 | 211.7 | 4.601 | 202.665 | 3.664 | 201 | 3.084 | 195.567 | -3.622 | 889.983 | 46.421 | 0.21885
2020-02-11 01:30:00 | 4.503 | 213.133 | 3.155 | 199.526 | 2.747 | 184.633 | 2.365 | 162.8 | -3.689 | 889.725 | 46.251 | 0.21885
2020-02-11 01:45:00 | 4.115 | 205.347 | 1.714 | 192.549 | 2.031 | 173.467 | 1.884 | 156.833 | -3.83 | 890.317 | 45.323 | 0.21459
2020-02-11 02:00:00 | 3.158 | 210.16 | 0 | 127.127 | 1.02 | 85.7 | 1.108 | 134 | -2.47 | 889.8 | 42.309 | 0.22028
2020-02-11 02:15:00 | 1.603 | 197.64 | 0 | 128.379 | 1.267 | 47 | 1.455 | 129.6 | -0.875 | 889.6 | 37.232 | 0.24444
2020-02-11 02:30:00 | 1.976 | 195.84 | 0 | 111.215 | 0.086 | 22.867 | 0.97 | 45 | -0.169 | 889.933 | 36.016 | 0.21743
2020-02-11 02:45:00 | 2.43 | 183.36 | 0 | 147.451 | 0 | 23.067 | 0.101 | 44.967 | 0.732 | 889.983 | 33.952 | 0.21885
2020-02-11 03:00:00 | 2.49 | 183.193 | 0 | 147.379 | 0 | 89 | 0.037 | 47 | 0.549 | 889.817 | 33.189 | 0.22312
2020-02-11 03:15:00 | 3.724 | 190.56 | 1.453 | 163.1 | 0.513 | 89 | 0 | 46.833 | 0.366 | 890.033 | 32.933 | 0.23591
2020-02-11 03:30:00 | 3 | 185.973 | 1.916 | 139.306 | 2.03 | 116.933 | 1.771 | 82.3 | -0.066 | 889.567 | 34.101 | 0.21601
2020-02-11 03:45:00 | 2.268 | 200.84 | 0.37 | 131.545 | 0.966 | 113 | 1.374 | 93.033 | -0.066 | 889.4 | 34.059 | 0.21459
2020-02-11 04:00:00 | 3.272 | 224.793 | 0 | 134.608 | 0 | 113 | 0 | 92.9 | 0.249 | 889.95 | 34.843 | 0.21743
2020-02-11 04:15:00 | 2.69 | 216.327 | 0.097 | 192.531 | 0 | 112.867 | 0.544 | 93 | 0.515 | 889.667 | 34.08 | 0.21601
2020-02-11 04:30:00 | 1.982 | 215.253 | 0 | 218.123 | 0 | 200.833 | 1.162 | 93 | 0.965 | 889.717 | 33.648 | 0.21459
2020-02-11 04:45:00 | 3.472 | 214.147 | 0.891 | 211.272 | 0.356 | 120.067 | 0.084 | 93 | 0.166 | 890.15 | 35.088 | 0.21885
2020-02-11 05:00:00 | 4.135 | 212.593 | 1.914 | 216.508 | 1.591 | 221 | 0.954 | 206 | 0.15 | 889.567 | 35.248 | 0.21459
2020-02-11 05:15:00 | 5.153 | 212.467 | 1.678 | 203.594 | 0.737 | 220.933 | 0.144 | 206 | -3.572 | 889.492 | 41.605 | 0.23307
2020-02-11 05:30:00 | 4.386 | 215.32 | 2.332 | 221.076 | 1.457 | 232.8 | 0.366 | 206 | -2.215 | 877.708 | 41.397 | 0.23591
2020-02-11 05:45:00 | 4.252 | 225.387 | 1.09 | 216.504 | 1.575 | 249.833 | 1.871 | 235.233 | -0.635 | 889.883 | 37.312 | 0.24017
2020-02-11 06:00:00 | 4.399 | 227.187 | 0.573 | 217.216 | 0.26 | 266 | 1.452 | 286 | -1.978 | 889.967 | 39.397 | 0.22454
2020-02-11 06:15:00 | 4.995 | 214.76 | 2.409 | 200.114 | 1.903 | 214.567 | 1.821 | 240.8 | -1.62 | 884.067 | 37.941 | 0.23449
2020-02-11 06:30:00 | 4.742 | 208.413 | 4.367 | 215.797 | 3.622 | 221.133 | 2.915 | 215.133 | -1.195 | 889.75 | 36.155 | 0.17125
2020-02-11 06:45:00 | 6.345 | 223.94 | 4.202 | 224.007 | 2.673 | 232.933 | 1.472 | 231.267 | -3.015 | 878.6 | 38.821 | 0.1883
2020-02-11 07:00:00 | 6.454 | 225.733 | 4.765 | 232.636 | 3.585 | 240.867 | 2.377 | 241.2 | -5.124 | 866.542 | 44.16 | 0.15917
2020-02-11 07:15:00 | 6.392 | 212.887 | 4.456 | 217.219 | 3.361 | 215.8 | 2.26 | 214.567 | -2.05 | 870.15 | 37.349 | 0.61606
2020-02-11 07:30:00 | 5.086 | 191.7 | 4.464 | 170.214 | 4.186 | 176.933 | 4.209 | 181 | -4.015 | 865.567 | 38.619 | 1.6869
2020-02-11 07:45:00 | 4.797 | 174.567 | 3.843 | 153.001 | 3.696 | 151.067 | 3.775 | 148.167 | 0.246 | 861.933 | 34.128 | 4.2108
2020-02-11 08:00:00 | 5.263 | 189.533 | 3.67 | 158.902 | 3.118 | 154.067 | 2.733 | 142.533 | -3.559 | 865.7 | 37.296 | 9.425
2020-02-11 08:15:00 | 5.16 | 174.033 | 4.73 | 149.73 | 3.587 | 150.733 | 3.756 | 143.9 | -3.225 | 861.867 | 39.456 | 12.7547
2020-02-11 08:30:00 | 4.45 | 172.213 | 5.469 | 158.094 | 4.646 | 155.433 | 4.223 | 146.033 | -2.626 | 861.917 | 37.472 | 16.3047
2020-02-11 08:45:00 | 6.316 | 174.953 | 5.235 | 157.401 | 4.354 | 158.467 | 5.103 | 147.833 | -1.781 | 861.55 | 37.877 | 11.3705
2020-02-11 09:00:00 | 4.972 | 180.38 | 5.012 | 148.062 | 4.134 | 144.367 | 3.716 | 133.733 | -2.73 | 867.533 | 38.683 | 9.9522
2020-02-11 09:15:00 | 5.119 | 193.1 | 5.255 | 161.644 | 4.082 | 149.267 | 3.275 | 135.867 | -2.988 | 871.967 | 40.299 | 13.1945
2020-02-11 09:30:00 | 5.851 | 193.733 | 5.659 | 177.335 | 4.261 | 170.167 | 3.924 | 154.433 | -3.812 | 866.708 | 43.019 | 15.4093
2020-02-11 09:45:00 | 6.487 | 186.167 | 5.996 | 174.152 | 4.168 | 172.433 | 4.566 | 158.833 | -2.156 | 883.208 | 40.544 | 19.6322
2020-02-11 10:00:00 | 5.685 | 187.98 | 5.017 | 174.175 | 3.997 | 166.667 | 3.854 | 154.033 | -0.149 | 889.383 | 36.325 | 12.7049
2020-02-11 10:15:00 | 5.623 | 181.527 | 4.909 | 174.607 | 3.52 | 168.267 | 3.64 | 155.7 | 0.882 | 889.45 | 33.563 | 11.7563
2020-02-11 10:30:00 | 5.104 | 179.613 | 5.02 | 173.792 | 3.604 | 173.833 | 3.506 | 156.733 | 1.406 | 889.817 | 32.32 | 8.9951
2020-02-11 10:45:00 | 4.618 | 177.247 | 4.347 | 173.202 | 3.104 | 170.567 | 3.128 | 156.167 | 2.352 | 889.867 | 30.512 | 6.7227
2020-02-11 11:00:00 | 3.893 | 170.833 | 3.278 | 167.12 | 2.954 | 162.533 | 3.178 | 147.033 | 3.071 | 889.85 | 28.965 | 3.938
2020-02-11 11:15:00 | 2.233 | 156.58 | 2.13 | 148.284 | 2.59 | 146 | 2.56 | 135 | 4.014 | 889.783 | 27.397 | 0.70204
2020-02-11 11:30:00 | 2.234 | 131.08 | 1.932 | 129.779 | 2.206 | 132.033 | 2.298 | 119.133 | 5.025 | 889.65 | 25.344 | 0.33894
2020-02-11 11:45:00 | 3.392 | 70.38 | 3.374 | 65.466 | 3.295 | 76.7 | 3.227 | 78.7 | 5.074 | 889.767 | 25.984 | 0.74823
2020-02-11 12:00:00 | 4.336 | 72.54 | 4.107 | 66.593 | 4.312 | 73.5 | 4.377 | 71.933 | 5.329 | 889.833 | 25.083 | 3.9387
2020-02-11 12:15:00 | 6.13 | 67.34 | 5.963 | 65.01 | 6.15 | 71.4 | 6.147 | 71 | 5.405 | 889.683 | 25.803 | 13.9726
2020-02-11 12:30:00 | 6.567 | 78.977 | 6.358 | 76.787 | 6.572 | 80.033 | 6.692 | 77.3 | 4.961 | 889.85 | 26.448 | 21.3582
2020-02-11 12:45:00 | 6.573 | 92.927 | 6.307 | 88.201 | 5.918 | 90.333 | 5.643 | 89.3 | 5.16 | 889.633 | 26.016 | 31.7943
2020-02-11 13:00:00 | 6.651 | 90.463 | 6.551 | 86.704 | 6.332 | 90.667 | 5.91 | 83 | 5.113 | 889.767 | 26.56 | 31.8732
2020-02-11 13:15:00 | 7.26 | 77.262 | 7.188 | 76.903 | 7.181 | 80.533 | 7.6 | 76.5 | 5.514 | 889.483 | 26.608 | 32.7756
2020-02-11 13:30:00 | 6.106 | 40.412 | 5.901 | 35.846 | 6.108 | 40.733 | 6.15 | 38.933 | 4.785 | 889.867 | 26.672 | 14.9304
2020-02-11 13:45:00 | 5.281 | 42.354 | 5.032 | 41.783 | 4.971 | 47.567 | 5.067 | 45.1 | 4.335 | 889.4 | 27.152 | 12.155
2020-02-11 14:00:00 | 4.984 | 63.445 | 4.693 | 57.953 | 4.69 | 59.133 | 4.762 | 57.2 | 4.07 | 889.533 | 27.979 | 12.1308
2020-02-11 14:15:00 | 4.249 | 45.309 | 3.906 | 39.104 | 4.029 | 44.2 | 4.179 | 39.467 | 3.959 | 889.417 | 28.667 | 6.4257
2020-02-11 14:30:00 | 3.816 | 42.754 | 3.784 | 27.396 | 4.269 | 33.033 | 4.352 | 29.267 | 3.889 | 889.883 | 29.275 | 5.6476
2020-02-11 14:45:00 | 4.62 | 37.9 | 4.323 | 35.348 | 4.348 | 40.433 | 4.162 | 35.033 | 3.254 | 889.883 | 30.203 | 3.2295
2020-02-11 15:00:00 | 3.358 | 34.642 | 3.154 | 30.474 | 3.172 | 34.7 | 3.053 | 28.933 | 2.868 | 889.733 | 31.163 | 0.25225
2020-02-11 15:15:00 | 2.507 | 55.468 | 2.136 | 53.323 | 2.122 | 59.833 | 2.032 | 50.9 | 2.908 | 889.983 | 30.331 | 0.26078
2020-02-11 15:30:00 | 1.603 | 41.667 | 1.189 | 54.102 | 1.527 | 72.467 | 1.344 | 66.333 | 3.221 | 889.717 | 29.301 | 0.23591
2020-02-11 15:45:00 | 2.464 | 63.7 | 2.485 | 84.806 | 2.496 | 95.467 | 2.539 | 107.2 | 3.571 | 889.95 | 28.584 | 0.21601
2020-02-11 16:00:00 | 2.309 | 80.933 | 2.209 | 26.768 | 2.294 | 30.608 | 2.393 | 30.9 | 3.554 | 889.533 | 28.901 | 0.20606
2020-02-11 16:15:00 | 1.483 | 172.128 | 1.746 | 290.905 | 2.079 | 219.5 | 2.227 | 222.4 | 4.338 | 889.667 | 28.605 | 0.19754
2020-02-11 16:30:00 | 2.192 | 298.027 | 2.301 | 333.342 | 2.918 | 313.833 | 2.768 | 332.833 | 4.404 | 889.867 | 29.408 | 0.89105
2020-02-11 16:45:00 | 4.745 | 321.933 | 4.811 | 318.506 | 4.815 | 324.433 | 5.068 | 326.1 | 4.023 | 889.817 | 30.733 | 9.7568
2020-02-11 17:00:00 | 5.807 | 319.627 | 5.866 | 314.881 | 6.068 | 316.533 | 6.435 | 312.9 | 4.411 | 889.75 | 30.616 | 14.8082
2020-02-11 17:15:00 | 6.404 | 326.147 | 6.82 | 321.299 | 7.024 | 326.3 | 7.297 | 324.9 | 3.843 | 889.85 | 30.691 | 23.6391
2020-02-11 17:30:00 | 11.36 | 316 | 12.348 | 315.259 | 12.995 | 320.033 | 13.383 | 319.4 | 3.739 | 889.717 | 34.069 | 53.6499
2020-02-11 17:45:00 | 9.401 | 327.947 | 9.886 | 321.922 | 10.383 | 327.3 | 10.507 | 325.633 | 2.574 | 889.817 | 38.192 | 65.7409
2020-02-11 18:00:00 | 8.122 | 321.733 | 8.63 | 319.798 | 9.133 | 323.6 | 9.095 | 321.833 | 2.198 | 889.833 | 40.227 | 28.8504
2020-02-11 18:15:00 | 3.107 | 346.427 | 3.148 | 336.297 | 3.407 | 334.9 | 3.818 | 326.3 | 1.812 | 890 | 41.456 | 11.6071
2020-02-11 18:30:00 | 2.949 | 270.667 | 2.846 | 270.309 | 3.27 | 268.017 | 3.577 | 264.75 | 2.456 | 889.8 | 39.128 | 7.4979
2020-02-11 18:45:00 | 9.362 | 204.013 | 11.49 | 240.624 | 13.129 | 244.233 | 13.664 | 239.133 | 2.803 | 889.633 | 33.728 | 62.4659
2020-02-11 19:00:00 | 8.076 | 242.153 | 9.187 | 254.476 | 9.642 | 256.95 | 9.728 | 249.4 | 4.636 | 889.617 | 28.051 | 41.1383
2020-02-11 19:15:00 | 2.201 | 102.81 | 2.826 | 111.092 | 3.575 | 51.834 | 3.711 | 26.633 | 2.817 | 889.783 | 35.451 | 8.5964
2020-02-11 19:30:00 | 4.218 | 240.98 | 5.462 | 256.657 | 6.158 | 256.05 | 7.174 | 252.133 | 1.572 | 889.717 | 36.128 | 14.1126
2020-02-11 19:45:00 | 8.431 | 238.8 | 8.768 | 255.728 | 8.944 | 261.183 | 8.967 | 256.3 | 2.618 | 890.167 | 32.168 | 39.516
2020-02-11 20:00:00 | 7.355 | 243.213 | 8.253 | 268.114 | 8.759 | 268.983 | 8.8 | 265.25 | 2.486 | 890.017 | 33.917 | 37.1896
2020-02-11 20:15:00 | 3.6 | 299.687 | 4.052 | 296.701 | 4.534 | 300 | 5.097 | 298.333 | 1.669 | 889.483 | 36.541 | 15.7135
2020-02-11 20:30:00 | 4.628 | 251.96 | 6.142 | 274.694 | 6.993 | 276.8 | 7.444 | 273.2 | 0.982 | 890.133 | 40.12 | 18.5977
2020-02-11 20:45:00 | 5.289 | 263.253 | 6.374 | 274.594 | 7.145 | 277.433 | 7.337 | 271.967 | 1.175 | 889.592 | 41.947 | 41.4225
2020-02-11 21:00:00 | 7.832 | 237.62 | 9.253 | 262.807 | 9.714 | 265.767 | 10.368 | 260.817 | 0.898 | 889.658 | 44.245 | 70.3305
2020-02-11 21:15:00 | 8.058 | 226.647 | 9.628 | 256.418 | 10.524 | 259.783 | 11.08 | 255.117 | 0.699 | 889.883 | 45.627 | 79.0946
2020-02-11 21:30:00 | 10.247 | 222.66 | 12.136 | 253.281 | 13.141 | 256.7 | 13.358 | 252.517 | 0.765 | 889.75 | 51.136 | 72.9944
2020-02-11 21:45:00 | 10.872 | 225.567 | 12.955 | 253.83 | 13.887 | 256.933 | 13.996 | 253.433 | 0.349 | 890.267 | 55.355 | 75.2185
2020-02-11 22:00:00 | 9.35 | 223.373 | 10.784 | 256.92 | 11.967 | 259.767 | 12.469 | 255.417 | 0.199 | 890.083 | 57.909 | 67.4193
2020-02-11 22:15:00 | 9.149 | 221.793 | 11.092 | 252.64 | 11.965 | 256.717 | 12.526 | 253.133 | 0.299 | 889.883 | 59.045 | 69.7464
2020-02-11 22:30:00 | 7.893 | 220.14 | 9.647 | 253.766 | 10.509 | 257.567 | 10.82 | 252.067 | 0.299 | 889.575 | 58.624 | 75.1126
2020-02-11 22:45:00 | 7.493 | 226.647 | 8.971 | 258.19 | 9.612 | 261.9 | 9.623 | 256.483 | 0.034 | 889.658 | 58.933 | 58.13
2020-02-11 23:00:00 | 5.799 | 217.253 | 6.968 | 246.608 | 7.58 | 253.8 | 7.696 | 249.983 | 0 | 890.083 | 59.755 | 57.3456
2020-02-11 23:15:00 | 6.76 | 219.88 | 8.473 | 244.765 | 8.976 | 250.6 | 9.092 | 245.05 | -0.106 | 889.708 | 59.957 | 53.5746
2020-02-11 23:30:00 | 8.411 | 213.073 | 10.01 | 248.081 | 10.848 | 252.433 | 10.742 | 247.167 | 0.15 | 889.833 | 58.949 | 38.9909
2020-02-11 23:45:00 | 6.412 | 213.733 | 7.494 | 247.697 | 7.986 | 251.767 | 8.07 | 247.15 | 0.316 | 889.708 | 59.552 | 22.3168