## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-13 00:00:00 | 8.012 | 209.833 | 9.774 | 258.444 | 10.442 | 263.5 | 10.873 | 261.3 | -10.016 | 889.808 | 48.939 | 66.8466
2020-02-13 00:15:00 | 7.071 | 223.787 | 8.789 | 262.046 | 9.549 | 267.9 | 9.831 | 263.833 | -9.933 | 889.933 | 47.131 | 58.2935
2020-02-13 00:30:00 | 5.718 | 238.027 | 7.646 | 263.58 | 8.347 | 268.967 | 8.741 | 266.233 | -9.62 | 890.05 | 45.765 | 36.1835
2020-02-13 00:45:00 | 5.243 | 223.347 | 6.938 | 258.037 | 7.656 | 264.167 | 7.822 | 263.15 | -9.828 | 889.858 | 45.387 | 27.3376
2020-02-13 01:00:00 | 4.186 | 204.42 | 4.702 | 228.15 | 6.13 | 244.467 | 6.44 | 244.8 | -10.545 | 889.625 | 46.88 | 33.8279
2020-02-13 01:15:00 | 5.053 | 225.287 | 6.194 | 240.774 | 6.646 | 251.267 | 6.766 | 251.033 | -11.549 | 889.758 | 49.856 | 33.7405
2020-02-13 01:30:00 | 4.952 | 226.067 | 6.836 | 259.062 | 7.208 | 266.4 | 7.617 | 265.8 | -11.361 | 890.033 | 48.165 | 26.0529
2020-02-13 01:45:00 | 4.596 | 232.847 | 6.041 | 258.075 | 6.528 | 268.267 | 6.795 | 269.033 | -10.778 | 889.95 | 45.797 | 25.3253
2020-02-13 02:00:00 | 4.686 | 228.42 | 6.024 | 249.17 | 6.667 | 260.033 | 6.805 | 260.317 | -10.816 | 889.675 | 44.789 | 21.1209
2020-02-13 02:15:00 | 5.876 | 210.32 | 6.173 | 225.655 | 5.847 | 241.633 | 5.6 | 244.4 | -12.436 | 889.55 | 48.661 | 24.9352
2020-02-13 02:30:00 | 6.035 | 209.193 | 6.569 | 216.56 | 6.439 | 227.7 | 5.894 | 230.067 | -12.161 | 890.067 | 48.576 | 27.7014
2020-02-13 02:45:00 | 6.018 | 205.787 | 6.935 | 225.75 | 6.775 | 236.467 | 6.25 | 239.933 | -12.016 | 889.275 | 46.656 | 30.2787
2020-02-13 03:00:00 | 6.244 | 204.013 | 7.674 | 225.066 | 7.868 | 233.367 | 7.263 | 230.467 | -11.661 | 889.325 | 46.432 | 39.6979
2020-02-13 03:15:00 | 5.916 | 218.947 | 7.655 | 231.224 | 7.762 | 240.4 | 7.366 | 238.733 | -11.87 | 889.842 | 46.219 | 37.1086
2020-02-13 03:30:00 | 6.579 | 209.82 | 7.644 | 231.972 | 7.615 | 239.267 | 7.187 | 238.167 | -11.895 | 889.8 | 45.312 | 38.004
2020-02-13 03:45:00 | 6.392 | 208.633 | 7.777 | 230.241 | 7.69 | 237.933 | 7.485 | 236 | -11.703 | 889.625 | 45.237 | 39.5111
2020-02-13 04:00:00 | 6.911 | 203.36 | 7.833 | 225.964 | 7.658 | 235.367 | 7.397 | 233.467 | -11.745 | 890.317 | 45.397 | 48.2233
2020-02-13 04:15:00 | 7.154 | 205.84 | 8.253 | 233.925 | 8.25 | 242.767 | 7.843 | 241.067 | -11.811 | 889.975 | 43.979 | 52.0639
2020-02-13 04:30:00 | 6.305 | 218.433 | 8.168 | 235.316 | 8.273 | 245.1 | 8.034 | 243.667 | -11.528 | 890.192 | 42.496 | 45.8934
2020-02-13 04:45:00 | 6.451 | 204.78 | 7.546 | 222.763 | 7.542 | 234.867 | 7.295 | 236.067 | -11.974 | 890.242 | 43.947 | 40.9663
2020-02-13 05:00:00 | 6.222 | 223.267 | 7.502 | 238.208 | 7.645 | 247.8 | 7.395 | 246.733 | -11.561 | 890.125 | 42.133 | 35.4587
2020-02-13 05:15:00 | 6.91 | 209.24 | 7.895 | 227.446 | 7.68 | 238.933 | 7.233 | 241.1 | -12.14 | 890.058 | 42.965 | 35.2619
2020-02-13 05:30:00 | 6.517 | 204.733 | 7.636 | 222.446 | 7.405 | 235.1 | 6.934 | 235.067 | -12.116 | 889.917 | 43.947 | 38.9902
2020-02-13 05:45:00 | 7.18 | 208.013 | 8.28 | 228.962 | 7.959 | 238.467 | 7.431 | 238.3 | -12.095 | 889.933 | 44.629 | 41.9526
2020-02-13 06:00:00 | 6.152 | 206.647 | 8.164 | 227.638 | 7.934 | 234.933 | 7.476 | 234.7 | -11.974 | 889.458 | 43.957 | 37.6764
2020-02-13 06:15:00 | 6.473 | 208.78 | 8.091 | 222.375 | 7.823 | 233.233 | 7.265 | 231.567 | -12.416 | 889.667 | 44.491 | 35.9007
2020-02-13 06:30:00 | 6.307 | 205.26 | 8.239 | 226.754 | 7.972 | 238.533 | 7.479 | 237.267 | -12.107 | 890.142 | 44.224 | 35.1127
2020-02-13 06:45:00 | 6.712 | 205.933 | 7.666 | 233.319 | 7.396 | 244.067 | 6.918 | 244.667 | -12.353 | 889.508 | 44.352 | 30.1159
2020-02-13 07:00:00 | 6.45 | 205.7 | 7.692 | 218.238 | 7.505 | 228.25 | 6.636 | 229.75 | -12.703 | 889.5 | 44.64 | 31.8241
2020-02-13 07:15:00 | 6.45 | 205.7 | 7.692 | 218.238 | 7.505 | 228.25 | 6.636 | 229.75 | -12.703 | 889.5 | 44.64 | 30.98
2020-02-13 07:30:00 | 6.45 | 205.7 | 7.692 | 218.238 | 7.505 | 228.25 | 6.636 | 229.75 | -12.703 | 889.5 | 44.64 | 16.3608
2020-02-13 07:45:00 | 6.45 | 205.7 | 7.692 | 218.238 | 7.505 | 228.25 | 6.636 | 229.75 | -12.703 | 889.5 | 44.64 | 9.8868
2020-02-13 08:00:00 | 6.45 | 205.7 | 7.692 | 218.238 | 7.505 | 228.25 | 6.636 | 229.75 | -12.703 | 889.5 | 44.64 | 8.1687
2020-02-13 08:15:00 | 6.45 | 205.7 | 7.692 | 218.238 | 7.505 | 228.25 | 6.636 | 229.75 | -12.703 | 889.5 | 44.64 | 6.4306
2020-02-13 08:30:00 | 6.45 | 205.7 | 7.692 | 218.238 | 7.505 | 228.25 | 6.636 | 229.75 | -12.703 | 889.5 | 44.64 | 5.6156
2020-02-13 08:45:00 | 6.45 | 205.7 | 7.692 | 218.238 | 7.505 | 228.25 | 6.636 | 229.75 | -12.703 | 889.5 | 44.64 | 5.4259
2020-02-13 09:00:00 | 6.45 | 205.7 | 7.692 | 218.238 | 7.505 | 228.25 | 6.636 | 229.75 | -12.703 | 889.5 | 44.64 | 3.9017
2020-02-13 09:15:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 3.2167
2020-02-13 09:30:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 3.2437
2020-02-13 09:45:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.94719
2020-02-13 10:00:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.19683
2020-02-13 10:15:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.24017
2020-02-13 10:30:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.24159
2020-02-13 10:45:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.24444
2020-02-13 11:00:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 1.0516
2020-02-13 11:15:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.55282
2020-02-13 11:30:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.28494
2020-02-13 11:45:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.23875
2020-02-13 12:00:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.21601
2020-02-13 12:15:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.21459
2020-02-13 12:30:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.21459
2020-02-13 12:45:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.2352
2020-02-13 13:00:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.17906
2020-02-13 13:15:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.089531
2020-02-13 13:30:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.12009
2020-02-13 13:45:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.11511
2020-02-13 14:00:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.12435
2020-02-13 14:15:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.25936
2020-02-13 14:30:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.30483
2020-02-13 14:45:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.10943
2020-02-13 15:00:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.16059
2020-02-13 15:15:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.27428
2020-02-13 15:30:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.1549
2020-02-13 15:45:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.2622
2020-02-13 16:00:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.15846
2020-02-13 16:15:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.14282
2020-02-13 16:30:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.15135
2020-02-13 16:45:00 | 7.006 | 209.2 | 7.594 | 217.09 | 7.375 | 230 | 6.565 | 228 | -12.703 | 889.75 | 44.48 | 0.10232
2020-02-13 17:00:00 | 2.326 | 76.142 | 2.186 | 69.914 | 2.54 | 72.633 | 2.9 | 67.3 | 0.05 | 889.767 | 19.525 | 0.17835
2020-02-13 17:15:00 | 2.664 | 64.403 | 2.603 | 59.398 | 3.003 | 70.667 | 3.441 | 72.2 | 0 | 889.7 | 19.845 | 0.079583
2020-02-13 17:30:00 | 1.208 | 113.083 | 0.497 | 118.668 | 0.917 | 134.8 | 1.108 | 103 | 0.1 | 889.367 | 20.213 | 0.11014
2020-02-13 17:45:00 | 2.894 | 89.54 | 2.724 | 87.395 | 2.752 | 91.767 | 2.596 | 87.267 | 0.166 | 889.8 | 20.061 | 0.13359
2020-02-13 18:00:00 | 3.351 | 87.96 | 3.386 | 77.5 | 3.469 | 79 | 3.671 | 74.633 | 0 | 889.867 | 20.059 | 0.21672
2020-02-13 18:15:00 | 1.849 | 80.512 | 1.716 | 94.797 | 2.433 | 96.933 | 2.564 | 92.5 | -0.133 | 889.55 | 20.16 | 0.6189
2020-02-13 18:30:00 | 2.746 | 110.007 | 2.645 | 103.644 | 2.821 | 109.333 | 2.983 | 103.8 | -0.186 | 889.8 | 20.456 | 1.807
2020-02-13 18:45:00 | 3.273 | 94.96 | 3.152 | 88.83 | 2.9 | 93.767 | 3.125 | 87.567 | -0.425 | 889.283 | 20.488 | 3.8676
2020-02-13 19:00:00 | 3.84 | 112.913 | 4.062 | 107.353 | 4.055 | 111.5 | 4.082 | 105.667 | -0.419 | 889.7 | 21.781 | 5.018
2020-02-13 19:15:00 | 3.696 | 113.8 | 4.326 | 110.032 | 4.64 | 114.167 | 4.663 | 107.533 | -0.965 | 890 | 22.859 | 5.1999
2020-02-13 19:30:00 | 3.349 | 124.38 | 3.926 | 115.618 | 4.293 | 118 | 4.371 | 113.933 | -1.513 | 889.533 | 23.477 | 0.38015
2020-02-13 19:45:00 | 3.378 | 125.7 | 4.118 | 111.548 | 4.456 | 114.367 | 4.631 | 110.267 | -1.859 | 889.567 | 24.475 | 0
2020-02-13 20:00:00 | 3.343 | 128.193 | 4.602 | 109.619 | 4.861 | 111.433 | 5.04 | 105.733 | -2.201 | 890.2 | 25.381 | 0
2020-02-13 20:15:00 | 3.448 | 142.987 | 4.513 | 115.724 | 4.681 | 116.833 | 4.736 | 110.3 | -2.814 | 890.283 | 25.963 | 0
2020-02-13 20:30:00 | 3.503 | 147.78 | 4.755 | 117.541 | 4.727 | 119.9 | 4.728 | 114 | -2.753 | 889.583 | 25.968 | 0
2020-02-13 20:45:00 | 3.656 | 139.32 | 4.862 | 111.267 | 5.121 | 112.9 | 5.258 | 108.533 | -3.267 | 890.1 | 26.437 | 0
2020-02-13 21:00:00 | 4.042 | 122.3 | 5.632 | 103.111 | 6.266 | 104.2 | 6.579 | 99.833 | -3.271 | 889.9 | 26.293 | 0
2020-02-13 21:15:00 | 4.05 | 147.033 | 5.455 | 120.553 | 6.231 | 115.7 | 7.15 | 106.6 | -4.77 | 889.817 | 28.693 | 0
2020-02-13 21:30:00 | 4.252 | 119.687 | 5.99 | 106.952 | 7.171 | 107.567 | 7.826 | 98.733 | -4.935 | 890.033 | 30.352 | 0
2020-02-13 21:45:00 | 4.666 | 131.787 | 6.803 | 117.402 | 8.291 | 117.8 | 9.076 | 110.933 | -4.985 | 889.45 | 31.947 | 0
2020-02-13 22:00:00 | 4.073 | 143.733 | 5.974 | 125.371 | 7.509 | 120.8 | 8.688 | 112.633 | -5.302 | 889.583 | 33.253 | 0
2020-02-13 22:15:00 | 4.38 | 148.567 | 5.691 | 134.573 | 6.465 | 131.767 | 7.365 | 119.367 | -5.419 | 889.7 | 34.357 | 0
2020-02-13 22:30:00 | 5.47 | 140.347 | 7.824 | 124.203 | 8.898 | 123.7 | 9.538 | 116.567 | -6.17 | 889.867 | 36.352 | 0
2020-02-13 22:45:00 | 5.907 | 135.36 | 8.662 | 124.449 | 9.259 | 125.267 | 9.553 | 119.033 | -5.978 | 889.183 | 36.064 | 0
2020-02-13 23:00:00 | 5.166 | 139.66 | 7.863 | 125.859 | 8.93 | 125.1 | 9.391 | 118.533 | -6.101 | 890.05 | 35.888 | 0
2020-02-13 23:15:00 | 5.366 | 137.48 | 8.159 | 123.145 | 9.254 | 122.367 | 9.555 | 116.633 | -6.554 | 889.917 | 37.637 | 0
2020-02-13 23:30:00 | 5.067 | 131.353 | 7.673 | 119.624 | 8.806 | 118.567 | 9.246 | 110.367 | -6.545 | 889.65 | 37.211 | 0
2020-02-13 23:45:00 | 5.828 | 121.363 | 7.949 | 110.94 | 8.726 | 111.5 | 9.006 | 104.733 | -5.978 | 890.067 | 36.491 | 0