## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-14 00:00:00 | 5.52 | 118.25 | 7.201 | 105.002 | 7.938 | 106.233 | 8.482 | 99.133 | -6.313 | 889.4 | 36.912 | 0
2020-02-14 00:15:00 | 5.727 | 115.337 | 7.328 | 104.382 | 8.133 | 105.067 | 8.676 | 97.733 | -6.425 | 889.8 | 36.645 | 0
2020-02-14 00:30:00 | 6.242 | 109.3 | 7.585 | 100.559 | 8.557 | 101.933 | 9.513 | 93.867 | -6.445 | 889.7 | 37.227 | 0
2020-02-14 00:45:00 | 5.446 | 118.473 | 7.066 | 108.388 | 7.928 | 110.1 | 8.32 | 103.4 | -6.545 | 889.683 | 38.091 | 0.13572
2020-02-14 01:00:00 | 4.886 | 110.767 | 6.503 | 104.074 | 7.1 | 105.933 | 7.588 | 100.633 | -7.091 | 889.617 | 38.213 | 2.18
2020-02-14 01:15:00 | 4.642 | 123.667 | 6.6 | 109.021 | 7.422 | 113.233 | 7.745 | 108.2 | -7.134 | 889.583 | 38.107 | 5.428
2020-02-14 01:30:00 | 3.305 | 113.697 | 3.466 | 108.553 | 3.147 | 106 | 3.16 | 96.367 | -7.269 | 889.5 | 38.779 | 2.5865
2020-02-14 01:45:00 | 3.29 | 97.3 | 4.225 | 85.061 | 4.032 | 93.3 | 4.005 | 86.7 | -7.091 | 889.617 | 37.845 | 2.5516
2020-02-14 02:00:00 | 1.757 | 115.663 | 3.366 | 83.028 | 3.74 | 90.6 | 3.464 | 90.833 | -7.489 | 890.15 | 38.88 | 3.9188
2020-02-14 02:15:00 | 0.463 | 140.167 | 1.811 | 95.679 | 2.764 | 86.9 | 4.062 | 77.767 | -8.17 | 889.917 | 39.989 | 5.0905
2020-02-14 02:30:00 | 1.559 | 106.207 | 2.44 | 85.676 | 3.065 | 83.867 | 3.978 | 76.933 | -8.07 | 889.625 | 40.501 | 4.0005
2020-02-14 02:45:00 | 2.445 | 119.267 | 2.46 | 106.347 | 2.662 | 106.7 | 3.202 | 99.6 | -7.111 | 889.5 | 38.197 | 2.7939
2020-02-14 03:00:00 | 2.174 | 166.46 | 2.167 | 137.478 | 2.458 | 136 | 2.513 | 125.867 | -7.486 | 889.867 | 37.819 | 2.2099
2020-02-14 03:15:00 | 2.483 | 151.86 | 2.666 | 128.568 | 3.086 | 124.233 | 3.642 | 116.267 | -7.469 | 889.117 | 38.405 | 2.2077
2020-02-14 03:30:00 | 1.109 | 146.067 | 1.247 | 123.573 | 1.99 | 121 | 2.546 | 114.633 | -7.556 | 890.017 | 38.379 | 0.26291
2020-02-14 03:45:00 | 0.693 | 103.183 | 1.297 | 90.568 | 2.013 | 96.633 | 2.371 | 104.867 | -7.726 | 889.7 | 39.776 | 0.18546
2020-02-14 04:00:00 | 1.841 | 70.018 | 3.439 | 67.738 | 3.382 | 72.033 | 3.257 | 72.867 | -8.03 | 889.9 | 39.584 | 0.38371
2020-02-14 04:15:00 | 1.801 | 39.067 | 2.904 | 57.54 | 3.204 | 64 | 3.105 | 61.733 | -8.874 | 889.55 | 41.451 | 3.4484
2020-02-14 04:30:00 | 0.117 | 72.873 | 3.179 | 66.864 | 4.822 | 78.233 | 4.768 | 79.5 | -10.474 | 889.708 | 42.677 | 13.3132
2020-02-14 04:45:00 | 2.094 | 100.813 | 4.065 | 83.607 | 4.155 | 93.633 | 3.786 | 94.067 | -10.666 | 889.633 | 44.512 | 9.916
2020-02-14 05:00:00 | 2.258 | 85.943 | 4.177 | 79.191 | 3.796 | 90.4 | 3.388 | 90.8 | -10.909 | 889.558 | 45.995 | 9.0768
2020-02-14 05:15:00 | 4.031 | 77.473 | 4.488 | 77.678 | 4.212 | 87.467 | 3.862 | 93.633 | -9.891 | 889.992 | 45.941 | 15.9629
2020-02-14 05:30:00 | 3.874 | 85.76 | 3.977 | 93.138 | 3.474 | 97.633 | 4.819 | 103.3 | -9.228 | 889.758 | 45.216 | 19.93
2020-02-14 05:45:00 | 4.95 | 108.667 | 5.711 | 105.216 | 6.077 | 109.533 | 6.966 | 109.5 | -8.724 | 889.683 | 46.901 | 21.3099
2020-02-14 06:00:00 | 4.149 | 127.62 | 5.708 | 115.951 | 6.482 | 120.533 | 7.192 | 116.367 | -9.233 | 890.192 | 47.872 | 25.8128
2020-02-14 06:15:00 | 3.698 | 144.547 | 4.496 | 124.483 | 4.42 | 129.067 | 4.298 | 125.533 | -9.837 | 889.575 | 49.269 | 22.6074
2020-02-14 06:30:00 | 2.467 | 157.667 | 3.864 | 125.055 | 4.909 | 123.9 | 5.9 | 119.933 | -11.311 | 889.783 | 50.656 | 21.0157
2020-02-14 06:45:00 | 3.097 | 143.227 | 4.37 | 122.256 | 5.196 | 126.067 | 5.658 | 121.533 | -10.091 | 889.667 | 52.192 | 18.9949
2020-02-14 07:00:00 | 2.738 | 127.513 | 4.24 | 119.014 | 4.743 | 123.1 | 5.062 | 119.833 | -9.891 | 890.117 | 53.419 | 17.2284
2020-02-14 07:15:00 | 0 | 129.46 | 1.55 | 101.705 | 3.334 | 111.033 | 3.639 | 102.267 | -11.276 | 890.25 | 55.349 | 10.6876
2020-02-14 07:30:00 | 0.593 | 71.193 | 1.481 | 94.317 | 2.665 | 108.333 | 3.282 | 101.933 | -11.04 | 889.842 | 59.541 | 4.6038
2020-02-14 07:45:00 | 0.511 | 30.561 | 1.516 | 74.986 | 2.162 | 98.3 | 2.798 | 99.667 | -10.891 | 889.633 | 59.531 | 4.6372
2020-02-14 08:00:00 | 2.361 | 31.778 | 3.546 | 43.758 | 3.063 | 56.167 | 3.37 | 68.133 | -12.24 | 889.842 | 63.371 | 4.5554
2020-02-14 08:15:00 | 3.523 | 56.325 | 3.892 | 58.722 | 4.054 | 72.933 | 4.338 | 75.267 | -11.528 | 889.742 | 66.667 | 8.7698
2020-02-14 08:30:00 | 2.994 | 53.225 | 4.683 | 61.688 | 4.922 | 73.767 | 5.042 | 74.767 | -13.501 | 889.592 | 66.069 | 11.4465
2020-02-14 08:45:00 | 1.733 | 61.783 | 4.409 | 68.083 | 4.996 | 80.533 | 5.118 | 79.5 | -14.349 | 889.975 | 69.387 | 9.1343
2020-02-14 09:00:00 | 0 | 102.26 | 3.178 | 72.061 | 3.677 | 85.333 | 3.13 | 84.533 | -14.808 | 890.208 | 72.288 | 5.5843
2020-02-14 09:15:00 | 1.8 | 77.7 | 2.717 | 78.106 | 3.047 | 84.6 | 3.017 | 87.6 | -12.903 | 890.35 | 71.189 | 5.2262
2020-02-14 09:30:00 | 0.433 | 81.565 | 1.272 | 72.761 | 2.823 | 85.342 | 3.534 | 93.867 | -12.386 | 889.85 | 65.003 | 3.7681
2020-02-14 09:45:00 | 1.57 | 275.833 | 0 | 192.76 | 0 | 109.561 | 0.5 | 89.033 | -12.09 | 890 | 60.459 | 7.3828
2020-02-14 10:00:00 | 0.353 | 244.631 | 0.247 | 104.461 | 2.226 | 77.6 | 3.534 | 77.5 | -12.486 | 889.883 | 58.549 | 10.7843
2020-02-14 10:15:00 | 2.052 | 40.201 | 2.523 | 59.104 | 3.505 | 77.633 | 4.017 | 81 | -11.624 | 889.892 | 57.973 | 10.063
2020-02-14 10:30:00 | 3.058 | 34.861 | 2.737 | 44.745 | 3.082 | 60.1 | 3.877 | 65.2 | -11.078 | 890.208 | 56.331 | 13.3587
2020-02-14 10:45:00 | 3.453 | 60.077 | 3.67 | 54.966 | 4.324 | 67 | 4.86 | 64 | -9.954 | 889.867 | 53.685 | 20.1048
2020-02-14 11:00:00 | 4.72 | 57.393 | 4.692 | 54.28 | 5.395 | 65.333 | 6.116 | 67.567 | -9.058 | 889.95 | 49.995 | 29.4473
2020-02-14 11:15:00 | 7.401 | 75.383 | 7.651 | 71.94 | 7.723 | 76.133 | 7.646 | 72.4 | -7.856 | 889.792 | 46.56 | 21.4975
2020-02-14 11:30:00 | 8.898 | 74.138 | 9.326 | 70.838 | 9.464 | 77.4 | 9.494 | 74.267 | -7.334 | 889.842 | 44.16 | 13.3508
2020-02-14 11:45:00 | 10.182 | 80.44 | 10.354 | 77.43 | 10.774 | 82.067 | 10.984 | 78.867 | -6.685 | 889.733 | 42.027 | 8.7499
2020-02-14 12:00:00 | 9.738 | 82.333 | 10.078 | 78.447 | 10.365 | 83 | 10.101 | 81.033 | -6.695 | 889.6 | 40.027 | 10.8688
2020-02-14 12:15:00 | 10.976 | 85.197 | 10.92 | 80.672 | 10.922 | 85.367 | 11.093 | 81.167 | -6.409 | 889.55 | 37.707 | 10.3899
2020-02-14 12:30:00 | 9.727 | 86.18 | 9.503 | 79.646 | 9.867 | 83.667 | 10.05 | 79.167 | -6.076 | 889.683 | 36.267 | 9.312
2020-02-14 12:45:00 | 9.763 | 74.9 | 10.037 | 70.682 | 10.205 | 75.933 | 10.314 | 74 | -5.572 | 889.633 | 34.496 | 10.7914
2020-02-14 13:00:00 | 10.877 | 82.133 | 11.043 | 79.148 | 11.498 | 83.933 | 11.783 | 80.1 | -5.469 | 890.067 | 33.195 | 11.3513
2020-02-14 13:15:00 | 11.657 | 79.967 | 12.208 | 75.915 | 12.403 | 81.8 | 12.444 | 77.767 | -5.169 | 889.65 | 32.32 | 10.0254
2020-02-14 13:30:00 | 10.058 | 78.767 | 10.267 | 74.254 | 10.628 | 78.167 | 10.855 | 75.6 | -5.235 | 889.433 | 32.427 | 9.9714
2020-02-14 13:45:00 | 10.065 | 77.032 | 10.283 | 72.899 | 10.561 | 77.8 | 10.603 | 75.733 | -4.869 | 889.883 | 32.08 | 9.7575
2020-02-14 14:00:00 | 9.683 | 85.467 | 9.819 | 80.418 | 9.929 | 84.967 | 10.157 | 81.333 | -4.952 | 889.883 | 31.589 | 9.7966
2020-02-14 14:15:00 | 9.424 | 86.693 | 9.301 | 85.85 | 9.173 | 88.367 | 9.208 | 85.2 | -4.629 | 889.683 | 30.992 | 9.987
2020-02-14 14:30:00 | 10.816 | 93.467 | 10.974 | 88.491 | 10.636 | 91.6 | 10.644 | 87.9 | -4.969 | 890.25 | 29.808 | 9.9323
2020-02-14 14:45:00 | 10.544 | 101.2 | 9.983 | 95.975 | 9.544 | 99.7 | 9.083 | 92.567 | -4.819 | 889.683 | 29.157 | 9.9792
2020-02-14 15:00:00 | 10.548 | 94.397 | 10.854 | 88.907 | 10.028 | 93.167 | 9.76 | 88.8 | -4.616 | 889.917 | 28.555 | 10.1902
2020-02-14 15:15:00 | 10.427 | 93.813 | 9.888 | 93.04 | 9.432 | 97.967 | 9.442 | 89.7 | -4.285 | 889.567 | 27.893 | 14.9588
2020-02-14 15:30:00 | 9.936 | 105.08 | 10.176 | 100.5 | 10.01 | 106.467 | 9.795 | 98 | -4.483 | 889.517 | 28.859 | 20.0117
2020-02-14 15:45:00 | 10.481 | 94.467 | 9.867 | 89.828 | 9.342 | 94.667 | 9.373 | 89.733 | -4.952 | 889.983 | 28.821 | 25.4333
2020-02-14 16:00:00 | 9.362 | 95 | 9.3 | 90.139 | 8.363 | 94.267 | 8.412 | 86.533 | -4.935 | 889.85 | 29.813 | 27.2126
2020-02-14 16:15:00 | 9.611 | 105.227 | 8.827 | 97.305 | 8.538 | 101.267 | 8.174 | 97.8 | -4.709 | 889.583 | 29.195 | 31.0845
2020-02-14 16:30:00 | 9.484 | 93.46 | 9.246 | 90.411 | 8.747 | 94.4 | 8.729 | 90 | -4.364 | 889.8 | 28.907 | 31.6252
2020-02-14 16:45:00 | 9.409 | 94.747 | 9.225 | 92.978 | 8.831 | 95 | 8.572 | 90.667 | -4.516 | 889.767 | 28.432 | 30.5075
2020-02-14 17:00:00 | 10.06 | 93.815 | 9.588 | 92.767 | 9.163 | 95.733 | 8.876 | 93.167 | -4.52 | 889.65 | 28.464 | 29.9213
2020-02-14 17:15:00 | 9.603 | 96.64 | 9.116 | 92.532 | 8.848 | 95.667 | 8.816 | 89.233 | -4.246 | 889.917 | 28.037 | 30.8336
2020-02-14 17:30:00 | 10.521 | 89.523 | 10.313 | 87.81 | 9.347 | 94.767 | 8.888 | 87.3 | -4.543 | 889.7 | 27.605 | 31.2358
2020-02-14 17:45:00 | 10.169 | 94.563 | 10.007 | 90.781 | 10.098 | 93.7 | 10.005 | 91.033 | -4.582 | 889.767 | 27.403 | 31.3673
2020-02-14 18:00:00 | 10.074 | 93.593 | 9.858 | 89.177 | 9.021 | 93.633 | 8.898 | 89.133 | -4.662 | 890.3 | 27.131 | 31.7581
2020-02-14 18:15:00 | 9.335 | 96.153 | 9.269 | 90.3 | 8.229 | 100.267 | 7.974 | 91.6 | -4.325 | 889.867 | 26.955 | 38.2043
2020-02-14 18:30:00 | 8.75 | 91.027 | 9.392 | 87.236 | 8.937 | 92.433 | 8.574 | 87 | -4.448 | 889.433 | 26.779 | 36.003
2020-02-14 18:45:00 | 9.261 | 90.867 | 9.449 | 87.244 | 9.28 | 90.867 | 9.439 | 83.833 | -4.985 | 890.067 | 26.683 | 34.4852
2020-02-14 19:00:00 | 8.764 | 88.667 | 9.862 | 82.978 | 9.652 | 89.3 | 9.23 | 83.967 | -5.185 | 889.533 | 27.024 | 30.2154
2020-02-14 19:15:00 | 7.368 | 90.817 | 8.138 | 88.007 | 7.533 | 92.133 | 7.347 | 86.167 | -5.601 | 889.667 | 27.509 | 27.6808
2020-02-14 19:30:00 | 6.499 | 90.137 | 7.78 | 84.57 | 7.994 | 89.9 | 7.92 | 85.033 | -6.084 | 889.683 | 28.363 | 31.9549
2020-02-14 19:45:00 | 6.876 | 89.28 | 8.357 | 83.762 | 8.875 | 88.9 | 8.717 | 85.867 | -6.641 | 889.733 | 29.2 | 28.682
2020-02-14 20:00:00 | 5.996 | 87.513 | 7.293 | 83.558 | 7.788 | 88.567 | 7.388 | 86.1 | -6.989 | 890.133 | 30.213 | 30.4016
2020-02-14 20:15:00 | 5.6 | 88.89 | 6.96 | 85.901 | 6.781 | 89.733 | 6.405 | 86.1 | -7.296 | 889.75 | 30.64 | 37.6117
2020-02-14 20:30:00 | 5.592 | 93.567 | 6.232 | 91.683 | 5.294 | 97.633 | 5.378 | 92.067 | -7.572 | 889.933 | 30.427 | 41.5021
2020-02-14 20:45:00 | 5.003 | 95.2 | 5.396 | 91.232 | 4.702 | 94.767 | 4.291 | 95.1 | -7.606 | 889.8 | 30.48 | 37.3317
2020-02-14 21:00:00 | 4.859 | 91.367 | 5.651 | 86.644 | 5.142 | 94.4 | 5.18 | 88.8 | -7.589 | 890.117 | 31.072 | 30.0804
2020-02-14 21:15:00 | 4.779 | 91.313 | 5.451 | 87.935 | 5.623 | 91.333 | 5.526 | 88.6 | -7.876 | 889.75 | 31.237 | 26.1496
2020-02-14 21:30:00 | 4.906 | 93.793 | 5.399 | 85.232 | 4.92 | 93.733 | 4.961 | 91.867 | -8.23 | 889.733 | 31.056 | 20.8033
2020-02-14 21:45:00 | 3.619 | 90.073 | 4.059 | 88.55 | 3.95 | 94.5 | 3.92 | 92.6 | -7.9 | 889.683 | 30.208 | 16.6294
2020-02-14 22:00:00 | 3.239 | 85.87 | 3.898 | 82.858 | 4.205 | 88.733 | 4.048 | 91.5 | -8.204 | 889.633 | 30.245 | 15.4584
2020-02-14 22:15:00 | 3.902 | 98.573 | 4.188 | 96.741 | 4.438 | 100.133 | 4.973 | 99.167 | -8.2 | 889.567 | 30.32 | 23.5112
2020-02-14 22:30:00 | 3.784 | 101.897 | 4.77 | 99.908 | 5.031 | 105.9 | 5.454 | 103.267 | -8.26 | 889.883 | 29.968 | 27.0449
2020-02-14 22:45:00 | 3.476 | 102.133 | 4.392 | 100.975 | 4.218 | 103.2 | 4.658 | 102.2 | -8.674 | 889.75 | 30.923 | 12.862
2020-02-14 23:00:00 | 3.533 | 91.233 | 3.918 | 86.745 | 3.576 | 95.333 | 3.592 | 91.967 | -8.491 | 889.767 | 30.469 | 12.9856
2020-02-14 23:15:00 | 4.767 | 68.193 | 5.24 | 66.489 | 5.636 | 74.9 | 6.071 | 74.1 | -8.15 | 889.667 | 30.389 | 21.7362
2020-02-14 23:30:00 | 3.216 | 54.483 | 3.868 | 57.254 | 4.629 | 67.867 | 5.186 | 66.933 | -8.708 | 889.567 | 31.291 | 20.5126
2020-02-14 23:45:00 | 3.727 | 58.54 | 4.327 | 56.066 | 4.508 | 66.067 | 5.094 | 66.733 | -9.158 | 889.55 | 32.283 | 28.0724