## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-15 00:00:00 | 4.404 | 61.647 | 5.518 | 69.306 | 5.832 | 78.967 | 5.863 | 80.9 | -9.516 | 889.85 | 33.253 | 27.5728
2020-02-15 00:15:00 | 4.809 | 118.963 | 5.242 | 115.647 | 5.368 | 122.333 | 5.819 | 119.3 | -10.93 | 889.2 | 36.555 | 25.5314
2020-02-15 00:30:00 | 4.543 | 147.607 | 5.46 | 148.077 | 5.733 | 149.967 | 5.722 | 142.833 | -12.036 | 889.5 | 39.349 | 13.7431
2020-02-15 00:45:00 | 4.053 | 182.213 | 4.534 | 174.048 | 4.527 | 162.433 | 4.985 | 149.233 | -12.432 | 889.583 | 40.139 | 8.4899
2020-02-15 01:00:00 | 3.476 | 190.327 | 3.136 | 160.57 | 3.313 | 147.667 | 3.208 | 131.8 | -13.076 | 889.658 | 41.515 | 5.5602
2020-02-15 01:15:00 | 1.64 | 187.607 | 1.361 | 113.862 | 2.41 | 100.967 | 2.498 | 92.533 | -11.47 | 889.7 | 39.109 | 2.7691
2020-02-15 01:30:00 | 0.093 | 217.98 | 0 | 131.456 | 0.791 | 59.667 | 2.913 | 67.5 | -12.182 | 889.5 | 39.648 | 5.87
2020-02-15 01:45:00 | 1.527 | 215.007 | 0.393 | 114.88 | 2.199 | 92.433 | 3.722 | 81.3 | -13.328 | 889.758 | 40.448 | 14.7897
2020-02-15 02:00:00 | 2.66 | 195.453 | 2.249 | 159.119 | 3.834 | 150.033 | 4.534 | 137.567 | -13.299 | 890.25 | 43.104 | 16.4304
2020-02-15 02:15:00 | 2.975 | 178.567 | 3.31 | 139.262 | 4.036 | 129.567 | 5.309 | 120.9 | -12.27 | 889.583 | 40.72 | 17.664
2020-02-15 02:30:00 | 2.627 | 160.667 | 4.024 | 123.62 | 4.558 | 119.3 | 4.986 | 111.9 | -11.378 | 889.667 | 38.411 | 25.0553
2020-02-15 02:45:00 | 2.666 | 140.453 | 3.901 | 108.267 | 4.264 | 108.133 | 4.198 | 100.633 | -10.926 | 889.85 | 36.949 | 23.4949
2020-02-15 03:00:00 | 1.918 | 85.585 | 3.725 | 78.893 | 4.398 | 86.267 | 5.044 | 85.367 | -11.495 | 889.333 | 36.741 | 32.2093
2020-02-15 03:15:00 | 4.286 | 80.007 | 4.881 | 79.109 | 4.774 | 86.733 | 4.325 | 89.067 | -9.995 | 889.6 | 33.888 | 33.111
2020-02-15 03:30:00 | 4.643 | 89.363 | 5.446 | 89.606 | 4.639 | 96.833 | 4.563 | 98.033 | -10.76 | 889.783 | 35.168 | 35.6086
2020-02-15 03:45:00 | 4.799 | 112 | 5.671 | 110.633 | 5.985 | 117.4 | 6.416 | 112.267 | -11.89 | 889.667 | 37.216 | 17.8736
2020-02-15 04:00:00 | 3.522 | 147.3 | 4.427 | 122.127 | 4.61 | 120.4 | 4.998 | 110.467 | -12.886 | 889.833 | 39.659 | 10.8994
2020-02-15 04:15:00 | 3.158 | 159.393 | 4.266 | 118.214 | 4.482 | 113.533 | 4.736 | 107.133 | -13.186 | 889.775 | 41.611 | 12.1265
2020-02-15 04:30:00 | 3.334 | 126.597 | 4.715 | 109.339 | 4.85 | 106.767 | 5.063 | 100.467 | -11.378 | 889.6 | 38.005 | 18.344
2020-02-15 04:45:00 | 4.078 | 113.817 | 5.186 | 104.136 | 5.212 | 108.2 | 5.896 | 104 | -10.543 | 889.933 | 35.269 | 14.4018
2020-02-15 05:00:00 | 3.891 | 183.393 | 3.537 | 152.085 | 3.493 | 141.033 | 3.997 | 125.333 | -13.701 | 889.792 | 40.336 | 5.7627
2020-02-15 05:15:00 | 4.399 | 209.153 | 2.94 | 175.642 | 3.035 | 155.2 | 2.943 | 137.433 | -13.774 | 889.642 | 42.16 | 2.1822
2020-02-15 05:30:00 | 3.88 | 216.6 | 2.096 | 191.871 | 2.344 | 159.333 | 3.041 | 127.133 | -12.986 | 889.692 | 41.739 | 0.69067
2020-02-15 05:45:00 | 2.076 | 228.333 | 0.13 | 149.063 | 0.93 | 122.667 | 2.13 | 117.033 | -12.47 | 889.95 | 40.539 | 3.6509
2020-02-15 06:00:00 | 0.426 | 194.473 | 1.07 | 62.162 | 2.779 | 77.367 | 3.948 | 73.533 | -12.586 | 889.667 | 39.669 | 10.1611
2020-02-15 06:15:00 | 1.46 | 45.515 | 3.503 | 71.657 | 4.026 | 86.067 | 3.69 | 87.633 | -13.053 | 889.925 | 40.789 | 6.4072
2020-02-15 06:30:00 | 2.078 | 159.373 | 2.693 | 123.225 | 3.652 | 118.233 | 3.836 | 113.467 | -13.522 | 889.967 | 41.467 | 3.6743
2020-02-15 06:45:00 | 1.831 | 162.1 | 1.91 | 135.078 | 1.966 | 136.233 | 2.782 | 126.5 | -13.02 | 889.625 | 41.136 | 1.9398
2020-02-15 07:00:00 | 1.813 | 177.78 | 1.257 | 139.125 | 2.169 | 127.6 | 2.792 | 101.433 | -13.228 | 889.708 | 42.688 | 0.38726
2020-02-15 07:15:00 | 5.455 | 221.14 | 3.314 | 217.557 | 0.983 | 169.633 | 1.434 | 108.867 | -14.08 | 890.1 | 42.453 | 0.23022
2020-02-15 07:30:00 | 4.172 | 221.24 | 1.714 | 215.169 | 1.083 | 197.967 | 0.897 | 161.567 | -14.891 | 889.617 | 46.432 | 0.77665
2020-02-15 07:45:00 | 0.618 | 151.277 | 0.21 | 87.383 | 1.186 | 101.533 | 1.999 | 80.1 | -12.52 | 889.683 | 41.984 | 2.0578
2020-02-15 08:00:00 | 0 | 182.24 | 0.539 | 68.278 | 2.499 | 81.767 | 2.836 | 79.933 | -13.14 | 890.133 | 42.677 | 1.2897
2020-02-15 08:15:00 | 0 | 253.333 | 0.063 | 90.301 | 1.377 | 83.5 | 2.603 | 85.033 | -13.916 | 889.542 | 44.597 | 0.23804
2020-02-15 08:30:00 | 0.786 | 0 | 1.624 | 43.933 | 2.298 | 53.567 | 2.458 | 60.333 | -13.522 | 889.858 | 44.288 | 1.1348
2020-02-15 08:45:00 | 0.386 | 55.327 | 0.466 | 68.719 | 2.098 | 74.967 | 3.185 | 80.833 | -13.931 | 890.1 | 43.147 | 3.5877
2020-02-15 09:00:00 | 1.293 | 141.94 | 1.797 | 106.749 | 2.436 | 110.233 | 3.189 | 109.6 | -13.776 | 889.942 | 44.512 | 2.477
2020-02-15 09:15:00 | 2.454 | 195.493 | 1.289 | 156.26 | 1.934 | 131.267 | 2.275 | 119.467 | -13.209 | 889.933 | 42.539 | 2.0656
2020-02-15 09:30:00 | 3.055 | 220.16 | 2.445 | 194.724 | 2.248 | 176.733 | 2.686 | 147.367 | -12.057 | 889.85 | 40.128 | 1.1334
2020-02-15 09:45:00 | 2.608 | 223.233 | 0.884 | 171.304 | 1.972 | 124.3 | 3.079 | 106.633 | -12.553 | 889.667 | 39.563 | 3.7738
2020-02-15 10:00:00 | 0.276 | 211.993 | 0.293 | 97.974 | 2.531 | 96.3 | 3.275 | 84.233 | -10.372 | 889.933 | 37.003 | 7.9086
2020-02-15 10:15:00 | 0.036 | 248.167 | 0.193 | 86.246 | 2.183 | 83.367 | 3.135 | 83.033 | -9.324 | 889.983 | 34.096 | 8.5282
2020-02-15 10:30:00 | 2.117 | 46.09 | 2.17 | 59.469 | 3.145 | 75.833 | 3.987 | 80.333 | -9.704 | 889.833 | 32.336 | 12.4015
2020-02-15 10:45:00 | 3.805 | 78.67 | 3.956 | 74.944 | 4.091 | 84.467 | 4.232 | 84.6 | -9.891 | 889.217 | 33.269 | 10.7978
2020-02-15 11:00:00 | 3.107 | 92.633 | 2.9 | 90.566 | 2.959 | 98.933 | 2.949 | 95.933 | -9.308 | 889.85 | 33.584 | 5.7058
2020-02-15 11:15:00 | 3.296 | 91.1 | 2.912 | 81.635 | 3.133 | 84.867 | 3.387 | 84.533 | -8.741 | 889.85 | 32.544 | 9.7987
2020-02-15 11:30:00 | 4.307 | 90.667 | 4.106 | 84.698 | 4.293 | 92.733 | 4.296 | 89.433 | -7.672 | 889.733 | 31.36 | 21.6062
2020-02-15 11:45:00 | 7.268 | 97.933 | 7.121 | 93.861 | 6.984 | 94.5 | 6.959 | 89.633 | -6.362 | 889.867 | 31.04 | 20.3194
2020-02-15 12:00:00 | 8.028 | 93.717 | 8.167 | 91.842 | 7.716 | 93.967 | 7.386 | 89 | -6.096 | 890.233 | 30.272 | 19.0425
2020-02-15 12:15:00 | 9.025 | 87.36 | 8.976 | 82.405 | 8.948 | 87.733 | 8.95 | 83.167 | -5.958 | 889.783 | 29.419 | 19.3644
2020-02-15 12:30:00 | 10.758 | 86.963 | 10.734 | 82.392 | 10.47 | 87.667 | 10.369 | 83.5 | -5.78 | 889.467 | 29.349 | 19.1299
2020-02-15 12:45:00 | 9.998 | 88.623 | 9.794 | 84.313 | 9.676 | 87.933 | 9.535 | 85.567 | -5.69 | 889.9 | 28.981 | 18.6382
2020-02-15 13:00:00 | 8.924 | 110.067 | 8.89 | 103.751 | 8.975 | 109.9 | 9.259 | 105.967 | -5.352 | 889.917 | 27.365 | 17.4203
2020-02-15 13:15:00 | 8.842 | 95.883 | 8.224 | 93.694 | 8.145 | 96.7 | 7.692 | 92.433 | -5.618 | 889.883 | 27.163 | 16.4951
2020-02-15 13:30:00 | 8.78 | 89.033 | 8.739 | 83.293 | 8.798 | 87.467 | 9.164 | 80.667 | -5.452 | 889.767 | 28.629 | 16.6678
2020-02-15 13:45:00 | 8.93 | 88.167 | 8.762 | 84.079 | 8.396 | 86.9 | 8.802 | 80.833 | -5.219 | 889.55 | 28.645 | 17.4984
2020-02-15 14:00:00 | 9.791 | 87.165 | 9.892 | 83.993 | 9.354 | 89.667 | 9.994 | 81 | -5.019 | 889.633 | 27.483 | 15.5294
2020-02-15 14:15:00 | 9.777 | 92.247 | 9.907 | 87.074 | 10.379 | 92.1 | 10.742 | 87.367 | -4.516 | 889.283 | 25.429 | 14.2469
2020-02-15 14:30:00 | 10.818 | 80.627 | 11.385 | 76.906 | 11.948 | 82 | 12.208 | 77.4 | -4.364 | 889.65 | 26.059 | 14.0202
2020-02-15 14:45:00 | 9.526 | 86.007 | 9.764 | 82.317 | 9.772 | 88.933 | 10.192 | 85.367 | -4.46 | 889.617 | 24.384 | 13.6933
2020-02-15 15:00:00 | 9.402 | 90.437 | 9.9 | 86.385 | 10.182 | 91.833 | 10.43 | 87.833 | -4.424 | 889.933 | 24.347 | 14.2938
2020-02-15 15:15:00 | 9.969 | 85.487 | 9.965 | 82.032 | 9.597 | 87.733 | 9.811 | 83.6 | -4.325 | 889.5 | 25.568 | 14.6966
2020-02-15 15:30:00 | 9.48 | 84.183 | 9.759 | 81.434 | 9.7 | 86.4 | 9.591 | 82.7 | -4.305 | 889.95 | 26.288 | 14.6839
2020-02-15 15:45:00 | 9.571 | 86.197 | 9.378 | 79.613 | 9.054 | 86.833 | 9.415 | 82.1 | -4.384 | 890.067 | 26.565 | 15.01
2020-02-15 16:00:00 | 10.171 | 81.79 | 10.243 | 76.379 | 10.565 | 80.733 | 10.556 | 77.133 | -4.445 | 889.717 | 26.245 | 13.8937
2020-02-15 16:15:00 | 9.636 | 85.973 | 9.612 | 78.449 | 9.726 | 86.033 | 9.839 | 81.133 | -4.46 | 889.5 | 25.488 | 16.1476
2020-02-15 16:30:00 | 9.477 | 83.79 | 9.639 | 79.474 | 9.685 | 83.067 | 10.167 | 78.767 | -3.962 | 890.017 | 24.768 | 21.9572
2020-02-15 16:45:00 | 9.433 | 86.057 | 9.456 | 82.684 | 9.276 | 85.867 | 9.124 | 81.833 | -4.079 | 889.983 | 24.453 | 28.3466
2020-02-15 17:00:00 | 8.215 | 88.35 | 7.618 | 87.268 | 7.358 | 90.2 | 7.488 | 85.3 | -4.305 | 889.617 | 24.683 | 32.448
2020-02-15 17:15:00 | 8.514 | 87.02 | 8.16 | 82.066 | 7.911 | 87.167 | 7.955 | 84.033 | -4.325 | 889.783 | 26.379 | 32.9483
2020-02-15 17:30:00 | 8.11 | 85.94 | 8.09 | 82.012 | 8.038 | 87.867 | 8.259 | 84.067 | -4.444 | 890.283 | 27.675 | 39.5871
2020-02-15 17:45:00 | 7.147 | 85.12 | 7.164 | 81.644 | 7.147 | 88.967 | 7.192 | 83.1 | -4.308 | 889.617 | 28.613 | 41.5795
2020-02-15 18:00:00 | 6.992 | 86.347 | 6.794 | 84.983 | 6.064 | 91.067 | 6.15 | 88.4 | -4.285 | 889.533 | 28.629 | 46.3908
2020-02-15 18:15:00 | 6.501 | 94.92 | 5.977 | 87.725 | 5.564 | 91.567 | 5.542 | 86.367 | -4.076 | 889.417 | 28.832 | 47.9853
2020-02-15 18:30:00 | 7.233 | 95.11 | 6.537 | 93.838 | 6.297 | 94.567 | 5.978 | 93.3 | -4.265 | 889.95 | 29.109 | 53.7487
2020-02-15 18:45:00 | 6.879 | 93.593 | 6.318 | 91.314 | 5.335 | 98.3 | 5.025 | 91.5 | -4.712 | 889.933 | 29.584 | 50.3337
2020-02-15 19:00:00 | 6.694 | 93.3 | 6.042 | 89.52 | 5.17 | 98.7 | 5.296 | 88.033 | -4.785 | 889.717 | 29.675 | 36.3313
2020-02-15 19:15:00 | 5.258 | 101.567 | 4.782 | 99.271 | 4.356 | 100.4 | 4.447 | 93.467 | -5.169 | 889.367 | 29.973 | 25.7971
2020-02-15 19:30:00 | 3.902 | 93.567 | 4.228 | 88.914 | 3.717 | 93.867 | 3.779 | 90.9 | -5.485 | 889.783 | 30.352 | 22.2827
2020-02-15 19:45:00 | 4.237 | 87.207 | 4.878 | 84.589 | 5.12 | 89.633 | 5.242 | 84.367 | -5.839 | 889.767 | 30.048 | 21.9594
2020-02-15 20:00:00 | 3.883 | 87.967 | 4.848 | 82.394 | 4.684 | 88.833 | 5.353 | 82.633 | -6.428 | 889.667 | 29.989 | 21.5806
2020-02-15 20:15:00 | 3.9 | 86.83 | 4.831 | 80.901 | 5.116 | 86.533 | 5.366 | 84.9 | -6.756 | 889.983 | 29.909 | 19.3445
2020-02-15 20:30:00 | 3.349 | 90.027 | 4.055 | 84.876 | 3.707 | 92.567 | 3.512 | 86.6 | -6.968 | 889.167 | 29.547 | 15.5678
2020-02-15 20:45:00 | 3.492 | 85.37 | 4.19 | 83.249 | 4.288 | 90.133 | 4.216 | 86.033 | -7.094 | 889.85 | 29.717 | 15.7433
2020-02-15 21:00:00 | 3.376 | 87.363 | 3.894 | 82.612 | 3.795 | 90.967 | 3.871 | 85.3 | -7.269 | 889.9 | 29.611 | 16.0048
2020-02-15 21:15:00 | 2.692 | 91.447 | 3.259 | 87.329 | 2.909 | 95.2 | 2.91 | 89.567 | -7.287 | 889.85 | 29.531 | 12.7191
2020-02-15 21:30:00 | 3.111 | 81.767 | 3.762 | 82.427 | 3.839 | 89.167 | 3.618 | 85.367 | -7.456 | 889.817 | 30.149 | 15.3447
2020-02-15 21:45:00 | 3.321 | 85.9 | 4.079 | 84.079 | 3.867 | 91.133 | 3.5 | 92.8 | -7.672 | 890.1 | 30.347 | 19.7466
2020-02-15 22:00:00 | 2.7 | 88.533 | 3.466 | 84.56 | 3.495 | 92.2 | 3.303 | 92.567 | -7.472 | 889.583 | 30.437 | 17.487
2020-02-15 22:15:00 | 2.891 | 92.767 | 3.561 | 84.329 | 4.219 | 87.4 | 4.427 | 87.933 | -7.406 | 889.817 | 30.709 | 17.6633
2020-02-15 22:30:00 | 2.933 | 76.9 | 3.76 | 79.571 | 3.908 | 87.233 | 4.197 | 82.833 | -7.091 | 889.567 | 30.171 | 15.6808
2020-02-15 22:45:00 | 2.459 | 41.089 | 3.293 | 55.35 | 4.498 | 68.467 | 5.048 | 65.233 | -7.147 | 890.117 | 30.592 | 19.9449
2020-02-15 23:00:00 | 3.45 | 42.646 | 4.024 | 52.536 | 5.054 | 62.033 | 6.104 | 65.867 | -7.726 | 889.633 | 31.301 | 35.6548
2020-02-15 23:15:00 | 4.503 | 42.74 | 5.573 | 52.572 | 6.57 | 62.733 | 7.539 | 64.833 | -8.391 | 889.85 | 31.531 | 49.7475
2020-02-15 23:30:00 | 5.27 | 71.853 | 6.636 | 71.684 | 7.366 | 78.767 | 8.174 | 76.667 | -8.4 | 889.933 | 32.613 | 50.1042
2020-02-15 23:45:00 | 5.327 | 90.193 | 5.756 | 88.983 | 4.966 | 98.733 | 4.729 | 95.233 | -8.23 | 889.75 | 31.824 | 32.1439