## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-16 00:00:00 | 4.565 | 111.867 | 5.141 | 105.598 | 5.404 | 110.933 | 5.86 | 106.633 | -9.041 | 889.717 | 33.776 | 23.4913
2020-02-16 00:15:00 | 4.328 | 138.527 | 5.512 | 120.936 | 5.918 | 121 | 6.329 | 115.033 | -8.958 | 890.033 | 33.595 | 15.167
2020-02-16 00:30:00 | 3.974 | 140.653 | 4.561 | 113.247 | 4.843 | 113.9 | 4.633 | 103.867 | -8.824 | 889.75 | 34.096 | 8.4565
2020-02-16 00:45:00 | 2.94 | 183.967 | 2.433 | 136.2 | 3.356 | 115.933 | 3.158 | 100.4 | -10.383 | 889.533 | 36.176 | 8.5268
2020-02-16 01:00:00 | 2.172 | 184.8 | 2.04 | 130.597 | 2.712 | 117 | 2.771 | 99.333 | -10.433 | 890.05 | 36.437 | 6.933
2020-02-16 01:15:00 | 4.008 | 206.967 | 2.82 | 170.53 | 2.751 | 148.867 | 3.185 | 122.467 | -11.361 | 890.017 | 38.56 | 2.5516
2020-02-16 01:30:00 | 4.23 | 213.227 | 2.117 | 178.746 | 2.244 | 148.9 | 3.03 | 122.367 | -11.745 | 889.75 | 39.803 | 2.7996
2020-02-16 01:45:00 | 2.497 | 210.807 | 0.834 | 153.425 | 2.5 | 119.2 | 3.53 | 93.867 | -12.522 | 889.992 | 40.587 | 11.9574
2020-02-16 02:00:00 | 3.583 | 78.097 | 4.568 | 77.922 | 5.055 | 86.033 | 4.844 | 86.267 | -9.533 | 889.467 | 38.16 | 22.4667
2020-02-16 02:15:00 | 3.845 | 100.993 | 4.5 | 93.605 | 3.869 | 101.4 | 4.945 | 102.2 | -9.295 | 889.817 | 34.203 | 15.1521
2020-02-16 02:30:00 | 3.522 | 204.28 | 2.618 | 171.191 | 3.271 | 148.933 | 4.107 | 120.233 | -11.803 | 889.6 | 37.525 | 5.2198
2020-02-16 02:45:00 | 3.062 | 201.7 | 2.117 | 150.776 | 3.094 | 128.167 | 4.117 | 111.8 | -11.77 | 890.033 | 38.923 | 5.1964
2020-02-16 03:00:00 | 3.958 | 214.967 | 1.617 | 181.339 | 1.794 | 146.1 | 2.665 | 107.833 | -12.836 | 889.817 | 41.632 | 2.968
2020-02-16 03:15:00 | 2.644 | 225.313 | 0 | 199.541 | 1.246 | 81.967 | 3.078 | 76.5 | -11.87 | 890.042 | 41.6 | 3.2508
2020-02-16 03:30:00 | 1.633 | 228.427 | 0 | 96.02 | 1.807 | 72.933 | 3.463 | 71.267 | -11.745 | 889.875 | 40.197 | 6.1848
2020-02-16 03:45:00 | 2.027 | 232.667 | 0.293 | 95.146 | 2.61 | 92.767 | 4.145 | 81.5 | -12.486 | 889.9 | 41.515 | 5.9439
2020-02-16 04:00:00 | 2.327 | 224.9 | 0.087 | 136.432 | 2.015 | 119.933 | 3.908 | 99.733 | -12.903 | 889.983 | 42.709 | 2.9759
2020-02-16 04:15:00 | 4.366 | 212.72 | 2.339 | 195.222 | 2.229 | 171.833 | 2.782 | 135.867 | -14.583 | 889.967 | 46.528 | 2.3307
2020-02-16 04:30:00 | 4.278 | 210.4 | 2.883 | 184.194 | 2.956 | 166.333 | 3.316 | 137.233 | -12.853 | 890.008 | 44.139 | 1.8468
2020-02-16 04:45:00 | 5.406 | 216.793 | 3.01 | 201.068 | 2.912 | 182.067 | 3.193 | 148.533 | -13.685 | 889.492 | 45.28 | 2.7776
2020-02-16 05:00:00 | 5.312 | 213.2 | 3.577 | 201.456 | 3.241 | 180.767 | 3.49 | 152.6 | -12.936 | 890.017 | 42.731 | 2.4024
2020-02-16 05:15:00 | 5.468 | 216.493 | 3.432 | 197.202 | 3.043 | 185.267 | 3.226 | 164.333 | -13.159 | 890.1 | 42.869 | 1.144
2020-02-16 05:30:00 | 3.77 | 216.707 | 0.754 | 182.826 | 1.147 | 161.533 | 2.294 | 122.2 | -13.157 | 889.908 | 44.555 | 0.54856
2020-02-16 05:45:00 | 3.724 | 228.48 | 0.08 | 218.043 | 0.711 | 102.4 | 2.267 | 83.3 | -11.782 | 889.875 | 41.44 | 0.66367
2020-02-16 06:00:00 | 1.984 | 252.407 | 0.587 | 141.879 | 1.88 | 41.691 | 2.946 | 67.133 | -10.891 | 889.942 | 40.64 | 1.8681
2020-02-16 06:15:00 | 0.836 | 314.327 | 2.33 | 17.15 | 2.909 | 38.631 | 3.463 | 48.333 | -9.37 | 889.983 | 36.832 | 1.4396
2020-02-16 06:30:00 | 2.47 | 2.101 | 3.287 | 26.862 | 3.833 | 37.867 | 3.722 | 39.433 | -10.17 | 889.883 | 37.803 | 4.5384
2020-02-16 06:45:00 | 3 | 2.834 | 4.364 | 15.969 | 5.891 | 33.1 | 6.065 | 37.367 | -10.062 | 889.317 | 36.357 | 3.2857
2020-02-16 07:00:00 | 2.585 | 223.36 | 3.469 | 21.56 | 3.745 | 44.604 | 3.33 | 48.7 | -11.511 | 889.6 | 38.245 | 0.21317
2020-02-16 07:15:00 | 2.114 | 338.64 | 1.804 | 42.121 | 2.636 | 33.469 | 2.506 | 42.967 | -10.849 | 889.75 | 37.691 | 0.2487
2020-02-16 07:30:00 | 0.628 | 283.253 | 0.03 | 30.063 | 0.905 | 56.029 | 0.399 | 59 | -12.124 | 889.483 | 39.243 | 0.21885
2020-02-16 07:45:00 | 0.023 | 251.167 | 0 | 30.052 | 0.03 | 56.067 | 0 | 59 | -12.57 | 889.675 | 41.557 | 0.21459
2020-02-16 08:00:00 | 2.246 | 216.767 | 0 | 30.056 | 0.772 | 75.633 | 1.169 | 59 | -12.653 | 889.8 | 42.304 | 0.21459
2020-02-16 08:15:00 | 2.539 | 227.193 | 1.676 | 203.496 | 1.293 | 140.1 | 1.32 | 61 | -12.074 | 889.933 | 41.739 | 0.21601
2020-02-16 08:30:00 | 2.902 | 232.447 | 1.352 | 219.364 | 1.221 | 217.333 | 1.163 | 119.6 | -12.161 | 889.442 | 41.264 | 0.22028
2020-02-16 08:45:00 | 2.647 | 229.633 | 1.41 | 206.922 | 1.564 | 202 | 1.724 | 149 | -12.62 | 890.092 | 41.845 | 0.21885
2020-02-16 09:00:00 | 2.86 | 230.22 | 0.323 | 213.401 | 0.117 | 201.933 | 0.218 | 149 | -12.236 | 889.767 | 41.44 | 0.21743
2020-02-16 09:15:00 | 3.457 | 235.893 | 2.15 | 249.292 | 1.587 | 236.3 | 0.896 | 149 | -12.545 | 889.975 | 43.179 | 0.22454
2020-02-16 09:30:00 | 4.806 | 243.293 | 4.236 | 266.587 | 2.619 | 267.6 | 1.639 | 234.933 | -13.353 | 889.833 | 43.136 | 0.22312
2020-02-16 09:45:00 | 3.487 | 248.82 | 3.354 | 283.344 | 2.621 | 288.467 | 1.49 | 260.15 | -12.87 | 889.425 | 43.701 | 0.21601
2020-02-16 10:00:00 | 3.317 | 265.64 | 3.506 | 290.51 | 2.064 | 308.133 | 1.014 | 282.1 | -10.984 | 889.533 | 39.512 | 0.22028
2020-02-16 10:15:00 | 2.894 | 259.133 | 3.149 | 296.375 | 2.064 | 318.233 | 1.367 | 282.133 | -11.04 | 889.483 | 39.125 | 0.21743
2020-02-16 10:30:00 | 1.734 | 277.267 | 1.68 | 308.57 | 1.584 | 338.267 | 1.865 | 316.733 | -10.299 | 890.05 | 37.445 | 0.23449
2020-02-16 10:45:00 | 1.381 | 279.933 | 0.287 | 292.148 | 0.416 | 305.4 | 0.242 | 320.633 | -8.591 | 889.767 | 34.736 | 0.21459
2020-02-16 11:00:00 | 1.136 | 307.6 | 0.346 | 288.949 | 0.75 | 292 | 0.9 | 320 | -8.774 | 889.867 | 32.76 | 0.23733
2020-02-16 11:15:00 | 2.167 | 273.387 | 1.786 | 273.718 | 2.125 | 276.667 | 2.055 | 285.133 | -8.447 | 889.75 | 32.091 | 0.30696
2020-02-16 11:30:00 | 2.619 | 256.38 | 2.535 | 260.391 | 2.794 | 264.167 | 2.69 | 256.167 | -7.283 | 889.5 | 31.163 | 0.24372
2020-02-16 11:45:00 | 1.899 | 270.487 | 1.166 | 263.019 | 1.046 | 279.2 | 0.605 | 282.2 | -6.551 | 889.867 | 29.941 | 0.21601
2020-02-16 12:00:00 | 1.486 | 322.427 | 0.596 | 284.922 | 1.16 | 294.233 | 0.737 | 283.767 | -5.142 | 889.317 | 27.125 | 0.24159
2020-02-16 12:15:00 | 2.832 | 93.793 | 3.029 | 94.504 | 3.418 | 98.667 | 3.552 | 92.6 | -5.052 | 889.733 | 26.299 | 2.428
2020-02-16 12:30:00 | 4.525 | 89.967 | 4.36 | 83.731 | 4.574 | 95.333 | 4.525 | 90.667 | -5.219 | 889.683 | 27.093 | 5.1594
2020-02-16 12:45:00 | 3.82 | 88.332 | 3.766 | 86.874 | 3.881 | 92.067 | 4.005 | 86.933 | -5.252 | 890.017 | 27.509 | 6.0746
2020-02-16 13:00:00 | 4.271 | 90.967 | 4.144 | 89.469 | 4.303 | 93.433 | 4.422 | 91.9 | -5.502 | 889.883 | 27.472 | 5.8181
2020-02-16 13:15:00 | 3.752 | 103.033 | 3.656 | 96.498 | 3.744 | 103.633 | 3.827 | 103.533 | -4.969 | 889.9 | 27.168 | 4.0723
2020-02-16 13:30:00 | 3.29 | 86.32 | 3.362 | 79.453 | 3.639 | 83.2 | 3.861 | 77.267 | -4.576 | 889.667 | 26.315 | 8.0187
2020-02-16 13:45:00 | 4.381 | 84.3 | 4.609 | 82.447 | 4.56 | 92.5 | 4.484 | 84.367 | -3.438 | 890.133 | 24.069 | 14.8466
2020-02-16 14:00:00 | 4.337 | 95.373 | 4.016 | 90.376 | 4.209 | 94.233 | 4.59 | 87.4 | -3.106 | 889.65 | 23.216 | 15.6694
2020-02-16 14:15:00 | 4.299 | 74.036 | 4.136 | 78.035 | 4.317 | 79.333 | 4.831 | 76.967 | -2.76 | 890 | 22.795 | 16.3445
2020-02-16 14:30:00 | 4.774 | 86.323 | 4.787 | 80.444 | 5.235 | 84.633 | 5.486 | 83.133 | -2.618 | 890 | 22.368 | 14.8452
2020-02-16 14:45:00 | 5.187 | 81.022 | 5.077 | 77.945 | 5.387 | 81.9 | 5.401 | 81.167 | -2.221 | 890.1 | 21.648 | 15.1109
2020-02-16 15:00:00 | 4.764 | 91.413 | 4.698 | 86.838 | 4.628 | 91.133 | 4.568 | 90.067 | -2.18 | 890.033 | 21.013 | 23.8566
2020-02-16 15:15:00 | 6.282 | 103.813 | 6.133 | 97.301 | 5.942 | 100.533 | 5.864 | 91.467 | -1.376 | 889.367 | 19.227 | 28.3971
2020-02-16 15:30:00 | 5.154 | 91.477 | 5.476 | 86.286 | 5.596 | 86.7 | 6.012 | 83.567 | -1.663 | 889.633 | 18.272 | 26.4473
2020-02-16 15:45:00 | 5.883 | 87.957 | 5.968 | 79.799 | 5.796 | 82.267 | 5.8 | 81.2 | -1.362 | 889.5 | 18.195 | 21.8428
2020-02-16 16:00:00 | 5.623 | 100.773 | 4.938 | 95.822 | 5.194 | 98.567 | 5.409 | 91.933 | -1.199 | 889.6 | 17.459 | 16.4716
2020-02-16 16:15:00 | 6.03 | 75.858 | 5.765 | 72.158 | 5.952 | 77.167 | 5.974 | 76.9 | -1.239 | 889.6 | 16.888 | 16.8511
2020-02-16 16:30:00 | 5.625 | 86.347 | 5.542 | 79.649 | 6.081 | 85.533 | 6.024 | 80.767 | -1.099 | 889.833 | 16.704 | 15.9401
2020-02-16 16:45:00 | 5.494 | 88.087 | 5.304 | 81.815 | 5.254 | 85.633 | 5.634 | 80.167 | -1.132 | 889.5 | 16.683 | 13.2499
2020-02-16 17:00:00 | 4.124 | 91.38 | 3.962 | 86.218 | 3.982 | 96 | 4.29 | 87.633 | -0.882 | 889.6 | 16.875 | 11.7762
2020-02-16 17:15:00 | 3.545 | 90.147 | 3.595 | 84.263 | 3.709 | 87.567 | 3.848 | 78.833 | -1.099 | 889.2 | 16.944 | 9.8968
2020-02-16 17:30:00 | 4.016 | 74.243 | 3.87 | 72.893 | 4.135 | 81.3 | 4.306 | 76.933 | -0.549 | 889.8 | 16.768 | 8.3676
2020-02-16 17:45:00 | 3.756 | 66.313 | 3.7 | 61.393 | 3.876 | 64.4 | 3.958 | 61.133 | -1.082 | 890.067 | 17.328 | 5.6277
2020-02-16 18:00:00 | 3.981 | 72.155 | 3.868 | 68.626 | 3.738 | 73.167 | 3.525 | 74.533 | -1.446 | 889.8 | 17.725 | 3.582
2020-02-16 18:15:00 | 3.361 | 67.247 | 3.241 | 66.409 | 3.386 | 71.867 | 3.504 | 69.7 | -1.503 | 889.267 | 17.933 | 3.6019
2020-02-16 18:30:00 | 3.533 | 77.038 | 3.456 | 70.487 | 3.76 | 72.333 | 3.884 | 67.233 | -1.62 | 889.3 | 18.421 | 4.7089
2020-02-16 18:45:00 | 2.573 | 51.645 | 2.052 | 47.104 | 2.355 | 55.033 | 2.569 | 53.533 | -2.071 | 889.567 | 19.037 | 1.797
2020-02-16 19:00:00 | 2.208 | 55.17 | 1.698 | 46.551 | 1.905 | 51.667 | 2.331 | 45.967 | -2.094 | 889.633 | 19.387 | 0.77239
2020-02-16 19:15:00 | 1.833 | 54.582 | 1.988 | 54.01 | 2.576 | 60.967 | 2.781 | 58.933 | -2.552 | 889.733 | 20.413 | 0.87471
2020-02-16 19:30:00 | 1.917 | 43.165 | 1.677 | 48.628 | 2.004 | 56.267 | 2.126 | 53.6 | -2.907 | 889.833 | 20.795 | 0.3297
2020-02-16 19:45:00 | 1.674 | 29.734 | 2.371 | 36.802 | 2.786 | 41.6 | 2.231 | 44.633 | -3.167 | 889.717 | 21.477 | 0.19612
2020-02-16 20:00:00 | 1.842 | 17.4 | 2.491 | 26.44 | 2.678 | 31.9 | 2.594 | 33.767 | -3.689 | 889.933 | 22.933 | 0.26931
2020-02-16 20:15:00 | 2.005 | 23.009 | 2.534 | 27.576 | 2.742 | 39.133 | 2.788 | 32 | -4.159 | 889.583 | 23.536 | 0.24515
2020-02-16 20:30:00 | 2.616 | 43.8 | 2.82 | 43.773 | 3.024 | 49.9 | 3.087 | 47.067 | -3.689 | 889.05 | 23.691 | 0.16627
2020-02-16 20:45:00 | 1.153 | 55.025 | 1.69 | 60.863 | 2.088 | 62.733 | 2.395 | 60.267 | -4.255 | 889.167 | 23.755 | 0.28138
2020-02-16 21:00:00 | 0 | 55.025 | 0 | 59.126 | 0.675 | 61.033 | 1.481 | 60.9 | -4.305 | 889.367 | 24.293 | 0.22596
2020-02-16 21:15:00 | 0 | 56.832 | 0.767 | 61.736 | 1.736 | 69.967 | 2.09 | 62.1 | -4.484 | 889.617 | 25.483 | 0.22596
2020-02-16 21:30:00 | 0 | 58.05 | 0 | 63.15 | 1.521 | 71.1 | 1.91 | 65.967 | -4.952 | 889.917 | 25.776 | 0.21601
2020-02-16 21:45:00 | 0.857 | 81.323 | 0 | 63.129 | 1.196 | 71.233 | 1.774 | 66.133 | -5.607 | 889.55 | 26.219 | 0.22312
2020-02-16 22:00:00 | 1.975 | 200.233 | 0 | 63.906 | 0 | 71.133 | 0 | 66.167 | -5.435 | 889.683 | 25.445 | 0.21317
2020-02-16 22:15:00 | 2.282 | 213.2 | 0 | 87.261 | 0 | 71.3 | 0 | 66 | -4.969 | 889.933 | 24.603 | 0.21743
2020-02-16 22:30:00 | 2.348 | 213.2 | 0 | 87.261 | 0 | 71.033 | 0 | 66.1 | -4.835 | 890.167 | 24.24 | 0.21459
2020-02-16 22:45:00 | 3.636 | 212.233 | 1.233 | 177.74 | 0 | 71.2 | 0 | 66.067 | -5.252 | 889.867 | 24.469 | 0.21459
2020-02-16 23:00:00 | 3.376 | 210.8 | 1.705 | 192.593 | 1.249 | 127.733 | 1.29 | 66 | -5.169 | 890.033 | 24.304 | 0.21459
2020-02-16 23:15:00 | 3.031 | 211.433 | 1.244 | 185.529 | 1.059 | 135 | 1.157 | 65.867 | -5.335 | 889.617 | 24.432 | 0.21601
2020-02-16 23:30:00 | 4.005 | 254.12 | 2.993 | 258.351 | 2.268 | 234.467 | 1.303 | 186.533 | -9.358 | 889.617 | 28.525 | 0.2757
2020-02-16 23:45:00 | 4.345 | 247.287 | 3.775 | 276.006 | 3.358 | 288.4 | 3.347 | 291.2 | -9.578 | 889.517 | 30.755 | 0.12577