## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-17 00:00:00 | 4.122 | 246.733 | 2.553 | 265.028 | 2.512 | 282 | 2.865 | 282 | -7.99 | 889.7 | 29.456 | 0.56277
2020-02-17 00:15:00 | 4.994 | 246.167 | 3.273 | 269.626 | 2.968 | 272.6 | 2.869 | 282.033 | -7.973 | 889.5 | 29.389 | 0.93297
2020-02-17 00:30:00 | 4.633 | 242.267 | 3.636 | 271.478 | 2.886 | 284.133 | 2.823 | 285.167 | -9.041 | 889.517 | 32.213 | 0.47395
2020-02-17 00:45:00 | 5.083 | 232.4 | 3.666 | 259.605 | 3.226 | 273.6 | 2.925 | 283.933 | -9.091 | 889.767 | 34.341 | 0.95784
2020-02-17 01:00:00 | 5.618 | 231.693 | 3.88 | 251.548 | 3.452 | 262.6 | 3.092 | 272.267 | -9.558 | 889.45 | 37.76 | 1.0985
2020-02-17 01:15:00 | 4.978 | 232.353 | 3.776 | 250.455 | 3.122 | 264.067 | 2.958 | 272.133 | -9.828 | 890.192 | 42.272 | 0.33326
2020-02-17 01:30:00 | 5.552 | 223.66 | 3.921 | 244.133 | 3.445 | 255.467 | 2.991 | 265.667 | -9.354 | 889.958 | 42.976 | 0.25509
2020-02-17 01:45:00 | 5.501 | 230.153 | 4.202 | 248.103 | 3.84 | 256.3 | 3.487 | 260.167 | -9.933 | 889.692 | 45.504 | 1.3565
2020-02-17 02:00:00 | 4.668 | 231.92 | 4.279 | 249.369 | 3.924 | 258.267 | 3.742 | 258.533 | -9.828 | 889.783 | 45.781 | 1.915
2020-02-17 02:15:00 | 4.756 | 238.44 | 5.03 | 255.34 | 4.717 | 264.2 | 4.083 | 261.167 | -9.745 | 889.617 | 46.16 | 2.8401
2020-02-17 02:30:00 | 5.479 | 228.933 | 4.94 | 247.287 | 4.295 | 255.733 | 3.52 | 257.617 | -9.191 | 890.192 | 44.373 | 4.9185
2020-02-17 02:45:00 | 4.496 | 230.733 | 4.255 | 247.663 | 3.855 | 256.1 | 3.179 | 259.783 | -9.174 | 889.883 | 41.333 | 4.7111
2020-02-17 03:00:00 | 4.255 | 224.6 | 4.631 | 241.726 | 4.097 | 247.867 | 3.299 | 246.067 | -9.108 | 889.717 | 40.475 | 3.3297
2020-02-17 03:15:00 | 4.852 | 218.633 | 4.49 | 232.277 | 4.055 | 238.433 | 3.4 | 235 | -9.324 | 889.733 | 41.867 | 3.2928
2020-02-17 03:30:00 | 4.801 | 215.853 | 5.413 | 233.525 | 4.991 | 238.2 | 4.426 | 233.4 | -9.295 | 889.95 | 42.485 | 6.4598
2020-02-17 03:45:00 | 5.628 | 231.1 | 5.384 | 235.03 | 5.062 | 239.867 | 4.538 | 235.133 | -8.858 | 890 | 39.397 | 7.9498
2020-02-17 04:00:00 | 4.646 | 220.553 | 4.322 | 234.144 | 4.235 | 240.2 | 3.914 | 236.367 | -8.381 | 889.867 | 37.893 | 4.0843
2020-02-17 04:15:00 | 5 | 228.46 | 4.277 | 237.531 | 4.123 | 243.7 | 3.794 | 238.067 | -8.444 | 889.65 | 37.077 | 4.1661
2020-02-17 04:30:00 | 5.238 | 225.3 | 4.511 | 238.723 | 4.444 | 246.6 | 3.91 | 243.267 | -8.558 | 889.35 | 37.104 | 5.3364
2020-02-17 04:45:00 | 4.975 | 217.833 | 5.207 | 234.394 | 4.489 | 244.333 | 3.491 | 239.5 | -9.308 | 889.9 | 38.976 | 5.1722
2020-02-17 05:00:00 | 5.386 | 216.907 | 4.606 | 232.556 | 3.617 | 240.933 | 2.917 | 240 | -9.433 | 889.7 | 39.221 | 2.9034
2020-02-17 05:15:00 | 5.007 | 219.433 | 4.021 | 237.305 | 3.232 | 246.9 | 2.67 | 248.067 | -9.074 | 889.667 | 39.024 | 1.9931
2020-02-17 05:30:00 | 5.087 | 219.467 | 3.907 | 236.112 | 3.156 | 251.3 | 2.876 | 256.067 | -9.599 | 889.867 | 39.541 | 1.6855
2020-02-17 05:45:00 | 5.679 | 215.753 | 4.676 | 232.953 | 3.891 | 244.367 | 3.062 | 247.033 | -9.828 | 889.85 | 39.899 | 2.8266
2020-02-17 06:00:00 | 5.66 | 219.127 | 3.919 | 236.333 | 3.293 | 245.067 | 2.67 | 245 | -9.974 | 889.825 | 40.715 | 2.217
2020-02-17 06:15:00 | 5.655 | 217.813 | 4.088 | 231.856 | 3.455 | 241.467 | 2.813 | 245 | -9.891 | 889.642 | 41.525 | 3.6424
2020-02-17 06:30:00 | 5.717 | 212.133 | 5.053 | 229.932 | 4.237 | 237.6 | 3.529 | 230.967 | -10.166 | 889.85 | 42.88 | 4.9079
2020-02-17 06:45:00 | 5.869 | 214.733 | 4.644 | 229.858 | 4.026 | 236.2 | 3.552 | 231 | -10.316 | 889.733 | 44.224 | 5.109
2020-02-17 07:00:00 | 5.904 | 214.167 | 5.343 | 228.318 | 5.008 | 233.933 | 4.44 | 229.567 | -10.366 | 889.592 | 44.405 | 8.8167
2020-02-17 07:15:00 | 6.316 | 212.267 | 5.834 | 223.631 | 5.872 | 230.567 | 5.682 | 227.067 | -10.349 | 889.85 | 44.896 | 8.3641
2020-02-17 07:30:00 | 5.461 | 214.467 | 5.379 | 232.807 | 5.107 | 242.7 | 4.816 | 239.267 | -10.233 | 890.275 | 45.056 | 8.3001
2020-02-17 07:45:00 | 5.458 | 215.34 | 5.531 | 231.328 | 5.033 | 240.8 | 4.511 | 238.133 | -10.818 | 890.142 | 46.496 | 9.6921
2020-02-17 08:00:00 | 6.057 | 212.733 | 6 | 229.742 | 5.476 | 238.167 | 4.769 | 234.933 | -10.366 | 889.825 | 45.995 | 10.3231
2020-02-17 08:15:00 | 5.814 | 219.2 | 5.655 | 234.603 | 5.26 | 244.533 | 4.858 | 241.967 | -10.299 | 889.625 | 45.365 | 8.8757
2020-02-17 08:30:00 | 5.804 | 213.033 | 5.853 | 233.393 | 5.295 | 245.033 | 4.775 | 243.267 | -10.56 | 889.8 | 46.016 | 9.7007
2020-02-17 08:45:00 | 5.914 | 212.993 | 6.114 | 228.718 | 5.711 | 236.233 | 5.06 | 232.933 | -10.947 | 889.875 | 46.848 | 9.7511
2020-02-17 09:00:00 | 5.807 | 208.193 | 5.732 | 227.22 | 5.33 | 236.767 | 4.805 | 234.233 | -10.76 | 889.892 | 45.749 | 7.7331
2020-02-17 09:15:00 | 5.521 | 214.867 | 5.25 | 228.091 | 4.892 | 237.933 | 4.326 | 233.9 | -10.416 | 890.4 | 43.765 | 6.3894
2020-02-17 09:30:00 | 5.31 | 216.8 | 4.493 | 229.382 | 4.207 | 236.9 | 3.87 | 233.433 | -10.116 | 889.767 | 42.101 | 3.572
2020-02-17 09:45:00 | 4.941 | 213.94 | 4.91 | 231.802 | 4.191 | 242.533 | 3.636 | 239.033 | -9.745 | 889.842 | 41.061 | 3.5379
2020-02-17 10:00:00 | 4.795 | 211.867 | 4.3 | 225.855 | 4.094 | 234.333 | 3.696 | 229.933 | -8.891 | 889.733 | 39.952 | 3.8598
2020-02-17 10:15:00 | 4.316 | 213.187 | 5.23 | 224.45 | 4.928 | 233.133 | 4.459 | 230.033 | -8.331 | 889.6 | 38.667 | 4.9356
2020-02-17 10:30:00 | 3.884 | 218.7 | 4.617 | 232.496 | 4.358 | 243.067 | 4.027 | 238.1 | -6.942 | 889.483 | 36.235 | 4.3714
2020-02-17 10:45:00 | 3.44 | 213.94 | 4.194 | 223.489 | 4.246 | 235.533 | 3.923 | 231.2 | -5.488 | 889.683 | 33.707 | 3.2608
2020-02-17 11:00:00 | 3.336 | 217.013 | 3.246 | 218.701 | 3.63 | 225.367 | 3.649 | 224.933 | -4.345 | 889.933 | 30.8 | 1.1568
2020-02-17 11:15:00 | 2.663 | 229.647 | 2.579 | 235.205 | 2.86 | 240.567 | 2.91 | 238.3 | -2.821 | 889.85 | 27.685 | 0.11937
2020-02-17 11:30:00 | 2.444 | 264.733 | 2.401 | 262.636 | 2.718 | 264.617 | 2.89 | 260.35 | -2.054 | 890.3 | 25.552 | 0.1478
2020-02-17 11:45:00 | 1.606 | 306.36 | 1.047 | 297.088 | 1.74 | 288.9 | 2.043 | 278.667 | -1.968 | 889.617 | 24.533 | 0.57343
2020-02-17 12:00:00 | 2.523 | 286.353 | 2.852 | 287.459 | 3.418 | 285.733 | 3.596 | 287.2 | -1.808 | 889.65 | 23.632 | 0.95642
2020-02-17 12:15:00 | 3.018 | 304.653 | 3.095 | 299.967 | 3.248 | 304.367 | 3.605 | 298.583 | -2.164 | 889.717 | 24.421 | 2.2866
2020-02-17 12:30:00 | 3.323 | 306.733 | 3.175 | 315.394 | 3.201 | 318.7 | 3.396 | 315.1 | -2.001 | 889.683 | 24.413 | 1.7636
2020-02-17 12:45:00 | 2.93 | 308.613 | 2.774 | 310.209 | 3.096 | 301.967 | 3.449 | 290.833 | -1.862 | 889.667 | 24.461 | 0.97277
2020-02-17 13:00:00 | 3.493 | 270.427 | 3.926 | 317.543 | 3.794 | 309.767 | 3.792 | 331.833 | -1.195 | 889.9 | 24.419 | 2.2227
2020-02-17 13:15:00 | 3.588 | 327.373 | 3.473 | 331.233 | 3.415 | 323 | 3.487 | 320.033 | -1.048 | 889.633 | 23.803 | 2.2632
2020-02-17 13:30:00 | 2.64 | 341.52 | 2.554 | 312.49 | 2.939 | 267.533 | 2.984 | 292.8 | -0.995 | 890.083 | 24.072 | 1.4524
2020-02-17 13:45:00 | 2.675 | 286.728 | 2.651 | 312.833 | 3.173 | 322.3 | 3.447 | 321.1 | -0.708 | 889.667 | 23.883 | 1.4098
2020-02-17 14:00:00 | 3.498 | 338 | 3.375 | 330.406 | 3.576 | 338.8 | 3.758 | 293 | -0.658 | 889.783 | 23.835 | 3.1222
2020-02-17 14:15:00 | 4.495 | 327.947 | 4.408 | 322.064 | 4.524 | 331.933 | 4.51 | 332.8 | -0.772 | 889.2 | 24.877 | 3.7944
2020-02-17 14:30:00 | 3.842 | 251.108 | 3.829 | 309.114 | 3.954 | 284.1 | 4.033 | 302.467 | -0.628 | 889.483 | 24.731 | 3.2203
2020-02-17 14:45:00 | 3.304 | 264.176 | 3.12 | 297.918 | 3.465 | 314.133 | 3.599 | 302.133 | -0.246 | 889.967 | 24.672 | 3.1521
2020-02-17 15:00:00 | 2.086 | 98.498 | 1.299 | 248.779 | 1.952 | 218 | 2.022 | 229.7 | -0.383 | 889.783 | 25.067 | 1.9789
2020-02-17 15:15:00 | 2.888 | 35.552 | 2.73 | 46.934 | 2.798 | 48.167 | 2.806 | 32.133 | -0.246 | 889.4 | 26.165 | 1.9626
2020-02-17 15:30:00 | 3.469 | 122.865 | 3.368 | 72.702 | 3.774 | 28.506 | 3.512 | 85.667 | -0.239 | 889.983 | 26.024 | 1.8191
2020-02-17 15:45:00 | 3.061 | 109.177 | 3.063 | 80.763 | 3.215 | 69.934 | 3.106 | 56.6 | -0.346 | 890.05 | 27.037 | 1.645
2020-02-17 16:00:00 | 4.047 | 70.899 | 4.052 | 98.279 | 4.163 | 28.3 | 4.154 | 13.767 | -0.459 | 889.667 | 27.219 | 1.2001
2020-02-17 16:15:00 | 3.02 | 27.392 | 3.249 | 35.696 | 3.526 | 26.9 | 3.721 | 23.4 | -0.459 | 889.85 | 27.632 | 1.6819
2020-02-17 16:30:00 | 3.634 | 30.737 | 3.623 | 30.646 | 3.572 | 29.7 | 3.736 | 30.567 | -0.538 | 890.017 | 27.573 | 1.5824
2020-02-17 16:45:00 | 1.622 | 43.352 | 1.473 | 43.395 | 2.183 | 48.733 | 2.395 | 45.1 | -0.738 | 890.133 | 27.776 | 0.97845
2020-02-17 17:00:00 | 2.357 | 17.248 | 2.382 | 17.722 | 2.613 | 23.467 | 2.876 | 23.167 | -0.505 | 889.933 | 28.165 | 0.99195
2020-02-17 17:15:00 | 3.567 | 40.313 | 3.47 | 35.524 | 3.335 | 38.033 | 3.471 | 30.933 | -0.648 | 890 | 29.227 | 0.44055
2020-02-17 17:30:00 | 2.444 | 131.965 | 2.392 | 186.766 | 2.321 | 65.967 | 2.272 | 48.4 | -0.615 | 889.517 | 29.675 | 0.10801
2020-02-17 17:45:00 | 2.076 | 31.373 | 1.992 | 98.176 | 2.353 | 18.467 | 2.399 | 3.967 | -0.518 | 889.8 | 30.416 | 0.31052
2020-02-17 18:00:00 | 2.068 | 45.676 | 1.7 | 54.522 | 1.93 | 8.433 | 1.994 | 8.267 | -0.538 | 889.617 | 30.72 | 0.24586
2020-02-17 18:15:00 | 2.057 | 36.004 | 1.866 | 34.353 | 2.314 | 37.533 | 2.274 | 31.433 | -0.862 | 889.75 | 31.408 | 0.25865
2020-02-17 18:30:00 | 1.831 | 19.098 | 1.22 | 8.288 | 1.688 | 15.633 | 1.77 | 8.067 | -1.042 | 889.733 | 31.957 | 0.2217
2020-02-17 18:45:00 | 1.342 | 84.302 | 0.654 | 191.16 | 1.256 | 2.267 | 1.327 | 0 | -1.012 | 889.833 | 32.571 | 0.21175
2020-02-17 19:00:00 | 0.545 | 14.427 | 0.06 | 0.935 | 0.879 | 1.867 | 1.155 | 299.133 | -1.279 | 889.683 | 34.208 | 0.21033
2020-02-17 19:15:00 | 0.093 | 7.013 | 0 | 7.017 | 0 | 0 | 0.158 | 346 | -1.386 | 889.833 | 35.216 | 0.2217
2020-02-17 19:30:00 | 0.16 | 7.008 | 0 | 6.314 | 0.636 | 0 | 1.008 | 346.067 | -1.926 | 889.65 | 36.389 | 0.22312
2020-02-17 19:45:00 | 1.559 | 336.733 | 0.977 | 344.085 | 1.773 | 338 | 2.158 | 338.667 | -1.756 | 889.8 | 37.896 | 0.13856
2020-02-17 20:00:00 | 2.763 | 36.388 | 2.811 | 71.874 | 2.879 | 6.4 | 2.839 | 7.233 | -2.639 | 890.208 | 41.28 | 0.063241
2020-02-17 20:15:00 | 1.918 | 15.8 | 2.449 | 0 | 2.437 | 3.933 | 2.549 | 6 | -3.304 | 889.425 | 42.752 | 0.12648
2020-02-17 20:30:00 | 1.657 | 339.467 | 2.106 | 0.802 | 2.838 | 1.634 | 3.547 | 0 | -3.756 | 889.917 | 43.445 | 0.39294
2020-02-17 20:45:00 | 1.156 | 14.003 | 2.704 | 0.802 | 2.741 | 0 | 2.714 | 0 | -4.079 | 890.092 | 45.504 | 0.13501
2020-02-17 21:00:00 | 0.737 | 348.227 | 1.293 | 345.642 | 1.651 | 348.533 | 1.71 | 0 | -4.246 | 889.7 | 47.499 | 0.23875
2020-02-17 21:15:00 | 0 | 348.16 | 0 | 345.113 | 0.992 | 349 | 1.168 | 0 | -4.246 | 889.842 | 48.256 | 0.21601
2020-02-17 21:30:00 | 0.253 | 304.4 | 0 | 344.913 | 0 | 348.367 | 0.248 | 0 | -5.269 | 889.892 | 50.453 | 0.21175
2020-02-17 21:45:00 | 1.848 | 216.5 | 0.27 | 304.216 | 0 | 348.067 | 0.027 | 0 | -5.235 | 890.175 | 51.221 | 0.21601
2020-02-17 22:00:00 | 2.302 | 216.767 | 0.233 | 250.396 | 0 | 334 | 0.175 | 11.833 | -5.069 | 889.6 | 50.453 | 0.21885
2020-02-17 22:15:00 | 2.976 | 210.733 | 0.841 | 227.837 | 0 | 302 | 0 | 0 | -4.935 | 889.383 | 49.707 | 0.21601
2020-02-17 22:30:00 | 2.814 | 212.467 | 0.057 | 219.606 | 0.126 | 275.933 | 0 | 11.933 | -4.952 | 889.767 | 49.803 | 0.21459
2020-02-17 22:45:00 | 2.139 | 216.407 | 0.093 | 230.024 | 0.057 | 276 | 0.386 | 148.2 | -4.54 | 889.767 | 49.568 | 0.21743
2020-02-17 23:00:00 | 1.507 | 225.167 | 0 | 243.605 | 0 | 276.067 | 0.668 | 292 | -4.919 | 889.633 | 50.571 | 0.21317
2020-02-17 23:15:00 | 1.148 | 226.033 | 0 | 243.412 | 0 | 276 | 0 | 292 | -4.919 | 889.417 | 52.139 | 0.21459
2020-02-17 23:30:00 | 1.341 | 212.933 | 0 | 243.508 | 0 | 276 | 0 | 292 | -4.819 | 889.767 | 53.824 | 0.21601
2020-02-17 23:45:00 | 1.8 | 197.267 | 0 | 243.485 | 0 | 276 | 0 | 292.067 | -5.419 | 889.692 | 53.493 | 0.21459