## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-18 00:00:00 | 2.21 | 189.8 | 0 | 243.399 | 0 | 276 | 0 | 292 | -5.252 | 889.917 | 51.445 | 0.21317
2020-02-18 00:15:00 | 2.317 | 195.787 | 0 | 229.704 | 0 | 276 | 0 | 292 | -5.958 | 889.842 | 51.147 | 0.21743
2020-02-18 00:30:00 | 1.74 | 202.533 | 0 | 183.52 | 0 | 276.067 | 0 | 292 | -5.519 | 889.775 | 50.091 | 0.21317
2020-02-18 00:45:00 | 2.731 | 211.467 | 0.043 | 183.488 | 0 | 275.933 | 0 | 291.933 | -5.882 | 890.133 | 50.272 | 0.21459
2020-02-18 01:00:00 | 2.102 | 209.967 | 0 | 195.403 | 0 | 276 | 0 | 292 | -5.865 | 890.192 | 52.853 | 0.21459
2020-02-18 01:15:00 | 1.596 | 198.833 | 0 | 195.483 | 0 | 276 | 0 | 292.067 | -5.584 | 889.642 | 53.429 | 0.24159
2020-02-18 01:30:00 | 1.878 | 170.453 | 2.409 | 129.615 | 2.308 | 127.333 | 2.013 | 107.067 | -5.578 | 889.533 | 53.536 | 0.21459
2020-02-18 01:45:00 | 1.913 | 136.013 | 3.093 | 105.321 | 3.21 | 111.033 | 3.153 | 107.2 | -5.502 | 889.792 | 49.333 | 0.8875
2020-02-18 02:00:00 | 1.984 | 135.493 | 2.256 | 124.092 | 2.421 | 123.567 | 2.459 | 123.1 | -6.05 | 889.833 | 47.019 | 0.70559
2020-02-18 02:15:00 | 1.668 | 175.827 | 1.516 | 127.289 | 2.148 | 130.833 | 2.323 | 123.967 | -6.658 | 889.808 | 46.965 | 0.17906
2020-02-18 02:30:00 | 0.365 | 213.54 | 0 | 127.266 | 0.04 | 133.067 | 0.719 | 124 | -7.111 | 889.983 | 48.235 | 0.44695
2020-02-18 02:45:00 | 2.656 | 240.04 | 0.103 | 150.697 | 0.067 | 133.1 | 0 | 124 | -6.515 | 889.783 | 53.376 | 0.22738
2020-02-18 03:00:00 | 3.864 | 234.507 | 2.359 | 248.14 | 2.214 | 256.533 | 1.803 | 238.067 | -6.896 | 890 | 46.571 | 0.21459
2020-02-18 03:15:00 | 3.187 | 245.8 | 2.377 | 256.942 | 1.717 | 253.867 | 0.96 | 245.25 | -6.512 | 889.65 | 45.557 | 0.23164
2020-02-18 03:30:00 | 4.564 | 253.12 | 2.945 | 269.913 | 2.724 | 278.467 | 2.364 | 279 | -7.363 | 889.692 | 46.027 | 0.22667
2020-02-18 03:45:00 | 5.172 | 253.887 | 2.905 | 263.386 | 2.84 | 280.667 | 2.826 | 291.033 | -7.396 | 889.558 | 47.253 | 0.20891
2020-02-18 04:00:00 | 4.941 | 259.42 | 3.646 | 264.354 | 2.938 | 282.9 | 2.9 | 286.833 | -7.422 | 889.842 | 46.517 | 0.38228
2020-02-18 04:15:00 | 4.879 | 252.627 | 4.399 | 260.835 | 3.931 | 264.867 | 2.923 | 267.933 | -7.776 | 889.658 | 46.741 | 0.72194
2020-02-18 04:30:00 | 4.86 | 244.14 | 4.802 | 259.232 | 4.125 | 268.733 | 3.782 | 268.4 | -9.408 | 889.842 | 50.565 | 2.0798
2020-02-18 04:45:00 | 5.555 | 248.753 | 5.292 | 262.143 | 4.849 | 267.767 | 4.554 | 265.6 | -8.15 | 889.908 | 49.163 | 6.6203
2020-02-18 05:00:00 | 4.79 | 240.053 | 4.17 | 268.003 | 3.914 | 274.667 | 3.698 | 277.6 | -9.262 | 889.792 | 50.379 | 4.6791
2020-02-18 05:15:00 | 4.446 | 255.613 | 3.465 | 275.1 | 3.32 | 288.5 | 3.578 | 293 | -8.764 | 889.733 | 54.779 | 1.4488
2020-02-18 05:30:00 | 4.926 | 235.34 | 3.728 | 267.074 | 3.462 | 281.6 | 3.492 | 292.9 | -9.504 | 889.55 | 54.091 | 1.0836
2020-02-18 05:45:00 | 5.045 | 227.527 | 3.617 | 247.818 | 3.278 | 258.2 | 2.803 | 270.383 | -9.662 | 889.708 | 53.995 | 0.38584
2020-02-18 06:00:00 | 4.404 | 232.967 | 2.846 | 237.508 | 2.521 | 250.567 | 2.38 | 255.6 | -9.241 | 889.975 | 54.837 | 0.19683
2020-02-18 06:15:00 | 4.904 | 240.167 | 3.41 | 239.452 | 2.676 | 249.933 | 2.264 | 255.967 | -9.141 | 890.25 | 53.472 | 0.13572
2020-02-18 06:30:00 | 4.786 | 233.853 | 3.76 | 233.147 | 3.066 | 238.5 | 1.967 | 254.033 | -8.28 | 889.883 | 56.885 | 0.24728
2020-02-18 06:45:00 | 4.943 | 232.9 | 3.598 | 233.415 | 3.032 | 241.733 | 1.921 | 254.233 | -8.958 | 889.942 | 57.397 | 0.22809
2020-02-18 07:00:00 | 4.192 | 225.313 | 3.529 | 227.762 | 3.284 | 232.167 | 2.241 | 231.8 | -8.15 | 890 | 59.616 | 0.24799
2020-02-18 07:15:00 | 4.338 | 231.253 | 3.172 | 228.978 | 2.79 | 232.967 | 2.258 | 235.5 | -7.399 | 890.067 | 58.293 | 0.2217
2020-02-18 07:30:00 | 4.698 | 225.32 | 2.205 | 224.55 | 1.806 | 228.567 | 1.276 | 233 | -9.349 | 889.958 | 53.685 | 0.21743
2020-02-18 07:45:00 | 5.121 | 218.8 | 2.014 | 220.288 | 1.765 | 230 | 1.542 | 230 | -8.524 | 889.775 | 47.531 | 0.21459
2020-02-18 08:00:00 | 3.994 | 222.733 | 1.81 | 224.49 | 0.907 | 229.867 | 0 | 229.933 | -7.273 | 890.208 | 45.397 | 0.21317
2020-02-18 08:15:00 | 4.996 | 226.8 | 3.047 | 225.396 | 2.216 | 230.333 | 1.31 | 230 | -7.39 | 889.958 | 44.277 | 0.21885
2020-02-18 08:30:00 | 3.938 | 212.7 | 2.12 | 216.302 | 1.106 | 217.167 | 0.447 | 230 | -7.539 | 889.725 | 45.568 | 0.21885
2020-02-18 08:45:00 | 4.06 | 212.467 | 2.726 | 213.449 | 2.022 | 218.1 | 1.014 | 230 | -7.672 | 889.675 | 46.635 | 0.21601
2020-02-18 09:00:00 | 3.955 | 210.553 | 1.881 | 212.472 | 1.76 | 212.967 | 1.286 | 230 | -7.383 | 889.733 | 46.581 | 0.22028
2020-02-18 09:15:00 | 3.726 | 204.32 | 1.939 | 195.491 | 1.14 | 205.967 | 0.605 | 230 | -8.03 | 890.075 | 47.104 | 0.21743
2020-02-18 09:30:00 | 3.066 | 201.3 | 0.259 | 192.4 | 0 | 205.867 | 0.04 | 230.033 | -7.656 | 889.792 | 46.453 | 0.21743
2020-02-18 09:45:00 | 3.193 | 206.333 | 0 | 190.89 | 0.934 | 203.533 | 0.064 | 230 | -7.34 | 890.15 | 45.728 | 0.2217
2020-02-18 10:00:00 | 3.182 | 222.933 | 0.047 | 191.392 | 0.103 | 117.1 | 0.554 | 158 | -7.572 | 889.917 | 45.717 | 0.21885
2020-02-18 10:15:00 | 1.736 | 204.233 | 0 | 186.559 | 0.48 | 97 | 1.411 | 99 | -5.551 | 889.717 | 47.925 | 0.21743
2020-02-18 10:30:00 | 1.361 | 227.48 | 0 | 186.942 | 0 | 97.033 | 0.283 | 99 | -4.246 | 890.35 | 43.371 | 0.21743
2020-02-18 10:45:00 | 0.14 | 230.107 | 0 | 188.528 | 0 | 97.233 | 0 | 99 | -1.919 | 889.6 | 42.133 | 0.21459
2020-02-18 11:00:00 | 0 | 230.373 | 0 | 188.469 | 0 | 99.133 | 0 | 99.567 | -1.413 | 889.7 | 40.299 | 0.22028
2020-02-18 11:15:00 | 2.587 | 309.867 | 2.335 | 300.103 | 2.645 | 297.633 | 2.842 | 289.9 | -3.639 | 889.483 | 36.76 | 0.2352
2020-02-18 11:30:00 | 2.13 | 276.7 | 1.756 | 277.259 | 2.03 | 277.567 | 2.161 | 274.767 | -3.404 | 889.733 | 38.656 | 0.22312
2020-02-18 11:45:00 | 2.098 | 292.893 | 1.712 | 289.744 | 1.997 | 294.933 | 1.995 | 282.467 | -2.536 | 889.583 | 35.72 | 0.23591
2020-02-18 12:00:00 | 2.085 | 278.733 | 1.54 | 345.431 | 1.871 | 345 | 1.934 | 341.9 | -2.862 | 889.783 | 32.24 | 0.21957
2020-02-18 12:15:00 | 2.37 | 142.196 | 2.678 | 232.286 | 2.915 | 211.1 | 2.965 | 340.967 | -2.528 | 889.817 | 32.659 | 0.22667
2020-02-18 12:30:00 | 2.934 | 279.213 | 2.612 | 342.736 | 2.705 | 311.6 | 2.946 | 340.933 | -2.346 | 889.367 | 31.896 | 0.6523
2020-02-18 12:45:00 | 2.094 | 288.735 | 2.233 | 264.89 | 2.647 | 236.867 | 2.787 | 305 | -1.58 | 889.8 | 29.835 | 0.93582
2020-02-18 13:00:00 | 2.736 | 305.947 | 2.711 | 303.196 | 2.826 | 307.867 | 3.081 | 315.167 | -0.998 | 889.233 | 30.56 | 0.89318
2020-02-18 13:15:00 | 3.264 | 224.782 | 3.171 | 277.24 | 3.338 | 286.933 | 3.67 | 332.867 | -0.459 | 889.917 | 30.376 | 0.84202
2020-02-18 13:30:00 | 2.185 | 226.474 | 2.227 | 279.817 | 2.87 | 301.067 | 3.183 | 324.833 | -0.935 | 889.65 | 30.88 | 0.40715
2020-02-18 13:45:00 | 1.833 | 185.024 | 1.814 | 192.933 | 2.448 | 266.367 | 2.776 | 269.369 | 0.067 | 890.05 | 30.976 | 0.18191
2020-02-18 14:00:00 | 2.675 | 146.515 | 2.516 | 155.983 | 2.559 | 124.233 | 2.67 | 153.267 | 0.582 | 889.867 | 32.715 | 0.14993
2020-02-18 14:15:00 | 3.418 | 207.654 | 3.453 | 241.891 | 3.542 | 183.835 | 3.631 | 254 | 0.1 | 889.983 | 33.696 | 0.098058
2020-02-18 14:30:00 | 2.131 | 72.878 | 2.133 | 213.486 | 2.748 | 222.904 | 2.832 | 184.933 | 0.283 | 890 | 34.219 | 0.11795
2020-02-18 14:45:00 | 1.444 | 253.08 | 1.016 | 320.773 | 1.722 | 324.433 | 1.865 | 319.333 | 0.532 | 889.55 | 31.307 | 0.24017
2020-02-18 15:00:00 | 3.172 | 298.3 | 2.772 | 293.251 | 2.914 | 296.767 | 3.055 | 301.133 | 0.932 | 889.767 | 29.611 | 0.21317
2020-02-18 15:15:00 | 2.445 | 86.616 | 2.465 | 37.988 | 2.856 | 21.902 | 2.915 | 19 | 0.982 | 889.417 | 29.725 | 0.1947
2020-02-18 15:30:00 | 1.643 | 68.55 | 1.193 | 51.539 | 1.226 | 228.3 | 1.498 | 161.9 | 1.262 | 889.667 | 29.141 | 0.23236
2020-02-18 15:45:00 | 2.445 | 49.862 | 1.999 | 40.076 | 1.932 | 37.233 | 1.992 | 24.2 | 1.109 | 890.067 | 29.312 | 0.20322
2020-02-18 16:00:00 | 3.003 | 252.264 | 2.867 | 231.16 | 3.138 | 161.8 | 3.418 | 233.3 | 1.125 | 889.85 | 30.411 | 0.13145
2020-02-18 16:15:00 | 1.923 | 50.986 | 1.069 | 40.84 | 1.43 | 16.969 | 1.346 | 3.067 | 1.145 | 889.833 | 30.973 | 0.13643
2020-02-18 16:30:00 | 2.21 | 112.567 | 2.035 | 236.427 | 2.164 | 216.333 | 2.429 | 234.033 | 1.182 | 889.95 | 31.163 | 0.13714
2020-02-18 16:45:00 | 2.284 | 196.135 | 1.817 | 290.863 | 1.926 | 331.467 | 1.668 | 327.967 | 1.048 | 889.7 | 31.499 | 0.1144
2020-02-18 17:00:00 | 2.843 | 189.162 | 2.76 | 208.01 | 2.839 | 179.205 | 2.797 | 119.933 | 0.982 | 889.583 | 30.955 | 0.076741
2020-02-18 17:15:00 | 2.506 | 290.705 | 2.26 | 293.583 | 2.727 | 277.867 | 2.892 | 275.1 | 0.915 | 889.717 | 31.813 | 0.082426
2020-02-18 17:30:00 | 4.082 | 323.827 | 3.951 | 318.156 | 4.095 | 319.1 | 4.226 | 316.5 | 0.898 | 889.933 | 32.683 | 0.12719
2020-02-18 17:45:00 | 2.659 | 307.413 | 2.474 | 305.508 | 2.795 | 314.567 | 2.965 | 311.467 | 0.798 | 889.8 | 33.299 | 0.16698
2020-02-18 18:00:00 | 0.21 | 341.373 | 0.036 | 316.86 | 0.443 | 309.067 | 1.182 | 317.033 | 0.815 | 889.467 | 33.355 | 0.26149
2020-02-18 18:15:00 | 1.874 | 232.533 | 1.838 | 303.858 | 1.646 | 299.467 | 1.437 | 187.469 | 0.515 | 889.5 | 33.632 | 0.28067
2020-02-18 18:30:00 | 3.854 | 200.548 | 3.98 | 268.461 | 3.797 | 247.6 | 3.815 | 272.167 | 0.665 | 890.05 | 35.315 | 1.311
2020-02-18 18:45:00 | 3.585 | 5.893 | 3.825 | 13.36 | 3.762 | 2.4 | 3.818 | 0.533 | 0.017 | 889.967 | 36.736 | 1.3551
2020-02-18 19:00:00 | 2.595 | 47.868 | 2.773 | 202.088 | 2.869 | 0 | 2.942 | 0 | -0.203 | 889.5 | 37.512 | 0.71483
2020-02-18 19:15:00 | 2.437 | 2.75 | 2.912 | 1.34 | 2.732 | 4.867 | 2.726 | 2.533 | -0.578 | 889.483 | 38.213 | 0.32615
2020-02-18 19:30:00 | 2.178 | 107.027 | 2.675 | 250.594 | 2.85 | 24.45 | 3.262 | 11.867 | -0.698 | 889.967 | 38.656 | 1.1632
2020-02-18 19:45:00 | 2.608 | 351.4 | 4.287 | 349.041 | 4.279 | 356.733 | 4.179 | 356 | -1.132 | 889.35 | 39.648 | 3.2643
2020-02-18 20:00:00 | 3.376 | 352.853 | 4.018 | 352.768 | 4.152 | 356.433 | 4.174 | 352 | -1.643 | 889.583 | 40.323 | 5.6163
2020-02-18 20:15:00 | 2.963 | 343.387 | 3.002 | 335.682 | 3.33 | 341.133 | 3.54 | 341.133 | -2.028 | 889.9 | 42.117 | 1.7139
2020-02-18 20:30:00 | 1.957 | 300.36 | 3.112 | 313.076 | 3.566 | 322.6 | 3.725 | 325.167 | -2.254 | 889.767 | 42.213 | 2.3989
2020-02-18 20:45:00 | 2.944 | 289.933 | 3.555 | 287.882 | 3.951 | 289.7 | 4.265 | 286.733 | -2.598 | 890.133 | 45.477 | 7.3586
2020-02-18 21:00:00 | 4.309 | 300.387 | 4.867 | 300.382 | 5.266 | 305.933 | 5.641 | 304.5 | -2.74 | 889.658 | 49.061 | 10.4624
2020-02-18 21:15:00 | 3.998 | 304.6 | 4.003 | 299.551 | 4.128 | 299.6 | 4.432 | 293.233 | -3.304 | 889.767 | 50.485 | 6.6324
2020-02-18 21:30:00 | 3.935 | 292.067 | 4.32 | 289.127 | 4.478 | 292.333 | 4.799 | 288.667 | -3.237 | 890.1 | 52.416 | 5.2561
2020-02-18 21:45:00 | 2.6 | 288.88 | 2.75 | 288.922 | 2.796 | 293.233 | 3.246 | 291.467 | -4.159 | 889.95 | 54.507 | 3.2658
2020-02-18 22:00:00 | 2.788 | 277.813 | 2.739 | 296.845 | 3.208 | 302.433 | 3.431 | 299 | -4.723 | 889.767 | 55.872 | 2.1182
2020-02-18 22:15:00 | 2.895 | 255.22 | 2.686 | 288.96 | 2.919 | 298.4 | 3.131 | 298.667 | -5.152 | 889.892 | 57.541 | 3.1428
2020-02-18 22:30:00 | 3.521 | 235.447 | 3.711 | 280.94 | 3.626 | 291.133 | 4.007 | 297.467 | -5.822 | 889.775 | 58.453 | 3.9124
2020-02-18 22:45:00 | 5.381 | 242.073 | 4.735 | 264.915 | 4.674 | 274.6 | 4.934 | 279.433 | -6.13 | 888.8 | 61.573 | 6.2231
2020-02-18 23:00:00 | 3.477 | 269.16 | 4.167 | 275.868 | 4.314 | 282 | 4.502 | 279.433 | -6.067 | 889.642 | 61.003 | 8.9965
2020-02-18 23:15:00 | 3.516 | 269.827 | 4.644 | 280.015 | 5.165 | 288.867 | 5.493 | 286.933 | -5.938 | 889.642 | 60.832 | 10.829
2020-02-18 23:30:00 | 5.104 | 260.353 | 5.643 | 273.815 | 5.863 | 279.633 | 6.033 | 277.367 | -6.462 | 890.567 | 63.008 | 19.5356
2020-02-18 23:45:00 | 4.766 | 278.52 | 5.872 | 278.838 | 6.324 | 282.6 | 6.773 | 278 | -6.79 | 890.042 | 64.469 | 28.7097